## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-09 00:00:00 | 1.414 | 78.66 | 1.385 | 332.306 | 1.404 | 76.929 | 1.352 | 334.004 | 23.82 | 880 | 97.54 | 0.424
2020-08-09 00:15:00 | 2.226 | 343.08 | 2.2393 | 312.5753 | 2.698 | 335.5327 | 2.5933 | 314.1733 | 23.7067 | 880 | 97.4933 | 0.512
2020-08-09 00:30:00 | 1.868 | 74.94 | 1.958 | 316.206 | 2.346 | 73.016 | 2.374 | 317.822 | 23.64 | 880 | 96.64 | 0.33
2020-08-09 00:45:00 | 1.7767 | 345.4 | 1.8022 | 311.6144 | 2.0733 | 337.8022 | 2.0367 | 313.2056 | 23.9778 | 880 | 96.5 | 0.045
2020-08-09 01:00:00 | 2.574 | 311.73 | 2.58 | 308.255 | 2.727 | 304.87 | 2.7 | 309.831 | 23.6 | 880 | 97.18 | 0.964
2020-08-09 01:15:00 | 2.13 | 151.3 | 2.231 | 331.953 | 2.489 | 147.972 | 2.576 | 333.65 | 23.56 | 879 | 98.72 | 0.945
2020-08-09 01:30:00 | 2.297 | 180.08 | 2.398 | 339.689 | 2.591 | 176.12 | 2.697 | 341.427 | 23.43 | 879 | 99.13 | 0.473
2020-08-09 01:45:00 | 2.751 | 216.75 | 2.833 | 333.098 | 3.11 | 211.981 | 3.165 | 334.8 | 23.42 | 879 | 99.72 | 2.364
2020-08-09 02:00:00 | 1.965 | 247.86 | 2.017 | 273.401 | 2.018 | 242.407 | 2.106 | 274.798 | 23.46 | 879 | 100 | 0.017
2020-08-09 02:15:00 | 1.4447 | 294.34 | 1.518 | 212.9433 | 1.4213 | 287.8653 | 1.566 | 214.0333 | 23.26 | 879 | 100 | 0
2020-08-09 02:30:00 | 2.3247 | 342.0667 | 2.4147 | 335.78 | 2.512 | 334.5413 | 2.6333 | 337.4973 | 23.1933 | 879 | 100 | 0
2020-08-09 02:45:00 | 2.802 | 345.22 | 3.022 | 339.268 | 3.182 | 337.626 | 3.488 | 341.002 | 23.44 | 879 | 100 | 0.688
2020-08-09 03:00:00 | 2.804 | 343.9 | 2.968 | 331.426 | 3.29 | 336.332 | 3.468 | 333.12 | 23.2 | 879 | 100 | 3.89
2020-08-09 03:15:00 | 3.6611 | 347.2778 | 3.8611 | 318.7722 | 4.4178 | 339.6367 | 4.5767 | 320.4022 | 22.8778 | 878 | 100 | 8.539
2020-08-09 03:30:00 | 3.62 | 341.87 | 3.814 | 325.861 | 4.469 | 334.349 | 4.59 | 327.526 | 22.63 | 878 | 100 | 8.849
2020-08-09 03:45:00 | 3.658 | 278.31 | 3.848 | 328.931 | 4.366 | 272.188 | 4.52 | 330.612 | 22.22 | 878 | 100 | 9.589
2020-08-09 04:00:00 | 3.695 | 281.56 | 3.914 | 333.4 | 4.294 | 275.364 | 4.534 | 335.106 | 22.09 | 878 | 100 | 10.558
2020-08-09 04:15:00 | 4.744 | 351.09 | 4.939 | 328.421 | 5.549 | 343.367 | 5.69 | 330.101 | 22.33 | 878 | 100 | 18.906
2020-08-09 04:30:00 | 4.306 | 342.83 | 4.486 | 323.669 | 5.095 | 335.288 | 5.208 | 325.323 | 22.52 | 878 | 100 | 14.643
2020-08-09 04:45:00 | 4.6536 | 346.6071 | 4.9379 | 325.9321 | 5.3893 | 338.9807 | 5.7171 | 327.5979 | 22.0071 | 878 | 100 | 16.4953
2020-08-09 05:00:00 | 4.814 | 345.6067 | 5.1453 | 323.8733 | 5.5047 | 338.0033 | 5.9347 | 325.53 | 21.3733 | 878 | 100 | 17.5473
2020-08-09 05:15:00 | 4.7547 | 345.16 | 5.052 | 324.5773 | 5.396 | 337.5667 | 5.7787 | 326.2373 | 21.2733 | 878 | 100 | 17.7853
2020-08-09 05:30:00 | 4.998 | 351.12 | 5.366 | 323.872 | 5.572 | 343.394 | 6.106 | 325.528 | 21.2 | 878 | 100 | 21.534
2020-08-09 05:45:00 | 5.499 | 346.89 | 5.872 | 328.549 | 6.202 | 339.258 | 6.703 | 330.228 | 21.13 | 878 | 100 | 28.89
2020-08-09 06:00:00 | 5.801 | 342.27 | 6.137 | 326.556 | 6.384 | 334.741 | 6.856 | 328.224 | 21.22 | 878 | 100 | 33.523
2020-08-09 06:15:00 | 5.584 | 339.19 | 5.889 | 324.706 | 6.368 | 331.728 | 6.72 | 326.366 | 21.12 | 878 | 100 | 30.645
2020-08-09 06:30:00 | 5.136 | 344.14 | 5.41 | 328.59 | 5.987 | 336.568 | 6.26 | 330.268 | 21.04 | 878 | 100 | 26.338
2020-08-09 06:45:00 | 5.244 | 348.96 | 5.545 | 327.279 | 6.075 | 341.283 | 6.402 | 328.951 | 20.99 | 878 | 100 | 23.329
2020-08-09 07:00:00 | 5.239 | 312.87 | 5.588 | 327.237 | 6.034 | 305.987 | 6.467 | 328.911 | 21.16 | 878 | 100 | 25.947
2020-08-09 07:15:00 | 5.3393 | 325.02 | 5.6767 | 325.4713 | 6.1547 | 317.8693 | 6.56 | 327.136 | 21.18 | 878 | 100 | 28.24
2020-08-09 07:30:00 | 5.7567 | 348.4333 | 6.0827 | 328.55 | 6.4487 | 340.768 | 6.8647 | 330.2293 | 21.1533 | 878 | 100 | 31.5787
2020-08-09 07:45:00 | 5.418 | 339.64 | 5.744 | 322.564 | 6.238 | 332.168 | 6.616 | 324.212 | 21.16 | 878 | 100 | 24.866
2020-08-09 08:00:00 | 5.244 | 275.8 | 5.454 | 323.6 | 6.144 | 269.73 | 6.282 | 325.256 | 21.26 | 878 | 100 | 23.118
2020-08-09 08:15:00 | 5.411 | 347.42 | 5.652 | 327.21 | 6.265 | 339.777 | 6.481 | 328.883 | 21.45 | 879 | 100 | 26.419
2020-08-09 08:30:00 | 5.694 | 312.18 | 5.905 | 333.469 | 6.63 | 305.312 | 6.759 | 335.172 | 21.71 | 879 | 100 | 29.791
2020-08-09 08:45:00 | 5.711 | 340.61 | 5.942 | 330.983 | 6.593 | 333.117 | 6.776 | 332.676 | 21.88 | 879 | 100 | 27.504
2020-08-09 09:00:00 | 5.657 | 310.7 | 5.919 | 330.534 | 6.395 | 303.864 | 6.674 | 332.223 | 22.88 | 879 | 100 | 23.877
2020-08-09 09:15:00 | 5.456 | 307.35 | 5.764 | 326.779 | 5.975 | 300.587 | 6.41 | 328.449 | 22.82 | 879 | 100 | 21.243
2020-08-09 09:30:00 | 5.081 | 345.64 | 5.541 | 316.502 | 5.618 | 338.036 | 6.332 | 318.118 | 23.13 | 879.7 | 100 | 20.696
2020-08-09 09:45:00 | 4.0193 | 331.98 | 4.4027 | 317.028 | 4.5813 | 324.6767 | 5.15 | 318.6487 | 23.4133 | 880 | 95.4067 | 14.5167
2020-08-09 10:00:00 | 4.37 | 328.5467 | 4.732 | 309.2233 | 4.8713 | 321.318 | 5.4087 | 310.8027 | 24.1067 | 880 | 89.4333 | 13.7293
2020-08-09 10:15:00 | 4.03 | 330.36 | 4.35 | 316.032 | 4.238 | 323.088 | 4.79 | 317.648 | 24.58 | 880 | 88.5 | 10.428
2020-08-09 10:30:00 | 3.628 | 336.86 | 3.886 | 310.454 | 3.84 | 329.45 | 4.262 | 312.044 | 25.08 | 880.4 | 85.48 | 7.904
2020-08-09 10:45:00 | 3.874 | 335.88 | 4.206 | 320.363 | 4.391 | 328.49 | 4.871 | 322.001 | 25.4 | 881 | 83.52 | 8.365
2020-08-09 11:00:00 | 3.78 | 329.78 | 3.996 | 318.33 | 4.556 | 322.525 | 4.746 | 319.956 | 25.69 | 881 | 81.9 | 8.015
2020-08-09 11:15:00 | 3.292 | 320.36 | 3.488 | 314.466 | 3.804 | 313.313 | 4.028 | 316.075 | 26.2 | 881 | 79.324 | 4.287
2020-08-09 11:30:00 | 2.602 | 311.73 | 2.683 | 309.273 | 2.841 | 304.873 | 2.931 | 310.855 | 26.72 | 881 | 78.495 | 1.814
2020-08-09 11:45:00 | 1.989 | 265.24 | 2.139 | 314.915 | 2.086 | 259.404 | 2.343 | 316.526 | 27.44 | 881 | 78.186 | 0.453
2020-08-09 12:00:00 | 1.757 | 257.84 | 1.818 | 294.819 | 2.036 | 252.169 | 2.075 | 296.327 | 28.52 | 881 | 75.904 | 0
2020-08-09 12:15:00 | 1.126 | 224.59 | 1.234 | 300.382 | 1.331 | 219.65 | 1.472 | 301.918 | 29.29 | 881 | 77.029 | 0
2020-08-09 12:30:00 | 1.6721 | 167.3429 | 1.7907 | 140.7843 | 1.7914 | 163.6607 | 1.9857 | 141.5036 | 28.9714 | 881 | 72.3743 | 0
2020-08-09 12:45:00 | 1.536 | 189.8 | 1.558 | 124.304 | 1.776 | 185.6253 | 1.7473 | 124.9387 | 28.84 | 880.5333 | 71.3907 | 0
2020-08-09 13:00:00 | 1.66 | 190.72 | 1.728 | 134.984 | 1.82 | 186.524 | 1.902 | 135.672 | 28.84 | 880 | 72.328 | 0
2020-08-09 13:15:00 | 1.7356 | 166.2111 | 1.7856 | 152.9367 | 2.0078 | 162.5544 | 2.0256 | 153.72 | 29.1333 | 880 | 75.2657 | 0
2020-08-09 13:30:00 | 1.612 | 183.81 | 1.641 | 144.704 | 2.061 | 179.765 | 1.989 | 145.444 | 29.32 | 880 | 75.027 | 0
2020-08-09 13:45:00 | 1.56 | 219.02 | 1.553 | 135.686 | 1.95 | 214.201 | 1.826 | 136.381 | 29.65 | 880.8 | 73.49 | 0
2020-08-09 14:00:00 | 1.639 | 203.27 | 1.706 | 152.197 | 1.858 | 198.8 | 1.924 | 152.976 | 29.89 | 880 | 70.126 | 0
2020-08-09 14:15:00 | 1.357 | 195.3 | 1.36 | 151.492 | 1.812 | 191.003 | 1.685 | 152.267 | 30.2 | 880 | 69.451 | 0
2020-08-09 14:30:00 | 1.783 | 200.4 | 1.705 | 142.68 | 1.957 | 200.391 | 1.742 | 143.41 | 30.09 | 880 | 67.8 | 0
2020-08-09 14:45:00 | 1.6793 | 195.5133 | 1.7753 | 131.5807 | 2.108 | 191.212 | 2.1607 | 132.252 | 30.3267 | 880 | 70.1753 | 0
2020-08-09 15:00:00 | 1.654 | 206.02 | 1.68 | 143.14 | 2.072 | 201.488 | 2.002 | 143.874 | 30.38 | 880 | 69.712 | 0
2020-08-09 15:15:00 | 1.458 | 195.06 | 1.458 | 167.472 | 1.738 | 190.77 | 1.654 | 168.33 | 30.32 | 880 | 68.694 | 0
2020-08-09 15:30:00 | 1.965 | 210.32 | 2.032 | 147.386 | 1.908 | 205.693 | 2.054 | 148.139 | 30.42 | 880 | 67.2 | 0
2020-08-09 15:45:00 | 1.446 | 201.19 | 1.578 | 180.012 | 1.838 | 196.763 | 1.975 | 180.93 | 30.86 | 880 | 67.505 | 0
2020-08-09 16:00:00 | 1.559 | 170.56 | 1.588 | 176.842 | 1.716 | 166.809 | 1.723 | 177.746 | 30.64 | 880 | 66.796 | 0
2020-08-09 16:15:00 | 1.778 | 181.32 | 1.853 | 186.26 | 1.817 | 177.33 | 1.95 | 187.211 | 30.55 | 880 | 65.472 | 0
2020-08-09 16:30:00 | 1.802 | 208.48 | 1.822 | 149.789 | 1.878 | 203.893 | 1.9 | 150.555 | 30.72 | 880 | 66.596 | 0.369
2020-08-09 16:45:00 | 1.688 | 199.4 | 1.812 | 205.732 | 1.87 | 195.015 | 2.056 | 206.784 | 30.5 | 880 | 65.896 | 0.299
2020-08-09 17:00:00 | 2.1 | 208.59 | 2.237 | 189.791 | 2.267 | 204.002 | 2.478 | 190.759 | 30.6 | 879.3 | 66.956 | 0.256
2020-08-09 17:15:00 | 1.9893 | 216.4714 | 2.1171 | 170.4157 | 2.2864 | 211.7079 | 2.4457 | 171.2857 | 30.5643 | 879 | 65.8814 | 0.29533
2020-08-09 17:30:00 | 1.8753 | 220.08 | 2.0107 | 202.1913 | 2.2573 | 215.2387 | 2.4053 | 203.226 | 30.88 | 879 | 65.818 | 0.296
2020-08-09 17:45:00 | 1.734 | 230.2 | 1.948 | 171.758 | 2.202 | 225.134 | 2.47 | 172.636 | 31 | 879 | 65.088 | 0.838
2020-08-09 18:00:00 | 2.344 | 227.78 | 2.506 | 216.782 | 2.648 | 222.77 | 2.866 | 217.892 | 30.56 | 879 | 64.466 | 1.24
2020-08-09 18:15:00 | 2.088 | 208.21 | 2.189 | 198.38 | 2.092 | 203.629 | 2.284 | 199.391 | 30.62 | 879 | 64.636 | 0.149
2020-08-09 18:30:00 | 1.82 | 233.68 | 1.929 | 203.992 | 2.035 | 228.537 | 2.18 | 205.033 | 30.6 | 879 | 65.06 | 0
2020-08-09 18:45:00 | 1.877 | 207.58 | 2.052 | 184.285 | 2.076 | 203.012 | 2.35 | 185.227 | 30.5 | 879 | 65.832 | 0
2020-08-09 19:00:00 | 2.016 | 199.54 | 2.142 | 189.85 | 2.352 | 195.149 | 2.493 | 190.819 | 30.4 | 879 | 67.312 | 0
2020-08-09 19:15:00 | 2.043 | 183.24 | 2.177 | 169.82 | 2.326 | 179.209 | 2.498 | 170.688 | 30.35 | 878 | 66.127 | 0
2020-08-09 19:30:00 | 2.142 | 181.21 | 2.255 | 177.42 | 2.39 | 177.223 | 2.532 | 178.327 | 30.1 | 878 | 65.536 | 0
2020-08-09 19:45:00 | 2.05 | 186.0786 | 2.1664 | 183.4093 | 2.2179 | 181.1679 | 2.3957 | 184.3479 | 29.8 | 878 | 65.66 | 0.34643
2020-08-09 20:00:00 | 2.166 | 182.1667 | 2.27 | 174.474 | 2.434 | 178.158 | 2.5547 | 175.3667 | 29.5867 | 878 | 67.2213 | 0.446
2020-08-09 20:15:00 | 2.564 | 174.5933 | 2.6907 | 166.6453 | 2.9 | 170.7527 | 3.0447 | 167.496 | 29.44 | 877.5333 | 68.7807 | 1.6673
2020-08-09 20:30:00 | 2.322 | 175.86 | 2.408 | 165.71 | 2.612 | 171.992 | 2.69 | 166.56 | 29.4 | 877 | 69.46 | 1.858
2020-08-09 20:45:00 | 2.2778 | 178.8778 | 2.2833 | 164.7822 | 2.37 | 174.9411 | 2.3567 | 165.6233 | 29.2667 | 877 | 68.8567 | 2.954
2020-08-09 21:00:00 | 2.288 | 177.96 | 2.33 | 156.89 | 2.401 | 174.045 | 2.445 | 157.693 | 29 | 877.7 | 71.123 | 4.1
2020-08-09 21:15:00 | 1.874 | 141.36 | 1.985 | 161.39 | 2.156 | 138.251 | 2.287 | 162.214 | 28.85 | 878 | 75.058 | 1.391
2020-08-09 21:30:00 | 1.949 | 133.79 | 2.078 | 126.241 | 2.178 | 130.848 | 2.355 | 126.884 | 28.41 | 878 | 76.219 | 0.927
2020-08-09 21:45:00 | 2.245 | 137.75 | 2.429 | 139.229 | 2.399 | 134.719 | 2.704 | 139.941 | 28.39 | 878 | 76.503 | 2.123
2020-08-09 22:00:00 | 2.516 | 128.85 | 2.613 | 136.929 | 2.746 | 126.014 | 2.866 | 137.629 | 28.1 | 878 | 76.847 | 2.867
2020-08-09 22:15:00 | 1.945 | 126.1929 | 2.0729 | 134.3779 | 2.1621 | 123.4157 | 2.3421 | 135.0643 | 27.8786 | 878 | 77.83 | 1.7464
2020-08-09 22:30:00 | 1.9427 | 124.4467 | 2.054 | 135.7593 | 2.1407 | 121.7073 | 2.298 | 136.4533 | 27.78 | 878 | 78.948 | 1.4773
2020-08-09 22:45:00 | 1.984 | 130.04 | 2.082 | 143.8167 | 2.28 | 127.1793 | 2.3813 | 144.554 | 27.6133 | 878 | 79.972 | 1.24
2020-08-09 23:00:00 | 1.832 | 141.36 | 1.942 | 147.836 | 2.196 | 138.252 | 2.302 | 148.59 | 27.58 | 878 | 80 | 1.078
2020-08-09 23:15:00 | 1.896 | 127.3 | 2.047 | 135.443 | 2.17 | 124.5 | 2.378 | 136.135 | 27.47 | 879 | 80.12 | 0.784
2020-08-09 23:30:00 | 1.861 | 138.64 | 1.981 | 135.492 | 2.11 | 135.591 | 2.264 | 136.185 | 27.25 | 879 | 81.24 | 0.274
2020-08-09 23:45:00 | 1.206 | 115.9 | 1.305 | 129.616 | 1.579 | 113.351 | 1.658 | 130.276 | 27.33 | 879 | 82.04 | 0