## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-10 00:00:00 | 1.436 | 108.12 | 1.547 | 108.235 | 1.655 | 105.742 | 1.798 | 108.788 | 27.28 | 879 | 82.6 | 0
2020-08-10 00:15:00 | 1.531 | 103.32 | 1.624 | 105.908 | 1.766 | 101.047 | 1.87 | 106.45 | 27.24 | 879 | 83.49 | 0
2020-08-10 00:30:00 | 1.7707 | 113.0333 | 1.9107 | 120.1313 | 2.0187 | 110.5473 | 2.2147 | 120.746 | 27.0933 | 879 | 82.3667 | 0
2020-08-10 00:45:00 | 1.5087 | 88.4 | 1.6087 | 88.5087 | 1.756 | 86.4567 | 1.874 | 88.9607 | 27.0867 | 879 | 83.8867 | 0
2020-08-10 01:00:00 | 1.74 | 96.82 | 1.858 | 82.874 | 1.886 | 94.692 | 2.07 | 83.298 | 26.78 | 879 | 84.88 | 0
2020-08-10 01:15:00 | 2.084 | 125.42 | 2.178 | 118.612 | 2.198 | 122.66 | 2.346 | 119.218 | 26.8 | 878 | 85.6 | 0
2020-08-10 01:30:00 | 1.961 | 121.37 | 2.077 | 131.804 | 2.191 | 118.701 | 2.347 | 132.478 | 26.85 | 878 | 87.54 | 0
2020-08-10 01:45:00 | 1.657 | 112.28 | 1.741 | 102.767 | 1.795 | 109.808 | 1.919 | 103.294 | 26.91 | 878 | 88.26 | 0
2020-08-10 02:00:00 | 1.742 | 118.16 | 1.809 | 109.899 | 1.804 | 115.561 | 1.915 | 110.461 | 26.9 | 878 | 87.42 | 0
2020-08-10 02:15:00 | 1.456 | 103.24 | 1.472 | 112.88 | 1.389 | 100.968 | 1.441 | 113.456 | 26.67 | 878 | 88.41 | 0
2020-08-10 02:30:00 | 1.369 | 103.45 | 1.388 | 113.791 | 1.331 | 101.173 | 1.38 | 114.372 | 26.76 | 878 | 89.36 | 0
2020-08-10 02:45:00 | 1.0927 | 97.6667 | 1.116 | 115.632 | 0.89533 | 95.5187 | 0.99667 | 116.2227 | 26.5933 | 878 | 90.9533 | 0
2020-08-10 03:00:00 | 1.1047 | 96.7533 | 1.1427 | 99.6253 | 1.0173 | 94.6247 | 1.1173 | 100.134 | 26.4933 | 878 | 91.52 | 0
2020-08-10 03:15:00 | 0.878 | 122.16 | 0.964 | 118.984 | 0.846 | 119.472 | 1.018 | 119.592 | 26.46 | 878 | 92.48 | 0
2020-08-10 03:30:00 | 0.624 | 76.8 | 0.625 | 92.948 | 0.533 | 75.11 | 0.562 | 93.424 | 26.39 | 878 | 93.86 | 0
2020-08-10 03:45:00 | 0.456 | 127.5 | 0.472 | 110.768 | 0.532 | 124.694 | 0.539 | 111.336 | 26.46 | 877.8 | 94.14 | 0
2020-08-10 04:00:00 | 0.725 | 330.82 | 0.784 | 84.108 | 1.215 | 323.542 | 1.183 | 84.539 | 26.45 | 877 | 94.58 | 0
2020-08-10 04:15:00 | 0.812 | 312.19 | 0.887 | 301.331 | 1.35 | 305.321 | 1.332 | 302.873 | 26.33 | 877.2 | 97.03 | 0
2020-08-10 04:30:00 | 0.898 | 312.84 | 0.95 | 242.085 | 1.546 | 305.956 | 1.454 | 243.323 | 26.26 | 878 | 97.84 | 0
2020-08-10 04:45:00 | 2.059 | 337.27 | 2.056 | 323.318 | 2.501 | 329.85 | 2.366 | 324.971 | 25.38 | 878 | 98.83 | 0
2020-08-10 05:00:00 | 2.165 | 208.18 | 2.193 | 311.551 | 2.783 | 203.599 | 2.658 | 313.145 | 25.13 | 877.3 | 99.66 | 0.636
2020-08-10 05:15:00 | 1.521 | 158.83 | 1.503 | 320.882 | 1.958 | 155.335 | 1.801 | 322.522 | 24.93 | 877 | 99.92 | 0
2020-08-10 05:30:00 | 2.1273 | 132.8667 | 2.1727 | 338.2187 | 2.674 | 129.9433 | 2.6013 | 339.9473 | 24.7933 | 877 | 100 | 0.17133
2020-08-10 05:45:00 | 2.0393 | 178.4267 | 2.0447 | 334.5487 | 2.642 | 174.5013 | 2.478 | 336.258 | 24.4467 | 877 | 100 | 0.804
2020-08-10 06:00:00 | 2.18 | 279.48 | 2.198 | 340.93 | 2.824 | 273.332 | 2.678 | 342.674 | 24.4 | 877 | 100 | 1.214
2020-08-10 06:15:00 | 2.6 | 315.49 | 2.751 | 327.422 | 3.144 | 308.549 | 3.272 | 329.097 | 24.24 | 877 | 100 | 1.394
2020-08-10 06:30:00 | 2.578 | 343.27 | 2.686 | 327.025 | 3.172 | 335.716 | 3.206 | 328.695 | 24.17 | 877 | 100 | 1.584
2020-08-10 06:45:00 | 2.038 | 244.75 | 2.084 | 334.007 | 2.519 | 239.365 | 2.469 | 335.716 | 24.51 | 878 | 100 | 0.403
2020-08-10 07:00:00 | 1.933 | 325.65 | 1.996 | 320.394 | 2.492 | 318.484 | 2.443 | 322.03 | 24.7 | 878 | 100 | 0.119
2020-08-10 07:15:00 | 2.221 | 339.96 | 2.252 | 325.096 | 2.644 | 332.483 | 2.583 | 326.759 | 24.76 | 878 | 100 | 0.173
2020-08-10 07:30:00 | 1.878 | 78.06 | 1.912 | 324.167 | 2.353 | 76.343 | 2.279 | 325.827 | 25.09 | 878 | 100 | 0.066
2020-08-10 07:45:00 | 1.2573 | 206.5867 | 1.2033 | 331.4053 | 1.6253 | 202.0413 | 1.4187 | 333.1007 | 26.02 | 878 | 100 | 0
2020-08-10 08:00:00 | 1.706 | 298.0267 | 1.6727 | 319.63 | 2.02 | 291.4693 | 1.8687 | 321.2633 | 25.6667 | 878.8 | 100 | 0
2020-08-10 08:15:00 | 1.664 | 301.78 | 1.616 | 317.342 | 1.946 | 295.14 | 1.774 | 318.966 | 26.14 | 879 | 100 | 0
2020-08-10 08:30:00 | 2.06 | 217.96 | 2.042 | 321.686 | 2.466 | 213.164 | 2.314 | 323.33 | 26.2 | 879 | 100 | 0
2020-08-10 08:45:00 | 1.708 | 147.37 | 1.661 | 322.975 | 1.915 | 144.127 | 1.771 | 324.626 | 25.23 | 879 | 100 | 0
2020-08-10 09:00:00 | 1.403 | 107.13 | 1.369 | 296.002 | 1.788 | 104.772 | 1.613 | 297.516 | 25.68 | 879.7 | 99.62 | 0
2020-08-10 09:15:00 | 0.673 | 107.52 | 0.72 | 218.622 | 0.925 | 105.154 | 0.94 | 219.738 | 26.92 | 880 | 98.43 | 0
2020-08-10 09:30:00 | 0.367 | 122.46 | 0.388 | 113.194 | 0.376 | 119.766 | 0.414 | 113.773 | 27.61 | 880 | 95.09 | 0
2020-08-10 09:45:00 | 0.654 | 207.07 | 0.676 | 137.526 | 0.811 | 202.515 | 0.803 | 138.229 | 27.05 | 880 | 90.97 | 0
2020-08-10 10:00:00 | 0.872 | 142 | 0.915 | 134.534 | 0.892 | 138.876 | 0.97 | 135.22 | 27.59 | 880 | 89.48 | 0
2020-08-10 10:15:00 | 1.101 | 186.76 | 1.069 | 144.684 | 1.267 | 182.652 | 1.154 | 145.425 | 27.31 | 880 | 86.82 | 0
2020-08-10 10:30:00 | 1.2067 | 126.3267 | 1.2073 | 130.8947 | 1.2867 | 123.548 | 1.2667 | 131.5647 | 27.62 | 880.8 | 85.68 | 0
2020-08-10 10:45:00 | 1.416 | 132.86 | 1.36 | 129.174 | 1.484 | 129.936 | 1.354 | 129.836 | 27.62 | 881 | 84.94 | 0
2020-08-10 11:00:00 | 1.824 | 163.1933 | 1.8447 | 139.4373 | 2.0653 | 159.6033 | 2.036 | 140.1493 | 27.9867 | 881 | 81.4467 | 0
2020-08-10 11:15:00 | 1.919 | 166.48 | 1.954 | 144.94 | 2.382 | 162.818 | 2.321 | 145.68 | 27.87 | 881 | 81.44 | 0.034
2020-08-10 11:30:00 | 1.817 | 171.64 | 1.864 | 139.561 | 2.018 | 167.864 | 2.048 | 140.275 | 28.2 | 881 | 81.01 | 0.139
2020-08-10 11:45:00 | 1.904 | 199.84 | 1.914 | 163.716 | 2.136 | 195.444 | 2.084 | 164.554 | 28.2 | 881 | 79.192 | 0.222
2020-08-10 12:00:00 | 1.569 | 206.68 | 1.626 | 122.923 | 1.667 | 202.133 | 1.747 | 123.553 | 28.85 | 881 | 78.995 | 0.297
2020-08-10 12:15:00 | 1.514 | 193.81 | 1.621 | 136.684 | 1.77 | 189.546 | 1.901 | 137.383 | 28.98 | 881 | 76.157 | 0.483
2020-08-10 12:30:00 | 2.076 | 223.98 | 2.025 | 145.752 | 2.24 | 219.052 | 2.096 | 146.498 | 29.16 | 881 | 75.044 | 0.897
2020-08-10 12:45:00 | 2.006 | 180.2333 | 2.0527 | 136.1433 | 2.3207 | 176.2687 | 2.32 | 136.8407 | 29.2133 | 881 | 73.8807 | 0.78
2020-08-10 13:00:00 | 2.2727 | 162.5533 | 2.3673 | 149.55 | 2.614 | 158.978 | 2.6947 | 150.3147 | 29.68 | 880.8667 | 75.0393 | 1.1207
2020-08-10 13:15:00 | 2.614 | 183.88 | 2.68 | 143.064 | 3.03 | 179.836 | 3.04 | 143.794 | 29.72 | 880 | 75.774 | 1.864
2020-08-10 13:30:00 | 2.568 | 173.2 | 2.64 | 128.372 | 2.982 | 169.389 | 3.004 | 129.028 | 29.49 | 880 | 75.094 | 1.961
2020-08-10 13:45:00 | 1.809 | 204.47 | 1.924 | 158.524 | 2.133 | 199.972 | 2.256 | 159.334 | 29.45 | 880 | 75.066 | 0.865
2020-08-10 14:00:00 | 2.356 | 154.0267 | 2.4613 | 155.2407 | 2.8007 | 150.6373 | 2.8733 | 156.036 | 29.4867 | 880 | 72.9833 | 1.7367
2020-08-10 14:15:00 | 2.932 | 161.42 | 3.02 | 143.218 | 3.298 | 157.868 | 3.358 | 143.948 | 29.3 | 880 | 73.096 | 2.54
2020-08-10 14:30:00 | 2.442 | 163.22 | 2.497 | 134.485 | 2.741 | 159.629 | 2.763 | 135.172 | 29.29 | 880 | 75.264 | 2.088
2020-08-10 14:45:00 | 2.49 | 151.12 | 2.504 | 136.666 | 2.949 | 147.796 | 2.843 | 137.365 | 29.82 | 880 | 75.693 | 1.594
2020-08-10 15:00:00 | 3.044 | 147.7867 | 3.2087 | 140.2913 | 3.5073 | 144.5353 | 3.686 | 141.0087 | 29.8867 | 880 | 74.7187 | 4.696
2020-08-10 15:15:00 | 3.078 | 153.36 | 3.193 | 132.264 | 3.426 | 149.985 | 3.543 | 132.94 | 29.77 | 879.8 | 75.296 | 4.656
2020-08-10 15:30:00 | 3.087 | 174.1 | 3.082 | 146.456 | 3.434 | 170.27 | 3.329 | 147.203 | 29.6 | 879.7 | 73.908 | 4.975
2020-08-10 15:45:00 | 2.86 | 172.06 | 3.031 | 163.2 | 3.235 | 168.274 | 3.45 | 164.032 | 30.16 | 879 | 74.277 | 6.969
2020-08-10 16:00:00 | 3.454 | 184.8 | 3.594 | 171.542 | 3.734 | 180.734 | 3.924 | 172.418 | 30.4 | 879 | 72.694 | 8.246
2020-08-10 16:15:00 | 3.382 | 161.74 | 3.619 | 151.501 | 3.7 | 158.182 | 4.06 | 152.277 | 30.56 | 879 | 73.993 | 10.183
2020-08-10 16:30:00 | 3.556 | 169.06 | 3.826 | 156.732 | 3.656 | 165.34 | 4.15 | 157.534 | 30.46 | 879 | 68.26 | 12.674
2020-08-10 16:45:00 | 3.58 | 156.34 | 3.856 | 155.962 | 3.927 | 152.9 | 4.349 | 156.759 | 30.57 | 879 | 67.49 | 12.023
2020-08-10 17:00:00 | 3.7393 | 161.4067 | 3.8893 | 148.7413 | 3.8933 | 157.8553 | 4.1413 | 149.502 | 30.4333 | 879 | 65.7033 | 9.7007
2020-08-10 17:15:00 | 3.644 | 148.96 | 3.84 | 147.542 | 3.84 | 145.682 | 4.16 | 148.294 | 30.48 | 879 | 65.354 | 9.424
2020-08-10 17:30:00 | 3.52 | 164.21 | 3.643 | 142.053 | 3.836 | 160.599 | 3.979 | 142.781 | 30.53 | 879 | 64.85 | 8.426
2020-08-10 17:45:00 | 3.84 | 150.26 | 4.04 | 142.006 | 4.0633 | 146.954 | 4.38 | 142.7313 | 30.18 | 879 | 65.3133 | 9.2967
2020-08-10 18:00:00 | 3.542 | 154.54 | 3.7967 | 142.86 | 3.8767 | 151.1387 | 4.268 | 143.5907 | 30.0667 | 879 | 67.078 | 8.3213
2020-08-10 18:15:00 | 3.56 | 156.54 | 3.908 | 152.784 | 4.08 | 153.098 | 4.59 | 153.564 | 30.06 | 879 | 66.002 | 9.59
2020-08-10 18:30:00 | 3.449 | 163.25 | 3.707 | 141.731 | 3.613 | 159.658 | 4.06 | 142.457 | 29.91 | 879 | 67.296 | 7.807
2020-08-10 18:45:00 | 3.122 | 166.19 | 3.393 | 158.309 | 3.343 | 162.535 | 3.795 | 159.118 | 29.66 | 878.8 | 69.374 | 6.733
2020-08-10 19:00:00 | 3.168 | 152.23 | 3.417 | 145.233 | 3.343 | 148.881 | 3.766 | 145.975 | 29.62 | 878 | 69.562 | 7.054
2020-08-10 19:15:00 | 3.361 | 156.39 | 3.642 | 150.622 | 3.633 | 152.949 | 4.09 | 151.391 | 29.39 | 878 | 70.172 | 8.432
2020-08-10 19:30:00 | 3.196 | 151.43 | 3.442 | 148.578 | 3.253 | 148.099 | 3.702 | 149.336 | 29.23 | 878 | 71.532 | 6.803
2020-08-10 19:45:00 | 3.0229 | 155.2786 | 3.2007 | 149.1514 | 3.17 | 151.8636 | 3.465 | 149.9129 | 29.2 | 878 | 73.13 | 6.08
2020-08-10 20:00:00 | 2.7387 | 157.22 | 2.8793 | 150.0513 | 2.9033 | 153.7607 | 3.1233 | 150.8187 | 29.0333 | 878 | 74.176 | 4.702
2020-08-10 20:15:00 | 2.5627 | 159.0133 | 2.6607 | 152.7887 | 2.578 | 155.5147 | 2.762 | 153.57 | 28.9933 | 878 | 76.0647 | 4.0807
2020-08-10 20:30:00 | 2.36 | 166.4 | 2.386 | 155.17 | 2.138 | 162.738 | 2.256 | 155.962 | 29 | 878 | 75.826 | 4.472
2020-08-10 20:45:00 | 2.586 | 159.22 | 2.665 | 147.726 | 2.785 | 155.716 | 2.881 | 148.481 | 28.82 | 878 | 77.552 | 4.137
2020-08-10 21:00:00 | 2.357 | 146.48 | 2.396 | 141.8 | 2.511 | 143.257 | 2.543 | 142.525 | 28.77 | 878 | 78.919 | 3.768
2020-08-10 21:15:00 | 1.921 | 148.14 | 1.986 | 135.356 | 2.059 | 144.882 | 2.146 | 136.047 | 28.56 | 878 | 79.788 | 2.175
2020-08-10 21:30:00 | 1.945 | 160.68 | 1.991 | 142.064 | 2.08 | 157.146 | 2.126 | 142.791 | 28.66 | 878 | 80.32 | 2.344
2020-08-10 21:45:00 | 1.804 | 143.39 | 1.859 | 133.576 | 2.024 | 140.236 | 2.067 | 134.257 | 28.52 | 878 | 81.22 | 2.642
2020-08-10 22:00:00 | 1.74 | 145.99 | 1.835 | 141.908 | 1.986 | 142.778 | 2.094 | 142.634 | 28.39 | 878 | 81.23 | 1.408
2020-08-10 22:15:00 | 1.773 | 156.64 | 1.916 | 157.214 | 1.997 | 153.194 | 2.204 | 158.016 | 28.48 | 878 | 81.64 | 0.424
2020-08-10 22:30:00 | 1.716 | 142.6 | 1.88 | 152.398 | 1.752 | 139.462 | 2.0527 | 153.1767 | 28.44 | 878 | 81.9933 | 0.376
2020-08-10 22:45:00 | 1.7407 | 137.84 | 1.9027 | 143.6687 | 1.8 | 134.8067 | 2.0913 | 144.4027 | 28.34 | 878 | 81.7267 | 0.596
2020-08-10 23:00:00 | 1.644 | 128.58 | 1.746 | 149.34 | 1.644 | 125.75 | 1.832 | 150.104 | 28.38 | 878 | 80.28 | 0.596
2020-08-10 23:15:00 | 1.407 | 126.8 | 1.447 | 145.751 | 1.392 | 124.011 | 1.473 | 146.496 | 28.4 | 878 | 81.75 | 0.203
2020-08-10 23:30:00 | 1.064 | 144.64 | 1.148 | 163.991 | 1.163 | 141.46 | 1.294 | 164.828 | 28.19 | 878 | 82.49 | 0.23
2020-08-10 23:45:00 | 1.056 | 159.37 | 1.091 | 159.366 | 0.949 | 155.865 | 1.045 | 160.181 | 28.35 | 878 | 83.13 | 0.599