## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-11 00:00:00 | 1.113 | 126.83 | 1.162 | 142.769 | 1.086 | 124.04 | 1.184 | 143.498 | 28.22 | 878 | 82.67 | 0.249
2020-08-11 00:15:00 | 0.775 | 163.36 | 0.79 | 169.995 | 0.632 | 159.767 | 0.699 | 170.865 | 28.05 | 878 | 81.68 | 0
2020-08-11 00:30:00 | 0.783 | 141.24 | 0.827 | 166.24 | 0.777 | 138.131 | 0.861 | 167.09 | 28 | 878 | 81.56 | 0
2020-08-11 00:45:00 | 0.338 | 81.9933 | 0.35533 | 193.9573 | 0.31667 | 80.1907 | 0.35933 | 194.948 | 27.9667 | 878 | 83.6733 | 0
2020-08-11 01:00:00 | 0.41467 | 217.62 | 0.44333 | 256.2933 | 0.48533 | 212.8313 | 0.52333 | 257.604 | 27.8733 | 878 | 84.8333 | 0
2020-08-11 01:15:00 | 0.268 | 152.84 | 0.29 | 146.442 | 0.28 | 149.478 | 0.322 | 147.194 | 28.16 | 878 | 85.5 | 0
2020-08-11 01:30:00 | 0.546 | 129.62 | 0.562 | 120.724 | 0.494 | 126.768 | 0.532 | 121.344 | 27.98 | 878 | 85.4 | 0.316
2020-08-11 01:45:00 | 0.243 | 210 | 0.258 | 197.243 | 0.344 | 205.38 | 0.343 | 198.253 | 27.92 | 878 | 86.2 | 0
2020-08-11 02:00:00 | 0.706 | 209.19 | 0.79 | 191.414 | 0.941 | 204.588 | 1.03 | 192.393 | 27.78 | 878 | 86.67 | 0.005
2020-08-11 02:15:00 | 1.051 | 170.61 | 1.104 | 175.032 | 1.091 | 166.857 | 1.181 | 175.927 | 27.4 | 878 | 86.03 | 0
2020-08-11 02:30:00 | 0.66 | 182.34 | 0.695 | 184.636 | 0.764 | 178.327 | 0.8 | 185.581 | 27.05 | 878 | 86.27 | 0
2020-08-11 02:45:00 | 0.89333 | 184.92 | 0.91733 | 196.0933 | 0.836 | 180.8513 | 0.89933 | 197.098 | 26.7467 | 878 | 87.9533 | 0
2020-08-11 03:00:00 | 0.812 | 176.14 | 0.854 | 207.042 | 0.802 | 172.266 | 0.882 | 208.1 | 27 | 878 | 88.9 | 0
2020-08-11 03:15:00 | 0.67 | 186.14 | 0.744 | 246.436 | 0.766 | 182.044 | 0.878 | 247.696 | 27.06 | 878 | 89.28 | 0
2020-08-11 03:30:00 | 0.343 | 103.82 | 0.356 | 101.86 | 0.331 | 101.536 | 0.363 | 102.379 | 27.29 | 878 | 90.23 | 0.631
2020-08-11 03:45:00 | 0.443 | 326.88 | 0.44 | 83.883 | 0.62 | 319.688 | 0.563 | 84.312 | 27.11 | 877 | 91.02 | 0.789
2020-08-11 04:00:00 | 1.199 | 74.45 | 1.217 | 68.059 | 1.239 | 72.813 | 1.265 | 68.407 | 27.33 | 877 | 91.38 | 1.537
2020-08-11 04:15:00 | 1.79 | 93.89 | 1.771 | 86.278 | 1.868 | 91.824 | 1.811 | 86.72 | 27.45 | 877 | 93.66 | 0.848
2020-08-11 04:30:00 | 1.3 | 97.6 | 1.457 | 104.547 | 1.222 | 95.452 | 1.541 | 105.083 | 27.33 | 877 | 91.99 | 3.193
2020-08-11 04:45:00 | 0.98857 | 95.1929 | 1.0593 | 110.855 | 1.04 | 93.0986 | 1.16 | 111.4221 | 27.0857 | 877 | 89.7429 | 3.105
2020-08-11 05:00:00 | 1.4467 | 125.0467 | 1.5813 | 122.0013 | 1.3953 | 122.2953 | 1.6667 | 122.6267 | 27.0667 | 877 | 89.22 | 2.5813
2020-08-11 05:15:00 | 1.5653 | 177.0733 | 1.682 | 160.1973 | 1.654 | 173.1773 | 1.848 | 161.016 | 26.3333 | 877 | 90.0333 | 3.1467
2020-08-11 05:30:00 | 0.85 | 196.02 | 0.962 | 153.154 | 0.99 | 191.708 | 1.166 | 153.938 | 26.6 | 877 | 90.12 | 1.794
2020-08-11 05:45:00 | 1.612 | 165.4 | 1.69 | 165.144 | 1.868 | 161.76 | 1.938 | 165.988 | 25.76 | 877 | 92.16 | 3.642
2020-08-11 06:00:00 | 2.117 | 137.28 | 2.2 | 133.34 | 2.288 | 134.259 | 2.397 | 134.021 | 26.18 | 877 | 93.66 | 4.853
2020-08-11 06:15:00 | 2.113 | 138.78 | 2.194 | 119.453 | 2.181 | 135.727 | 2.318 | 120.064 | 26.41 | 877 | 94.49 | 3.405
2020-08-11 06:30:00 | 2.336 | 147.3 | 2.387 | 133.155 | 2.38 | 144.059 | 2.466 | 133.836 | 26.44 | 877 | 91.8 | 3.385
2020-08-11 06:45:00 | 2.681 | 129.22 | 2.732 | 118.495 | 2.814 | 126.378 | 2.876 | 119.1 | 26.65 | 877 | 89.48 | 5.884
2020-08-11 07:00:00 | 2.614 | 126.59 | 2.69 | 125.888 | 2.828 | 123.808 | 2.911 | 126.533 | 26.53 | 877 | 88.07 | 5.148
2020-08-11 07:15:00 | 2.245 | 121.31 | 2.438 | 123.101 | 2.542 | 118.642 | 2.823 | 123.731 | 26.36 | 877 | 87.94 | 2.801
2020-08-11 07:30:00 | 1.553 | 134.62 | 1.643 | 154.787 | 1.656 | 131.658 | 1.803 | 155.577 | 26.43 | 877 | 88.88 | 2.917
2020-08-11 07:45:00 | 2.3533 | 133.7067 | 2.3947 | 125.7187 | 2.5013 | 130.7653 | 2.5427 | 126.3607 | 26.7133 | 878 | 89.3867 | 4.96
2020-08-11 08:00:00 | 2.734 | 136.3867 | 2.8573 | 120.908 | 2.7213 | 133.3853 | 2.9613 | 121.5253 | 26.6933 | 878 | 93.7267 | 5.81
2020-08-11 08:15:00 | 2.904 | 144.52 | 2.89 | 133.38 | 2.84 | 141.34 | 2.834 | 134.062 | 26.64 | 878 | 95.52 | 5.292
2020-08-11 08:30:00 | 2.003 | 141.14 | 2.035 | 131.914 | 1.889 | 138.035 | 1.985 | 132.589 | 26.26 | 878 | 96.5 | 3.617
2020-08-11 08:45:00 | 2.037 | 157.95 | 2.15 | 132.372 | 2.001 | 154.474 | 2.228 | 133.047 | 26.17 | 878 | 97.76 | 0.529
2020-08-11 09:00:00 | 1.108 | 144.13 | 1.264 | 187.209 | 1.207 | 140.958 | 1.472 | 188.165 | 25.62 | 878 | 97.54 | 2.351
2020-08-11 09:15:00 | 1.246 | 120.05 | 1.345 | 119.296 | 1.319 | 117.408 | 1.488 | 119.906 | 25.92 | 878 | 98.67 | 2.124
2020-08-11 09:30:00 | 1.414 | 100.13 | 1.518 | 104.429 | 1.28 | 97.926 | 1.519 | 104.962 | 25.97 | 878 | 99.4 | 1.126
2020-08-11 09:45:00 | 1.57 | 78.38 | 1.66 | 64.059 | 1.755 | 76.656 | 1.871 | 64.387 | 25.83 | 878 | 99.58 | 1.903
2020-08-11 10:00:00 | 1.909 | 42.7 | 1.949 | 71.628 | 1.96 | 41.763 | 2.02 | 71.995 | 25.64 | 878 | 99.82 | 1.554
2020-08-11 10:15:00 | 2.6664 | 206.0429 | 2.6829 | 335.88 | 3.4457 | 201.5107 | 3.2564 | 337.5964 | 24.7714 | 878 | 100 | 2.8343
2020-08-11 10:30:00 | 2.8653 | 304.9733 | 2.9467 | 324.096 | 3.758 | 298.2633 | 3.6553 | 325.7547 | 24.74 | 878.8 | 100 | 4.2233
2020-08-11 10:45:00 | 2.5847 | 244.98 | 2.6207 | 330.798 | 3.3107 | 239.5907 | 3.1693 | 332.49 | 24.7267 | 879 | 100 | 2.71
2020-08-11 11:00:00 | 2.312 | 324.86 | 2.344 | 317.91 | 2.946 | 317.714 | 2.818 | 319.536 | 24.7 | 879 | 100 | 1.702
2020-08-11 11:15:00 | 2.198 | 299.63 | 2.203 | 327.825 | 2.746 | 293.039 | 2.597 | 329.502 | 24.8 | 879 | 100 | 2.023
2020-08-11 11:30:00 | 2.5207 | 245.92 | 2.5113 | 327.8973 | 3.136 | 240.5107 | 2.9393 | 329.5747 | 24.6867 | 879 | 99.9 | 2.472
2020-08-11 11:45:00 | 2.748 | 240.06 | 2.804 | 327.744 | 3.428 | 234.778 | 3.348 | 329.42 | 24.68 | 879 | 99.02 | 3.44
2020-08-11 12:00:00 | 1.94 | 286.28 | 1.942 | 295.561 | 2.248 | 279.983 | 2.167 | 297.073 | 24.87 | 879 | 97.55 | 1.188
2020-08-11 12:15:00 | 1.839 | 212.84 | 1.806 | 319.297 | 2.475 | 208.157 | 2.232 | 320.93 | 24.84 | 879 | 96.64 | 1.155
2020-08-11 12:30:00 | 2.2953 | 290.7133 | 2.2733 | 322.9673 | 2.974 | 284.3187 | 2.7407 | 324.6193 | 24.7867 | 879 | 96.74 | 1.8227
2020-08-11 12:45:00 | 2.6033 | 295.8 | 2.6044 | 320.1967 | 3.2322 | 289.2911 | 3.0511 | 321.8367 | 24.7889 | 879 | 96.2778 | 2.578
2020-08-11 13:00:00 | 2.59 | 316.2 | 2.659 | 318.536 | 3.519 | 309.244 | 3.383 | 320.163 | 25.19 | 879 | 95.7 | 2.647
2020-08-11 13:15:00 | 1.984 | 279.3 | 1.992 | 310.808 | 2.502 | 273.154 | 2.37 | 312.398 | 25.22 | 879 | 95.86 | 0.656
2020-08-11 13:30:00 | 1.824 | 312.24 | 1.812 | 321.772 | 2.295 | 305.371 | 2.144 | 323.417 | 25.25 | 880 | 95.98 | 0.272
2020-08-11 13:45:00 | 1.709 | 211.92 | 1.729 | 272.481 | 2.056 | 207.257 | 1.994 | 273.875 | 25.23 | 879.8 | 97.83 | 0.307
2020-08-11 14:00:00 | 1.965 | 211.98 | 1.997 | 327.307 | 2.44 | 207.315 | 2.365 | 328.981 | 24.78 | 879 | 98.78 | 0.056
2020-08-11 14:15:00 | 1.9711 | 295.2889 | 1.9667 | 327.8144 | 2.3844 | 288.7933 | 2.2556 | 329.4922 | 24.7222 | 879 | 99.1111 | 0.257
2020-08-11 14:30:00 | 2.023 | 305.77 | 2.059 | 330.122 | 2.577 | 299.042 | 2.484 | 331.812 | 24.66 | 879 | 99.49 | 0.93
2020-08-11 14:45:00 | 1.95 | 222.2067 | 1.98 | 331.5873 | 2.478 | 217.318 | 2.3773 | 333.2827 | 24.8 | 879 | 99.6667 | 0.93133
2020-08-11 15:00:00 | 2.06 | 253.59 | 1.996 | 329.029 | 2.587 | 248.01 | 2.317 | 330.71 | 24.87 | 879 | 99.62 | 0.778
2020-08-11 15:15:00 | 1.333 | 133.62 | 1.295 | 301.243 | 1.752 | 130.682 | 1.561 | 302.785 | 25.11 | 879 | 99.8 | 0.615
2020-08-11 15:30:00 | 0.942 | 88.44 | 1.02 | 93.578 | 1.048 | 86.494 | 1.164 | 94.054 | 26.2 | 879 | 99.8 | 1.022
2020-08-11 15:45:00 | 1.409 | 91.11 | 1.468 | 91.669 | 1.409 | 89.105 | 1.52 | 92.135 | 26.28 | 879 | 99.25 | 1.512
2020-08-11 16:00:00 | 1.318 | 100.72 | 1.491 | 71.365 | 1.408 | 98.505 | 1.707 | 71.73 | 26.65 | 879 | 97.91 | 1.201
2020-08-11 16:15:00 | 0.96467 | 98.1667 | 1.0487 | 132.3227 | 1.0513 | 96.0073 | 1.184 | 132.9993 | 26.4667 | 879 | 96.6 | 1.3107
2020-08-11 16:30:00 | 1.014 | 69.68 | 1.018 | 202.682 | 1.244 | 68.146 | 1.19 | 203.716 | 26.14 | 879 | 95.54 | 0.526
2020-08-11 16:45:00 | 1.573 | 101.05 | 1.578 | 303.855 | 1.985 | 98.827 | 1.877 | 305.409 | 26.02 | 879 | 95.34 | 0.334
2020-08-11 17:00:00 | 2.2887 | 253.8333 | 2.3727 | 328.738 | 2.7067 | 248.2487 | 2.7473 | 330.4193 | 25.3867 | 879 | 97.2933 | 0.97067
2020-08-11 17:15:00 | 2.026 | 200.06 | 2.072 | 319.846 | 2.588 | 195.66 | 2.51 | 321.48 | 25.18 | 879 | 97.98 | 0.396
2020-08-11 17:30:00 | 2.218 | 266.85 | 2.119 | 306.351 | 2.576 | 260.979 | 2.286 | 307.917 | 25.48 | 879 | 98.43 | 0.121
2020-08-11 17:45:00 | 1.808 | 264.96 | 1.832 | 297.921 | 2.32 | 259.13 | 2.221 | 299.443 | 25.62 | 879 | 98.39 | 0.119
2020-08-11 18:00:00 | 1.9713 | 272.84 | 1.9613 | 321.736 | 2.4733 | 266.838 | 2.31 | 323.3813 | 26.1867 | 879 | 96.48 | 0.16267
2020-08-11 18:15:00 | 2.412 | 321.74 | 2.45 | 320.548 | 2.836 | 314.662 | 2.79 | 322.188 | 25.88 | 879 | 95.26 | 0.518
2020-08-11 18:30:00 | 2.468 | 318.3 | 2.582 | 304.803 | 3.225 | 311.298 | 3.222 | 306.362 | 25.55 | 879 | 95.22 | 1.485
2020-08-11 18:45:00 | 2.706 | 325.76 | 2.845 | 309.996 | 3.395 | 318.594 | 3.457 | 311.582 | 25.41 | 879 | 96.15 | 2.237
2020-08-11 19:00:00 | 3.344 | 320.2 | 3.524 | 301.634 | 3.9 | 313.158 | 4.078 | 303.178 | 25.26 | 879 | 96.5 | 4.946
2020-08-11 19:15:00 | 2.963 | 325.41 | 3.171 | 311.914 | 3.638 | 318.251 | 3.836 | 313.508 | 25.04 | 879 | 96.94 | 4.453
2020-08-11 19:30:00 | 3.469 | 337.7 | 3.731 | 311.894 | 4.142 | 330.272 | 4.444 | 313.488 | 25.12 | 879 | 97.86 | 6.06
2020-08-11 19:45:00 | 3.8033 | 340.1067 | 4.1873 | 320.8413 | 4.4907 | 332.6267 | 5.024 | 322.4827 | 24.8933 | 879 | 99.0533 | 8.6107
2020-08-11 20:00:00 | 3.8267 | 336.5889 | 4.21 | 321.0122 | 4.5178 | 329.1844 | 5.0433 | 322.6544 | 24.8778 | 879 | 99.5 | 9.794
2020-08-11 20:15:00 | 3.9 | 333.26 | 4.25 | 316.003 | 4.65 | 325.927 | 5.096 | 317.617 | 24.87 | 879 | 99.62 | 10.822
2020-08-11 20:30:00 | 4.1367 | 331.2 | 4.532 | 314.8247 | 4.9347 | 323.9153 | 5.4533 | 316.436 | 24.6333 | 879 | 99.9133 | 12.6287
2020-08-11 20:45:00 | 4.384 | 336.86 | 4.774 | 319.924 | 5.132 | 329.45 | 5.652 | 321.558 | 24.6 | 879 | 100 | 15.012
2020-08-11 21:00:00 | 5.046 | 341.64 | 5.417 | 332.471 | 5.745 | 334.123 | 6.244 | 334.171 | 24.4 | 879 | 100 | 20.309
2020-08-11 21:15:00 | 5.251 | 345.93 | 5.607 | 333.616 | 5.967 | 338.32 | 6.432 | 335.321 | 24.42 | 879 | 100 | 23.533
2020-08-11 21:30:00 | 5.174 | 343.5 | 5.562 | 328.96 | 5.76 | 335.942 | 6.324 | 330.642 | 24.12 | 879 | 100 | 22.74
2020-08-11 21:45:00 | 4.893 | 351.75 | 5.327 | 326.241 | 5.578 | 344.012 | 6.196 | 327.909 | 23.98 | 879 | 100 | 20.658
2020-08-11 22:00:00 | 4.992 | 330.33 | 5.371 | 319.015 | 5.772 | 323.065 | 6.268 | 320.643 | 23.89 | 879 | 100 | 20.15
2020-08-11 22:15:00 | 4.9873 | 337.0733 | 5.4293 | 324.1087 | 5.7 | 329.6573 | 6.3267 | 325.766 | 23.8933 | 880 | 100 | 23.9007
2020-08-11 22:30:00 | 5.24 | 346.5 | 5.698 | 324.244 | 6.026 | 338.878 | 6.666 | 325.904 | 23.78 | 880 | 100 | 27.558
2020-08-11 22:45:00 | 5.461 | 344.32 | 5.882 | 327.718 | 6.203 | 336.744 | 6.785 | 329.394 | 23.83 | 879.8 | 99.63 | 27.678
2020-08-11 23:00:00 | 5.116 | 339.48 | 5.537 | 323.924 | 5.998 | 332.011 | 6.537 | 325.579 | 23.91 | 879 | 97.94 | 24.268
2020-08-11 23:15:00 | 4.9253 | 335.2867 | 5.3333 | 322.1527 | 5.7673 | 327.9113 | 6.2947 | 323.802 | 23.82 | 879 | 97.68 | 21.874
2020-08-11 23:30:00 | 4.766 | 342.42 | 5.162 | 316.148 | 5.518 | 334.886 | 6.052 | 317.764 | 23.74 | 879 | 98 | 20.87
2020-08-11 23:45:00 | 4.963 | 344.65 | 5.354 | 323.26 | 5.714 | 337.067 | 6.241 | 324.911 | 23.79 | 879 | 97.8 | 21.157