## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-12 00:00:00 | 5.199 | 339.21 | 5.602 | 324.589 | 5.943 | 331.748 | 6.485 | 326.248 | 23.72 | 879 | 97.1 | 24.607
2020-08-12 00:15:00 | 5.564 | 344.56 | 6.01 | 326.926 | 6.33 | 336.978 | 6.956 | 328.598 | 23.68 | 879 | 96.86 | 27.568
2020-08-12 00:30:00 | 5.258 | 310.73 | 5.722 | 322.262 | 6.117 | 303.893 | 6.74 | 323.909 | 23.61 | 879 | 97.4 | 26.343
2020-08-12 00:45:00 | 5.3013 | 340.3533 | 5.7093 | 322.7847 | 6.0847 | 332.8667 | 6.63 | 324.434 | 23.5733 | 879 | 97.44 | 25.086
2020-08-12 01:00:00 | 5.186 | 340.8 | 5.582 | 323.168 | 5.848 | 333.302 | 6.406 | 324.824 | 23.54 | 879 | 97.14 | 25.744
2020-08-12 01:15:00 | 4.926 | 343.48 | 5.344 | 326.211 | 5.71 | 335.924 | 6.274 | 327.882 | 23.47 | 879 | 97.58 | 21.818
2020-08-12 01:30:00 | 5.0193 | 340.34 | 5.3813 | 321.846 | 5.9773 | 332.8513 | 6.3887 | 323.4927 | 23.42 | 879 | 97.38 | 22.8347
2020-08-12 01:45:00 | 4.81 | 343.08 | 5.17 | 320.666 | 5.616 | 335.532 | 6.064 | 322.308 | 23.44 | 879 | 97.54 | 20.3
2020-08-12 02:00:00 | 4.785 | 344.36 | 5.127 | 328.178 | 5.746 | 336.784 | 6.111 | 329.855 | 23.41 | 879 | 97.78 | 19.604
2020-08-12 02:15:00 | 4.891 | 342.99 | 5.29 | 328.667 | 5.881 | 335.444 | 6.35 | 330.347 | 23.33 | 879 | 97.36 | 21.234
2020-08-12 02:30:00 | 5.178 | 338.52 | 5.622 | 329.782 | 6.038 | 331.074 | 6.624 | 331.468 | 23.28 | 879 | 97.5 | 24.03
2020-08-12 02:45:00 | 4.851 | 336.72 | 5.267 | 324.999 | 5.674 | 329.312 | 6.218 | 326.662 | 23.25 | 878 | 97.84 | 22.449
2020-08-12 03:00:00 | 5.056 | 345.44 | 5.467 | 328.864 | 5.882 | 337.841 | 6.418 | 330.545 | 23.34 | 878 | 97.98 | 23.535
2020-08-12 03:15:00 | 4.672 | 341.64 | 5.08 | 330.936 | 5.524 | 334.124 | 6.05 | 332.628 | 23.2 | 878 | 98 | 21.196
2020-08-12 03:30:00 | 4.249 | 340.91 | 4.453 | 321.118 | 4.982 | 333.409 | 5.16 | 322.758 | 23.26 | 878 | 98.02 | 13.869
2020-08-12 03:45:00 | 4.242 | 299.97 | 4.391 | 325.448 | 4.966 | 293.371 | 5.044 | 327.112 | 23.2 | 878 | 97.18 | 13.892
2020-08-12 04:00:00 | 4.184 | 333.04 | 4.38 | 326.826 | 5.082 | 325.71 | 5.2 | 328.498 | 23.06 | 878 | 97.5 | 14.864
2020-08-12 04:15:00 | 4.24 | 329.27 | 4.409 | 319.943 | 5.268 | 322.025 | 5.292 | 321.58 | 23.08 | 878 | 97.86 | 15.179
2020-08-12 04:30:00 | 3.889 | 341.74 | 4.084 | 321.947 | 4.855 | 334.221 | 4.948 | 323.593 | 23.02 | 878 | 98.78 | 11.583
2020-08-12 04:45:00 | 3.96 | 341.78 | 4.2733 | 330.492 | 4.8233 | 334.262 | 5.1687 | 332.182 | 22.84 | 878 | 99.6667 | 11.496
2020-08-12 05:00:00 | 3.44 | 337.38 | 3.664 | 330.624 | 4.298 | 329.956 | 4.476 | 332.314 | 22.78 | 878 | 99.94 | 6.846
2020-08-12 05:15:00 | 0.838 | 226.7 | 0.906 | 222.73 | 0.951 | 221.711 | 1.047 | 223.867 | 23.02 | 878.2 | 100 | 0
2020-08-12 05:30:00 | 2.8847 | 271.3267 | 2.9707 | 244.7087 | 3.2093 | 265.358 | 3.2813 | 245.9593 | 22.7067 | 878.8667 | 100 | 0.93667
2020-08-12 05:45:00 | 2.73 | 139.52 | 2.788 | 329.488 | 3.514 | 136.45 | 3.402 | 331.172 | 22.4 | 878 | 100 | 3.522
2020-08-12 06:00:00 | 2.737 | 212.79 | 2.817 | 337.967 | 3.306 | 208.109 | 3.298 | 339.697 | 22.3 | 878 | 100 | 2.706
2020-08-12 06:15:00 | 2.474 | 307.25 | 2.558 | 335.006 | 2.995 | 300.49 | 3.006 | 336.717 | 22.1 | 878 | 100 | 1.799
2020-08-12 06:30:00 | 1.998 | 237.84 | 1.994 | 324.188 | 2.558 | 232.608 | 2.386 | 325.846 | 22.18 | 878 | 100 | 0.84
2020-08-12 06:45:00 | 2.126 | 179.51 | 2.137 | 335.503 | 2.653 | 175.56 | 2.524 | 337.22 | 22.2 | 878 | 100 | 0.81
2020-08-12 07:00:00 | 1.979 | 84.03 | 2.008 | 323.218 | 2.534 | 82.181 | 2.43 | 324.871 | 22.2 | 878 | 100 | 0.716
2020-08-12 07:15:00 | 2.944 | 207.72 | 3.068 | 323.034 | 3.514 | 203.15 | 3.59 | 324.686 | 22.18 | 878 | 100 | 2.06
2020-08-12 07:30:00 | 3.531 | 338.89 | 3.657 | 320.999 | 4.296 | 331.434 | 4.316 | 322.641 | 22.23 | 878 | 100 | 7.149
2020-08-12 07:45:00 | 3.724 | 340.11 | 3.903 | 320.948 | 4.363 | 332.627 | 4.525 | 322.591 | 22.16 | 878 | 100 | 8.756
2020-08-12 08:00:00 | 4.0873 | 339.2333 | 4.2833 | 325.5173 | 4.7073 | 331.77 | 4.902 | 327.182 | 22.1 | 878 | 100 | 11.574
2020-08-12 08:15:00 | 4.296 | 343.36 | 4.498 | 322.916 | 4.966 | 335.804 | 5.154 | 324.57 | 22.12 | 878 | 100 | 12.612
2020-08-12 08:30:00 | 3.607 | 274.13 | 3.778 | 324.343 | 4.227 | 268.098 | 4.371 | 326.003 | 22.09 | 878 | 100 | 7.923
2020-08-12 08:45:00 | 3.2733 | 341.7667 | 3.386 | 321.5667 | 3.9247 | 334.248 | 3.9513 | 323.2107 | 22.1067 | 878 | 100 | 6.7187
2020-08-12 09:00:00 | 3.099 | 291.27 | 3.179 | 320.266 | 3.929 | 284.862 | 3.838 | 321.904 | 22.08 | 878 | 100 | 6.108
2020-08-12 09:15:00 | 2.409 | 149.16 | 2.413 | 326.37 | 3.111 | 145.878 | 2.919 | 328.038 | 22.16 | 878 | 100 | 2.958
2020-08-12 09:30:00 | 2.7413 | 210.5267 | 2.6913 | 321.534 | 3.4593 | 205.8947 | 3.1613 | 323.1767 | 22.26 | 878 | 100 | 4.2287
2020-08-12 09:45:00 | 2.837 | 256.06 | 2.876 | 323.64 | 3.54 | 250.428 | 3.413 | 325.294 | 22.3 | 878.2 | 100 | 3.934
2020-08-12 10:00:00 | 2.614 | 171.42 | 2.65 | 329.761 | 3.128 | 167.649 | 3.045 | 331.447 | 22.55 | 879 | 100 | 2.964
2020-08-12 10:15:00 | 2.072 | 112.48 | 2.0827 | 283.372 | 2.6447 | 110.0053 | 2.5033 | 284.822 | 22.58 | 879 | 100 | 2.11
2020-08-12 10:30:00 | 1.718 | 45.72 | 1.67 | 317.908 | 2.29 | 44.714 | 2.03 | 319.534 | 22.56 | 879 | 100 | 1.282
2020-08-12 10:45:00 | 1.426 | 178.19 | 1.384 | 276.969 | 1.922 | 174.27 | 1.7 | 278.384 | 22.96 | 879 | 100 | 0.624
2020-08-12 11:00:00 | 1.5153 | 158.7533 | 1.504 | 323.9793 | 1.8307 | 155.2593 | 1.7233 | 325.636 | 22.8333 | 879 | 100 | 0
2020-08-12 11:15:00 | 1.6764 | 209.2214 | 1.6771 | 308.6286 | 2.0629 | 204.6186 | 1.9536 | 310.2064 | 23.1286 | 879.4286 | 100 | 0
2020-08-12 11:30:00 | 1.945 | 284.25 | 2.049 | 289.301 | 2.6 | 277.997 | 2.607 | 290.78 | 23.26 | 880 | 100 | 0.675
2020-08-12 11:45:00 | 1.364 | 215.44 | 1.448 | 251.98 | 1.899 | 210.701 | 1.906 | 253.269 | 23.2 | 880 | 100 | 0
2020-08-12 12:00:00 | 1.346 | 290.8067 | 1.452 | 306.2453 | 1.9427 | 284.4087 | 1.968 | 307.8107 | 23.34 | 880 | 100 | 0
2020-08-12 12:15:00 | 2.2533 | 248.14 | 2.4347 | 281.3047 | 2.9453 | 242.68 | 3.0907 | 282.744 | 23.28 | 880 | 100 | 0.918
2020-08-12 12:30:00 | 2.946 | 208.54 | 3.145 | 332.333 | 3.707 | 203.951 | 3.866 | 334.034 | 23.19 | 880 | 100 | 3.558
2020-08-12 12:45:00 | 3.705 | 274.94 | 3.988 | 314.447 | 4.469 | 268.893 | 4.784 | 316.054 | 22.58 | 880 | 100 | 9.018
2020-08-12 13:00:00 | 4.03 | 339.92 | 4.3193 | 322.3493 | 4.878 | 332.4427 | 5.1957 | 323.7571 | 22.7867 | 880 | 100 | 10.6253
2020-08-12 13:15:00 | 4.49 | 312.93 | 4.79 | 320.929 | 5.421 | 306.044 | 5.722 | 322.572 | 22.9 | 880 | 100 | 14.625
2020-08-12 13:30:00 | 4.902 | 344.28 | 5.455 | 322.751 | 5.919 | 336.706 | 6.669 | 324.398 | 22.66 | 880 | 100 | 21.936
2020-08-12 13:45:00 | 5.4787 | 344.18 | 6.0413 | 330.036 | 6.4447 | 336.6087 | 7.23 | 331.724 | 22.5667 | 880 | 100 | 27.9847
2020-08-12 14:00:00 | 5.7967 | 344.5222 | 6.3556 | 332.1956 | 6.6978 | 336.9422 | 7.5011 | 333.8911 | 22.5111 | 880 | 100 | 29.3356
2020-08-12 14:15:00 | 5.591 | 346.36 | 6.113 | 323.171 | 6.464 | 338.741 | 7.203 | 324.821 | 22.45 | 880 | 100 | 30.356
2020-08-12 14:30:00 | 6.6033 | 345.08 | 7.1267 | 326.9647 | 7.4207 | 337.4887 | 8.176 | 328.6373 | 22.4133 | 880 | 100 | 36.7153
2020-08-12 14:45:00 | 6.9957 | 347.0929 | 7.6886 | 266.715 | 7.8243 | 339.4564 | 8.8921 | 268.0771 | 22.4429 | 880 | 100 | 41.4586
2020-08-12 15:00:00 | 8.3767 | 280.9333 | 9.14 | 207.702 | 9.6793 | 274.7533 | 10.746 | 208.764 | 21.2067 | 880 | 100 | 56.062
2020-08-12 15:15:00 | 9.321 | 346.85 | 10.001 | 237.801 | 10.302 | 339.22 | 11.303 | 239.017 | 20.06 | 880 | 100 | 60.343
2020-08-12 15:30:00 | 9.633 | 342.52 | 10.369 | 332.169 | 10.726 | 334.984 | 11.807 | 333.868 | 19.23 | 880 | 100 | 61.531
2020-08-12 15:45:00 | 10.45 | 341.3533 | 11.3847 | 334.418 | 11.5427 | 333.8427 | 12.998 | 336.1273 | 18.6467 | 880 | 100 | 63.736
2020-08-12 16:00:00 | 10.198 | 309.91 | 11.089 | 328.441 | 11.442 | 303.092 | 12.771 | 330.122 | 18.42 | 880 | 100 | 63.066
2020-08-12 16:15:00 | 10.472 | 338.86 | 11.311 | 326.388 | 11.436 | 331.404 | 12.746 | 328.057 | 18.21 | 880 | 100 | 62.471
2020-08-12 16:30:00 | 10.4333 | 337.86 | 11.1907 | 326.3007 | 11.0627 | 330.4267 | 12.3193 | 327.9673 | 18.04 | 880 | 100 | 62.696
2020-08-12 16:45:00 | 9.7147 | 298.2867 | 10.484 | 308.578 | 10.5827 | 291.7233 | 11.7927 | 310.1573 | 17.9533 | 880 | 100 | 64.1153
2020-08-12 17:00:00 | 9.467 | 313.34 | 10.07 | 274.397 | 10.36 | 306.447 | 11.252 | 275.802 | 17.81 | 880 | 100 | 59.784
2020-08-12 17:15:00 | 10.494 | 310.39 | 11.195 | 337.929 | 11.676 | 303.562 | 12.664 | 339.657 | 17.57 | 880.8 | 100 | 63.434
2020-08-12 17:30:00 | 9.6353 | 346.32 | 10.3 | 334.378 | 10.7453 | 338.702 | 11.686 | 336.0873 | 17.5867 | 880 | 100 | 61.3473
2020-08-12 17:45:00 | 8.275 | 245.24 | 8.912 | 332.698 | 9.426 | 239.846 | 10.296 | 334.397 | 17.63 | 880 | 100 | 62.096
2020-08-12 18:00:00 | 7.455 | 281.09 | 7.961 | 335.639 | 8.407 | 274.906 | 9.094 | 337.355 | 17.59 | 880 | 100 | 59.372
2020-08-12 18:15:00 | 9.1193 | 324.7 | 9.6053 | 318.8293 | 10.046 | 317.556 | 10.6973 | 320.4567 | 17.48 | 881 | 100 | 63.3987
2020-08-12 18:30:00 | 9.586 | 217.06 | 10.096 | 342.18 | 10.612 | 212.284 | 11.28 | 343.932 | 17.5 | 880.6 | 100 | 64.012
2020-08-12 18:45:00 | 9.944 | 311.51 | 10.649 | 301.056 | 11.344 | 304.657 | 12.271 | 302.596 | 17.45 | 880 | 100 | 63.339
2020-08-12 19:00:00 | 9.581 | 317.08 | 10.284 | 332.97 | 10.93 | 310.104 | 11.865 | 334.673 | 17.44 | 880 | 100 | 61.744
2020-08-12 19:15:00 | 9.4743 | 298.0857 | 10.0764 | 328.5929 | 10.5986 | 291.5279 | 11.4207 | 330.2743 | 17.5429 | 880 | 100 | 62.754
2020-08-12 19:30:00 | 8.367 | 312.82 | 8.891 | 333.049 | 9.151 | 305.937 | 9.922 | 334.751 | 17.68 | 880 | 100 | 62.035
2020-08-12 19:45:00 | 7.877 | 342.97 | 8.29 | 326.758 | 8.525 | 335.426 | 9.121 | 328.43 | 18.14 | 880 | 100 | 61.064
2020-08-12 20:00:00 | 7.432 | 347.8 | 7.8993 | 332.1553 | 8.1553 | 340.1473 | 8.8393 | 333.8527 | 18.4 | 880.1333 | 100 | 56.9193
2020-08-12 20:15:00 | 7.1533 | 327.6133 | 7.6027 | 335.662 | 7.8813 | 320.4053 | 8.522 | 337.3787 | 18.6267 | 881 | 100 | 54.7553
2020-08-12 20:30:00 | 7.228 | 344.91 | 7.666 | 337.888 | 7.791 | 337.322 | 8.47 | 339.616 | 19.06 | 881 | 100 | 55.326
2020-08-12 20:45:00 | 7.826 | 344.31 | 8.247 | 331.541 | 8.461 | 336.735 | 9.075 | 333.237 | 18.9 | 881 | 100 | 58.458
2020-08-12 21:00:00 | 7.889 | 347.87 | 8.394 | 336.775 | 8.634 | 340.217 | 9.375 | 338.497 | 18.62 | 881 | 100 | 59.293
2020-08-12 21:15:00 | 8.8567 | 345.6733 | 9.4367 | 338.336 | 9.5907 | 338.068 | 10.4747 | 340.0653 | 18.5933 | 881 | 100 | 61.9087
2020-08-12 21:30:00 | 9.0133 | 321.1267 | 9.558 | 333.1647 | 9.9767 | 314.0627 | 10.734 | 334.8687 | 18.5133 | 881 | 100 | 61.9967
2020-08-12 21:45:00 | 8.514 | 309.34 | 8.944 | 330.935 | 9.409 | 302.535 | 9.967 | 332.629 | 18.31 | 881 | 100 | 60.719
2020-08-12 22:00:00 | 8.933 | 347.59 | 9.44 | 334.163 | 9.709 | 339.944 | 10.447 | 335.871 | 18.32 | 881 | 100 | 61.684
2020-08-12 22:15:00 | 8.178 | 343.4 | 8.754 | 337.26 | 9.1327 | 335.846 | 9.9487 | 338.9847 | 18.6933 | 881 | 100 | 61.9447
2020-08-12 22:30:00 | 8.96 | 308.54 | 9.436 | 297.831 | 10.087 | 301.753 | 10.661 | 299.353 | 18.87 | 881 | 100 | 62.891
2020-08-12 22:45:00 | 9.0347 | 341.1667 | 9.632 | 330.0813 | 9.8567 | 333.6613 | 10.7493 | 331.768 | 18.8533 | 881 | 100 | 62.836
2020-08-12 23:00:00 | 8.491 | 343.91 | 9.032 | 233.665 | 9.64 | 336.343 | 10.338 | 234.857 | 18.79 | 881 | 100 | 61.001
2020-08-12 23:15:00 | 8.524 | 344.04 | 9.152 | 331.806 | 9.319 | 336.47 | 10.279 | 333.502 | 18.97 | 880.2 | 100 | 61.225
2020-08-12 23:30:00 | 9.0047 | 348.54 | 9.656 | 335.1993 | 9.9733 | 340.8727 | 10.9253 | 336.914 | 19.2933 | 881 | 100 | 62.8813
2020-08-12 23:45:00 | 8.2007 | 340.8 | 8.6213 | 331.9787 | 8.74 | 333.302 | 9.3833 | 333.6773 | 19.7 | 881 | 100 | 61.0147