## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-13 00:00:00 | 7.558 | 340.41 | 7.953 | 303.043 | 8.081 | 332.921 | 8.685 | 304.593 | 19.61 | 881 | 100 | 60.131
2020-08-13 00:15:00 | 7.589 | 342.94 | 8.009 | 336.277 | 8.024 | 335.395 | 8.7 | 337.996 | 19.37 | 881 | 100 | 59.282
2020-08-13 00:30:00 | 7.816 | 348.4533 | 8.198 | 338.5833 | 8.252 | 340.7887 | 8.8467 | 340.314 | 19.8067 | 881 | 100 | 58.0953
2020-08-13 00:45:00 | 7.585 | 345.62 | 7.989 | 342.641 | 8.039 | 338.016 | 8.677 | 344.394 | 20.06 | 881 | 100 | 57.77
2020-08-13 01:00:00 | 7.918 | 343.92 | 8.348 | 333.403 | 8.52 | 336.353 | 9.158 | 335.106 | 20.31 | 881 | 100 | 57.747
2020-08-13 01:15:00 | 8.048 | 341.99 | 8.516 | 333.264 | 8.34 | 334.466 | 9.147 | 334.966 | 20.38 | 881 | 100 | 57.417
2020-08-13 01:30:00 | 7.905 | 346.86 | 8.412 | 329.203 | 8.244 | 339.229 | 9.111 | 330.888 | 19.68 | 881 | 100 | 56.528
2020-08-13 01:45:00 | 7.572 | 352.32 | 8.052 | 335.845 | 8.03 | 344.568 | 8.809 | 337.561 | 19.67 | 881 | 100 | 52.777
2020-08-13 02:00:00 | 7.7433 | 351.82 | 8.1707 | 335.468 | 8.0967 | 344.0787 | 8.81 | 337.1833 | 20 | 881 | 99.9133 | 55.9453
2020-08-13 02:15:00 | 6.946 | 212.6533 | 7.3467 | 338.5187 | 7.474 | 207.974 | 8.0847 | 340.2507 | 20.3333 | 881 | 98.3267 | 50.8867
2020-08-13 02:30:00 | 6.383 | 142.43 | 6.843 | 338.27 | 7.026 | 139.298 | 7.709 | 340.001 | 20.31 | 881 | 97.84 | 44.169
2020-08-13 02:45:00 | 6.372 | 249.16 | 6.796 | 333.919 | 7.084 | 243.678 | 7.68 | 335.626 | 20.42 | 881 | 96.14 | 43.887
2020-08-13 03:00:00 | 6.513 | 210.78 | 6.821 | 332.451 | 7.295 | 207.365 | 7.667 | 334.151 | 20.22 | 881 | 97.32 | 45.39
2020-08-13 03:15:00 | 6.5727 | 282.6 | 6.912 | 326.534 | 7.3387 | 276.3833 | 7.7627 | 328.2033 | 20.2933 | 881 | 98.22 | 46.784
2020-08-13 03:30:00 | 7.3613 | 352.9467 | 7.8433 | 323.9513 | 8.0893 | 345.182 | 8.7933 | 325.6073 | 20.3733 | 881 | 97.56 | 50.2673
2020-08-13 03:45:00 | 7.656 | 353.43 | 8.229 | 324.383 | 8.336 | 345.656 | 9.227 | 326.042 | 20.42 | 881 | 97.86 | 50.635
2020-08-13 04:00:00 | 7.515 | 350.07 | 8.09 | 322.534 | 8.365 | 342.368 | 9.2 | 324.184 | 19.93 | 881 | 97.62 | 50.628
2020-08-13 04:15:00 | 7.6553 | 326.98 | 8.18 | 328.3473 | 8.4213 | 319.786 | 9.1893 | 330.0267 | 20.16 | 880 | 97.3267 | 51.3567
2020-08-13 04:30:00 | 7.779 | 353.43 | 8.3 | 328.051 | 8.424 | 345.653 | 9.218 | 329.728 | 20.07 | 880 | 97.47 | 50.349
2020-08-13 04:45:00 | 8.528 | 317.71 | 9.071 | 330.466 | 9.235 | 310.722 | 10.063 | 332.156 | 20.37 | 880 | 96.14 | 56.068
2020-08-13 05:00:00 | 9.3767 | 308.0467 | 10.0433 | 331.21 | 10.3347 | 301.27 | 11.3253 | 332.904 | 20.6467 | 880 | 96.8867 | 56.7087
2020-08-13 05:15:00 | 8.912 | 330.2333 | 9.5913 | 328.1247 | 9.8667 | 322.968 | 10.878 | 329.804 | 20.4667 | 880 | 98.1133 | 56.0653
2020-08-13 05:30:00 | 8.961 | 350.09 | 9.632 | 323.161 | 10.01 | 342.388 | 10.981 | 324.812 | 20.55 | 880 | 97.92 | 55.992
2020-08-13 05:45:00 | 8.609 | 349.58 | 9.199 | 325.458 | 9.393 | 341.888 | 10.284 | 327.122 | 20.27 | 880 | 97.1 | 54.639
2020-08-13 06:00:00 | 8.8233 | 323.9067 | 9.4193 | 332.9433 | 9.7533 | 316.7807 | 10.6173 | 334.646 | 20.12 | 880 | 98.1933 | 55.38
2020-08-13 06:15:00 | 9.202 | 353.54 | 9.858 | 333.126 | 10.14 | 345.762 | 11.122 | 334.83 | 20.22 | 880 | 99 | 57.226
2020-08-13 06:30:00 | 9.308 | 352.03 | 9.976 | 324.696 | 10.138 | 344.286 | 11.164 | 326.356 | 20.16 | 880 | 99.38 | 56.544
2020-08-13 06:45:00 | 9.1953 | 351.2867 | 9.892 | 325.902 | 9.9967 | 343.5587 | 11.082 | 327.568 | 20.1067 | 880 | 98.6733 | 58.4453
2020-08-13 07:00:00 | 9.0153 | 346.48 | 9.6787 | 324.258 | 9.8647 | 338.8573 | 10.8753 | 325.916 | 20.2867 | 880 | 96.92 | 57.4773
2020-08-13 07:15:00 | 8.805 | 347.57 | 9.463 | 326.779 | 9.691 | 339.923 | 10.684 | 328.45 | 20.45 | 880.2 | 96.84 | 56.125
2020-08-13 07:30:00 | 8.945 | 347.29 | 9.587 | 322.242 | 9.967 | 339.649 | 10.895 | 323.889 | 20.5 | 881 | 98.18 | 56.375
2020-08-13 07:45:00 | 9.224 | 348.6333 | 9.8387 | 330.846 | 9.9627 | 340.9627 | 10.9133 | 332.5367 | 20.5867 | 881 | 95.4267 | 58.2447
2020-08-13 08:00:00 | 9.242 | 350.84 | 9.88 | 327.042 | 10.164 | 343.122 | 11.1 | 328.716 | 20.6 | 881.4 | 93.34 | 58.302
2020-08-13 08:15:00 | 8.801 | 349.45 | 9.447 | 328.257 | 9.696 | 341.763 | 10.66 | 329.933 | 20.51 | 882 | 92.32 | 54.59
2020-08-13 08:30:00 | 8.996 | 346.59 | 9.618 | 330.153 | 9.824 | 338.966 | 10.767 | 331.842 | 20.6 | 882 | 91.58 | 55.109
2020-08-13 08:45:00 | 8.908 | 347.36 | 9.502 | 326.378 | 9.648 | 339.716 | 10.542 | 328.046 | 20.74 | 882 | 89.64 | 56.216
2020-08-13 09:00:00 | 7.99 | 349.21 | 8.481 | 326.68 | 8.704 | 341.526 | 9.431 | 328.35 | 20.75 | 882.7 | 86.9 | 51.454
2020-08-13 09:15:00 | 7.958 | 348.96 | 8.493 | 327.385 | 8.566 | 341.282 | 9.404 | 329.059 | 20.89 | 883 | 84.81 | 52.561
2020-08-13 09:30:00 | 7.6047 | 320.6933 | 8.116 | 321.6193 | 8.1953 | 313.638 | 8.9953 | 323.264 | 21.4067 | 883 | 82.5733 | 51.3293
2020-08-13 09:45:00 | 7.534 | 342.82 | 8.07 | 325.812 | 8.23 | 335.276 | 9.044 | 327.476 | 21.68 | 883 | 80.76 | 50.28
2020-08-13 10:00:00 | 7.427 | 344.64 | 7.991 | 324.567 | 8.013 | 337.057 | 8.909 | 326.229 | 21.92 | 883 | 80.4 | 49.721
2020-08-13 10:15:00 | 7.2533 | 338.9 | 7.706 | 323.288 | 7.458 | 331.4433 | 8.2627 | 324.9407 | 22.76 | 883 | 77.442 | 46.2693
2020-08-13 10:30:00 | 7.094 | 337.24 | 7.466 | 323.208 | 7.548 | 329.82 | 8.13 | 324.862 | 23.06 | 883 | 76.48 | 48.206
2020-08-13 10:45:00 | 6.594 | 336.54 | 7.015 | 319.59 | 7.065 | 329.135 | 7.73 | 321.224 | 23.38 | 883 | 74.02 | 45.976
2020-08-13 11:00:00 | 7.09 | 340.17 | 7.557 | 319.688 | 7.746 | 332.686 | 8.45 | 321.324 | 23.64 | 883 | 69.385 | 48.196
2020-08-13 11:15:00 | 6.948 | 335.0867 | 7.4647 | 323.646 | 7.5793 | 327.7133 | 8.3787 | 325.3007 | 24.1067 | 883 | 72.0287 | 47.8587
2020-08-13 11:30:00 | 6.423 | 338.84 | 6.955 | 324.069 | 6.933 | 331.387 | 7.796 | 325.726 | 24.53 | 883.7 | 69.9 | 45.868
2020-08-13 11:45:00 | 6.217 | 341.59 | 6.663 | 325.157 | 7.122 | 334.075 | 7.707 | 326.818 | 24.87 | 884 | 67.883 | 41.505
2020-08-13 12:00:00 | 5.867 | 339.67 | 6.186 | 328.042 | 6.661 | 332.197 | 7.035 | 329.718 | 25.38 | 884 | 66.398 | 39.365
2020-08-13 12:15:00 | 5.3027 | 251.4067 | 5.488 | 324.8987 | 6.184 | 245.876 | 6.2807 | 326.56 | 25.7867 | 884 | 65.7413 | 29.794
2020-08-13 12:30:00 | 5.262 | 310.29 | 5.479 | 293.428 | 5.999 | 303.462 | 6.198 | 294.93 | 26.19 | 884 | 63.037 | 29.805
2020-08-13 12:45:00 | 4.917 | 247.92 | 5.159 | 324.04 | 5.307 | 242.465 | 5.656 | 325.698 | 26.47 | 884 | 62.61 | 26.003
2020-08-13 13:00:00 | 4.578 | 278.5133 | 4.8393 | 282.9947 | 5.1847 | 272.3867 | 5.506 | 284.44 | 26.58 | 884 | 64.686 | 21.4147
2020-08-13 13:15:00 | 4.32 | 271.88 | 4.414 | 334.71 | 4.852 | 265.9 | 4.88 | 336.422 | 26.6 | 884 | 65.892 | 17.248
2020-08-13 13:30:00 | 3.268 | 276.76 | 3.481 | 235.825 | 3.736 | 270.672 | 4.004 | 237.03 | 27.6 | 884 | 60.276 | 12.893
2020-08-13 13:45:00 | 3.39 | 241.41 | 3.469 | 272.911 | 3.85 | 236.099 | 3.874 | 274.307 | 27.64 | 884 | 60.066 | 9.323
2020-08-13 14:00:00 | 2.5313 | 111.3667 | 2.578 | 136.724 | 2.694 | 108.9167 | 2.74 | 137.4227 | 27.86 | 884 | 58.486 | 3.2847
2020-08-13 14:15:00 | 2.304 | 90.5 | 2.406 | 204.712 | 2.394 | 88.508 | 2.57 | 205.76 | 28.08 | 884 | 57.654 | 1.562
2020-08-13 14:30:00 | 1.625 | 109.01 | 1.847 | 106.573 | 1.884 | 106.613 | 2.233 | 107.116 | 28.66 | 884 | 56.88 | 0
2020-08-13 14:45:00 | 2.6086 | 114.8857 | 2.8079 | 132.2393 | 3.2593 | 112.3571 | 3.4507 | 132.9157 | 27.8357 | 884 | 65.5743 | 1.396
2020-08-13 15:00:00 | 2.428 | 132.28 | 2.55 | 132.462 | 2.918 | 129.37 | 3.008 | 133.138 | 26.92 | 884 | 69.434 | 2.768
2020-08-13 15:15:00 | 2.273 | 156.13 | 2.356 | 133.449 | 2.491 | 152.695 | 2.59 | 134.13 | 26.41 | 883.8 | 72.98 | 0.882
2020-08-13 15:30:00 | 1.783 | 171.29 | 1.85 | 147.53 | 2.14 | 167.519 | 2.163 | 148.285 | 26.91 | 883 | 72.201 | 0.806
2020-08-13 15:45:00 | 1.832 | 186.48 | 1.902 | 216.41 | 1.904 | 182.376 | 2.02 | 217.518 | 27.34 | 883 | 70.204 | 0
2020-08-13 16:00:00 | 1.86 | 184.87 | 1.981 | 166.261 | 2.17 | 180.801 | 2.31 | 167.108 | 27.07 | 883 | 70.544 | 0
2020-08-13 16:15:00 | 2.919 | 153.92 | 3.04 | 144.481 | 3.231 | 150.534 | 3.371 | 145.22 | 26.36 | 883 | 75.31 | 1.711
2020-08-13 16:30:00 | 2.236 | 162.92 | 2.2813 | 138.8173 | 2.516 | 159.3353 | 2.5207 | 139.5273 | 25.8133 | 883 | 81.196 | 1.4167
2020-08-13 16:45:00 | 2.3256 | 159.8889 | 2.3778 | 143.1256 | 2.5744 | 156.3711 | 2.6 | 143.8578 | 25.2889 | 883 | 83.8 | 2.17
2020-08-13 17:00:00 | 2.297 | 161.32 | 2.439 | 143.337 | 2.604 | 157.771 | 2.789 | 144.068 | 25.32 | 882.3 | 84.2 | 1.305
2020-08-13 17:15:00 | 2.443 | 167.21 | 2.499 | 146.672 | 2.73 | 163.531 | 2.752 | 147.422 | 24.77 | 882 | 84.52 | 2.257
2020-08-13 17:30:00 | 3.31 | 150.98 | 3.44 | 139.816 | 3.662 | 147.66 | 3.81 | 140.53 | 24.64 | 882 | 86.3 | 6.982
2020-08-13 17:45:00 | 3.001 | 151.5 | 3.112 | 151.981 | 3.261 | 148.168 | 3.397 | 152.76 | 24.04 | 881 | 89.42 | 9.215
2020-08-13 18:00:00 | 2.787 | 146.46 | 2.818 | 148.42 | 3.204 | 143.239 | 3.141 | 149.18 | 23.69 | 881 | 93.82 | 8.413
2020-08-13 18:15:00 | 2.6253 | 153.2867 | 2.7067 | 136.3793 | 2.8787 | 149.9133 | 2.9653 | 137.0767 | 23.3933 | 881 | 95.54 | 6.2373
2020-08-13 18:30:00 | 2.24 | 166.56 | 2.328 | 138.154 | 2.472 | 162.896 | 2.574 | 138.858 | 23.38 | 880.6 | 98.04 | 3.21
2020-08-13 18:45:00 | 2.081 | 186.57 | 2.117 | 171.481 | 2.336 | 182.466 | 2.333 | 172.358 | 23.59 | 880 | 99.52 | 0.916
2020-08-13 19:00:00 | 2.1347 | 211 | 2.2347 | 173.5227 | 2.3967 | 206.358 | 2.5107 | 174.4107 | 23.3333 | 880 | 99.88 | 1.444
2020-08-13 19:15:00 | 2.266 | 209.1 | 2.396 | 170.228 | 2.614 | 204.502 | 2.758 | 171.102 | 23.86 | 880 | 100 | 2.052
2020-08-13 19:30:00 | 2.461 | 199.35 | 2.548 | 167.639 | 2.725 | 194.965 | 2.816 | 168.496 | 23.54 | 880 | 100 | 2.834
2020-08-13 19:45:00 | 2.753 | 192.23 | 2.871 | 168.802 | 3.105 | 188 | 3.234 | 169.665 | 23.53 | 880 | 100 | 4.164
2020-08-13 20:00:00 | 2.916 | 180.58 | 3.01 | 162.62 | 3.33 | 176.606 | 3.388 | 163.454 | 23.08 | 880 | 100 | 5.842
2020-08-13 20:15:00 | 2.472 | 173.38 | 2.51 | 164.001 | 2.715 | 169.566 | 2.717 | 164.839 | 23.39 | 880 | 100 | 4.334
2020-08-13 20:30:00 | 2.491 | 177.06 | 2.546 | 165.174 | 2.722 | 173.164 | 2.759 | 166.02 | 23.3 | 880 | 100 | 3.85
2020-08-13 20:45:00 | 2.414 | 192.2133 | 2.4593 | 160.164 | 2.556 | 187.986 | 2.6013 | 160.9827 | 23.2133 | 880 | 100 | 3.4373
2020-08-13 21:00:00 | 2.71 | 187.18 | 2.784 | 149.44 | 2.97 | 183.062 | 3.034 | 150.204 | 23.2 | 880 | 100 | 3.646
2020-08-13 21:15:00 | 2.372 | 177.72 | 2.426 | 157.244 | 2.58 | 173.81 | 2.628 | 158.048 | 23.17 | 881 | 100 | 2.664
2020-08-13 21:30:00 | 1.8873 | 185.9533 | 1.8987 | 164.7347 | 2.0147 | 181.862 | 2.002 | 165.576 | 23.2933 | 881 | 100 | 1.348
2020-08-13 21:45:00 | 1.576 | 193.92 | 1.618 | 171.192 | 1.624 | 189.656 | 1.688 | 172.064 | 23.2 | 881 | 100 | 0.874
2020-08-13 22:00:00 | 0.72 | 166.84 | 0.693 | 171.532 | 0.658 | 163.168 | 0.633 | 172.408 | 23.38 | 881 | 100 | 0.179
2020-08-13 22:15:00 | 0.328 | 321.28 | 0.324 | 190.281 | 0.456 | 314.212 | 0.414 | 191.253 | 23.52 | 881 | 100 | 0
2020-08-13 22:30:00 | 0.692 | 333.86 | 0.766 | 281.604 | 0.954 | 326.514 | 1.018 | 283.042 | 23.46 | 881 | 100 | 0
2020-08-13 22:45:00 | 1.976 | 339.61 | 2.047 | 331.749 | 2.647 | 332.14 | 2.59 | 333.443 | 22.99 | 881 | 100 | 0
2020-08-13 23:00:00 | 3.14 | 312.59 | 3.335 | 271.66 | 3.781 | 305.713 | 3.968 | 273.047 | 23 | 881 | 100 | 2.39
2020-08-13 23:15:00 | 3.9233 | 323.1533 | 4.1847 | 226.022 | 4.6367 | 316.044 | 4.926 | 227.1773 | 22.7067 | 881 | 100 | 8.222
2020-08-13 23:30:00 | 4.492 | 353.9 | 4.718 | 338.72 | 5.146 | 346.116 | 5.39 | 340.452 | 22.54 | 880.6 | 100 | 10.432
2020-08-13 23:45:00 | 3.702 | 211.82 | 3.933 | 307.785 | 4.13 | 207.159 | 4.443 | 309.36 | 22.24 | 880 | 100 | 8.23