## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-14 00:00:00 | 3.528 | 47.08 | 3.647 | 108.823 | 3.672 | 46.045 | 3.857 | 109.378 | 22.09 | 880 | 100 | 6.066
2020-08-14 00:15:00 | 3.444 | 214.6067 | 3.614 | 335.1413 | 3.9047 | 209.8847 | 4.0953 | 336.8547 | 22.0067 | 880 | 100 | 8.1127
2020-08-14 00:30:00 | 3.054 | 146.86 | 3.202 | 337.412 | 3.342 | 143.628 | 3.538 | 339.136 | 22 | 880 | 100 | 5.146
2020-08-14 00:45:00 | 1.229 | 123.65 | 1.243 | 111.014 | 1.262 | 120.93 | 1.277 | 111.582 | 22.23 | 880 | 100 | 1.586
2020-08-14 01:00:00 | 1.087 | 133.18 | 1.155 | 54.759 | 1.22 | 130.249 | 1.313 | 55.039 | 23.2 | 880.7 | 100 | 0.532
2020-08-14 01:15:00 | 0.79667 | 147.7533 | 0.80333 | 204.9353 | 0.97133 | 144.5027 | 0.93267 | 205.9847 | 23.22 | 880 | 100 | 0.040667
2020-08-14 01:30:00 | 0.79 | 250.16 | 0.844 | 227.844 | 1.064 | 244.656 | 1.085 | 229.011 | 23.15 | 880 | 100 | 0
2020-08-14 01:45:00 | 1.101 | 250.75 | 1.155 | 252.166 | 1.43 | 245.234 | 1.435 | 253.457 | 23.05 | 880 | 100 | 0
2020-08-14 02:00:00 | 1.231 | 253.33 | 1.313 | 271.62 | 1.515 | 247.757 | 1.586 | 273.01 | 22.9 | 880 | 100 | 0
2020-08-14 02:15:00 | 1.1453 | 300.9067 | 1.198 | 288.0853 | 1.5947 | 294.286 | 1.5627 | 289.5587 | 22.6533 | 880 | 100 | 0
2020-08-14 02:30:00 | 0.912 | 228.23 | 0.909 | 327.045 | 1.144 | 223.209 | 1.075 | 328.715 | 22.54 | 879.3 | 100 | 0
2020-08-14 02:45:00 | 1.198 | 318.01 | 1.211 | 325.929 | 1.517 | 311.013 | 1.452 | 327.594 | 22.43 | 879 | 100 | 0.118
2020-08-14 03:00:00 | 1.32 | 273.06 | 1.262 | 209.606 | 1.778 | 267.054 | 1.538 | 210.676 | 21.82 | 879 | 100 | 0
2020-08-14 03:15:00 | 1.584 | 249.26 | 1.517 | 337.675 | 2.106 | 243.776 | 1.83 | 339.4 | 22.14 | 879 | 100 | 0
2020-08-14 03:30:00 | 2.231 | 291.95 | 2.221 | 329.821 | 2.659 | 285.527 | 2.517 | 331.507 | 21.9 | 879 | 100 | 0.197
2020-08-14 03:45:00 | 1.4253 | 245.6467 | 1.4127 | 139.9327 | 1.7 | 240.2427 | 1.596 | 140.648 | 22.06 | 879 | 100 | 0
2020-08-14 04:00:00 | 1.682 | 21.86 | 1.682 | 266.994 | 2.062 | 21.378 | 1.954 | 268.36 | 21.92 | 879 | 100 | 0
2020-08-14 04:15:00 | 2.342 | 121.42 | 2.369 | 322.643 | 2.803 | 118.749 | 2.723 | 324.292 | 21.87 | 878.8 | 100 | 0.428
2020-08-14 04:30:00 | 1.571 | 141.75 | 1.528 | 46.514 | 1.711 | 138.631 | 1.587 | 46.752 | 21.92 | 878 | 100 | 0
2020-08-14 04:45:00 | 1.682 | 131.2067 | 1.732 | 315.424 | 1.816 | 128.3193 | 1.8727 | 317.036 | 21.9667 | 878 | 100 | 0
2020-08-14 05:00:00 | 1.634 | 70.76 | 1.608 | 331.62 | 1.736 | 69.202 | 1.658 | 333.316 | 21.96 | 878 | 100 | 0
2020-08-14 05:15:00 | 1.375 | 135.66 | 1.54 | 151.355 | 1.619 | 132.677 | 1.864 | 152.13 | 22.64 | 878 | 100 | 0.16
2020-08-14 05:30:00 | 2.223 | 85.1 | 2.362 | 96.234 | 2.404 | 83.227 | 2.617 | 96.727 | 22.45 | 878 | 100 | 1.133
2020-08-14 05:45:00 | 3.2493 | 122.8133 | 3.4567 | 117.4327 | 3.5487 | 120.1127 | 3.858 | 118.0333 | 22.4 | 878 | 100 | 6.1113
2020-08-14 06:00:00 | 2.87 | 132.06 | 3.018 | 129.134 | 3.042 | 129.156 | 3.278 | 129.798 | 22.3 | 878 | 100 | 5.524
2020-08-14 06:15:00 | 2.773 | 118.77 | 2.902 | 125.681 | 3.124 | 116.155 | 3.266 | 126.325 | 21.94 | 878 | 100 | 5.734
2020-08-14 06:30:00 | 2.486 | 124.39 | 2.582 | 120.196 | 2.836 | 121.653 | 2.916 | 120.81 | 21.83 | 878 | 100 | 4.338
2020-08-14 06:45:00 | 3.2147 | 121.12 | 3.3807 | 124.6633 | 3.5987 | 118.454 | 3.8067 | 125.2987 | 21.9533 | 879 | 100 | 8.4967
2020-08-14 07:00:00 | 3.348 | 130.05 | 3.512 | 130.161 | 3.745 | 127.189 | 3.944 | 130.827 | 21.78 | 879 | 100 | 10.591
2020-08-14 07:15:00 | 4.11 | 124.41 | 4.165 | 129.067 | 4.496 | 121.673 | 4.489 | 129.726 | 21.69 | 879 | 100 | 15.311
2020-08-14 07:30:00 | 4.136 | 129.74 | 4.1913 | 129.6573 | 4.6133 | 127.7987 | 4.5913 | 130.3193 | 21.6333 | 879 | 100 | 15.9747
2020-08-14 07:45:00 | 4.6107 | 130.6133 | 4.7013 | 134.1427 | 5.2847 | 127.7407 | 5.264 | 134.828 | 21.52 | 879 | 100 | 21.6113
2020-08-14 08:00:00 | 4.637 | 135.22 | 4.666 | 133.154 | 5.288 | 131.658 | 5.149 | 133.835 | 21.54 | 879 | 100 | 21.462
2020-08-14 08:15:00 | 4.68 | 132.89 | 4.79 | 120.999 | 5.286 | 129.965 | 5.317 | 121.617 | 21.54 | 879 | 100 | 22.174
2020-08-14 08:30:00 | 4.07 | 135 | 4.1573 | 131.698 | 4.6667 | 132.03 | 4.6593 | 132.3713 | 21.3933 | 879 | 100 | 14.7273
2020-08-14 08:45:00 | 3.708 | 140.98 | 3.848 | 137.43 | 4.268 | 137.877 | 4.37 | 138.131 | 21.45 | 879 | 100 | 12.226
2020-08-14 09:00:00 | 3.946 | 139.9 | 4.048 | 131.481 | 4.413 | 136.822 | 4.475 | 132.154 | 21.25 | 879 | 100 | 14.019
2020-08-14 09:15:00 | 3.998 | 143.57 | 4.066 | 131.414 | 4.44 | 140.41 | 4.446 | 132.086 | 21.05 | 879 | 100 | 12.59
2020-08-14 09:30:00 | 3.686 | 137.5733 | 3.7413 | 133.0073 | 4.0067 | 134.5467 | 4.0193 | 133.6867 | 21.1133 | 879 | 100 | 10.0807
2020-08-14 09:45:00 | 4.021 | 141.68 | 4.064 | 133.272 | 4.526 | 138.561 | 4.462 | 133.952 | 21.15 | 879 | 100 | 10.728
2020-08-14 10:00:00 | 4.15 | 140.35 | 4.211 | 135.785 | 4.746 | 137.263 | 4.694 | 136.48 | 21.27 | 879 | 100 | 11.541
2020-08-14 10:15:00 | 3.9147 | 132.4733 | 3.9193 | 134.3313 | 4.462 | 129.5593 | 4.3173 | 135.0193 | 21.1667 | 879 | 100 | 10.1653
2020-08-14 10:30:00 | 3.618 | 132.78 | 3.629 | 134.065 | 4.19 | 129.858 | 4.049 | 134.752 | 21.12 | 879 | 100 | 8.544
2020-08-14 10:45:00 | 3.781 | 134.37 | 3.75 | 131.413 | 4.229 | 131.415 | 4.044 | 132.086 | 21.15 | 879.2 | 100 | 8.288
2020-08-14 11:00:00 | 3.89 | 139.88 | 3.987 | 135.883 | 4.34 | 136.802 | 4.395 | 136.578 | 21.27 | 879.3 | 100 | 9.411
2020-08-14 11:15:00 | 4.2433 | 141.5133 | 4.412 | 133.9807 | 4.7353 | 138.3993 | 4.914 | 134.6647 | 21.2933 | 880 | 100 | 12.6473
2020-08-14 11:30:00 | 3.799 | 140.57 | 3.929 | 135.882 | 4.311 | 137.476 | 4.412 | 136.577 | 21.38 | 880 | 100 | 11.504
2020-08-14 11:45:00 | 3.552 | 141.04 | 3.728 | 139.873 | 4.133 | 137.936 | 4.3 | 140.588 | 21.39 | 880 | 100 | 11.822
2020-08-14 12:00:00 | 3.8553 | 142.74 | 3.9893 | 133.5553 | 4.3507 | 139.6007 | 4.4647 | 134.24 | 21.32 | 880 | 100 | 13.904
2020-08-14 12:15:00 | 3.78 | 148.7 | 3.912 | 140.658 | 4.388 | 145.428 | 4.468 | 141.374 | 21.36 | 880 | 100 | 12.94
2020-08-14 12:30:00 | 3.816 | 138.01 | 3.928 | 137.877 | 4.23 | 134.974 | 4.326 | 138.584 | 21.23 | 879 | 100 | 14.553
2020-08-14 12:45:00 | 4.137 | 133.63 | 4.338 | 133.82 | 4.844 | 130.692 | 5.023 | 134.504 | 21.23 | 879 | 100 | 14.85
2020-08-14 13:00:00 | 4.02 | 145.6667 | 4.1893 | 135.792 | 4.4707 | 142.4627 | 4.6667 | 136.4867 | 21.3467 | 879 | 100 | 14.506
2020-08-14 13:15:00 | 3.391 | 145.18 | 3.44 | 144.108 | 3.443 | 141.986 | 3.529 | 144.844 | 21.46 | 879 | 100 | 11.304
2020-08-14 13:30:00 | 3.309 | 149.45 | 3.378 | 146.983 | 3.359 | 146.163 | 3.477 | 147.736 | 21.52 | 879 | 100 | 10.324
2020-08-14 13:45:00 | 3.1086 | 157.55 | 3.2257 | 148.9771 | 3.3357 | 154.0829 | 3.4936 | 149.7379 | 21.6 | 879 | 100 | 8.5493
2020-08-14 14:00:00 | 2.9907 | 159.5333 | 3.092 | 149.1453 | 3.0667 | 156.024 | 3.2427 | 149.9067 | 21.8 | 879 | 100 | 7.8987
2020-08-14 14:15:00 | 2.726 | 163.88 | 2.825 | 156.137 | 2.832 | 160.274 | 2.992 | 156.935 | 21.88 | 879 | 100 | 7.718
2020-08-14 14:30:00 | 2.665 | 169.75 | 2.79 | 161.447 | 2.828 | 166.014 | 3.016 | 162.274 | 21.92 | 879 | 100 | 8.973
2020-08-14 14:45:00 | 2.3167 | 175.2867 | 2.4073 | 165.5607 | 2.428 | 171.432 | 2.5667 | 166.4093 | 22.2733 | 879 | 100 | 3.7527
2020-08-14 15:00:00 | 2.053 | 174.65 | 2.132 | 161.478 | 2.044 | 170.807 | 2.199 | 162.305 | 22.34 | 879 | 100 | 2.579
2020-08-14 15:15:00 | 2.062 | 181.96 | 2.134 | 168.314 | 2.124 | 177.957 | 2.246 | 169.174 | 22.52 | 879 | 100 | 3.278
2020-08-14 15:30:00 | 2.05 | 185.0333 | 2.1373 | 166.1173 | 2.212 | 180.9613 | 2.334 | 166.9647 | 22.9733 | 879 | 100 | 3.5807
2020-08-14 15:45:00 | 1.9 | 192.1867 | 2.0007 | 167.9427 | 2.2207 | 187.9587 | 2.3213 | 168.8 | 23.1133 | 879 | 100 | 4.1607
2020-08-14 16:00:00 | 1.895 | 173.71 | 1.993 | 164.969 | 2.162 | 169.889 | 2.269 | 165.812 | 23.11 | 879 | 100 | 3.353
2020-08-14 16:15:00 | 2.162 | 184.11 | 2.244 | 169.243 | 2.447 | 180.06 | 2.522 | 170.108 | 23.17 | 879 | 100 | 3.477
2020-08-14 16:30:00 | 2.1453 | 168.16 | 2.248 | 158.8607 | 2.3593 | 164.4613 | 2.498 | 159.6713 | 23.3867 | 879 | 100 | 3.704
2020-08-14 16:45:00 | 1.896 | 184.78 | 1.916 | 150.042 | 2.044 | 180.13 | 2.054 | 150.812 | 23.66 | 879 | 100 | 3.466
2020-08-14 17:00:00 | 1.903 | 161.43 | 1.981 | 145.311 | 2.125 | 157.877 | 2.205 | 146.054 | 23.82 | 879 | 99.01 | 2.568
2020-08-14 17:15:00 | 1.689 | 158.86 | 1.752 | 150.535 | 1.731 | 155.366 | 1.838 | 151.304 | 23.97 | 879 | 98.18 | 1.256
2020-08-14 17:30:00 | 1.762 | 133.6733 | 1.85 | 146.0027 | 2.0047 | 130.732 | 2.1007 | 146.75 | 24.1133 | 879 | 97.66 | 1.2307
2020-08-14 17:45:00 | 1.33 | 128.84 | 1.354 | 138.525 | 1.516 | 126.007 | 1.509 | 139.233 | 24.16 | 879 | 97.44 | 0.161
2020-08-14 18:00:00 | 0.894 | 134.07 | 0.939 | 149.087 | 1.03 | 131.122 | 1.075 | 149.849 | 24.19 | 879 | 96.45 | 0.127
2020-08-14 18:15:00 | 0.84267 | 140.8933 | 0.86867 | 159.7927 | 0.948 | 137.7953 | 0.96733 | 160.6087 | 24.5067 | 879 | 96.0467 | 0
2020-08-14 18:30:00 | 0.438 | 135.5 | 0.456 | 165.594 | 0.514 | 132.52 | 0.526 | 166.442 | 24.64 | 879 | 95.68 | 0
2020-08-14 18:45:00 | 0.812 | 187.52 | 0.841 | 129.399 | 0.92 | 183.395 | 0.94 | 130.06 | 24.71 | 879 | 95.55 | 0.21
2020-08-14 19:00:00 | 1.213 | 177.93 | 1.3 | 162.231 | 1.336 | 174.017 | 1.469 | 163.059 | 24.61 | 879 | 94.95 | 0.334
2020-08-14 19:15:00 | 0.95667 | 180.2 | 1.0073 | 150.456 | 0.832 | 176.236 | 0.964 | 151.2253 | 24.7333 | 879 | 95.3133 | 0
2020-08-14 19:30:00 | 0.548 | 147.34 | 0.553 | 136.267 | 0.531 | 144.099 | 0.544 | 136.961 | 24.71 | 879 | 97.18 | 0
2020-08-14 19:45:00 | 0.525 | 119.31 | 0.491 | 155.609 | 0.466 | 116.686 | 0.421 | 156.405 | 24.54 | 879 | 98.36 | 0
2020-08-14 20:00:00 | 0.232 | 251.94 | 0.232 | 154.8967 | 0.254 | 246.3967 | 0.24733 | 155.6873 | 24.48 | 879 | 99.24 | 0
2020-08-14 20:15:00 | 0.36 | 195.52 | 0.364 | 151.806 | 0.426 | 191.216 | 0.412 | 152.58 | 24.54 | 879 | 99.48 | 0
2020-08-14 20:30:00 | 0.56 | 195.67 | 0.52 | 277.342 | 0.765 | 191.364 | 0.628 | 278.758 | 24.1 | 879 | 99.47 | 0
2020-08-14 20:45:00 | 1.678 | 248.56 | 1.675 | 339.219 | 2.4 | 243.092 | 2.186 | 340.955 | 23.6 | 879 | 99.38 | 0
2020-08-14 21:00:00 | 2.2271 | 339.3286 | 2.2629 | 328.4257 | 2.8214 | 331.8629 | 2.72 | 330.105 | 23.4286 | 879 | 99.9214 | 0.44067
2020-08-14 21:15:00 | 2.342 | 313.99 | 2.437 | 328.794 | 2.965 | 307.083 | 2.968 | 330.474 | 23.44 | 879 | 100 | 0.892
2020-08-14 21:30:00 | 2.431 | 274.41 | 2.573 | 329.927 | 3.014 | 268.373 | 3.116 | 331.614 | 23.47 | 879 | 100 | 1.002
2020-08-14 21:45:00 | 2.984 | 323.4267 | 3.126 | 326.5213 | 3.584 | 316.3113 | 3.6813 | 328.19 | 23.3133 | 879 | 100 | 2.874
2020-08-14 22:00:00 | 3.146 | 344.8867 | 3.2967 | 325.7393 | 3.8407 | 337.298 | 3.9253 | 327.404 | 23.3133 | 879 | 100 | 4.0427
2020-08-14 22:15:00 | 3.118 | 304.3 | 3.272 | 323.455 | 3.875 | 297.606 | 3.946 | 325.107 | 23.13 | 879 | 100 | 4.629
2020-08-14 22:30:00 | 3.447 | 342.56 | 3.67 | 327.719 | 4.169 | 335.024 | 4.385 | 329.394 | 23.2 | 879 | 100 | 5.909
2020-08-14 22:45:00 | 3.5773 | 348.36 | 3.818 | 306.5773 | 4.2987 | 340.6967 | 4.5427 | 308.144 | 23.1467 | 879 | 100 | 7.8427
2020-08-14 23:00:00 | 3.761 | 344.28 | 4.039 | 320.707 | 4.615 | 336.704 | 4.896 | 322.345 | 23.09 | 879 | 100 | 9.146
2020-08-14 23:15:00 | 4.003 | 347.11 | 4.254 | 328.128 | 4.841 | 339.474 | 5.072 | 329.805 | 23.21 | 878.6 | 100 | 10.367
2020-08-14 23:30:00 | 3.7793 | 325.78 | 3.9893 | 324.558 | 4.6067 | 318.6127 | 4.7667 | 326.218 | 23.2133 | 878 | 100 | 8.9053
2020-08-14 23:45:00 | 3.366 | 242.19 | 3.534 | 330.339 | 3.948 | 236.86 | 4.099 | 332.028 | 23.23 | 878 | 100 | 5.962