## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-15 00:00:00 | 3.428 | 316.34 | 3.619 | 339.944 | 3.885 | 309.38 | 4.114 | 341.682 | 23.26 | 878 | 100 | 6.786
2020-08-15 00:15:00 | 3.812 | 191.76 | 4.0513 | 327.214 | 4.416 | 187.5413 | 4.692 | 328.886 | 23.1 | 878 | 100 | 9.2227
2020-08-15 00:30:00 | 3.521 | 213.01 | 3.701 | 325.809 | 4.129 | 208.324 | 4.298 | 327.476 | 22.97 | 878 | 100 | 7.36
2020-08-15 00:45:00 | 3.0907 | 212.1333 | 3.2287 | 329.4113 | 3.5487 | 207.466 | 3.6827 | 331.0933 | 22.98 | 878 | 100 | 4.026
2020-08-15 01:00:00 | 3.788 | 211.76 | 3.9793 | 319.7407 | 4.4847 | 207.102 | 4.6487 | 321.376 | 22.76 | 878 | 100 | 9.2613
2020-08-15 01:15:00 | 3.666 | 313.02 | 3.861 | 323.405 | 4.278 | 306.131 | 4.472 | 325.057 | 22.77 | 878 | 100 | 7.375
2020-08-15 01:30:00 | 4.028 | 214.26 | 4.3053 | 328.4253 | 4.6507 | 209.546 | 4.9953 | 330.1047 | 22.74 | 877.7333 | 100 | 11.812
2020-08-15 01:45:00 | 4.3257 | 272.1071 | 4.5986 | 328.0629 | 5.0393 | 266.1207 | 5.3507 | 329.7393 | 22.6429 | 877 | 100 | 15.444
2020-08-15 02:00:00 | 3.658 | 258.28 | 3.827 | 315.336 | 4.141 | 252.599 | 4.325 | 316.947 | 22.63 | 877 | 100 | 8.358
2020-08-15 02:15:00 | 3.4207 | 334.32 | 3.684 | 329.3833 | 3.9887 | 326.9653 | 4.3227 | 331.0673 | 22.66 | 877 | 100 | 4.2947
2020-08-15 02:30:00 | 2.8907 | 168.3733 | 2.9767 | 323.784 | 3.1787 | 164.6693 | 3.2627 | 325.4393 | 22.6067 | 877 | 100 | 2.904
2020-08-15 02:45:00 | 2.841 | 243.75 | 2.872 | 311.482 | 3.281 | 238.387 | 3.217 | 313.075 | 22.63 | 877 | 100 | 3.178
2020-08-15 03:00:00 | 1.4947 | 202.12 | 1.708 | 151.1193 | 1.8053 | 197.6727 | 2.1147 | 151.8933 | 22.9933 | 877 | 100 | 0
2020-08-15 03:15:00 | 2.2647 | 119.5667 | 2.4773 | 105.754 | 2.4513 | 116.9353 | 2.7973 | 106.2947 | 23.02 | 877 | 100 | 0
2020-08-15 03:30:00 | 2.635 | 169.5 | 2.69 | 167.697 | 2.962 | 165.77 | 2.972 | 168.554 | 22.72 | 877 | 100 | 2.333
2020-08-15 03:45:00 | 1.9679 | 152.9857 | 1.98 | 138.415 | 2.0629 | 149.6193 | 2.0564 | 139.1221 | 22.95 | 877 | 100 | 3.7273
2020-08-15 04:00:00 | 1.96 | 152.33 | 1.937 | 136.304 | 2.022 | 148.978 | 1.963 | 137.001 | 22.89 | 877 | 100 | 6.236
2020-08-15 04:15:00 | 2.874 | 144.88 | 2.969 | 142.546 | 2.872 | 141.692 | 3.054 | 143.27 | 22.8 | 877 | 100 | 9.63
2020-08-15 04:30:00 | 3.868 | 143.41 | 3.974 | 134.681 | 4.154 | 140.255 | 4.278 | 135.369 | 22.73 | 877 | 100 | 14.968
2020-08-15 04:45:00 | 2.965 | 132.25 | 3.093 | 137.156 | 3.215 | 129.341 | 3.394 | 137.856 | 22.76 | 877 | 100 | 11.519
2020-08-15 05:00:00 | 2.559 | 130.28 | 2.631 | 131.689 | 2.658 | 127.415 | 2.768 | 132.362 | 22.89 | 877 | 100 | 9.042
2020-08-15 05:15:00 | 2.8893 | 128.9867 | 3 | 122.0727 | 3.1227 | 126.1493 | 3.2693 | 122.6987 | 22.7733 | 877 | 100 | 9.8467
2020-08-15 05:30:00 | 2.557 | 130.05 | 2.655 | 133.312 | 2.802 | 127.189 | 2.921 | 133.994 | 22.71 | 877 | 100 | 6.815
2020-08-15 05:45:00 | 2.346 | 131.86 | 2.425 | 129.516 | 2.462 | 128.959 | 2.583 | 130.178 | 22.7 | 877.4 | 100 | 4.573
2020-08-15 06:00:00 | 2.146 | 128.34 | 2.2353 | 133.256 | 2.2773 | 125.5173 | 2.4127 | 133.938 | 22.7 | 878 | 100 | 3.8533
2020-08-15 06:15:00 | 1.755 | 143.11 | 1.81 | 141.369 | 1.975 | 139.961 | 2.016 | 142.093 | 22.83 | 878 | 100 | 2.565
2020-08-15 06:30:00 | 1.9347 | 96.1533 | 2.042 | 109.0673 | 2.152 | 94.038 | 2.2933 | 109.624 | 22.8533 | 878 | 100 | 1.998
2020-08-15 06:45:00 | 2.0393 | 91.7133 | 2.0667 | 107.796 | 2.246 | 89.696 | 2.24 | 108.346 | 22.6933 | 878 | 100 | 2.2047
2020-08-15 07:00:00 | 1.747 | 95.73 | 1.758 | 85.261 | 2.115 | 93.623 | 2.032 | 85.698 | 22.63 | 878 | 100 | 1.94
2020-08-15 07:15:00 | 2.358 | 127.94 | 2.558 | 122.671 | 2.531 | 125.124 | 2.866 | 123.299 | 22.45 | 878 | 100 | 2.735
2020-08-15 07:30:00 | 3.2 | 121.1533 | 3.3747 | 118.554 | 3.4873 | 118.488 | 3.7353 | 119.1593 | 22.16 | 879 | 100 | 9.1727
2020-08-15 07:45:00 | 3.428 | 109.6 | 3.547 | 117.078 | 3.722 | 107.188 | 3.863 | 117.676 | 22.1 | 879 | 100 | 12.357
2020-08-15 08:00:00 | 3.119 | 118.58 | 3.271 | 118.407 | 3.453 | 115.97 | 3.642 | 119.011 | 22.12 | 879 | 100 | 7.804
2020-08-15 08:15:00 | 2.658 | 136.7467 | 2.694 | 125.8493 | 2.8387 | 133.738 | 2.858 | 126.4927 | 22 | 879 | 100 | 4.8387
2020-08-15 08:30:00 | 2.121 | 124.88 | 2.207 | 121.8 | 2.335 | 122.134 | 2.434 | 122.423 | 21.94 | 879 | 100 | 2.743
2020-08-15 08:45:00 | 2.016 | 100.1 | 1.973 | 105.908 | 2.21 | 97.899 | 2.077 | 106.448 | 22.44 | 879 | 100 | 4.365
2020-08-15 09:00:00 | 2.3627 | 94.4667 | 2.342 | 101.9267 | 2.7627 | 92.3893 | 2.61 | 102.4473 | 22.6467 | 879 | 100 | 5.6027
2020-08-15 09:15:00 | 1.925 | 157.3 | 1.773 | 98.748 | 2.152 | 153.839 | 1.799 | 99.253 | 22.66 | 879 | 100 | 4.602
2020-08-15 09:30:00 | 1.915 | 69.32 | 1.985 | 93.554 | 2.009 | 70.084 | 2.112 | 94.034 | 22.68 | 879 | 100 | 4.539
2020-08-15 09:45:00 | 2.402 | 96.63 | 2.469 | 96.314 | 2.669 | 94.505 | 2.722 | 96.806 | 22.81 | 878 | 100 | 5.134
2020-08-15 10:00:00 | 2.338 | 119.62 | 2.448 | 107.21 | 2.496 | 116.9893 | 2.6607 | 107.7567 | 22.98 | 878.3333 | 100 | 3.9753
2020-08-15 10:15:00 | 1.93 | 127.14 | 1.96 | 121.351 | 1.97 | 124.342 | 2.016 | 121.969 | 23.12 | 879 | 100 | 3.98
2020-08-15 10:30:00 | 1.537 | 151.03 | 1.558 | 129.605 | 1.58 | 147.706 | 1.609 | 130.266 | 22.94 | 879 | 100 | 5.123
2020-08-15 10:45:00 | 0.902 | 106.02 | 0.923 | 120.039 | 0.818 | 103.687 | 0.881 | 120.654 | 22.82 | 879 | 100 | 4.587
2020-08-15 11:00:00 | 1.128 | 127.5667 | 1.196 | 136.4693 | 0.94467 | 124.7607 | 1.132 | 137.168 | 23.0133 | 879 | 100 | 1.674
2020-08-15 11:15:00 | 0.896 | 181.54 | 0.89 | 167.121 | 0.958 | 177.546 | 0.931 | 167.975 | 23.06 | 879 | 100 | 1.764
2020-08-15 11:30:00 | 0.60333 | 241.54 | 0.62133 | 152.9647 | 0.56733 | 236.226 | 0.612 | 153.7467 | 23.2333 | 879 | 100 | 2.4273
2020-08-15 11:45:00 | 0.45733 | 298.4467 | 0.46267 | 120.934 | 0.41133 | 291.882 | 0.43333 | 121.5513 | 23.3533 | 879 | 100 | 2.6147
2020-08-15 12:00:00 | 0.563 | 222.22 | 0.53 | 173.165 | 0.459 | 217.333 | 0.429 | 174.051 | 23.2 | 879 | 100 | 1.914
2020-08-15 12:15:00 | 0.66333 | 145.44 | 0.63133 | 164.9493 | 0.58133 | 142.2407 | 0.54533 | 165.794 | 23.36 | 879.3333 | 100 | 1.5393
2020-08-15 12:30:00 | 1.0427 | 119.2867 | 1.0613 | 137.818 | 0.82333 | 116.6627 | 0.92467 | 138.5247 | 23.2933 | 879 | 100 | 1.13
2020-08-15 12:45:00 | 0.914 | 94.61 | 0.939 | 91.385 | 0.868 | 92.527 | 0.926 | 91.852 | 23.46 | 879 | 100 | 1.876
2020-08-15 13:00:00 | 1.274 | 83.12 | 1.362 | 92.6293 | 1.1973 | 81.292 | 1.3867 | 93.104 | 23.6867 | 879 | 100 | 1.7787
2020-08-15 13:15:00 | 0.99867 | 99.3467 | 1 | 94.4487 | 0.98467 | 97.1593 | 0.99267 | 94.9307 | 23.9267 | 879 | 100 | 0.82
2020-08-15 13:30:00 | 0.978 | 121.76 | 0.946 | 111.395 | 1.027 | 119.08 | 0.956 | 111.963 | 23.95 | 879 | 100 | 0.326
2020-08-15 13:45:00 | 0.468 | 217.0067 | 0.50133 | 102.606 | 0.85267 | 212.2327 | 0.80333 | 103.1307 | 24.0933 | 879 | 100 | 0.95467
2020-08-15 14:00:00 | 1.104 | 167.5467 | 1.186 | 192.8547 | 1.606 | 163.86 | 1.6187 | 193.8407 | 23.9 | 879 | 100 | 1.2847
2020-08-15 14:15:00 | 1.625 | 242.51 | 1.727 | 78.445 | 2.152 | 236.824 | 2.213 | 78.847 | 23.64 | 879 | 100 | 1.287
2020-08-15 14:30:00 | 1.674 | 165.9267 | 1.7307 | 123.1893 | 1.9947 | 162.2773 | 2.01 | 123.8187 | 23.5533 | 879 | 100 | 0.376
2020-08-15 14:45:00 | 1.5647 | 142.42 | 1.6627 | 271.5267 | 2.116 | 139.2867 | 2.138 | 272.9133 | 23.3667 | 879 | 100 | 0.40467
2020-08-15 15:00:00 | 2.214 | 212.33 | 2.343 | 272.627 | 2.718 | 207.66 | 2.818 | 274.022 | 23.33 | 879 | 100 | 0.49
2020-08-15 15:15:00 | 2.796 | 211.31 | 2.957 | 322.582 | 3.342 | 206.661 | 3.489 | 324.232 | 23.1 | 878.5 | 100 | 1.933
2020-08-15 15:30:00 | 3.227 | 345.84 | 3.423 | 319.834 | 3.948 | 338.232 | 4.113 | 321.472 | 22.97 | 878 | 100 | 4.448
2020-08-15 15:45:00 | 2.644 | 338.21 | 2.798 | 320.676 | 3.279 | 330.77 | 3.389 | 322.316 | 22.89 | 878 | 100 | 1.926
2020-08-15 16:00:00 | 2.511 | 278.98 | 2.713 | 332.597 | 2.989 | 272.843 | 3.231 | 334.299 | 22.91 | 878 | 100 | 1.146
2020-08-15 16:15:00 | 2.7053 | 257.5267 | 2.886 | 328.0327 | 3.28 | 251.8607 | 3.456 | 329.7107 | 22.7533 | 878 | 100 | 1.9187
2020-08-15 16:30:00 | 2.793 | 215.84 | 2.987 | 343.571 | 3.29 | 211.091 | 3.515 | 345.328 | 22.76 | 878 | 100 | 2.514
2020-08-15 16:45:00 | 2.567 | 42.5 | 2.7 | 107.1 | 2.854 | 41.566 | 3.024 | 107.649 | 22.73 | 878 | 100 | 1.88
2020-08-15 17:00:00 | 2.727 | 176.52 | 2.868 | 339.453 | 3.243 | 172.637 | 3.365 | 341.191 | 22.71 | 878 | 100 | 2.438
2020-08-15 17:15:00 | 2.851 | 241.41 | 2.979 | 328.441 | 3.555 | 236.1 | 3.599 | 330.12 | 22.67 | 878 | 100 | 2.967
2020-08-15 17:30:00 | 3.365 | 296.35 | 3.6029 | 328.6914 | 4.0629 | 289.8314 | 4.3107 | 330.3729 | 22.6357 | 878 | 100 | 5.2947
2020-08-15 17:45:00 | 3.423 | 345.88 | 3.657 | 320.617 | 4.145 | 338.27 | 4.382 | 322.258 | 22.57 | 878 | 100 | 6.208
2020-08-15 18:00:00 | 3.86 | 336.4733 | 4.068 | 321.266 | 4.6007 | 329.0713 | 4.7807 | 322.9087 | 22.4267 | 878 | 100 | 10.056
2020-08-15 18:15:00 | 4.395 | 336.95 | 4.706 | 317.918 | 5.091 | 329.537 | 5.48 | 319.544 | 22.45 | 878 | 100 | 12.241
2020-08-15 18:30:00 | 4.017 | 334.25 | 4.176 | 321.409 | 4.919 | 326.896 | 4.963 | 323.053 | 22.33 | 878 | 100 | 10.968
2020-08-15 18:45:00 | 4.764 | 339.7333 | 5.084 | 327.8127 | 5.6427 | 332.2593 | 5.9947 | 329.4887 | 22.0133 | 878 | 100 | 16.78
2020-08-15 19:00:00 | 4.763 | 333.82 | 5.011 | 325.371 | 5.871 | 326.477 | 6.025 | 327.034 | 21.8 | 878 | 100 | 18.585
2020-08-15 19:15:00 | 5.44 | 344.63 | 5.835 | 334.957 | 6.498 | 337.047 | 6.943 | 336.668 | 21.62 | 878 | 100 | 24.818
2020-08-15 19:30:00 | 5.745 | 337.13 | 6.197 | 329.039 | 6.865 | 327.414 | 7.398 | 330.718 | 21.7 | 878 | 100 | 29.842
2020-08-15 19:45:00 | 5.575 | 335.75 | 5.96 | 333.528 | 6.632 | 328.364 | 7.054 | 335.233 | 21.27 | 878 | 100 | 28.446
2020-08-15 20:00:00 | 5.806 | 340.75 | 6.223 | 326.896 | 6.951 | 333.253 | 7.409 | 328.567 | 21.18 | 879 | 100 | 30.998
2020-08-15 20:15:00 | 6.294 | 344.94 | 6.86 | 334.252 | 7.35 | 337.35 | 8.115 | 335.962 | 20.97 | 879 | 100 | 33.559
2020-08-15 20:30:00 | 6.804 | 342.45 | 7.437 | 335.855 | 8.123 | 334.916 | 8.937 | 337.573 | 20.73 | 879 | 100 | 38.23
2020-08-15 20:45:00 | 7.194 | 342.02 | 7.7273 | 335.5713 | 8.2033 | 334.496 | 8.926 | 337.288 | 20.5067 | 879 | 100 | 42.1453
2020-08-15 21:00:00 | 7.3533 | 316.6533 | 7.9367 | 329.918 | 8.472 | 309.688 | 9.2527 | 331.6053 | 20.4467 | 879 | 100 | 44.0813
2020-08-15 21:15:00 | 7.295 | 341.03 | 7.87 | 333.566 | 8.276 | 333.529 | 9.082 | 335.269 | 20.36 | 879 | 100 | 45.691
2020-08-15 21:30:00 | 6.946 | 343.06 | 7.463 | 330.182 | 7.905 | 335.513 | 8.608 | 331.871 | 20.23 | 879 | 100 | 42.218
2020-08-15 21:45:00 | 7.089 | 345.87 | 7.736 | 330.876 | 7.94 | 338.262 | 8.923 | 332.57 | 20.17 | 879.5 | 100 | 42.747
2020-08-15 22:00:00 | 7.665 | 346.64 | 8.257 | 333.606 | 8.645 | 339.012 | 9.483 | 335.31 | 20.14 | 880 | 100 | 47.543
2020-08-15 22:15:00 | 7.793 | 345.73 | 8.382 | 336.569 | 8.252 | 338.124 | 9.241 | 338.29 | 20.01 | 880 | 100 | 46.584
2020-08-15 22:30:00 | 7.88 | 314.21 | 8.436 | 336.256 | 8.785 | 307.298 | 9.578 | 337.977 | 20.04 | 880 | 100 | 45.389
2020-08-15 22:45:00 | 7.742 | 315.46 | 8.326 | 331.356 | 8.294 | 308.519 | 9.242 | 333.049 | 20.09 | 880 | 100 | 46.684
2020-08-15 23:00:00 | 8.198 | 283.69 | 8.82 | 333.216 | 8.798 | 277.45 | 9.806 | 334.921 | 20.01 | 880 | 100 | 49.163
2020-08-15 23:15:00 | 7.507 | 344.11 | 8.163 | 325.82 | 8.012 | 336.539 | 9.112 | 327.487 | 19.93 | 880 | 100 | 45.421
2020-08-15 23:30:00 | 7.977 | 344.89 | 8.686 | 332.188 | 8.438 | 337.302 | 9.649 | 333.886 | 19.79 | 880 | 100 | 46.299
2020-08-15 23:45:00 | 8.2707 | 323.6133 | 8.8 | 331.744 | 8.7673 | 316.4927 | 9.6307 | 333.4407 | 19.6733 | 880 | 100 | 47.9867