## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-16 00:00:00 | 8.148 | 343.77 | 8.62 | 333.596 | 8.553 | 336.207 | 9.331 | 335.3 | 19.61 | 880 | 100 | 49.155
2020-08-16 00:15:00 | 7.9793 | 300.5733 | 8.5027 | 331.0467 | 8.3227 | 293.9627 | 9.214 | 332.738 | 19.5 | 880 | 100 | 47.9127
2020-08-16 00:30:00 | 8.088 | 343.54 | 8.723 | 333.72 | 8.783 | 335.983 | 9.786 | 335.43 | 19.5 | 880 | 100 | 44.709
2020-08-16 00:45:00 | 8.046 | 322.1667 | 8.572 | 330.14 | 8.7827 | 315.0787 | 9.568 | 331.8273 | 19.4733 | 880 | 100 | 47.6647
2020-08-16 01:00:00 | 8.218 | 344.58 | 8.5853 | 325.6087 | 8.8027 | 337.0013 | 9.3427 | 327.2733 | 19.3333 | 879 | 100 | 45.998
2020-08-16 01:15:00 | 8.387 | 338.12 | 8.986 | 329.683 | 9.144 | 330.682 | 10.064 | 331.37 | 19.39 | 879 | 100 | 45.489
2020-08-16 01:30:00 | 8.216 | 320.2667 | 8.694 | 324.0693 | 8.856 | 313.2213 | 9.578 | 325.7253 | 19.3 | 879 | 100 | 46.9373
2020-08-16 01:45:00 | 8.122 | 341.7133 | 8.732 | 327.8193 | 9.074 | 334.1953 | 9.9507 | 329.4953 | 19.32 | 879 | 100 | 44.2687
2020-08-16 02:00:00 | 8.335 | 342.94 | 8.966 | 331.18 | 9.269 | 335.395 | 10.198 | 332.873 | 19.22 | 879 | 100 | 45.835
2020-08-16 02:15:00 | 8.414 | 340.93 | 9.054 | 329.381 | 9.094 | 333.43 | 10.118 | 331.065 | 19.17 | 879 | 100 | 46.592
2020-08-16 02:30:00 | 8.4793 | 342.1533 | 9.078 | 328.9073 | 9.3573 | 334.6253 | 10.2347 | 330.5887 | 19.2267 | 879 | 100 | 46.27
2020-08-16 02:45:00 | 8.3327 | 340.2333 | 8.9347 | 330.3753 | 9.176 | 332.7487 | 10.0747 | 332.064 | 19.16 | 879 | 100 | 46.8413
2020-08-16 03:00:00 | 8.448 | 298.7133 | 9.0333 | 331.216 | 9.3153 | 292.1427 | 10.176 | 332.9087 | 19.0733 | 879 | 100 | 48.7
2020-08-16 03:15:00 | 8.063 | 309.96 | 8.663 | 332.463 | 8.925 | 303.141 | 9.811 | 334.161 | 19.05 | 879 | 100 | 47.123
2020-08-16 03:30:00 | 8.2347 | 299.4533 | 8.726 | 330.5173 | 8.9273 | 292.8647 | 9.6627 | 332.208 | 18.9867 | 878.3333 | 100 | 49.0787
2020-08-16 03:45:00 | 8.014 | 341.3667 | 8.666 | 329.398 | 8.892 | 333.8567 | 9.878 | 331.0807 | 19.0067 | 879 | 100 | 46.3633
2020-08-16 04:00:00 | 8.196 | 342.64 | 8.747 | 323.532 | 8.76 | 335.101 | 9.64 | 325.186 | 19.02 | 879 | 100 | 47.96
2020-08-16 04:15:00 | 8.454 | 338.5 | 9.069 | 323.161 | 9.079 | 331.054 | 10.072 | 324.813 | 18.98 | 879 | 100 | 45.155
2020-08-16 04:30:00 | 8.199 | 335.87 | 8.763 | 324.912 | 8.766 | 328.481 | 9.676 | 326.572 | 19 | 879 | 100 | 47.924
2020-08-16 04:45:00 | 8.1053 | 336.96 | 8.64 | 325.654 | 8.7313 | 329.5467 | 9.5653 | 327.32 | 18.8467 | 879 | 100 | 44.204
2020-08-16 05:00:00 | 8.065 | 343.58 | 8.553 | 326.934 | 8.837 | 336.021 | 9.542 | 328.607 | 18.91 | 879 | 100 | 42.69
2020-08-16 05:15:00 | 8.1293 | 339.1 | 8.5787 | 325.2693 | 8.9547 | 331.64 | 9.568 | 326.932 | 18.9067 | 879 | 100 | 46.4907
2020-08-16 05:30:00 | 7.852 | 342.44 | 8.207 | 324.706 | 8.661 | 334.905 | 9.105 | 326.367 | 18.91 | 879 | 100 | 46.333
2020-08-16 05:45:00 | 8.016 | 304.29 | 8.383 | 323.954 | 8.888 | 297.596 | 9.331 | 325.61 | 18.85 | 879 | 100 | 47.764
2020-08-16 06:00:00 | 8.3887 | 334.44 | 8.9107 | 321.6373 | 9.0947 | 327.0807 | 9.8827 | 323.2827 | 18.8933 | 879 | 100 | 46.2813
2020-08-16 06:15:00 | 7.9833 | 316.8867 | 8.4733 | 325.804 | 8.7767 | 309.914 | 9.4793 | 327.4707 | 18.86 | 879 | 100 | 45.6193
2020-08-16 06:30:00 | 7.789 | 310.55 | 8.312 | 330.76 | 8.524 | 303.718 | 9.307 | 332.452 | 18.78 | 879 | 100 | 43.833
2020-08-16 06:45:00 | 8.004 | 341.3 | 8.564 | 327.875 | 8.603 | 333.792 | 9.5 | 329.55 | 18.72 | 879 | 100 | 45.383
2020-08-16 07:00:00 | 8.015 | 339.29 | 8.61 | 325.8 | 8.757 | 331.826 | 9.669 | 327.465 | 18.8 | 879 | 100 | 43.066
2020-08-16 07:15:00 | 7.7147 | 337.9267 | 8.2727 | 326.312 | 8.362 | 330.492 | 9.23 | 327.982 | 18.6867 | 879 | 100 | 43.2653
2020-08-16 07:30:00 | 7.883 | 338.24 | 8.467 | 326.359 | 8.623 | 330.799 | 9.514 | 328.026 | 18.71 | 879 | 100 | 45.387
2020-08-16 07:45:00 | 7.9367 | 339.4533 | 8.5287 | 324.808 | 8.7173 | 331.9867 | 9.6133 | 326.468 | 18.6933 | 879.8 | 100 | 45.582
2020-08-16 08:00:00 | 7.4093 | 340.0933 | 7.916 | 329.8607 | 8.1933 | 332.6113 | 8.926 | 331.546 | 18.7533 | 880 | 100 | 43.68
2020-08-16 08:15:00 | 6.792 | 340.16 | 7.174 | 322.877 | 7.597 | 332.676 | 8.085 | 324.527 | 18.84 | 880 | 100 | 38.091
2020-08-16 08:30:00 | 7.4347 | 317.7267 | 7.9567 | 324.226 | 8.3047 | 310.7367 | 9.0387 | 325.8827 | 18.8267 | 880 | 100 | 46.4707
2020-08-16 08:45:00 | 7.476 | 340.1667 | 7.948 | 322.702 | 8.282 | 332.6827 | 8.9467 | 324.35 | 18.8 | 880 | 100 | 47.4667
2020-08-16 09:00:00 | 7.581 | 341.78 | 8.099 | 325.75 | 8.481 | 334.261 | 9.197 | 327.417 | 18.74 | 880 | 100 | 47.73
2020-08-16 09:15:00 | 7.8187 | 339.1533 | 8.3987 | 325.368 | 8.6613 | 331.6927 | 9.524 | 327.0307 | 18.7867 | 880 | 100 | 48.4007
2020-08-16 09:30:00 | 7.1693 | 341.4733 | 7.6853 | 331.5233 | 7.9053 | 333.9607 | 8.6713 | 333.218 | 18.9067 | 880 | 100 | 44.6267
2020-08-16 09:45:00 | 7.597 | 343.82 | 8.072 | 329.506 | 8.333 | 336.255 | 9.033 | 331.194 | 18.79 | 880 | 100 | 49.453
2020-08-16 10:00:00 | 7.8093 | 346.1933 | 8.28 | 329.1827 | 8.4973 | 338.5773 | 9.194 | 330.8647 | 18.78 | 880 | 100 | 49.4353
2020-08-16 10:15:00 | 7.9227 | 345.8533 | 8.4447 | 331.9473 | 8.6253 | 338.2433 | 9.4153 | 333.6427 | 18.8667 | 880 | 100 | 51.3033
2020-08-16 10:30:00 | 7.663 | 313.98 | 8.07 | 333.274 | 8.334 | 307.074 | 8.917 | 334.977 | 18.98 | 880 | 100 | 50.828
2020-08-16 10:45:00 | 7.394 | 345.22 | 7.8967 | 329.072 | 8.012 | 337.6267 | 8.792 | 330.7533 | 19.0733 | 880 | 100 | 48.4647
2020-08-16 11:00:00 | 7.444 | 349.06 | 7.949 | 326.925 | 8.131 | 341.38 | 8.893 | 328.598 | 19.1 | 880.2 | 100 | 45.623
2020-08-16 11:15:00 | 7.848 | 348.62 | 8.463 | 327.053 | 8.623 | 340.95 | 9.569 | 328.727 | 19.09 | 881 | 100 | 49.247
2020-08-16 11:30:00 | 8.39 | 324.7867 | 9.0367 | 333.14 | 8.9927 | 317.6407 | 10.042 | 334.8433 | 19.1 | 880 | 100 | 51.4173
2020-08-16 11:45:00 | 8.212 | 347.17 | 8.868 | 326.671 | 8.93 | 339.531 | 9.966 | 328.341 | 19.08 | 880 | 100 | 50.597
2020-08-16 12:00:00 | 8.2227 | 348.28 | 8.9007 | 329.69 | 8.9347 | 340.6173 | 10.0127 | 331.376 | 19.0667 | 880 | 100 | 51.95
2020-08-16 12:15:00 | 7.626 | 344.68 | 8.198 | 321.057 | 8.022 | 337.097 | 8.996 | 322.7 | 19.06 | 880 | 100 | 48.425
2020-08-16 12:30:00 | 7.8213 | 341.7733 | 8.408 | 326.6727 | 8.5093 | 334.254 | 9.4227 | 328.3407 | 19.16 | 880 | 100 | 45.5827
2020-08-16 12:45:00 | 7.272 | 338.1 | 7.8187 | 320.4907 | 8.2667 | 330.662 | 9.012 | 322.1287 | 19.24 | 880.1333 | 100 | 41.2113
2020-08-16 13:00:00 | 7.095 | 339.81 | 7.553 | 322.652 | 7.517 | 332.335 | 8.263 | 324.302 | 19.25 | 880.8 | 100 | 42.143
2020-08-16 13:15:00 | 6.4627 | 337.32 | 6.8267 | 326.272 | 7.114 | 329.8993 | 7.616 | 327.9407 | 19.2733 | 880.8 | 100 | 37.182
2020-08-16 13:30:00 | 6.11 | 341.11 | 6.342 | 325.311 | 6.524 | 333.605 | 6.846 | 326.976 | 19.28 | 881 | 100 | 33.058
2020-08-16 13:45:00 | 7.184 | 346.6533 | 7.6227 | 327.0633 | 7.9807 | 339.0267 | 8.5787 | 328.7347 | 19.26 | 881 | 100 | 45.5687
2020-08-16 14:00:00 | 6.879 | 345.03 | 7.349 | 331.875 | 7.589 | 337.44 | 8.275 | 333.57 | 19.25 | 881 | 100 | 43.457
2020-08-16 14:15:00 | 7.389 | 345.44 | 7.849 | 329.439 | 8.168 | 337.842 | 8.817 | 331.124 | 19.21 | 881 | 100 | 44.409
2020-08-16 14:30:00 | 6.6473 | 347.26 | 7.0027 | 327.454 | 7.2893 | 339.62 | 7.7733 | 329.1287 | 19.3133 | 880.4667 | 100 | 40.044
2020-08-16 14:45:00 | 6.3773 | 344.24 | 6.692 | 325.4653 | 7.102 | 336.666 | 7.4933 | 327.1293 | 19.38 | 880.8667 | 100 | 36.5147
2020-08-16 15:00:00 | 6.825 | 347.58 | 7.187 | 328.589 | 7.349 | 339.934 | 7.887 | 330.268 | 19.4 | 880.2 | 100 | 41.615
2020-08-16 15:15:00 | 7.188 | 344.4267 | 7.5447 | 329.2673 | 7.8987 | 336.8493 | 8.374 | 330.95 | 19.42 | 880.2 | 100 | 44.8853
2020-08-16 15:30:00 | 7.029 | 343.61 | 7.477 | 328.833 | 7.593 | 336.051 | 8.282 | 330.514 | 19.44 | 880 | 100 | 46.31
2020-08-16 15:45:00 | 7.383 | 344.67 | 7.832 | 332.079 | 8.105 | 337.087 | 8.754 | 333.777 | 19.41 | 880 | 100 | 46.952
2020-08-16 16:00:00 | 7.6193 | 346.52 | 8.1233 | 332.18 | 8.366 | 338.8967 | 9.1073 | 333.8787 | 19.4333 | 880 | 100 | 47.314
2020-08-16 16:15:00 | 7.659 | 343.56 | 8.219 | 330.457 | 8.332 | 336.002 | 9.198 | 332.146 | 19.47 | 880 | 100 | 47.562
2020-08-16 16:30:00 | 7.59 | 343.4533 | 8.162 | 335.7027 | 8.3227 | 335.8967 | 9.194 | 337.4187 | 19.46 | 880 | 100 | 48.9593
2020-08-16 16:45:00 | 7.865 | 343.5 | 8.396 | 332.003 | 8.51 | 335.944 | 9.326 | 333.698 | 19.42 | 880 | 100 | 47.82
2020-08-16 17:00:00 | 7.969 | 346.01 | 8.533 | 334.252 | 8.573 | 338.398 | 9.473 | 335.961 | 19.37 | 880 | 100 | 49.476
2020-08-16 17:15:00 | 7.386 | 348.5733 | 7.9487 | 329.788 | 8.0387 | 340.9047 | 8.9207 | 331.4733 | 19.44 | 880 | 100 | 47.8547
2020-08-16 17:30:00 | 7.586 | 346.51 | 8.163 | 328.706 | 8.259 | 338.701 | 9.18 | 330.386 | 19.43 | 880 | 100 | 47.278
2020-08-16 17:45:00 | 7.636 | 345.2667 | 8.1713 | 329.26 | 8.0847 | 337.6707 | 8.9727 | 330.9413 | 19.4267 | 880 | 100 | 48.218
2020-08-16 18:00:00 | 8.105 | 346.0786 | 8.6971 | 329.1186 | 8.8007 | 338.465 | 9.7243 | 330.8007 | 19.4357 | 880 | 100 | 48.804
2020-08-16 18:15:00 | 8.193 | 344.21 | 8.803 | 325.145 | 8.828 | 336.637 | 9.803 | 326.808 | 19.42 | 880 | 100 | 47.65
2020-08-16 18:30:00 | 8.2033 | 344.48 | 8.8507 | 327.4133 | 8.8933 | 336.9013 | 9.9213 | 329.09 | 19.4333 | 880 | 100 | 47.7973
2020-08-16 18:45:00 | 8.233 | 342.21 | 8.78 | 329.136 | 8.967 | 334.68 | 9.799 | 330.817 | 19.42 | 880 | 100 | 48.561
2020-08-16 19:00:00 | 7.929 | 307.11 | 8.442 | 329.42 | 8.366 | 300.353 | 9.218 | 331.104 | 19.41 | 880 | 100 | 46.299
2020-08-16 19:15:00 | 8.2653 | 346.1333 | 8.8467 | 328.1067 | 8.9193 | 338.5187 | 9.836 | 329.784 | 19.4467 | 880 | 100 | 48.4593
2020-08-16 19:30:00 | 8.147 | 344.69 | 8.733 | 332.336 | 8.727 | 337.106 | 9.671 | 334.035 | 19.46 | 880 | 100 | 46.38
2020-08-16 19:45:00 | 8.219 | 314.2 | 8.81 | 332.783 | 8.807 | 307.289 | 9.762 | 334.486 | 19.46 | 880 | 100 | 47.038
2020-08-16 20:00:00 | 8.3167 | 345.7667 | 8.946 | 327.6753 | 8.9687 | 338.1607 | 9.9747 | 329.3513 | 19.58 | 880 | 100 | 48.5667
2020-08-16 20:15:00 | 8.117 | 349.14 | 8.678 | 329.244 | 8.828 | 341.46 | 9.689 | 330.928 | 19.53 | 880 | 100 | 47.026
2020-08-16 20:30:00 | 8.142 | 349.37 | 8.793 | 328.638 | 8.749 | 341.683 | 9.807 | 330.319 | 19.5 | 880 | 100 | 47.432
2020-08-16 20:45:00 | 8.121 | 315.25 | 8.748 | 324.961 | 8.787 | 308.315 | 9.784 | 326.623 | 19.5 | 880.7 | 100 | 42.767
2020-08-16 21:00:00 | 8.339 | 349 | 8.99 | 328.512 | 9.166 | 341.323 | 10.156 | 330.189 | 19.56 | 881 | 100 | 47.402
2020-08-16 21:15:00 | 8.118 | 348.49 | 8.727 | 330.27 | 8.752 | 340.823 | 9.719 | 331.959 | 19.89 | 881 | 100 | 46.302
2020-08-16 21:30:00 | 8.0647 | 344.16 | 8.676 | 332.9827 | 8.7707 | 336.5893 | 9.728 | 334.686 | 19.6467 | 881 | 100 | 45.966
2020-08-16 21:45:00 | 8.079 | 340.72 | 8.701 | 333.292 | 8.849 | 333.225 | 9.808 | 334.996 | 19.63 | 881 | 100 | 47.017
2020-08-16 22:00:00 | 8.1613 | 347.94 | 8.8473 | 327.8513 | 8.9453 | 340.2847 | 10.0227 | 329.5273 | 19.74 | 881 | 100 | 45.8153
2020-08-16 22:15:00 | 7.819 | 347.47 | 8.482 | 322.24 | 8.552 | 339.826 | 9.598 | 323.887 | 19.8 | 881 | 100 | 44.658
2020-08-16 22:30:00 | 7.891 | 350.97 | 8.553 | 328.568 | 8.763 | 343.248 | 9.758 | 330.248 | 19.91 | 881 | 100 | 41.696
2020-08-16 22:45:00 | 7.792 | 351.98 | 8.477 | 330.33 | 8.565 | 344.238 | 9.635 | 332.018 | 20.19 | 881 | 100 | 42.243
2020-08-16 23:00:00 | 7.5307 | 350.5467 | 8.1507 | 328.1253 | 8.344 | 342.8333 | 9.278 | 329.8033 | 20.3933 | 881 | 100 | 43.0907
2020-08-16 23:15:00 | 7.623 | 349.08 | 8.253 | 326.701 | 8.556 | 341.4 | 9.485 | 328.371 | 20.33 | 881.7 | 100 | 43.091
2020-08-16 23:30:00 | 7.454 | 350.3 | 8.02 | 329.606 | 8.355 | 342.594 | 9.172 | 331.291 | 20.45 | 882 | 100 | 41.57
2020-08-16 23:45:00 | 7.42 | 351.09 | 7.955 | 330.269 | 8.507 | 343.365 | 9.204 | 331.958 | 20.45 | 882 | 100 | 41.828