## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-17 00:00:00 | 7.414 | 348.4267 | 7.9807 | 323.5287 | 8.5193 | 340.7613 | 9.2733 | 325.1827 | 20.3467 | 882 | 100 | 41.3207
2020-08-17 00:15:00 | 7.523 | 345.52 | 8.148 | 326.937 | 8.573 | 337.917 | 9.455 | 328.608 | 20.28 | 882 | 100 | 41.616
2020-08-17 00:30:00 | 7.216 | 344.1133 | 7.8187 | 325.126 | 8.3373 | 336.542 | 9.1553 | 326.7867 | 20.36 | 882 | 100 | 41.6113
2020-08-17 00:45:00 | 6.8933 | 345.5467 | 7.496 | 325.0427 | 8.0353 | 337.9427 | 8.8473 | 326.7033 | 20.2467 | 882 | 100 | 40.53
2020-08-17 01:00:00 | 6.931 | 343.99 | 7.533 | 320.138 | 8.088 | 336.422 | 8.895 | 321.775 | 20.21 | 882 | 100 | 39.633
2020-08-17 01:15:00 | 6.812 | 341.24 | 7.386 | 323.0273 | 7.906 | 333.7333 | 8.6813 | 324.678 | 20.36 | 882 | 100 | 37.982
2020-08-17 01:30:00 | 6.628 | 343.0533 | 7.1993 | 327.4547 | 7.738 | 335.5073 | 8.4987 | 329.1287 | 20.36 | 881.5333 | 100 | 38.51
2020-08-17 01:45:00 | 6.624 | 348.38 | 7.163 | 325.389 | 7.648 | 340.715 | 8.377 | 327.055 | 20.39 | 881 | 100 | 38.76
2020-08-17 02:00:00 | 6.236 | 343.13 | 6.779 | 324.823 | 7.4 | 335.582 | 8.093 | 326.485 | 20.26 | 881 | 100 | 38.159
2020-08-17 02:15:00 | 6.786 | 341.18 | 7.3733 | 319.8053 | 7.932 | 333.6727 | 8.716 | 321.442 | 20.4333 | 881 | 100 | 37.792
2020-08-17 02:30:00 | 6.788 | 342.13 | 7.361 | 322.76 | 7.973 | 334.603 | 8.719 | 324.408 | 20.56 | 881 | 100 | 37.089
2020-08-17 02:45:00 | 6.541 | 342.83 | 7.108 | 324.558 | 7.737 | 335.288 | 8.465 | 326.219 | 20.51 | 881 | 100 | 35.542
2020-08-17 03:00:00 | 6.3747 | 342.1533 | 6.896 | 325.5893 | 7.6113 | 334.6247 | 8.2433 | 327.2533 | 20.4733 | 881 | 100 | 35.89
2020-08-17 03:15:00 | 6.183 | 345.05 | 6.656 | 326.622 | 7.35 | 337.46 | 7.903 | 328.293 | 20.46 | 881 | 100 | 33.9
2020-08-17 03:30:00 | 6.124 | 346.78 | 6.58 | 322.916 | 7.369 | 339.15 | 7.871 | 324.566 | 20.43 | 881 | 100 | 35.04
2020-08-17 03:45:00 | 5.895 | 344.53 | 6.357 | 320.235 | 7.04 | 336.95 | 7.587 | 321.873 | 20.41 | 881 | 100 | 32.912
2020-08-17 04:00:00 | 5.8643 | 345.4714 | 6.2336 | 322.7679 | 7.0279 | 337.8693 | 7.3893 | 324.4179 | 20.5071 | 881 | 100 | 29.765
2020-08-17 04:15:00 | 5.517 | 336.11 | 5.847 | 323.463 | 6.601 | 328.715 | 6.916 | 325.118 | 20.6 | 881 | 100 | 26.935
2020-08-17 04:30:00 | 5.354 | 345.48 | 5.654 | 329.938 | 6.532 | 337.88 | 6.763 | 331.623 | 20.55 | 881 | 100 | 25.283
2020-08-17 04:45:00 | 5.284 | 338.46 | 5.583 | 324.969 | 6.559 | 331.014 | 6.754 | 326.632 | 20.36 | 881 | 100 | 25.213
2020-08-17 05:00:00 | 5.36 | 337.13 | 5.606 | 327.23 | 6.533 | 329.715 | 6.659 | 328.902 | 20.46 | 881 | 100 | 25.762
2020-08-17 05:15:00 | 5.324 | 340.24 | 5.5347 | 332.3767 | 6.486 | 332.7547 | 6.5527 | 334.076 | 20.4533 | 881 | 100 | 22.6427
2020-08-17 05:30:00 | 5.026 | 304.7 | 5.237 | 322.652 | 6.234 | 297.995 | 6.278 | 324.302 | 20.38 | 881 | 100 | 21.895
2020-08-17 05:45:00 | 4.8893 | 319.4267 | 5.1107 | 328.1773 | 5.9733 | 312.3993 | 6.0787 | 329.8553 | 20.4267 | 881 | 100 | 19.9927
2020-08-17 06:00:00 | 5.038 | 299.5 | 5.23 | 329.8973 | 6.1233 | 292.9107 | 6.1713 | 331.584 | 20.4667 | 881 | 100 | 19.7027
2020-08-17 06:15:00 | 5.055 | 279.21 | 5.29 | 330.045 | 6.134 | 273.067 | 6.261 | 331.733 | 20.45 | 881 | 100 | 20.651
2020-08-17 06:30:00 | 4.384 | 337.84 | 4.468 | 329.567 | 5.321 | 330.407 | 5.209 | 331.25 | 20.46 | 881 | 100 | 13.779
2020-08-17 06:45:00 | 3.9153 | 314.1067 | 3.9507 | 324.2913 | 4.8493 | 307.196 | 4.648 | 325.9473 | 20.4733 | 881 | 100 | 11.0333
2020-08-17 07:00:00 | 3.889 | 289.86 | 3.872 | 321.949 | 4.899 | 283.484 | 4.579 | 323.593 | 20.44 | 881 | 100 | 10.35
2020-08-17 07:15:00 | 3.7187 | 262.4867 | 3.7427 | 322.2827 | 4.4687 | 256.7127 | 4.2993 | 323.9327 | 20.42 | 881.1333 | 100 | 8.9567
2020-08-17 07:30:00 | 3.8027 | 337.9133 | 3.8647 | 328.7267 | 4.5027 | 330.4787 | 4.4193 | 330.4067 | 20.3267 | 882 | 100 | 9.3713
2020-08-17 07:45:00 | 3.647 | 271.78 | 3.728 | 327.609 | 4.401 | 265.801 | 4.339 | 329.286 | 20.47 | 882 | 100 | 8.307
2020-08-17 08:00:00 | 2.8627 | 248.12 | 2.8493 | 324.5273 | 3.6687 | 242.662 | 3.4153 | 326.186 | 20.5 | 882 | 100 | 5.6473
2020-08-17 08:15:00 | 2.888 | 175.4667 | 2.8887 | 322.088 | 3.6987 | 171.6053 | 3.4707 | 323.734 | 20.5867 | 882 | 100 | 5.86
2020-08-17 08:30:00 | 2.44 | 200.89 | 2.443 | 316.344 | 3.156 | 196.471 | 2.951 | 317.961 | 20.74 | 882 | 100 | 4.269
2020-08-17 08:45:00 | 2.0133 | 275.9133 | 1.974 | 325.732 | 2.4813 | 269.844 | 2.272 | 327.398 | 20.8467 | 882.1333 | 100 | 3.3667
2020-08-17 09:00:00 | 2.1967 | 298.9867 | 2.1467 | 327.3047 | 2.72 | 292.4107 | 2.4767 | 328.978 | 20.86 | 883 | 100 | 3.5667
2020-08-17 09:15:00 | 2.18 | 141.07 | 2.183 | 296.188 | 2.848 | 137.966 | 2.662 | 297.7 | 21.17 | 883 | 100 | 3.454
2020-08-17 09:30:00 | 2.346 | 189.7133 | 2.3853 | 322.6613 | 3.0307 | 185.5393 | 2.9093 | 324.312 | 21.2067 | 883 | 100 | 3.6393
2020-08-17 09:45:00 | 2.3621 | 212.2 | 2.3793 | 328.0557 | 2.9621 | 207.5307 | 2.8229 | 329.7343 | 21.25 | 883 | 100 | 3.6786
2020-08-17 10:00:00 | 2.185 | 195.1 | 2.186 | 324.727 | 2.801 | 190.809 | 2.631 | 326.387 | 21.21 | 883 | 100 | 2.906
2020-08-17 10:15:00 | 1.697 | 256.48 | 1.665 | 324.598 | 2.034 | 250.839 | 1.877 | 326.258 | 21.58 | 883 | 100 | 1.577
2020-08-17 10:30:00 | 1.817 | 285.05 | 1.778 | 331.042 | 2.308 | 278.778 | 2.096 | 332.736 | 21.85 | 883 | 100 | 1.673
2020-08-17 10:45:00 | 1.6447 | 272.82 | 1.5947 | 290.85 | 2.14 | 266.8173 | 1.9027 | 292.3373 | 22.3667 | 883.8 | 100 | 1.606
2020-08-17 11:00:00 | 1.721 | 146.08 | 1.646 | 330.436 | 2.241 | 142.866 | 1.949 | 332.127 | 22.55 | 884 | 99.52 | 1.826
2020-08-17 11:15:00 | 1.7053 | 219.24 | 1.6653 | 297.3253 | 2.1927 | 214.4173 | 1.9813 | 298.8453 | 22.1933 | 884 | 98.8333 | 2.4567
2020-08-17 11:30:00 | 1.5307 | 180.9067 | 1.562 | 211.208 | 1.9313 | 176.9273 | 1.872 | 212.288 | 22.9267 | 884 | 98.9867 | 2.0047
2020-08-17 11:45:00 | 1.689 | 193.18 | 1.682 | 201.293 | 2.085 | 188.93 | 1.958 | 202.321 | 23.12 | 884 | 98.36 | 1.603
2020-08-17 12:00:00 | 1.8293 | 141.9933 | 1.8453 | 165.9333 | 2.4073 | 138.8687 | 2.2707 | 166.7827 | 23.76 | 884 | 97.08 | 1.9693
2020-08-17 12:15:00 | 1.912 | 168.15 | 1.9 | 245.018 | 2.303 | 164.452 | 2.172 | 246.271 | 23.75 | 884 | 93.9 | 0.918
2020-08-17 12:30:00 | 1.937 | 213.95 | 1.937 | 305.193 | 2.394 | 209.242 | 2.27 | 306.755 | 23.81 | 884.2 | 92.46 | 1.326
2020-08-17 12:45:00 | 1.751 | 261.8 | 1.772 | 266.515 | 2.343 | 256.04 | 2.215 | 267.877 | 24.37 | 885 | 91.75 | 1.244
2020-08-17 13:00:00 | 1.7233 | 253.6533 | 1.712 | 333.158 | 2.0167 | 248.0727 | 1.9107 | 334.8627 | 25.1 | 885 | 89.0467 | 0.302
2020-08-17 13:15:00 | 2.0507 | 201.2933 | 2.076 | 308.6813 | 2.5387 | 196.8647 | 2.4467 | 310.26 | 24.7733 | 885 | 87.84 | 0.42667
2020-08-17 13:30:00 | 2.305 | 282.11 | 2.398 | 325.166 | 2.852 | 275.905 | 2.871 | 326.829 | 24.66 | 885 | 88.89 | 1.181
2020-08-17 13:45:00 | 2.697 | 266.96 | 2.782 | 322.192 | 3.461 | 261.087 | 3.404 | 323.839 | 24.59 | 885 | 86.26 | 2.981
2020-08-17 14:00:00 | 3.38 | 301.22 | 3.505 | 328.5 | 4.232 | 294.592 | 4.225 | 330.18 | 24.86 | 885 | 85.51 | 5.791
2020-08-17 14:15:00 | 3.903 | 333.33 | 4.258 | 329.585 | 4.871 | 325.997 | 5.26 | 331.269 | 25.01 | 885 | 82.91 | 9.713
2020-08-17 14:30:00 | 4.755 | 336.29 | 5.152 | 298.837 | 5.648 | 328.891 | 6.143 | 300.365 | 25.15 | 885 | 84.9 | 17.794
2020-08-17 14:45:00 | 5.144 | 337.8 | 5.6027 | 329.234 | 5.9233 | 330.3687 | 6.5667 | 330.918 | 24.66 | 885 | 88.2933 | 22.236
2020-08-17 15:00:00 | 5.022 | 336.57 | 5.43 | 329.566 | 5.462 | 329.166 | 6.107 | 331.253 | 24.44 | 884.8 | 91.61 | 21.242
2020-08-17 15:15:00 | 2.86 | 176.45 | 3.002 | 175.316 | 2.843 | 172.569 | 3.119 | 176.212 | 23.94 | 884 | 94.57 | 5.914
2020-08-17 15:30:00 | 7.88 | 142.33 | 8.613 | 214.094 | 9.465 | 139.198 | 10.398 | 215.188 | 20.5 | 883.8 | 98.36 | 21.383
2020-08-17 15:45:00 | 9.696 | 340.93 | 10.502 | 304.071 | 11.071 | 333.431 | 12.201 | 305.625 | 17.94 | 883.7 | 99 | 44.439
2020-08-17 16:00:00 | 11.05 | 342.34 | 11.838 | 328.608 | 11.864 | 334.809 | 13.13 | 330.288 | 17.32 | 883 | 100 | 59.926
2020-08-17 16:15:00 | 9.3373 | 297.1533 | 10.144 | 327.768 | 10.4173 | 290.616 | 11.6353 | 329.442 | 16.9133 | 883 | 100 | 58.434
2020-08-17 16:30:00 | 9.811 | 343.36 | 10.655 | 268.707 | 11.16 | 335.806 | 12.373 | 270.08 | 16.66 | 883 | 100 | 57.417
2020-08-17 16:45:00 | 9.478 | 318.43 | 10.267 | 293.725 | 10.792 | 311.424 | 11.91 | 295.225 | 16.57 | 883 | 100 | 61.374
2020-08-17 17:00:00 | 9.7567 | 303.7733 | 10.5973 | 309.0153 | 11.2093 | 297.0893 | 12.3813 | 310.5947 | 16.38 | 883.5333 | 100 | 63.2933
2020-08-17 17:15:00 | 9.2767 | 320.6733 | 10.09 | 308.358 | 10.5373 | 313.6187 | 11.7153 | 309.9333 | 16.2133 | 883.8 | 100 | 63.1653
2020-08-17 17:30:00 | 9.385 | 344.17 | 10.135 | 325.194 | 10.601 | 336.598 | 11.675 | 326.857 | 16.19 | 883.8 | 100 | 64.029
2020-08-17 17:45:00 | 9.5667 | 300.8533 | 10.3393 | 290.2767 | 10.77 | 294.2347 | 11.8867 | 291.7593 | 16.22 | 883.8 | 100 | 64.0667
2020-08-17 18:00:00 | 8.966 | 298.1 | 9.5747 | 272.8367 | 10.022 | 291.5427 | 10.872 | 274.2313 | 16.4133 | 884 | 100 | 63.4973
2020-08-17 18:15:00 | 9.461 | 315.29 | 10.11 | 308.131 | 10.787 | 308.353 | 11.632 | 309.704 | 16.64 | 884 | 100 | 62.968
2020-08-17 18:30:00 | 9.648 | 283.2933 | 10.2913 | 333.5507 | 11.092 | 277.0613 | 11.896 | 335.256 | 17.36 | 883 | 100 | 64.5413
2020-08-17 18:45:00 | 9.2033 | 280.8067 | 9.8913 | 312.4253 | 10.7007 | 274.628 | 11.57 | 314.0227 | 17.38 | 883.1333 | 100 | 63.8493
2020-08-17 19:00:00 | 9.073 | 212.97 | 9.66 | 299.794 | 10.462 | 208.284 | 11.171 | 301.328 | 17.55 | 884 | 100 | 62.534
2020-08-17 19:15:00 | 8.223 | 310.83 | 8.983 | 261.467 | 9.717 | 303.993 | 10.725 | 262.803 | 17.32 | 884 | 100 | 62.299
2020-08-17 19:30:00 | 8.996 | 280.53 | 9.762 | 333.86 | 10.41 | 274.358 | 11.448 | 335.567 | 17.69 | 883.8 | 100 | 63.283
2020-08-17 19:45:00 | 8.613 | 278.94 | 9.268 | 301.341 | 9.719 | 272.804 | 10.638 | 302.882 | 17.91 | 883 | 100 | 63.256
2020-08-17 20:00:00 | 8.941 | 348.19 | 9.535 | 301.908 | 9.885 | 340.53 | 10.735 | 303.453 | 18.14 | 884 | 100 | 63.272
2020-08-17 20:15:00 | 9.019 | 346.4 | 9.605 | 273.459 | 9.951 | 338.781 | 10.787 | 274.856 | 18.08 | 884 | 100 | 63.406
2020-08-17 20:30:00 | 9.083 | 248.23 | 9.536 | 336.432 | 9.961 | 242.768 | 10.575 | 338.153 | 18.53 | 884 | 100 | 61.342
2020-08-17 20:45:00 | 7.739 | 239.88 | 8.253 | 204.618 | 8.827 | 234.603 | 9.488 | 205.664 | 18.5 | 884 | 100 | 60.812
2020-08-17 21:00:00 | 7.9687 | 260.2733 | 8.346 | 295.4473 | 8.714 | 254.5473 | 9.214 | 296.9587 | 18.8467 | 885 | 100 | 61.0733
2020-08-17 21:15:00 | 7.4627 | 301.36 | 7.8567 | 314.1927 | 8.3047 | 294.7307 | 8.81 | 315.7993 | 18.8 | 885 | 99.9067 | 58.5907
2020-08-17 21:30:00 | 8.239 | 280.46 | 8.644 | 339.054 | 8.947 | 274.289 | 9.513 | 340.786 | 18.91 | 885 | 99.44 | 61.53
2020-08-17 21:45:00 | 8.6807 | 283.5467 | 9.1573 | 295.4527 | 9.6227 | 277.3087 | 10.2567 | 296.9653 | 18.8267 | 885 | 99.8333 | 62.538
2020-08-17 22:00:00 | 9.1687 | 211.3533 | 9.6813 | 342.6467 | 10.12 | 206.702 | 10.8133 | 344.396 | 18.7533 | 885 | 100 | 62.186
2020-08-17 22:15:00 | 8.443 | 349.95 | 8.992 | 303.718 | 9.563 | 342.25 | 10.28 | 305.27 | 18.57 | 885 | 100 | 61.041
2020-08-17 22:30:00 | 8.1053 | 330.38 | 8.7467 | 313.3447 | 9.292 | 323.112 | 10.1587 | 314.9467 | 18.46 | 886 | 100 | 60.8093
2020-08-17 22:45:00 | 7.522 | 277.6267 | 8.0607 | 326.1967 | 8.4727 | 271.5193 | 9.2193 | 327.864 | 18.44 | 885.2 | 99.0333 | 61.3347
2020-08-17 23:00:00 | 7.116 | 276.49 | 7.654 | 296.472 | 8.307 | 270.407 | 8.978 | 297.986 | 18.58 | 885 | 95.75 | 59.954
2020-08-17 23:15:00 | 6.866 | 315.66 | 7.329 | 328.345 | 7.824 | 308.714 | 8.423 | 330.022 | 18.58 | 885.7 | 94.91 | 54.483
2020-08-17 23:30:00 | 7.8407 | 299.8933 | 8.444 | 328.7193 | 8.8773 | 293.2947 | 9.7167 | 330.3993 | 18.6467 | 886 | 95.68 | 57.3307
2020-08-17 23:45:00 | 7.466 | 346.97 | 7.995 | 325.82 | 8.126 | 339.336 | 8.943 | 327.484 | 18.48 | 885.3 | 95.78 | 55.353