## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-18 00:00:00 | 6.3793 | 325.5467 | 6.8667 | 332.624 | 7.306 | 318.3847 | 7.9627 | 334.324 | 18.5 | 886 | 94.94 | 50.4773
2020-08-18 00:15:00 | 6.596 | 310.77 | 7.088 | 323.356 | 7.421 | 303.933 | 8.11 | 325.009 | 18.59 | 886 | 96.1 | 52.087
2020-08-18 00:30:00 | 7.441 | 315.04 | 7.958 | 333.273 | 8.268 | 308.111 | 9.013 | 334.978 | 18.47 | 885 | 96.31 | 58.577
2020-08-18 00:45:00 | 7.563 | 109.54 | 8.196 | 301.342 | 8.445 | 107.131 | 9.391 | 302.883 | 18.69 | 885 | 97.65 | 56.193
2020-08-18 01:00:00 | 7.804 | 348.16 | 8.327 | 329.576 | 8.54 | 340.501 | 9.324 | 331.262 | 18.53 | 885 | 97.86 | 59.691
2020-08-18 01:15:00 | 8.27 | 248.97 | 8.873 | 341.555 | 8.977 | 243.491 | 9.914 | 343.303 | 18.67 | 885 | 96.74 | 59.663
2020-08-18 01:30:00 | 7.2386 | 228.7143 | 7.7307 | 312.9379 | 7.8757 | 223.6821 | 8.63 | 314.5379 | 18.7929 | 885 | 97.7143 | 52.8773
2020-08-18 01:45:00 | 7.494 | 214.5 | 8.019 | 337.655 | 8.235 | 209.78 | 9.02 | 339.381 | 18.93 | 885 | 97.78 | 53.802
2020-08-18 02:00:00 | 7.3847 | 350.34 | 7.9353 | 311.8587 | 8.2767 | 342.6333 | 9.0613 | 313.4513 | 18.88 | 885 | 97.4733 | 56.606
2020-08-18 02:15:00 | 7.5644 | 347.6889 | 8.1789 | 295.1711 | 8.6456 | 340.0389 | 9.4989 | 296.6811 | 18.7667 | 884.3333 | 96.5222 | 58.109
2020-08-18 02:30:00 | 7.127 | 344.65 | 7.697 | 332.265 | 8.129 | 337.068 | 8.927 | 333.965 | 19.12 | 884 | 96.06 | 57.131
2020-08-18 02:45:00 | 6.682 | 304.8467 | 7.1573 | 309.8767 | 7.532 | 298.14 | 8.1867 | 311.4607 | 19.22 | 884.8 | 96.7867 | 50.138
2020-08-18 03:00:00 | 6.966 | 318.22 | 7.358 | 337.361 | 7.767 | 311.219 | 8.279 | 339.088 | 19.17 | 885 | 97.94 | 51.986
2020-08-18 03:15:00 | 7.867 | 284.95 | 8.381 | 340.148 | 8.762 | 278.681 | 9.478 | 341.886 | 19.12 | 885 | 98.31 | 57.724
2020-08-18 03:30:00 | 8.156 | 311.86 | 8.749 | 332.91 | 9.193 | 304.999 | 10.017 | 334.613 | 18.74 | 884.8 | 98.84 | 60.891
2020-08-18 03:45:00 | 9.1936 | 348.0357 | 9.8586 | 340.6564 | 10.0621 | 340.3786 | 11.0764 | 342.3993 | 19.0214 | 884 | 99.2929 | 60.5187
2020-08-18 04:00:00 | 9.1627 | 351.9933 | 9.842 | 271.4067 | 10.1647 | 344.2493 | 11.1587 | 272.796 | 18.92 | 884 | 99.6467 | 59.6813
2020-08-18 04:15:00 | 7.457 | 282.06 | 8.034 | 268.903 | 8.176 | 275.855 | 9.061 | 270.276 | 18.76 | 884 | 99.59 | 52.13
2020-08-18 04:30:00 | 5.837 | 317.23 | 6.278 | 335.327 | 6.37 | 310.251 | 7.052 | 337.041 | 18.42 | 885 | 99.48 | 36.771
2020-08-18 04:45:00 | 5.782 | 274.16 | 6.121 | 324.988 | 6.351 | 268.128 | 6.831 | 326.651 | 18.59 | 885 | 99.28 | 36.501
2020-08-18 05:00:00 | 5.446 | 349.82 | 5.796 | 330.426 | 6.034 | 342.124 | 6.526 | 332.117 | 18.62 | 885 | 97.61 | 33.731
2020-08-18 05:15:00 | 5.786 | 144.99 | 6.164 | 335.512 | 6.613 | 141.801 | 7.091 | 337.226 | 18.22 | 885 | 99.55 | 36.325
2020-08-18 05:30:00 | 6.058 | 350.1 | 6.545 | 319.668 | 6.881 | 342.397 | 7.567 | 321.304 | 17.68 | 885 | 100 | 45.972
2020-08-18 05:45:00 | 6.487 | 346.89 | 7.04 | 326.134 | 7.424 | 339.258 | 8.198 | 327.8 | 17.37 | 884.3 | 100 | 47.675
2020-08-18 06:00:00 | 7.284 | 343.34 | 7.822 | 324.961 | 7.822 | 336.011 | 8.691 | 326.621 | 17.16 | 884 | 100 | 56.071
2020-08-18 06:15:00 | 7.658 | 340.82 | 8.233 | 327.24 | 8.445 | 333.321 | 9.315 | 328.912 | 17.69 | 884 | 100 | 59.66
2020-08-18 06:30:00 | 7.288 | 342.1733 | 7.8327 | 329.958 | 7.9007 | 334.6453 | 8.7567 | 331.6447 | 17.98 | 884.4667 | 100 | 56.0933
2020-08-18 06:45:00 | 6.891 | 341.04 | 7.462 | 329.135 | 7.438 | 333.537 | 8.365 | 330.819 | 17.8 | 884.3 | 100 | 55.395
2020-08-18 07:00:00 | 7.078 | 338.62 | 7.617 | 327.941 | 7.869 | 331.171 | 8.66 | 329.62 | 17.8 | 885 | 100 | 54.074
2020-08-18 07:15:00 | 6.912 | 348.41 | 7.439 | 329.645 | 7.665 | 340.745 | 8.447 | 331.33 | 18.09 | 885 | 100 | 51.815
2020-08-18 07:30:00 | 6.08 | 341.6857 | 6.6 | 331.9193 | 6.7514 | 334.1686 | 7.5479 | 333.615 | 17.9643 | 885 | 100 | 41.1573
2020-08-18 07:45:00 | 5.728 | 344.4067 | 6.102 | 330.7527 | 6.3267 | 336.83 | 6.8673 | 332.444 | 18.2067 | 885.8 | 100 | 34.25
2020-08-18 08:00:00 | 6.658 | 345.77 | 7.092 | 332.596 | 7.272 | 338.162 | 7.919 | 334.298 | 18.1 | 886 | 100 | 44.705
2020-08-18 08:15:00 | 6.792 | 337.8867 | 7.2753 | 329.0853 | 7.5347 | 330.4533 | 8.2367 | 330.766 | 17.8533 | 886 | 100 | 50.8073
2020-08-18 08:30:00 | 7.332 | 343.83 | 7.817 | 333.693 | 8 | 336.265 | 8.728 | 335.399 | 17.89 | 886 | 100 | 54.763
2020-08-18 08:45:00 | 6.947 | 341.06 | 7.525 | 330.398 | 7.646 | 333.557 | 8.534 | 332.087 | 17.75 | 886 | 100 | 52.067
2020-08-18 09:00:00 | 6.817 | 341.96 | 7.338 | 323.639 | 7.662 | 334.437 | 8.41 | 325.296 | 17.56 | 886 | 100 | 53.09
2020-08-18 09:15:00 | 6.2967 | 342.84 | 6.7693 | 326.3473 | 7.1847 | 335.298 | 7.8273 | 328.0147 | 17.58 | 886 | 100 | 50.538
2020-08-18 09:30:00 | 6.818 | 343.84 | 7.426 | 329.605 | 7.696 | 336.275 | 8.592 | 331.29 | 17.64 | 886 | 100 | 55.54
2020-08-18 09:45:00 | 6.464 | 342.06 | 7.062 | 326.925 | 7.181 | 334.536 | 8.105 | 328.598 | 17.73 | 886 | 100 | 49.309
2020-08-18 10:00:00 | 6.456 | 344.4267 | 6.994 | 323.3327 | 7.2727 | 336.85 | 8.054 | 324.986 | 17.84 | 886 | 100 | 44.9687
2020-08-18 10:15:00 | 6.9567 | 347.2133 | 7.5287 | 326.9 | 7.76 | 339.574 | 8.6153 | 328.572 | 17.86 | 886.6667 | 100 | 49.716
2020-08-18 10:30:00 | 6.912 | 346.7 | 7.472 | 320.862 | 7.705 | 339.072 | 8.538 | 322.503 | 18.01 | 886 | 100 | 48.283
2020-08-18 10:45:00 | 6.732 | 350.5867 | 7.302 | 322.3487 | 7.5273 | 342.874 | 8.3787 | 323.9967 | 18.1333 | 886.1333 | 100 | 46.5173
2020-08-18 11:00:00 | 6.568 | 348.76 | 7.0633 | 321.5713 | 7.2813 | 341.086 | 8.0147 | 323.216 | 18.0867 | 887 | 99.9 | 43.406
2020-08-18 11:15:00 | 6.196 | 347.91 | 6.668 | 318.67 | 6.9 | 340.257 | 7.589 | 320.3 | 18.17 | 887 | 98.84 | 37.362
2020-08-18 11:30:00 | 5.2707 | 345.1929 | 5.7179 | 317.4657 | 6.0414 | 337.5286 | 6.6679 | 319.0886 | 18.5786 | 887 | 97.2714 | 28.2313
2020-08-18 11:45:00 | 5.1353 | 320.6333 | 5.5073 | 319.6507 | 5.9747 | 313.58 | 6.4367 | 321.2833 | 18.9467 | 887 | 95.76 | 28.2913
2020-08-18 12:00:00 | 4.829 | 340.33 | 5.114 | 325.684 | 5.219 | 332.842 | 5.651 | 327.349 | 19.17 | 887 | 95.53 | 20.496
2020-08-18 12:15:00 | 4.725 | 342.91 | 5.144 | 333.352 | 5.393 | 335.366 | 5.991 | 335.055 | 19.57 | 887 | 92.5 | 20.761
2020-08-18 12:30:00 | 5.5373 | 336.68 | 5.762 | 325.9813 | 5.8293 | 329.2727 | 6.172 | 327.646 | 19.7067 | 887 | 89.9667 | 26.4827
2020-08-18 12:45:00 | 5.841 | 337.58 | 6.11 | 324.864 | 6.216 | 330.153 | 6.624 | 326.523 | 19.93 | 887 | 90.63 | 29.529
2020-08-18 13:00:00 | 5.438 | 338.59 | 5.709 | 323.776 | 5.737 | 331.139 | 6.164 | 325.431 | 19.58 | 887 | 92.43 | 27.737
2020-08-18 13:15:00 | 5.68 | 339.56 | 6.018 | 332.422 | 6.36 | 332.088 | 6.8 | 334.122 | 19.54 | 887 | 90.74 | 31.802
2020-08-18 13:30:00 | 6.0327 | 341.8667 | 6.3573 | 326.6247 | 6.6973 | 334.3453 | 7.1227 | 328.2947 | 19.5067 | 886 | 92.0867 | 36.4367
2020-08-18 13:45:00 | 5.591 | 344.52 | 5.801 | 319.865 | 6.365 | 336.94 | 6.542 | 321.501 | 19.7 | 886 | 91.34 | 32.361
2020-08-18 14:00:00 | 5.19 | 336 | 5.412 | 317.331 | 5.614 | 328.608 | 5.917 | 318.956 | 19.76 | 886 | 90.41 | 26.65
2020-08-18 14:15:00 | 5.4807 | 336.6867 | 5.7253 | 322.186 | 5.9127 | 329.2793 | 6.2527 | 323.8333 | 20.2 | 886 | 89.1067 | 24.3293
2020-08-18 14:30:00 | 4.539 | 334.26 | 4.659 | 320.619 | 4.936 | 326.905 | 5.051 | 322.258 | 20.55 | 886 | 87.51 | 21.751
2020-08-18 14:45:00 | 5.274 | 337.86 | 5.562 | 323.601 | 6.022 | 330.427 | 6.353 | 325.254 | 20.61 | 886 | 84.63 | 28.153
2020-08-18 15:00:00 | 5.3914 | 337.05 | 5.6836 | 323.0614 | 5.8164 | 329.6343 | 6.2507 | 324.7136 | 20.9071 | 886 | 85.7143 | 26.658
2020-08-18 15:15:00 | 4.6927 | 334.3133 | 4.8593 | 326.658 | 5.0627 | 326.9587 | 5.276 | 328.3293 | 21.08 | 886 | 86.2867 | 20.3993
2020-08-18 15:30:00 | 4.336 | 301.68 | 4.529 | 331.18 | 4.933 | 295.042 | 5.129 | 332.874 | 21.12 | 886 | 86.07 | 17.3
2020-08-18 15:45:00 | 4.1147 | 315.1667 | 4.4307 | 270.6587 | 4.6493 | 308.2327 | 5.0967 | 272.0427 | 21.0133 | 886 | 86.5867 | 14.9627
2020-08-18 16:00:00 | 3.82 | 343.8 | 4.1413 | 208.9987 | 4.466 | 336.236 | 4.8867 | 210.068 | 20.7667 | 886 | 87.58 | 12.0667
2020-08-18 16:15:00 | 3.772 | 345.84 | 4.041 | 205.821 | 4.301 | 338.231 | 4.658 | 206.872 | 20.73 | 886 | 90.25 | 10.879
2020-08-18 16:30:00 | 3.674 | 309.58 | 3.893 | 338.418 | 4.05 | 302.769 | 4.355 | 340.147 | 20.74 | 886 | 91.38 | 10.99
2020-08-18 16:45:00 | 3.664 | 278.82 | 3.9053 | 341.8173 | 4.128 | 272.686 | 4.4553 | 343.5653 | 20.6333 | 886 | 91.4533 | 8.9607
2020-08-18 17:00:00 | 4.042 | 345.73 | 4.25 | 331.083 | 4.323 | 338.123 | 4.636 | 332.775 | 20.65 | 885.8 | 91.84 | 9.826
2020-08-18 17:15:00 | 3.6357 | 178.1357 | 3.8557 | 330.4443 | 4.0407 | 174.2157 | 4.3414 | 332.135 | 20.5286 | 885 | 91.3583 | 10.4364
2020-08-18 17:30:00 | 3.5693 | 191.3 | 3.8087 | 310.3133 | 4.41 | 187.0913 | 4.6213 | 311.8993 | 20.4467 | 885 | 90.92 | 11.5453
2020-08-18 17:45:00 | 3.469 | 112.68 | 3.721 | 271.101 | 4.225 | 110.271 | 4.482 | 272.488 | 20.5 | 885 | 90.4 | 10.487
2020-08-18 18:00:00 | 3.216 | 250.95 | 3.416 | 298.203 | 3.726 | 245.43 | 3.957 | 299.727 | 20.28 | 885 | 91.85 | 7.847
2020-08-18 18:15:00 | 3.4447 | 260.1067 | 3.6813 | 332.0373 | 3.9393 | 254.3847 | 4.2453 | 333.734 | 20.18 | 885 | 91.8533 | 9.1153
2020-08-18 18:30:00 | 3.538 | 144.56 | 3.785 | 303.229 | 3.882 | 141.38 | 4.257 | 304.779 | 20.1 | 885 | 90.54 | 10.643
2020-08-18 18:45:00 | 3.7487 | 303 | 4.022 | 330.1547 | 4.1687 | 296.334 | 4.568 | 331.842 | 20.1067 | 885 | 91.76 | 10.5673
2020-08-18 19:00:00 | 3.914 | 339.0133 | 4.192 | 320.738 | 4.3793 | 331.5547 | 4.774 | 322.378 | 20.1 | 885 | 90.2933 | 11.092
2020-08-18 19:15:00 | 3.581 | 329.08 | 3.825 | 311.621 | 4.198 | 321.84 | 4.484 | 313.215 | 19.99 | 885 | 89.02 | 9.95
2020-08-18 19:30:00 | 3.692 | 325.55 | 3.938 | 306.887 | 4.298 | 318.387 | 4.585 | 308.456 | 20.01 | 885 | 89.2 | 11.166
2020-08-18 19:45:00 | 3.9333 | 332.8733 | 4.2533 | 323.0533 | 4.4447 | 325.5507 | 4.9067 | 324.704 | 19.9667 | 885 | 89.8 | 12.362
2020-08-18 20:00:00 | 3.838 | 338.58 | 4.162 | 326.867 | 4.226 | 331.131 | 4.73 | 328.538 | 19.8 | 885 | 92.42 | 13.081
2020-08-18 20:15:00 | 3.608 | 338.11 | 3.921 | 333.673 | 4.086 | 330.672 | 4.539 | 335.381 | 19.62 | 885 | 91.85 | 11.135
2020-08-18 20:30:00 | 3.472 | 342.2533 | 3.8433 | 288.882 | 3.8553 | 334.7247 | 4.4453 | 290.36 | 19.42 | 885 | 93.5933 | 9.6027
2020-08-18 20:45:00 | 3.768 | 341.24 | 4.121 | 335.66 | 4.143 | 333.733 | 4.703 | 337.376 | 19.47 | 885 | 92.82 | 11.738
2020-08-18 21:00:00 | 4.071 | 343.7 | 4.367 | 334.456 | 4.587 | 336.139 | 4.994 | 336.167 | 19.52 | 885 | 94.29 | 12.173
2020-08-18 21:15:00 | 4.012 | 316.84 | 4.317 | 303.217 | 4.33 | 309.869 | 4.815 | 304.769 | 19.55 | 885 | 94.74 | 12.747
2020-08-18 21:30:00 | 4.56 | 314.34 | 4.885 | 309.488 | 5.007 | 307.425 | 5.489 | 311.071 | 19.55 | 885 | 96.17 | 16.661
2020-08-18 21:45:00 | 5.167 | 346.95 | 5.603 | 338.535 | 5.677 | 339.317 | 6.357 | 340.265 | 19.45 | 885 | 97.77 | 22.828
2020-08-18 22:00:00 | 5.6533 | 346.5467 | 6.0187 | 334.2473 | 6.27 | 338.9227 | 6.7853 | 335.9573 | 19.2533 | 885 | 97.4467 | 30.0207
2020-08-18 22:15:00 | 5.159 | 343.96 | 5.406 | 328.716 | 5.43 | 336.393 | 5.817 | 330.397 | 19.2 | 885 | 96.24 | 21.637
2020-08-18 22:30:00 | 4.202 | 232.6267 | 4.4071 | 323.2079 | 4.5314 | 218.9814 | 4.8186 | 324.8621 | 19.1214 | 885.4286 | 92.9214 | 14.7093
2020-08-18 22:45:00 | 4.3513 | 55.5 | 4.6027 | 325.7587 | 4.894 | 54.2787 | 5.2167 | 327.4247 | 19.1733 | 886 | 94.9867 | 17.2853
2020-08-18 23:00:00 | 4.424 | 211.15 | 4.613 | 315.961 | 5.059 | 206.505 | 5.24 | 317.577 | 18.87 | 886 | 95.68 | 17.473
2020-08-18 23:15:00 | 4.967 | 341.26 | 5.253 | 319.317 | 5.578 | 333.752 | 5.944 | 320.949 | 19.01 | 886 | 95.68 | 21.922
2020-08-18 23:30:00 | 4.895 | 349.5 | 5.189 | 324.286 | 5.589 | 341.812 | 5.95 | 325.944 | 18.93 | 886 | 96.04 | 22.337
2020-08-18 23:45:00 | 5.058 | 343.33 | 5.336 | 320.961 | 5.65 | 335.777 | 6.002 | 322.602 | 19.01 | 886 | 96.84 | 19.517