## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-19 00:00:00 | 4.696 | 347.52 | 4.884 | 330.827 | 5.204 | 339.875 | 5.414 | 332.52 | 19.2 | 886 | 95.44 | 18.494
2020-08-19 00:15:00 | 4.987 | 346.4 | 5.225 | 323.893 | 5.417 | 338.781 | 5.748 | 325.551 | 19.37 | 886 | 96.4 | 17.396
2020-08-19 00:30:00 | 4.095 | 307.91 | 4.309 | 319.619 | 4.774 | 301.136 | 4.988 | 321.254 | 19.14 | 886 | 96.08 | 12.246
2020-08-19 00:45:00 | 4.115 | 312.39 | 4.347 | 321.29 | 4.922 | 305.517 | 5.132 | 322.935 | 18.94 | 886 | 97 | 14.226
2020-08-19 01:00:00 | 3.214 | 349 | 3.4153 | 328.9073 | 3.7113 | 341.3213 | 3.9467 | 330.5893 | 18.8667 | 886 | 97.3 | 7.332
2020-08-19 01:15:00 | 2.57 | 175.63 | 2.716 | 331.827 | 3.092 | 171.766 | 3.214 | 333.521 | 18.77 | 886 | 98.11 | 3.884
2020-08-19 01:30:00 | 2.595 | 202.12 | 2.67 | 319.445 | 3.079 | 197.674 | 3.081 | 321.076 | 18.83 | 885 | 98.6 | 2.84
2020-08-19 01:45:00 | 1.9247 | 60.74 | 1.9433 | 304.0147 | 2.4073 | 59.4047 | 2.3047 | 305.5687 | 19.0933 | 885 | 98.4267 | 0.92667
2020-08-19 02:00:00 | 2.144 | 232.85 | 2.174 | 314.71 | 2.78 | 227.726 | 2.655 | 316.319 | 18.97 | 885 | 98.21 | 1.479
2020-08-19 02:15:00 | 2.475 | 254.1 | 2.59 | 315.503 | 3.121 | 248.509 | 3.156 | 317.115 | 18.98 | 885 | 98.06 | 2.049
2020-08-19 02:30:00 | 2.033 | 320.56 | 2.13 | 314.036 | 2.597 | 313.506 | 2.617 | 315.641 | 18.83 | 885 | 98.28 | 0.831
2020-08-19 02:45:00 | 2.272 | 334.15 | 2.329 | 308.794 | 2.906 | 326.798 | 2.831 | 310.375 | 18.85 | 885 | 99.05 | 1.167
2020-08-19 03:00:00 | 2.264 | 326.72 | 2.332 | 328.15 | 2.834 | 319.533 | 2.799 | 329.827 | 18.8 | 885 | 98.92 | 1.258
2020-08-19 03:15:00 | 2.3307 | 331.7267 | 2.356 | 315.2027 | 2.87 | 324.4293 | 2.764 | 316.8153 | 18.92 | 885 | 98.7733 | 1.462
2020-08-19 03:30:00 | 2.324 | 306.4 | 2.436 | 320.834 | 2.749 | 299.658 | 2.838 | 322.473 | 19.06 | 885 | 99.55 | 1.046
2020-08-19 03:45:00 | 2.21 | 210.7133 | 2.3793 | 331.7313 | 2.3293 | 206.078 | 2.618 | 333.426 | 19.0667 | 885 | 100 | 0.986
2020-08-19 04:00:00 | 1.9807 | 101.0467 | 2.1393 | 309.9347 | 2.2993 | 98.8233 | 2.5093 | 311.5193 | 18.8867 | 885 | 100 | 0
2020-08-19 04:15:00 | 1.999 | 15.07 | 2.121 | 7.13 | 2.226 | 14.739 | 2.397 | 7.166 | 18.86 | 885 | 100 | 0
2020-08-19 04:30:00 | 2.07 | 23.19 | 2.017 | 270.965 | 2.273 | 22.679 | 2.118 | 272.35 | 18.37 | 885 | 100 | 0
2020-08-19 04:45:00 | 2.162 | 103.82 | 2.232 | 335.7093 | 2.534 | 101.536 | 2.5607 | 337.424 | 18.3467 | 885 | 100 | 0
2020-08-19 05:00:00 | 2.036 | 122.11 | 2.045 | 327.864 | 2.31 | 119.423 | 2.252 | 329.54 | 18.34 | 885 | 100 | 0
2020-08-19 05:15:00 | 1.542 | 118.52 | 1.557 | 300.999 | 1.865 | 115.913 | 1.799 | 302.538 | 18.36 | 885 | 100 | 0
2020-08-19 05:30:00 | 1.9567 | 314.36 | 2.082 | 319.0353 | 2.2333 | 307.4447 | 2.3893 | 320.668 | 18.4667 | 885 | 100 | 0
2020-08-19 05:45:00 | 2.149 | 248.55 | 2.246 | 325.694 | 2.412 | 243.083 | 2.523 | 327.359 | 18.48 | 884.3 | 100 | 0
2020-08-19 06:00:00 | 2.744 | 51.09 | 2.868 | 326.27 | 3.144 | 49.604 | 3.275 | 327.939 | 18.05 | 884 | 100 | 1.528
2020-08-19 06:15:00 | 2.7473 | 298.26 | 2.79 | 319.7533 | 3.2387 | 291.6967 | 3.1813 | 321.3887 | 17.8333 | 884.1333 | 100 | 2.148
2020-08-19 06:30:00 | 2.625 | 266.71 | 2.715 | 322.925 | 3.117 | 260.843 | 3.143 | 324.577 | 17.94 | 885 | 100 | 1.564
2020-08-19 06:45:00 | 2.337 | 44.4 | 2.436 | 332.402 | 2.711 | 43.424 | 2.792 | 334.101 | 18.17 | 885 | 100 | 0.239
2020-08-19 07:00:00 | 1.877 | 207.3 | 1.876 | 325.399 | 2.344 | 202.738 | 2.206 | 327.065 | 17.9 | 885 | 100 | 0
2020-08-19 07:15:00 | 1.853 | 172.71 | 1.846 | 332.314 | 2.169 | 168.911 | 2.063 | 334.014 | 17.89 | 885 | 100 | 0
2020-08-19 07:30:00 | 1.487 | 180.07 | 1.465 | 207.669 | 1.779 | 176.11 | 1.655 | 208.73 | 18 | 885 | 100 | 0
2020-08-19 07:45:00 | 0.93067 | 145.7067 | 0.90933 | 287.4793 | 1.2947 | 142.502 | 1.1473 | 288.95 | 18.72 | 885.8 | 100 | 0
2020-08-19 08:00:00 | 1.202 | 178.23 | 1.158 | 317.703 | 1.478 | 174.31 | 1.312 | 319.328 | 18.29 | 886 | 100 | 0
2020-08-19 08:15:00 | 1.758 | 180.46 | 1.708 | 334.34 | 2.032 | 176.49 | 1.862 | 336.048 | 18.11 | 886 | 100 | 0
2020-08-19 08:30:00 | 1.598 | 281.1533 | 1.6167 | 322.9153 | 1.8787 | 274.9673 | 1.832 | 324.5653 | 18.2467 | 886 | 100 | 0
2020-08-19 08:45:00 | 1.816 | 243.8933 | 1.8613 | 291.9333 | 2.0993 | 238.526 | 2.1033 | 293.4253 | 18.4667 | 886 | 100 | 0
2020-08-19 09:00:00 | 1.906 | 329.25 | 1.955 | 323.864 | 2.097 | 322.008 | 2.137 | 325.52 | 18.6 | 886 | 100 | 0
2020-08-19 09:15:00 | 1.8133 | 249.84 | 1.8433 | 305.938 | 2.2133 | 244.3427 | 2.158 | 307.5013 | 18.6867 | 886.1333 | 100 | 0
2020-08-19 09:30:00 | 2.4547 | 309.0267 | 2.49 | 328.5307 | 2.9293 | 302.23 | 2.862 | 330.2093 | 18.4267 | 887 | 99.8267 | 0.35867
2020-08-19 09:45:00 | 2.374 | 321.88 | 2.418 | 322.319 | 2.981 | 314.799 | 2.89 | 323.968 | 18.31 | 887 | 98.41 | 0.83
2020-08-19 10:00:00 | 1.91 | 280.99 | 1.884 | 325.997 | 2.375 | 274.807 | 2.191 | 327.663 | 18.63 | 887 | 96.41 | 0
2020-08-19 10:15:00 | 1.54 | 257.1933 | 1.5373 | 319.0167 | 1.876 | 251.5347 | 1.7733 | 320.6493 | 18.92 | 887 | 94.0667 | 0
2020-08-19 10:30:00 | 1.2 | 205.01 | 1.165 | 315.826 | 1.482 | 200.5 | 1.331 | 317.44 | 19.35 | 887.2 | 93.11 | 0
2020-08-19 10:45:00 | 0.9 | 205.88 | 0.887 | 278.887 | 1.108 | 201.35 | 1.022 | 280.313 | 19.91 | 888 | 92.09 | 0
2020-08-19 11:00:00 | 0.565 | 100.32 | 0.593 | 206.758 | 0.658 | 98.112 | 0.685 | 207.816 | 20.57 | 888 | 91.72 | 0
2020-08-19 11:15:00 | 0.641 | 151.46 | 0.629 | 283.483 | 0.713 | 148.128 | 0.672 | 284.933 | 20.51 | 888 | 89.68 | 0
2020-08-19 11:30:00 | 0.454 | 125.2 | 0.478 | 154.279 | 0.477 | 122.446 | 0.516 | 155.069 | 20.52 | 888 | 89.98 | 0
2020-08-19 11:45:00 | 0.868 | 156.91 | 0.88 | 122.631 | 0.928 | 153.458 | 0.936 | 123.258 | 20.35 | 888 | 89.13 | 0
2020-08-19 12:00:00 | 1.309 | 152.19 | 1.402 | 146.564 | 1.52 | 148.841 | 1.632 | 147.31 | 20.19 | 888 | 90.19 | 0
2020-08-19 12:15:00 | 0.962 | 168.8 | 0.963 | 131.386 | 1.13 | 165.084 | 1.08 | 132.057 | 20.34 | 888 | 93.25 | 0
2020-08-19 12:30:00 | 1.6387 | 153.92 | 1.7087 | 138.0853 | 2.068 | 150.5347 | 2.0787 | 138.794 | 20.44 | 888 | 93.0867 | 0
2020-08-19 12:45:00 | 1.7947 | 141.48 | 1.8167 | 135.6687 | 2.06 | 138.37 | 2.0273 | 136.3627 | 20.5467 | 887.2 | 89.84 | 0
2020-08-19 13:00:00 | 1.563 | 161.49 | 1.532 | 128.55 | 1.685 | 157.938 | 1.592 | 129.205 | 21.04 | 887 | 89 | 0
2020-08-19 13:15:00 | 1.6547 | 147.8 | 1.6787 | 133.0793 | 1.9127 | 144.548 | 1.882 | 133.76 | 21.3733 | 887.1333 | 85.3267 | 0
2020-08-19 13:30:00 | 1.56 | 142.82 | 1.602 | 139.73 | 1.7213 | 139.6773 | 1.7527 | 140.4453 | 21.32 | 888 | 84.3667 | 0
2020-08-19 13:45:00 | 1.739 | 180.69 | 1.8 | 150.7 | 1.946 | 176.716 | 2.002 | 151.473 | 21.13 | 887.3 | 85.59 | 0
2020-08-19 14:00:00 | 1.786 | 166.1 | 1.849 | 124.167 | 1.952 | 162.446 | 2.026 | 124.801 | 20.97 | 887 | 87.42 | 0
2020-08-19 14:15:00 | 1.784 | 146.1 | 1.89 | 137.3167 | 2.1273 | 142.8867 | 2.2313 | 138.018 | 20.8667 | 887 | 88.2133 | 0
2020-08-19 14:30:00 | 1.9967 | 144.1133 | 2.0307 | 138.1 | 2.3387 | 140.944 | 2.304 | 138.8067 | 20.8267 | 887 | 88.9533 | 0.026667
2020-08-19 14:45:00 | 2.045 | 146.24 | 2.111 | 141.086 | 2.441 | 143.021 | 2.449 | 141.807 | 20.78 | 887 | 89.06 | 0.075
2020-08-19 15:00:00 | 1.9207 | 146.5067 | 1.9747 | 142.9973 | 2.2713 | 143.284 | 2.2753 | 143.7287 | 21.0733 | 887 | 88.36 | 0.16
2020-08-19 15:15:00 | 1.887 | 136.53 | 1.924 | 135.981 | 2.165 | 133.527 | 2.162 | 136.676 | 21.04 | 887 | 86.66 | 0.032
2020-08-19 15:30:00 | 1.313 | 129.34 | 1.329 | 120.313 | 1.565 | 126.495 | 1.524 | 120.93 | 21.03 | 886.8 | 88.16 | 0
2020-08-19 15:45:00 | 1.343 | 119.73 | 1.291 | 111.306 | 1.363 | 117.096 | 1.259 | 111.876 | 21.26 | 886 | 88.58 | 0
2020-08-19 16:00:00 | 1.473 | 118.45 | 1.507 | 108.793 | 1.639 | 115.844 | 1.654 | 109.349 | 21.23 | 886 | 89.31 | 0
2020-08-19 16:15:00 | 0.719 | 143.58 | 0.728 | 92.029 | 0.876 | 140.422 | 0.848 | 92.501 | 21.26 | 886 | 89.42 | 0
2020-08-19 16:30:00 | 0.525 | 135.38 | 0.569 | 162.513 | 0.596 | 132.403 | 0.656 | 163.346 | 21.51 | 886 | 87.36 | 0
2020-08-19 16:45:00 | 1.2173 | 114.9333 | 1.1653 | 135.094 | 1.2593 | 112.4053 | 1.1513 | 135.7853 | 21.1333 | 886 | 89.0133 | 0
2020-08-19 17:00:00 | 0.88533 | 109.2933 | 1.0147 | 199.0693 | 1.2627 | 106.888 | 1.398 | 200.086 | 20.9067 | 885.5333 | 94.9067 | 0
2020-08-19 17:15:00 | 0.964 | 115.39 | 0.971 | 139.461 | 1.1 | 112.85 | 1.077 | 140.176 | 21.06 | 885 | 93.6 | 0
2020-08-19 17:30:00 | 0.87 | 100.48 | 0.98 | 138.221 | 1.059 | 98.267 | 1.21 | 138.927 | 21.02 | 885 | 92.98 | 0
2020-08-19 17:45:00 | 0.428 | 121.26 | 0.47467 | 107.4553 | 0.47067 | 118.592 | 0.548 | 108.006 | 21.1933 | 885 | 92.0667 | 0
2020-08-19 18:00:00 | 2.336 | 112.36 | 2.261 | 123.227 | 2.344 | 109.888 | 2.207 | 123.858 | 20.91 | 885 | 90 | 0
2020-08-19 18:15:00 | 1.575 | 127.97 | 1.94 | 195.356 | 2.026 | 125.155 | 2.584 | 196.355 | 20.59 | 885 | 95.86 | 0
2020-08-19 18:30:00 | 1.038 | 151.4133 | 1.1127 | 162.6107 | 1.2593 | 148.0813 | 1.3353 | 163.4393 | 20.4733 | 885 | 92.5067 | 0
2020-08-19 18:45:00 | 1.276 | 159.66 | 1.38 | 155.776 | 1.51 | 156.148 | 1.642 | 156.572 | 20.46 | 885 | 93.9 | 0
2020-08-19 19:00:00 | 1.85 | 141.09 | 2.011 | 148.675 | 2.042 | 137.987 | 2.291 | 149.436 | 20.22 | 885 | 95.64 | 0
2020-08-19 19:15:00 | 1.998 | 170.06 | 2.101 | 147.726 | 2.271 | 166.318 | 2.388 | 148.483 | 20.12 | 885 | 94.37 | 0.461
2020-08-19 19:30:00 | 2.412 | 157.3067 | 2.54 | 157.6993 | 2.8893 | 153.846 | 2.9947 | 158.5053 | 19.7533 | 885 | 96.28 | 1.814
2020-08-19 19:45:00 | 1.852 | 129.27 | 1.942 | 146.025 | 2.137 | 126.426 | 2.223 | 146.773 | 19.83 | 885 | 97.64 | 1.156
2020-08-19 20:00:00 | 1.884 | 164.58 | 1.939 | 152.509 | 2.042 | 160.958 | 2.102 | 153.289 | 19.87 | 885 | 98.41 | 1.312
2020-08-19 20:15:00 | 1.626 | 193.8467 | 1.7207 | 181.354 | 1.6873 | 189.582 | 1.852 | 182.2813 | 20.1733 | 885 | 99.6467 | 0.63867
2020-08-19 20:30:00 | 1.682 | 185.75 | 1.741 | 184.295 | 1.755 | 181.663 | 1.848 | 185.237 | 20.27 | 885.2 | 99.86 | 1.167
2020-08-19 20:45:00 | 1.687 | 159.83 | 1.742 | 173.878 | 1.868 | 156.314 | 1.92 | 174.768 | 20.19 | 886 | 99.02 | 1.406
2020-08-19 21:00:00 | 1.5 | 159.1 | 1.5487 | 154.1387 | 1.6767 | 155.5993 | 1.7207 | 154.9267 | 20.0467 | 886 | 95.18 | 1.1833
2020-08-19 21:15:00 | 1.614 | 142.87 | 1.669 | 149.897 | 1.859 | 139.726 | 1.893 | 150.665 | 19.93 | 886 | 94.4 | 1.09
2020-08-19 21:30:00 | 1.372 | 131.35 | 1.437 | 132.529 | 1.582 | 128.46 | 1.648 | 133.205 | 20.11 | 886 | 96.1 | 0.769
2020-08-19 21:45:00 | 1.2287 | 129.86 | 1.2973 | 113.8587 | 1.3573 | 127.0027 | 1.4513 | 114.44 | 20.16 | 886 | 96.1867 | 0
2020-08-19 22:00:00 | 0.852 | 135.22 | 0.886 | 115.696 | 0.967 | 132.245 | 0.996 | 116.29 | 20.27 | 886.2 | 95.25 | 0
2020-08-19 22:15:00 | 0.808 | 129.7 | 0.839 | 115.325 | 0.837 | 126.848 | 0.887 | 115.915 | 20.38 | 886.3 | 94.77 | 0
2020-08-19 22:30:00 | 0.76867 | 122.42 | 0.79733 | 116.07 | 0.744 | 119.7267 | 0.80467 | 116.6627 | 20.4467 | 887 | 93.12 | 0
2020-08-19 22:45:00 | 0.859 | 120.99 | 0.874 | 122.778 | 0.791 | 118.328 | 0.843 | 123.406 | 20.52 | 887 | 93.02 | 0
2020-08-19 23:00:00 | 0.455 | 133.41 | 0.472 | 158.349 | 0.416 | 130.476 | 0.458 | 159.158 | 20.63 | 887 | 93.19 | 0
2020-08-19 23:15:00 | 0.34667 | 200.0867 | 0.38733 | 188.2647 | 0.39467 | 195.6847 | 0.456 | 189.2287 | 20.6867 | 887 | 91.32 | 0
2020-08-19 23:30:00 | 0.16 | 217.41 | 0.185 | 239.962 | 0.175 | 212.628 | 0.221 | 241.19 | 20.68 | 887 | 91.84 | 0
2020-08-19 23:45:00 | 0.408 | 169.4 | 0.428 | 156.109 | 0.545 | 165.674 | 0.543 | 156.907 | 20.53 | 887 | 94.61 | 0