## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-20 00:00:00 | 0.33533 | 91.78 | 0.322 | 151.6553 | 0.43267 | 89.76 | 0.378 | 152.4307 | 20.5467 | 887 | 94.3333 | 0
2020-08-20 00:15:00 | 0.204 | 94.43 | 0.187 | 166.123 | 0.182 | 92.352 | 0.159 | 166.974 | 20.51 | 887 | 95.34 | 0
2020-08-20 00:30:00 | 0.166 | 129.32 | 0.154 | 166.425 | 0.135 | 126.475 | 0.122 | 167.278 | 20.51 | 887 | 95.74 | 0
2020-08-20 00:45:00 | 0.29267 | 219.1733 | 0.276 | 188.904 | 0.27933 | 214.3513 | 0.25533 | 189.8707 | 20.4 | 887 | 99.1333 | 0
2020-08-20 01:00:00 | 0.391 | 223.6 | 0.395 | 210.708 | 0.495 | 218.68 | 0.468 | 211.786 | 20.35 | 887 | 99.92 | 0
2020-08-20 01:15:00 | 0.433 | 168.2 | 0.427 | 155.031 | 0.402 | 164.5 | 0.402 | 155.824 | 20.19 | 887 | 100 | 0
2020-08-20 01:30:00 | 0.16467 | 154.54 | 0.17 | 106.8113 | 0.13733 | 151.14 | 0.156 | 107.3573 | 20.04 | 886 | 100 | 0
2020-08-20 01:45:00 | 0.17111 | 153.3667 | 0.16556 | 165.4022 | 0.18222 | 149.99 | 0.16778 | 166.2456 | 20.0556 | 886 | 100 | 0
2020-08-20 02:00:00 | 0.1 | 107.93 | 0.112 | 201.283 | 0.166 | 105.553 | 0.168 | 202.311 | 20.2 | 886 | 100 | 0
2020-08-20 02:15:00 | 0.19533 | 141.9133 | 0.17733 | 315.5493 | 0.23933 | 138.7913 | 0.192 | 317.1607 | 20.16 | 886 | 100 | 0
2020-08-20 02:30:00 | 0.111 | 43.33 | 0.121 | 333.947 | 0.162 | 42.377 | 0.163 | 335.655 | 20.18 | 886 | 100 | 0
2020-08-20 02:45:00 | 0.14714 | 46.2429 | 0.15143 | 212.63 | 0.16857 | 45.2257 | 0.16643 | 213.7171 | 20.2857 | 886 | 99.1643 | 0
2020-08-20 03:00:00 | 0.218 | 27.46 | 0.238 | 162.078 | 0.212 | 26.856 | 0.256 | 162.904 | 20.3 | 886 | 98.18 | 0
2020-08-20 03:15:00 | 0.365 | 127.69 | 0.344 | 156.772 | 0.297 | 124.881 | 0.281 | 157.574 | 20.28 | 886 | 97.66 | 0
2020-08-20 03:30:00 | 0.12 | 186.7 | 0.12133 | 222.7093 | 0.224 | 182.5927 | 0.19533 | 223.848 | 20.1133 | 885 | 99.1667 | 0
2020-08-20 03:45:00 | 0.184 | 180.38 | 0.187 | 231.816 | 0.319 | 176.411 | 0.286 | 233.001 | 20.16 | 885 | 99.57 | 0
2020-08-20 04:00:00 | 0.96533 | 317.7067 | 0.97067 | 326.2867 | 1.4547 | 310.7167 | 1.324 | 327.956 | 19.9 | 885 | 99.9467 | 0
2020-08-20 04:15:00 | 1.9573 | 267.24 | 1.9613 | 340.278 | 2.5467 | 262.75 | 2.388 | 342.02 | 19.36 | 885 | 100 | 0
2020-08-20 04:30:00 | 2.275 | 217.4 | 2.244 | 321.116 | 2.655 | 212.616 | 2.492 | 322.758 | 18.79 | 885 | 100 | 0.284
2020-08-20 04:45:00 | 2.62 | 277.51 | 2.666 | 334.954 | 3.256 | 271.403 | 3.162 | 336.669 | 18.99 | 885 | 100 | 1.883
2020-08-20 05:00:00 | 3.1907 | 324.8867 | 3.3253 | 330.036 | 3.7547 | 317.7407 | 3.8473 | 331.7227 | 18.5467 | 885 | 100 | 4.026
2020-08-20 05:15:00 | 2.94 | 245.13 | 3.028 | 335.269 | 3.449 | 239.736 | 3.471 | 336.982 | 18.81 | 885 | 100 | 3.346
2020-08-20 05:30:00 | 2.684 | 243.5 | 2.769 | 332.303 | 3.221 | 238.143 | 3.229 | 334.003 | 18.99 | 885 | 100 | 2.367
2020-08-20 05:45:00 | 2.3493 | 107.7333 | 2.442 | 326.7247 | 2.6793 | 105.3613 | 2.762 | 328.3953 | 18.56 | 885 | 100 | 0.51267
2020-08-20 06:00:00 | 2.106 | 183.27 | 2.172 | 322.369 | 2.462 | 179.238 | 2.486 | 324.016 | 18.7 | 885 | 100 | 0.046
2020-08-20 06:15:00 | 2.751 | 108.28 | 2.787 | 314.563 | 3.114 | 105.898 | 3.075 | 316.171 | 18.19 | 885 | 100 | 1.731
2020-08-20 06:30:00 | 3.3613 | 311.6867 | 3.416 | 316.67 | 4.0633 | 304.8293 | 3.9687 | 318.288 | 17.7933 | 885 | 100 | 6.2267
2020-08-20 06:45:00 | 3.388 | 337.69 | 3.481 | 320.794 | 4.199 | 330.26 | 4.142 | 322.435 | 17.53 | 885.7 | 100 | 6.227
2020-08-20 07:00:00 | 2.931 | 301.5 | 2.979 | 320.237 | 3.464 | 294.867 | 3.406 | 321.873 | 18.04 | 886 | 100 | 3.299
2020-08-20 07:15:00 | 3.4013 | 331.7933 | 3.44 | 314.5187 | 4.0907 | 324.494 | 3.9633 | 316.1267 | 17.8867 | 886 | 100 | 5.8747
2020-08-20 07:30:00 | 3.849 | 341.38 | 3.989 | 321.614 | 4.586 | 333.87 | 4.642 | 323.259 | 17.36 | 886 | 100 | 8.397
2020-08-20 07:45:00 | 4.01 | 337.36 | 4.161 | 320.431 | 4.817 | 329.937 | 4.871 | 322.07 | 17.62 | 886 | 100 | 9.852
2020-08-20 08:00:00 | 3.784 | 316.3667 | 3.954 | 319.1927 | 4.6173 | 309.4067 | 4.6993 | 320.8247 | 18.62 | 886 | 100 | 8.908
2020-08-20 08:15:00 | 3.641 | 336.01 | 3.786 | 316.128 | 4.456 | 328.616 | 4.5 | 317.746 | 18.75 | 886 | 100 | 8.265
2020-08-20 08:30:00 | 3.674 | 325.87 | 3.749 | 324.698 | 4.45 | 318.702 | 4.367 | 326.357 | 18.78 | 886 | 100 | 8.013
2020-08-20 08:45:00 | 3.5193 | 308.8 | 3.5567 | 327.518 | 4.1993 | 302.006 | 4.0767 | 329.1927 | 19 | 886 | 100 | 7.4307
2020-08-20 09:00:00 | 3.728 | 281.14 | 3.908 | 331.326 | 4.338 | 274.954 | 4.5 | 333.02 | 19.32 | 886 | 100 | 6.958
2020-08-20 09:15:00 | 2.945 | 144.53 | 3.018 | 331.914 | 3.475 | 141.349 | 3.462 | 333.611 | 20.2 | 887 | 100 | 4.785
2020-08-20 09:30:00 | 2.518 | 142.2133 | 2.4813 | 228.1273 | 3.086 | 139.0847 | 2.8547 | 229.2947 | 20.8733 | 887 | 100 | 3.1267
2020-08-20 09:45:00 | 2.638 | 153.78 | 2.612 | 275.64 | 3.186 | 150.398 | 2.978 | 277.048 | 21.34 | 887 | 100 | 2.884
2020-08-20 10:00:00 | 2.485 | 247.19 | 2.616 | 323.873 | 2.854 | 241.753 | 2.992 | 325.531 | 20.73 | 887.2 | 100 | 1.921
2020-08-20 10:15:00 | 1.69 | 172.7867 | 1.672 | 330.746 | 1.7767 | 168.9867 | 1.7207 | 332.4373 | 21.5133 | 888 | 97.6133 | 0.184
2020-08-20 10:30:00 | 1.4 | 228.5 | 1.332 | 326.26 | 1.368 | 223.476 | 1.248 | 327.928 | 21.94 | 888 | 93.44 | 0
2020-08-20 10:45:00 | 1.344 | 128.87 | 1.328 | 289.986 | 1.401 | 126.035 | 1.357 | 291.469 | 22.86 | 888 | 89.89 | 0
2020-08-20 11:00:00 | 1.218 | 173.4933 | 1.1513 | 332.416 | 1.17 | 169.676 | 1.0593 | 334.116 | 23.46 | 888 | 86.8133 | 0
2020-08-20 11:15:00 | 1.07 | 92.2 | 1.036 | 248.412 | 1.22 | 90.17 | 1.114 | 249.684 | 23.7 | 888 | 85.74 | 0
2020-08-20 11:30:00 | 1.246 | 162.56 | 1.2613 | 303.838 | 1.3093 | 158.982 | 1.318 | 305.3913 | 24.3533 | 888 | 82.8667 | 0
2020-08-20 11:45:00 | 1.03 | 151.4733 | 1.056 | 223.12 | 1.012 | 148.142 | 1.0687 | 224.262 | 24.8 | 888 | 80.134 | 0
2020-08-20 12:00:00 | 0.959 | 136.88 | 1.06 | 177.663 | 1.271 | 131.579 | 1.352 | 178.572 | 25.01 | 888 | 76.52 | 0
2020-08-20 12:15:00 | 1.4967 | 183.7667 | 1.5207 | 125.8627 | 1.6353 | 177.9113 | 1.642 | 126.5053 | 25.06 | 888 | 74.1133 | 0
2020-08-20 12:30:00 | 1.822 | 195.52 | 1.8327 | 126.2807 | 2.1053 | 191.2187 | 2.042 | 126.9253 | 24.82 | 888 | 77.2527 | 0
2020-08-20 12:45:00 | 1.605 | 188.32 | 1.614 | 128.578 | 1.725 | 184.177 | 1.709 | 129.236 | 25.24 | 888 | 77.082 | 0
2020-08-20 13:00:00 | 2.1347 | 195.2067 | 2.1927 | 143.648 | 2.4907 | 190.9127 | 2.498 | 144.3833 | 25.22 | 888 | 75.8593 | 0
2020-08-20 13:15:00 | 2.127 | 197.71 | 2.178 | 136.186 | 2.493 | 193.36 | 2.484 | 136.882 | 25.24 | 888 | 74.383 | 0
2020-08-20 13:30:00 | 2.351 | 192.72 | 2.441 | 130.769 | 2.668 | 188.48 | 2.75 | 131.436 | 25.14 | 888 | 71.125 | 0.071
2020-08-20 13:45:00 | 2.145 | 191.14 | 2.189 | 136.11 | 2.427 | 186.937 | 2.431 | 136.804 | 25.44 | 888 | 67.512 | 0.06
2020-08-20 14:00:00 | 1.9553 | 186.14 | 1.9913 | 135.818 | 2.184 | 182.0447 | 2.1887 | 136.5113 | 25.7 | 888 | 65.0047 | 0
2020-08-20 14:15:00 | 1.7893 | 204.9 | 1.9667 | 154.7847 | 2.0893 | 200.392 | 2.3387 | 155.5753 | 26.1333 | 888 | 62.4 | 0
2020-08-20 14:30:00 | 1.683 | 223.04 | 1.806 | 166.27 | 1.928 | 218.131 | 2.091 | 167.121 | 26.43 | 888 | 62.269 | 0
2020-08-20 14:45:00 | 2.25 | 168.9933 | 2.3127 | 130.4647 | 2.1407 | 165.276 | 2.2953 | 131.132 | 26.18 | 888 | 60.0707 | 0
2020-08-20 15:00:00 | 2.278 | 181.5667 | 2.3453 | 139.4367 | 2.4033 | 177.574 | 2.5007 | 140.1487 | 26.14 | 888 | 60.034 | 0
2020-08-20 15:15:00 | 2.475 | 213.37 | 2.541 | 138.437 | 2.882 | 208.676 | 2.889 | 139.142 | 26.09 | 888 | 58.834 | 0.23
2020-08-20 15:30:00 | 1.902 | 198.0733 | 1.9913 | 151.5767 | 2.1473 | 193.7153 | 2.246 | 152.352 | 26.6267 | 888 | 61.3827 | 0
2020-08-20 15:45:00 | 1.7 | 201.55 | 1.708 | 135.571 | 1.803 | 197.116 | 1.793 | 136.264 | 26.98 | 888 | 58.985 | 0
2020-08-20 16:00:00 | 1.1 | 156.41 | 1.209 | 126.522 | 1.303 | 152.968 | 1.451 | 127.17 | 27.34 | 887 | 58.378 | 0
2020-08-20 16:15:00 | 1.409 | 225.16 | 1.455 | 155.844 | 1.546 | 220.206 | 1.598 | 156.64 | 27.66 | 887 | 57.854 | 0
2020-08-20 16:30:00 | 1.61 | 117.81 | 1.721 | 157.174 | 1.794 | 115.219 | 1.955 | 157.978 | 27.41 | 887 | 58.474 | 0
2020-08-20 16:45:00 | 2.126 | 158.55 | 2.205 | 176.784 | 2.104 | 155.062 | 2.26 | 177.685 | 27.46 | 887 | 58.088 | 0
2020-08-20 17:00:00 | 1.477 | 183.22 | 1.572 | 142.504 | 1.379 | 179.19 | 1.589 | 143.23 | 26.96 | 887 | 59.068 | 0
2020-08-20 17:15:00 | 1.366 | 204.76 | 1.44 | 149.937 | 1.6 | 200.256 | 1.675 | 150.704 | 27.33 | 887 | 58.824 | 0
2020-08-20 17:30:00 | 1.354 | 206.32 | 1.394 | 163.297 | 1.348 | 201.78 | 1.429 | 164.132 | 27.08 | 887 | 59.958 | 0
2020-08-20 17:45:00 | 1.0993 | 199.26 | 1.2427 | 140.244 | 1.2547 | 194.8753 | 1.48 | 140.9627 | 27.68 | 887 | 60.4853 | 0
2020-08-20 18:00:00 | 1.2467 | 198.1333 | 1.328 | 187.19 | 1.4853 | 193.774 | 1.57 | 188.1467 | 27.1333 | 887 | 61.2227 | 0
2020-08-20 18:15:00 | 1.335 | 189.31 | 1.421 | 172.597 | 1.435 | 185.145 | 1.57 | 173.48 | 27.1 | 887 | 61.558 | 0
2020-08-20 18:30:00 | 1.556 | 193.3933 | 1.6647 | 171.02 | 1.736 | 189.1387 | 1.89 | 171.8933 | 26.9733 | 887 | 63.6687 | 0
2020-08-20 18:45:00 | 1.88 | 210.4733 | 2.0367 | 189.5887 | 2.2087 | 205.8427 | 2.4113 | 190.5573 | 26.4333 | 886.8667 | 66.194 | 0
2020-08-20 19:00:00 | 1.938 | 197.79 | 2.028 | 191.09 | 2.227 | 193.437 | 2.31 | 192.069 | 26.13 | 886 | 68.446 | 0
2020-08-20 19:15:00 | 1.571 | 200.93 | 1.65 | 190.603 | 1.835 | 196.51 | 1.909 | 191.576 | 26.2 | 886 | 69.341 | 0
2020-08-20 19:30:00 | 1.382 | 180.98 | 1.4727 | 172.2893 | 1.7613 | 176.9987 | 1.822 | 173.1713 | 25.9467 | 886 | 68.3787 | 0
2020-08-20 19:45:00 | 1.602 | 170.61 | 1.68 | 159.336 | 1.898 | 166.857 | 1.963 | 160.15 | 25.63 | 885.3 | 68.736 | 0
2020-08-20 20:00:00 | 1.797 | 169.13 | 1.889 | 155.199 | 1.988 | 165.411 | 2.11 | 155.993 | 25.5 | 885 | 69.487 | 0
2020-08-20 20:15:00 | 1.9347 | 180.8 | 2.0147 | 169.696 | 2.1213 | 176.8233 | 2.222 | 170.5633 | 25.4733 | 885 | 71.2607 | 0.084667
2020-08-20 20:30:00 | 2.113 | 181.92 | 2.207 | 169.967 | 2.358 | 177.918 | 2.465 | 170.836 | 25.29 | 885 | 72.25 | 0.31
2020-08-20 20:45:00 | 2.036 | 189.22 | 2.131 | 173.614 | 2.219 | 185.057 | 2.35 | 174.501 | 25.26 | 885 | 72.465 | 0.038889
2020-08-20 21:00:00 | 2.1947 | 191.96 | 2.3153 | 179.3067 | 2.4207 | 187.7367 | 2.588 | 180.2227 | 25.2133 | 885.4667 | 73.092 | 0
2020-08-20 21:15:00 | 2.137 | 184.34 | 2.229 | 172.49 | 2.377 | 180.285 | 2.487 | 173.373 | 25.04 | 886 | 73.426 | 0
2020-08-20 21:30:00 | 1.563 | 204.68 | 1.708 | 186.621 | 1.628 | 200.176 | 1.888 | 187.577 | 25.02 | 886 | 73.317 | 0
2020-08-20 21:45:00 | 0.92667 | 222.1133 | 0.928 | 215.99 | 0.76067 | 217.2273 | 0.81133 | 217.0913 | 24.9333 | 886 | 76.6253 | 0
2020-08-20 22:00:00 | 0.572 | 227.12 | 0.536 | 217.898 | 0.598 | 222.126 | 0.528 | 219.012 | 24.92 | 886 | 78.894 | 0
2020-08-20 22:15:00 | 0.33 | 182.85 | 0.305 | 270.183 | 0.33 | 178.827 | 0.289 | 271.563 | 24.8 | 886 | 80.81 | 0
2020-08-20 22:30:00 | 0.50533 | 154.1867 | 0.53267 | 171.6847 | 0.48667 | 150.7933 | 0.54667 | 172.562 | 24.7 | 886 | 83.6467 | 0
2020-08-20 22:45:00 | 0.61333 | 128.2267 | 0.65333 | 140.2387 | 0.64133 | 125.4053 | 0.71067 | 140.9547 | 24.52 | 886 | 84.48 | 0
2020-08-20 23:00:00 | 0.486 | 131.82 | 0.536 | 155.864 | 0.472 | 128.92 | 0.572 | 156.661 | 24.24 | 886 | 84.5 | 0
2020-08-20 23:15:00 | 0.732 | 158.66 | 0.76467 | 148.2373 | 0.638 | 155.17 | 0.728 | 148.9973 | 24.1933 | 886 | 84.56 | 0
2020-08-20 23:30:00 | 0.95267 | 164.6867 | 0.97933 | 159.2253 | 1.036 | 161.0633 | 1.0653 | 160.0393 | 23.88 | 886 | 85.2 | 0
2020-08-20 23:45:00 | 1.093 | 157.86 | 1.185 | 149.77 | 1.269 | 154.387 | 1.391 | 150.536 | 23.9 | 886 | 85.91 | 0