## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-21 00:00:00 | 0.781 | 144.11 | 0.813 | 150.484 | 0.884 | 140.939 | 0.909 | 151.254 | 23.88 | 886 | 85.86 | 0
2020-08-21 00:15:00 | 0.654 | 126.97 | 0.669 | 141.928 | 0.555 | 124.177 | 0.619 | 142.652 | 24 | 886 | 85 | 0
2020-08-21 00:30:00 | 0.492 | 102.82 | 0.512 | 132.462 | 0.436 | 100.558 | 0.491 | 133.138 | 24 | 886 | 86.06 | 0
2020-08-21 00:45:00 | 0.41929 | 122.1929 | 0.42071 | 108.1943 | 0.34286 | 119.5036 | 0.36786 | 108.7479 | 23.7714 | 886 | 88.0429 | 0
2020-08-21 01:00:00 | 0.286 | 104.28 | 0.329 | 143.931 | 0.326 | 101.985 | 0.395 | 144.668 | 23.74 | 886 | 90.79 | 0
2020-08-21 01:15:00 | 0.322 | 63.53 | 0.319 | 107.903 | 0.375 | 62.133 | 0.357 | 108.454 | 23.6 | 886 | 91.52 | 0
2020-08-21 01:30:00 | 0.27 | 46.08 | 0.268 | 87.119 | 0.33 | 45.067 | 0.312 | 87.565 | 23.44 | 886 | 92.6 | 0
2020-08-21 01:45:00 | 0.472 | 97.56 | 0.514 | 53.29 | 0.612 | 95.415 | 0.652 | 53.565 | 23.37 | 886 | 92.83 | 0
2020-08-21 02:00:00 | 0.477 | 120.61 | 0.445 | 75.951 | 0.545 | 117.956 | 0.467 | 76.34 | 23.31 | 886 | 93.12 | 0
2020-08-21 02:15:00 | 0.629 | 275.78 | 0.633 | 241.449 | 0.859 | 270.202 | 0.807 | 242.683 | 22.98 | 886 | 93.58 | 0
2020-08-21 02:30:00 | 1.245 | 149.6 | 1.253 | 334.691 | 1.772 | 146.307 | 1.633 | 336.402 | 22.62 | 886 | 94.46 | 0
2020-08-21 02:45:00 | 1.543 | 283.6 | 1.576 | 342.103 | 1.965 | 277.362 | 1.903 | 343.853 | 22.49 | 885.3 | 93.87 | 0
2020-08-21 03:00:00 | 1.058 | 29.8533 | 1.118 | 24.092 | 1.1753 | 29.1973 | 1.254 | 24.2147 | 22.32 | 885 | 94.4533 | 0
2020-08-21 03:15:00 | 0.877 | 23.85 | 0.982 | 81.115 | 1.128 | 23.326 | 1.253 | 81.53 | 22.55 | 885 | 94.54 | 0
2020-08-21 03:30:00 | 0.826 | 38.47 | 0.871 | 50.162 | 0.85 | 37.623 | 0.932 | 50.416 | 22.15 | 885 | 95.33 | 0
2020-08-21 03:45:00 | 0.686 | 117.6267 | 0.74467 | 93.9407 | 0.68333 | 115.04 | 0.79 | 94.42 | 22.3933 | 885 | 96.56 | 0
2020-08-21 04:00:00 | 0.574 | 148.32 | 0.617 | 95.599 | 0.475 | 145.056 | 0.584 | 96.087 | 22.32 | 885 | 96.86 | 0
2020-08-21 04:15:00 | 0.608 | 132.2067 | 0.64067 | 114.258 | 0.646 | 129.2973 | 0.69867 | 114.84 | 22.3667 | 885 | 97.2067 | 0
2020-08-21 04:30:00 | 0.525 | 139.5 | 0.557 | 121.312 | 0.503 | 136.431 | 0.57 | 121.931 | 22.43 | 884.8 | 97.15 | 0
2020-08-21 04:45:00 | 0.414 | 117.33 | 0.417 | 151.571 | 0.524 | 114.896 | 0.5 | 152.345 | 22.32 | 884 | 97.08 | 0
2020-08-21 05:00:00 | 0.52333 | 127.04 | 0.518 | 131.066 | 0.686 | 124.246 | 0.62933 | 131.7353 | 22.6 | 884 | 97.9333 | 0
2020-08-21 05:15:00 | 0.422 | 138.98 | 0.411 | 84.255 | 0.732 | 135.923 | 0.62 | 84.685 | 22.5 | 884 | 98.77 | 0
2020-08-21 05:30:00 | 0.563 | 133.3 | 0.597 | 173.272 | 1.044 | 130.369 | 0.969 | 174.157 | 22.36 | 884 | 99.75 | 0
2020-08-21 05:45:00 | 0.965 | 242.2214 | 1.015 | 302.7471 | 1.6729 | 236.8929 | 1.5629 | 304.2943 | 22.1429 | 884 | 100 | 0
2020-08-21 06:00:00 | 1.365 | 313.02 | 1.373 | 320.9 | 1.92 | 306.134 | 1.773 | 322.542 | 21.77 | 884 | 100 | 0
2020-08-21 06:15:00 | 1.906 | 335.47 | 1.886 | 321.351 | 2.487 | 328.089 | 2.285 | 322.995 | 21.53 | 884 | 100 | 0.184
2020-08-21 06:30:00 | 1.843 | 176.94 | 1.776 | 316.422 | 2.403 | 173.046 | 2.123 | 318.04 | 21.45 | 884 | 100 | 0.346
2020-08-21 06:45:00 | 2.105 | 273.3 | 2.099 | 328.489 | 2.586 | 267.289 | 2.436 | 330.171 | 21 | 884 | 100 | 0.699
2020-08-21 07:00:00 | 2.1127 | 274.6533 | 2.04 | 323.0333 | 2.7753 | 268.6107 | 2.446 | 324.684 | 20.94 | 884 | 100 | 1.2507
2020-08-21 07:15:00 | 1.916 | 145.7 | 1.807 | 323.015 | 2.524 | 142.494 | 2.144 | 324.666 | 21.04 | 884.7 | 100 | 0.803
2020-08-21 07:30:00 | 1.845 | 298.03 | 1.718 | 318.025 | 2.403 | 291.473 | 2.004 | 319.653 | 21.01 | 885 | 100 | 0.588
2020-08-21 07:45:00 | 1.8847 | 214.4533 | 1.8027 | 317.224 | 2.3373 | 209.736 | 2.0533 | 318.8467 | 21.1533 | 885 | 100 | 0.37333
2020-08-21 08:00:00 | 1.662 | 290.64 | 1.551 | 319.445 | 1.965 | 284.246 | 1.672 | 321.079 | 20.89 | 885 | 99.96 | 0
2020-08-21 08:15:00 | 1.65 | 308.32 | 1.634 | 316.12 | 2.126 | 301.537 | 1.955 | 317.734 | 20.89 | 885 | 99.26 | 0
2020-08-21 08:30:00 | 1.622 | 327.2 | 1.597 | 328.726 | 2.015 | 320.002 | 1.856 | 330.406 | 21.63 | 885 | 99.26 | 0
2020-08-21 08:45:00 | 1.734 | 317.11 | 1.716 | 318.486 | 2.045 | 310.134 | 1.923 | 320.114 | 21.49 | 885 | 99.43 | 0
2020-08-21 09:00:00 | 1.4427 | 319.6467 | 1.4473 | 292.684 | 1.762 | 312.6147 | 1.68 | 294.18 | 21.82 | 885 | 98.42 | 0
2020-08-21 09:15:00 | 0.988 | 311.28 | 1.028 | 295.9113 | 1.38 | 304.432 | 1.348 | 297.424 | 22.2467 | 885.8 | 97.1867 | 0.37067
2020-08-21 09:30:00 | 0.729 | 298.67 | 0.781 | 282.572 | 1.062 | 292.098 | 1.066 | 284.017 | 22.6 | 886 | 97.26 | 0
2020-08-21 09:45:00 | 0.71 | 307.9533 | 0.72067 | 254.8867 | 1.0173 | 301.1793 | 0.94333 | 256.19 | 23.14 | 886 | 94.6867 | 0.14933
2020-08-21 10:00:00 | 0.57 | 182.11 | 0.568 | 223.61 | 0.828 | 178.104 | 0.75 | 224.753 | 23.24 | 886 | 94.03 | 0
2020-08-21 10:15:00 | 0.368 | 96.22 | 0.365 | 171.227 | 0.434 | 94.103 | 0.404 | 172.104 | 23.12 | 886 | 92.55 | 0
2020-08-21 10:30:00 | 0.611 | 174.02 | 0.582 | 210.985 | 0.631 | 170.192 | 0.571 | 212.062 | 23.27 | 887 | 90.96 | 0
2020-08-21 10:45:00 | 0.534 | 141.18 | 0.568 | 198.33 | 0.572 | 138.074 | 0.621 | 199.343 | 23.35 | 887 | 89.08 | 0
2020-08-21 11:00:00 | 0.895 | 177.04 | 0.91 | 151.717 | 1.071 | 173.145 | 1.049 | 152.49 | 23.52 | 887 | 88.56 | 0
2020-08-21 11:15:00 | 1.214 | 173.11 | 1.23 | 161.165 | 1.366 | 169.302 | 1.354 | 161.988 | 23.32 | 887 | 89.45 | 0
2020-08-21 11:30:00 | 1.213 | 169.05 | 1.206 | 165.723 | 1.45 | 165.33 | 1.365 | 166.569 | 22.94 | 887 | 91.41 | 0
2020-08-21 11:45:00 | 1.3347 | 167.6467 | 1.352 | 170.2047 | 1.4593 | 163.958 | 1.46 | 171.0747 | 23.18 | 887 | 95.3667 | 0
2020-08-21 12:00:00 | 1.543 | 161.34 | 1.642 | 154.729 | 1.845 | 157.791 | 1.948 | 155.52 | 23.77 | 887 | 93.15 | 0
2020-08-21 12:15:00 | 1.4633 | 165.0667 | 1.5187 | 149.1587 | 1.712 | 161.436 | 1.7473 | 149.9213 | 23.14 | 887 | 87.7 | 0.22
2020-08-21 12:30:00 | 1.22 | 174.2667 | 1.2233 | 167.518 | 1.432 | 170.432 | 1.3747 | 168.376 | 22.98 | 887 | 89.5533 | 0.026667
2020-08-21 12:45:00 | 1.044 | 190.73 | 1.053 | 170.809 | 1.311 | 186.534 | 1.249 | 171.682 | 22.87 | 886.3 | 91.19 | 0
2020-08-21 13:00:00 | 2.2573 | 213.1067 | 2.3647 | 200.0667 | 2.574 | 208.418 | 2.6887 | 201.09 | 22.66 | 886 | 93.1333 | 1.2853
2020-08-21 13:15:00 | 2.442 | 190.42 | 2.602 | 182.867 | 2.894 | 186.229 | 3.066 | 183.802 | 22.79 | 886 | 95.11 | 2.56
2020-08-21 13:30:00 | 1.503 | 199.2 | 1.706 | 195.453 | 1.981 | 194.819 | 2.23 | 196.453 | 23.01 | 886 | 96.56 | 1.916
2020-08-21 13:45:00 | 2.345 | 178.51 | 2.407 | 172.695 | 2.454 | 174.582 | 2.545 | 173.579 | 22.99 | 885.3 | 96.63 | 2.181
2020-08-21 14:00:00 | 1.7853 | 196.6067 | 1.9107 | 178.08 | 2.1713 | 192.2813 | 2.2973 | 178.9913 | 22.9533 | 885 | 96.54 | 1.6187
2020-08-21 14:15:00 | 2.0873 | 201.88 | 2.226 | 192.8293 | 2.424 | 197.4393 | 2.5867 | 193.814 | 23.1933 | 885 | 96.16 | 0.93467
2020-08-21 14:30:00 | 1.946 | 188.72 | 1.994 | 182.993 | 2.123 | 184.569 | 2.161 | 183.928 | 23.45 | 885 | 95.38 | 0.163
2020-08-21 14:45:00 | 1.3573 | 207.6467 | 1.3647 | 168.738 | 1.4153 | 203.078 | 1.4167 | 169.6 | 24.4 | 885 | 96.1667 | 0
2020-08-21 15:00:00 | 1.3833 | 227.8867 | 1.4847 | 166.3387 | 1.5287 | 222.8733 | 1.678 | 167.188 | 25.04 | 885 | 93.54 | 0
2020-08-21 15:15:00 | 1.606 | 220.24 | 1.664 | 158.417 | 1.751 | 215.393 | 1.815 | 159.226 | 25.27 | 885 | 89.48 | 0
2020-08-21 15:30:00 | 1.4471 | 177.6357 | 1.5986 | 172.2171 | 1.8536 | 173.7271 | 2.0229 | 173.0986 | 25.3929 | 886 | 87.2714 | 0.17667
2020-08-21 15:45:00 | 1.71 | 159.8267 | 1.67 | 139.9787 | 1.866 | 156.3093 | 1.7467 | 140.692 | 24.8933 | 886 | 88.1267 | 0.288
2020-08-21 16:00:00 | 1.643 | 188.05 | 1.754 | 178.934 | 1.857 | 183.912 | 2.006 | 179.85 | 25.08 | 886 | 86.48 | 0.219
2020-08-21 16:15:00 | 1.497 | 175.73 | 1.561 | 151.169 | 1.694 | 171.864 | 1.755 | 151.943 | 25.02 | 886 | 84.86 | 0.923
2020-08-21 16:30:00 | 1.8921 | 198.6 | 1.9429 | 162.74 | 2.1286 | 194.2293 | 2.155 | 163.57 | 25.2857 | 886 | 83.7 | 0.27733
2020-08-21 16:45:00 | 1.689 | 194.9 | 1.75 | 144.135 | 1.799 | 190.613 | 1.884 | 144.874 | 25.23 | 886 | 82.17 | 0.191
2020-08-21 17:00:00 | 1.54 | 191.77 | 1.598 | 146.896 | 1.584 | 187.55 | 1.679 | 147.647 | 25.37 | 886 | 82.22 | 0.37
2020-08-21 17:15:00 | 1.559 | 195.39 | 1.608 | 157.007 | 1.563 | 191.091 | 1.659 | 157.812 | 25.65 | 886 | 80.35 | 0.394
2020-08-21 17:30:00 | 1.29 | 204.2 | 1.32 | 157.781 | 1.427 | 199.706 | 1.447 | 158.586 | 25.45 | 886 | 79.489 | 0
2020-08-21 17:45:00 | 1.214 | 148.86 | 1.238 | 164.44 | 1.425 | 145.585 | 1.411 | 165.282 | 25.63 | 886 | 82.31 | 0.159
2020-08-21 18:00:00 | 1.4193 | 174.7467 | 1.4773 | 158.2993 | 1.7573 | 170.904 | 1.7633 | 159.108 | 25.2733 | 886 | 83.2333 | 0.166
2020-08-21 18:15:00 | 1.594 | 145.66 | 1.665 | 126.387 | 1.85 | 142.455 | 1.912 | 127.032 | 25.29 | 885.3 | 84.67 | 0.088
2020-08-21 18:30:00 | 1.012 | 152.98 | 1.006 | 142.171 | 1.117 | 149.615 | 1.075 | 142.898 | 25.13 | 885 | 85.28 | 0
2020-08-21 18:45:00 | 0.79867 | 138.8667 | 0.824 | 117.8873 | 0.82933 | 135.812 | 0.86867 | 118.4913 | 24.9667 | 884.8667 | 87.1867 | 0
2020-08-21 19:00:00 | 0.65333 | 123.84 | 0.69733 | 113.8 | 0.618 | 121.1153 | 0.712 | 114.3827 | 24.72 | 884 | 87.24 | 0
2020-08-21 19:15:00 | 0.756 | 101.02 | 0.826 | 116.762 | 0.82 | 98.798 | 0.938 | 117.361 | 24.79 | 884 | 85.44 | 0
2020-08-21 19:30:00 | 1.432 | 100.89 | 1.48 | 98.583 | 1.623 | 98.669 | 1.67 | 99.085 | 24.4 | 884 | 85.84 | 0
2020-08-21 19:45:00 | 1.592 | 107.6067 | 1.6627 | 107.1353 | 1.6627 | 105.2407 | 1.778 | 107.684 | 24.4733 | 884 | 88.2133 | 0
2020-08-21 20:00:00 | 1.654 | 110.78 | 1.774 | 108.166 | 1.772 | 108.342 | 1.972 | 108.718 | 24.58 | 884 | 88.9 | 0
2020-08-21 20:15:00 | 1.453 | 116.17 | 1.526 | 124.451 | 1.485 | 113.615 | 1.62 | 125.087 | 24.48 | 884 | 88.23 | 0
2020-08-21 20:30:00 | 1.2621 | 115.75 | 1.3907 | 114.7957 | 1.3386 | 113.2036 | 1.565 | 115.3829 | 24.4714 | 884 | 91.3571 | 0
2020-08-21 20:45:00 | 0.97 | 116.5933 | 1.0507 | 106.1773 | 1.0913 | 114.0287 | 1.2073 | 106.7207 | 24.4667 | 884 | 92.38 | 0
2020-08-21 21:00:00 | 1.014 | 108.55 | 1.169 | 99.219 | 1.155 | 106.162 | 1.405 | 99.725 | 24.39 | 884 | 93.18 | 0
2020-08-21 21:15:00 | 1.27 | 118.26 | 1.466 | 95.472 | 1.393 | 115.659 | 1.731 | 95.96 | 24.25 | 884 | 93.27 | 0
2020-08-21 21:30:00 | 0.926 | 96.6133 | 0.99533 | 128.8807 | 1.0813 | 94.4873 | 1.1653 | 129.5393 | 24.0533 | 884 | 93.58 | 0
2020-08-21 21:45:00 | 0.72 | 78.49 | 0.757 | 145.449 | 0.819 | 76.764 | 0.858 | 146.192 | 23.67 | 884 | 93.85 | 0
2020-08-21 22:00:00 | 0.88 | 136.51 | 0.903 | 334.504 | 1.371 | 133.506 | 1.274 | 336.216 | 23.34 | 884.2 | 94.62 | 0
2020-08-21 22:15:00 | 1.0473 | 160.6733 | 1.086 | 328.0013 | 1.5593 | 157.1387 | 1.4853 | 329.6773 | 23.34 | 885 | 94.5667 | 0
2020-08-21 22:30:00 | 0.866 | 153.1667 | 0.85933 | 271.7867 | 1.336 | 149.7967 | 1.186 | 273.176 | 23.3733 | 885 | 94.1 | 0
2020-08-21 22:45:00 | 1.513 | 255.37 | 1.462 | 323.101 | 2.092 | 249.75 | 1.829 | 324.754 | 22.75 | 885 | 95.02 | 0
2020-08-21 23:00:00 | 1.489 | 260.06 | 1.453 | 324.538 | 2.061 | 254.338 | 1.825 | 326.198 | 22.79 | 885 | 95.98 | 0.366
2020-08-21 23:15:00 | 2.132 | 313.4533 | 2.1633 | 326.1113 | 2.662 | 306.558 | 2.5673 | 327.778 | 22.5867 | 885 | 96.3533 | 0.85667
2020-08-21 23:30:00 | 2.219 | 242.42 | 2.243 | 325.214 | 2.738 | 237.088 | 2.635 | 326.878 | 22.42 | 885 | 96.02 | 1.236
2020-08-21 23:45:00 | 1.807 | 181.52 | 1.751 | 329.017 | 2.32 | 177.528 | 2.065 | 330.7 | 22.39 | 885 | 95.97 | 0.862