## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-22 00:00:00 | 1.858 | 222.1267 | 1.81 | 318.0587 | 2.516 | 217.2387 | 2.2387 | 319.6847 | 22.2067 | 885 | 96.16 | 1.4233
2020-08-22 00:15:00 | 2.117 | 173.51 | 2.035 | 320.266 | 2.834 | 169.693 | 2.481 | 321.904 | 22.04 | 885 | 96.11 | 1.966
2020-08-22 00:30:00 | 2.221 | 217.05 | 2.146 | 322.428 | 2.852 | 212.274 | 2.532 | 324.075 | 21.89 | 885 | 96.54 | 2.141
2020-08-22 00:45:00 | 2.1653 | 269.4933 | 2.1113 | 318.19 | 2.844 | 263.5653 | 2.5473 | 319.816 | 21.7867 | 885 | 96.9133 | 1.7813
2020-08-22 01:00:00 | 2.041 | 226.81 | 1.914 | 322.732 | 2.731 | 221.82 | 2.291 | 324.38 | 21.81 | 885 | 97.14 | 2.02
2020-08-22 01:15:00 | 2.513 | 269.5 | 2.411 | 314.035 | 3.242 | 263.571 | 2.841 | 315.641 | 21.68 | 885 | 97.64 | 3.51
2020-08-22 01:30:00 | 2.912 | 334.52 | 2.9047 | 318.7847 | 3.7133 | 327.1607 | 3.4687 | 320.412 | 21.3467 | 885 | 98.1133 | 4.7047
2020-08-22 01:45:00 | 3.002 | 325.8 | 3.02 | 320.402 | 3.734 | 318.632 | 3.561 | 322.041 | 21.25 | 885 | 98.64 | 5.633
2020-08-22 02:00:00 | 3.271 | 320.98 | 3.253 | 319.865 | 4.29 | 313.918 | 3.962 | 321.499 | 21.14 | 884.8 | 98.92 | 7.133
2020-08-22 02:15:00 | 3.314 | 240.3933 | 3.322 | 322.5113 | 4.1187 | 235.1053 | 3.9013 | 324.16 | 21.1133 | 884 | 99.0667 | 6.908
2020-08-22 02:30:00 | 3.495 | 330.41 | 3.551 | 325.507 | 4.262 | 323.14 | 4.148 | 327.172 | 20.92 | 884 | 99.04 | 7.63
2020-08-22 02:45:00 | 3.4993 | 310.24 | 3.5147 | 320.1053 | 4.2313 | 303.4133 | 4.052 | 321.742 | 20.8267 | 884 | 99.3867 | 8.0887
2020-08-22 03:00:00 | 3.018 | 334.12 | 3 | 319.844 | 3.824 | 326.77 | 3.552 | 321.482 | 20.84 | 884 | 99.6 | 5.502
2020-08-22 03:15:00 | 2.895 | 265.5 | 2.797 | 321.078 | 3.713 | 259.659 | 3.295 | 322.721 | 20.78 | 884 | 99.87 | 5.529
2020-08-22 03:30:00 | 2.7907 | 307.8267 | 2.7413 | 319.0113 | 3.6473 | 301.0533 | 3.3067 | 320.6407 | 20.76 | 884 | 100 | 4.6373
2020-08-22 03:45:00 | 2.769 | 304.35 | 2.681 | 315.816 | 3.539 | 297.652 | 3.151 | 317.432 | 20.72 | 884 | 100 | 4.57
2020-08-22 04:00:00 | 3.272 | 319.86 | 3.288 | 313.887 | 4.157 | 312.822 | 3.937 | 315.494 | 20.83 | 884 | 100 | 6.462
2020-08-22 04:15:00 | 3.3667 | 333.3467 | 3.442 | 313.6127 | 4.344 | 326.0127 | 4.2047 | 315.214 | 21.04 | 884 | 100 | 6.3373
2020-08-22 04:30:00 | 3.084 | 301.5 | 3.06 | 330.085 | 3.902 | 294.866 | 3.618 | 331.774 | 20.91 | 884 | 100 | 5.816
2020-08-22 04:45:00 | 3.478 | 332.91 | 3.529 | 327.365 | 4.281 | 325.586 | 4.147 | 329.039 | 20.85 | 884 | 100 | 8.257
2020-08-22 05:00:00 | 3.4567 | 305.8867 | 3.478 | 327.2193 | 4.2447 | 299.1567 | 4.0633 | 328.8927 | 20.7667 | 884 | 100 | 8.504
2020-08-22 05:15:00 | 3.42 | 328.48 | 3.452 | 324.734 | 4.188 | 321.252 | 4.024 | 326.396 | 20.76 | 884 | 100 | 7.124
2020-08-22 05:30:00 | 3.015 | 314.95 | 2.933 | 323.229 | 3.849 | 308.02 | 3.457 | 324.881 | 20.6 | 884 | 100 | 6.124
2020-08-22 05:45:00 | 3.393 | 300.3 | 3.391 | 325.791 | 4.313 | 293.693 | 4.047 | 327.458 | 20.71 | 884 | 100 | 8.766
2020-08-22 06:00:00 | 3.486 | 325.64 | 3.546 | 322.072 | 4.414 | 318.476 | 4.256 | 323.722 | 20.6 | 883 | 100 | 8.452
2020-08-22 06:15:00 | 2.589 | 320.59 | 2.51 | 321.674 | 3.483 | 313.537 | 3.076 | 323.32 | 20.6 | 883.7 | 100 | 4.148
2020-08-22 06:30:00 | 2.579 | 322.52 | 2.46 | 322.495 | 3.285 | 315.424 | 2.857 | 324.146 | 20.68 | 884 | 100 | 4.194
2020-08-22 06:45:00 | 2.646 | 330.48 | 2.476 | 319.572 | 3.256 | 323.21 | 2.766 | 321.204 | 20.72 | 884 | 100 | 4.838
2020-08-22 07:00:00 | 2.474 | 305.77 | 2.445 | 325.381 | 2.958 | 299.042 | 2.763 | 327.043 | 20.63 | 884 | 100 | 3.011
2020-08-22 07:15:00 | 2.524 | 254.41 | 2.432 | 317.618 | 3.261 | 248.813 | 2.877 | 319.24 | 20.56 | 884 | 99.93 | 3.188
2020-08-22 07:30:00 | 2.384 | 309.02 | 2.34 | 316.226 | 3.176 | 302.22 | 2.862 | 317.842 | 20.56 | 884 | 100 | 2.756
2020-08-22 07:45:00 | 1.761 | 148.77 | 1.636 | 315.533 | 2.348 | 145.498 | 1.945 | 317.145 | 20.66 | 884 | 100 | 1.53
2020-08-22 08:00:00 | 1.637 | 219.78 | 1.578 | 312.765 | 2.17 | 214.945 | 1.903 | 314.364 | 20.98 | 884 | 99.98 | 0.56
2020-08-22 08:15:00 | 1.8433 | 227.86 | 1.7827 | 313.4107 | 2.2007 | 222.8473 | 1.986 | 315.0127 | 21.2267 | 884 | 99.6067 | 0.79867
2020-08-22 08:30:00 | 2.115 | 331.58 | 2.101 | 317.586 | 2.508 | 324.285 | 2.37 | 319.21 | 21.09 | 884.2 | 99.21 | 0.95
2020-08-22 08:45:00 | 2.194 | 330.37 | 2.163 | 320.275 | 2.669 | 323.099 | 2.472 | 321.914 | 21.16 | 885 | 98.53 | 1.461
2020-08-22 09:00:00 | 1.8187 | 246.5067 | 1.7733 | 321.0713 | 2.3193 | 241.0833 | 2.09 | 322.712 | 21.1933 | 885 | 97.5 | 1.084
2020-08-22 09:15:00 | 1.622 | 240.48 | 1.562 | 328.314 | 2.05 | 235.188 | 1.81 | 329.994 | 21.24 | 885 | 96.94 | 0.65
2020-08-22 09:30:00 | 1.583 | 285.02 | 1.532 | 316.922 | 2.097 | 278.75 | 1.855 | 318.541 | 21.13 | 885 | 98.13 | 0.714
2020-08-22 09:45:00 | 1.758 | 232.29 | 1.64 | 322.428 | 2.149 | 227.178 | 1.817 | 324.076 | 21.3 | 885 | 98.53 | 0.166
2020-08-22 10:00:00 | 1.7933 | 290.1733 | 1.7887 | 322.642 | 2.356 | 283.7893 | 2.1847 | 324.292 | 21.1667 | 885 | 98.32 | 0.75467
2020-08-22 10:15:00 | 1.374 | 295.85 | 1.346 | 317.479 | 1.775 | 289.341 | 1.606 | 319.101 | 21.55 | 885 | 97.96 | 0.698
2020-08-22 10:30:00 | 1.515 | 323.68 | 1.453 | 329.557 | 1.959 | 316.558 | 1.711 | 331.24 | 21.9 | 885 | 97.54 | 0.156
2020-08-22 10:45:00 | 1.75 | 265.48 | 1.7187 | 318.6653 | 2.1367 | 259.6387 | 1.962 | 320.2947 | 21.64 | 885 | 96.5867 | 0.65
2020-08-22 11:00:00 | 1.5 | 277.12 | 1.508 | 325.048 | 1.884 | 271.022 | 1.786 | 326.71 | 21.68 | 885 | 96.68 | 0.496
2020-08-22 11:15:00 | 1.326 | 252.68 | 1.325 | 320.168 | 1.815 | 247.12 | 1.673 | 321.805 | 22.02 | 885 | 97.11 | 0.679
2020-08-22 11:30:00 | 0.721 | 188.14 | 0.752 | 188.668 | 1.231 | 184.002 | 1.144 | 189.631 | 22.42 | 885 | 97.54 | 0.898
2020-08-22 11:45:00 | 0.96533 | 203.4 | 0.99733 | 191.1467 | 1.2353 | 198.926 | 1.216 | 192.1247 | 22.9667 | 885 | 96.3667 | 0.91333
2020-08-22 12:00:00 | 1.289 | 160.46 | 1.329 | 190.094 | 1.316 | 156.93 | 1.384 | 191.065 | 23.06 | 885 | 95.66 | 0.654
2020-08-22 12:15:00 | 1.113 | 201.02 | 1.17 | 193.162 | 1.4 | 196.597 | 1.421 | 194.151 | 23.08 | 885 | 96.25 | 0.336
2020-08-22 12:30:00 | 1.0707 | 196.4733 | 1.1447 | 211.248 | 1.4207 | 192.152 | 1.458 | 212.3287 | 23.0733 | 885 | 94.4333 | 0.78467
2020-08-22 12:45:00 | 0.772 | 158.88 | 0.818 | 166.788 | 1.036 | 155.384 | 1.044 | 167.642 | 23.52 | 885 | 92.94 | 0.538
2020-08-22 13:00:00 | 0.867 | 168.34 | 0.93 | 178.514 | 1.067 | 164.636 | 1.13 | 179.428 | 24.12 | 885 | 92.4 | 0.017
2020-08-22 13:15:00 | 1.01 | 212.4357 | 1.0379 | 176.2979 | 1.1343 | 207.7607 | 1.155 | 177.2007 | 24.35 | 885 | 89.5429 | 0
2020-08-22 13:30:00 | 0.744 | 157.98 | 0.742 | 261.224 | 1.114 | 154.506 | 1.002 | 262.558 | 24.38 | 885 | 87.8 | 0
2020-08-22 13:45:00 | 1.075 | 198.11 | 1.136 | 267.651 | 1.083 | 193.752 | 1.215 | 269.017 | 24.44 | 885 | 84.53 | 0
2020-08-22 14:00:00 | 0.758 | 204.04 | 0.88 | 204.197 | 0.796 | 199.552 | 1.015 | 205.241 | 24.45 | 885 | 84.71 | 0
2020-08-22 14:15:00 | 1.298 | 208.72 | 1.41 | 167.628 | 1.366 | 204.128 | 1.562 | 168.488 | 24.46 | 885 | 85.92 | 0
2020-08-22 14:30:00 | 1.266 | 205.99 | 1.305 | 146.847 | 1.547 | 201.459 | 1.54 | 147.598 | 24.11 | 885 | 89.55 | 0
2020-08-22 14:45:00 | 1.5473 | 209.02 | 1.568 | 175.1987 | 1.5587 | 204.422 | 1.598 | 176.0947 | 23.9 | 885 | 90 | 0
2020-08-22 15:00:00 | 1.568 | 210.4 | 1.612 | 158.416 | 1.94 | 205.77 | 1.924 | 159.228 | 23.7 | 885 | 90.7 | 0.174
2020-08-22 15:15:00 | 1.171 | 223.69 | 1.215 | 177.537 | 1.23 | 218.768 | 1.298 | 178.443 | 24.04 | 884.3 | 93.47 | 0
2020-08-22 15:30:00 | 0.605 | 182.81 | 0.642 | 153.741 | 0.707 | 178.791 | 0.745 | 154.529 | 24.17 | 884 | 92.1 | 0
2020-08-22 15:45:00 | 0.722 | 224.3 | 0.732 | 171.542 | 0.842 | 219.368 | 0.826 | 172.42 | 24.18 | 884 | 90.24 | 0
2020-08-22 16:00:00 | 0.614 | 217.82 | 0.625 | 138.708 | 0.725 | 213.027 | 0.716 | 139.419 | 24.24 | 884 | 89.78 | 0
2020-08-22 16:15:00 | 0.489 | 114.75 | 0.465 | 140.225 | 0.444 | 112.226 | 0.417 | 140.942 | 24.22 | 884 | 88.39 | 0
2020-08-22 16:30:00 | 0.388 | 263.3467 | 0.416 | 187.4253 | 0.452 | 257.554 | 0.48667 | 188.382 | 24.2267 | 884 | 92.08 | 0
2020-08-22 16:45:00 | 0.5 | 304.28 | 0.548 | 303.456 | 0.574 | 297.588 | 0.646 | 305.006 | 24.12 | 883.6 | 92.7 | 0
2020-08-22 17:00:00 | 0.558 | 199.61 | 0.568 | 243.211 | 0.673 | 196.365 | 0.662 | 244.454 | 24.39 | 883 | 93.02 | 0
2020-08-22 17:15:00 | 0.812 | 197.94 | 0.801 | 309.839 | 1.176 | 193.585 | 1.049 | 311.425 | 24.07 | 883 | 93 | 0
2020-08-22 17:30:00 | 1.026 | 238.14 | 1.038 | 320.646 | 1.568 | 232.898 | 1.434 | 322.288 | 23.64 | 883 | 93.02 | 0
2020-08-22 17:45:00 | 1.487 | 298.29 | 1.485 | 326.632 | 1.98 | 291.727 | 1.838 | 328.303 | 23.21 | 883 | 94.06 | 0.136
2020-08-22 18:00:00 | 2.184 | 212.31 | 2.261 | 320.246 | 2.602 | 207.638 | 2.625 | 321.883 | 22.97 | 882.8 | 94.96 | 0.691
2020-08-22 18:15:00 | 2.0967 | 234.9933 | 2.054 | 329.4167 | 2.6813 | 229.8233 | 2.4347 | 331.0993 | 22.7933 | 882 | 96.08 | 1.158
2020-08-22 18:30:00 | 2.084 | 268.96 | 2.01 | 319.416 | 2.684 | 263.042 | 2.374 | 321.048 | 22.67 | 882 | 96.48 | 1.186
2020-08-22 18:45:00 | 2.471 | 328.76 | 2.458 | 322.839 | 3.16 | 321.527 | 2.938 | 324.489 | 22.64 | 882 | 97.13 | 2.21
2020-08-22 19:00:00 | 2.37 | 307.1267 | 2.3127 | 324.4087 | 3.0393 | 300.3707 | 2.7413 | 326.068 | 22.4267 | 882 | 97.5 | 2.0907
2020-08-22 19:15:00 | 2.503 | 307.1 | 2.481 | 317.116 | 3.172 | 300.346 | 2.938 | 318.737 | 22.34 | 882 | 97.47 | 2.232
2020-08-22 19:30:00 | 2.628 | 283.13 | 2.597 | 311.523 | 3.27 | 276.901 | 3.026 | 313.115 | 22.33 | 881.8 | 97.14 | 2.468
2020-08-22 19:45:00 | 2.6753 | 238.2333 | 2.6867 | 313.5993 | 3.3287 | 232.9933 | 3.1647 | 315.2027 | 22.3133 | 881 | 97.8867 | 2.8413
2020-08-22 20:00:00 | 2.712 | 322.26 | 2.738 | 311.922 | 3.438 | 315.17 | 3.28 | 313.518 | 22.28 | 881 | 98.1 | 2.762
2020-08-22 20:15:00 | 2.706 | 333.72 | 2.678 | 317.528 | 3.472 | 326.378 | 3.199 | 319.151 | 22.21 | 881.7 | 98.03 | 2.957
2020-08-22 20:30:00 | 2.6536 | 323.6786 | 2.6171 | 318.7443 | 3.4021 | 316.5557 | 3.1229 | 320.3736 | 22.3071 | 882 | 98.0727 | 2.9371
2020-08-22 20:45:00 | 2.462 | 318.2 | 2.426 | 321.292 | 3.226 | 311.202 | 2.938 | 322.934 | 22.32 | 882 | 98.04 | 3.154
2020-08-22 21:00:00 | 2.209 | 261.81 | 2.098 | 321.733 | 2.907 | 256.05 | 2.498 | 323.377 | 22.06 | 882 | 98.52 | 2.454
2020-08-22 21:15:00 | 2.581 | 214.61 | 2.461 | 320.285 | 3.384 | 209.888 | 2.93 | 321.924 | 21.99 | 882 | 99.28 | 3.545
2020-08-22 21:30:00 | 2.984 | 338.02 | 2.92 | 321.818 | 3.848 | 330.584 | 3.486 | 323.466 | 22.18 | 882 | 99.6 | 4.826
2020-08-22 21:45:00 | 3.052 | 331.53 | 3.027 | 320.587 | 3.901 | 324.237 | 3.604 | 322.227 | 21.93 | 882 | 99.84 | 5.279
2020-08-22 22:00:00 | 2.758 | 271.63 | 2.725 | 318.624 | 3.472 | 265.656 | 3.208 | 320.252 | 21.86 | 882 | 99.98 | 3.697
2020-08-22 22:15:00 | 2.6747 | 231.78 | 2.5933 | 323.808 | 3.3967 | 226.6813 | 3.0347 | 325.4647 | 21.8733 | 882 | 99.98 | 3.65
2020-08-22 22:30:00 | 2.61 | 176.42 | 2.475 | 318.925 | 3.282 | 172.54 | 2.838 | 320.557 | 21.92 | 882 | 99.98 | 3.614
2020-08-22 22:45:00 | 2.016 | 180.53 | 1.894 | 322.982 | 2.68 | 176.558 | 2.257 | 324.635 | 21.96 | 882 | 99.83 | 1.988
2020-08-22 23:00:00 | 2.264 | 181.74 | 2.1973 | 314.5953 | 3.0147 | 177.7427 | 2.67 | 316.206 | 22.0933 | 881 | 99.9 | 2.7907
2020-08-22 23:15:00 | 1.872 | 177.64 | 1.814 | 312.528 | 2.4 | 173.732 | 2.134 | 314.13 | 21.9 | 881 | 99.94 | 1.924
2020-08-22 23:30:00 | 1.435 | 209.2 | 1.452 | 280.393 | 1.736 | 206.388 | 1.673 | 281.826 | 22.02 | 881 | 100 | 1.027
2020-08-22 23:45:00 | 1.183 | 118.54 | 1.292 | 184.92 | 1.907 | 115.933 | 1.904 | 185.865 | 23.14 | 881.7 | 100 | 1.75