## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-23 00:00:00 | 1.056 | 134.2 | 1.128 | 221.42 | 1.202 | 131.248 | 1.29 | 222.55 | 22.98 | 881 | 100 | 2.012
2020-08-23 00:15:00 | 1.219 | 120.81 | 1.4 | 125.399 | 1.104 | 118.153 | 1.481 | 126.041 | 23.17 | 881 | 100 | 1.963
2020-08-23 00:30:00 | 0.912 | 137.24 | 0.978 | 178.692 | 1.22 | 134.22 | 1.253 | 179.603 | 23.15 | 881 | 100 | 4.429
2020-08-23 00:45:00 | 1.19 | 143.56 | 1.234 | 144.548 | 1.064 | 140.402 | 1.186 | 145.284 | 23.32 | 881 | 100 | 4.464
2020-08-23 01:00:00 | 0.932 | 130.4 | 0.931 | 164.577 | 1.031 | 127.532 | 1.001 | 165.419 | 23.22 | 881 | 100 | 5.116
2020-08-23 01:15:00 | 1.68 | 150.3071 | 1.7271 | 152.0721 | 1.5421 | 147.0014 | 1.6721 | 152.85 | 23.2214 | 881 | 100 | 4.018
2020-08-23 01:30:00 | 3.012 | 191.82 | 3.244 | 167.454 | 3.546 | 187.598 | 3.828 | 168.306 | 22.5 | 881 | 100 | 5.782
2020-08-23 01:45:00 | 2.441 | 150.2 | 2.444 | 145.663 | 2.171 | 146.896 | 2.263 | 146.406 | 22.92 | 881 | 100 | 7
2020-08-23 02:00:00 | 2.0171 | 173.1071 | 2.0493 | 152.8757 | 1.9421 | 169.2979 | 2.0307 | 153.6571 | 22.7357 | 880.5714 | 100 | 4.9047
2020-08-23 02:15:00 | 1.95 | 169.96 | 1.986 | 160.372 | 2.112 | 166.224 | 2.144 | 161.192 | 22.5 | 880.4 | 100 | 5.21
2020-08-23 02:30:00 | 1.917 | 174.18 | 1.935 | 167.247 | 1.839 | 170.348 | 1.898 | 168.102 | 22.73 | 880 | 100 | 6.426
2020-08-23 02:45:00 | 2.074 | 173.3 | 2.111 | 156.11 | 2.087 | 169.487 | 2.153 | 156.907 | 22.8 | 880 | 100 | 7.775
2020-08-23 03:00:00 | 2.184 | 156.86 | 2.166 | 149.752 | 2.214 | 153.41 | 2.182 | 150.518 | 22.8 | 880 | 100 | 7.604
2020-08-23 03:15:00 | 1.635 | 130.52 | 1.752 | 153.848 | 1.632 | 127.649 | 1.864 | 154.636 | 22.69 | 880 | 100 | 6.875
2020-08-23 03:30:00 | 1.08 | 103.0533 | 1.1433 | 160.7313 | 1.1327 | 100.7853 | 1.238 | 161.552 | 22.9267 | 880 | 100 | 5.322
2020-08-23 03:45:00 | 1.654 | 121.91 | 1.719 | 117.594 | 1.673 | 119.228 | 1.794 | 118.195 | 23.08 | 880 | 100 | 5.328
2020-08-23 04:00:00 | 1.399 | 103.78 | 1.497 | 131.422 | 1.423 | 101.497 | 1.602 | 132.095 | 23.12 | 880 | 100 | 3.16
2020-08-23 04:15:00 | 0.90267 | 117.7133 | 1.0013 | 115.124 | 1.2087 | 115.124 | 1.306 | 115.7113 | 22.94 | 879.2 | 100 | 1.856
2020-08-23 04:30:00 | 0.746 | 148.76 | 0.834 | 171.366 | 0.992 | 145.488 | 1.086 | 172.24 | 22.9 | 879 | 100 | 3.254
2020-08-23 04:45:00 | 1.578 | 173.54 | 1.651 | 168.569 | 1.742 | 169.723 | 1.837 | 169.43 | 22.81 | 879 | 100 | 1.988
2020-08-23 05:00:00 | 1.884 | 195.81 | 1.959 | 172.978 | 2.15 | 191.503 | 2.215 | 173.863 | 22.95 | 879 | 100 | 4.368
2020-08-23 05:15:00 | 2.334 | 193.74 | 2.44 | 164.282 | 2.49 | 189.48 | 2.644 | 165.124 | 22.8 | 879 | 100 | 4.408
2020-08-23 05:30:00 | 2.152 | 141.66 | 2.25 | 153.027 | 2.101 | 138.544 | 2.3 | 153.809 | 22.74 | 879 | 100 | 4.842
2020-08-23 05:45:00 | 2.117 | 143.26 | 2.226 | 152.187 | 2.216 | 140.108 | 2.393 | 152.964 | 22.53 | 879 | 100 | 6.649
2020-08-23 06:00:00 | 2.6213 | 146.4867 | 2.6513 | 144.8473 | 2.96 | 143.2633 | 2.9213 | 145.5893 | 22.6867 | 879 | 100 | 8.0813
2020-08-23 06:15:00 | 3.112 | 131.96 | 3.278 | 137.292 | 3.572 | 129.058 | 3.755 | 137.993 | 22.43 | 879 | 100 | 11.098
2020-08-23 06:30:00 | 3.596 | 129.73 | 3.722 | 128.177 | 3.725 | 126.874 | 3.933 | 128.831 | 22.66 | 879 | 100 | 13.502
2020-08-23 06:45:00 | 4.09 | 135.1333 | 4.2567 | 134.1433 | 4.466 | 132.1607 | 4.676 | 134.828 | 22.6933 | 879 | 100 | 20.482
2020-08-23 07:00:00 | 4.462 | 132.44 | 4.674 | 136.704 | 4.896 | 129.526 | 5.174 | 137.404 | 22.68 | 879 | 100 | 23.726
2020-08-23 07:15:00 | 4.733 | 143.75 | 4.833 | 140.842 | 5.205 | 140.588 | 5.259 | 141.562 | 22.94 | 879 | 100 | 28.498
2020-08-23 07:30:00 | 5.149 | 132.26 | 5.323 | 140.941 | 5.636 | 129.35 | 5.827 | 141.66 | 22.92 | 879 | 100 | 33.668
2020-08-23 07:45:00 | 5.462 | 131.36 | 5.688 | 132.206 | 6 | 128.472 | 6.272 | 132.882 | 22.98 | 879 | 100 | 36.574
2020-08-23 08:00:00 | 6.215 | 138.53 | 6.504 | 135.239 | 7.125 | 135.482 | 7.42 | 135.931 | 22.96 | 879 | 100 | 42.031
2020-08-23 08:15:00 | 5.944 | 139.76 | 6.237 | 136.715 | 6.995 | 136.685 | 7.25 | 137.414 | 23.1 | 879 | 100 | 39.432
2020-08-23 08:30:00 | 5.3313 | 139.2733 | 5.564 | 137.4093 | 6.198 | 136.2087 | 6.39 | 138.112 | 23.0667 | 879 | 99.6067 | 29.7227
2020-08-23 08:45:00 | 5.2822 | 142.0889 | 5.5022 | 137.6589 | 6.0733 | 138.9633 | 6.2656 | 138.3611 | 23.2111 | 879.6667 | 99.7667 | 29.1344
2020-08-23 09:00:00 | 5.01 | 140.27 | 5.224 | 135.375 | 5.743 | 137.184 | 5.941 | 136.067 | 22.99 | 880 | 99.78 | 29.91
2020-08-23 09:15:00 | 4.9757 | 141.7571 | 5.1771 | 139.4971 | 5.8164 | 138.6386 | 5.9536 | 140.2107 | 22.5929 | 880 | 99.8643 | 28.8
2020-08-23 09:30:00 | 5.114 | 142.24 | 5.428 | 143.102 | 6.138 | 139.112 | 6.444 | 143.832 | 22.62 | 880 | 100 | 28.884
2020-08-23 09:45:00 | 5.089 | 138.46 | 5.282 | 132.764 | 6.007 | 135.414 | 6.111 | 133.441 | 22.75 | 880 | 99.79 | 28.981
2020-08-23 10:00:00 | 3.872 | 132.73 | 4.053 | 137.438 | 4.742 | 129.81 | 4.834 | 138.14 | 22.51 | 880 | 99.2 | 21.114
2020-08-23 10:15:00 | 3.5813 | 140.5467 | 3.814 | 133.6873 | 4.3153 | 137.4547 | 4.542 | 134.37 | 22.4267 | 879.3333 | 99.98 | 14.364
2020-08-23 10:30:00 | 3.52 | 134.32 | 3.708 | 141.936 | 4.073 | 131.364 | 4.267 | 142.662 | 22.45 | 880 | 100 | 14.647
2020-08-23 10:45:00 | 3.195 | 136.84 | 3.29 | 135.374 | 3.597 | 133.83 | 3.66 | 136.065 | 22.66 | 880 | 99.63 | 13.579
2020-08-23 11:00:00 | 3.1671 | 147.2929 | 3.2664 | 141.6893 | 3.3164 | 144.6879 | 3.4629 | 142.4136 | 22.9357 | 880 | 99.9429 | 14.3067
2020-08-23 11:15:00 | 3.156 | 144.5 | 3.204 | 148.286 | 3.174 | 141.322 | 3.264 | 149.042 | 23.14 | 880 | 100 | 12.184
2020-08-23 11:30:00 | 3.005 | 145.48 | 3.083 | 142.317 | 2.975 | 142.28 | 3.135 | 143.047 | 23.28 | 880 | 100 | 10.544
2020-08-23 11:45:00 | 2.673 | 127.16 | 2.783 | 137.039 | 2.867 | 124.363 | 3.021 | 137.737 | 23.36 | 880 | 99.66 | 7.691
2020-08-23 12:00:00 | 2.8753 | 134.56 | 3.08 | 136.426 | 3.2847 | 131.6 | 3.5553 | 137.1227 | 23.52 | 880 | 97.7733 | 6.9133
2020-08-23 12:15:00 | 2.5633 | 135.9222 | 2.7611 | 135.6911 | 3.0144 | 132.9311 | 3.2611 | 136.3833 | 23.5667 | 880 | 96.5444 | 5.728
2020-08-23 12:30:00 | 1.947 | 134.89 | 2.041 | 141.075 | 1.959 | 131.924 | 2.138 | 141.799 | 23.65 | 880 | 95.7 | 3.839
2020-08-23 12:45:00 | 1.395 | 150.1 | 1.51 | 149.234 | 1.42 | 146.799 | 1.631 | 149.997 | 23.88 | 880 | 94.55 | 3.061
2020-08-23 13:00:00 | 1.854 | 148.52 | 1.988 | 164.58 | 2.134 | 145.252 | 2.308 | 165.42 | 23.96 | 880 | 95.24 | 4.116
2020-08-23 13:15:00 | 1.734 | 156.73 | 1.843 | 162.662 | 1.849 | 153.283 | 2.027 | 163.493 | 24.09 | 880 | 94.64 | 2.556
2020-08-23 13:30:00 | 1.875 | 150.47 | 1.983 | 148.362 | 2.076 | 147.16 | 2.225 | 149.121 | 24.4 | 880 | 94.64 | 2.909
2020-08-23 13:45:00 | 1.526 | 151.4933 | 1.5827 | 153.4547 | 1.6507 | 148.1587 | 1.7227 | 154.2387 | 24.6333 | 880 | 92.8267 | 2.3113
2020-08-23 14:00:00 | 1.186 | 144.36 | 1.206 | 152.568 | 1.416 | 141.184 | 1.392 | 153.348 | 24.7 | 880 | 92.48 | 1.836
2020-08-23 14:15:00 | 1.808 | 171.96 | 1.882 | 164.187 | 1.747 | 168.176 | 1.905 | 165.025 | 24.8 | 880 | 90.4 | 1.895
2020-08-23 14:30:00 | 1.662 | 145.65 | 1.694 | 153.447 | 1.526 | 142.445 | 1.628 | 154.233 | 24.84 | 880 | 92.48 | 0.9
2020-08-23 14:45:00 | 0.81133 | 115.74 | 0.82067 | 129.2647 | 0.66333 | 113.1933 | 0.728 | 129.9267 | 24.9133 | 880 | 93.7667 | 0.152
2020-08-23 15:00:00 | 0.709 | 106.8 | 0.867 | 152.794 | 0.647 | 104.451 | 0.963 | 153.576 | 25.2 | 880 | 95.74 | 0
2020-08-23 15:15:00 | 0.80071 | 86.4643 | 0.79 | 82.2571 | 0.81071 | 84.5629 | 0.78786 | 82.6764 | 25.2429 | 880 | 96.1286 | 0
2020-08-23 15:30:00 | 0.958 | 141.84 | 0.99 | 157.244 | 1.316 | 138.72 | 1.278 | 158.048 | 24.84 | 880 | 96.26 | 0
2020-08-23 15:45:00 | 1.862 | 342.29 | 1.909 | 300.803 | 2.474 | 334.758 | 2.388 | 302.341 | 24.05 | 880 | 96.39 | 0.147
2020-08-23 16:00:00 | 2.776 | 337.79 | 2.817 | 332.002 | 3.451 | 330.359 | 3.338 | 333.699 | 23.79 | 880 | 96.48 | 2.365
2020-08-23 16:15:00 | 4.0113 | 340.8933 | 4.3027 | 331.6793 | 5.0247 | 333.394 | 5.2873 | 333.3747 | 23.1933 | 880 | 97.72 | 11.8393
2020-08-23 16:30:00 | 5.36 | 340.15 | 5.789 | 336.353 | 6.433 | 332.668 | 6.938 | 338.074 | 22.86 | 880 | 98.61 | 26.039
2020-08-23 16:45:00 | 6.446 | 343.56 | 6.987 | 332.413 | 7.283 | 336.002 | 8.065 | 334.112 | 22.56 | 880 | 99.56 | 37.931
2020-08-23 17:00:00 | 7.5747 | 280.68 | 8.3187 | 207.532 | 8.882 | 274.5067 | 9.9133 | 208.5927 | 22.1267 | 880 | 100 | 52.852
2020-08-23 17:15:00 | 8.552 | 283.76 | 9.316 | 269.576 | 10.016 | 277.518 | 11.03 | 270.952 | 21.7 | 880 | 99.72 | 57.452
2020-08-23 17:30:00 | 8.321 | 338.43 | 8.909 | 259.444 | 9.445 | 330.986 | 10.228 | 260.771 | 20.05 | 880.2 | 99.18 | 57.856
2020-08-23 17:45:00 | 9.298 | 315.23 | 10.089 | 333.879 | 10.631 | 308.295 | 11.741 | 335.586 | 19.33 | 880.3 | 100 | 60.998
2020-08-23 18:00:00 | 9.1807 | 302.78 | 9.848 | 330.324 | 10.6147 | 296.12 | 11.4613 | 332.0113 | 19.02 | 880 | 100 | 60.886
2020-08-23 18:15:00 | 9.204 | 278.06 | 9.807 | 331.102 | 10.481 | 271.942 | 11.258 | 332.794 | 18.79 | 880 | 100 | 59.55
2020-08-23 18:30:00 | 8.804 | 208.34 | 9.397 | 331.552 | 10.002 | 203.756 | 10.779 | 333.247 | 18.68 | 880 | 100 | 57.121
2020-08-23 18:45:00 | 8.7043 | 323.2143 | 9.3314 | 337.6036 | 10.0521 | 316.1043 | 10.8521 | 339.3321 | 18.55 | 880 | 100 | 59.146
2020-08-23 19:00:00 | 8.53 | 345.24 | 9.284 | 271.574 | 10.112 | 337.644 | 11.08 | 272.962 | 18.44 | 880 | 100 | 60.844
2020-08-23 19:15:00 | 8.203 | 243.91 | 8.757 | 300.843 | 9.49 | 238.544 | 10.169 | 302.381 | 18.4 | 880 | 100 | 60.05
2020-08-23 19:30:00 | 8.882 | 214.43 | 9.461 | 334.65 | 10.01 | 209.712 | 10.782 | 336.361 | 18.35 | 881 | 100 | 56.531
2020-08-23 19:45:00 | 8.2633 | 192.9333 | 8.8 | 266.446 | 9.582 | 188.6893 | 10.29 | 267.8087 | 18.3467 | 880.0667 | 100 | 56.7947
2020-08-23 20:00:00 | 9.322 | 350.8 | 9.94 | 336.844 | 10.346 | 343.082 | 11.214 | 338.564 | 18.52 | 880.4 | 100 | 57.2
2020-08-23 20:15:00 | 8.26 | 285.59 | 8.746 | 339.934 | 9.2 | 279.307 | 9.848 | 341.67 | 18.75 | 881 | 100 | 55.56
2020-08-23 20:30:00 | 8.8393 | 225.7286 | 9.3536 | 260.3086 | 9.6671 | 220.7614 | 10.4029 | 261.6393 | 19.7714 | 881 | 100 | 57.2829
2020-08-23 20:45:00 | 8.848 | 275.84 | 9.26 | 271.024 | 9.834 | 269.772 | 10.336 | 272.408 | 19.78 | 881 | 100 | 63.212
2020-08-23 21:00:00 | 7.765 | 348.46 | 8.277 | 338.554 | 8.841 | 340.793 | 9.502 | 340.285 | 19.38 | 881 | 100 | 60.844
2020-08-23 21:15:00 | 7.216 | 314.33 | 7.711 | 324.765 | 8.135 | 307.414 | 8.804 | 326.426 | 19.28 | 881 | 100 | 58.405
2020-08-23 21:30:00 | 7.346 | 277.0933 | 7.734 | 312.874 | 8.1613 | 270.9967 | 8.6653 | 314.4753 | 19.48 | 881 | 100 | 59.2047
2020-08-23 21:45:00 | 7.084 | 279.62 | 7.508 | 330.486 | 7.852 | 273.468 | 8.44 | 332.174 | 19.46 | 881 | 100 | 57.46
2020-08-23 22:00:00 | 7.365 | 279.21 | 7.624 | 334.066 | 8.076 | 273.065 | 8.367 | 335.774 | 20.19 | 882 | 100 | 57.921
2020-08-23 22:15:00 | 7.2007 | 279.1067 | 7.532 | 333.9813 | 7.9447 | 272.9653 | 8.3613 | 335.6873 | 20.14 | 882 | 100 | 55.8107
2020-08-23 22:30:00 | 6.75 | 344.36 | 6.972 | 336.002 | 7.678 | 336.784 | 7.84 | 337.718 | 20.34 | 882 | 100 | 56.802
2020-08-23 22:45:00 | 8.339 | 178.78 | 8.734 | 310.966 | 8.845 | 174.847 | 9.452 | 312.555 | 21.16 | 882 | 100 | 56.306
2020-08-23 23:00:00 | 7.974 | 283.03 | 8.438 | 272.138 | 8.655 | 276.364 | 9.314 | 273.529 | 20.87 | 882 | 100 | 57.085
2020-08-23 23:15:00 | 7.34 | 209.16 | 7.718 | 269.574 | 8.294 | 204.56 | 8.726 | 270.952 | 20.76 | 882 | 99.72 | 57.78
2020-08-23 23:30:00 | 8.02 | 213.3 | 8.486 | 307.092 | 8.919 | 208.607 | 9.548 | 308.664 | 20.86 | 881.3 | 99.93 | 57.258
2020-08-23 23:45:00 | 8.172 | 178.2 | 8.681 | 302.348 | 9.266 | 174.28 | 9.921 | 303.894 | 20.94 | 881 | 99.9 | 57.243