## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-24 00:00:00 | 8.4293 | 188.5667 | 9.1747 | 287.48 | 9.8747 | 184.418 | 10.8667 | 288.9507 | 20.62 | 881 | 99.9 | 56.1153
2020-08-24 00:15:00 | 8.103 | 278.3 | 8.771 | 326.211 | 9.575 | 272.178 | 10.419 | 327.879 | 20.48 | 881 | 99.45 | 56.106
2020-08-24 00:30:00 | 9.091 | 277.83 | 9.692 | 331.522 | 10.357 | 271.718 | 11.136 | 333.217 | 20.85 | 881 | 97.91 | 57.044
2020-08-24 00:45:00 | 8.526 | 351.98 | 9.102 | 331.952 | 10.16 | 344.238 | 10.784 | 333.648 | 20.66 | 881 | 96.3 | 60.752
2020-08-24 01:00:00 | 9.339 | 312.77 | 9.964 | 326.877 | 10.865 | 305.887 | 11.606 | 328.551 | 20.73 | 880.3 | 95.37 | 61.015
2020-08-24 01:15:00 | 9.302 | 311.16 | 9.897 | 330.729 | 11.009 | 304.315 | 11.64 | 332.421 | 20.81 | 880 | 92.46 | 61.192
2020-08-24 01:30:00 | 8.848 | 336.78 | 9.476 | 265.312 | 9.102 | 328.588 | 10.25 | 266.668 | 21.08 | 880 | 91.26 | 59.798
2020-08-24 01:45:00 | 9.013 | 269.79 | 9.529 | 331.132 | 9.45 | 263.856 | 10.31 | 332.824 | 21.14 | 880 | 88.5 | 61.424
2020-08-24 02:00:00 | 8.166 | 341.0733 | 8.768 | 310.228 | 9.016 | 333.568 | 9.9087 | 311.8147 | 21.2333 | 879.3333 | 86.0267 | 59.1927
2020-08-24 02:15:00 | 8.597 | 337.79 | 9.134 | 330.994 | 9.495 | 330.36 | 10.251 | 332.688 | 21.37 | 880 | 84.8 | 58.949
2020-08-24 02:30:00 | 8.173 | 247.57 | 8.551 | 301.868 | 9.035 | 242.123 | 9.504 | 303.412 | 21.52 | 880 | 83.12 | 59.431
2020-08-24 02:45:00 | 7.734 | 202.18 | 8.046 | 133.908 | 8.404 | 197.732 | 8.81 | 134.592 | 21.64 | 880 | 79.5 | 57.162
2020-08-24 03:00:00 | 8.141 | 343.07 | 8.497 | 338.593 | 8.941 | 335.522 | 9.386 | 340.325 | 21.78 | 880 | 79.139 | 59.364
2020-08-24 03:15:00 | 8.3793 | 257.26 | 8.9453 | 334.3193 | 9.7487 | 251.6 | 10.4273 | 336.0287 | 21.54 | 880 | 80.2567 | 59.232
2020-08-24 03:30:00 | 8.894 | 219.96 | 9.438 | 333.008 | 10.68 | 215.122 | 11.196 | 334.714 | 21.16 | 879.6 | 79.928 | 57.992
2020-08-24 03:45:00 | 8.822 | 175.49 | 9.325 | 297.958 | 10.232 | 171.63 | 10.781 | 299.48 | 21.68 | 879 | 78.136 | 58.356
2020-08-24 04:00:00 | 8.77 | 345.34 | 9.34 | 268.138 | 10.357 | 337.741 | 10.979 | 269.509 | 21.74 | 879 | 78.955 | 58.611
2020-08-24 04:15:00 | 8.768 | 165.7133 | 9.276 | 291.124 | 10.236 | 162.0667 | 10.774 | 292.6113 | 21.74 | 879 | 80.268 | 58.0113
2020-08-24 04:30:00 | 8.37 | 239.11 | 8.978 | 331.669 | 10.143 | 233.85 | 10.782 | 333.365 | 21.77 | 879 | 79.508 | 58.791
2020-08-24 04:45:00 | 8.477 | 208.56 | 8.874 | 334.669 | 10.007 | 203.972 | 10.315 | 336.381 | 22.1 | 880 | 77.15 | 59.342
2020-08-24 05:00:00 | 8.534 | 277.4933 | 9.0727 | 269.6273 | 9.9687 | 271.388 | 10.574 | 271.0067 | 22.0667 | 880 | 74.912 | 59.4133
2020-08-24 05:15:00 | 8.34 | 282.62 | 8.896 | 265.949 | 9.87 | 276.402 | 10.479 | 267.308 | 22.25 | 880 | 76.38 | 59.23
2020-08-24 05:30:00 | 8.034 | 276.87 | 8.503 | 272.491 | 9.341 | 270.779 | 9.852 | 273.884 | 22.29 | 880 | 75.275 | 59.429
2020-08-24 05:45:00 | 7.7173 | 299.8667 | 8.2387 | 269.9467 | 9.012 | 293.27 | 9.6227 | 271.3287 | 22.18 | 880 | 76.1327 | 58.3793
2020-08-24 06:00:00 | 7.95 | 312.83 | 8.474 | 269.271 | 9.052 | 305.948 | 9.725 | 270.65 | 22.23 | 880 | 76.523 | 57.787
2020-08-24 06:15:00 | 7.332 | 318.09 | 7.853 | 269.244 | 8.452 | 311.092 | 9.116 | 270.62 | 22.05 | 880 | 76.449 | 57.225
2020-08-24 06:30:00 | 6.6887 | 277.4067 | 7.056 | 312.7047 | 7.7 | 269.9407 | 8.1047 | 314.3053 | 22.0333 | 880.8 | 74.926 | 54.8187
2020-08-24 06:45:00 | 6.866 | 211.2 | 7.292 | 138.682 | 7.814 | 206.554 | 8.344 | 139.388 | 22.22 | 881 | 73.58 | 54.856
2020-08-24 07:00:00 | 6.424 | 279.39 | 6.691 | 303.297 | 7.303 | 273.244 | 7.56 | 304.848 | 22.27 | 881 | 73.682 | 50.183
2020-08-24 07:15:00 | 5.789 | 211.87 | 6.023 | 308.638 | 6.55 | 207.209 | 6.776 | 310.216 | 22.14 | 882 | 72.371 | 44.865
2020-08-24 07:30:00 | 6.032 | 274.7867 | 6.234 | 332.624 | 6.5727 | 268.7393 | 6.8033 | 334.3267 | 22.1733 | 882 | 73.5533 | 48.292
2020-08-24 07:45:00 | 6.221 | 342.6 | 6.508 | 333.371 | 6.625 | 335.062 | 7.051 | 335.076 | 22.19 | 882 | 70.966 | 48.685
2020-08-24 08:00:00 | 6.2329 | 276.1571 | 6.3943 | 222.09 | 6.6836 | 270.0814 | 6.8621 | 223.225 | 22.3286 | 882.0714 | 73.6586 | 45.6713
2020-08-24 08:15:00 | 5.802 | 143 | 6.132 | 138.994 | 6.698 | 139.856 | 7.066 | 139.704 | 21.92 | 883 | 73.586 | 40.096
2020-08-24 08:30:00 | 5.267 | 218.09 | 5.573 | 308.315 | 5.941 | 213.291 | 6.327 | 309.891 | 22.02 | 883 | 76.657 | 37.053
2020-08-24 08:45:00 | 5.404 | 280.21 | 5.726 | 212.461 | 5.942 | 274.045 | 6.396 | 213.548 | 22.34 | 883 | 77.188 | 36.849
2020-08-24 09:00:00 | 4.6953 | 238.0133 | 5.002 | 298.948 | 5.5013 | 232.7767 | 5.8493 | 300.476 | 22.4267 | 883.8 | 71.2253 | 35.0953
2020-08-24 09:15:00 | 4.086 | 141.96 | 4.346 | 273.936 | 4.884 | 138.84 | 5.15 | 275.338 | 22.52 | 884 | 70.3 | 31.126
2020-08-24 09:30:00 | 4.844 | 178.3 | 5.082 | 243.1 | 5.32 | 174.377 | 5.634 | 244.344 | 22.8 | 884 | 71.21 | 35.504
2020-08-24 09:45:00 | 4.9727 | 220.6933 | 5.19 | 146.0013 | 5.3073 | 215.8393 | 5.6227 | 146.7487 | 23.4067 | 884.4667 | 67.4833 | 34.104
2020-08-24 10:00:00 | 4.894 | 220.08 | 5.142 | 12.558 | 5.242 | 215.238 | 5.614 | 12.622 | 23.76 | 885 | 64.748 | 35.302
2020-08-24 10:15:00 | 5.399 | 244.48 | 5.641 | 176.196 | 6.056 | 239.102 | 6.331 | 177.097 | 23.49 | 885 | 60.598 | 38.174
2020-08-24 10:30:00 | 5.79 | 209.62 | 6.022 | 105.556 | 6.443 | 205.008 | 6.695 | 106.096 | 23.44 | 885 | 67.276 | 38.701
2020-08-24 10:45:00 | 5.6833 | 233.1667 | 5.892 | 252.044 | 6.2993 | 228.0353 | 6.5147 | 253.3333 | 23.7467 | 885 | 65.8187 | 38.212
2020-08-24 11:00:00 | 4.989 | 112.29 | 5.217 | 238.027 | 5.453 | 109.82 | 5.753 | 239.242 | 24.15 | 884.3 | 62.344 | 32.123
2020-08-24 11:15:00 | 4.061 | 213.65 | 4.235 | 273.155 | 4.716 | 208.95 | 4.854 | 274.551 | 24.81 | 885 | 56.247 | 26.713
2020-08-24 11:30:00 | 4.6867 | 148.3 | 4.908 | 248.6333 | 5.35 | 145.0373 | 5.5773 | 249.9053 | 25.18 | 885 | 55.3187 | 31.2533
2020-08-24 11:45:00 | 5.0133 | 180.4133 | 5.2533 | 267.7813 | 5.5547 | 176.444 | 5.852 | 269.152 | 25.26 | 885 | 55.6027 | 35.3327
2020-08-24 12:00:00 | 4.713 | 78.84 | 4.89 | 236.617 | 5.268 | 77.106 | 5.446 | 237.826 | 25.41 | 885 | 56.283 | 36.448
2020-08-24 12:15:00 | 4.519 | 116.95 | 4.743 | 299.367 | 5.147 | 114.378 | 5.393 | 300.896 | 25.71 | 884 | 54.014 | 35.708
2020-08-24 12:30:00 | 5.6727 | 171.3867 | 5.876 | 331.04 | 6.2907 | 167.6167 | 6.5007 | 332.732 | 26.2933 | 884 | 53.828 | 38.4327
2020-08-24 12:45:00 | 5.705 | 212.47 | 5.701 | 324.305 | 6.202 | 207.794 | 6.057 | 325.962 | 26.62 | 884 | 51.43 | 38.678
2020-08-24 13:00:00 | 6.025 | 310.61 | 6.308 | 262.877 | 6.723 | 303.777 | 7.062 | 264.222 | 26.89 | 884 | 48.865 | 41.627
2020-08-24 13:15:00 | 6.0887 | 278.78 | 6.518 | 287.3567 | 7.0447 | 272.646 | 7.5827 | 288.8247 | 27.1133 | 884 | 48.1593 | 43.186
2020-08-24 13:30:00 | 5.098 | 341.3 | 5.442 | 211.13 | 6.142 | 333.792 | 6.496 | 212.21 | 27.12 | 884 | 47.458 | 40.8
2020-08-24 13:45:00 | 5.393 | 246.18 | 5.825 | 207.326 | 6.389 | 240.764 | 6.917 | 208.387 | 27.55 | 884 | 46.623 | 41.688
2020-08-24 14:00:00 | 5.522 | 233.0467 | 5.9467 | 120.1307 | 6.46 | 228.0833 | 6.9767 | 120.746 | 27.72 | 884 | 45.3087 | 36.6067
2020-08-24 14:15:00 | 5.0813 | 252.6267 | 5.4387 | 188.3173 | 6.0253 | 247.068 | 6.4287 | 189.2793 | 27.94 | 884 | 44.6487 | 35.8613
2020-08-24 14:30:00 | 5.499 | 243.63 | 5.942 | 204.382 | 6.447 | 238.27 | 7.011 | 205.427 | 28.14 | 884 | 44.382 | 37.842
2020-08-24 14:45:00 | 5.371 | 178.28 | 5.809 | 109.007 | 6.467 | 174.359 | 6.983 | 109.566 | 28.26 | 884 | 45.633 | 35.678
2020-08-24 15:00:00 | 4.3633 | 125.0867 | 4.6173 | 209.8333 | 5.138 | 122.3353 | 5.398 | 210.906 | 28.5467 | 884 | 44.144 | 27.0633
2020-08-24 15:15:00 | 4.562 | 182 | 4.797 | 206.76 | 5.357 | 177.996 | 5.574 | 207.816 | 28.66 | 884 | 43.353 | 24.957
2020-08-24 15:30:00 | 5.19 | 182.98 | 5.588 | 141.828 | 5.953 | 178.954 | 6.483 | 142.554 | 28.94 | 884 | 41.885 | 27.547
2020-08-24 15:45:00 | 4.14 | 212.4267 | 4.3567 | 211.176 | 4.7367 | 207.7527 | 4.978 | 212.256 | 29.12 | 884 | 41.9367 | 21.2447
2020-08-24 16:00:00 | 4.103 | 78.37 | 4.444 | 267.288 | 5.15 | 76.645 | 5.491 | 268.654 | 29.28 | 884 | 43.742 | 22.061
2020-08-24 16:15:00 | 3.9329 | 204.7286 | 4.1514 | 220.3229 | 4.4571 | 200.225 | 4.7257 | 221.4486 | 29.4571 | 884 | 42.2643 | 17.8373
2020-08-24 16:30:00 | 3.9267 | 186.14 | 4.0813 | 227.5347 | 4.516 | 204.1613 | 4.648 | 228.698 | 29.56 | 884 | 40.8173 | 16.1707
2020-08-24 16:45:00 | 4.387 | 280.57 | 4.653 | 240.431 | 5.095 | 274.396 | 5.396 | 241.661 | 29.6 | 884 | 41.519 | 20.491
2020-08-24 17:00:00 | 3.932 | 182.01 | 4.156 | 107.757 | 4.251 | 178.007 | 4.584 | 108.306 | 29.59 | 884 | 41.125 | 16.487
2020-08-24 17:15:00 | 3.6567 | 104.8333 | 3.792 | 121.8727 | 3.9427 | 102.5287 | 4.12 | 122.496 | 29.7133 | 884 | 41.2953 | 12.4613
2020-08-24 17:30:00 | 3.318 | 111.48 | 3.38 | 269.38 | 3.587 | 109.025 | 3.63 | 270.757 | 29.73 | 884 | 42.824 | 7.279
2020-08-24 17:45:00 | 2.746 | 183.72 | 2.824 | 174.739 | 3.243 | 179.678 | 3.25 | 175.632 | 29.67 | 884 | 42.921 | 5.854
2020-08-24 18:00:00 | 2.6 | 214.1933 | 2.772 | 274.602 | 3.1033 | 209.4813 | 3.2793 | 276.006 | 29.7133 | 884 | 44.3173 | 4.514
2020-08-24 18:15:00 | 2.34 | 277.68 | 2.462 | 234.142 | 2.638 | 271.572 | 2.787 | 235.341 | 29.68 | 884 | 47.274 | 2.974
2020-08-24 18:30:00 | 1.911 | 272.43 | 2.037 | 301.302 | 2.415 | 266.435 | 2.508 | 302.843 | 29.82 | 884 | 47.269 | 1.524
2020-08-24 18:45:00 | 1.9287 | 229.28 | 2.0293 | 280.368 | 2.2093 | 224.236 | 2.32 | 281.8013 | 29.64 | 883 | 48.894 | 0.88733
2020-08-24 19:00:00 | 2.06 | 144.43 | 2.123 | 331.883 | 2.259 | 141.251 | 2.322 | 333.582 | 29.51 | 883 | 49.779 | 0.831
2020-08-24 19:15:00 | 1.9113 | 256.46 | 1.978 | 328.1127 | 2.1507 | 250.818 | 2.206 | 329.7913 | 29.1667 | 883 | 47.6667 | 0.67867
2020-08-24 19:30:00 | 1.872 | 101.5733 | 1.9687 | 229.928 | 2.0793 | 99.1307 | 2.198 | 231.1033 | 29 | 883 | 49.1153 | 0.366
2020-08-24 19:45:00 | 1.673 | 215.06 | 1.719 | 240.235 | 1.839 | 210.329 | 1.883 | 241.465 | 28.98 | 883 | 47.921 | 0.24
2020-08-24 20:00:00 | 1.496 | 121.13 | 1.499 | 175.062 | 1.658 | 118.465 | 1.615 | 175.958 | 28.92 | 883 | 47.694 | 0.002
2020-08-24 20:15:00 | 0.84133 | 74.28 | 0.83 | 205.7307 | 0.84867 | 72.646 | 0.826 | 206.7833 | 28.8867 | 883 | 47.3747 | 0
2020-08-24 20:30:00 | 0.407 | 66.16 | 0.363 | 330.741 | 0.366 | 64.704 | 0.296 | 332.431 | 28.82 | 883 | 46.542 | 0
2020-08-24 20:45:00 | 0.303 | 183.41 | 0.319 | 208.303 | 0.267 | 179.374 | 0.309 | 209.369 | 28.89 | 883 | 46.856 | 0
2020-08-24 21:00:00 | 1.782 | 127.38 | 1.9787 | 131.6193 | 2.0093 | 124.5767 | 2.312 | 132.2927 | 28.2467 | 883 | 45.8187 | 0
2020-08-24 21:15:00 | 3.181 | 116.25 | 3.469 | 124.255 | 3.721 | 113.694 | 4.113 | 124.89 | 26.51 | 883 | 50.145 | 1.635
2020-08-24 21:30:00 | 3.156 | 121.56 | 3.345 | 125.008 | 3.649 | 118.887 | 3.867 | 125.648 | 24.96 | 883 | 64.49 | 7.301
2020-08-24 21:45:00 | 3.096 | 126.92 | 3.2327 | 121.3953 | 3.662 | 124.1273 | 3.7587 | 122.0167 | 24.5333 | 883 | 72.5933 | 5.9567
2020-08-24 22:00:00 | 2.657 | 118.3 | 2.797 | 122.386 | 3.151 | 115.697 | 3.273 | 123.012 | 24.6 | 883.7 | 75.796 | 3.618
2020-08-24 22:15:00 | 2.443 | 124.12 | 2.603 | 118.73 | 2.935 | 121.389 | 3.097 | 119.336 | 24.34 | 884 | 78.262 | 2.65
2020-08-24 22:30:00 | 2.0487 | 133.3533 | 2.1707 | 127.942 | 2.6213 | 130.4187 | 2.6907 | 128.5953 | 24.1733 | 884 | 79.6213 | 1.298
2020-08-24 22:45:00 | 2.132 | 115.56 | 2.239 | 126.3 | 2.651 | 113.016 | 2.71 | 126.946 | 23.95 | 883.8 | 80.86 | 1.118
2020-08-24 23:00:00 | 2.533 | 127.35 | 2.662 | 135.327 | 2.901 | 124.548 | 3.038 | 136.019 | 23.63 | 883 | 81.66 | 1.075
2020-08-24 23:15:00 | 2.182 | 124.6 | 2.2927 | 123.9053 | 2.548 | 121.8573 | 2.6547 | 124.54 | 23.34 | 883 | 83.1333 | 0.34
2020-08-24 23:30:00 | 1.5433 | 134.0889 | 1.6556 | 135.8667 | 1.91 | 131.1378 | 2.0178 | 136.5622 | 23.3111 | 883.6667 | 82.4889 | 0
2020-08-24 23:45:00 | 1 | 138.66 | 1.122 | 134.543 | 1.43 | 135.61 | 1.537 | 135.231 | 23.43 | 884 | 84.54 | 0