## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-25 00:00:00 | 0.678 | 67.4867 | 0.728 | 161.2267 | 0.79733 | 66.0027 | 0.858 | 162.0513 | 23.52 | 884 | 85.74 | 0
2020-08-25 00:15:00 | 0.70889 | 61 | 0.71222 | 260.2467 | 0.72667 | 59.2667 | 0.73778 | 261.5767 | 23.6556 | 883.8889 | 86.7889 | 0
2020-08-25 00:30:00 | 0.715 | 125.42 | 0.791 | 165.281 | 1.085 | 122.662 | 1.121 | 166.127 | 23.57 | 883 | 79.168 | 0
2020-08-25 00:45:00 | 1.06 | 131.8333 | 1.162 | 110.97 | 1.368 | 128.9327 | 1.4713 | 111.5373 | 23.2267 | 883 | 79.218 | 0
2020-08-25 01:00:00 | 1.503 | 133.63 | 1.6 | 122.054 | 1.72 | 130.69 | 1.842 | 122.679 | 23.05 | 883 | 84.442 | 0
2020-08-25 01:15:00 | 1.129 | 123.07 | 1.184 | 117.654 | 1.19 | 120.364 | 1.281 | 118.255 | 23.02 | 883 | 84.11 | 0
2020-08-25 01:30:00 | 0.77 | 97.3 | 0.808 | 43.3247 | 1.0853 | 95.16 | 1.066 | 43.5467 | 22.9 | 883 | 81.8 | 0
2020-08-25 01:45:00 | 1.402 | 154.87 | 1.362 | 338.661 | 1.941 | 151.464 | 1.71 | 340.393 | 22.25 | 883 | 82.82 | 0
2020-08-25 02:00:00 | 1.629 | 140.56 | 1.653 | 344.02 | 2.137 | 137.468 | 2.036 | 345.78 | 22.09 | 883 | 83.23 | 0.169
2020-08-25 02:15:00 | 2.1407 | 174.94 | 2.0973 | 332.396 | 2.7987 | 167.2507 | 2.53 | 334.096 | 22.0133 | 882.5333 | 84.7467 | 1.386
2020-08-25 02:30:00 | 3.089 | 310.52 | 3.231 | 333.82 | 3.802 | 303.689 | 3.867 | 335.528 | 21.79 | 882 | 85.57 | 3.963
2020-08-25 02:45:00 | 3.628 | 345.5667 | 3.772 | 327.382 | 4.3393 | 337.964 | 4.406 | 329.056 | 21.3867 | 882 | 89.0133 | 8.218
2020-08-25 03:00:00 | 3.862 | 334.12 | 4.002 | 326.26 | 4.77 | 326.77 | 4.77 | 327.928 | 20.9 | 882 | 91.14 | 11.942
2020-08-25 03:15:00 | 4.883 | 346.28 | 5.12 | 322.194 | 6.026 | 338.661 | 6.147 | 323.839 | 20.51 | 882 | 91.26 | 22.596
2020-08-25 03:30:00 | 5.3607 | 347.6067 | 5.7793 | 326.3127 | 6.426 | 339.9573 | 6.908 | 327.9813 | 20.66 | 882 | 91.54 | 28.3527
2020-08-25 03:45:00 | 5.775 | 348.71 | 6.194 | 328.47 | 6.797 | 341.038 | 7.298 | 330.149 | 20.75 | 882 | 91.4 | 31.187
2020-08-25 04:00:00 | 5.6147 | 352.4333 | 6.0473 | 326.92 | 6.6493 | 344.6807 | 7.1727 | 328.5907 | 20.88 | 882 | 91.7733 | 31.832
2020-08-25 04:15:00 | 5.826 | 318.13 | 6.301 | 324.959 | 6.855 | 311.132 | 7.462 | 326.621 | 20.59 | 882 | 92 | 32.614
2020-08-25 04:30:00 | 5.921 | 351.73 | 6.413 | 323.718 | 6.779 | 343.991 | 7.461 | 325.374 | 20.4 | 882 | 92.61 | 33.301
2020-08-25 04:45:00 | 6.346 | 342.94 | 6.862 | 324.6953 | 7.3427 | 335.3953 | 8.032 | 326.3573 | 20.3733 | 882 | 92.3467 | 36.5727
2020-08-25 05:00:00 | 6.657 | 344.44 | 7.185 | 327.053 | 7.646 | 336.861 | 8.355 | 328.724 | 20.46 | 882 | 92.12 | 38.605
2020-08-25 05:15:00 | 6.785 | 344.03 | 7.298 | 321.292 | 7.798 | 336.461 | 8.471 | 322.936 | 20.5 | 882 | 92.92 | 38.387
2020-08-25 05:30:00 | 6.5447 | 339.92 | 7.0393 | 325.4853 | 7.4873 | 332.4407 | 8.154 | 327.1493 | 20.16 | 882 | 94.1533 | 36.3327
2020-08-25 05:45:00 | 6.748 | 342.18 | 7.244 | 325.672 | 7.792 | 334.65 | 8.432 | 327.338 | 20.06 | 882 | 94.7 | 36.39
2020-08-25 06:00:00 | 6.229 | 332.88 | 6.694 | 322.78 | 7.508 | 325.555 | 8.018 | 324.429 | 19.69 | 882 | 96.31 | 36.462
2020-08-25 06:15:00 | 6.9367 | 342.4467 | 7.4807 | 325.8233 | 8.0033 | 334.9113 | 8.7253 | 327.49 | 19.8333 | 882 | 97.1733 | 38.752
2020-08-25 06:30:00 | 7.022 | 343.2 | 7.622 | 322.074 | 8.106 | 335.648 | 8.918 | 323.72 | 19.82 | 882 | 97.56 | 40.164
2020-08-25 06:45:00 | 7.261 | 344.91 | 7.858 | 323.297 | 8.346 | 337.322 | 9.165 | 324.949 | 19.78 | 882 | 97.86 | 44.321
2020-08-25 07:00:00 | 7.17 | 344.2667 | 7.7467 | 329.2273 | 8.308 | 336.692 | 9.074 | 330.912 | 19.2467 | 882 | 95.5733 | 41.2287
2020-08-25 07:15:00 | 6.878 | 346.42 | 7.438 | 329.155 | 8.098 | 338.799 | 8.803 | 330.839 | 19.12 | 882.2 | 93.06 | 40.912
2020-08-25 07:30:00 | 7.163 | 341.24 | 7.691 | 326.945 | 8.285 | 333.734 | 8.967 | 328.617 | 19.65 | 883 | 91.22 | 41.885
2020-08-25 07:45:00 | 7.0053 | 342.66 | 7.5607 | 325.3667 | 8.2513 | 335.1207 | 8.9433 | 327.0307 | 19.7067 | 884 | 91.22 | 39.7787
2020-08-25 08:00:00 | 7.2 | 341.12 | 7.756 | 327.709 | 8.432 | 333.616 | 9.126 | 329.384 | 19.47 | 884 | 90.5 | 40.539
2020-08-25 08:15:00 | 7.223 | 343.43 | 7.746 | 327.855 | 8.4 | 335.874 | 9.049 | 329.531 | 19.72 | 884 | 88.62 | 40.723
2020-08-25 08:30:00 | 7 | 343.12 | 7.504 | 325.342 | 8.276 | 335.572 | 8.864 | 327.004 | 20.12 | 884 | 87.3 | 39.388
2020-08-25 08:45:00 | 6.954 | 340.95 | 7.453 | 327.64 | 8.021 | 333.448 | 8.661 | 329.314 | 20.21 | 884.2 | 83.76 | 40.125
2020-08-25 09:00:00 | 7.33 | 342.1286 | 7.8236 | 327.9857 | 8.3693 | 334.6014 | 9.005 | 329.6636 | 20.45 | 885 | 81.1643 | 40.5713
2020-08-25 09:15:00 | 7.036 | 337.98 | 7.528 | 331.484 | 8.162 | 330.544 | 8.758 | 333.18 | 20.54 | 885 | 81.92 | 39.69
2020-08-25 09:30:00 | 7.13 | 340.89 | 7.661 | 326.808 | 8.203 | 333.391 | 8.896 | 328.479 | 21.07 | 885 | 80.914 | 38.394
2020-08-25 09:45:00 | 7.03 | 339.6867 | 7.472 | 334.3587 | 8.0693 | 332.2127 | 8.6113 | 336.068 | 21.52 | 885 | 80.134 | 36.4027
2020-08-25 10:00:00 | 6.764 | 341.16 | 7.216 | 327.298 | 7.674 | 333.654 | 8.266 | 328.972 | 21.9 | 885 | 79.328 | 34.822
2020-08-25 10:15:00 | 6.454 | 339.55 | 6.847 | 329.118 | 7.373 | 332.08 | 7.856 | 330.799 | 22.02 | 885 | 75.175 | 31.59
2020-08-25 10:30:00 | 6.583 | 335.37 | 7.009 | 332.208 | 7.392 | 327.991 | 7.967 | 333.905 | 22.61 | 885 | 75.235 | 30.543
2020-08-25 10:45:00 | 6.066 | 335.64 | 6.474 | 336.292 | 6.996 | 328.254 | 7.502 | 338.014 | 22.92 | 885 | 71.722 | 27.474
2020-08-25 11:00:00 | 5.444 | 334.17 | 5.895 | 332.881 | 6.444 | 326.818 | 7.009 | 334.583 | 23.39 | 885 | 68.658 | 23.415
2020-08-25 11:15:00 | 4.7807 | 331.6267 | 5.106 | 321.5467 | 5.336 | 324.3313 | 5.7953 | 323.1913 | 23.82 | 886 | 65.8027 | 14.056
2020-08-25 11:30:00 | 4.316 | 332.16 | 4.578 | 310.77 | 4.86 | 324.854 | 5.202 | 312.36 | 24.24 | 886 | 64.36 | 10.218
2020-08-25 11:45:00 | 3.76 | 323.61 | 3.933 | 321.479 | 4.493 | 316.491 | 4.612 | 323.122 | 24.74 | 886 | 65.494 | 6.597
2020-08-25 12:00:00 | 3.588 | 321.8 | 3.764 | 319.934 | 4.4 | 314.721 | 4.496 | 321.569 | 25.43 | 886 | 64.299 | 6.144
2020-08-25 12:15:00 | 3.2713 | 325.1067 | 3.5393 | 317.688 | 3.7733 | 317.9553 | 4.1367 | 319.312 | 26.0467 | 886 | 61.7247 | 4.9873
2020-08-25 12:30:00 | 3.041 | 316.22 | 3.308 | 317.332 | 3.503 | 309.263 | 3.881 | 318.954 | 26.51 | 886 | 60.918 | 3.742
2020-08-25 12:45:00 | 2.693 | 322.49 | 2.855 | 308.237 | 3.087 | 315.394 | 3.28 | 309.812 | 26.94 | 886 | 61.009 | 1.988
2020-08-25 13:00:00 | 1.7427 | 255.8933 | 1.734 | 275.7513 | 2.0813 | 250.264 | 1.972 | 277.162 | 27.74 | 886 | 59.37 | 0
2020-08-25 13:15:00 | 1.217 | 275.4 | 1.245 | 243.758 | 1.596 | 269.341 | 1.539 | 245.004 | 28.4 | 886 | 58.473 | 0
2020-08-25 13:30:00 | 1.249 | 102.94 | 1.268 | 274.27 | 1.592 | 100.674 | 1.531 | 275.673 | 28.82 | 885.3 | 54.718 | 0
2020-08-25 13:45:00 | 1.0073 | 115.6267 | 1.0573 | 182.8533 | 1.318 | 113.0833 | 1.326 | 183.7873 | 29.74 | 886 | 52.518 | 0
2020-08-25 14:00:00 | 0.731 | 160.23 | 0.786 | 195.394 | 0.999 | 156.705 | 1.026 | 196.394 | 29.9 | 886 | 50.817 | 0
2020-08-25 14:15:00 | 0.66 | 160.1 | 0.76 | 303.346 | 0.778 | 156.578 | 0.934 | 304.898 | 31.94 | 885.8 | 40.564 | 0
2020-08-25 14:30:00 | 0.976 | 178.1867 | 1.1227 | 290.772 | 1.0393 | 174.266 | 1.2993 | 292.2587 | 31.2267 | 885 | 36.574 | 0
2020-08-25 14:45:00 | 1.303 | 168.78 | 1.453 | 164.061 | 1.469 | 165.067 | 1.704 | 164.898 | 30.95 | 885 | 36.429 | 0
2020-08-25 15:00:00 | 1.347 | 156.06 | 1.487 | 155.932 | 1.581 | 152.627 | 1.776 | 156.73 | 30.57 | 885 | 37.836 | 0
2020-08-25 15:15:00 | 1.5653 | 152.5333 | 1.64 | 146.0287 | 1.6773 | 149.1767 | 1.788 | 146.7747 | 29.9067 | 885 | 36.43 | 0
2020-08-25 15:30:00 | 1.285 | 148.18 | 1.348 | 139.865 | 1.46 | 144.921 | 1.531 | 140.578 | 30.08 | 885 | 42.669 | 0
2020-08-25 15:45:00 | 1.549 | 194.7 | 1.58 | 140.625 | 1.839 | 190.417 | 1.811 | 141.345 | 29.93 | 885 | 51 | 0
2020-08-25 16:00:00 | 1.9413 | 183.0933 | 2.042 | 146.3693 | 1.978 | 179.066 | 2.1547 | 147.116 | 29.68 | 885 | 54.4207 | 0
2020-08-25 16:15:00 | 1.973 | 184.61 | 2.13 | 163.12 | 2.054 | 180.549 | 2.327 | 163.955 | 29.4 | 885 | 54.025 | 0
2020-08-25 16:30:00 | 2.357 | 181.51 | 2.517 | 173.264 | 2.836 | 177.517 | 3.003 | 174.149 | 29.46 | 885 | 54.131 | 0.259
2020-08-25 16:45:00 | 1.7927 | 196.86 | 1.9053 | 163.8547 | 2.122 | 192.5293 | 2.2447 | 164.6927 | 29.5733 | 885 | 54.264 | 0
2020-08-25 17:00:00 | 1.958 | 205.46 | 2.112 | 184.844 | 2.276 | 200.94 | 2.478 | 185.788 | 29.72 | 885 | 53.172 | 0
2020-08-25 17:15:00 | 2.064 | 209.95 | 2.221 | 199.66 | 2.19 | 205.331 | 2.45 | 200.68 | 30.04 | 885 | 50.619 | 0
2020-08-25 17:30:00 | 1.8093 | 193.1867 | 1.9367 | 203.046 | 2.056 | 188.9373 | 2.2247 | 204.0833 | 29.8 | 885 | 50.3207 | 0
2020-08-25 17:45:00 | 1.858 | 186.12 | 1.992 | 190.982 | 2.324 | 182.026 | 2.442 | 191.96 | 29.76 | 885 | 50.048 | 0
2020-08-25 18:00:00 | 2.01 | 193.99 | 2.104 | 180.93 | 2.201 | 189.723 | 2.325 | 181.855 | 29.65 | 885 | 52.585 | 0
2020-08-25 18:15:00 | 2.2333 | 198.5333 | 2.3793 | 192.008 | 2.5227 | 194.1653 | 2.7207 | 192.99 | 29.7267 | 885 | 50.252 | 0.71
2020-08-25 18:30:00 | 2.354 | 200.48 | 2.524 | 191.67 | 2.676 | 196.068 | 2.908 | 192.648 | 29.74 | 884.6 | 48.026 | 1.04
2020-08-25 18:45:00 | 1.738 | 200.79 | 1.913 | 191.062 | 2.15 | 196.373 | 2.36 | 192.039 | 29.47 | 883.8 | 46.968 | 0.203
2020-08-25 19:00:00 | 1.4827 | 206.1867 | 1.6407 | 194.654 | 1.714 | 201.65 | 1.9487 | 195.6507 | 29.7733 | 883 | 46.5887 | 0
2020-08-25 19:15:00 | 1.574 | 189.54 | 1.68 | 207.824 | 1.844 | 185.37 | 1.968 | 208.886 | 29.72 | 883 | 43.112 | 0
2020-08-25 19:30:00 | 1.76 | 189.77 | 1.843 | 188.038 | 2.032 | 185.595 | 2.109 | 189.001 | 29.48 | 883 | 40.662 | 0
2020-08-25 19:45:00 | 2.292 | 193.12 | 2.4 | 181.711 | 2.502 | 188.871 | 2.651 | 182.64 | 28.92 | 883 | 39.914 | 0.61
2020-08-25 20:00:00 | 2.666 | 175.94 | 2.784 | 167.082 | 3.034 | 172.07 | 3.144 | 167.934 | 28.82 | 883 | 40.504 | 2.832
2020-08-25 20:15:00 | 2.197 | 184.25 | 2.392 | 191.748 | 2.727 | 180.197 | 2.945 | 192.729 | 27.59 | 883 | 46.506 | 6.244
2020-08-25 20:30:00 | 2.225 | 170.06 | 2.211 | 175.023 | 2.454 | 166.317 | 2.364 | 175.917 | 27.03 | 883 | 56.326 | 5.092
2020-08-25 20:45:00 | 2.304 | 136.96 | 2.396 | 139.342 | 2.686 | 133.946 | 2.75 | 140.056 | 26.66 | 883 | 60.87 | 4.1
2020-08-25 21:00:00 | 2.456 | 142 | 2.592 | 140.606 | 2.675 | 138.876 | 2.868 | 141.325 | 26.45 | 883.7 | 62.111 | 3.708
2020-08-25 21:15:00 | 2.601 | 142.15 | 2.713 | 146.788 | 2.931 | 139.022 | 3.046 | 147.539 | 26.14 | 884 | 63.006 | 4.247
2020-08-25 21:30:00 | 2.9127 | 128.8867 | 3.03 | 126.1287 | 3.2367 | 125.5093 | 3.37 | 126.7747 | 25.8 | 884 | 67.8713 | 4.6727
2020-08-25 21:45:00 | 2.893 | 121.17 | 3.023 | 127.754 | 3.237 | 118.504 | 3.386 | 128.409 | 25.61 | 884 | 68.988 | 4.653
2020-08-25 22:00:00 | 2.764 | 119.39 | 2.919 | 118.191 | 3.097 | 116.763 | 3.299 | 118.795 | 25.5 | 884 | 69.707 | 3.971
2020-08-25 22:15:00 | 2.3933 | 123.7133 | 2.5073 | 123.458 | 2.6927 | 120.992 | 2.824 | 124.088 | 25.56 | 884 | 69.822 | 2.4427
2020-08-25 22:30:00 | 2.285 | 126.28 | 2.422 | 123.738 | 2.571 | 123.502 | 2.748 | 124.368 | 25.49 | 884 | 70.701 | 2.517
2020-08-25 22:45:00 | 2.254 | 125.77 | 2.313 | 126.642 | 2.499 | 123.003 | 2.546 | 127.29 | 25.54 | 884 | 71.087 | 1.192
2020-08-25 23:00:00 | 2.598 | 135.78 | 2.694 | 131.188 | 2.852 | 132.794 | 2.964 | 131.86 | 25.48 | 884 | 71.402 | 1.804
2020-08-25 23:15:00 | 2.58 | 130.88 | 2.71 | 128.178 | 2.781 | 128.002 | 2.973 | 128.832 | 25.38 | 884 | 70.728 | 1.986
2020-08-25 23:30:00 | 2.17 | 132.77 | 2.272 | 135.434 | 2.331 | 129.849 | 2.482 | 136.126 | 25.26 | 884 | 70.823 | 0.706
2020-08-25 23:45:00 | 1.852 | 132.42 | 1.902 | 134.554 | 1.978 | 129.506 | 2.042 | 135.24 | 25.32 | 884 | 71.43 | 0.032