## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-26 00:00:00 | 2.059 | 132.92 | 2.216 | 124.156 | 2.291 | 129.995 | 2.524 | 124.792 | 25.31 | 884 | 72.63 | 0
2020-08-26 00:15:00 | 2.278 | 129.2933 | 2.382 | 131.2273 | 2.542 | 126.4493 | 2.668 | 131.8993 | 25.08 | 884 | 73.2807 | 0.52333
2020-08-26 00:30:00 | 1.948 | 127.84 | 2.032 | 130.464 | 2.13 | 125.028 | 2.238 | 131.132 | 24.88 | 884 | 73.228 | 0
2020-08-26 00:45:00 | 1.902 | 130.81 | 2.001 | 132.02 | 2.254 | 127.931 | 2.338 | 132.696 | 24.99 | 884 | 73.721 | 0
2020-08-26 01:00:00 | 1.79 | 152.28 | 1.902 | 144.372 | 2.208 | 148.93 | 2.3 | 145.11 | 24.8 | 883.6 | 75.162 | 0
2020-08-26 01:15:00 | 1.229 | 124.72 | 1.348 | 121.261 | 1.454 | 121.976 | 1.614 | 121.884 | 24.75 | 883 | 75.912 | 0
2020-08-26 01:30:00 | 1.6836 | 133.1 | 1.7993 | 115.74 | 1.94 | 130.1729 | 2.0843 | 116.33 | 24.5643 | 883 | 77.32 | 0
2020-08-26 01:45:00 | 1.234 | 131.22 | 1.31 | 119.002 | 1.082 | 128.334 | 1.272 | 119.61 | 24.5 | 883 | 77.158 | 0
2020-08-26 02:00:00 | 0.656 | 91.24 | 0.647 | 126.563 | 0.568 | 89.233 | 0.578 | 127.208 | 24.31 | 883 | 84.62 | 0
2020-08-26 02:15:00 | 1.0253 | 104.3667 | 1.0867 | 107.8347 | 0.97867 | 102.0707 | 1.106 | 108.386 | 24.34 | 883 | 84.6933 | 0
2020-08-26 02:30:00 | 0.796 | 93.36 | 0.83 | 105.506 | 0.672 | 91.306 | 0.778 | 106.046 | 24.36 | 883 | 85.46 | 0
2020-08-26 02:45:00 | 0.536 | 83.97 | 0.6 | 103.131 | 0.491 | 82.123 | 0.624 | 103.658 | 24.04 | 883 | 84.44 | 0
2020-08-26 03:00:00 | 0.482 | 154.98 | 0.454 | 162.696 | 0.604 | 151.57 | 0.518 | 163.53 | 23.96 | 883 | 85.22 | 0
2020-08-26 03:15:00 | 0.735 | 49.88 | 0.731 | 169.508 | 1.155 | 48.782 | 1.022 | 170.375 | 23.97 | 882 | 84.07 | 0
2020-08-26 03:30:00 | 1.045 | 202.21 | 1.088 | 303.386 | 1.608 | 197.761 | 1.526 | 304.937 | 23.54 | 882 | 91.24 | 0
2020-08-26 03:45:00 | 1.68 | 139.96 | 1.704 | 342.516 | 1.928 | 136.878 | 1.896 | 344.266 | 23.28 | 882 | 92.04 | 0
2020-08-26 04:00:00 | 1.862 | 178.66 | 1.869 | 307.365 | 2.609 | 174.73 | 2.405 | 308.937 | 22.86 | 882 | 91.79 | 0.366
2020-08-26 04:15:00 | 1.5273 | 169.3667 | 1.492 | 254.592 | 2.0493 | 165.6387 | 1.8307 | 255.8953 | 23.0333 | 882 | 92.3533 | 0
2020-08-26 04:30:00 | 1.634 | 146.32 | 1.578 | 329.798 | 2.036 | 143.1 | 1.812 | 331.488 | 22.62 | 882 | 93.44 | 0.056
2020-08-26 04:45:00 | 2.03 | 180.34 | 2.062 | 328.384 | 2.491 | 176.372 | 2.419 | 330.062 | 22.05 | 882 | 93.3 | 0.491
2020-08-26 05:00:00 | 1.0907 | 95.9 | 1.0787 | 301.3873 | 1.604 | 93.7913 | 1.432 | 302.928 | 22.6 | 882 | 92.04 | 0
2020-08-26 05:15:00 | 1.172 | 150.12 | 1.202 | 330.114 | 1.772 | 146.816 | 1.654 | 331.8 | 22.9 | 882 | 92.7 | 0
2020-08-26 05:30:00 | 1.652 | 14.95 | 1.673 | 327.024 | 2.195 | 14.621 | 2.078 | 328.696 | 22.63 | 882 | 94.28 | 0
2020-08-26 05:45:00 | 1.8547 | 86.12 | 1.8473 | 328.484 | 2.4407 | 84.226 | 2.2587 | 330.164 | 22.2533 | 882 | 96.76 | 0.278
2020-08-26 06:00:00 | 2.093 | 119 | 2.054 | 326.809 | 2.621 | 116.383 | 2.394 | 328.481 | 21.48 | 882 | 97.7 | 0.481
2020-08-26 06:15:00 | 1.726 | 20.97 | 1.747 | 333.214 | 2.411 | 20.509 | 2.25 | 334.919 | 21.66 | 882 | 98.35 | 0.448
2020-08-26 06:30:00 | 1.494 | 33.22 | 1.496 | 208.43 | 2.042 | 32.488 | 1.892 | 209.498 | 21.94 | 881 | 98.2 | 0.184
2020-08-26 06:45:00 | 1.858 | 47.77 | 1.784 | 337.634 | 2.401 | 46.72 | 2.109 | 339.361 | 21.75 | 881.5 | 98.05 | 0.563
2020-08-26 07:00:00 | 2.097 | 186.93 | 2.063 | 321.674 | 2.802 | 182.818 | 2.53 | 323.318 | 21.47 | 882 | 97.11 | 1.397
2020-08-26 07:15:00 | 2.68 | 283.42 | 2.72 | 315.99 | 3.408 | 277.184 | 3.274 | 317.608 | 21.5 | 882 | 96.22 | 2.642
2020-08-26 07:30:00 | 2.861 | 300.2 | 2.93 | 324.705 | 3.489 | 293.596 | 3.439 | 326.366 | 20.85 | 882 | 94.46 | 2.947
2020-08-26 07:45:00 | 2.775 | 240.42 | 2.776 | 330.819 | 3.454 | 235.131 | 3.264 | 332.509 | 20.99 | 882.5 | 93.32 | 3.187
2020-08-26 08:00:00 | 2.658 | 259.14 | 2.674 | 332.636 | 3.238 | 253.438 | 3.102 | 334.338 | 21.06 | 883 | 93.1 | 2.906
2020-08-26 08:15:00 | 2.702 | 308.73 | 2.834 | 330.398 | 3.313 | 301.938 | 3.388 | 332.088 | 21.35 | 883 | 90.9 | 2.625
2020-08-26 08:30:00 | 2.01 | 236.3929 | 1.9679 | 326.7143 | 2.3464 | 231.1936 | 2.1721 | 328.3843 | 21.9929 | 883 | 88.5714 | 0.60643
2020-08-26 08:45:00 | 1.65 | 269.02 | 1.586 | 327.278 | 1.944 | 263.102 | 1.736 | 328.95 | 22.36 | 883 | 86.84 | 0
2020-08-26 09:00:00 | 1.785 | 324.05 | 1.815 | 317.674 | 1.954 | 316.921 | 1.967 | 319.298 | 22.7 | 884 | 85.89 | 0
2020-08-26 09:15:00 | 1.706 | 283.7867 | 1.7427 | 322.1927 | 1.96 | 277.544 | 1.9593 | 323.8407 | 23.1 | 884 | 84.9867 | 0
2020-08-26 09:30:00 | 1.904 | 273.62 | 1.888 | 329.312 | 2.312 | 267.6 | 2.164 | 330.994 | 23.58 | 884 | 86.32 | 0
2020-08-26 09:45:00 | 1.872 | 238.77 | 1.856 | 326.788 | 2.3 | 233.517 | 2.147 | 328.459 | 22.98 | 884 | 85.02 | 0.611
2020-08-26 10:00:00 | 2.112 | 199.5733 | 2.0507 | 331.536 | 2.57 | 195.182 | 2.324 | 333.2307 | 23.0733 | 884 | 82.3867 | 1.0053
2020-08-26 10:15:00 | 1.996 | 132.88 | 1.892 | 326.182 | 2.394 | 129.956 | 2.086 | 327.85 | 23.12 | 884 | 80.36 | 0.748
2020-08-26 10:30:00 | 1.416 | 192.74 | 1.385 | 262.376 | 1.615 | 188.501 | 1.502 | 263.719 | 23.99 | 884 | 79.574 | 0
2020-08-26 10:45:00 | 1.1247 | 105.7133 | 1.152 | 225.5327 | 1.2447 | 123.868 | 1.26 | 226.6873 | 25.1267 | 884 | 77.9473 | 0
2020-08-26 11:00:00 | 0.754 | 145 | 0.764 | 145.038 | 0.804 | 141.812 | 0.802 | 145.778 | 25.66 | 884 | 77.38 | 0
2020-08-26 11:15:00 | 0.923 | 118.66 | 1.021 | 129.557 | 1.184 | 116.048 | 1.292 | 130.216 | 26.19 | 884 | 75.021 | 0
2020-08-26 11:30:00 | 1.246 | 146.51 | 1.302 | 128.863 | 1.533 | 143.287 | 1.552 | 129.52 | 26.54 | 884 | 74.181 | 0
2020-08-26 11:45:00 | 1.5747 | 152.6733 | 1.584 | 125.1953 | 1.7767 | 149.3147 | 1.7367 | 125.8373 | 26.3733 | 884 | 73.4767 | 0
2020-08-26 12:00:00 | 1.473 | 158.32 | 1.475 | 140.911 | 1.523 | 154.836 | 1.514 | 141.63 | 26.55 | 884 | 74.143 | 0
2020-08-26 12:15:00 | 1.842 | 147.04 | 1.931 | 124.676 | 2.028 | 143.806 | 2.142 | 125.312 | 26.56 | 884 | 73.186 | 0
2020-08-26 12:30:00 | 1.8687 | 146.0667 | 1.9113 | 135.2953 | 2.1233 | 142.852 | 2.1333 | 135.9873 | 26.7133 | 884 | 73.076 | 0
2020-08-26 12:45:00 | 2.042 | 157.5 | 2.064 | 141.068 | 2.316 | 154.036 | 2.286 | 141.788 | 26.92 | 884 | 72.062 | 0
2020-08-26 13:00:00 | 2.091 | 187.45 | 2.147 | 133.496 | 2.563 | 183.325 | 2.532 | 134.179 | 26.78 | 883.9 | 69.937 | 0.207
2020-08-26 13:15:00 | 2.2507 | 195.6333 | 2.3447 | 143.2593 | 2.5393 | 191.3307 | 2.634 | 143.99 | 27.42 | 883 | 68.3647 | 0.40867
2020-08-26 13:30:00 | 2.582 | 205.48 | 2.608 | 133.024 | 2.864 | 200.958 | 2.828 | 133.708 | 27.38 | 883 | 67.69 | 0.68
2020-08-26 13:45:00 | 2.351 | 212.95 | 2.386 | 137.505 | 2.36 | 208.264 | 2.425 | 138.21 | 27.31 | 883 | 67.613 | 1.325
2020-08-26 14:00:00 | 2.371 | 206.94 | 2.469 | 150.074 | 2.5 | 202.386 | 2.65 | 150.841 | 27.66 | 883 | 67.096 | 1.387
2020-08-26 14:15:00 | 2.408 | 207.78 | 2.474 | 150.318 | 2.71 | 203.206 | 2.746 | 151.088 | 27.68 | 883 | 65.726 | 1.774
2020-08-26 14:30:00 | 2.388 | 161.23 | 2.507 | 146.359 | 2.869 | 157.685 | 2.958 | 147.105 | 28.05 | 883 | 64.7 | 1.898
2020-08-26 14:45:00 | 2.844 | 159.0933 | 2.994 | 138.0693 | 3.3273 | 155.5927 | 3.4727 | 138.7733 | 28.02 | 883 | 65.74 | 2.6773
2020-08-26 15:00:00 | 2.744 | 164.48 | 2.818 | 127.278 | 3.248 | 160.862 | 3.248 | 127.928 | 28.04 | 883 | 64.522 | 3.524
2020-08-26 15:15:00 | 2.196 | 177.32 | 2.232 | 145.672 | 2.444 | 173.421 | 2.441 | 146.418 | 28.52 | 883 | 64.963 | 1.353
2020-08-26 15:30:00 | 1.8627 | 208.4867 | 1.8747 | 160.9653 | 1.946 | 203.8993 | 1.9513 | 161.7873 | 28.6267 | 883 | 63.0393 | 1.3493
2020-08-26 15:45:00 | 2.296 | 212.9 | 2.424 | 152.432 | 2.526 | 208.216 | 2.712 | 153.212 | 28.7 | 883 | 63.136 | 1.054
2020-08-26 16:00:00 | 1.976 | 205.27 | 2.089 | 168.45 | 2.202 | 200.754 | 2.352 | 169.312 | 28.54 | 883 | 64.199 | 0.545
2020-08-26 16:15:00 | 1.8573 | 186.6 | 1.8333 | 144.2933 | 2.01 | 182.4947 | 1.9207 | 145.032 | 28.7333 | 883 | 63.1993 | 0.86133
2020-08-26 16:30:00 | 2.216 | 195.06 | 2.192 | 137.586 | 2.408 | 190.77 | 2.308 | 138.288 | 28.7 | 883 | 62.736 | 1.418
2020-08-26 16:45:00 | 2.001 | 197.33 | 2.109 | 146.897 | 2.344 | 192.989 | 2.451 | 147.646 | 28.73 | 883 | 63.636 | 1.277
2020-08-26 17:00:00 | 2.355 | 191 | 2.466 | 167.453 | 2.595 | 186.798 | 2.737 | 168.309 | 28.83 | 883 | 63.649 | 0.845
2020-08-26 17:15:00 | 2.142 | 192 | 2.284 | 165.77 | 2.33 | 187.778 | 2.542 | 166.618 | 28.68 | 883 | 64.106 | 0.626
2020-08-26 17:30:00 | 2.331 | 176.7 | 2.402 | 166.71 | 2.314 | 172.813 | 2.459 | 167.564 | 28.8 | 883 | 63.859 | 0.677
2020-08-26 17:45:00 | 2.224 | 165.68 | 2.369 | 165.734 | 2.442 | 162.034 | 2.651 | 166.581 | 28.5 | 882.4 | 64.451 | 1.201
2020-08-26 18:00:00 | 2.216 | 176.56 | 2.336 | 167.982 | 2.33 | 172.676 | 2.534 | 168.84 | 28.48 | 882 | 66.82 | 1.316
2020-08-26 18:15:00 | 2.048 | 169.31 | 2.097 | 158.494 | 2.233 | 165.587 | 2.272 | 159.306 | 28.39 | 882 | 69.029 | 0.777
2020-08-26 18:30:00 | 2.706 | 160.44 | 2.816 | 147.385 | 3.045 | 156.91 | 3.158 | 148.139 | 28.42 | 882 | 70.835 | 1.488
2020-08-26 18:45:00 | 2.928 | 139.24 | 3.104 | 131.404 | 3.366 | 136.176 | 3.576 | 132.076 | 28.32 | 882 | 70.124 | 2.988
2020-08-26 19:00:00 | 2.498 | 144.47 | 2.665 | 136.344 | 2.824 | 141.292 | 3.05 | 137.042 | 27.95 | 881 | 71.433 | 2.168
2020-08-26 19:15:00 | 2.894 | 148.04 | 3.018 | 141.927 | 3.119 | 144.784 | 3.292 | 142.651 | 27.71 | 881 | 73.646 | 3.5
2020-08-26 19:30:00 | 2.852 | 161.12 | 3 | 149.87 | 3.092 | 157.576 | 3.306 | 150.634 | 27.44 | 881 | 74.348 | 4.634
2020-08-26 19:45:00 | 2.66 | 163.04 | 2.788 | 142.651 | 2.88 | 159.454 | 3.064 | 143.38 | 27.23 | 881 | 74.814 | 4.301
2020-08-26 20:00:00 | 2.318 | 154.69 | 2.443 | 152.119 | 2.526 | 151.286 | 2.705 | 152.894 | 27.1 | 880.9 | 75.882 | 1.682
2020-08-26 20:15:00 | 1.962 | 170.66 | 2.082 | 151.452 | 2.348 | 166.906 | 2.464 | 152.228 | 27 | 880.2 | 77.072 | 0.622
2020-08-26 20:30:00 | 2.068 | 172.69 | 2.143 | 160.666 | 2.37 | 168.889 | 2.429 | 161.487 | 26.76 | 880 | 77.879 | 2.147
2020-08-26 20:45:00 | 2.112 | 165.45 | 2.22 | 149.3 | 2.458 | 161.809 | 2.566 | 150.064 | 26.58 | 880 | 78.996 | 3.092
2020-08-26 21:00:00 | 2.104 | 161.66 | 2.182 | 169.134 | 2.35 | 158.102 | 2.43 | 170 | 26.42 | 880 | 78.93 | 3.304
2020-08-26 21:15:00 | 1.769 | 169.03 | 1.838 | 171.345 | 1.939 | 165.313 | 2.024 | 172.223 | 26.34 | 881 | 80.48 | 2.662
2020-08-26 21:30:00 | 1.723 | 152.14 | 1.761 | 166.701 | 1.949 | 148.795 | 1.958 | 167.553 | 26.35 | 881 | 80.78 | 1.507
2020-08-26 21:45:00 | 1.426 | 155.8 | 1.498 | 166.864 | 1.634 | 152.372 | 1.706 | 167.718 | 26.28 | 881 | 81.68 | 1.596
2020-08-26 22:00:00 | 1.612 | 172.71 | 1.727 | 160.724 | 1.81 | 168.909 | 1.971 | 161.547 | 26.03 | 881 | 81.1 | 1.816
2020-08-26 22:15:00 | 2.365 | 166.29 | 2.446 | 167.503 | 2.661 | 162.633 | 2.731 | 168.358 | 25.9 | 881 | 81.2 | 1.793
2020-08-26 22:30:00 | 2.56 | 164.12 | 2.694 | 160.118 | 2.82 | 160.508 | 3 | 160.936 | 25.74 | 881 | 81.06 | 2.838
2020-08-26 22:45:00 | 2.287 | 148.72 | 2.346 | 147.346 | 2.507 | 145.448 | 2.556 | 148.097 | 25.47 | 881 | 81.58 | 2.049
2020-08-26 23:00:00 | 2.128 | 128.14 | 2.219 | 126.573 | 2.483 | 125.321 | 2.554 | 127.219 | 25.27 | 881 | 82.56 | 0.391
2020-08-26 23:15:00 | 1.88 | 129.38 | 1.978 | 132.0433 | 2.2727 | 126.534 | 2.346 | 132.7187 | 25.1733 | 881 | 82.58 | 0.67933
2020-08-26 23:30:00 | 2.157 | 117.51 | 2.292 | 120.499 | 2.431 | 114.925 | 2.607 | 121.115 | 25.05 | 881 | 83.17 | 0.81
2020-08-26 23:45:00 | 2.439 | 119.79 | 2.589 | 124.226 | 2.674 | 117.155 | 2.889 | 124.862 | 25.16 | 881 | 83.26 | 1.993