## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-27 00:00:00 | 2.944 | 121.27 | 3.104 | 123.551 | 3.151 | 118.602 | 3.399 | 124.182 | 25.16 | 881 | 83.16 | 3.282
2020-08-27 00:15:00 | 2.717 | 123.21 | 2.842 | 126.817 | 2.895 | 120.499 | 3.087 | 127.465 | 24.91 | 881 | 83.7 | 3.67
2020-08-27 00:30:00 | 2.7421 | 126.6714 | 2.8871 | 125.1486 | 2.9793 | 123.885 | 3.1857 | 125.79 | 24.7714 | 881 | 84.2357 | 2.6213
2020-08-27 00:45:00 | 2.58 | 124.51 | 2.68 | 115.512 | 2.738 | 121.771 | 2.882 | 116.102 | 24.61 | 881 | 85.22 | 2.029
2020-08-27 01:00:00 | 2.544 | 117.38 | 2.664 | 117.576 | 2.719 | 114.798 | 2.901 | 118.177 | 24.42 | 880.9 | 85.96 | 2.233
2020-08-27 01:15:00 | 2.461 | 121.99 | 2.6 | 123.99 | 2.735 | 119.306 | 2.922 | 124.624 | 24.51 | 880 | 86.97 | 2.221
2020-08-27 01:30:00 | 2.119 | 123.64 | 2.238 | 122.68 | 2.455 | 120.714 | 2.584 | 123.307 | 24.26 | 880 | 87.41 | 1.199
2020-08-27 01:45:00 | 1.842 | 130.04 | 1.947 | 128 | 2.185 | 127.18 | 2.286 | 128.655 | 23.97 | 880 | 88.1 | 1.137
2020-08-27 02:00:00 | 1.962 | 129.44 | 2.06 | 120.87 | 2.274 | 126.593 | 2.372 | 121.49 | 23.79 | 880 | 88.76 | 0.759
2020-08-27 02:15:00 | 2.174 | 129.12 | 2.265 | 128.901 | 2.471 | 126.279 | 2.561 | 129.562 | 23.97 | 880 | 89.84 | 0.74
2020-08-27 02:30:00 | 2.089 | 119.53 | 2.186 | 123.257 | 2.372 | 116.902 | 2.476 | 123.888 | 23.95 | 880 | 89.53 | 0.556
2020-08-27 02:45:00 | 2.106 | 127.51 | 2.211 | 127.962 | 2.333 | 124.706 | 2.472 | 128.615 | 23.99 | 880 | 89.33 | 1.098
2020-08-27 03:00:00 | 2.1473 | 125.6067 | 2.2553 | 124.2967 | 2.3347 | 122.2707 | 2.4887 | 124.9333 | 24 | 879.6 | 89.46 | 0.988
2020-08-27 03:15:00 | 1.9387 | 125.1733 | 2.036 | 119.904 | 2.1453 | 122.418 | 2.27 | 120.5167 | 24.0667 | 879 | 88.8267 | 0.31667
2020-08-27 03:30:00 | 1.876 | 127.77 | 1.97 | 126.563 | 2.137 | 124.959 | 2.241 | 127.212 | 24.12 | 879 | 88.6 | 0.535
2020-08-27 03:45:00 | 2.061 | 121.97 | 2.159 | 122.895 | 2.145 | 119.287 | 2.309 | 123.523 | 24.02 | 879 | 87.42 | 0.218
2020-08-27 04:00:00 | 1.592 | 125.2333 | 1.626 | 108.6033 | 1.8967 | 122.478 | 1.8753 | 109.1593 | 24.0667 | 879 | 88.9267 | 0
2020-08-27 04:15:00 | 1.428 | 120.01 | 1.47 | 112.696 | 1.778 | 117.37 | 1.758 | 113.271 | 24.11 | 879 | 89.59 | 0
2020-08-27 04:30:00 | 1.9327 | 124.3733 | 2.0167 | 123.6 | 2.0273 | 121.6373 | 2.1593 | 124.2313 | 23.9933 | 879 | 90.0733 | 0.068
2020-08-27 04:45:00 | 1.5727 | 121.14 | 1.6413 | 133.172 | 1.5133 | 118.476 | 1.6627 | 133.8507 | 24.0333 | 879 | 91.3267 | 0.12933
2020-08-27 05:00:00 | 1.586 | 125.98 | 1.658 | 134.573 | 1.688 | 123.208 | 1.794 | 135.26 | 24.04 | 879 | 92.9 | 0.1
2020-08-27 05:15:00 | 1.38 | 113.74 | 1.431 | 123.267 | 1.291 | 111.238 | 1.414 | 123.897 | 24 | 879 | 93.52 | 0
2020-08-27 05:30:00 | 1.122 | 108.82 | 1.067 | 111.951 | 1.004 | 106.426 | 0.937 | 112.524 | 23.96 | 879 | 94.42 | 0
2020-08-27 05:45:00 | 1.38 | 108.09 | 1.358 | 117.801 | 1.231 | 105.714 | 1.238 | 118.403 | 23.8 | 879 | 95.11 | 0.059
2020-08-27 06:00:00 | 1.275 | 130.78 | 1.223 | 134.298 | 1.161 | 127.903 | 1.093 | 134.985 | 23.7 | 878.9 | 95.28 | 0.366
2020-08-27 06:15:00 | 1.1593 | 126.66 | 1.1233 | 125.816 | 1.0453 | 123.8013 | 1.014 | 126.4607 | 23.54 | 878 | 96.58 | 0.14667
2020-08-27 06:30:00 | 0.942 | 120.84 | 0.947 | 116.902 | 0.828 | 118.181 | 0.876 | 117.498 | 23.35 | 878 | 97.74 | 0
2020-08-27 06:45:00 | 0.921 | 105.6 | 0.893 | 140.245 | 0.798 | 103.279 | 0.781 | 140.961 | 23.26 | 878 | 98.28 | 0
2020-08-27 07:00:00 | 0.899 | 139.57 | 0.822 | 144.509 | 0.739 | 136.5 | 0.644 | 145.248 | 23.18 | 878.1 | 98.75 | 0
2020-08-27 07:15:00 | 0.894 | 114.95 | 0.833 | 137.683 | 0.748 | 112.421 | 0.677 | 138.387 | 23.47 | 879 | 98.74 | 0
2020-08-27 07:30:00 | 0.483 | 183.18 | 0.429 | 143.355 | 0.433 | 179.148 | 0.344 | 144.087 | 23.73 | 879 | 96.74 | 0
2020-08-27 07:45:00 | 0.337 | 244.52 | 0.344 | 181.009 | 0.335 | 239.139 | 0.348 | 181.933 | 24.01 | 879 | 96.09 | 0
2020-08-27 08:00:00 | 0.444 | 307.57 | 0.496 | 209.204 | 0.623 | 300.803 | 0.663 | 210.274 | 24.41 | 880 | 94.5 | 0
2020-08-27 08:15:00 | 0.569 | 246.72 | 0.546 | 139.169 | 0.627 | 241.29 | 0.566 | 139.881 | 24.77 | 880 | 95.51 | 0
2020-08-27 08:30:00 | 0.451 | 195.71 | 0.438 | 148.949 | 0.446 | 191.404 | 0.422 | 149.71 | 24.83 | 880 | 95.41 | 0
2020-08-27 08:45:00 | 0.33 | 259.95 | 0.316 | 178.24 | 0.362 | 254.23 | 0.329 | 179.151 | 25 | 880 | 90.22 | 0
2020-08-27 09:00:00 | 0.371 | 278.34 | 0.361 | 171.353 | 0.393 | 272.219 | 0.37 | 172.232 | 25.13 | 880 | 84.47 | 0
2020-08-27 09:15:00 | 0.34 | 164.94 | 0.358 | 157.341 | 0.358 | 161.312 | 0.385 | 158.145 | 25.48 | 880 | 79.102 | 0
2020-08-27 09:30:00 | 0.529 | 175 | 0.518 | 159.149 | 0.551 | 171.15 | 0.527 | 159.963 | 25.08 | 881 | 83.69 | 0
2020-08-27 09:45:00 | 0.593 | 205.58 | 0.576 | 131.023 | 0.622 | 201.057 | 0.58 | 131.691 | 25.56 | 881 | 85.73 | 0
2020-08-27 10:00:00 | 0.832 | 165.5 | 0.817 | 149.468 | 0.8 | 161.86 | 0.778 | 150.232 | 25.69 | 880.9 | 85.06 | 0
2020-08-27 10:15:00 | 1.2467 | 164.28 | 1.264 | 140.5587 | 1.3987 | 160.6667 | 1.3893 | 141.276 | 25.9267 | 880.7333 | 79.8627 | 0
2020-08-27 10:30:00 | 1.642 | 185.77 | 1.637 | 133.351 | 1.788 | 181.683 | 1.738 | 134.032 | 25.99 | 881 | 80.946 | 0
2020-08-27 10:45:00 | 1.753 | 142.13 | 1.791 | 134.915 | 2.081 | 139.003 | 2.059 | 135.605 | 25.91 | 881 | 79.276 | 0.143
2020-08-27 11:00:00 | 1.875 | 152.42 | 1.899 | 141.027 | 2.05 | 149.066 | 2.046 | 141.749 | 26.08 | 881 | 77.706 | 0.459
2020-08-27 11:15:00 | 2.25 | 144.71 | 2.293 | 132.55 | 2.483 | 141.526 | 2.497 | 133.226 | 25.81 | 881 | 75.701 | 1.02
2020-08-27 11:30:00 | 2.316 | 156.2667 | 2.3287 | 138.334 | 2.6713 | 152.83 | 2.594 | 139.0413 | 26.0067 | 881 | 75.9473 | 1.4413
2020-08-27 11:45:00 | 2.3407 | 184.56 | 2.3947 | 136.1507 | 2.7627 | 180.5 | 2.744 | 136.846 | 26.1333 | 880.9333 | 74.99 | 1.7727
2020-08-27 12:00:00 | 2.266 | 200.95 | 2.278 | 138.543 | 2.55 | 196.529 | 2.493 | 139.252 | 26.34 | 880 | 72.883 | 1.9
2020-08-27 12:15:00 | 2.28 | 166.3933 | 2.3233 | 135.3607 | 2.584 | 162.7313 | 2.5793 | 136.0527 | 26.6067 | 880 | 74.25 | 2.1987
2020-08-27 12:30:00 | 2.3373 | 192.7867 | 2.3953 | 138.3927 | 2.6793 | 188.546 | 2.6927 | 139.1013 | 26.86 | 880 | 75.0213 | 2.1813
2020-08-27 12:45:00 | 2.419 | 177.64 | 2.485 | 139.014 | 2.982 | 173.733 | 2.948 | 139.724 | 27.07 | 880 | 75.49 | 2.643
2020-08-27 13:00:00 | 2.1713 | 146.3533 | 2.182 | 141.96 | 2.442 | 143.134 | 2.3873 | 142.6867 | 27.38 | 880 | 74.204 | 1.6207
2020-08-27 13:15:00 | 2.3853 | 165.52 | 2.4413 | 136.5087 | 2.7253 | 161.8773 | 2.7367 | 137.2073 | 27.4467 | 880 | 72.3247 | 1.1867
2020-08-27 13:30:00 | 2.181 | 164.6 | 2.287 | 151.395 | 2.587 | 160.978 | 2.67 | 152.168 | 27.95 | 880 | 70.678 | 1.399
2020-08-27 13:45:00 | 2.606 | 140.6533 | 2.7167 | 143.2647 | 3.0987 | 137.56 | 3.17 | 143.9973 | 27.8 | 880 | 69.7493 | 1.7907
2020-08-27 14:00:00 | 2.1407 | 171.68 | 2.3127 | 153.3573 | 2.658 | 167.9027 | 2.836 | 154.1407 | 28.4133 | 880 | 68.692 | 1.722
2020-08-27 14:15:00 | 2.114 | 159.4 | 2.23 | 136.714 | 2.335 | 155.892 | 2.495 | 137.414 | 28.19 | 880 | 67.773 | 1.33
2020-08-27 14:30:00 | 2.3753 | 171.94 | 2.396 | 152.2947 | 2.9093 | 168.1573 | 2.7967 | 153.0727 | 28.3933 | 879 | 67.8573 | 0.934
2020-08-27 14:45:00 | 1.912 | 190.81 | 1.964 | 164.382 | 2.174 | 186.613 | 2.201 | 165.223 | 28.82 | 879 | 69.002 | 0.427
2020-08-27 15:00:00 | 1.724 | 197.53 | 1.878 | 141.283 | 2.193 | 193.183 | 2.35 | 142.003 | 29.06 | 879 | 69.324 | 0.486
2020-08-27 15:15:00 | 2.226 | 171.72 | 2.225 | 139.102 | 2.54 | 167.943 | 2.449 | 139.812 | 29.24 | 879 | 66.627 | 0.771
2020-08-27 15:30:00 | 1.831 | 161.94 | 1.877 | 151.914 | 2.199 | 158.379 | 2.184 | 152.69 | 29.21 | 879 | 65.717 | 0
2020-08-27 15:45:00 | 2.261 | 119.77 | 2.268 | 162.525 | 2.636 | 117.135 | 2.543 | 163.355 | 29.06 | 879 | 64.57 | 0.429
2020-08-27 16:00:00 | 1.736 | 152.58 | 1.814 | 144.216 | 1.736 | 149.224 | 1.885 | 144.953 | 29.34 | 879 | 64.824 | 0.414
2020-08-27 16:15:00 | 2.3467 | 101.3 | 2.4153 | 148.4867 | 2.624 | 99.0707 | 2.6753 | 149.246 | 28.9867 | 879 | 61.6173 | 0
2020-08-27 16:30:00 | 1.721 | 114.75 | 1.776 | 114.983 | 2.176 | 112.226 | 2.151 | 115.572 | 29.18 | 879 | 63.958 | 0
2020-08-27 16:45:00 | 1.923 | 118.86 | 2.038 | 152.49 | 2.234 | 116.245 | 2.362 | 153.27 | 29.15 | 879 | 66.124 | 0
2020-08-27 17:00:00 | 1.918 | 124.7 | 2.0653 | 115.2153 | 2.226 | 121.9567 | 2.418 | 115.8033 | 28.7733 | 879 | 65.138 | 0
2020-08-27 17:15:00 | 1.933 | 127.99 | 2.109 | 125.85 | 2.21 | 125.173 | 2.462 | 126.492 | 28.77 | 879 | 66.977 | 0
2020-08-27 17:30:00 | 2.483 | 135.67 | 2.585 | 120.333 | 2.571 | 132.685 | 2.742 | 120.947 | 28.55 | 879 | 67.583 | 0
2020-08-27 17:45:00 | 2.076 | 141.06 | 2.1687 | 139.222 | 2.3313 | 137.956 | 2.4347 | 139.9327 | 28.8667 | 878 | 67.6193 | 0.13
2020-08-27 18:00:00 | 1.85 | 157.83 | 1.994 | 149.908 | 2.176 | 154.357 | 2.354 | 150.675 | 28.87 | 878 | 66.291 | 0.061
2020-08-27 18:15:00 | 1.671 | 150.46 | 1.76 | 129.203 | 2.141 | 147.15 | 2.171 | 129.864 | 29.1 | 878.1 | 64.869 | 0
2020-08-27 18:30:00 | 1.1753 | 161.46 | 1.2107 | 112.7053 | 1.6047 | 157.908 | 1.5467 | 113.28 | 28.6067 | 879 | 66.5247 | 0.052
2020-08-27 18:45:00 | 1.333 | 134.85 | 1.391 | 123.903 | 1.667 | 131.883 | 1.682 | 124.535 | 28.85 | 879 | 66.99 | 0
2020-08-27 19:00:00 | 1.484 | 135.4 | 1.594 | 112.3193 | 1.7013 | 132.422 | 1.8467 | 112.8947 | 28.6267 | 878.2667 | 68.038 | 0
2020-08-27 19:15:00 | 1.835 | 117.59 | 1.958 | 102.641 | 1.888 | 115.004 | 2.106 | 103.166 | 28.28 | 878 | 69.738 | 0
2020-08-27 19:30:00 | 1.9673 | 119.3133 | 2.0753 | 119.086 | 2.058 | 116.6887 | 2.24 | 119.6967 | 28.0067 | 878 | 70.5187 | 0.098
2020-08-27 19:45:00 | 2.1167 | 131.4667 | 2.2767 | 130.6147 | 2.2947 | 128.574 | 2.5487 | 131.2827 | 27.8333 | 878 | 70.8487 | 0.96067
2020-08-27 20:00:00 | 2.454 | 146.01 | 2.537 | 135.14 | 2.53 | 142.799 | 2.667 | 135.831 | 27.67 | 878 | 70.472 | 1.769
2020-08-27 20:15:00 | 2.1927 | 131.5333 | 2.3133 | 124.9553 | 2.4513 | 128.6407 | 2.606 | 125.5947 | 27.5067 | 878.4 | 69.4007 | 1.4707
2020-08-27 20:30:00 | 2.285 | 129.38 | 2.456 | 123.502 | 2.671 | 126.534 | 2.883 | 124.133 | 27.44 | 879 | 69.365 | 1.435
2020-08-27 20:45:00 | 2.2067 | 126.5733 | 2.3967 | 120.6987 | 2.5387 | 123.7893 | 2.8027 | 121.314 | 27.4267 | 879 | 68.9413 | 1.0513
2020-08-27 21:00:00 | 2.2387 | 127.3667 | 2.4147 | 125.8813 | 2.4473 | 124.5647 | 2.72 | 126.5253 | 27.3133 | 879 | 68.4907 | 1.2073
2020-08-27 21:15:00 | 2.508 | 139.89 | 2.615 | 126.503 | 2.585 | 136.812 | 2.766 | 127.149 | 27.26 | 879 | 69.19 | 1.023
2020-08-27 21:30:00 | 2.2287 | 140.0333 | 2.342 | 139.6653 | 2.4127 | 136.9527 | 2.572 | 140.3787 | 27.22 | 879.7333 | 70.2827 | 1.0287
2020-08-27 21:45:00 | 2.095 | 150.93 | 2.172 | 139.865 | 2.333 | 147.61 | 2.413 | 140.577 | 27.21 | 880 | 70.421 | 0.717
2020-08-27 22:00:00 | 2.101 | 140.75 | 2.199 | 144.392 | 2.31 | 137.653 | 2.44 | 145.128 | 27.08 | 880 | 71.142 | 0.616
2020-08-27 22:15:00 | 2.0293 | 141.8467 | 2.1273 | 140.3553 | 2.294 | 138.726 | 2.4027 | 141.0733 | 27 | 879 | 71.102 | 0.16333
2020-08-27 22:30:00 | 1.463 | 152.08 | 1.524 | 135.952 | 1.666 | 148.733 | 1.725 | 136.647 | 26.87 | 879 | 70.496 | 0
2020-08-27 22:45:00 | 0.969 | 143.22 | 1.018 | 136.833 | 1.163 | 140.069 | 1.198 | 137.532 | 26.98 | 880 | 76.282 | 0
2020-08-27 23:00:00 | 0.93667 | 149.8133 | 1.0167 | 147.9193 | 1.1127 | 146.518 | 1.21 | 148.674 | 27 | 879.3333 | 77.3633 | 0
2020-08-27 23:15:00 | 1.067 | 136.53 | 1.17 | 166.856 | 1.154 | 133.525 | 1.321 | 167.71 | 26.97 | 879.9 | 76.589 | 0
2020-08-27 23:30:00 | 0.396 | 162.68 | 0.457 | 131.873 | 0.647 | 159.101 | 0.689 | 132.549 | 26.92 | 879.6 | 76.185 | 0
2020-08-27 23:45:00 | 0.53333 | 170.7067 | 0.566 | 163.7633 | 0.762 | 166.9507 | 0.76133 | 164.6 | 26.68 | 880 | 78.15 | 0