## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-28 00:00:00 | 0.533 | 201.45 | 0.585 | 284.158 | 0.777 | 197.018 | 0.804 | 285.61 | 26.71 | 880 | 78.648 | 0
2020-08-28 00:15:00 | 0.439 | 88.98 | 0.441 | 105.35 | 0.644 | 87.021 | 0.583 | 105.889 | 26.61 | 880 | 79.26 | 0
2020-08-28 00:30:00 | 0.31667 | 98.36 | 0.32733 | 57.766 | 0.44533 | 96.1967 | 0.43267 | 58.0633 | 26.7 | 879.2667 | 81.7733 | 0
2020-08-28 00:45:00 | 0.31933 | 168.86 | 0.32933 | 140.1927 | 0.402 | 165.1453 | 0.39733 | 140.912 | 26.66 | 879 | 83.1333 | 0
2020-08-28 01:00:00 | 0.204 | 192.52 | 0.203 | 151.688 | 0.248 | 188.286 | 0.235 | 152.464 | 26.66 | 879 | 83.13 | 0
2020-08-28 01:15:00 | 0.262 | 121.2667 | 0.26467 | 157.4247 | 0.252 | 118.5987 | 0.25733 | 158.23 | 26.6267 | 879 | 82.5067 | 0
2020-08-28 01:30:00 | 1.2387 | 310.2867 | 1.2827 | 326.4373 | 1.6333 | 303.4613 | 1.6013 | 328.1067 | 26.0933 | 879 | 88.3 | 0
2020-08-28 01:45:00 | 1.439 | 327.45 | 1.466 | 326.193 | 2.026 | 320.245 | 1.904 | 327.861 | 26.06 | 879 | 92.09 | 0
2020-08-28 02:00:00 | 1.81 | 331.33 | 1.874 | 325.86 | 2.242 | 324.04 | 2.241 | 327.526 | 25.69 | 879 | 93.38 | 0
2020-08-28 02:15:00 | 1.9913 | 104.7733 | 1.9493 | 329.9253 | 2.2233 | 102.468 | 2.0773 | 331.6113 | 24.9667 | 878.6 | 94.54 | 0
2020-08-28 02:30:00 | 1.514 | 53.74 | 1.481 | 328.442 | 1.721 | 52.556 | 1.601 | 330.12 | 24.73 | 878 | 94.76 | 0
2020-08-28 02:45:00 | 1.709 | 34.36 | 1.725 | 300.334 | 2.179 | 33.605 | 2.074 | 301.87 | 24.49 | 878 | 94.74 | 0
2020-08-28 03:00:00 | 2.246 | 177.85 | 2.183 | 326.26 | 2.745 | 173.939 | 2.482 | 327.93 | 24.43 | 878 | 93.86 | 0.656
2020-08-28 03:15:00 | 1.7393 | 213.0867 | 1.7347 | 313.9127 | 2.142 | 208.3993 | 2.0173 | 315.5173 | 24.8 | 878 | 93.7867 | 0
2020-08-28 03:30:00 | 1.614 | 275.51 | 1.636 | 274.553 | 1.963 | 269.45 | 1.906 | 275.957 | 24.87 | 878 | 93.8 | 0
2020-08-28 03:45:00 | 1.779 | 43.07 | 1.856 | 335.395 | 2.011 | 42.123 | 2.089 | 337.112 | 24.8 | 878 | 94.19 | 0
2020-08-28 04:00:00 | 2.269 | 77.19 | 2.333 | 324.353 | 2.827 | 75.49 | 2.795 | 326.012 | 24.6 | 878 | 95.08 | 0.194
2020-08-28 04:15:00 | 2.575 | 188.17 | 2.709 | 320.745 | 3.075 | 184.03 | 3.189 | 322.384 | 23.86 | 878 | 94.69 | 1.29
2020-08-28 04:30:00 | 2.189 | 90.45 | 2.182 | 317.117 | 2.79 | 88.46 | 2.603 | 318.738 | 23.37 | 878 | 94.6 | 1.108
2020-08-28 04:45:00 | 1.8493 | 86.96 | 1.8393 | 322.622 | 2.3687 | 85.0473 | 2.2007 | 324.2707 | 23.5267 | 878 | 94.3533 | 0.368
2020-08-28 05:00:00 | 1.553 | 146.18 | 1.538 | 334.507 | 2.022 | 142.963 | 1.859 | 336.215 | 23.67 | 878 | 94.44 | 0
2020-08-28 05:15:00 | 2.028 | 82.2867 | 2.0367 | 288.0487 | 2.472 | 80.476 | 2.362 | 289.5207 | 23.64 | 878 | 95.04 | 0.34133
2020-08-28 05:30:00 | 2.547 | 181.37 | 2.47 | 325.115 | 3.021 | 177.378 | 2.744 | 326.778 | 23.21 | 878 | 95.14 | 1.133
2020-08-28 05:45:00 | 2.339 | 207.06 | 2.37 | 325.458 | 3.032 | 202.505 | 2.892 | 327.121 | 23.57 | 878 | 95.88 | 1.73
2020-08-28 06:00:00 | 2.124 | 82.9533 | 2.0647 | 318.73 | 2.8973 | 81.1273 | 2.562 | 320.3593 | 23.5933 | 878.0667 | 95.6 | 1.5713
2020-08-28 06:15:00 | 2.649 | 149.45 | 2.585 | 325.567 | 3.421 | 146.162 | 3.084 | 327.231 | 23.11 | 879 | 95.83 | 3.267
2020-08-28 06:30:00 | 3.002 | 300.51 | 2.958 | 325.195 | 3.757 | 293.899 | 3.452 | 326.858 | 22.8 | 879 | 96.44 | 4.664
2020-08-28 06:45:00 | 3.3207 | 293.6867 | 3.4633 | 328.556 | 4.0693 | 287.2253 | 4.122 | 330.2353 | 22.6 | 879 | 96.3933 | 4.9507
2020-08-28 07:00:00 | 3.074 | 305.12 | 3.109 | 324.176 | 3.819 | 298.407 | 3.669 | 325.835 | 22.73 | 879 | 96.26 | 5.328
2020-08-28 07:15:00 | 3.2533 | 269.2467 | 3.2627 | 325.2247 | 4.0173 | 263.3227 | 3.8207 | 326.8867 | 22.6933 | 879 | 96.1 | 5.878
2020-08-28 07:30:00 | 3.3021 | 177.0429 | 3.2786 | 323.0686 | 4.1693 | 173.1479 | 3.8779 | 324.7179 | 22.8071 | 879 | 96.0286 | 6.166
2020-08-28 07:45:00 | 3.663 | 292.54 | 3.628 | 325.117 | 4.616 | 286.102 | 4.28 | 326.778 | 22.69 | 880 | 95.99 | 8.962
2020-08-28 08:00:00 | 3.3647 | 318 | 3.288 | 320.6273 | 4.348 | 311.004 | 3.9233 | 322.2673 | 23.0467 | 880 | 95.4733 | 7.386
2020-08-28 08:15:00 | 3.294 | 327.25 | 3.264 | 312.481 | 4.142 | 320.049 | 3.844 | 314.079 | 23.44 | 880 | 93.91 | 6.245
2020-08-28 08:30:00 | 3.242 | 319.59 | 3.255 | 311.972 | 4.137 | 312.559 | 3.904 | 313.565 | 23.61 | 880 | 90.88 | 5.877
2020-08-28 08:45:00 | 3.3307 | 310.14 | 3.312 | 319.4067 | 4.1873 | 303.3167 | 3.904 | 321.0413 | 23.3733 | 881 | 89.1333 | 8.126
2020-08-28 09:00:00 | 3.603 | 291.51 | 3.624 | 321.439 | 4.526 | 285.096 | 4.297 | 323.083 | 23.32 | 881 | 89.36 | 10.617
2020-08-28 09:15:00 | 4.043 | 323.16 | 4.149 | 325.303 | 5.052 | 316.051 | 4.964 | 326.966 | 23.52 | 881.1 | 87.03 | 12.312
2020-08-28 09:30:00 | 3.9593 | 339.1667 | 4.1253 | 327.604 | 4.7813 | 331.7047 | 4.858 | 329.278 | 23.6667 | 882 | 84.16 | 11.8593
2020-08-28 09:45:00 | 3.762 | 337.31 | 3.944 | 322.673 | 4.454 | 329.889 | 4.602 | 324.322 | 23.76 | 882 | 83.2 | 9.423
2020-08-28 10:00:00 | 3.393 | 332.19 | 3.559 | 318.045 | 4.099 | 324.882 | 4.212 | 319.673 | 24.1 | 882 | 84.71 | 7.246
2020-08-28 10:15:00 | 3.224 | 328.9867 | 3.3347 | 322.434 | 3.9353 | 321.7493 | 3.9447 | 324.0827 | 24.2133 | 882 | 84.3467 | 5.7893
2020-08-28 10:30:00 | 3.48 | 340.68 | 3.643 | 321.166 | 4.13 | 333.186 | 4.253 | 322.805 | 24.35 | 882 | 84.79 | 6.204
2020-08-28 10:45:00 | 3.233 | 337.7 | 3.433 | 323.12 | 3.899 | 330.269 | 4.091 | 324.775 | 25 | 882 | 84.46 | 4.138
2020-08-28 11:00:00 | 2.574 | 335.3933 | 2.7013 | 319.858 | 3.0433 | 328.0153 | 3.1513 | 321.4933 | 25.88 | 882 | 80.396 | 1.8427
2020-08-28 11:15:00 | 1.711 | 276.56 | 1.676 | 317.391 | 1.995 | 270.476 | 1.853 | 319.013 | 26.32 | 882 | 77.149 | 0
2020-08-28 11:30:00 | 1.051 | 242.04 | 1.084 | 254.721 | 1.46 | 236.716 | 1.403 | 256.022 | 27.64 | 882 | 76.002 | 0
2020-08-28 11:45:00 | 1.139 | 173.32 | 1.116 | 115.032 | 1.216 | 169.506 | 1.149 | 115.621 | 28.25 | 882 | 75.488 | 0
2020-08-28 12:00:00 | 1.216 | 98.97 | 1.235 | 120.998 | 1.47 | 96.792 | 1.43 | 121.616 | 28.58 | 882 | 73.73 | 0
2020-08-28 12:15:00 | 1.3427 | 153.86 | 1.3513 | 128.2947 | 1.4893 | 150.4753 | 1.4653 | 128.95 | 29 | 882 | 72.02 | 0
2020-08-28 12:30:00 | 1.697 | 180.96 | 1.778 | 132.01 | 1.846 | 176.978 | 1.96 | 132.685 | 28.78 | 882 | 70.903 | 0
2020-08-28 12:45:00 | 1.945 | 208.3 | 2.001 | 153.37 | 2.216 | 203.717 | 2.246 | 154.155 | 28.81 | 882 | 72.237 | 0
2020-08-28 13:00:00 | 2.0007 | 188.7467 | 2.0187 | 146.0413 | 2.1113 | 184.5933 | 2.1153 | 146.7873 | 28.5467 | 882 | 68.8107 | 0.334
2020-08-28 13:15:00 | 1.885 | 162.25 | 1.942 | 136.578 | 1.819 | 158.68 | 1.947 | 137.275 | 28.34 | 882 | 67.851 | 0.038
2020-08-28 13:30:00 | 1.7893 | 171.3133 | 1.8707 | 162.368 | 1.966 | 167.544 | 2.074 | 163.1967 | 29.0733 | 882 | 66.2707 | 0
2020-08-28 13:45:00 | 2 | 181.01 | 2.062 | 129.115 | 2.208 | 177.027 | 2.265 | 129.776 | 29.44 | 882 | 65.005 | 0
2020-08-28 14:00:00 | 1.94 | 188.87 | 1.973 | 149.087 | 2.189 | 184.715 | 2.185 | 149.848 | 29.34 | 882 | 65.391 | 0.024
2020-08-28 14:15:00 | 2.3707 | 162.3067 | 2.4573 | 153.5467 | 2.5867 | 158.7373 | 2.6913 | 154.3307 | 29.6333 | 882 | 63.386 | 0.29467
2020-08-28 14:30:00 | 2.509 | 151.6 | 2.629 | 142.063 | 2.664 | 148.264 | 2.847 | 142.79 | 29.45 | 882 | 64.433 | 1.058
2020-08-28 14:45:00 | 2.439 | 140.26 | 2.605 | 146.338 | 3.062 | 137.174 | 3.198 | 147.085 | 29.79 | 882 | 64.052 | 1.397
2020-08-28 15:00:00 | 2.6253 | 148.26 | 2.7813 | 162.5693 | 3.0713 | 144.998 | 3.238 | 163.4013 | 29.8933 | 882 | 61.4773 | 2.4593
2020-08-28 15:15:00 | 3.27 | 147.74 | 3.407 | 134.416 | 3.697 | 144.49 | 3.836 | 135.103 | 29.78 | 882 | 60.954 | 4.613
2020-08-28 15:30:00 | 2.987 | 143.48 | 3.13 | 129.878 | 3.457 | 140.324 | 3.591 | 130.542 | 30.1 | 882 | 59.196 | 5.399
2020-08-28 15:45:00 | 3.474 | 136.76 | 3.621 | 127.053 | 3.994 | 133.75 | 4.121 | 127.701 | 29.55 | 882 | 58.18 | 5.619
2020-08-28 16:00:00 | 2.938 | 161.72 | 3.019 | 136.529 | 3.041 | 158.161 | 3.171 | 137.227 | 29.37 | 882 | 60.89 | 3.186
2020-08-28 16:15:00 | 2.5493 | 147.02 | 2.6773 | 151.1393 | 3.0613 | 143.7847 | 3.1533 | 151.9127 | 29.64 | 882 | 63.9093 | 2.5013
2020-08-28 16:30:00 | 2.832 | 139.64 | 2.959 | 143.943 | 3.4 | 136.568 | 3.481 | 144.679 | 29.78 | 882 | 63.477 | 3.021
2020-08-28 16:45:00 | 2.931 | 140.34 | 2.97 | 135.639 | 3.362 | 137.252 | 3.315 | 136.332 | 29.62 | 882 | 64.117 | 3.456
2020-08-28 17:00:00 | 2.8533 | 133.1667 | 2.8613 | 122.0607 | 3.134 | 130.2367 | 3.07 | 122.6847 | 29.6733 | 882 | 64.4113 | 3.0787
2020-08-28 17:15:00 | 2.776 | 138.7 | 2.768 | 129.88 | 3.071 | 135.648 | 2.98 | 130.542 | 29.73 | 882 | 65.34 | 2.899
2020-08-28 17:30:00 | 2.9533 | 131.5733 | 2.9473 | 128.6073 | 3.36 | 128.6793 | 3.2353 | 129.2647 | 29.5067 | 882 | 65.17 | 3.694
2020-08-28 17:45:00 | 3.2733 | 131.8667 | 3.43 | 131.5933 | 3.6773 | 128.966 | 3.858 | 132.266 | 29.4067 | 882 | 65.2473 | 4.6733
2020-08-28 18:00:00 | 3.253 | 143.32 | 3.334 | 127.825 | 3.534 | 140.167 | 3.609 | 128.479 | 29.29 | 882 | 64.848 | 3.613
2020-08-28 18:15:00 | 3.4593 | 140.8067 | 3.644 | 130.674 | 3.9647 | 137.7087 | 4.1667 | 131.3413 | 29.0933 | 882 | 66.3573 | 4.92
2020-08-28 18:30:00 | 3.245 | 141.23 | 3.428 | 132.9 | 3.778 | 138.123 | 3.975 | 133.579 | 29.01 | 881.4 | 68.108 | 4.985
2020-08-28 18:45:00 | 3.317 | 141.69 | 3.478 | 131.717 | 3.762 | 138.572 | 3.945 | 132.39 | 28.93 | 881 | 68.749 | 4.538
2020-08-28 19:00:00 | 2.886 | 149.91 | 3.038 | 132.518 | 3.252 | 146.613 | 3.439 | 133.197 | 28.7 | 881 | 69.732 | 2.838
2020-08-28 19:15:00 | 2.442 | 145.17 | 2.568 | 149.761 | 2.775 | 141.978 | 2.921 | 150.528 | 28.53 | 881 | 70.83 | 1.213
2020-08-28 19:30:00 | 1.8447 | 155.28 | 1.9473 | 169.6307 | 2.134 | 151.8633 | 2.2447 | 170.4973 | 28.3267 | 881 | 71.084 | 1.0093
2020-08-28 19:45:00 | 1.898 | 179.07 | 1.919 | 172.833 | 2.094 | 175.129 | 2.08 | 173.716 | 28.29 | 881 | 72.332 | 1.217
2020-08-28 20:00:00 | 1.5753 | 183.1 | 1.5587 | 171.8147 | 1.5647 | 179.0713 | 1.5367 | 172.692 | 28.2133 | 881 | 72.9447 | 1.2353
2020-08-28 20:15:00 | 1.606 | 177.5267 | 1.5967 | 167.278 | 1.5233 | 173.6213 | 1.5293 | 168.1333 | 27.98 | 881 | 74.4413 | 1.0533
2020-08-28 20:30:00 | 1.399 | 149.43 | 1.389 | 151.678 | 1.303 | 146.142 | 1.312 | 152.453 | 28.02 | 881 | 75.762 | 0.541
2020-08-28 20:45:00 | 1.732 | 129.0333 | 1.7693 | 136.1827 | 1.8707 | 126.1953 | 1.9087 | 136.88 | 27.9667 | 881 | 75.596 | 0.56133
2020-08-28 21:00:00 | 1.574 | 121.08 | 1.706 | 117.506 | 1.842 | 118.417 | 2.013 | 118.106 | 27.81 | 881 | 74.951 | 0.243
2020-08-28 21:15:00 | 1.379 | 123.01 | 1.493 | 134.66 | 1.466 | 120.302 | 1.659 | 135.348 | 27.74 | 881 | 76.112 | 0.122
2020-08-28 21:30:00 | 1.614 | 150.09 | 1.694 | 142.564 | 1.798 | 146.788 | 1.9 | 143.292 | 27.79 | 881 | 75.97 | 0.036
2020-08-28 21:45:00 | 1.412 | 148.89 | 1.501 | 139.432 | 1.648 | 145.615 | 1.748 | 140.147 | 27.69 | 881 | 75.092 | 0
2020-08-28 22:00:00 | 1.6647 | 122.5267 | 1.7847 | 118.8467 | 1.926 | 119.8313 | 2.08 | 119.454 | 27.7533 | 881 | 74.6207 | 0
2020-08-28 22:15:00 | 1.734 | 139.82 | 1.867 | 134.153 | 1.881 | 136.742 | 2.089 | 134.837 | 27.7 | 881 | 73.434 | 0
2020-08-28 22:30:00 | 1.407 | 151.64 | 1.526 | 139.729 | 1.675 | 148.303 | 1.823 | 140.442 | 27.65 | 881.6 | 74.766 | 0
2020-08-28 22:45:00 | 0.845 | 151.65 | 0.916 | 133.567 | 1.04 | 148.312 | 1.117 | 134.248 | 27.73 | 882 | 74.682 | 0
2020-08-28 23:00:00 | 0.893 | 143.05 | 0.953 | 120.95 | 1.055 | 139.904 | 1.126 | 121.568 | 27.8 | 882 | 74.354 | 0
2020-08-28 23:15:00 | 1.017 | 146.07 | 1.068 | 147.834 | 1.17 | 142.855 | 1.225 | 148.59 | 27.61 | 882 | 75.715 | 0
2020-08-28 23:30:00 | 0.889 | 128.32 | 0.955 | 147.423 | 1.047 | 125.496 | 1.125 | 148.179 | 27.6 | 882 | 76.414 | 0
2020-08-28 23:45:00 | 0.98571 | 140.0571 | 1.0379 | 140.385 | 1.0821 | 136.9757 | 1.1514 | 141.1021 | 27.5143 | 882 | 78.1264 | 0