## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-29 00:00:00 | 1.014 | 149.09 | 1.031 | 154.309 | 1.082 | 145.808 | 1.098 | 155.098 | 27.36 | 881.4 | 79.78 | 0
2020-08-29 00:15:00 | 0.806 | 159.46 | 0.818 | 161.126 | 0.823 | 155.952 | 0.843 | 161.949 | 27.29 | 881 | 79.888 | 0
2020-08-29 00:30:00 | 0.379 | 120.65 | 0.366 | 136.764 | 0.332 | 117.996 | 0.318 | 137.462 | 27.3 | 881.6 | 81.96 | 0
2020-08-29 00:45:00 | 0.30333 | 102.02 | 0.33533 | 106.688 | 0.242 | 99.7753 | 0.32133 | 107.2313 | 27.16 | 881.6 | 85.1133 | 0.17267
2020-08-29 01:00:00 | 0.406 | 99.87 | 0.457 | 59.227 | 0.344 | 97.673 | 0.458 | 59.532 | 27.14 | 881 | 86.05 | 0.067
2020-08-29 01:15:00 | 0.679 | 88.37 | 0.692 | 90.278 | 0.611 | 86.425 | 0.656 | 90.741 | 27.1 | 881 | 88.05 | 0
2020-08-29 01:30:00 | 0.45 | 85.6333 | 0.48867 | 84.838 | 0.45 | 83.75 | 0.522 | 85.272 | 26.96 | 881 | 88.4 | 0
2020-08-29 01:45:00 | 0.345 | 98.34 | 0.352 | 98.024 | 0.341 | 96.175 | 0.355 | 98.527 | 26.87 | 881 | 85.48 | 0.08
2020-08-29 02:00:00 | 0.645 | 44.55 | 0.657 | 207.736 | 0.764 | 43.569 | 0.756 | 208.798 | 26.72 | 881 | 85.65 | 0.039
2020-08-29 02:15:00 | 0.814 | 47.04 | 0.851 | 83.432 | 0.921 | 46.005 | 0.957 | 83.859 | 26.66 | 881 | 87.67 | 0.109
2020-08-29 02:30:00 | 1.127 | 26.68 | 1.145 | 77.682 | 1.349 | 26.094 | 1.318 | 78.079 | 26.62 | 881 | 85.58 | 0
2020-08-29 02:45:00 | 1.336 | 87.9867 | 1.3393 | 274.0033 | 1.8013 | 86.0507 | 1.674 | 275.404 | 26.2867 | 881 | 87.3 | 0
2020-08-29 03:00:00 | 1.264 | 113.27 | 1.27 | 116.578 | 1.703 | 110.778 | 1.584 | 117.174 | 26.68 | 881 | 88.16 | 0.099
2020-08-29 03:15:00 | 1.303 | 181.47 | 1.272 | 109.3 | 1.577 | 177.479 | 1.439 | 109.86 | 26.44 | 880 | 89.2 | 0.375
2020-08-29 03:30:00 | 1.354 | 241.85 | 1.334 | 339.004 | 1.769 | 236.529 | 1.611 | 340.737 | 26.2 | 880 | 88.24 | 0.324
2020-08-29 03:45:00 | 1.596 | 144.28 | 1.574 | 341.38 | 1.883 | 141.108 | 1.758 | 343.124 | 25.9 | 880 | 89.56 | 0.444
2020-08-29 04:00:00 | 1.4607 | 37.98 | 1.4527 | 209.168 | 1.8027 | 37.1447 | 1.6887 | 210.2373 | 25.9133 | 880 | 91.4933 | 0.24067
2020-08-29 04:15:00 | 1.502 | 21.9 | 1.495 | 293.908 | 1.929 | 21.418 | 1.79 | 295.412 | 25.88 | 880 | 91.95 | 0.403
2020-08-29 04:30:00 | 1.7473 | 226.8267 | 1.7413 | 316.702 | 2.2753 | 221.836 | 2.1147 | 318.3213 | 25.76 | 880 | 92.6667 | 0.33867
2020-08-29 04:45:00 | 1.6693 | 297.58 | 1.7653 | 311.8193 | 2.2487 | 291.0333 | 2.2607 | 313.4133 | 26.0133 | 880 | 92.9333 | 0.78867
2020-08-29 05:00:00 | 1.274 | 274.91 | 1.342 | 268.382 | 1.81 | 268.862 | 1.783 | 269.756 | 26.25 | 880 | 92.66 | 0.658
2020-08-29 05:15:00 | 0.946 | 189.12 | 0.936 | 157.624 | 1.471 | 184.959 | 1.301 | 158.43 | 26.21 | 880 | 93.26 | 0.929
2020-08-29 05:30:00 | 0.52133 | 204.2867 | 0.62733 | 230.7887 | 0.74933 | 199.7913 | 0.88333 | 231.9687 | 25.08 | 880 | 93.2467 | 1.6693
2020-08-29 05:45:00 | 0.836 | 197.49 | 0.863 | 178.377 | 0.807 | 193.145 | 0.865 | 179.289 | 25.03 | 880 | 93.66 | 3.461
2020-08-29 06:00:00 | 2.3867 | 190.12 | 2.5433 | 173.844 | 2.4213 | 185.9387 | 2.708 | 174.7307 | 24.3333 | 880.0667 | 94.0533 | 6.3293
2020-08-29 06:15:00 | 3.398 | 181.44 | 3.546 | 166.0773 | 3.8373 | 177.4487 | 3.9927 | 166.928 | 24.2267 | 881 | 93.0467 | 10.2213
2020-08-29 06:30:00 | 2.954 | 188.78 | 3.129 | 164.5 | 3.346 | 184.627 | 3.568 | 165.34 | 23.41 | 881 | 92 | 9.164
2020-08-29 06:45:00 | 2.4347 | 175.3067 | 2.4533 | 154.9227 | 2.5767 | 171.4513 | 2.574 | 155.714 | 23.5667 | 881 | 95.7267 | 6.6627
2020-08-29 07:00:00 | 2.529 | 175.5 | 2.57 | 155.745 | 2.531 | 171.64 | 2.607 | 156.542 | 23.58 | 881.6 | 95.88 | 8.04
2020-08-29 07:15:00 | 2.443 | 171.04 | 2.501 | 163.18 | 2.387 | 167.278 | 2.513 | 164.013 | 24.44 | 882 | 93.76 | 5.496
2020-08-29 07:30:00 | 2.518 | 163.6667 | 2.52 | 182.188 | 2.5187 | 160.0653 | 2.5273 | 183.1193 | 24.16 | 882 | 91.06 | 5.7173
2020-08-29 07:45:00 | 1.5329 | 135.8214 | 1.5521 | 149.7179 | 1.8086 | 132.8336 | 1.765 | 150.4829 | 23.7429 | 882 | 89.1571 | 2.8233
2020-08-29 08:00:00 | 1.071 | 151.16 | 1.057 | 155.061 | 1.228 | 147.833 | 1.156 | 155.854 | 23.9 | 882.6 | 88.65 | 1.582
2020-08-29 08:15:00 | 0.98667 | 97.04 | 0.98733 | 147.2993 | 1.2867 | 94.9053 | 1.1993 | 148.0533 | 24.72 | 883 | 87.6333 | 1.7887
2020-08-29 08:30:00 | 0.82786 | 86.5143 | 0.85286 | 179.1629 | 1.0157 | 84.6114 | 1.0079 | 180.0771 | 25.1 | 883 | 83.1071 | 1.3233
2020-08-29 08:45:00 | 0.873 | 110.41 | 0.884 | 157.009 | 0.866 | 107.981 | 0.897 | 157.81 | 25.57 | 883 | 80.528 | 0.946
2020-08-29 09:00:00 | 1.1807 | 161.22 | 1.2087 | 161.2727 | 1.1913 | 157.6727 | 1.2247 | 162.0967 | 25.9933 | 883.7333 | 77.118 | 0.28733
2020-08-29 09:15:00 | 2.037 | 181.73 | 2.071 | 176.001 | 2.135 | 177.732 | 2.175 | 176.9 | 25.81 | 884 | 75.375 | 0.077
2020-08-29 09:30:00 | 1.739 | 217.54 | 1.802 | 165.928 | 2 | 212.754 | 2.049 | 166.775 | 25.93 | 884 | 74.604 | 0
2020-08-29 09:45:00 | 1.47 | 198.12 | 1.5667 | 173.79 | 1.8473 | 193.7607 | 1.9227 | 174.6793 | 25.86 | 884.4 | 74.03 | 0
2020-08-29 10:00:00 | 1.186 | 207.8733 | 1.26 | 163.8233 | 1.562 | 203.2993 | 1.5933 | 164.6593 | 25.8333 | 885 | 76.4147 | 0
2020-08-29 10:15:00 | 1.292 | 206.11 | 1.358 | 178.953 | 1.512 | 201.577 | 1.574 | 179.869 | 25.82 | 885 | 78.18 | 0
2020-08-29 10:30:00 | 1.1113 | 198.1467 | 1.182 | 192.1633 | 1.372 | 193.7873 | 1.4327 | 193.1447 | 25.8933 | 885 | 81.2533 | 0
2020-08-29 10:45:00 | 1.21 | 182.28 | 1.278 | 164.626 | 1.289 | 178.27 | 1.393 | 165.468 | 26.16 | 884.9 | 79.68 | 0.329
2020-08-29 11:00:00 | 1.203 | 178.6 | 1.221 | 176.902 | 1.373 | 174.67 | 1.354 | 177.804 | 26.13 | 884 | 80.255 | 0.537
2020-08-29 11:15:00 | 1.563 | 165.68 | 1.537 | 187.386 | 1.621 | 162.035 | 1.563 | 188.343 | 26.04 | 884 | 81.45 | 0.642
2020-08-29 11:30:00 | 2.141 | 183.84 | 2.228 | 188.315 | 2.359 | 179.796 | 2.46 | 189.277 | 25.55 | 884 | 82.69 | 1.228
2020-08-29 11:45:00 | 2.216 | 171.72 | 2.348 | 170.113 | 2.542 | 167.942 | 2.698 | 170.985 | 25.7 | 884 | 83.88 | 2.449
2020-08-29 12:00:00 | 1.837 | 177.67 | 1.882 | 170.729 | 1.956 | 173.763 | 2.005 | 171.602 | 25.77 | 884 | 83.03 | 1.809
2020-08-29 12:15:00 | 1.543 | 185.06 | 1.59 | 170.376 | 1.613 | 180.99 | 1.684 | 171.247 | 26.17 | 884 | 81.8 | 1.3
2020-08-29 12:30:00 | 1.304 | 180.1 | 1.32 | 187.775 | 1.425 | 176.138 | 1.422 | 188.736 | 26.66 | 884 | 81.62 | 0.49
2020-08-29 12:45:00 | 1.666 | 210.52 | 1.75 | 191.591 | 1.846 | 205.888 | 1.947 | 192.57 | 26.91 | 884 | 80.325 | 0.332
2020-08-29 13:00:00 | 1.194 | 193.93 | 1.263 | 170.778 | 1.447 | 189.664 | 1.51 | 171.65 | 26.84 | 884 | 79.7 | 0
2020-08-29 13:15:00 | 1.614 | 193.22 | 1.734 | 156.861 | 1.873 | 188.969 | 2.029 | 157.663 | 26.4 | 883.9 | 83.21 | 0
2020-08-29 13:30:00 | 1.919 | 191.76 | 2.064 | 190.827 | 2.376 | 187.541 | 2.517 | 191.805 | 26.53 | 883 | 89.33 | 0.367
2020-08-29 13:45:00 | 1.6087 | 198.6867 | 1.746 | 189.126 | 1.9513 | 194.316 | 2.1133 | 190.0927 | 27.8533 | 883 | 87.44 | 0.28267
2020-08-29 14:00:00 | 2.394 | 174.34 | 2.464 | 149.152 | 2.5667 | 170.5047 | 2.6547 | 149.914 | 27.58 | 883 | 81.07 | 0.73667
2020-08-29 14:15:00 | 2.368 | 187.93 | 2.436 | 154.505 | 2.541 | 183.795 | 2.624 | 155.295 | 26.84 | 883 | 81.4 | 2.214
2020-08-29 14:30:00 | 3.5447 | 187.02 | 3.744 | 169.2987 | 3.9167 | 182.5333 | 4.1887 | 170.1633 | 25.8333 | 883 | 87.56 | 8.4227
2020-08-29 14:45:00 | 3.384 | 178.12 | 3.555 | 157.331 | 3.83 | 174.2 | 4.023 | 158.136 | 26.01 | 882.9 | 91.87 | 10.048
2020-08-29 15:00:00 | 2.949 | 159.45 | 3.089 | 152.452 | 2.977 | 155.941 | 3.238 | 153.228 | 26.82 | 882 | 83.3 | 6.713
2020-08-29 15:15:00 | 2.826 | 165.99 | 2.94 | 152.177 | 2.942 | 162.339 | 3.127 | 152.954 | 26.99 | 882 | 80.304 | 3.802
2020-08-29 15:30:00 | 2.44 | 172.47 | 2.589 | 165.985 | 2.713 | 168.676 | 2.921 | 166.833 | 27.56 | 882 | 78.966 | 2.093
2020-08-29 15:45:00 | 1.951 | 177.91 | 2.039 | 177.782 | 2.074 | 173.994 | 2.207 | 178.69 | 27.73 | 882.1 | 75.576 | 1
2020-08-29 16:00:00 | 1.728 | 188.1 | 1.818 | 156.078 | 1.899 | 183.961 | 2.023 | 156.878 | 28.5 | 883 | 71.893 | 0.578
2020-08-29 16:15:00 | 2.182 | 196.54 | 2.258 | 174.778 | 2.443 | 192.218 | 2.512 | 175.673 | 28.37 | 883 | 72.13 | 0.751
2020-08-29 16:30:00 | 1.94 | 198.1 | 2.0293 | 166.8336 | 2.3014 | 193.7414 | 2.3693 | 167.6857 | 28.2714 | 883 | 72.444 | 0
2020-08-29 16:45:00 | 1.237 | 162.55 | 1.262 | 143.102 | 1.417 | 158.7 | 1.428 | 143.833 | 27.9 | 883 | 71.89 | 0
2020-08-29 17:00:00 | 1.622 | 187.98 | 1.671 | 170.025 | 1.809 | 183.845 | 1.845 | 170.893 | 28.03 | 883 | 76.476 | 0
2020-08-29 17:15:00 | 1.5213 | 192.7333 | 1.604 | 184.622 | 1.7993 | 188.4927 | 1.8787 | 185.5627 | 27.8333 | 882 | 78.1533 | 0
2020-08-29 17:30:00 | 1.941 | 189.55 | 2.038 | 185.115 | 2.375 | 185.381 | 2.435 | 186.063 | 27.84 | 882 | 78.861 | 0
2020-08-29 17:45:00 | 2.281 | 193.67 | 2.433 | 177.595 | 2.632 | 189.41 | 2.816 | 178.503 | 27.84 | 882 | 79.276 | 0.625
2020-08-29 18:00:00 | 2.1 | 200.38 | 2.161 | 176.559 | 2.389 | 195.971 | 2.421 | 177.461 | 27.75 | 882 | 78.243 | 0.225
2020-08-29 18:15:00 | 1.795 | 201.85 | 1.894 | 190.565 | 2.002 | 197.41 | 2.132 | 191.537 | 27.8 | 882 | 76.868 | 0
2020-08-29 18:30:00 | 1.715 | 176.81 | 1.773 | 154.19 | 1.539 | 172.92 | 1.74 | 154.979 | 27.8 | 882 | 74.436 | 0.835
2020-08-29 18:45:00 | 1.975 | 161.6571 | 2.0536 | 138.0857 | 1.9821 | 158.1 | 2.1293 | 138.7929 | 27.6214 | 882 | 76.4629 | 1.0587
2020-08-29 19:00:00 | 2.29 | 179.44 | 2.403 | 176.256 | 2.607 | 175.492 | 2.732 | 177.158 | 27.34 | 882 | 78.978 | 2.411
2020-08-29 19:15:00 | 2.2393 | 186.4 | 2.3813 | 199.628 | 2.5953 | 182.2993 | 2.76 | 200.6493 | 26.6933 | 882 | 77.5553 | 3.9287
2020-08-29 19:30:00 | 2.385 | 180.53 | 2.448 | 167.081 | 2.459 | 176.557 | 2.563 | 167.937 | 26.99 | 882 | 77.923 | 3.947
2020-08-29 19:45:00 | 2.141 | 170.86 | 2.279 | 170.416 | 2.157 | 167.101 | 2.417 | 171.288 | 27.17 | 882 | 78.217 | 3.232
2020-08-29 20:00:00 | 1.4047 | 198.78 | 1.4353 | 185.026 | 1.218 | 194.406 | 1.33 | 185.9693 | 27.1067 | 882 | 80.146 | 2.1207
2020-08-29 20:15:00 | 1.033 | 185.46 | 1.019 | 168.12 | 0.815 | 181.379 | 0.852 | 168.979 | 27.12 | 882 | 81.43 | 1.205
2020-08-29 20:30:00 | 0.726 | 221.79 | 0.702 | 183.131 | 0.576 | 216.911 | 0.576 | 184.067 | 27.01 | 882 | 81.9 | 0.576
2020-08-29 20:45:00 | 0.91867 | 236.1 | 0.93067 | 215.1727 | 0.78933 | 230.906 | 0.85267 | 216.2713 | 27.18 | 882 | 80.52 | 0.12267
2020-08-29 21:00:00 | 0.701 | 230.56 | 0.755 | 222.436 | 0.626 | 225.488 | 0.752 | 223.574 | 27.15 | 882 | 81.13 | 0.088
2020-08-29 21:15:00 | 0.524 | 292.78 | 0.542 | 257.361 | 0.634 | 286.338 | 0.635 | 258.676 | 27.19 | 883 | 87.44 | 0
2020-08-29 21:30:00 | 0.548 | 298.99 | 0.565 | 252.656 | 0.68 | 292.412 | 0.671 | 253.948 | 27.13 | 883 | 87.76 | 0
2020-08-29 21:45:00 | 0.712 | 275.25 | 0.732 | 288.052 | 0.797 | 269.194 | 0.81 | 289.523 | 27.15 | 883 | 90.35 | 0
2020-08-29 22:00:00 | 1.193 | 266.27 | 1.215 | 312.226 | 1.498 | 260.411 | 1.451 | 313.824 | 26.6 | 883 | 89.85 | 0
2020-08-29 22:15:00 | 1.8053 | 300.9267 | 1.7967 | 330.734 | 2.432 | 294.3067 | 2.24 | 332.4233 | 26.3733 | 883 | 88.7533 | 0
2020-08-29 22:30:00 | 2.023 | 308.67 | 2.001 | 332.412 | 2.48 | 301.878 | 2.307 | 334.114 | 26.28 | 883 | 89.06 | 0.158
2020-08-29 22:45:00 | 2.3247 | 320.9867 | 2.3753 | 339.216 | 2.8393 | 313.9253 | 2.7873 | 340.9513 | 26.2067 | 883 | 88.7533 | 0.748
2020-08-29 23:00:00 | 2.7427 | 255.26 | 2.8447 | 332.762 | 3.2693 | 249.6447 | 3.3153 | 334.4633 | 26.0867 | 883 | 89.5133 | 1.6527
2020-08-29 23:15:00 | 2.598 | 278.88 | 2.668 | 333.675 | 3.15 | 272.746 | 3.124 | 335.381 | 26.09 | 883 | 90.44 | 1.83
2020-08-29 23:30:00 | 2.92 | 327.9733 | 3.0193 | 320.752 | 3.4487 | 320.7573 | 3.4847 | 322.3907 | 25.5 | 883 | 91.5133 | 3.0367
2020-08-29 23:45:00 | 3.0707 | 328.4667 | 3.1667 | 321.0313 | 3.6167 | 321.2407 | 3.6427 | 322.6727 | 25.2667 | 883 | 93.1533 | 3.756