## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-30 00:00:00 | 3.098 | 345.07 | 3.188 | 318.691 | 3.639 | 337.478 | 3.659 | 320.32 | 25.21 | 883 | 93.13 | 3.954
2020-08-30 00:15:00 | 2.9927 | 293.1467 | 3.0167 | 325.4127 | 3.6247 | 286.6967 | 3.488 | 327.0767 | 25.2 | 883 | 93.5 | 4.0253
2020-08-30 00:30:00 | 2.8513 | 294.8067 | 2.8513 | 321 | 3.424 | 288.3213 | 3.2633 | 322.64 | 25.0667 | 883 | 93.1267 | 3.316
2020-08-30 00:45:00 | 2.841 | 210.26 | 2.859 | 318.604 | 3.412 | 205.634 | 3.28 | 320.231 | 25.06 | 883 | 93.07 | 2.989
2020-08-30 01:00:00 | 3.1833 | 185.86 | 3.2493 | 321.6567 | 3.866 | 181.1967 | 3.7947 | 323.3013 | 24.9 | 883 | 93.2067 | 4.1967
2020-08-30 01:15:00 | 3.2153 | 297.1333 | 3.2553 | 322.72 | 3.942 | 290.5967 | 3.8073 | 324.37 | 24.8 | 883 | 94.1067 | 4.878
2020-08-30 01:30:00 | 3.36 | 177.07 | 3.467 | 331.924 | 3.986 | 173.173 | 4.006 | 333.62 | 24.77 | 883 | 94.45 | 5.374
2020-08-30 01:45:00 | 3.269 | 339.27 | 3.34 | 323.355 | 4.063 | 331.806 | 3.971 | 325.008 | 24.61 | 882.9 | 94.88 | 5.67
2020-08-30 02:00:00 | 3.576 | 334.96 | 3.628 | 318.623 | 4.476 | 327.591 | 4.318 | 320.252 | 24.43 | 882 | 95.73 | 7.925
2020-08-30 02:15:00 | 3.646 | 299.39 | 3.695 | 320.108 | 4.491 | 292.803 | 4.339 | 321.746 | 24.18 | 882 | 96.37 | 8.44
2020-08-30 02:30:00 | 3.874 | 335.26 | 3.956 | 320.775 | 4.85 | 327.884 | 4.731 | 322.415 | 24.04 | 882 | 96 | 11.05
2020-08-30 02:45:00 | 4.293 | 338.93 | 4.465 | 324.509 | 5.344 | 331.474 | 5.368 | 326.169 | 23.93 | 882 | 96.58 | 16.583
2020-08-30 03:00:00 | 4.529 | 337.06 | 4.736 | 329.038 | 5.421 | 329.644 | 5.557 | 330.72 | 23.89 | 882 | 96.55 | 19.397
2020-08-30 03:15:00 | 4.307 | 342.18 | 4.451 | 318.788 | 5.343 | 334.651 | 5.317 | 320.419 | 23.82 | 882 | 96.08 | 17.343
2020-08-30 03:30:00 | 4.159 | 326.54 | 4.281 | 323.639 | 5.233 | 319.356 | 5.154 | 325.294 | 23.72 | 882 | 95.36 | 16.239
2020-08-30 03:45:00 | 4.319 | 334.18 | 4.438 | 324.52 | 5.455 | 326.828 | 5.355 | 326.179 | 23.7 | 882 | 95.95 | 18.34
2020-08-30 04:00:00 | 4.436 | 308.26 | 4.625 | 331.199 | 5.345 | 301.477 | 5.44 | 332.893 | 23.63 | 882 | 95.84 | 18.208
2020-08-30 04:15:00 | 4.227 | 329.19 | 4.326 | 322.78 | 5.307 | 321.947 | 5.183 | 324.43 | 23.54 | 882 | 96.04 | 15.828
2020-08-30 04:30:00 | 3.9553 | 333.9533 | 4.1047 | 320.66 | 4.986 | 326.6073 | 4.9767 | 322.2993 | 23.58 | 882 | 96.3333 | 13.5293
2020-08-30 04:45:00 | 3.8747 | 331.7667 | 3.9653 | 326.7827 | 4.7573 | 324.4687 | 4.6773 | 328.4527 | 23.4133 | 882 | 95.8467 | 10.7553
2020-08-30 05:00:00 | 3.676 | 323.99 | 3.741 | 316.188 | 4.551 | 316.861 | 4.422 | 317.803 | 23.4 | 882 | 95.64 | 8.61
2020-08-30 05:15:00 | 3.6373 | 312.6933 | 3.7207 | 317.3547 | 4.494 | 305.8153 | 4.4087 | 318.978 | 23.4667 | 882 | 95.1933 | 9.5873
2020-08-30 05:30:00 | 4.5047 | 337.6533 | 4.7567 | 324.454 | 5.4907 | 330.2247 | 5.684 | 326.114 | 23.38 | 882 | 94.62 | 17.1787
2020-08-30 05:45:00 | 4.802 | 343.35 | 5.073 | 325.634 | 5.789 | 335.797 | 6.013 | 327.3 | 23.36 | 882 | 95.54 | 20.326
2020-08-30 06:00:00 | 4.8093 | 339.8133 | 5.2053 | 324.3447 | 5.7647 | 332.338 | 6.242 | 326.0027 | 23.3467 | 882 | 95.3733 | 22.216
2020-08-30 06:15:00 | 4.8113 | 340.3467 | 5.224 | 327.3293 | 5.858 | 332.8593 | 6.338 | 329.004 | 23.34 | 882.4 | 95.0533 | 23.814
2020-08-30 06:30:00 | 5.317 | 340.8 | 5.717 | 330.926 | 6.151 | 333.302 | 6.673 | 332.617 | 23.28 | 883 | 94.8 | 27.384
2020-08-30 06:45:00 | 5.4947 | 344.34 | 5.904 | 311.0027 | 6.356 | 336.7647 | 6.882 | 312.594 | 23.2867 | 883 | 94.18 | 29.4653
2020-08-30 07:00:00 | 6.1253 | 323.38 | 6.6253 | 311.8907 | 6.848 | 316.2647 | 7.588 | 313.4853 | 23.0467 | 883 | 94.5667 | 34.3493
2020-08-30 07:15:00 | 6.388 | 349.27 | 6.853 | 331.091 | 7.215 | 341.585 | 7.861 | 332.785 | 22.66 | 883 | 95.1 | 36.647
2020-08-30 07:30:00 | 6.5933 | 341.9733 | 7.1687 | 327.1867 | 7.6027 | 334.45 | 8.398 | 328.8587 | 22.0533 | 883 | 96.9867 | 38.454
2020-08-30 07:45:00 | 6.0957 | 333.0786 | 6.6714 | 322.76 | 7.3157 | 325.7521 | 8.0479 | 324.41 | 21.7643 | 883 | 96.9143 | 33.502
2020-08-30 08:00:00 | 7.055 | 333.98 | 7.638 | 316.314 | 8.118 | 326.633 | 8.911 | 317.931 | 20.78 | 883.6 | 95.44 | 43.002
2020-08-30 08:15:00 | 7.8733 | 340.5867 | 8.49 | 327.4533 | 8.8907 | 333.094 | 9.7667 | 329.128 | 20.0267 | 883 | 97.82 | 48.9327
2020-08-30 08:30:00 | 8.418 | 321.7267 | 9.0813 | 332.5593 | 9.4667 | 314.6487 | 10.4213 | 334.2593 | 19.5 | 883.7333 | 97.6733 | 50.806
2020-08-30 08:45:00 | 8.624 | 337.05 | 9.288 | 322.975 | 9.85 | 329.635 | 10.756 | 324.626 | 19.03 | 884 | 97.75 | 52.594
2020-08-30 09:00:00 | 8.684 | 345.78 | 9.4393 | 329.4293 | 9.8893 | 338.1727 | 10.9713 | 331.1133 | 18.5933 | 884 | 98.46 | 54.912
2020-08-30 09:15:00 | 9.0327 | 347.4333 | 9.7913 | 330.5433 | 10.2213 | 339.79 | 11.3193 | 332.234 | 18.0333 | 884 | 98.9933 | 55.9613
2020-08-30 09:30:00 | 9.076 | 343.65 | 9.815 | 327.512 | 9.9 | 336.09 | 11.067 | 329.185 | 17.89 | 884 | 99.16 | 55.261
2020-08-30 09:45:00 | 9.4407 | 347.66 | 10.1373 | 330.1013 | 10.12 | 340.0127 | 11.2493 | 331.7887 | 17.64 | 884 | 99.34 | 56.7547
2020-08-30 10:00:00 | 9.274 | 348.74 | 10.04 | 329.018 | 10.075 | 341.069 | 11.297 | 330.7 | 17.38 | 884 | 99.56 | 57.757
2020-08-30 10:15:00 | 9.874 | 346.61 | 10.634 | 325.302 | 10.895 | 338.984 | 12.043 | 326.965 | 17.04 | 884.1 | 99.8 | 57.523
2020-08-30 10:30:00 | 9.095 | 344.69 | 9.853 | 327.893 | 10.03 | 337.106 | 11.199 | 329.571 | 16.34 | 885 | 99.78 | 54.192
2020-08-30 10:45:00 | 9.337 | 342.15 | 10.083 | 327.062 | 10.204 | 334.622 | 11.371 | 328.736 | 16.11 | 885 | 99.91 | 58.075
2020-08-30 11:00:00 | 9.7487 | 323.7067 | 10.5027 | 332.0427 | 10.674 | 316.5847 | 11.838 | 333.7427 | 15.94 | 885 | 100 | 57.9153
2020-08-30 11:15:00 | 9.802 | 345.13 | 10.613 | 334.76 | 10.566 | 337.538 | 11.884 | 336.47 | 15.86 | 885 | 100 | 56.675
2020-08-30 11:30:00 | 9.764 | 325.9267 | 10.5893 | 308.4167 | 10.546 | 318.756 | 11.8887 | 309.9927 | 15.8133 | 885 | 100 | 57.086
2020-08-30 11:45:00 | 9.8367 | 319.9867 | 10.726 | 328.7967 | 10.754 | 312.9467 | 12.172 | 330.478 | 15.72 | 885 | 100 | 57.2287
2020-08-30 12:00:00 | 10.259 | 348.89 | 11.093 | 331.62 | 11.438 | 341.214 | 12.675 | 333.317 | 15.6 | 885 | 100 | 58.935
2020-08-30 12:15:00 | 9.88 | 343.9467 | 10.6793 | 328.8953 | 10.664 | 336.3793 | 11.954 | 330.5753 | 15.5 | 885 | 100 | 59.492
2020-08-30 12:30:00 | 9.9573 | 301.7267 | 10.7653 | 334.6007 | 11.2593 | 295.0887 | 12.4127 | 336.31 | 15.4867 | 885 | 100 | 59.8733
2020-08-30 12:45:00 | 10.371 | 345.23 | 11.196 | 338.185 | 11.746 | 337.634 | 12.91 | 339.912 | 15.47 | 885 | 100 | 60.838
2020-08-30 13:00:00 | 10.6047 | 321.6667 | 11.4313 | 314.9753 | 11.9087 | 314.5893 | 13.1027 | 316.5847 | 15.3867 | 885 | 100 | 62.052
2020-08-30 13:15:00 | 10.51 | 275.81 | 11.227 | 334.427 | 12.116 | 269.741 | 13.009 | 336.136 | 15.33 | 885 | 100 | 62.542
2020-08-30 13:30:00 | 10.379 | 344.87 | 11.185 | 333.978 | 11.877 | 337.282 | 12.961 | 335.684 | 15.52 | 885 | 100 | 62.042
2020-08-30 13:45:00 | 10.789 | 280.67 | 11.713 | 332.911 | 12.448 | 274.495 | 13.717 | 334.614 | 15.57 | 885 | 100 | 60.687
2020-08-30 14:00:00 | 10.618 | 347.43 | 11.561 | 330.505 | 12.126 | 339.787 | 13.472 | 332.194 | 15.98 | 885 | 100 | 60.395
2020-08-30 14:15:00 | 10.289 | 346.74 | 11.118 | 296.021 | 11.805 | 339.112 | 12.938 | 297.535 | 16.24 | 885 | 100 | 60.053
2020-08-30 14:30:00 | 9.854 | 300.0133 | 10.57 | 330.5567 | 11.2 | 293.4133 | 12.17 | 332.2473 | 16.4 | 885.6667 | 100 | 61.7713
2020-08-30 14:45:00 | 9.5 | 342.45 | 10.182 | 325.743 | 10.639 | 334.917 | 11.607 | 327.408 | 16.47 | 885.1 | 100 | 59.912
2020-08-30 15:00:00 | 10.024 | 272.31 | 10.686 | 325.732 | 11.181 | 266.32 | 12.106 | 327.399 | 16.62 | 886 | 100 | 60.116
2020-08-30 15:15:00 | 9.9007 | 321.3 | 10.5887 | 326.6653 | 10.9967 | 314.2307 | 11.9847 | 328.3347 | 16.7867 | 886 | 98.74 | 62.2527
2020-08-30 15:30:00 | 9.743 | 313.83 | 10.503 | 296.56 | 11.225 | 306.924 | 12.237 | 298.075 | 16.91 | 886 | 96.9 | 62.437
2020-08-30 15:45:00 | 9.7633 | 345.6667 | 10.4853 | 311.8053 | 11.3507 | 338.0613 | 12.2593 | 313.4007 | 17.2667 | 886 | 95.4533 | 61.2287
2020-08-30 16:00:00 | 10.224 | 277.14 | 10.848 | 331.347 | 11.81 | 271.043 | 12.539 | 333.041 | 17.44 | 886 | 92.97 | 62.983
2020-08-30 16:15:00 | 10.385 | 209.51 | 11.122 | 328.178 | 11.908 | 204.9 | 12.863 | 329.856 | 17.69 | 886 | 91.91 | 63.123
2020-08-30 16:30:00 | 10.576 | 277.63 | 11.306 | 332.675 | 11.973 | 271.524 | 12.945 | 334.378 | 18.09 | 886 | 89.78 | 61.914
2020-08-30 16:45:00 | 10.331 | 282.56 | 11.102 | 333.419 | 11.845 | 276.344 | 12.863 | 335.124 | 18.2 | 886 | 88.27 | 61.714
2020-08-30 17:00:00 | 9.89 | 278.89 | 10.646 | 324.521 | 11.301 | 272.753 | 12.327 | 326.178 | 18.36 | 886 | 85.8 | 61.671
2020-08-30 17:15:00 | 9.5987 | 342.0267 | 10.346 | 329.97 | 10.6947 | 334.502 | 11.7973 | 331.6573 | 18.2 | 886 | 86.98 | 61.934
2020-08-30 17:30:00 | 10.125 | 339.02 | 10.757 | 325.312 | 11.318 | 331.561 | 12.175 | 326.976 | 18.23 | 886 | 88.18 | 62.035
2020-08-30 17:45:00 | 9.867 | 279.91 | 10.514 | 329.897 | 11.329 | 273.752 | 12.128 | 331.585 | 18.42 | 886 | 87.49 | 61.867
2020-08-30 18:00:00 | 9.7987 | 299.7533 | 10.446 | 309.132 | 10.9553 | 293.1587 | 11.8487 | 310.7127 | 18.4867 | 886 | 86.38 | 60.8673
2020-08-30 18:15:00 | 9.977 | 312.46 | 10.524 | 325.36 | 11.212 | 305.584 | 11.892 | 327.024 | 18.43 | 886 | 87.39 | 62.162
2020-08-30 18:30:00 | 9.502 | 344.52 | 10.12 | 323.494 | 10.676 | 336.94 | 11.507 | 325.146 | 18.35 | 886 | 87.43 | 60.393
2020-08-30 18:45:00 | 9.8067 | 346.0067 | 10.3873 | 323.778 | 11.142 | 338.394 | 11.856 | 325.4313 | 18.3333 | 886 | 88.0533 | 59.9087
2020-08-30 19:00:00 | 9.602 | 274.18 | 10.263 | 330.124 | 11.043 | 268.148 | 11.882 | 331.812 | 18.23 | 886 | 88.08 | 60.649
2020-08-30 19:15:00 | 9.852 | 279.64 | 10.574 | 330.428 | 11.468 | 273.488 | 12.37 | 332.116 | 18.26 | 886 | 86.48 | 62.08
2020-08-30 19:30:00 | 10.386 | 301.0733 | 11.1 | 325.9467 | 11.8113 | 294.45 | 12.7513 | 327.614 | 18.24 | 885.9333 | 86.38 | 61.904
2020-08-30 19:45:00 | 10.045 | 273.49 | 10.86 | 330.545 | 11.559 | 267.473 | 12.661 | 332.236 | 18.26 | 885.1 | 85.84 | 61.835
2020-08-30 20:00:00 | 9.808 | 309.71 | 10.531 | 298.593 | 11.376 | 302.896 | 12.294 | 300.119 | 18.3 | 886 | 85.98 | 62.091
2020-08-30 20:15:00 | 9.7267 | 302.3067 | 10.452 | 313.754 | 11.26 | 295.6553 | 12.1893 | 315.3613 | 18.3733 | 886 | 86.3333 | 62.2547
2020-08-30 20:30:00 | 9.989 | 243.81 | 10.701 | 330.3 | 11.287 | 238.446 | 12.268 | 331.99 | 18.41 | 886 | 85.37 | 62.387
2020-08-30 20:45:00 | 9.876 | 313.94 | 10.56 | 330.837 | 11.154 | 307.033 | 12.082 | 332.53 | 18.41 | 886 | 84.09 | 61.49
2020-08-30 21:00:00 | 9.69 | 303.2667 | 10.3273 | 329.148 | 10.9407 | 296.5947 | 11.7873 | 330.832 | 18.4867 | 886.7333 | 84.46 | 60.8373
2020-08-30 21:15:00 | 9.752 | 347.7 | 10.446 | 330.605 | 11.129 | 340.05 | 12.045 | 332.293 | 18.48 | 887 | 84.1 | 60.612
2020-08-30 21:30:00 | 9.89 | 273.04 | 10.598 | 335.247 | 11.268 | 267.031 | 12.213 | 336.962 | 18.51 | 887 | 83.16 | 61.057
2020-08-30 21:45:00 | 9.574 | 346.2067 | 10.3647 | 333.0087 | 11.012 | 338.5907 | 12.094 | 334.7107 | 18.62 | 887 | 82.7867 | 61.0673
2020-08-30 22:00:00 | 9.923 | 343.56 | 10.604 | 329.87 | 11.16 | 336.001 | 12.095 | 331.556 | 18.63 | 887 | 82.68 | 60.817
2020-08-30 22:15:00 | 9.842 | 350.54 | 10.66 | 327.023 | 11.364 | 342.827 | 12.475 | 328.698 | 18.58 | 887 | 82.44 | 58.884
2020-08-30 22:30:00 | 9.77 | 322.1133 | 10.5447 | 329.6113 | 11.2813 | 315.0267 | 12.3153 | 331.296 | 18.5667 | 887 | 82.4333 | 58.6633
2020-08-30 22:45:00 | 9.489 | 244.93 | 10.248 | 332.413 | 11.111 | 239.543 | 12.081 | 334.113 | 18.64 | 887 | 81.39 | 58.394
2020-08-30 23:00:00 | 9.735 | 347.99 | 10.555 | 333.811 | 11.351 | 340.334 | 12.439 | 335.519 | 18.56 | 887 | 82.28 | 58.569
2020-08-30 23:15:00 | 9.7253 | 325.3467 | 10.5633 | 327.624 | 11.2393 | 318.1893 | 12.3833 | 329.2987 | 18.62 | 887 | 82.1133 | 58.688
2020-08-30 23:30:00 | 9.787 | 310.88 | 10.715 | 302.779 | 11.475 | 304.041 | 12.743 | 304.328 | 18.64 | 887 | 81.42 | 58.142
2020-08-30 23:45:00 | 9.931 | 280.13 | 10.795 | 324.247 | 11.751 | 273.967 | 12.857 | 325.904 | 18.62 | 887 | 81.48 | 58.637