## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-31 00:00:00 | 9.954 | 326.2333 | 10.7027 | 326.424 | 11.53 | 319.056 | 12.4933 | 328.0927 | 18.6333 | 887 | 80.3067 | 60.8307
2020-08-31 00:15:00 | 10.4433 | 256.0867 | 11.2873 | 327.35 | 11.9087 | 250.452 | 13.0867 | 329.0227 | 18.58 | 887 | 80.48 | 60.894
2020-08-31 00:30:00 | 10.285 | 276.38 | 10.917 | 330.573 | 11.435 | 270.298 | 12.296 | 332.263 | 18.66 | 887 | 81.98 | 60.393
2020-08-31 00:45:00 | 10.23 | 309.9 | 10.926 | 331.15 | 11.756 | 303.082 | 12.633 | 332.844 | 18.58 | 887 | 80.88 | 61.074
2020-08-31 01:00:00 | 10.12 | 341.0733 | 10.8193 | 325.5313 | 11.5647 | 333.5687 | 12.48 | 327.1947 | 18.56 | 887 | 81.26 | 60.95
2020-08-31 01:15:00 | 9.874 | 308.1 | 10.582 | 299.895 | 11.15 | 301.323 | 12.123 | 301.427 | 18.59 | 887 | 81.4 | 60.445
2020-08-31 01:30:00 | 10.118 | 319.0067 | 10.8013 | 327.7933 | 11.32 | 311.988 | 12.2693 | 329.4693 | 18.6467 | 887 | 81.6667 | 60.5127
2020-08-31 01:45:00 | 9.996 | 311.94 | 10.795 | 327.602 | 11.393 | 305.079 | 12.504 | 329.275 | 18.61 | 887 | 80.76 | 60.244
2020-08-31 02:00:00 | 10.022 | 307.92 | 10.72 | 330.799 | 11.419 | 301.146 | 12.338 | 332.49 | 18.58 | 887 | 81.09 | 60.248
2020-08-31 02:15:00 | 10.226 | 338.68 | 10.987 | 321.557 | 11.483 | 331.23 | 12.563 | 323.2 | 18.58 | 887 | 80.92 | 59.572
2020-08-31 02:30:00 | 10.2227 | 294.8333 | 10.902 | 323.978 | 11.4947 | 288.3467 | 12.4173 | 325.6347 | 18.5733 | 887 | 81.2933 | 59.928
2020-08-31 02:45:00 | 10.406 | 338.46 | 11.233 | 327.904 | 11.38 | 331.014 | 12.67 | 329.58 | 18.24 | 887 | 81.28 | 58.884
2020-08-31 03:00:00 | 10.509 | 344.87 | 11.411 | 330.652 | 11.471 | 337.282 | 12.9 | 332.344 | 17.36 | 887.6 | 85.52 | 58.284
2020-08-31 03:15:00 | 9.7773 | 340.9267 | 10.558 | 324.3633 | 10.7593 | 333.4267 | 11.9533 | 326.0213 | 17.1133 | 888 | 94.8 | 60.1253
2020-08-31 03:30:00 | 9.987 | 341.28 | 10.769 | 327.316 | 10.915 | 333.774 | 12.129 | 328.991 | 17.25 | 888 | 96.76 | 59.633
2020-08-31 03:45:00 | 9.85 | 340.19 | 10.664 | 329.733 | 10.74 | 332.705 | 12.03 | 331.419 | 16.99 | 887.9 | 97.98 | 59.622
2020-08-31 04:00:00 | 9.6053 | 342.2933 | 10.3653 | 327.2587 | 10.64 | 334.7633 | 11.782 | 328.932 | 16.7333 | 887 | 98.1 | 60.3513
2020-08-31 04:15:00 | 9.9927 | 344.7933 | 10.8467 | 309.0093 | 10.88 | 337.2067 | 12.2473 | 310.5887 | 16.8667 | 887 | 97.6133 | 60.336
2020-08-31 04:30:00 | 9.701 | 347.42 | 10.454 | 330.984 | 10.113 | 339.777 | 11.422 | 332.676 | 17.09 | 887 | 95.96 | 59.353
2020-08-31 04:45:00 | 9.465 | 341.81 | 10.152 | 302.768 | 10.152 | 334.29 | 11.257 | 304.318 | 17.16 | 887 | 94.2 | 59.201
2020-08-31 05:00:00 | 9.0293 | 343.34 | 9.6213 | 330.5313 | 9.5887 | 335.7853 | 10.5573 | 332.2227 | 17.3133 | 887 | 92.7067 | 58.9753
2020-08-31 05:15:00 | 8.401 | 341.74 | 8.889 | 333.156 | 9.043 | 334.221 | 9.788 | 334.858 | 17.46 | 887 | 92.03 | 58.383
2020-08-31 05:30:00 | 7.457 | 338.87 | 7.763 | 327.18 | 7.895 | 331.417 | 8.352 | 328.854 | 17.61 | 887.6 | 90.44 | 55.245
2020-08-31 05:45:00 | 6.8167 | 343.3267 | 7.1047 | 329.2533 | 7.2667 | 335.7733 | 7.6847 | 330.9367 | 17.7067 | 888 | 90.9467 | 51.462
2020-08-31 06:00:00 | 7.001 | 312.94 | 7.308 | 331.572 | 7.439 | 306.055 | 7.893 | 333.267 | 17.76 | 888 | 90.22 | 54.092
2020-08-31 06:15:00 | 7.638 | 350.39 | 8.138 | 326.944 | 8.271 | 342.683 | 9.042 | 328.617 | 17.75 | 888 | 90.2 | 54.794
2020-08-31 06:30:00 | 8.504 | 345.36 | 9.0933 | 330.8253 | 9.3553 | 337.7613 | 10.226 | 332.516 | 18.02 | 888 | 88.3067 | 57.7687
2020-08-31 06:45:00 | 8.912 | 351.18 | 9.5407 | 330.336 | 9.5633 | 343.4547 | 10.5733 | 332.0247 | 18.3133 | 888 | 87.5333 | 58.168
2020-08-31 07:00:00 | 9.116 | 339.33 | 9.81 | 326.065 | 9.951 | 331.863 | 11.024 | 327.73 | 18.16 | 888 | 86.28 | 58.048
2020-08-31 07:15:00 | 9.2133 | 341.44 | 9.8893 | 323.8687 | 10.0947 | 333.9287 | 11.1227 | 325.5233 | 18.14 | 888 | 85.4667 | 57.9913
2020-08-31 07:30:00 | 9.8471 | 342.45 | 10.5571 | 324.1579 | 10.8471 | 334.9171 | 11.9057 | 325.8157 | 18.2143 | 888 | 85.4286 | 60.4114
2020-08-31 07:45:00 | 9.702 | 349.56 | 10.429 | 329.077 | 10.646 | 341.871 | 11.755 | 330.76 | 17.95 | 888 | 84.92 | 61.513
2020-08-31 08:00:00 | 9.3167 | 340.1067 | 10.0253 | 328.066 | 10.0253 | 332.6233 | 11.1647 | 329.7433 | 17.9 | 888 | 85.78 | 60.1053
2020-08-31 08:15:00 | 9.056 | 341.0333 | 9.7307 | 327.6953 | 9.6813 | 333.5307 | 10.7793 | 329.3713 | 17.9733 | 888 | 84.18 | 59.9727
2020-08-31 08:30:00 | 9.206 | 304.52 | 9.864 | 326.241 | 9.905 | 297.818 | 10.957 | 327.908 | 18.04 | 888.6 | 84.04 | 59.971
2020-08-31 08:45:00 | 8.9193 | 339.68 | 9.5953 | 330.0693 | 9.826 | 332.2067 | 10.848 | 331.7553 | 18.1867 | 889 | 83.5467 | 59.7993
2020-08-31 09:00:00 | 8.328 | 276.71 | 8.991 | 328.989 | 9.182 | 270.622 | 10.189 | 330.672 | 18.21 | 889 | 82.73 | 59.21
2020-08-31 09:15:00 | 8.437 | 305.53 | 9.086 | 327.464 | 9.274 | 298.809 | 10.259 | 329.137 | 18.32 | 889 | 82.2 | 58.586
2020-08-31 09:30:00 | 8.0073 | 315.2 | 8.5753 | 329.8987 | 8.6073 | 308.2653 | 9.5133 | 331.5847 | 18.48 | 889 | 80.6667 | 57.4153
2020-08-31 09:45:00 | 7.951 | 341.93 | 8.442 | 329.048 | 8.619 | 334.407 | 9.357 | 330.731 | 18.55 | 889 | 80.057 | 56.135
2020-08-31 10:00:00 | 7.662 | 342.76 | 8.114 | 328.246 | 8.293 | 335.218 | 8.971 | 329.924 | 18.77 | 889 | 78.348 | 54.231
2020-08-31 10:15:00 | 7.276 | 345.0867 | 7.5833 | 331.966 | 7.7627 | 337.496 | 8.21 | 333.662 | 19.1 | 890 | 76.944 | 51.374
2020-08-31 10:30:00 | 7.014 | 342.1 | 7.347 | 301.037 | 7.811 | 334.574 | 8.21 | 302.578 | 19.24 | 890 | 76.446 | 51.332
2020-08-31 10:45:00 | 7.363 | 309.82 | 7.651 | 329.723 | 8.139 | 303.005 | 8.465 | 331.408 | 19.47 | 890 | 75.173 | 53.057
2020-08-31 11:00:00 | 7.14 | 305.69 | 7.4 | 328.471 | 7.841 | 302.212 | 8.138 | 330.149 | 19.69 | 890 | 74.28 | 50.961
2020-08-31 11:15:00 | 7.545 | 342.88 | 7.947 | 327.943 | 8.352 | 335.337 | 8.878 | 329.62 | 20.03 | 890 | 73.799 | 51.52
2020-08-31 11:30:00 | 7.5993 | 322.7467 | 8.0733 | 328.2953 | 8.6607 | 315.6467 | 9.2493 | 329.9733 | 20.48 | 890 | 70.036 | 53.4033
2020-08-31 11:45:00 | 7.805 | 350.22 | 8.412 | 327.022 | 9.066 | 342.515 | 9.852 | 328.695 | 20.73 | 890 | 69.309 | 54.807
2020-08-31 12:00:00 | 7.522 | 277.29 | 8.06 | 330.73 | 8.682 | 271.189 | 9.372 | 332.422 | 21.28 | 890 | 69.081 | 51.203
2020-08-31 12:15:00 | 6.6987 | 257.2133 | 7.1633 | 290.0407 | 7.6727 | 251.5553 | 8.272 | 291.5253 | 21.92 | 889 | 66.022 | 45.3267
2020-08-31 12:30:00 | 6.016 | 211.68 | 6.351 | 338.456 | 6.918 | 207.022 | 7.293 | 340.187 | 22.08 | 889.6 | 64.186 | 39.698
2020-08-31 12:45:00 | 5.9 | 248.98 | 6.197 | 236.196 | 6.45 | 243.503 | 6.858 | 237.403 | 22.34 | 890 | 66.521 | 36.069
2020-08-31 13:00:00 | 5.5967 | 237.4667 | 5.9187 | 248.662 | 6.15 | 232.242 | 6.6007 | 249.93 | 22.6333 | 890 | 66.9173 | 34.354
2020-08-31 13:15:00 | 4.691 | 311.53 | 5.024 | 234.162 | 5.15 | 304.676 | 5.655 | 235.359 | 23.08 | 890 | 65.851 | 20.363
2020-08-31 13:30:00 | 3.706 | 246.23 | 3.87 | 177.35 | 3.962 | 240.812 | 4.201 | 178.256 | 23.38 | 890 | 60.114 | 12.086
2020-08-31 13:45:00 | 3.1107 | 152.4867 | 3.2367 | 295.148 | 3.4847 | 149.132 | 3.616 | 296.6573 | 23.6267 | 890 | 60.064 | 6.47
2020-08-31 14:00:00 | 3.554 | 310.27 | 3.793 | 299.963 | 3.959 | 303.443 | 4.296 | 301.496 | 23.87 | 890 | 61.604 | 8.532
2020-08-31 14:15:00 | 3.324 | 245.68 | 3.506 | 234.767 | 3.84 | 240.275 | 4.04 | 235.969 | 24.19 | 890 | 59.69 | 7.813
2020-08-31 14:30:00 | 3.1 | 235.73 | 3.264 | 201.968 | 3.592 | 230.544 | 3.76 | 203 | 24.41 | 890 | 59.587 | 6.786
2020-08-31 14:45:00 | 2.5253 | 316.7867 | 2.7187 | 146.2687 | 2.932 | 309.8153 | 3.186 | 147.0173 | 24.98 | 891 | 57.064 | 3.7447
2020-08-31 15:00:00 | 2.919 | 338.98 | 3.148 | 303.866 | 3.294 | 331.522 | 3.617 | 305.418 | 24.96 | 891 | 55.648 | 3.828
2020-08-31 15:15:00 | 2.9347 | 275 | 3.132 | 225.448 | 3.4507 | 268.9487 | 3.678 | 226.6 | 25.0333 | 890.6 | 58.0947 | 3.7327
2020-08-31 15:30:00 | 3.223 | 339.92 | 3.412 | 295.277 | 3.629 | 332.443 | 3.868 | 296.789 | 24.99 | 890 | 58.295 | 4.02
2020-08-31 15:45:00 | 2.955 | 303.7 | 3.156 | 295.689 | 3.312 | 297.018 | 3.589 | 297.2 | 25.11 | 890 | 59.86 | 3.415
2020-08-31 16:00:00 | 2.8653 | 335.5133 | 3.044 | 331.4167 | 3.294 | 328.132 | 3.5093 | 333.112 | 25.4667 | 890 | 57.8067 | 2.65
2020-08-31 16:15:00 | 2.471 | 308.26 | 2.671 | 322.417 | 2.696 | 301.479 | 3.012 | 324.066 | 25.73 | 890 | 56.193 | 0.86
2020-08-31 16:30:00 | 2.454 | 334.01 | 2.608 | 333.547 | 2.676 | 326.661 | 2.905 | 335.252 | 25.6 | 890 | 54.215 | 0.722
2020-08-31 16:45:00 | 2.556 | 336.5133 | 2.69 | 311.826 | 2.7667 | 329.11 | 2.962 | 313.42 | 25.82 | 890 | 54.3993 | 0.50867
2020-08-31 17:00:00 | 2.355 | 340.89 | 2.555 | 301.107 | 2.69 | 333.664 | 2.977 | 302.646 | 26.03 | 890 | 53.389 | 0.683
2020-08-31 17:15:00 | 2.294 | 301.36 | 2.478 | 270.817 | 2.609 | 294.73 | 2.867 | 272.202 | 26.1 | 890 | 53.957 | 0.638
2020-08-31 17:30:00 | 1.9547 | 335.18 | 2.11 | 269.192 | 2.2613 | 327.806 | 2.47 | 270.5687 | 26.1667 | 890 | 52.7413 | 0.034667
2020-08-31 17:45:00 | 1.925 | 335.54 | 2.021 | 108.09 | 2.114 | 328.157 | 2.238 | 108.642 | 26.22 | 890 | 51.912 | 0
2020-08-31 18:00:00 | 1.7427 | 339.0333 | 1.796 | 332.0893 | 1.9533 | 331.5753 | 1.9927 | 333.788 | 26.2667 | 890 | 54.4453 | 0
2020-08-31 18:15:00 | 1.7627 | 259.2533 | 1.8467 | 335.2513 | 2.058 | 253.5487 | 2.1347 | 336.9647 | 26.1133 | 889.6 | 56.7587 | 0
2020-08-31 18:30:00 | 1.7233 | 252.5 | 1.7813 | 320.3013 | 2.0327 | 246.9447 | 2.0507 | 321.9393 | 26.1 | 889 | 60.1193 | 0
2020-08-31 18:45:00 | 1.893 | 208.48 | 2.008 | 326.017 | 2.208 | 203.893 | 2.338 | 327.682 | 26.04 | 888.9 | 62.708 | 0
2020-08-31 19:00:00 | 2.032 | 310.6 | 2.117 | 327.062 | 2.376 | 303.768 | 2.44 | 328.736 | 25.78 | 888 | 65.071 | 0.095
2020-08-31 19:15:00 | 2.5 | 336.62 | 2.6767 | 327.9487 | 2.9247 | 329.214 | 3.1367 | 329.626 | 25.3733 | 887.6 | 65.9233 | 1.864
2020-08-31 19:30:00 | 2.466 | 344.79 | 2.676 | 333.558 | 2.894 | 337.205 | 3.169 | 335.261 | 24.95 | 887 | 68.967 | 1.774
2020-08-31 19:45:00 | 2.571 | 343.76 | 2.756 | 306.594 | 2.906 | 336.199 | 3.157 | 308.16 | 24.78 | 887 | 71.598 | 1.961
2020-08-31 20:00:00 | 2.4867 | 328.14 | 2.672 | 293.3547 | 2.7827 | 320.9213 | 3.0473 | 294.8533 | 24.62 | 887 | 72.414 | 1.4073
2020-08-31 20:15:00 | 2.286 | 238.39 | 2.416 | 299.2 | 2.642 | 233.147 | 2.79 | 300.728 | 24.54 | 887 | 73.575 | 1.039
2020-08-31 20:30:00 | 1.6787 | 140.4533 | 1.6653 | 313.3187 | 1.9927 | 137.364 | 1.8807 | 314.92 | 24.4533 | 887 | 73.724 | 0.73533
2020-08-31 20:45:00 | 1.678 | 191.39 | 1.621 | 326.74 | 2.117 | 187.182 | 1.885 | 328.412 | 24.26 | 887 | 73.667 | 1.118
2020-08-31 21:00:00 | 2.177 | 235.53 | 2.187 | 325.595 | 2.644 | 230.347 | 2.53 | 327.261 | 23.98 | 887 | 76.398 | 1.715
2020-08-31 21:15:00 | 2.6933 | 252.3467 | 2.7653 | 326.8 | 3.284 | 246.794 | 3.2513 | 328.472 | 23.68 | 887 | 79.8553 | 3.8847
2020-08-31 21:30:00 | 2.99 | 314.11 | 3.154 | 326.651 | 3.632 | 307.2 | 3.756 | 328.321 | 23.41 | 887 | 81.28 | 6.09
2020-08-31 21:45:00 | 3.279 | 177.29 | 3.446 | 336.394 | 3.823 | 173.39 | 3.979 | 338.113 | 23.25 | 887 | 82.64 | 7.402
2020-08-31 22:00:00 | 3.311 | 202.82 | 3.422 | 335.942 | 3.681 | 198.356 | 3.788 | 337.661 | 23.38 | 887 | 83.64 | 8.17
2020-08-31 22:15:00 | 3.311 | 278.78 | 3.423 | 333.508 | 3.79 | 272.648 | 3.867 | 335.212 | 23.24 | 887 | 85.45 | 7.363
2020-08-31 22:30:00 | 3.2553 | 323.3467 | 3.4213 | 327.6693 | 3.9213 | 316.2313 | 4.0467 | 329.3433 | 23.1867 | 887.0667 | 84.8133 | 6.834
2020-08-31 22:45:00 | 3.319 | 317.42 | 3.493 | 321.773 | 3.986 | 310.437 | 4.123 | 323.419 | 23.14 | 888 | 86.83 | 6.723
2020-08-31 23:00:00 | 3.05 | 345.5 | 3.216 | 325.39 | 3.613 | 337.898 | 3.772 | 327.054 | 22.93 | 888 | 88.36 | 4.125
2020-08-31 23:15:00 | 2.4507 | 166.4667 | 2.5213 | 327.7793 | 2.9747 | 162.8033 | 2.956 | 329.4553 | 22.5667 | 888 | 88.3667 | 2.818
2020-08-31 23:30:00 | 2.397 | 203.45 | 2.461 | 328.315 | 2.99 | 198.973 | 2.942 | 329.993 | 22.4 | 888 | 88.84 | 2.562
2020-08-31 23:45:00 | 2.494 | 214.43 | 2.63 | 324.256 | 2.97 | 209.713 | 3.095 | 325.914 | 22.24 | 888 | 89.04 | 2.873