## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-01 00:00:00 | 2.5947 | 258.8333 | 2.74 | 326.6127 | 3.1187 | 253.1373 | 3.248 | 328.2833 | 22.1 | 888 | 89.5667 | 3.6133
2020-09-01 00:15:00 | 3.0857 | 346.2714 | 3.2607 | 327.1821 | 3.675 | 338.6536 | 3.8421 | 328.8557 | 21.9643 | 888 | 90.4 | 5.402
2020-09-01 00:30:00 | 3.177 | 281.24 | 3.4 | 329.361 | 3.783 | 275.052 | 4.026 | 331.045 | 21.83 | 888 | 92.34 | 6.714
2020-09-01 00:45:00 | 3.622 | 318.61 | 3.904 | 325.431 | 4.246 | 311.6 | 4.603 | 327.092 | 21.72 | 887.9 | 93.74 | 9.424
2020-09-01 01:00:00 | 3.7307 | 303.5067 | 3.9907 | 330.388 | 4.3653 | 296.8287 | 4.68 | 332.0767 | 21.76 | 887 | 93.2067 | 9.8393
2020-09-01 01:15:00 | 3.7493 | 341.4286 | 3.9957 | 324.8836 | 4.4293 | 333.9171 | 4.7021 | 326.545 | 21.5286 | 887 | 93.4357 | 9.2633
2020-09-01 01:30:00 | 3.945 | 344.82 | 4.206 | 326.652 | 4.552 | 337.233 | 4.87 | 328.321 | 21.36 | 887 | 92.96 | 10.446
2020-09-01 01:45:00 | 3.826 | 350.94 | 4.0813 | 329.8733 | 4.2953 | 343.22 | 4.6453 | 331.5593 | 21.1267 | 887 | 94.36 | 11.2407
2020-09-01 02:00:00 | 3.8679 | 303.8786 | 4.0964 | 330.85 | 4.5129 | 297.1936 | 4.7636 | 332.5407 | 21.0857 | 887 | 94.9571 | 10.046
2020-09-01 02:15:00 | 4.0286 | 352.9286 | 4.2871 | 324.745 | 4.735 | 345.2279 | 5.0214 | 326.4043 | 20.9786 | 887 | 94.9857 | 11.4513
2020-09-01 02:30:00 | 4.186 | 353.13 | 4.475 | 329.634 | 4.985 | 345.362 | 5.303 | 331.32 | 20.61 | 887 | 95.8 | 13.832
2020-09-01 02:45:00 | 4.463 | 352.03 | 4.768 | 326.878 | 5.226 | 344.286 | 5.587 | 328.547 | 20.34 | 887 | 96.06 | 16.467
2020-09-01 03:00:00 | 4.648 | 351.7533 | 4.9833 | 326.7293 | 5.5613 | 344.0153 | 5.932 | 328.4013 | 20.1067 | 887 | 96.38 | 18.3487
2020-09-01 03:15:00 | 4.662 | 353.2333 | 5.0087 | 324.1873 | 5.4593 | 345.462 | 5.8827 | 325.8433 | 19.9667 | 887 | 96.2533 | 18.1
2020-09-01 03:30:00 | 4.376 | 351.6667 | 4.662 | 326.3267 | 5.1893 | 343.93 | 5.4973 | 327.9947 | 19.9267 | 887 | 96.6733 | 15.624
2020-09-01 03:45:00 | 4.114 | 257.66 | 4.3307 | 325.792 | 4.884 | 251.9907 | 5.0747 | 327.458 | 19.8467 | 887 | 97.22 | 12.7773
2020-09-01 04:00:00 | 4.543 | 349.1 | 4.867 | 328.676 | 5.346 | 341.419 | 5.725 | 330.359 | 19.83 | 887 | 97.56 | 15.486
2020-09-01 04:15:00 | 4.969 | 343.01 | 5.381 | 324.96 | 5.818 | 335.463 | 6.349 | 326.619 | 19.85 | 887 | 97.79 | 20.278
2020-09-01 04:30:00 | 4.729 | 350.39 | 5.085 | 326.358 | 5.433 | 342.681 | 5.904 | 328.028 | 19.94 | 887 | 97.43 | 17.135
2020-09-01 04:45:00 | 4.8067 | 351.4867 | 5.1853 | 325.784 | 5.6493 | 343.754 | 6.1187 | 327.45 | 19.9067 | 887 | 96.9267 | 19.34
2020-09-01 05:00:00 | 5.132 | 347.6133 | 5.516 | 322.8827 | 5.9773 | 339.9667 | 6.4607 | 324.534 | 19.6133 | 886.9333 | 96.8467 | 22.0307
2020-09-01 05:15:00 | 5.594 | 340.26 | 5.975 | 320.628 | 6.34 | 332.775 | 6.849 | 322.266 | 19.52 | 886 | 96.25 | 26.076
2020-09-01 05:30:00 | 5.2927 | 346.2533 | 5.7067 | 327.7727 | 6.0833 | 338.636 | 6.6433 | 329.45 | 19.3 | 886 | 96.7867 | 22.6727
2020-09-01 05:45:00 | 4.3047 | 282.14 | 4.5867 | 324.07 | 5.012 | 275.9313 | 5.344 | 325.7273 | 19.64 | 886 | 96.96 | 13.9753
2020-09-01 06:00:00 | 4.368 | 319.19 | 4.628 | 323.747 | 5.202 | 312.168 | 5.451 | 325.403 | 19.63 | 886 | 96.34 | 15.157
2020-09-01 06:15:00 | 4.721 | 308.16 | 4.98 | 318.78 | 5.756 | 301.38 | 5.95 | 320.408 | 19.49 | 886 | 96.04 | 19.623
2020-09-01 06:30:00 | 4.199 | 342.47 | 4.386 | 323.208 | 5.071 | 334.936 | 5.173 | 324.862 | 19.36 | 886 | 95.94 | 13.375
2020-09-01 06:45:00 | 3.966 | 210.5 | 4.091 | 316.99 | 4.68 | 205.868 | 4.71 | 318.609 | 19.33 | 886 | 96.19 | 10.459
2020-09-01 07:00:00 | 3.96 | 230.0267 | 4.1513 | 322.256 | 4.7247 | 224.9653 | 4.8653 | 323.9047 | 19.32 | 886 | 95.86 | 10.6007
2020-09-01 07:15:00 | 3.9367 | 340.3 | 4.108 | 317.8307 | 4.72 | 332.8133 | 4.8173 | 319.4547 | 19.3933 | 886 | 95.4733 | 9.9813
2020-09-01 07:30:00 | 4.499 | 343.79 | 4.704 | 322.065 | 5.332 | 336.228 | 5.481 | 323.712 | 19.45 | 886.6 | 95.44 | 14.058
2020-09-01 07:45:00 | 4.768 | 344.1067 | 5.112 | 322.48 | 5.5873 | 336.5367 | 6.0027 | 324.128 | 19.3133 | 887 | 96.26 | 16.0293
2020-09-01 08:00:00 | 4.9467 | 345.8267 | 5.386 | 326.5333 | 5.694 | 338.2193 | 6.31 | 328.2033 | 19.5133 | 887 | 96.2467 | 19.6687
2020-09-01 08:15:00 | 4.952 | 344.83 | 5.39 | 324.686 | 5.809 | 337.244 | 6.391 | 326.345 | 19.58 | 887 | 96.59 | 19.691
2020-09-01 08:30:00 | 5.798 | 334.16 | 6.282 | 320.186 | 6.732 | 326.81 | 7.383 | 321.824 | 19.51 | 887 | 96.53 | 28.122
2020-09-01 08:45:00 | 5.8733 | 338.1067 | 6.3753 | 318.7693 | 6.68 | 330.668 | 7.396 | 320.4 | 19.4067 | 887 | 95.9333 | 30.53
2020-09-01 09:00:00 | 5.388 | 335.85 | 5.874 | 317.889 | 6.135 | 328.461 | 6.838 | 319.514 | 19.26 | 887 | 95.84 | 25.609
2020-09-01 09:15:00 | 5.549 | 335.34 | 5.992 | 324.637 | 6.448 | 327.964 | 7.027 | 326.296 | 19.23 | 887 | 96.24 | 25.92
2020-09-01 09:30:00 | 5.577 | 333.4 | 6 | 316.765 | 6.511 | 326.065 | 7.044 | 318.384 | 19.07 | 887 | 98.25 | 27.463
2020-09-01 09:45:00 | 5.822 | 341.55 | 6.295 | 325.927 | 6.631 | 334.037 | 7.298 | 327.595 | 18.97 | 887 | 99.26 | 32.438
2020-09-01 10:00:00 | 5.417 | 340.9 | 5.866 | 320.275 | 6.253 | 333.399 | 6.865 | 321.912 | 18.73 | 887 | 99.71 | 29.14
2020-09-01 10:15:00 | 5.484 | 343.97 | 5.976 | 322.827 | 6.281 | 336.403 | 6.984 | 324.478 | 18.77 | 888 | 99.91 | 29.233
2020-09-01 10:30:00 | 5.9893 | 336 | 6.4553 | 324.5127 | 6.8013 | 328.6073 | 7.4487 | 326.1727 | 18.6933 | 888 | 100 | 32.3467
2020-09-01 10:45:00 | 5.753 | 345.19 | 6.198 | 326.183 | 6.454 | 337.595 | 7.093 | 327.85 | 18.91 | 888 | 100 | 28.809
2020-09-01 11:00:00 | 5.507 | 343.6 | 5.917 | 328.022 | 6.301 | 336.04 | 6.849 | 329.699 | 19.05 | 888 | 100 | 25.963
2020-09-01 11:15:00 | 5.276 | 337.8467 | 5.704 | 327.3807 | 6.1253 | 330.414 | 6.6887 | 329.0547 | 18.8733 | 888 | 100 | 25.448
2020-09-01 11:30:00 | 5.467 | 343.75 | 5.959 | 325.048 | 6.303 | 336.187 | 6.995 | 326.709 | 18.97 | 888 | 100 | 27.305
2020-09-01 11:45:00 | 5.587 | 336.08 | 6.058 | 323.943 | 6.39 | 328.686 | 7.047 | 325.6 | 19.15 | 888 | 100 | 25.88
2020-09-01 12:00:00 | 5.307 | 341.74 | 5.77 | 326.389 | 6.179 | 334.222 | 6.804 | 328.057 | 19.19 | 888 | 100 | 23.742
2020-09-01 12:15:00 | 5.715 | 337.06 | 6.196 | 326.465 | 6.616 | 329.644 | 7.267 | 328.136 | 19.3 | 888 | 100 | 27.897
2020-09-01 12:30:00 | 6.046 | 341.68 | 6.524 | 322.934 | 6.829 | 334.164 | 7.508 | 324.587 | 19.31 | 888 | 100 | 28.942
2020-09-01 12:45:00 | 6.44 | 335.9 | 6.928 | 324.07 | 7.137 | 328.508 | 7.857 | 325.728 | 19.36 | 887.9 | 99.99 | 32.183
2020-09-01 13:00:00 | 6.311 | 336.49 | 6.781 | 320.706 | 7.065 | 329.087 | 7.738 | 322.345 | 19.22 | 887 | 99.84 | 32.507
2020-09-01 13:15:00 | 6.229 | 333.39 | 6.745 | 317.204 | 7.156 | 326.057 | 7.866 | 318.827 | 19.47 | 887 | 99.91 | 33.684
2020-09-01 13:30:00 | 5.988 | 333.54 | 6.48 | 320.744 | 6.744 | 326.203 | 7.458 | 322.385 | 19.35 | 887 | 100 | 31.588
2020-09-01 13:45:00 | 6.066 | 339.63 | 6.567 | 321.527 | 6.757 | 332.156 | 7.508 | 323.17 | 19.37 | 887 | 100 | 32.013
2020-09-01 14:00:00 | 6.241 | 337.59 | 6.735 | 323.054 | 6.953 | 330.164 | 7.683 | 324.704 | 19.49 | 887 | 100 | 34.198
2020-09-01 14:15:00 | 6.263 | 343.94 | 6.771 | 319.747 | 7.022 | 336.374 | 7.762 | 321.382 | 19.52 | 887 | 100 | 35.381
2020-09-01 14:30:00 | 6.052 | 334.69 | 6.55 | 319.179 | 6.832 | 327.327 | 7.549 | 320.813 | 19.56 | 887 | 100 | 33.28
2020-09-01 14:45:00 | 6.108 | 335.5 | 6.633 | 316.57 | 6.942 | 328.117 | 7.699 | 318.189 | 19.64 | 887 | 99.89 | 35.657
2020-09-01 15:00:00 | 6.156 | 335.81 | 6.696 | 315.835 | 6.995 | 328.421 | 7.773 | 317.45 | 19.58 | 887 | 99.74 | 33.188
2020-09-01 15:15:00 | 6.277 | 341.83 | 6.825 | 321.587 | 6.988 | 334.311 | 7.821 | 323.229 | 19.68 | 887 | 99.66 | 33.684
2020-09-01 15:30:00 | 6.5613 | 340.6333 | 7.106 | 318.9893 | 7.2927 | 333.14 | 8.114 | 320.6207 | 19.72 | 886.9333 | 99.2667 | 35.5567
2020-09-01 15:45:00 | 6.624 | 343.06 | 7.156 | 323.669 | 7.341 | 335.513 | 8.143 | 325.324 | 19.61 | 886 | 99.44 | 35.699
2020-09-01 16:00:00 | 6.4693 | 348.2 | 6.9873 | 327.5527 | 7.086 | 340.5393 | 7.89 | 329.226 | 19.5933 | 886 | 99.5267 | 33.8753
2020-09-01 16:15:00 | 6.5473 | 346.7933 | 7.02 | 325.204 | 7.2653 | 339.1647 | 7.9527 | 326.868 | 19.58 | 886 | 99.54 | 39.8147
2020-09-01 16:30:00 | 6.649 | 351.08 | 7.156 | 326.084 | 7.439 | 343.356 | 8.177 | 327.751 | 19.62 | 886 | 99.66 | 39.944
2020-09-01 16:45:00 | 6.5447 | 346.2467 | 7.0313 | 327.0493 | 7.2447 | 338.63 | 7.9627 | 328.722 | 19.82 | 886 | 99.6333 | 41.702
2020-09-01 17:00:00 | 7.1227 | 346.5267 | 7.6333 | 322.0827 | 7.7687 | 338.902 | 8.552 | 323.7287 | 19.9733 | 886 | 98.9667 | 43.384
2020-09-01 17:15:00 | 7.672 | 341.99 | 8.183 | 329.92 | 8.087 | 334.466 | 8.943 | 331.607 | 20.08 | 886 | 98.9 | 46.304
2020-09-01 17:30:00 | 7.506 | 345.74 | 8.0533 | 324.866 | 8.112 | 337.8013 | 8.98 | 327.306 | 20.2267 | 886 | 98.2467 | 48.5107
2020-09-01 17:45:00 | 7.13 | 337.65 | 7.646 | 323.249 | 7.878 | 330.221 | 8.643 | 324.901 | 20.22 | 886 | 97.4 | 46.359
2020-09-01 18:00:00 | 6.87 | 342.18 | 7.464 | 328.462 | 7.49 | 334.652 | 8.436 | 330.14 | 20.14 | 886 | 95.9 | 43.375
2020-09-01 18:15:00 | 6.9147 | 344.4667 | 7.4427 | 323.9133 | 7.4553 | 336.8867 | 8.304 | 325.5687 | 20.1733 | 886 | 95.16 | 44.6493
2020-09-01 18:30:00 | 6.8033 | 339.5 | 7.242 | 322.9033 | 7.2487 | 332.03 | 7.9553 | 324.5527 | 20.3933 | 886 | 95.1733 | 41.3667
2020-09-01 18:45:00 | 6.432 | 341.38 | 6.935 | 315.805 | 6.928 | 333.87 | 7.741 | 317.42 | 20.38 | 886 | 95.87 | 39.395
2020-09-01 19:00:00 | 6.3907 | 341.44 | 6.8993 | 322.29 | 7.1307 | 333.9293 | 7.8807 | 323.9393 | 20.46 | 886 | 95.94 | 41.254
2020-09-01 19:15:00 | 6.6336 | 324.4429 | 7.1886 | 324.0793 | 7.3229 | 317.3057 | 8.1757 | 325.7379 | 20.5286 | 886 | 96.1 | 43.0579
2020-09-01 19:30:00 | 6.333 | 312.03 | 6.837 | 323.983 | 7.161 | 305.165 | 7.873 | 325.639 | 20.3 | 886 | 96.4 | 41.35
2020-09-01 19:45:00 | 6.2313 | 281.1867 | 6.6873 | 327.6673 | 7.038 | 275 | 7.6707 | 329.3447 | 20.46 | 886 | 94.7 | 42.0547
2020-09-01 20:00:00 | 6.1114 | 302.0143 | 6.4893 | 322.475 | 6.6371 | 295.37 | 7.2079 | 324.1236 | 20.45 | 886 | 93.7625 | 41.5207
2020-09-01 20:15:00 | 6.305 | 345.65 | 6.661 | 327.707 | 6.657 | 338.046 | 7.234 | 329.385 | 20.59 | 886 | 93.38 | 42.804
2020-09-01 20:30:00 | 7.017 | 279.48 | 7.494 | 328.392 | 7.829 | 273.334 | 8.504 | 330.072 | 20.45 | 886 | 94.54 | 49.418
2020-09-01 20:45:00 | 7.496 | 277.76 | 8.044 | 328.94 | 8.422 | 271.649 | 9.199 | 330.623 | 20.36 | 886 | 93.87 | 50.966
2020-09-01 21:00:00 | 6.529 | 307.36 | 6.854 | 323.972 | 7.179 | 300.599 | 7.611 | 325.628 | 20.46 | 886 | 92.21 | 45.476
2020-09-01 21:15:00 | 7.072 | 313 | 7.419 | 325.674 | 7.785 | 306.114 | 8.243 | 327.34 | 20.76 | 886 | 90.28 | 46.415
2020-09-01 21:30:00 | 7.49 | 345.77 | 8.02 | 319.131 | 8.259 | 338.164 | 9.04 | 320.762 | 20.56 | 886.6 | 89.82 | 47.363
2020-09-01 21:45:00 | 7.716 | 340.66 | 8.234 | 323.855 | 8.628 | 333.166 | 9.343 | 325.511 | 20.34 | 887 | 92.1 | 52.993
2020-09-01 22:00:00 | 7.8 | 324.5571 | 8.3264 | 327.5957 | 8.815 | 317.4164 | 9.5193 | 329.27 | 20.1286 | 887 | 92.8214 | 53.2187
2020-09-01 22:15:00 | 7.634 | 345.69 | 8.101 | 332.119 | 8.355 | 338.085 | 9.04 | 333.817 | 20.13 | 887 | 93.67 | 54.701
2020-09-01 22:30:00 | 7.6627 | 304.14 | 8.1753 | 332.1687 | 8.5773 | 297.4473 | 9.2827 | 333.866 | 20.0267 | 887 | 94.32 | 55.5073
2020-09-01 22:45:00 | 7.988 | 347.77 | 8.618 | 329.243 | 9.112 | 340.118 | 9.974 | 330.927 | 19.94 | 887 | 95.6 | 53.596
2020-09-01 23:00:00 | 7.6 | 348.87 | 8.148 | 331.043 | 8.537 | 341.194 | 9.306 | 332.737 | 20.05 | 887 | 93.43 | 52.141
2020-09-01 23:15:00 | 7.4727 | 353.3333 | 8.0173 | 333.6027 | 8.2727 | 345.56 | 9.0733 | 335.308 | 20.1333 | 887 | 93.56 | 51.4927
2020-09-01 23:30:00 | 6.98 | 317.61 | 7.416 | 333.958 | 7.88 | 310.623 | 8.444 | 335.663 | 19.96 | 887 | 93.56 | 51.819
2020-09-01 23:45:00 | 6.8913 | 298.7667 | 7.2553 | 309.7773 | 7.492 | 292.1947 | 8.0113 | 311.3613 | 20.1867 | 887 | 93.74 | 50.8513