## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-02 00:00:00 | 6.6427 | 338.9867 | 7.0153 | 325.8887 | 7.142 | 331.53 | 7.706 | 327.5547 | 20.1067 | 887 | 92.2 | 45.362
2020-09-02 00:15:00 | 6.746 | 341.46 | 7.188 | 327.198 | 7.345 | 333.947 | 8.011 | 328.873 | 20.36 | 887 | 92.06 | 45.535
2020-09-02 00:30:00 | 7.092 | 346.49 | 7.614 | 329.634 | 7.784 | 338.867 | 8.574 | 331.321 | 20.5 | 887 | 92.52 | 47.541
2020-09-02 00:45:00 | 6.724 | 345.3667 | 7.2113 | 325.3807 | 7.4187 | 337.7687 | 8.1407 | 327.0447 | 20.3267 | 887 | 93.96 | 45.552
2020-09-02 01:00:00 | 7.309 | 317.07 | 7.879 | 326.573 | 8.175 | 310.096 | 9.003 | 328.243 | 20.14 | 887 | 94.39 | 49.202
2020-09-02 01:15:00 | 7.883 | 348.46 | 8.396 | 337.87 | 8.561 | 340.795 | 9.336 | 339.597 | 20.32 | 887 | 93.94 | 53.433
2020-09-02 01:30:00 | 6.869 | 343.74 | 7.346 | 236.91 | 7.754 | 336.178 | 8.406 | 238.122 | 20.15 | 887 | 93.96 | 53.208
2020-09-02 01:45:00 | 7.1847 | 327.1067 | 7.6613 | 248.0147 | 8.1953 | 319.91 | 8.81 | 249.282 | 20.06 | 887 | 93.8 | 50.8907
2020-09-02 02:00:00 | 7.206 | 353.21 | 7.616 | 341.409 | 7.949 | 345.44 | 8.509 | 343.154 | 20.37 | 887 | 95.35 | 49.371
2020-09-02 02:15:00 | 6.209 | 278.67 | 6.518 | 301.371 | 6.927 | 272.539 | 7.307 | 302.911 | 20.4 | 887 | 94.6 | 40.322
2020-09-02 02:30:00 | 6.0133 | 301.8667 | 6.3333 | 317.394 | 6.6527 | 295.2267 | 7.0773 | 319.0153 | 20.38 | 887 | 93.72 | 38.756
2020-09-02 02:45:00 | 5.484 | 346.37 | 5.702 | 341.135 | 6.159 | 338.75 | 6.374 | 342.881 | 20.25 | 887 | 93.08 | 32.72
2020-09-02 03:00:00 | 5.449 | 350.21 | 5.754 | 335.2 | 6.078 | 342.507 | 6.476 | 336.914 | 20.08 | 887 | 93.18 | 31.212
2020-09-02 03:15:00 | 5.676 | 315.66 | 6.068 | 333.813 | 6.335 | 308.716 | 6.889 | 335.518 | 20.16 | 887 | 92.96 | 34.019
2020-09-02 03:30:00 | 6.007 | 283.91 | 6.457 | 337.078 | 6.697 | 277.662 | 7.348 | 338.802 | 20.05 | 887 | 95.43 | 40.068
2020-09-02 03:45:00 | 6.3607 | 349.4333 | 6.7987 | 314.968 | 7.0047 | 341.7447 | 7.65 | 316.5787 | 19.92 | 887 | 97.46 | 44.5867
2020-09-02 04:00:00 | 6.552 | 314.46 | 6.959 | 340.411 | 7.083 | 307.542 | 7.7 | 342.154 | 19.76 | 887 | 97.52 | 45.112
2020-09-02 04:15:00 | 6.215 | 348.33 | 6.574 | 332.1 | 6.784 | 340.666 | 7.3 | 333.798 | 19.88 | 887 | 97.07 | 43.002
2020-09-02 04:30:00 | 6.6207 | 257.42 | 7.098 | 316.318 | 7.312 | 251.7553 | 8.0153 | 317.934 | 20.2 | 887 | 96.7 | 44.502
2020-09-02 04:45:00 | 6.0867 | 166.3533 | 6.608 | 335.9433 | 6.7627 | 162.6927 | 7.5533 | 337.6613 | 19.9667 | 887 | 96.5133 | 37.74
2020-09-02 05:00:00 | 5.987 | 213.97 | 6.406 | 338.857 | 6.499 | 209.264 | 7.146 | 340.59 | 20.31 | 887 | 96.02 | 34.64
2020-09-02 05:15:00 | 5.61 | 237.2533 | 6.0533 | 330.5447 | 6.356 | 232.034 | 6.9833 | 332.234 | 19.76 | 887 | 96.08 | 34.2947
2020-09-02 05:30:00 | 5.322 | 307.8333 | 5.7753 | 326.1567 | 6.0693 | 301.0627 | 6.7127 | 327.8233 | 19.5467 | 887 | 97.0933 | 31.3907
2020-09-02 05:45:00 | 5.383 | 353.98 | 5.801 | 322.564 | 6.171 | 346.193 | 6.734 | 324.214 | 19.32 | 887 | 97.18 | 32.021
2020-09-02 06:00:00 | 5.4787 | 331.14 | 5.8547 | 326.7353 | 6.2573 | 323.8553 | 6.744 | 328.406 | 19.3533 | 887 | 97.2733 | 29.6573
2020-09-02 06:15:00 | 5.2067 | 233.9667 | 5.5633 | 326.7489 | 6.0389 | 228.8189 | 6.4778 | 328.4189 | 19.2556 | 887 | 97.8222 | 27.101
2020-09-02 06:30:00 | 4.838 | 281.79 | 5.16 | 323.571 | 5.561 | 275.59 | 5.959 | 325.224 | 19.15 | 887 | 97.1 | 24.653
2020-09-02 06:45:00 | 4.775 | 320.69 | 5.131 | 318.837 | 5.537 | 313.635 | 5.988 | 320.469 | 19.32 | 887 | 96.6 | 22.796
2020-09-02 07:00:00 | 4.874 | 282.67 | 5.269 | 321.135 | 5.839 | 276.451 | 6.305 | 322.777 | 19.29 | 887 | 96.3 | 25.937
2020-09-02 07:15:00 | 4.823 | 350 | 5.264 | 326.094 | 5.765 | 342.3 | 6.328 | 327.762 | 19.11 | 887 | 96.92 | 24.536
2020-09-02 07:30:00 | 4.836 | 319.72 | 5.323 | 326.182 | 5.611 | 312.686 | 6.308 | 327.85 | 19.21 | 887 | 96.4 | 25.754
2020-09-02 07:45:00 | 5.079 | 316.61 | 5.477 | 333.791 | 5.967 | 309.644 | 6.469 | 335.5 | 19.42 | 888 | 96.82 | 25.413
2020-09-02 08:00:00 | 4.903 | 280.34 | 5.287 | 326.788 | 5.77 | 274.172 | 6.242 | 328.459 | 19.63 | 888 | 95.09 | 25.968
2020-09-02 08:15:00 | 4.843 | 349.88 | 5.222 | 321.41 | 5.611 | 342.183 | 6.105 | 323.053 | 19.88 | 888 | 94.34 | 24.941
2020-09-02 08:30:00 | 5.178 | 349.35 | 5.534 | 328.745 | 6.02 | 341.664 | 6.446 | 330.425 | 20.03 | 888 | 90.84 | 28.486
2020-09-02 08:45:00 | 5.0493 | 325.7571 | 5.4843 | 323.9829 | 5.995 | 318.59 | 6.5464 | 325.6414 | 19.9714 | 889 | 89.3643 | 28.6367
2020-09-02 09:00:00 | 5.298 | 248.99 | 5.764 | 327.649 | 6.165 | 243.511 | 6.793 | 329.324 | 20.06 | 889 | 84.34 | 29.093
2020-09-02 09:15:00 | 5.119 | 243.91 | 5.524 | 328.07 | 5.813 | 238.543 | 6.385 | 329.746 | 20.81 | 890 | 78.838 | 24.863
2020-09-02 09:30:00 | 4.94 | 312.12 | 5.362 | 297.066 | 5.578 | 305.251 | 6.193 | 298.587 | 21.14 | 890 | 75.644 | 23.211
2020-09-02 09:45:00 | 5.02 | 352.45 | 5.374 | 336.646 | 5.758 | 344.698 | 6.22 | 338.369 | 21.59 | 890 | 71.827 | 22.907
2020-09-02 10:00:00 | 4.749 | 274.89 | 5.05 | 295.678 | 5.41 | 270.331 | 5.785 | 297.19 | 21.7 | 890.7 | 70.989 | 20.545
2020-09-02 10:15:00 | 4.768 | 242.19 | 5.073 | 336.646 | 5.439 | 236.862 | 5.821 | 338.371 | 21.69 | 891 | 74.826 | 19.76
2020-09-02 10:30:00 | 4.487 | 277.03 | 4.738 | 274.907 | 4.922 | 270.935 | 5.271 | 276.311 | 22.32 | 890.3 | 75.645 | 17.16
2020-09-02 10:45:00 | 4.182 | 246.41 | 4.391 | 273.752 | 4.503 | 240.989 | 4.81 | 275.153 | 22.6 | 891 | 67.439 | 12.942
2020-09-02 11:00:00 | 3.987 | 250.5 | 4.212 | 304.002 | 4.448 | 244.989 | 4.743 | 305.556 | 23.09 | 891 | 66.856 | 9.655
2020-09-02 11:15:00 | 4.126 | 317.16 | 4.463 | 299.191 | 4.683 | 310.183 | 5.163 | 300.719 | 23.38 | 891 | 66.229 | 9.789
2020-09-02 11:30:00 | 3.636 | 257.6867 | 3.8993 | 268.9693 | 3.9913 | 252.0187 | 4.3893 | 270.3447 | 23.34 | 891 | 67.54 | 7.4167
2020-09-02 11:45:00 | 3.268 | 247.89 | 3.557 | 269.331 | 3.79 | 242.436 | 4.185 | 270.708 | 23.9 | 891 | 67.452 | 6.428
2020-09-02 12:00:00 | 3.782 | 310.03 | 4.065 | 243.121 | 4.242 | 303.208 | 4.645 | 244.364 | 24.21 | 891 | 65.765 | 7.682
2020-09-02 12:15:00 | 3.7533 | 273.7733 | 4.0027 | 287.8847 | 4.334 | 267.75 | 4.6407 | 289.356 | 24.5467 | 891 | 63.218 | 8.2227
2020-09-02 12:30:00 | 3.813 | 268.74 | 4.056 | 326.525 | 4.375 | 262.828 | 4.672 | 328.194 | 24.72 | 890.3 | 61.179 | 7.47
2020-09-02 12:45:00 | 2.617 | 274.1 | 2.977 | 228.764 | 3.038 | 268.07 | 3.599 | 229.934 | 25.51 | 890 | 60.387 | 5.134
2020-09-02 13:00:00 | 3.3913 | 340.2467 | 3.6387 | 291.3133 | 3.7007 | 332.7607 | 4.08 | 292.8027 | 25.6533 | 890 | 60.3213 | 5.57
2020-09-02 13:15:00 | 3.652 | 274.46 | 3.838 | 328.482 | 4.027 | 268.422 | 4.273 | 330.16 | 25.67 | 890 | 58.928 | 6.069
2020-09-02 13:30:00 | 2.8913 | 289.4533 | 3.0613 | 296.55 | 3.3347 | 283.0847 | 3.5287 | 298.0653 | 26.2333 | 890 | 54.5907 | 3.8453
2020-09-02 13:45:00 | 2.8447 | 319.9133 | 3.0373 | 255.8387 | 3.1787 | 312.8773 | 3.4467 | 257.1453 | 26.52 | 890 | 51.402 | 3.622
2020-09-02 14:00:00 | 2.759 | 312.21 | 2.954 | 293.93 | 3.233 | 305.341 | 3.469 | 295.432 | 26.69 | 890 | 50.217 | 3.62
2020-09-02 14:15:00 | 2.807 | 288.06 | 2.95 | 314.603 | 3.185 | 281.722 | 3.348 | 316.21 | 27.06 | 890 | 49.978 | 3.178
2020-09-02 14:30:00 | 2.824 | 319.91 | 2.939 | 307.65 | 3.057 | 312.87 | 3.21 | 309.223 | 26.97 | 890 | 48.413 | 2.955
2020-09-02 14:45:00 | 2.8164 | 321.6357 | 2.9279 | 316.4114 | 3.1829 | 314.5593 | 3.2886 | 318.0286 | 27.3643 | 889 | 43.7129 | 4.5686
2020-09-02 15:00:00 | 3.484 | 325.31 | 3.742 | 323.356 | 4.031 | 318.153 | 4.364 | 325.01 | 27.56 | 889 | 43.428 | 8.166
2020-09-02 15:15:00 | 3.604 | 336.98 | 3.858 | 261.291 | 4.43 | 329.567 | 4.672 | 262.627 | 27.76 | 889 | 41.872 | 12.97
2020-09-02 15:30:00 | 3.9453 | 335.3 | 4.2653 | 287.35 | 4.7087 | 327.9247 | 5.094 | 288.818 | 27.78 | 889 | 38.3473 | 14.75
2020-09-02 15:45:00 | 3.58 | 304.27 | 3.9 | 234.759 | 4.233 | 297.577 | 4.652 | 235.959 | 27.94 | 889 | 39.992 | 12.203
2020-09-02 16:00:00 | 3.292 | 311.36 | 3.508 | 302.475 | 3.931 | 304.512 | 4.156 | 304.023 | 27.71 | 889 | 40.814 | 11.902
2020-09-02 16:15:00 | 3.464 | 332.4 | 3.758 | 163.052 | 4.072 | 325.088 | 4.453 | 163.887 | 27.78 | 889 | 43.216 | 10.17
2020-09-02 16:30:00 | 3.432 | 334.88 | 3.64 | 229.839 | 3.962 | 327.511 | 4.202 | 231.016 | 27.9 | 889 | 42.405 | 9.623
2020-09-02 16:45:00 | 3.431 | 241.92 | 3.606 | 325.154 | 3.723 | 236.598 | 3.973 | 326.817 | 27.81 | 889 | 40.7 | 7.836
2020-09-02 17:00:00 | 2.984 | 336.33 | 3.211 | 302.771 | 3.296 | 328.931 | 3.636 | 304.316 | 27.91 | 889 | 41.775 | 6.059
2020-09-02 17:15:00 | 3.324 | 339.17 | 3.552 | 292.715 | 3.758 | 331.707 | 4.063 | 294.211 | 27.81 | 889 | 42.178 | 6.3
2020-09-02 17:30:00 | 3.212 | 339.69 | 3.506 | 291.484 | 3.777 | 332.218 | 4.171 | 292.973 | 27.74 | 889 | 42.961 | 6.811
2020-09-02 17:45:00 | 3.262 | 313.24 | 3.518 | 326.828 | 3.603 | 306.348 | 3.99 | 328.498 | 27.59 | 889 | 43.809 | 5.979
2020-09-02 18:00:00 | 3.503 | 340.76 | 3.788 | 321.723 | 4.013 | 333.261 | 4.414 | 323.368 | 27.5 | 889 | 45.801 | 8.56
2020-09-02 18:15:00 | 3.547 | 340.37 | 3.877 | 291.542 | 4.087 | 333.918 | 4.554 | 293.034 | 27.44 | 888 | 47.936 | 8.255
2020-09-02 18:30:00 | 3.9743 | 342.2643 | 4.245 | 329.8793 | 4.455 | 334.7336 | 4.8329 | 331.5643 | 27.35 | 887.9286 | 49.64 | 10.3247
2020-09-02 18:45:00 | 4.239 | 344.66 | 4.437 | 325.196 | 4.695 | 337.077 | 4.945 | 326.858 | 27.18 | 887 | 49.504 | 12.516
2020-09-02 19:00:00 | 4.271 | 345.13 | 4.482 | 326.174 | 4.835 | 337.537 | 5.072 | 327.841 | 26.89 | 887 | 50.25 | 13.825
2020-09-02 19:15:00 | 4.197 | 342.1 | 4.462 | 332.579 | 4.673 | 334.574 | 5.034 | 334.279 | 26.85 | 887 | 50.096 | 13.439
2020-09-02 19:30:00 | 4.122 | 313.89 | 4.35 | 329.742 | 4.522 | 306.984 | 4.843 | 331.429 | 26.79 | 887 | 48.548 | 12.116
2020-09-02 19:45:00 | 4.15 | 315.88 | 4.427 | 334.876 | 4.672 | 308.929 | 5.047 | 336.589 | 26.55 | 887 | 51.756 | 12.964
2020-09-02 20:00:00 | 4.579 | 312.4 | 4.901 | 334.495 | 5.145 | 305.527 | 5.592 | 336.207 | 26.56 | 886.3 | 53.538 | 16.084
2020-09-02 20:15:00 | 4.826 | 326.1867 | 5.162 | 335.6753 | 5.4027 | 319.01 | 5.876 | 337.3933 | 26.4867 | 886 | 54.452 | 18.0513
2020-09-02 20:30:00 | 4.854 | 313.89 | 5.169 | 336.207 | 5.441 | 306.984 | 5.868 | 337.926 | 26.47 | 886 | 52.583 | 17.54
2020-09-02 20:45:00 | 4.804 | 279.6 | 5.184 | 335.912 | 5.439 | 273.45 | 5.978 | 337.63 | 26.11 | 887 | 53.129 | 18.914
2020-09-02 21:00:00 | 4.669 | 352.73 | 5.027 | 330.418 | 5.295 | 344.812 | 5.791 | 332.106 | 25.6 | 887 | 52.798 | 18.92
2020-09-02 21:15:00 | 4.902 | 281.44 | 5.242 | 330.7 | 5.674 | 275.247 | 6.097 | 332.391 | 25.2 | 887 | 53.945 | 22.845
2020-09-02 21:30:00 | 4.644 | 348.01 | 4.937 | 332.715 | 5.368 | 340.354 | 5.715 | 334.416 | 25.27 | 887 | 56.514 | 18.987
2020-09-02 21:45:00 | 4.83 | 349.71 | 5.154 | 333.635 | 5.607 | 342.015 | 5.997 | 335.341 | 24.85 | 887 | 58.007 | 21.33
2020-09-02 22:00:00 | 4.6507 | 305.7333 | 5.0227 | 328.536 | 5.5427 | 299.0067 | 5.988 | 330.216 | 24.3067 | 887 | 60.26 | 21.0207
2020-09-02 22:15:00 | 4.489 | 248.84 | 4.801 | 332.228 | 5.362 | 243.365 | 5.698 | 333.925 | 24.09 | 887 | 60.141 | 18.721
2020-09-02 22:30:00 | 4.2773 | 258.1133 | 4.516 | 329.1827 | 5.1793 | 252.708 | 5.374 | 330.8653 | 23.8867 | 887 | 59.736 | 16.0353
2020-09-02 22:45:00 | 4.3273 | 258.0733 | 4.556 | 325.8567 | 5.2613 | 252.3953 | 5.4267 | 327.522 | 23.92 | 887 | 63.184 | 16.7213
2020-09-02 23:00:00 | 4.487 | 282.82 | 4.826 | 319.64 | 5.445 | 276.597 | 5.812 | 321.274 | 23.77 | 887 | 62.329 | 17.325
2020-09-02 23:15:00 | 4.514 | 324.3 | 4.8173 | 325.0293 | 5.5027 | 317.1667 | 5.79 | 326.69 | 23.42 | 887.4667 | 66.5913 | 19.84
2020-09-02 23:30:00 | 4.64 | 315.22 | 4.967 | 323.229 | 5.73 | 308.287 | 6.032 | 324.881 | 23.44 | 888 | 70.009 | 21.204
2020-09-02 23:45:00 | 4.754 | 315.92 | 5.178 | 322.418 | 5.817 | 308.97 | 6.312 | 324.065 | 23.34 | 887 | 68.127 | 21.784