## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-03 00:00:00 | 4.9893 | 348.3 | 5.368 | 327.52 | 5.9333 | 340.6373 | 6.3767 | 329.1933 | 23.2667 | 887 | 72.2353 | 20.4813
2020-09-03 00:15:00 | 5.2367 | 349.94 | 5.6547 | 328.9927 | 6.2367 | 342.2407 | 6.7373 | 330.6753 | 22.9867 | 887 | 73.424 | 22.0467
2020-09-03 00:30:00 | 5.134 | 355.14 | 5.564 | 321.741 | 6.207 | 347.328 | 6.707 | 323.387 | 22.83 | 887 | 73.452 | 21.346
2020-09-03 00:45:00 | 5.22 | 314.15 | 5.645 | 323.904 | 6.226 | 307.237 | 6.738 | 325.56 | 22.9 | 887 | 78.443 | 22.406
2020-09-03 01:00:00 | 5.3573 | 347.72 | 5.866 | 325.062 | 6.414 | 340.0693 | 7.0727 | 326.724 | 22.4333 | 887 | 83.02 | 25.518
2020-09-03 01:15:00 | 5.609 | 350.07 | 6.08 | 329.498 | 6.592 | 342.368 | 7.199 | 331.183 | 22.1 | 887 | 84.67 | 28.208
2020-09-03 01:30:00 | 5.607 | 351.54 | 6.044 | 326.916 | 6.535 | 343.806 | 7.094 | 328.588 | 21.59 | 887 | 84.04 | 26.66
2020-09-03 01:45:00 | 5.636 | 342.6933 | 6.07 | 324.598 | 6.5627 | 335.1533 | 7.1153 | 326.2567 | 21.58 | 887 | 81.8133 | 28.9233
2020-09-03 02:00:00 | 5.7227 | 347.3 | 6.138 | 328.3593 | 6.6447 | 339.6593 | 7.1627 | 330.0393 | 21.34 | 887 | 82.8133 | 30.4227
2020-09-03 02:15:00 | 5.904 | 343.3533 | 6.362 | 327.864 | 6.874 | 335.8 | 7.46 | 329.54 | 21.08 | 887 | 81.5333 | 32.1453
2020-09-03 02:30:00 | 5.9429 | 344.1071 | 6.3779 | 331.1493 | 6.8536 | 336.5371 | 7.415 | 332.8443 | 20.7357 | 887 | 80.6036 | 31.758
2020-09-03 02:45:00 | 5.83 | 349.16 | 6.299 | 325.44 | 6.847 | 341.479 | 7.441 | 327.103 | 20.47 | 887 | 83.05 | 32.204
2020-09-03 03:00:00 | 6.137 | 348.84 | 6.621 | 327.503 | 7.118 | 341.167 | 7.752 | 329.177 | 20.36 | 887 | 82.73 | 33.222
2020-09-03 03:15:00 | 5.994 | 348.0467 | 6.4927 | 323.718 | 7.0527 | 340.3893 | 7.6873 | 325.374 | 20.0467 | 886.4667 | 84.3333 | 34.2847
2020-09-03 03:30:00 | 6.056 | 347.44 | 6.559 | 330.182 | 7.011 | 339.797 | 7.688 | 331.87 | 20.13 | 886.3 | 84.77 | 34.404
2020-09-03 03:45:00 | 5.97 | 344.98 | 6.462 | 325.371 | 7.052 | 337.39 | 7.674 | 327.033 | 19.69 | 886 | 86.33 | 35.409
2020-09-03 04:00:00 | 6.013 | 343.46 | 6.446 | 323.64 | 7.06 | 335.904 | 7.576 | 325.296 | 19.98 | 886 | 86.94 | 33.412
2020-09-03 04:15:00 | 5.795 | 348.03 | 6.245 | 322.779 | 6.93 | 340.374 | 7.453 | 324.429 | 20.02 | 886 | 87.36 | 30.598
2020-09-03 04:30:00 | 5.788 | 350.38 | 6.233 | 328.577 | 6.884 | 342.672 | 7.405 | 330.258 | 19.93 | 886 | 88.59 | 29.542
2020-09-03 04:45:00 | 5.976 | 346.54 | 6.427 | 325.391 | 7.031 | 338.917 | 7.579 | 327.053 | 19.58 | 886 | 90.51 | 33.192
2020-09-03 05:00:00 | 5.56 | 348.34 | 5.958 | 325.117 | 6.616 | 340.676 | 7.06 | 326.778 | 19.39 | 886 | 90.94 | 28.832
2020-09-03 05:15:00 | 5.512 | 348.71 | 5.907 | 326.856 | 6.516 | 341.039 | 6.971 | 328.529 | 19.55 | 886 | 90.18 | 26.642
2020-09-03 05:30:00 | 5.548 | 316.92 | 5.946 | 322.848 | 6.605 | 309.947 | 7.054 | 324.498 | 19.32 | 886 | 89.55 | 28.503
2020-09-03 05:45:00 | 5.794 | 342.6133 | 6.2167 | 326.9593 | 6.846 | 335.0747 | 7.344 | 328.63 | 19.0067 | 886 | 91.5533 | 33.1747
2020-09-03 06:00:00 | 5.852 | 351.29 | 6.246 | 323.805 | 6.861 | 343.561 | 7.315 | 325.463 | 19.21 | 886 | 91.77 | 33.888
2020-09-03 06:15:00 | 6.2907 | 342.9867 | 6.7993 | 319.48 | 7.448 | 335.4413 | 8.0727 | 321.114 | 19.3067 | 886 | 92.88 | 36.4853
2020-09-03 06:30:00 | 6.236 | 340.3467 | 6.7527 | 320.3327 | 7.434 | 332.8593 | 8.066 | 321.9713 | 19.2933 | 886 | 93.74 | 36.112
2020-09-03 06:45:00 | 6.029 | 347.3 | 6.552 | 323.659 | 7.156 | 339.66 | 7.82 | 325.314 | 19.41 | 886 | 94.64 | 34.443
2020-09-03 07:00:00 | 5.9287 | 345.1267 | 6.4267 | 322.518 | 7.0887 | 337.5333 | 7.7 | 324.1667 | 19.0667 | 886 | 93.62 | 32.2687
2020-09-03 07:15:00 | 6.12 | 341.4733 | 6.542 | 322.2187 | 7.2627 | 333.9593 | 7.7347 | 323.8653 | 18.7333 | 886.4667 | 92.1333 | 32.4593
2020-09-03 07:30:00 | 6.023 | 341.21 | 6.461 | 321.78 | 7.155 | 333.701 | 7.654 | 323.426 | 18.56 | 887 | 91.38 | 32.365
2020-09-03 07:45:00 | 5.714 | 295.16 | 6.062 | 321.2927 | 6.8733 | 288.666 | 7.198 | 322.9347 | 18.8333 | 887 | 89.12 | 28.8327
2020-09-03 08:00:00 | 6.1553 | 340.9 | 6.5147 | 322.5953 | 7.27 | 333.4 | 7.63 | 324.2453 | 18.7467 | 887.8 | 88.04 | 32.8787
2020-09-03 08:15:00 | 6.442 | 341.26 | 6.906 | 321.666 | 7.589 | 333.753 | 8.137 | 323.309 | 18.73 | 888 | 85.82 | 35.51
2020-09-03 08:30:00 | 6.2207 | 336.0467 | 6.694 | 320.1307 | 7.32 | 328.6547 | 7.8987 | 321.768 | 19.3067 | 888.8 | 84.14 | 33.204
2020-09-03 08:45:00 | 6.2707 | 340.9133 | 6.806 | 321.5 | 7.4013 | 333.41 | 8.0867 | 323.144 | 19.7067 | 889 | 80.4427 | 33.9053
2020-09-03 09:00:00 | 6.138 | 342.35 | 6.66 | 319.865 | 7.145 | 334.819 | 7.84 | 321.5 | 19.87 | 889 | 79.577 | 33.047
2020-09-03 09:15:00 | 6.0173 | 335.1067 | 6.4793 | 325.4133 | 6.998 | 327.7327 | 7.59 | 327.0773 | 20.1933 | 889 | 79.4693 | 30.2247
2020-09-03 09:30:00 | 5.7747 | 337.5733 | 6.1693 | 326.026 | 6.7947 | 330.146 | 7.248 | 327.692 | 20.16 | 889 | 77.6667 | 28.5093
2020-09-03 09:45:00 | 5.621 | 339.44 | 6.025 | 332.147 | 6.573 | 331.973 | 7.065 | 333.847 | 20.25 | 889 | 75.385 | 27.149
2020-09-03 10:00:00 | 5.2787 | 337.36 | 5.6707 | 330.186 | 6.1187 | 329.9373 | 6.6187 | 331.8733 | 20.64 | 889.1333 | 72.858 | 21.99
2020-09-03 10:15:00 | 5.018 | 334.8267 | 5.422 | 326.3047 | 5.916 | 327.46 | 6.42 | 327.9747 | 20.9267 | 890 | 70.3293 | 19.6433
2020-09-03 10:30:00 | 4.604 | 303.39 | 4.998 | 319.972 | 5.438 | 296.716 | 5.944 | 321.608 | 21.33 | 890 | 67.716 | 16.76
2020-09-03 10:45:00 | 4.1513 | 336.8467 | 4.4407 | 313.11 | 4.9627 | 329.4347 | 5.2793 | 314.71 | 21.7667 | 890 | 66.4107 | 11.6207
2020-09-03 11:00:00 | 3.698 | 332.41 | 3.879 | 307.992 | 4.403 | 325.098 | 4.547 | 309.566 | 22.18 | 890 | 66.883 | 7.322
2020-09-03 11:15:00 | 2.982 | 259.43 | 3.15 | 315.464 | 3.444 | 253.723 | 3.629 | 317.075 | 22.57 | 890 | 69.485 | 2.799
2020-09-03 11:30:00 | 2.233 | 318.95 | 2.274 | 315.044 | 2.579 | 311.934 | 2.561 | 316.654 | 23.16 | 890 | 69.764 | 1.211
2020-09-03 11:45:00 | 1.1973 | 246.2867 | 1.2587 | 274.094 | 1.7367 | 240.8687 | 1.6947 | 275.496 | 24.56 | 890 | 67.85 | 0
2020-09-03 12:00:00 | 0.932 | 188.05 | 1.044 | 176.1 | 1.456 | 183.912 | 1.516 | 176.998 | 25.69 | 890 | 66.962 | 0
2020-09-03 12:15:00 | 1.1907 | 161.94 | 1.282 | 312.6073 | 1.3567 | 158.378 | 1.484 | 314.2047 | 26.04 | 890 | 65.704 | 0
2020-09-03 12:30:00 | 1.6873 | 194.1333 | 1.7473 | 150.7887 | 1.734 | 189.862 | 1.838 | 151.5587 | 25.44 | 890 | 62.936 | 0
2020-09-03 12:45:00 | 1.05 | 208.63 | 1.146 | 149.74 | 1.308 | 204.04 | 1.415 | 150.505 | 25.22 | 890 | 64.176 | 0
2020-09-03 13:00:00 | 0.946 | 140.4133 | 0.98067 | 144.196 | 1.2993 | 137.3233 | 1.2607 | 144.934 | 25.9867 | 889.8667 | 66.662 | 0
2020-09-03 13:15:00 | 1.5587 | 191.74 | 1.6193 | 142.7093 | 1.8467 | 187.5233 | 1.8773 | 143.4393 | 25.56 | 889 | 67.454 | 0
2020-09-03 13:30:00 | 1.223 | 210.74 | 1.315 | 152.441 | 1.393 | 206.103 | 1.514 | 153.221 | 25.67 | 889 | 67.673 | 0
2020-09-03 13:45:00 | 1.1187 | 153.34 | 1.1707 | 163.228 | 1.362 | 149.9667 | 1.3913 | 164.062 | 26.7 | 889 | 65.6353 | 0
2020-09-03 14:00:00 | 1.431 | 155.9 | 1.435 | 131.541 | 1.747 | 152.471 | 1.669 | 132.212 | 26.4 | 889 | 63.192 | 0
2020-09-03 14:15:00 | 1.344 | 151.59 | 1.382 | 150.437 | 1.72 | 148.256 | 1.686 | 151.205 | 26.75 | 889 | 60.509 | 0
2020-09-03 14:30:00 | 1.566 | 168.12 | 1.648 | 156.656 | 1.745 | 164.421 | 1.849 | 157.457 | 26.27 | 889 | 55.363 | 0
2020-09-03 14:45:00 | 1.447 | 204.48 | 1.548 | 156.704 | 1.578 | 199.983 | 1.733 | 157.507 | 26.16 | 889 | 57.604 | 0
2020-09-03 15:00:00 | 1.8087 | 187.32 | 1.972 | 183.9427 | 1.8507 | 183.198 | 2.1447 | 184.882 | 26.4267 | 889 | 58.604 | 0.064286
2020-09-03 15:15:00 | 1.65 | 188.8333 | 1.7547 | 157.628 | 1.7933 | 184.6793 | 1.9527 | 158.4327 | 26.4533 | 889 | 59.52 | 0
2020-09-03 15:30:00 | 1.71 | 182.31 | 1.864 | 181.33 | 1.689 | 178.299 | 1.989 | 182.258 | 26.58 | 889 | 58.062 | 0
2020-09-03 15:45:00 | 1.6007 | 186.4133 | 1.6993 | 152.542 | 1.9713 | 182.314 | 2.0507 | 153.3213 | 26.82 | 889 | 57.9107 | 0
2020-09-03 16:00:00 | 1.542 | 189.76 | 1.645 | 158.877 | 1.643 | 185.584 | 1.811 | 159.689 | 27.25 | 889 | 56.843 | 0
2020-09-03 16:15:00 | 1.913 | 195.49 | 2.056 | 176.42 | 2.136 | 191.188 | 2.346 | 177.324 | 27.21 | 889 | 54.47 | 0
2020-09-03 16:30:00 | 1.6493 | 192.0733 | 1.73 | 133.588 | 1.8253 | 187.848 | 1.9267 | 134.2733 | 27.2533 | 889 | 50.7667 | 0
2020-09-03 16:45:00 | 1.599 | 193.35 | 1.719 | 169.232 | 1.564 | 189.096 | 1.808 | 170.098 | 27.39 | 889 | 51.96 | 0
2020-09-03 17:00:00 | 1.129 | 203.74 | 1.267 | 169.254 | 1.299 | 199.259 | 1.511 | 170.119 | 27.37 | 889 | 53.45 | 0
2020-09-03 17:15:00 | 1.6913 | 202.4 | 1.736 | 186.114 | 1.9127 | 197.946 | 1.936 | 187.0647 | 26.94 | 889 | 58.1067 | 0
2020-09-03 17:30:00 | 1.547 | 204.34 | 1.64 | 169.907 | 1.856 | 199.843 | 1.94 | 170.776 | 26.98 | 888.3 | 62.029 | 0
2020-09-03 17:45:00 | 1.286 | 185.65 | 1.283 | 202.68 | 1.381 | 181.566 | 1.351 | 203.716 | 26.91 | 888 | 63.134 | 0
2020-09-03 18:00:00 | 1.187 | 215.14 | 1.209 | 210.112 | 1.289 | 210.405 | 1.306 | 211.186 | 26.96 | 888 | 58.612 | 0
2020-09-03 18:15:00 | 0.637 | 190.45 | 0.684 | 201.752 | 0.784 | 186.26 | 0.831 | 202.781 | 27.25 | 888 | 56.34 | 0
2020-09-03 18:30:00 | 0.42267 | 126.3067 | 0.43467 | 243.182 | 0.39667 | 123.5267 | 0.428 | 244.4267 | 27.1267 | 888 | 57.73 | 0
2020-09-03 18:45:00 | 0.522 | 239.02 | 0.562 | 211.355 | 0.594 | 233.762 | 0.651 | 212.436 | 27.05 | 887.8 | 57.285 | 0
2020-09-03 19:00:00 | 1.004 | 239.91 | 1.053 | 216.206 | 1.052 | 234.633 | 1.131 | 217.311 | 26.62 | 887 | 56.73 | 0
2020-09-03 19:15:00 | 1.4767 | 229.2133 | 1.532 | 220.3687 | 1.62 | 224.1707 | 1.6873 | 221.496 | 26.26 | 887 | 55.152 | 0
2020-09-03 19:30:00 | 1.569 | 215.84 | 1.696 | 220.325 | 1.746 | 211.092 | 1.938 | 221.449 | 26.12 | 887 | 55.574 | 0
2020-09-03 19:45:00 | 1.736 | 200.18 | 1.878 | 207.4273 | 1.8933 | 195.776 | 2.1167 | 208.488 | 26.0267 | 887 | 56.0573 | 0
2020-09-03 20:00:00 | 1.75 | 193.22 | 1.8667 | 196.2393 | 1.952 | 188.9687 | 2.1147 | 197.2413 | 25.9133 | 887 | 56.1013 | 0
2020-09-03 20:15:00 | 1.72 | 193.69 | 1.847 | 180.764 | 1.939 | 189.429 | 2.116 | 181.687 | 25.85 | 887 | 56.49 | 0
2020-09-03 20:30:00 | 2.1427 | 181.3333 | 2.2547 | 178.8493 | 2.3793 | 177.3447 | 2.5213 | 179.7647 | 25.7267 | 887 | 57.334 | 0.008667
2020-09-03 20:45:00 | 1.7813 | 162.02 | 1.8687 | 166.0833 | 2.0467 | 158.4553 | 2.1387 | 166.9333 | 25.6267 | 887 | 59.09 | 0
2020-09-03 21:00:00 | 1.643 | 137.35 | 1.703 | 156.157 | 1.745 | 134.327 | 1.832 | 156.955 | 25.44 | 887 | 60.24 | 0
2020-09-03 21:15:00 | 1.45 | 143.0533 | 1.4953 | 153.5473 | 1.65 | 139.906 | 1.6813 | 154.3313 | 24.8867 | 887 | 63.8153 | 0.036667
2020-09-03 21:30:00 | 1.1347 | 143.66 | 1.2173 | 170.4987 | 1.3867 | 140.5007 | 1.4687 | 171.3693 | 25.02 | 887.8 | 66.666 | 0
2020-09-03 21:45:00 | 0.741 | 132.46 | 0.834 | 139.091 | 1.002 | 129.544 | 1.1 | 139.801 | 25 | 887.8 | 68.456 | 0
2020-09-03 22:00:00 | 1.244 | 157.7467 | 1.3187 | 160.5167 | 1.4667 | 154.2767 | 1.5467 | 161.338 | 24.7733 | 887.8 | 69.6907 | 0
2020-09-03 22:15:00 | 1.0553 | 178.0933 | 1.136 | 171.5293 | 1.286 | 174.176 | 1.3713 | 172.4047 | 24.74 | 887.5333 | 66.6193 | 0
2020-09-03 22:30:00 | 0.948 | 201.85 | 1.007 | 182.172 | 1.116 | 197.408 | 1.171 | 183.103 | 24.81 | 887.7 | 65.635 | 0
2020-09-03 22:45:00 | 0.28667 | 217.4333 | 0.308 | 155.2147 | 0.372 | 212.65 | 0.38867 | 156.008 | 24.74 | 888 | 72.9567 | 0
2020-09-03 23:00:00 | 0.604 | 108.5533 | 0.66733 | 148.8313 | 0.58733 | 106.1667 | 0.71333 | 149.5933 | 24.3733 | 888 | 75.62 | 0
2020-09-03 23:15:00 | 0.404 | 106.62 | 0.488 | 101.848 | 0.353 | 104.276 | 0.525 | 102.37 | 24.42 | 888 | 75.966 | 0
2020-09-03 23:30:00 | 0.51867 | 137.66 | 0.62 | 134.274 | 0.53333 | 134.6313 | 0.71733 | 134.96 | 24.38 | 888 | 80.4547 | 0
2020-09-03 23:45:00 | 0.524 | 120.7867 | 0.60733 | 155.098 | 0.63533 | 118.13 | 0.75733 | 155.8907 | 24.1867 | 888 | 79.3953 | 0