## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-04 00:00:00 | 0.353 | 114.72 | 0.364 | 74.533 | 0.408 | 112.196 | 0.411 | 74.915 | 23.87 | 888 | 80.198 | 0
2020-09-04 00:15:00 | 0.418 | 96.94 | 0.42333 | 46.4867 | 0.634 | 94.808 | 0.57933 | 46.7253 | 23.9133 | 887 | 79.516 | 0
2020-09-04 00:30:00 | 0.55467 | 87.22 | 0.53867 | 87.042 | 0.65933 | 85.3 | 0.6 | 87.4873 | 23.7667 | 887 | 80.8933 | 0
2020-09-04 00:45:00 | 1.079 | 267.64 | 1.057 | 176.753 | 1.635 | 261.75 | 1.43 | 177.657 | 23.53 | 887 | 83.84 | 0
2020-09-04 01:00:00 | 0.334 | 116.0133 | 0.32733 | 124.682 | 0.56267 | 113.4613 | 0.48333 | 125.3187 | 23.4933 | 887 | 86.1733 | 0
2020-09-04 01:15:00 | 0.31067 | 89.2667 | 0.28733 | 148.0633 | 0.32333 | 87.8687 | 0.27133 | 148.8193 | 23.2133 | 887 | 85.2867 | 0
2020-09-04 01:30:00 | 0.723 | 50.91 | 0.735 | 158.507 | 0.986 | 49.788 | 0.933 | 159.315 | 23.16 | 886.3 | 85.98 | 0
2020-09-04 01:45:00 | 1.2747 | 58.62 | 1.2753 | 212.9953 | 1.7213 | 57.3307 | 1.592 | 214.0833 | 22.5333 | 886 | 88.7933 | 0
2020-09-04 02:00:00 | 1.383 | 86.53 | 1.401 | 277.389 | 1.912 | 84.626 | 1.793 | 278.809 | 22.35 | 886 | 88.61 | 0
2020-09-04 02:15:00 | 1.233 | 85.74 | 1.222 | 278.35 | 1.689 | 83.853 | 1.541 | 279.771 | 22.24 | 886 | 88.26 | 0
2020-09-04 02:30:00 | 1.35 | 120.62 | 1.327 | 342.759 | 1.703 | 117.967 | 1.559 | 344.512 | 22.13 | 886 | 88.72 | 0
2020-09-04 02:45:00 | 1.291 | 249.28 | 1.338 | 310.524 | 2.026 | 243.796 | 1.902 | 312.111 | 22.16 | 886 | 89.64 | 0
2020-09-04 03:00:00 | 1.177 | 215.87 | 1.216 | 310.396 | 1.748 | 211.123 | 1.654 | 311.984 | 22.07 | 886 | 88.66 | 0
2020-09-04 03:15:00 | 1.542 | 81.85 | 1.582 | 339.569 | 2.175 | 80.05 | 2.067 | 341.308 | 21.7 | 886 | 89.6 | 0
2020-09-04 03:30:00 | 1.9267 | 146.2533 | 1.8587 | 339.1767 | 2.462 | 143.036 | 2.1793 | 340.9113 | 21.3 | 885.8667 | 90.6933 | 0.592
2020-09-04 03:45:00 | 2.052 | 282.3067 | 2.0373 | 325.3213 | 2.624 | 276.0967 | 2.4307 | 326.9847 | 20.9667 | 885 | 92.7133 | 0.70533
2020-09-04 04:00:00 | 2.161 | 309.88 | 2.18 | 324.782 | 2.831 | 303.062 | 2.671 | 326.442 | 20.77 | 885 | 93.75 | 1.292
2020-09-04 04:15:00 | 2.2333 | 214.4533 | 2.1907 | 328.288 | 2.982 | 209.7347 | 2.6867 | 329.9667 | 20.6067 | 885 | 93.5733 | 1.9773
2020-09-04 04:30:00 | 2.953 | 271.82 | 3.035 | 325.4 | 3.626 | 265.841 | 3.587 | 327.064 | 20.34 | 885 | 93.89 | 3.532
2020-09-04 04:45:00 | 2.975 | 273.22 | 2.999 | 321.899 | 3.831 | 267.211 | 3.634 | 323.546 | 20.09 | 885 | 95.25 | 4.872
2020-09-04 05:00:00 | 2.925 | 275.64 | 2.997 | 326.556 | 3.67 | 269.576 | 3.591 | 328.222 | 19.92 | 885 | 95.95 | 3.866
2020-09-04 05:15:00 | 3.32 | 333.7 | 3.375 | 326.476 | 4.14 | 326.358 | 4.008 | 328.145 | 19.69 | 884.8 | 96.6 | 5.553
2020-09-04 05:30:00 | 3.71 | 317.8733 | 3.8227 | 328.908 | 4.58 | 310.88 | 4.544 | 330.59 | 19.34 | 884.6667 | 97.12 | 8.1133
2020-09-04 05:45:00 | 3.784 | 342.1 | 3.932 | 327.201 | 4.655 | 334.573 | 4.686 | 328.871 | 19.54 | 884 | 96.98 | 8.973
2020-09-04 06:00:00 | 3.6253 | 307.58 | 3.6833 | 320.844 | 4.4773 | 300.814 | 4.3427 | 322.4833 | 19.5067 | 884 | 96.6 | 8.5173
2020-09-04 06:15:00 | 3.391 | 315.14 | 3.351 | 319.278 | 4.361 | 308.207 | 4.002 | 320.91 | 19.35 | 884 | 96.7 | 7.976
2020-09-04 06:30:00 | 3.3853 | 307.8333 | 3.3647 | 319.7667 | 4.2747 | 301.0613 | 3.978 | 321.4 | 19.3067 | 884 | 97.2 | 7.0453
2020-09-04 06:45:00 | 3.315 | 330.14 | 3.299 | 321.919 | 4.232 | 322.877 | 3.937 | 323.565 | 19.65 | 884 | 97.32 | 7.377
2020-09-04 07:00:00 | 3.8333 | 341.62 | 4.0113 | 326.0267 | 4.6867 | 334.104 | 4.7773 | 327.6927 | 19.32 | 884.8 | 98.2333 | 8.9853
2020-09-04 07:15:00 | 3.978 | 312.67 | 4.158 | 322.682 | 4.828 | 305.791 | 4.925 | 324.331 | 19.3 | 885 | 98.32 | 10.432
2020-09-04 07:30:00 | 3.998 | 276.21 | 4.171 | 332.14 | 4.9 | 270.132 | 4.967 | 333.837 | 19.27 | 885 | 97.36 | 11.91
2020-09-04 07:45:00 | 3.768 | 338.66 | 3.874 | 327.062 | 4.611 | 331.209 | 4.564 | 328.734 | 19.29 | 885 | 96.1 | 9.574
2020-09-04 08:00:00 | 4.148 | 339.71 | 4.274 | 324.118 | 5.142 | 332.237 | 5.094 | 325.778 | 19.17 | 885.7 | 96.14 | 13.097
2020-09-04 08:15:00 | 3.8067 | 337.5 | 3.882 | 324.0893 | 4.5933 | 330.0747 | 4.512 | 325.746 | 19.5733 | 886 | 94.7133 | 9.356
2020-09-04 08:30:00 | 3.759 | 343.1 | 3.91 | 326.28 | 4.598 | 335.553 | 4.643 | 327.948 | 19.61 | 886 | 93.15 | 8.518
2020-09-04 08:45:00 | 3.8573 | 294.7467 | 3.994 | 319.676 | 4.7547 | 288.262 | 4.7593 | 321.3107 | 20 | 886 | 88.02 | 9.198
2020-09-04 09:00:00 | 3.441 | 329.4 | 3.574 | 324.11 | 4.07 | 322.154 | 4.145 | 325.766 | 20.39 | 886.7 | 87.22 | 6.687
2020-09-04 09:15:00 | 2.768 | 240.7733 | 2.8133 | 322.7727 | 3.1967 | 235.476 | 3.1593 | 324.4227 | 20.88 | 887 | 86.9067 | 3.0553
2020-09-04 09:30:00 | 2.718 | 274.14 | 2.791 | 323.844 | 3.268 | 268.107 | 3.249 | 325.501 | 20.98 | 887 | 85.7 | 2.903
2020-09-04 09:45:00 | 2.219 | 197.53 | 2.163 | 322.388 | 2.749 | 193.185 | 2.494 | 324.035 | 21.29 | 887 | 83.21 | 1.83
2020-09-04 10:00:00 | 1.702 | 103.45 | 1.614 | 322.436 | 1.889 | 101.173 | 1.67 | 324.085 | 21.74 | 887 | 80.75 | 0.129
2020-09-04 10:15:00 | 1.476 | 178.52 | 1.443 | 327.297 | 1.666 | 174.595 | 1.555 | 328.971 | 22.32 | 888 | 81.54 | 0
2020-09-04 10:30:00 | 1.301 | 233.48 | 1.29 | 203.179 | 1.477 | 228.344 | 1.407 | 204.218 | 22.82 | 888 | 84.41 | 0
2020-09-04 10:45:00 | 0.685 | 180.55 | 0.717 | 259.56 | 0.749 | 176.579 | 0.793 | 260.888 | 23.61 | 887.2 | 80.45 | 0
2020-09-04 11:00:00 | 1.389 | 168.79 | 1.396 | 127.961 | 1.506 | 165.076 | 1.489 | 128.617 | 24.12 | 888 | 80.692 | 0
2020-09-04 11:15:00 | 1.251 | 191.44 | 1.282 | 158.378 | 1.449 | 187.228 | 1.451 | 159.187 | 23.27 | 888 | 79.66 | 0
2020-09-04 11:30:00 | 0.735 | 217.78 | 0.776 | 183.862 | 0.916 | 212.989 | 0.944 | 184.803 | 23.49 | 888 | 82.09 | 0
2020-09-04 11:45:00 | 0.845 | 235.24 | 0.942 | 206.162 | 0.857 | 230.064 | 1.032 | 207.216 | 24.17 | 888 | 80.26 | 0
2020-09-04 12:00:00 | 1.943 | 168.97 | 2.041 | 157.841 | 2.23 | 165.251 | 2.336 | 158.646 | 22.91 | 888 | 80.989 | 0
2020-09-04 12:15:00 | 1.272 | 204.77 | 1.34 | 151.669 | 1.321 | 200.265 | 1.433 | 152.443 | 24.44 | 887 | 82.306 | 0
2020-09-04 12:30:00 | 1.3333 | 169.8733 | 1.3647 | 134.6053 | 1.5567 | 166.1367 | 1.5507 | 135.2947 | 24.84 | 887.1333 | 75.6007 | 0
2020-09-04 12:45:00 | 2.319 | 161.5 | 2.407 | 137.311 | 2.708 | 157.947 | 2.765 | 138.013 | 24.46 | 887.8 | 73.962 | 0
2020-09-04 13:00:00 | 2.0227 | 187.7067 | 2.054 | 147.424 | 2.1393 | 183.5767 | 2.1667 | 148.1773 | 24.5267 | 887 | 74.736 | 0.93
2020-09-04 13:15:00 | 1.305 | 191.02 | 1.343 | 162.604 | 1.675 | 186.817 | 1.646 | 163.434 | 24.95 | 887 | 72.921 | 0.261
2020-09-04 13:30:00 | 1.834 | 210.3 | 1.898 | 165.314 | 2.05 | 205.672 | 2.1073 | 166.16 | 25.4467 | 887 | 70.4493 | 0.564
2020-09-04 13:45:00 | 1.727 | 186.46 | 1.738 | 130.68 | 2.042 | 182.357 | 1.974 | 131.348 | 25.45 | 887 | 69.735 | 0.582
2020-09-04 14:00:00 | 2.0327 | 174.9333 | 2.052 | 143.284 | 2.466 | 171.0853 | 2.376 | 144.0153 | 25.8333 | 887 | 70.412 | 0.36133
2020-09-04 14:15:00 | 1.935 | 184.83 | 2.07 | 140.941 | 2.438 | 180.764 | 2.551 | 141.661 | 25.96 | 887 | 69.198 | 0.33
2020-09-04 14:30:00 | 1.814 | 159.5267 | 1.9007 | 155.62 | 2.1773 | 156.016 | 2.2353 | 156.4147 | 26.62 | 887 | 69.958 | 0.055333
2020-09-04 14:45:00 | 1.9633 | 179.8133 | 2.046 | 129.1353 | 2.264 | 175.8567 | 2.332 | 129.7947 | 26.2067 | 887 | 70.1467 | 0.093333
2020-09-04 15:00:00 | 1.7257 | 133.6 | 1.7521 | 132.7214 | 2.0286 | 130.9407 | 1.9836 | 133.4 | 26.5786 | 886.2727 | 69.0636 | 0
2020-09-04 15:15:00 | 1.557 | 116.83 | 1.549 | 124.959 | 1.771 | 114.26 | 1.695 | 125.597 | 26.66 | 886 | 67.466 | 0
2020-09-04 15:30:00 | 1.854 | 116.34 | 1.928 | 145.4473 | 2.058 | 113.78 | 2.1387 | 146.1913 | 26.78 | 886 | 65.8353 | 0
2020-09-04 15:45:00 | 2.042 | 152.46 | 2.115 | 153.555 | 2.269 | 149.105 | 2.343 | 154.341 | 27.15 | 886 | 65.322 | 0
2020-09-04 16:00:00 | 1.7913 | 146.7667 | 1.9073 | 141.778 | 2.08 | 143.5373 | 2.2147 | 142.502 | 27.1333 | 886 | 66.9873 | 0
2020-09-04 16:15:00 | 1.812 | 181.74 | 1.814 | 145.565 | 2.035 | 177.742 | 1.978 | 146.31 | 27.01 | 886 | 68.422 | 0
2020-09-04 16:30:00 | 1.802 | 127.74 | 1.846 | 156.568 | 2.039 | 124.93 | 2.06 | 157.369 | 27.09 | 886 | 66.856 | 0
2020-09-04 16:45:00 | 1.958 | 137.57 | 2.029 | 161.596 | 2.159 | 134.544 | 2.237 | 162.42 | 26.84 | 886 | 66 | 0
2020-09-04 17:00:00 | 1.9853 | 137.7067 | 2.0433 | 154.2227 | 2.3053 | 134.6767 | 2.3213 | 155.0127 | 26.9133 | 886 | 66.0007 | 0.34933
2020-09-04 17:15:00 | 2.218 | 175.29 | 2.318 | 164.439 | 2.533 | 171.433 | 2.629 | 165.281 | 26.73 | 886 | 66 | 0.868
2020-09-04 17:30:00 | 2.1773 | 146.5467 | 2.2833 | 156.7807 | 2.6507 | 143.322 | 2.716 | 157.5827 | 26.66 | 886 | 68.532 | 0.58533
2020-09-04 17:45:00 | 2.404 | 128.94 | 2.454 | 137.917 | 2.802 | 126.104 | 2.787 | 138.623 | 26.25 | 886 | 71.773 | 1.087
2020-09-04 18:00:00 | 2.3893 | 129.9067 | 2.4353 | 119.7787 | 2.852 | 127.0487 | 2.8067 | 120.3913 | 25.7067 | 885.8667 | 75.7347 | 2.0527
2020-09-04 18:15:00 | 2.09 | 123.06 | 2.183 | 121.644 | 2.615 | 120.353 | 2.639 | 122.266 | 25.68 | 885 | 74.502 | 1.675
2020-09-04 18:30:00 | 2.078 | 132.72 | 2.1607 | 118.5713 | 2.2787 | 129.7973 | 2.3787 | 119.18 | 25.6267 | 885 | 76.0193 | 0.78
2020-09-04 18:45:00 | 2.0353 | 122.08 | 2.124 | 128.712 | 2.2413 | 119.3947 | 2.352 | 129.37 | 25.4 | 885 | 77.442 | 0.876
2020-09-04 19:00:00 | 2.119 | 127.61 | 2.173 | 122.68 | 2.309 | 124.804 | 2.36 | 123.308 | 25.24 | 884.3 | 77.555 | 1.172
2020-09-04 19:15:00 | 2.525 | 131.64 | 2.671 | 128.236 | 2.712 | 128.744 | 2.94 | 128.891 | 25.07 | 884 | 78.683 | 2.098
2020-09-04 19:30:00 | 2.686 | 122.42 | 2.789 | 128.451 | 2.841 | 119.727 | 2.994 | 129.107 | 24.81 | 884 | 79.638 | 2.839
2020-09-04 19:45:00 | 2.7087 | 121.48 | 2.8087 | 116.316 | 2.8973 | 119.192 | 3.032 | 116.912 | 24.7867 | 884 | 80.6053 | 3.138
2020-09-04 20:00:00 | 2.759 | 125.8 | 2.865 | 126.748 | 2.878 | 123.034 | 3.05 | 127.395 | 24.78 | 884 | 79.758 | 3.272
2020-09-04 20:15:00 | 2.7607 | 135.6933 | 2.902 | 129.5513 | 3.086 | 132.708 | 3.26 | 130.214 | 24.6067 | 884 | 78.5007 | 3.58
2020-09-04 20:30:00 | 2.384 | 148.76 | 2.453 | 130.915 | 2.755 | 145.486 | 2.782 | 131.584 | 24.48 | 884 | 77.848 | 3.293
2020-09-04 20:45:00 | 2.1873 | 143.0133 | 2.2687 | 137.91 | 2.5453 | 139.8673 | 2.594 | 138.6167 | 24.3533 | 885 | 78.8493 | 3.442
2020-09-04 21:00:00 | 2.376 | 146.94 | 2.43 | 131.629 | 2.685 | 143.708 | 2.7 | 132.302 | 24.18 | 885 | 79.828 | 3.814
2020-09-04 21:15:00 | 2.39 | 150.7733 | 2.5087 | 132.5113 | 2.7347 | 147.4553 | 2.86 | 133.19 | 24 | 885 | 81.3133 | 2.4753
2020-09-04 21:30:00 | 2.137 | 148.03 | 2.23 | 144.969 | 2.385 | 144.774 | 2.49 | 145.713 | 24.02 | 885 | 81.57 | 1.603
2020-09-04 21:45:00 | 2.191 | 157.44 | 2.241 | 152.715 | 2.414 | 153.976 | 2.45 | 153.494 | 23.98 | 885 | 82.22 | 1.745
2020-09-04 22:00:00 | 2.281 | 153.07 | 2.349 | 153.381 | 2.553 | 149.702 | 2.604 | 154.166 | 23.92 | 885 | 82.25 | 1.824
2020-09-04 22:15:00 | 2.0167 | 159.9133 | 2.0927 | 157.4647 | 2.2233 | 156.394 | 2.306 | 158.27 | 23.8667 | 885 | 82.6133 | 0.90933
2020-09-04 22:30:00 | 1.999 | 156.21 | 2.067 | 150.259 | 2.194 | 152.774 | 2.269 | 151.028 | 23.79 | 885 | 82.66 | 0.909
2020-09-04 22:45:00 | 1.716 | 162.0533 | 1.7907 | 155.3133 | 1.9587 | 158.4873 | 2.032 | 156.1067 | 23.6733 | 885 | 82.5 | 0.43733
2020-09-04 23:00:00 | 1.573 | 160.8 | 1.655 | 146.289 | 1.717 | 157.262 | 1.83 | 147.037 | 23.62 | 885 | 82.6 | 0.326
2020-09-04 23:15:00 | 1.5753 | 167.0667 | 1.652 | 161.768 | 1.8507 | 163.3907 | 1.9187 | 162.5953 | 23.5333 | 885 | 83.16 | 0.10467
2020-09-04 23:30:00 | 1.467 | 143.77 | 1.567 | 159.58 | 1.737 | 140.606 | 1.847 | 160.395 | 23.55 | 885 | 83.64 | 0.037
2020-09-04 23:45:00 | 1.5 | 148.5 | 1.581 | 151.521 | 1.811 | 145.234 | 1.877 | 152.296 | 23.35 | 885 | 83.82 | 0.244