## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-05 00:00:00 | 1.497 | 144.79 | 1.588 | 142.103 | 1.835 | 141.605 | 1.909 | 142.829 | 23.3 | 885 | 83.91 | 0.308
2020-09-05 00:15:00 | 1.135 | 122.56 | 1.229 | 151.161 | 1.514 | 119.865 | 1.578 | 151.932 | 23.3 | 885 | 84.38 | 0.045
2020-09-05 00:30:00 | 1.425 | 125.88 | 1.546 | 135.463 | 1.759 | 123.111 | 1.897 | 136.155 | 23.28 | 885 | 84.63 | 0.024
2020-09-05 00:45:00 | 1.357 | 118.5 | 1.448 | 115.55 | 1.704 | 115.892 | 1.775 | 116.141 | 23.17 | 885 | 85.12 | 0.014
2020-09-05 01:00:00 | 1.246 | 115.02 | 1.3227 | 110.2987 | 1.5507 | 112.4907 | 1.6093 | 110.8633 | 23.2133 | 885 | 85.56 | 0.026667
2020-09-05 01:15:00 | 1.367 | 116.66 | 1.395 | 106.27 | 1.58 | 114.093 | 1.574 | 106.813 | 23.14 | 885 | 85.8 | 0
2020-09-05 01:30:00 | 1.205 | 117.78 | 1.238 | 118.944 | 1.409 | 115.19 | 1.41 | 119.552 | 23.1 | 885 | 85.77 | 0
2020-09-05 01:45:00 | 0.999 | 103.89 | 1.091 | 98.24 | 1.334 | 101.605 | 1.412 | 98.743 | 23.11 | 884 | 87.1 | 0
2020-09-05 02:00:00 | 1.0113 | 104.62 | 1.1107 | 95.1073 | 1.3573 | 102.3187 | 1.4447 | 95.5927 | 23.1 | 884 | 87.1133 | 0
2020-09-05 02:15:00 | 1.184 | 105.36 | 1.294 | 101.8 | 1.441 | 103.041 | 1.57 | 102.322 | 23.09 | 884 | 86.77 | 0
2020-09-05 02:30:00 | 1.408 | 111.93 | 1.501 | 102.104 | 1.612 | 109.467 | 1.722 | 102.626 | 23 | 884 | 87.69 | 0
2020-09-05 02:45:00 | 1.64 | 114.06 | 1.706 | 106.114 | 1.724 | 111.552 | 1.832 | 106.656 | 23.04 | 884 | 88.2 | 0
2020-09-05 03:00:00 | 1.345 | 108.67 | 1.428 | 112.049 | 1.269 | 106.279 | 1.445 | 112.623 | 23.06 | 883 | 88.48 | 0
2020-09-05 03:15:00 | 1.032 | 99.8067 | 1.0747 | 101.0793 | 0.89067 | 97.61 | 1.012 | 101.596 | 23.1733 | 883 | 88.94 | 0
2020-09-05 03:30:00 | 0.885 | 93.65 | 0.917 | 103.679 | 0.828 | 91.59 | 0.91 | 104.207 | 23 | 883 | 89.07 | 0
2020-09-05 03:45:00 | 0.62133 | 78.56 | 0.63 | 90.7527 | 0.52733 | 76.832 | 0.57333 | 91.2147 | 22.92 | 883 | 89.1067 | 0
2020-09-05 04:00:00 | 0.374 | 61.08 | 0.38667 | 88.1833 | 0.32 | 59.736 | 0.35667 | 88.6347 | 22.92 | 883 | 90.1333 | 0
2020-09-05 04:15:00 | 0.378 | 91.74 | 0.368 | 72.265 | 0.439 | 89.723 | 0.402 | 72.634 | 22.9 | 883 | 90.74 | 0
2020-09-05 04:30:00 | 0.621 | 211.95 | 0.67 | 32.039 | 0.773 | 207.286 | 0.827 | 32.203 | 22.84 | 883 | 92 | 0
2020-09-05 04:45:00 | 0.85533 | 207.4667 | 0.89 | 177.898 | 0.99267 | 202.9013 | 1.016 | 178.808 | 22.64 | 883 | 92.7733 | 0
2020-09-05 05:00:00 | 1.228 | 34.6267 | 1.25 | 169.8193 | 1.462 | 33.866 | 1.4373 | 170.6873 | 22.4533 | 883 | 93.08 | 0
2020-09-05 05:15:00 | 1.121 | 62.34 | 1.125 | 127.483 | 1.514 | 60.971 | 1.407 | 128.133 | 22.47 | 883 | 93.42 | 0
2020-09-05 05:30:00 | 0.718 | 309.1 | 0.741 | 179.091 | 1.28 | 302.299 | 1.163 | 180.008 | 22.66 | 883 | 94.6 | 0
2020-09-05 05:45:00 | 0.58867 | 229.3467 | 0.63867 | 184.1513 | 0.864 | 224.302 | 0.88133 | 185.092 | 22.72 | 883 | 93.3267 | 0
2020-09-05 06:00:00 | 0.791 | 241.3 | 0.847 | 336.237 | 1.102 | 235.993 | 1.117 | 337.955 | 22.41 | 883 | 94.03 | 0
2020-09-05 06:15:00 | 0.745 | 317.27 | 0.745 | 298.611 | 1.327 | 310.292 | 1.158 | 300.139 | 22.42 | 883 | 95.48 | 0
2020-09-05 06:30:00 | 1.1213 | 313.18 | 1.1967 | 295.2833 | 1.586 | 306.2893 | 1.5933 | 296.7933 | 22.2067 | 883 | 96.3467 | 0
2020-09-05 06:45:00 | 1.038 | 259.48 | 1.046 | 335.122 | 1.636 | 253.772 | 1.476 | 336.834 | 22.22 | 883 | 96.44 | 0
2020-09-05 07:00:00 | 1.303 | 336.62 | 1.261 | 318.828 | 1.743 | 329.214 | 1.534 | 320.458 | 21.98 | 883 | 95.39 | 0
2020-09-05 07:15:00 | 0.85267 | 251.0467 | 0.864 | 330.5053 | 1.3213 | 245.5233 | 1.2033 | 332.1967 | 22.2133 | 883 | 94.3733 | 0
2020-09-05 07:30:00 | 0.492 | 149.5733 | 0.48667 | 252.0373 | 0.82267 | 149.3933 | 0.71667 | 253.3253 | 22.3267 | 883 | 94.0667 | 0.082
2020-09-05 07:45:00 | 0.708 | 35.46 | 0.717 | 331.062 | 0.909 | 34.68 | 0.868 | 332.754 | 22.3 | 883 | 93.68 | 0.07
2020-09-05 08:00:00 | 0.56 | 292.94 | 0.547 | 308.226 | 0.655 | 286.496 | 0.606 | 309.803 | 22.25 | 883.7 | 93.17 | 0.009
2020-09-05 08:15:00 | 0.824 | 290.36 | 0.87 | 307.828 | 1.0293 | 283.972 | 1.0553 | 309.4027 | 22.2067 | 884 | 92.8067 | 0
2020-09-05 08:30:00 | 1.0313 | 305.6533 | 1.0273 | 309.4127 | 1.234 | 298.9293 | 1.166 | 310.994 | 21.8733 | 884 | 92.4933 | 0.040667
2020-09-05 08:45:00 | 0.905 | 245.02 | 0.929 | 317.821 | 1.114 | 239.63 | 1.101 | 319.445 | 21.99 | 884 | 92.73 | 0.311
2020-09-05 09:00:00 | 0.621 | 13.65 | 0.648 | 329.673 | 0.678 | 13.349 | 0.712 | 331.359 | 22.01 | 884 | 92.05 | 0
2020-09-05 09:15:00 | 0.788 | 297.28 | 0.824 | 294.574 | 1.029 | 290.739 | 1.025 | 296.079 | 21.93 | 884 | 92.99 | 0.115
2020-09-05 09:30:00 | 0.505 | 301.11 | 0.514 | 238.426 | 0.575 | 294.485 | 0.568 | 239.644 | 22.14 | 884 | 93.5 | 0.09
2020-09-05 09:45:00 | 0.792 | 281.1 | 0.803 | 236.384 | 0.947 | 274.914 | 0.923 | 237.59 | 22.05 | 884 | 93.24 | 0.403
2020-09-05 10:00:00 | 0.75867 | 288.5133 | 0.818 | 255.0233 | 1.056 | 282.1653 | 1.0827 | 256.3273 | 22.3267 | 884 | 93.42 | 0.44733
2020-09-05 10:15:00 | 0.92 | 278.6467 | 0.99667 | 277.752 | 1.298 | 272.5153 | 1.332 | 279.172 | 22.3467 | 884 | 93.34 | 0.32933
2020-09-05 10:30:00 | 0.834 | 267.88 | 0.882 | 274.709 | 1.333 | 261.988 | 1.272 | 276.113 | 22.43 | 884 | 93.31 | 0.328
2020-09-05 10:45:00 | 0.797 | 261.82 | 0.881 | 274.182 | 1.326 | 256.059 | 1.331 | 275.585 | 22.37 | 885 | 93.78 | 0
2020-09-05 11:00:00 | 0.919 | 263.02 | 0.963 | 282.143 | 1.488 | 257.234 | 1.404 | 283.584 | 22.33 | 885 | 93.89 | 0
2020-09-05 11:15:00 | 1.742 | 308.0733 | 1.7753 | 314.446 | 2.3413 | 301.296 | 2.2327 | 316.054 | 22.0267 | 885 | 93.3467 | 0
2020-09-05 11:30:00 | 2.118 | 309.13 | 2.129 | 324.335 | 2.48 | 302.328 | 2.401 | 325.991 | 21.37 | 885 | 92.86 | 0
2020-09-05 11:45:00 | 1.867 | 311.4 | 1.894 | 328.881 | 2.391 | 304.549 | 2.291 | 330.565 | 21.42 | 885 | 91.77 | 0.207
2020-09-05 12:00:00 | 2.8187 | 290.7467 | 2.9047 | 330.792 | 3.372 | 284.3493 | 3.3787 | 332.4827 | 21.38 | 885 | 92.3733 | 2.184
2020-09-05 12:15:00 | 3.1367 | 297.54 | 3.2467 | 330.304 | 3.7467 | 290.994 | 3.778 | 331.9913 | 21.26 | 884.5333 | 93.5 | 3.5107
2020-09-05 12:30:00 | 3.266 | 314.62 | 3.409 | 328.344 | 4.004 | 307.699 | 4.062 | 330.024 | 20.93 | 884 | 94.08 | 4.549
2020-09-05 12:45:00 | 3.24 | 283.86 | 3.384 | 330.652 | 3.809 | 277.615 | 3.917 | 332.34 | 21.08 | 884 | 94.75 | 4.335
2020-09-05 13:00:00 | 3.4433 | 318.02 | 3.6293 | 318.1113 | 4.2073 | 311.0247 | 4.342 | 319.7373 | 20.9133 | 884 | 95.5733 | 5.7307
2020-09-05 13:15:00 | 3.934 | 334.48 | 4.165 | 319.913 | 4.655 | 327.121 | 4.888 | 321.549 | 20.97 | 884 | 96.14 | 8.334
2020-09-05 13:30:00 | 3.945 | 299.86 | 4.274 | 316.745 | 4.667 | 293.263 | 5.081 | 318.365 | 20.92 | 884 | 96.29 | 8.527
2020-09-05 13:45:00 | 3.8107 | 335.9333 | 4.122 | 320.8887 | 4.6207 | 328.544 | 4.9793 | 322.528 | 20.8 | 884 | 96.0133 | 8.7653
2020-09-05 14:00:00 | 4.076 | 337.9667 | 4.4547 | 317.6093 | 4.78 | 330.5313 | 5.2947 | 319.2327 | 20.6267 | 884 | 96.7267 | 11.4013
2020-09-05 14:15:00 | 4.417 | 337.93 | 4.885 | 312.316 | 4.968 | 330.495 | 5.69 | 313.911 | 20.6 | 884 | 97.18 | 15.288
2020-09-05 14:30:00 | 4.865 | 338.07 | 5.365 | 317.918 | 5.528 | 330.633 | 6.278 | 319.545 | 20.53 | 884 | 97.37 | 19.885
2020-09-05 14:45:00 | 5.1067 | 332.6 | 5.6173 | 323.2233 | 5.84 | 325.282 | 6.594 | 324.8747 | 20.2267 | 884 | 97.6333 | 23.1407
2020-09-05 15:00:00 | 5.137 | 329.56 | 5.631 | 315.639 | 5.883 | 322.31 | 6.599 | 317.253 | 20.23 | 884 | 98.29 | 22.536
2020-09-05 15:15:00 | 5.009 | 331.07 | 5.526 | 320.206 | 5.769 | 323.786 | 6.527 | 321.845 | 20.32 | 883.8 | 99.16 | 22.587
2020-09-05 15:30:00 | 5.3207 | 329.8667 | 5.8 | 321.5087 | 6.1793 | 322.61 | 6.838 | 323.15 | 20.1867 | 883 | 99.6667 | 24.4973
2020-09-05 15:45:00 | 5.578 | 329.45 | 6.057 | 317.458 | 6.313 | 322.201 | 7.007 | 319.081 | 20.04 | 883 | 99.92 | 27.044
2020-09-05 16:00:00 | 6.087 | 334.19 | 6.576 | 324.187 | 6.886 | 326.837 | 7.586 | 325.845 | 19.99 | 883 | 100 | 32.598
2020-09-05 16:15:00 | 6.3687 | 340.3333 | 6.902 | 324.162 | 7.1753 | 332.8467 | 7.9507 | 325.8193 | 19.8333 | 883 | 100 | 34.886
2020-09-05 16:30:00 | 6.4773 | 321.5067 | 6.978 | 322.5907 | 7.1307 | 314.4347 | 7.89 | 324.2393 | 19.7467 | 883 | 100 | 35.3493
2020-09-05 16:45:00 | 6.667 | 339.52 | 7.214 | 320.989 | 7.405 | 332.051 | 8.227 | 322.632 | 19.76 | 883 | 100 | 37.206
2020-09-05 17:00:00 | 6.931 | 349.63 | 7.54 | 327.248 | 7.351 | 341.938 | 8.386 | 328.92 | 19.49 | 883 | 100 | 36.641
2020-09-05 17:15:00 | 7.1921 | 347.8429 | 7.7621 | 323.7171 | 7.795 | 340.19 | 8.6971 | 325.3729 | 19.5929 | 883 | 100 | 36.8713
2020-09-05 17:30:00 | 6.8907 | 350.3533 | 7.4307 | 325.1713 | 7.5033 | 342.6453 | 8.352 | 326.8353 | 19.5267 | 883 | 100 | 36.5947
2020-09-05 17:45:00 | 6.655 | 347.81 | 7.164 | 328.275 | 7.061 | 340.158 | 7.905 | 329.954 | 19.35 | 883 | 100 | 38.662
2020-09-05 18:00:00 | 6.543 | 348.82 | 7.082 | 324.52 | 7.058 | 341.145 | 7.933 | 326.179 | 19.26 | 883 | 100 | 37.965
2020-09-05 18:15:00 | 6.4787 | 344.86 | 6.992 | 329.45 | 6.9507 | 337.168 | 7.7707 | 331.1327 | 19.1333 | 883 | 100 | 36.516
2020-09-05 18:30:00 | 6.4347 | 345.62 | 6.9893 | 327.7733 | 7.0547 | 338.0153 | 7.9293 | 329.4487 | 19.2667 | 883 | 100 | 36.5
2020-09-05 18:45:00 | 6.608 | 345.56 | 7.169 | 323.59 | 7.327 | 337.957 | 8.185 | 325.245 | 19.45 | 883.2 | 100 | 36.786
2020-09-05 19:00:00 | 6.592 | 342.05 | 7.071 | 327.68 | 7.428 | 334.524 | 8.094 | 329.354 | 19.38 | 883.3 | 100 | 36.908
2020-09-05 19:15:00 | 6.7413 | 343.86 | 7.3173 | 326.344 | 7.562 | 336.2947 | 8.4127 | 328.0133 | 19.38 | 884 | 100 | 37.0187
2020-09-05 19:30:00 | 6.692 | 344.04 | 7.164 | 327.492 | 7.562 | 336.472 | 8.206 | 329.166 | 19.48 | 884 | 100 | 37.058
2020-09-05 19:45:00 | 6.695 | 280.69 | 7.234 | 330.524 | 7.587 | 274.514 | 8.347 | 332.215 | 19.39 | 884 | 100 | 38.752
2020-09-05 20:00:00 | 6.608 | 345.25 | 7.11 | 330.748 | 7.171 | 337.655 | 7.96 | 332.441 | 19.53 | 884 | 100 | 40.968
2020-09-05 20:15:00 | 6.47 | 345.2933 | 6.9767 | 330.7073 | 6.9947 | 338.1327 | 7.808 | 332.398 | 19.4267 | 884 | 100 | 39.7213
2020-09-05 20:30:00 | 6.538 | 344.99 | 7.065 | 328.773 | 7.125 | 337.4 | 7.952 | 330.454 | 19.43 | 884 | 100 | 39.353
2020-09-05 20:45:00 | 6.863 | 347.3 | 7.432 | 333.333 | 7.321 | 339.66 | 8.261 | 335.037 | 19.43 | 884 | 100 | 40.857
2020-09-05 21:00:00 | 6.916 | 343.32 | 7.495 | 330.789 | 7.481 | 335.766 | 8.412 | 332.482 | 19.44 | 884.7 | 100 | 43.191
2020-09-05 21:15:00 | 6.7493 | 343.06 | 7.306 | 329.0907 | 7.1607 | 335.5127 | 8.098 | 330.772 | 19.4267 | 885 | 100 | 41.8387
2020-09-05 21:30:00 | 6.696 | 344.37 | 7.187 | 327.415 | 7.083 | 337.342 | 7.908 | 329.09 | 19.47 | 885 | 100 | 40.231
2020-09-05 21:45:00 | 6.359 | 348.01 | 6.828 | 324.492 | 6.625 | 340.353 | 7.441 | 326.151 | 19.4 | 885 | 100 | 38.126
2020-09-05 22:00:00 | 6.6957 | 317.1571 | 7.12 | 325.9693 | 7.3193 | 310.18 | 7.9443 | 327.6343 | 19.4857 | 885 | 100 | 41.0853
2020-09-05 22:15:00 | 6.79 | 350.52 | 7.206 | 322.76 | 7.288 | 342.81 | 7.942 | 324.408 | 19.34 | 885 | 100 | 43.704
2020-09-05 22:30:00 | 7.048 | 348.09 | 7.486 | 335.055 | 7.366 | 340.432 | 8.1 | 336.766 | 19.51 | 885 | 100 | 45.28
2020-09-05 22:45:00 | 7.006 | 348.19 | 7.504 | 332.404 | 7.502 | 340.529 | 8.302 | 334.102 | 19.44 | 885 | 100 | 43.004
2020-09-05 23:00:00 | 6.798 | 344.2733 | 7.2867 | 328.8627 | 7.2627 | 336.6987 | 8.06 | 330.544 | 19.3667 | 885 | 100 | 43.8133
2020-09-05 23:15:00 | 6.953 | 344 | 7.39 | 330.886 | 7.471 | 336.434 | 8.156 | 332.578 | 19.38 | 885 | 100 | 44.832
2020-09-05 23:30:00 | 7.062 | 346.45 | 7.631 | 332.178 | 7.813 | 338.827 | 8.672 | 333.877 | 19.4 | 885 | 100 | 46.031
2020-09-05 23:45:00 | 6.8147 | 339.0667 | 7.2413 | 326.6327 | 7.2727 | 331.608 | 7.968 | 328.3027 | 19.24 | 885 | 100 | 44.8547