## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-06 00:00:00 | 6.728 | 319.0533 | 7.1033 | 328.6073 | 7.3253 | 312.0333 | 7.8667 | 330.288 | 19.3133 | 885 | 100 | 45.9193
2020-09-06 00:15:00 | 6.713 | 344.02 | 7.153 | 327.797 | 7.356 | 336.453 | 8.005 | 329.473 | 19.45 | 885 | 100 | 46.372
2020-09-06 00:30:00 | 6.862 | 339.25 | 7.285 | 329.692 | 7.542 | 331.787 | 8.148 | 331.38 | 19.41 | 884.3 | 100 | 44.834
2020-09-06 00:45:00 | 6.961 | 306.87 | 7.375 | 334.564 | 7.522 | 300.119 | 8.148 | 336.276 | 19.49 | 884.8 | 100 | 47.892
2020-09-06 01:00:00 | 6.5867 | 340.3333 | 6.8567 | 329.6193 | 6.8613 | 332.8453 | 7.2973 | 331.3033 | 19.36 | 884.1333 | 100 | 46.2813
2020-09-06 01:15:00 | 6.9587 | 342.96 | 7.3487 | 328.4973 | 7.558 | 335.4147 | 8.1253 | 330.1753 | 19.2467 | 884.5333 | 100 | 52.514
2020-09-06 01:30:00 | 7.311 | 306.81 | 7.688 | 328.951 | 7.755 | 300.061 | 8.34 | 330.632 | 19.09 | 884 | 100 | 52.381
2020-09-06 01:45:00 | 6.874 | 306.03 | 7.239 | 334.633 | 7.491 | 299.298 | 8.01 | 336.343 | 19.09 | 884 | 100 | 51.552
2020-09-06 02:00:00 | 6.942 | 340.05 | 7.297 | 324.735 | 7.551 | 332.569 | 8.048 | 326.394 | 18.95 | 884 | 100 | 54.083
2020-09-06 02:15:00 | 7.2153 | 320.5467 | 7.5053 | 334.7827 | 7.8467 | 313.4953 | 8.216 | 336.494 | 19.2133 | 884 | 100 | 50.9087
2020-09-06 02:30:00 | 7.3227 | 341.0867 | 7.688 | 313.3587 | 8.012 | 333.5833 | 8.5013 | 314.9613 | 19.4533 | 884 | 100 | 50.7187
2020-09-06 02:45:00 | 6.624 | 345.59 | 6.919 | 337.703 | 6.963 | 337.986 | 7.429 | 339.43 | 19.72 | 884 | 100 | 45.986
2020-09-06 03:00:00 | 5.856 | 279.68 | 6.227 | 329.254 | 6.411 | 273.527 | 6.958 | 330.936 | 19.26 | 884 | 100 | 37.163
2020-09-06 03:15:00 | 6.2273 | 299.86 | 6.6393 | 323.0253 | 6.7467 | 293.264 | 7.3773 | 324.6787 | 19.2267 | 884 | 100 | 40.5313
2020-09-06 03:30:00 | 6.344 | 339.54 | 6.772 | 317.576 | 7.124 | 332.072 | 7.706 | 319.2 | 19.04 | 884 | 100 | 41.102
2020-09-06 03:45:00 | 7.024 | 349.74 | 7.525 | 329.359 | 7.9 | 342.046 | 8.596 | 331.044 | 19.24 | 884 | 100 | 47.955
2020-09-06 04:00:00 | 7.172 | 354.23 | 7.678 | 327.434 | 7.99 | 346.436 | 8.71 | 329.108 | 19.14 | 884 | 100 | 48.744
2020-09-06 04:15:00 | 6.84 | 350.93 | 7.341 | 319.463 | 7.683 | 343.209 | 8.391 | 321.096 | 18.84 | 883.8 | 100 | 46.86
2020-09-06 04:30:00 | 7.1767 | 340.2933 | 7.64 | 328.6213 | 7.828 | 332.808 | 8.5227 | 330.3013 | 18.9267 | 883.8 | 100 | 48.6367
2020-09-06 04:45:00 | 7.212 | 270.98 | 7.662 | 326.672 | 7.836 | 265.018 | 8.512 | 328.342 | 18.98 | 884 | 100 | 48.956
2020-09-06 05:00:00 | 7.088 | 345.86 | 7.548 | 328.256 | 7.756 | 338.252 | 8.438 | 329.934 | 19.1 | 883.4 | 100 | 48.052
2020-09-06 05:15:00 | 7.092 | 351.12 | 7.606 | 331.268 | 7.878 | 343.396 | 8.619 | 332.963 | 19.07 | 884 | 100 | 44.46
2020-09-06 05:30:00 | 6.896 | 351.8 | 7.43 | 328.773 | 7.661 | 344.06 | 8.45 | 330.456 | 19 | 884 | 100 | 44.154
2020-09-06 05:45:00 | 6.779 | 349.73 | 7.297 | 322.309 | 7.583 | 342.036 | 8.336 | 323.957 | 18.64 | 884 | 100 | 45.026
2020-09-06 06:00:00 | 6.994 | 348.3133 | 7.494 | 327.6173 | 7.7267 | 340.6507 | 8.4573 | 329.2907 | 18.42 | 884 | 100 | 46.898
2020-09-06 06:15:00 | 7.1978 | 348.5889 | 7.71 | 327.5633 | 8.0278 | 340.92 | 8.7567 | 329.2378 | 18.4222 | 884 | 100 | 48.1656
2020-09-06 06:30:00 | 7.511 | 342.82 | 8.013 | 323.66 | 8.203 | 335.278 | 8.959 | 325.314 | 18.73 | 884 | 100 | 48.349
2020-09-06 06:45:00 | 7.475 | 346.7 | 8.086 | 329.028 | 8.359 | 339.072 | 9.264 | 330.711 | 18.41 | 884 | 100 | 47.677
2020-09-06 07:00:00 | 7.638 | 346.52 | 8.285 | 324.488 | 8.537 | 338.895 | 9.503 | 326.148 | 18.35 | 884 | 100 | 47.228
2020-09-06 07:15:00 | 7.5473 | 345.88 | 8.164 | 321.6247 | 8.158 | 338.2707 | 9.15 | 323.27 | 18.3267 | 884 | 100 | 47.0813
2020-09-06 07:30:00 | 7.5473 | 345.88 | 8.164 | 321.6247 | 8.158 | 338.2707 | 9.15 | 323.27 | 18.3267 | 884 | 100 | 47.0813
2020-09-06 07:45:00 | 7.706 | 349.05 | 8.359 | 325.009 | 8.422 | 341.371 | 9.449 | 326.67 | 18.76 | 885 | 100 | 47.682
2020-09-06 08:00:00 | 7.663 | 344.76 | 8.336 | 327.904 | 8.588 | 337.176 | 9.6 | 329.581 | 18.75 | 885 | 100 | 46.022
2020-09-06 08:15:00 | 7.231 | 344.66 | 7.85 | 328.343 | 8.089 | 337.078 | 9.016 | 330.023 | 19.06 | 885.2 | 100 | 46.512
2020-09-06 08:30:00 | 7.18 | 346.42 | 7.798 | 331.728 | 7.991 | 338.799 | 8.924 | 333.424 | 18.95 | 886 | 99.63 | 45.813
2020-09-06 08:45:00 | 6.9367 | 346.1133 | 7.5733 | 325.21 | 7.782 | 338.4993 | 8.74 | 326.8733 | 18.8467 | 886.4667 | 91.4533 | 43.174
2020-09-06 09:00:00 | 6.3653 | 337.7933 | 6.9007 | 323.822 | 7.1053 | 330.3607 | 7.9033 | 325.4787 | 19.2533 | 887 | 86.9667 | 40.508
2020-09-06 09:15:00 | 6.2267 | 340.5556 | 6.7467 | 324.0989 | 7.0478 | 333.0633 | 7.7922 | 325.7567 | 19.5111 | 887 | 86.1111 | 39.651
2020-09-06 09:30:00 | 5.875 | 337.32 | 6.375 | 327.347 | 6.394 | 329.9 | 7.189 | 329.021 | 19.66 | 887 | 86.47 | 37.198
2020-09-06 09:45:00 | 6.019 | 339.65 | 6.537 | 323.825 | 6.802 | 332.178 | 7.556 | 325.481 | 20.14 | 887 | 83.83 | 36.224
2020-09-06 10:00:00 | 5.794 | 337.57 | 6.366 | 330.682 | 6.724 | 330.143 | 7.539 | 332.371 | 20.51 | 887.7 | 83.13 | 36.731
2020-09-06 10:15:00 | 5.7864 | 317.6786 | 6.2521 | 327.7264 | 6.5036 | 310.6886 | 7.1771 | 329.4029 | 20.9071 | 887.2 | 82.11 | 35.0814
2020-09-06 10:30:00 | 5.0693 | 296.98 | 5.3773 | 329.2333 | 5.378 | 290.4467 | 5.8747 | 330.9167 | 21.3067 | 888 | 80.738 | 29.0367
2020-09-06 10:45:00 | 5.02 | 281.18 | 5.196 | 267.678 | 5.818 | 274.994 | 5.92 | 269.048 | 21.62 | 888 | 79.35 | 26.348
2020-09-06 11:00:00 | 5.353 | 270.59 | 5.73 | 335.455 | 6.117 | 264.637 | 6.608 | 337.169 | 22.07 | 888 | 77.514 | 32.27
2020-09-06 11:15:00 | 5.601 | 282.27 | 5.969 | 325.291 | 6.551 | 276.061 | 6.975 | 326.955 | 22.39 | 888 | 76.438 | 32.189
2020-09-06 11:30:00 | 5.388 | 242.05 | 5.622 | 232.489 | 5.966 | 236.725 | 6.248 | 233.68 | 22.76 | 888 | 75.544 | 32.673
2020-09-06 11:45:00 | 4.921 | 275.95 | 5.331 | 304.392 | 5.594 | 269.88 | 6.18 | 305.95 | 23.41 | 888 | 74.317 | 27.986
2020-09-06 12:00:00 | 5.0173 | 274.8133 | 5.4587 | 266.0293 | 5.558 | 268.768 | 6.2387 | 267.39 | 23.92 | 888 | 71.5027 | 26.29
2020-09-06 12:15:00 | 4.438 | 208.96 | 4.752 | 266.72 | 4.96 | 204.366 | 5.406 | 268.086 | 24.2 | 888 | 70.594 | 24.23
2020-09-06 12:30:00 | 4.392 | 141.13 | 4.708 | 296.177 | 5.13 | 138.026 | 5.517 | 297.691 | 24.63 | 887 | 67.386 | 25.736
2020-09-06 12:45:00 | 4.29 | 178.33 | 4.633 | 236.316 | 4.982 | 174.406 | 5.44 | 237.523 | 25.24 | 887 | 65.753 | 27.801
2020-09-06 13:00:00 | 4.844 | 306.81 | 5.248 | 298.063 | 5.855 | 268.432 | 6.315 | 299.589 | 25.44 | 887 | 63.419 | 28.021
2020-09-06 13:15:00 | 4.952 | 206.8 | 5.291 | 234.466 | 5.836 | 202.25 | 6.229 | 235.666 | 25.68 | 887 | 61.591 | 29.417
2020-09-06 13:30:00 | 5.402 | 296.8267 | 5.7927 | 338.2247 | 6.342 | 290.2967 | 6.8087 | 339.9533 | 25.8133 | 887 | 58.9647 | 28.4913
2020-09-06 13:45:00 | 5.174 | 283.56 | 5.494 | 338.818 | 6.14 | 277.32 | 6.464 | 340.552 | 25.94 | 887 | 58.056 | 26.576
2020-09-06 14:00:00 | 4.838 | 346.58 | 5.236 | 202.523 | 5.421 | 338.956 | 6.008 | 203.56 | 26.31 | 887 | 55.412 | 23.111
2020-09-06 14:15:00 | 4.805 | 341.96 | 5.261 | 171.276 | 5.595 | 334.437 | 6.232 | 172.153 | 26.53 | 887.8 | 56.296 | 22.525
2020-09-06 14:30:00 | 4.333 | 313.35 | 4.724 | 270.526 | 4.989 | 306.457 | 5.538 | 271.906 | 26.84 | 887 | 57.049 | 20.306
2020-09-06 14:45:00 | 4.206 | 321.0667 | 4.5813 | 224.21 | 4.9513 | 314.0027 | 5.446 | 225.356 | 27.16 | 887 | 54.276 | 16.6673
2020-09-06 15:00:00 | 4.116 | 271.32 | 4.452 | 207.982 | 5.216 | 265.35 | 5.534 | 209.044 | 27.32 | 887 | 53.592 | 16.606
2020-09-06 15:15:00 | 4.05 | 278.03 | 4.28 | 335.474 | 4.758 | 271.913 | 4.99 | 337.187 | 27.5 | 887 | 53.107 | 13.438
2020-09-06 15:30:00 | 4.142 | 307.02 | 4.511 | 260.499 | 4.905 | 300.265 | 5.381 | 261.831 | 27.68 | 887 | 53.753 | 18.079
2020-09-06 15:45:00 | 4.183 | 177.85 | 4.574 | 273.742 | 4.96 | 173.936 | 5.474 | 275.143 | 27.7 | 887 | 53.852 | 16.044
2020-09-06 16:00:00 | 4.095 | 338.74 | 4.4 | 204.597 | 4.931 | 331.287 | 5.265 | 205.643 | 27.77 | 887 | 52.747 | 14.494
2020-09-06 16:15:00 | 3.8887 | 324.62 | 4.19 | 253.2953 | 4.6013 | 317.4773 | 4.9633 | 254.5893 | 27.8733 | 887 | 53.6593 | 14.104
2020-09-06 16:30:00 | 3.7367 | 301.4333 | 4.1187 | 139.0913 | 4.324 | 294.802 | 4.8773 | 139.8033 | 28.0267 | 887 | 52.502 | 12.3033
2020-09-06 16:45:00 | 3.514 | 209.84 | 3.8 | 214.222 | 4.21 | 205.224 | 4.552 | 215.316 | 28.08 | 887 | 51.602 | 11.358
2020-09-06 17:00:00 | 3.465 | 213.13 | 3.753 | 240.107 | 3.867 | 208.442 | 4.298 | 241.336 | 28.04 | 887 | 51.671 | 10.097
2020-09-06 17:15:00 | 3.407 | 278.03 | 3.589 | 272.371 | 3.845 | 271.912 | 4.062 | 273.765 | 27.58 | 887 | 54.334 | 7.754
2020-09-06 17:30:00 | 3.389 | 279.23 | 3.704 | 269.821 | 4.026 | 273.088 | 4.441 | 271.2 | 27.87 | 886.3 | 58.45 | 8.205
2020-09-06 17:45:00 | 2.9687 | 212.2667 | 3.162 | 269.772 | 3.3293 | 207.5967 | 3.5933 | 271.1507 | 27.9667 | 886 | 55.264 | 5.676
2020-09-06 18:00:00 | 2.8893 | 253.6667 | 3.03 | 271.4287 | 3.25 | 248.086 | 3.412 | 272.8153 | 27.9467 | 886 | 57.7987 | 3.8927
2020-09-06 18:15:00 | 2.876 | 348.04 | 3.022 | 264.94 | 3.272 | 340.382 | 3.436 | 266.296 | 27.78 | 886 | 59.226 | 3.904
2020-09-06 18:30:00 | 2.944 | 248.12 | 3.187 | 338.75 | 3.347 | 242.659 | 3.693 | 340.481 | 27.68 | 886 | 62.268 | 4.07
2020-09-06 18:45:00 | 3.259 | 178.59 | 3.452 | 342.837 | 3.459 | 174.66 | 3.767 | 344.591 | 27.53 | 885.8 | 62.277 | 4.864
2020-09-06 19:00:00 | 3.207 | 42.41 | 3.405 | 239.717 | 3.357 | 41.479 | 3.691 | 240.943 | 27.36 | 885 | 64.59 | 4.585
2020-09-06 19:15:00 | 3.1713 | 33 | 3.406 | 276.01 | 3.4047 | 32.274 | 3.7807 | 277.4227 | 27.06 | 885 | 65.412 | 5.3373
2020-09-06 19:30:00 | 3.208 | 10.46 | 3.462 | 279.1 | 3.402 | 10.23 | 3.832 | 280.526 | 26.92 | 885 | 67.872 | 5.376
2020-09-06 19:45:00 | 3.416 | 12.04 | 3.685 | 73.996 | 3.757 | 11.775 | 4.173 | 74.375 | 26.79 | 884 | 69.353 | 6.533
2020-09-06 20:00:00 | 3.439 | 49.78 | 3.689 | 177.116 | 3.834 | 48.685 | 4.192 | 178.021 | 26.72 | 884 | 67.691 | 7.151
2020-09-06 20:15:00 | 3.538 | 13.25 | 3.822 | 176.921 | 3.861 | 12.96 | 4.305 | 177.825 | 26.74 | 884 | 69.837 | 7.672
2020-09-06 20:30:00 | 3.606 | 16.52 | 3.938 | 310.309 | 4.019 | 16.157 | 4.532 | 311.896 | 26.76 | 884 | 68.573 | 8.549
2020-09-06 20:45:00 | 3.684 | 106.7067 | 4.004 | 314.31 | 4.1913 | 104.3593 | 4.6513 | 315.9167 | 26.7733 | 884 | 67.9673 | 9.6727
2020-09-06 21:00:00 | 3.4773 | 215.16 | 3.764 | 327.0233 | 4.092 | 210.4247 | 4.4567 | 328.696 | 26.3733 | 884.8 | 68.5753 | 7.8807
2020-09-06 21:15:00 | 3.3967 | 197.3222 | 3.6222 | 314.9478 | 4.0867 | 192.9822 | 4.3156 | 316.5578 | 25.9889 | 885 | 71.5622 | 6.922
2020-09-06 21:30:00 | 3.561 | 281.36 | 3.785 | 321.88 | 4.324 | 275.171 | 4.525 | 323.525 | 25.75 | 885 | 73.043 | 6.989
2020-09-06 21:45:00 | 3.341 | 213.17 | 3.481 | 328.012 | 4.176 | 208.481 | 4.196 | 329.69 | 25.4 | 885 | 76.953 | 6.593
2020-09-06 22:00:00 | 3.068 | 270.04 | 3.117 | 333.712 | 3.881 | 264.1 | 3.737 | 335.418 | 25 | 885 | 79.125 | 5.967
2020-09-06 22:15:00 | 3.3514 | 337.7357 | 3.4779 | 327.6857 | 4.0014 | 330.3057 | 4.0579 | 329.36 | 24.6357 | 885 | 79.2236 | 5.754
2020-09-06 22:30:00 | 3.624 | 329.7 | 3.89 | 328.0607 | 4.1647 | 322.4467 | 4.512 | 329.7387 | 24.6733 | 885 | 80.2527 | 6.9573
2020-09-06 22:45:00 | 3.336 | 342.78 | 3.6 | 328.606 | 3.946 | 335.238 | 4.274 | 330.288 | 24.66 | 885 | 81.78 | 5.884
2020-09-06 23:00:00 | 3.505 | 143.83 | 3.748 | 330.946 | 4.035 | 140.667 | 4.341 | 332.637 | 24.79 | 885 | 80.82 | 6.301
2020-09-06 23:15:00 | 3.362 | 179.21 | 3.615 | 333.224 | 4.069 | 175.267 | 4.341 | 334.927 | 24.7 | 885 | 81.95 | 5.197
2020-09-06 23:30:00 | 2.933 | 175.79 | 3.118 | 329.928 | 3.761 | 171.92 | 3.872 | 331.616 | 24.69 | 885 | 82.25 | 3.293
2020-09-06 23:45:00 | 2.4247 | 234.9933 | 2.3733 | 329.0373 | 3.1367 | 229.8247 | 2.834 | 330.7193 | 24.68 | 885 | 83.6267 | 2.094