## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-07 00:00:00 | 2.616 | 147.2 | 2.656 | 334.008 | 3.262 | 143.964 | 3.152 | 335.716 | 24.46 | 885 | 83.88 | 2.018
2020-09-07 00:15:00 | 2.764 | 338.4 | 2.815 | 324.988 | 3.386 | 330.954 | 3.301 | 326.652 | 24.06 | 885 | 84.8 | 2.161
2020-09-07 00:30:00 | 2.6747 | 230.3667 | 2.68 | 325.3607 | 3.4273 | 225.2987 | 3.2233 | 327.024 | 23.54 | 885 | 83.1 | 2.744
2020-09-07 00:45:00 | 2.8022 | 299.8556 | 2.71 | 323.4244 | 3.5789 | 293.26 | 3.1778 | 325.0778 | 23.2778 | 885 | 84.1667 | 4.165
2020-09-07 01:00:00 | 3.544 | 176.48 | 3.648 | 328.109 | 4.391 | 172.598 | 4.346 | 329.789 | 23.08 | 885 | 86.49 | 6.125
2020-09-07 01:15:00 | 3.4773 | 335.3267 | 3.5513 | 321.0113 | 4.4233 | 327.948 | 4.29 | 322.654 | 22.6667 | 885 | 88.6733 | 6.662
2020-09-07 01:30:00 | 3.694 | 332.84 | 3.8 | 322.759 | 4.746 | 325.518 | 4.647 | 324.41 | 22.64 | 885 | 89.28 | 8.09
2020-09-07 01:45:00 | 3.6393 | 338.85 | 3.7664 | 316.1736 | 4.7586 | 331.395 | 4.6793 | 317.79 | 22.3143 | 885 | 90.7 | 8.955
2020-09-07 02:00:00 | 3.978 | 342.52 | 4.236 | 315.716 | 5.016 | 334.984 | 5.206 | 317.332 | 22.08 | 885 | 90.88 | 9.352
2020-09-07 02:15:00 | 3.979 | 348.23 | 4.205 | 319.972 | 4.851 | 340.569 | 5.028 | 321.609 | 22.74 | 884 | 90.44 | 8.766
2020-09-07 02:30:00 | 4.178 | 347.4 | 4.426 | 326.3 | 4.908 | 339.758 | 5.172 | 327.968 | 22.6 | 884 | 91.86 | 8.816
2020-09-07 02:45:00 | 4.37 | 212.35 | 4.669 | 332.149 | 5.118 | 207.678 | 5.468 | 333.845 | 22.16 | 884 | 90.4 | 11.319
2020-09-07 03:00:00 | 4.013 | 141.83 | 4.17 | 331.181 | 4.8 | 138.711 | 4.873 | 332.873 | 22.07 | 884 | 89.04 | 8.435
2020-09-07 03:15:00 | 3.74 | 328.98 | 3.76 | 328.686 | 4.652 | 321.744 | 4.428 | 330.366 | 21.98 | 884 | 89.12 | 8.426
2020-09-07 03:30:00 | 4.125 | 305.59 | 4.264 | 322.173 | 5.069 | 298.869 | 5.061 | 323.82 | 21.58 | 884 | 91.67 | 11.126
2020-09-07 03:45:00 | 4.04 | 214.77 | 4.149 | 327.728 | 4.91 | 210.047 | 4.867 | 329.403 | 21.63 | 884 | 92.64 | 9.546
2020-09-07 04:00:00 | 4.4293 | 300.8 | 4.5947 | 319.9427 | 5.5073 | 294.1833 | 5.508 | 321.5787 | 20.8667 | 884 | 93.6133 | 13.0507
2020-09-07 04:15:00 | 4.686 | 315.58 | 4.939 | 322.338 | 5.808 | 308.636 | 5.96 | 323.986 | 20.58 | 884 | 93.66 | 16.412
2020-09-07 04:30:00 | 4.555 | 344.93 | 4.866 | 323.296 | 5.655 | 337.342 | 5.926 | 324.949 | 20.55 | 884 | 93.38 | 15.35
2020-09-07 04:45:00 | 4.91 | 352.04 | 5.3647 | 325.2507 | 5.862 | 344.296 | 6.4427 | 326.9127 | 20.38 | 884 | 94.4933 | 19.7893
2020-09-07 05:00:00 | 4.903 | 318.97 | 5.289 | 328.567 | 5.899 | 311.953 | 6.336 | 330.248 | 20.43 | 884 | 95.81 | 19.379
2020-09-07 05:15:00 | 5.337 | 283.72 | 5.736 | 330.36 | 6.302 | 277.476 | 6.777 | 332.048 | 20.52 | 884 | 96.91 | 22.34
2020-09-07 05:30:00 | 5.062 | 331.2867 | 5.4113 | 329.8793 | 6.0087 | 323.9987 | 6.3967 | 331.566 | 20.42 | 884 | 97.6933 | 18.95
2020-09-07 05:45:00 | 5.011 | 353.56 | 5.287 | 328.978 | 6.037 | 345.783 | 6.266 | 330.661 | 20.31 | 884 | 97.74 | 17.939
2020-09-07 06:00:00 | 4.684 | 312.06 | 4.913 | 327.385 | 5.837 | 305.194 | 5.929 | 329.058 | 20.19 | 884 | 97.63 | 16.58
2020-09-07 06:15:00 | 5.15 | 347.38 | 5.396 | 329.448 | 6.324 | 339.738 | 6.45 | 331.134 | 20.28 | 884 | 98 | 20.174
2020-09-07 06:30:00 | 5.02 | 316.58 | 5.308 | 329.811 | 6.048 | 309.616 | 6.295 | 331.497 | 19.77 | 883 | 97.59 | 19.887
2020-09-07 06:45:00 | 4.3467 | 288.6667 | 4.3813 | 320.334 | 5.5227 | 282.3167 | 5.2513 | 321.972 | 19.7933 | 884 | 97.6733 | 16.1093
2020-09-07 07:00:00 | 4.27 | 263.28 | 4.344 | 319.572 | 5.38 | 257.49 | 5.202 | 321.204 | 20.08 | 884 | 97.28 | 14.172
2020-09-07 07:15:00 | 4.61 | 246.6 | 4.858 | 319.23 | 5.415 | 241.175 | 5.656 | 320.862 | 20.12 | 884 | 96.76 | 12.181
2020-09-07 07:30:00 | 4.635 | 293.2286 | 4.9021 | 321.9421 | 5.4336 | 286.7779 | 5.7071 | 323.5893 | 20.1429 | 884 | 95.8643 | 12.4867
2020-09-07 07:45:00 | 4.614 | 274.8 | 4.84 | 320.708 | 5.402 | 268.756 | 5.606 | 322.346 | 20.06 | 884 | 94.3 | 12.652
2020-09-07 08:00:00 | 4.25 | 309.13 | 4.415 | 323.533 | 5.094 | 302.201 | 5.161 | 325.186 | 20.11 | 885 | 90.14 | 10.762
2020-09-07 08:15:00 | 3.7757 | 315.9714 | 3.9279 | 322.9014 | 4.6171 | 309.0207 | 4.6636 | 324.5507 | 20.5429 | 886 | 85.5071 | 7.596
2020-09-07 08:30:00 | 3.79 | 339.32 | 3.986 | 319.416 | 4.468 | 331.854 | 4.644 | 321.048 | 20.56 | 886 | 84.24 | 6.756
2020-09-07 08:45:00 | 3.966 | 307.16 | 4.204 | 326.419 | 4.75 | 300.403 | 4.975 | 328.086 | 20.58 | 886 | 82.12 | 8.126
2020-09-07 09:00:00 | 3.7647 | 320.9667 | 4.024 | 322.0827 | 4.558 | 313.9047 | 4.8227 | 323.728 | 20.34 | 886.8 | 80.438 | 7.9047
2020-09-07 09:15:00 | 3.6 | 279.24 | 3.82 | 311.708 | 4.248 | 273.098 | 4.47 | 313.304 | 20.66 | 887 | 79.658 | 6.836
2020-09-07 09:30:00 | 3.281 | 277.6 | 3.465 | 333.703 | 3.914 | 271.493 | 4.081 | 335.41 | 21.05 | 887 | 78.353 | 4.141
2020-09-07 09:45:00 | 2.756 | 211.66 | 2.872 | 324.442 | 3.068 | 207.006 | 3.202 | 326.1 | 21.32 | 887 | 77.706 | 1.41
2020-09-07 10:00:00 | 2.268 | 278.19 | 2.397 | 337.741 | 2.843 | 272.07 | 2.922 | 339.471 | 21.81 | 887 | 78.249 | 0.603
2020-09-07 10:15:00 | 2.183 | 105.48 | 2.324 | 336.59 | 2.627 | 103.16 | 2.767 | 338.311 | 22.44 | 887.2 | 76.039 | 0.057
2020-09-07 10:30:00 | 2.442 | 212.9 | 2.552 | 74.27 | 2.832 | 208.216 | 2.932 | 74.648 | 23.18 | 888 | 75.026 | 0
2020-09-07 10:45:00 | 1.432 | 131.59 | 1.497 | 105.194 | 1.799 | 128.694 | 1.814 | 105.731 | 23.69 | 888 | 71.416 | 0
2020-09-07 11:00:00 | 1.212 | 153.62 | 1.179 | 175.112 | 1.371 | 150.242 | 1.263 | 176.007 | 24.33 | 888 | 74.618 | 0
2020-09-07 11:15:00 | 0.762 | 204.02 | 0.796 | 258.428 | 0.942 | 199.53 | 0.95 | 259.748 | 24.68 | 888 | 75.582 | 0
2020-09-07 11:30:00 | 1.181 | 193.91 | 1.209 | 131.237 | 1.327 | 189.644 | 1.336 | 131.908 | 25.56 | 888 | 72.931 | 0
2020-09-07 11:45:00 | 0.827 | 197.16 | 0.845 | 109.72 | 1.133 | 192.824 | 1.074 | 110.282 | 25.98 | 887.8 | 71.515 | 0
2020-09-07 12:00:00 | 1.684 | 84.84 | 1.714 | 113.838 | 1.862 | 82.974 | 1.864 | 114.42 | 25.64 | 887.4 | 70.914 | 0
2020-09-07 12:15:00 | 1.567 | 172.21 | 1.638 | 138.416 | 1.81 | 168.422 | 1.875 | 139.125 | 25.84 | 887.2 | 67.958 | 0
2020-09-07 12:30:00 | 1.404 | 164.26 | 1.451 | 122.446 | 1.76 | 160.646 | 1.748 | 123.071 | 26.19 | 887.3 | 67.412 | 0
2020-09-07 12:45:00 | 1.668 | 192.86 | 1.668 | 131.658 | 1.78 | 188.616 | 1.744 | 132.33 | 26.58 | 887 | 66.032 | 0
2020-09-07 13:00:00 | 2 | 167.94 | 2.129 | 132.058 | 2.129 | 164.245 | 2.338 | 132.734 | 26.66 | 887 | 65.057 | 0
2020-09-07 13:15:00 | 1.8167 | 175.4467 | 1.9047 | 131.3647 | 2.1967 | 170.0553 | 2.2313 | 132.0353 | 26.76 | 887 | 63.2767 | 0
2020-09-07 13:30:00 | 1.948 | 205 | 2.08 | 150.024 | 2.368 | 200.49 | 2.5 | 150.792 | 26.94 | 887 | 62.19 | 0
2020-09-07 13:45:00 | 1.989 | 187.09 | 2.042 | 128.608 | 2.253 | 182.974 | 2.281 | 129.264 | 26.81 | 887 | 60.348 | 0
2020-09-07 14:00:00 | 2.104 | 189.8267 | 2.1233 | 131.084 | 2.316 | 185.65 | 2.2913 | 131.7547 | 27.06 | 887 | 59.334 | 0
2020-09-07 14:15:00 | 2.318 | 191.58 | 2.464 | 141.008 | 2.637 | 187.366 | 2.823 | 141.729 | 27.31 | 887 | 58.46 | 0.267
2020-09-07 14:30:00 | 2.585 | 212.98 | 2.633 | 144.735 | 2.63 | 208.294 | 2.712 | 145.475 | 27.42 | 887 | 58.51 | 0.606
2020-09-07 14:45:00 | 1.8953 | 186.56 | 1.936 | 146.224 | 2.0247 | 182.4567 | 2.066 | 146.972 | 27.7333 | 887 | 58.78 | 0.35067
2020-09-07 15:00:00 | 1.907 | 186.33 | 1.993 | 184.696 | 2.328 | 182.232 | 2.367 | 185.639 | 28.1 | 887 | 57.562 | 0.647
2020-09-07 15:15:00 | 2.221 | 201.21 | 2.421 | 141.888 | 2.432 | 196.783 | 2.745 | 142.613 | 28.24 | 887 | 54.918 | 0.518
2020-09-07 15:30:00 | 1.9127 | 173.24 | 1.9813 | 167.7913 | 2.2747 | 169.43 | 2.306 | 168.65 | 28.2667 | 887 | 55.2673 | 0.824
2020-09-07 15:45:00 | 2.5011 | 192.0111 | 2.5478 | 181.1911 | 2.2722 | 187.7867 | 2.4289 | 182.1178 | 28.3 | 887 | 54.5767 | 0.92
2020-09-07 16:00:00 | 2.415 | 173.31 | 2.511 | 166.445 | 2.571 | 169.495 | 2.707 | 167.297 | 28.32 | 886.3 | 54.089 | 1.703
2020-09-07 16:15:00 | 2.0127 | 172.96 | 2.1693 | 144.3133 | 2.2387 | 169.156 | 2.4687 | 145.0513 | 28.1133 | 887 | 55.6793 | 0.966
2020-09-07 16:30:00 | 2.068 | 204.53 | 2.15 | 150.835 | 2.521 | 200.03 | 2.549 | 151.608 | 28.25 | 887 | 56.952 | 0.361
2020-09-07 16:45:00 | 2.04 | 199.38 | 2.211 | 163.981 | 2.225 | 194.994 | 2.497 | 164.819 | 28.08 | 886.8 | 55.19 | 0.839
2020-09-07 17:00:00 | 2.4467 | 184.24 | 2.5533 | 151.8707 | 2.8367 | 180.1867 | 2.9267 | 152.646 | 28.18 | 886 | 55.2687 | 1.0333
2020-09-07 17:15:00 | 2.129 | 202.58 | 2.247 | 165.301 | 2.067 | 198.124 | 2.31 | 166.147 | 28.11 | 886 | 56.327 | 1.032
2020-09-07 17:30:00 | 2.144 | 202.42 | 2.317 | 190.103 | 2.597 | 197.967 | 2.794 | 191.077 | 28.11 | 886 | 56.356 | 2.148
2020-09-07 17:45:00 | 2.5927 | 201.8 | 2.7553 | 180.526 | 2.9393 | 197.3607 | 3.1487 | 181.4487 | 27.9067 | 886 | 56.748 | 2.9627
2020-09-07 18:00:00 | 2.447 | 197.13 | 2.622 | 175.843 | 2.741 | 192.794 | 2.987 | 176.743 | 27.74 | 886 | 58.864 | 2.877
2020-09-07 18:15:00 | 2.749 | 193.39 | 2.968 | 184.989 | 3.164 | 189.137 | 3.456 | 185.933 | 27.46 | 886 | 61.525 | 3.904
2020-09-07 18:30:00 | 3.2353 | 195.26 | 3.5527 | 172.6033 | 3.772 | 190.9633 | 4.2167 | 173.4873 | 27.2 | 885.2 | 63.546 | 8.0427
2020-09-07 18:45:00 | 3.47 | 198.62 | 3.86 | 182.122 | 4.072 | 194.25 | 4.636 | 183.054 | 26.86 | 885 | 64.188 | 12.024
2020-09-07 19:00:00 | 3.291 | 197.85 | 3.677 | 178.017 | 3.858 | 193.498 | 4.423 | 178.925 | 26.27 | 885 | 69.593 | 13.155
2020-09-07 19:15:00 | 3.0913 | 197.1467 | 3.4593 | 179.3447 | 3.68 | 192.81 | 4.2067 | 180.2613 | 26.06 | 885 | 73.1067 | 12.346
2020-09-07 19:30:00 | 2.95 | 200.52 | 3.268 | 184.08 | 3.594 | 196.108 | 4.012 | 185.021 | 25.97 | 885 | 74.006 | 11.467
2020-09-07 19:45:00 | 3.021 | 184.85 | 3.258 | 167.602 | 3.489 | 180.783 | 3.806 | 168.457 | 25.88 | 884.8 | 75.599 | 10.397
2020-09-07 20:00:00 | 2.9467 | 195.8267 | 3.1367 | 177.076 | 3.3173 | 191.5213 | 3.57 | 177.9793 | 25.8533 | 884.8 | 75.3653 | 8.3027
2020-09-07 20:15:00 | 2.888 | 185.28 | 3.06 | 176.55 | 3.28 | 181.206 | 3.494 | 177.45 | 25.76 | 885 | 75.55 | 7.62
2020-09-07 20:30:00 | 2.739 | 184.81 | 2.871 | 179.433 | 3.007 | 180.744 | 3.182 | 180.35 | 25.69 | 885 | 76.202 | 6.19
2020-09-07 20:45:00 | 2.703 | 192.15 | 2.823 | 175.592 | 2.995 | 187.922 | 3.137 | 176.488 | 25.54 | 885 | 76.47 | 5.421
2020-09-07 21:00:00 | 2.544 | 191.84 | 2.636 | 175.864 | 2.832 | 187.618 | 2.93 | 176.766 | 25.4 | 885 | 76.828 | 4.562
2020-09-07 21:15:00 | 1.932 | 201.74 | 2.047 | 168.617 | 2.159 | 197.302 | 2.313 | 169.48 | 25.21 | 885 | 76.918 | 2.809
2020-09-07 21:30:00 | 1.719 | 169.49 | 1.781 | 167.141 | 1.936 | 165.761 | 1.995 | 167.996 | 25.1 | 885.7 | 77.51 | 2.256
2020-09-07 21:45:00 | 1.424 | 145.76 | 1.426 | 155.696 | 1.712 | 142.552 | 1.638 | 156.494 | 25.08 | 886 | 78.418 | 1.182
2020-09-07 22:00:00 | 1.434 | 126.18 | 1.477 | 134.181 | 1.551 | 123.405 | 1.598 | 134.869 | 24.95 | 886 | 79.992 | 0.277
2020-09-07 22:15:00 | 1.505 | 139.19 | 1.606 | 135.501 | 1.643 | 136.128 | 1.794 | 136.194 | 25.01 | 886 | 79.633 | 0.13
2020-09-07 22:30:00 | 1.254 | 140.46 | 1.36 | 132.792 | 1.514 | 137.368 | 1.638 | 133.472 | 25 | 886 | 78.552 | 0.122
2020-09-07 22:45:00 | 1.56 | 139.87 | 1.666 | 134.319 | 1.707 | 136.792 | 1.866 | 135.004 | 24.95 | 886 | 78.361 | 0
2020-09-07 23:00:00 | 1.474 | 138.11 | 1.575 | 132.627 | 1.693 | 135.071 | 1.816 | 133.303 | 24.94 | 886 | 79.584 | 0
2020-09-07 23:15:00 | 1.748 | 115.1 | 1.892 | 120.902 | 2 | 112.57 | 2.204 | 121.518 | 24.8 | 886 | 81.28 | 0
2020-09-07 23:30:00 | 1.866 | 135.04 | 1.932 | 125.87 | 2.069 | 132.069 | 2.137 | 126.512 | 24.8 | 886 | 81.07 | 0
2020-09-07 23:45:00 | 1.922 | 137.76 | 2.038 | 139.784 | 1.988 | 134.73 | 2.192 | 140.5 | 24.89 | 886 | 81.41 | 0