## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-08 00:00:00 | 1.782 | 133.7 | 1.894 | 132.772 | 1.806 | 130.76 | 2.016 | 133.45 | 24.74 | 886 | 80.96 | 0
2020-09-08 00:15:00 | 1.654 | 115.63 | 1.772 | 131.765 | 1.748 | 113.085 | 1.949 | 132.441 | 24.78 | 886 | 83.09 | 0
2020-09-08 00:30:00 | 1.9886 | 121.3071 | 2.0943 | 120.56 | 2.1307 | 118.6371 | 2.2943 | 121.1771 | 24.5357 | 886 | 84.5857 | 0
2020-09-08 00:45:00 | 2.084 | 119.26 | 2.158 | 130.898 | 2.104 | 116.638 | 2.242 | 131.566 | 24.6 | 886 | 83.36 | 0
2020-09-08 01:00:00 | 1.442 | 115.83 | 1.525 | 124.501 | 1.431 | 113.281 | 1.593 | 125.136 | 24.44 | 886 | 82.76 | 0
2020-09-08 01:15:00 | 1.5447 | 106.46 | 1.6893 | 107.372 | 1.6247 | 104.1167 | 1.8787 | 107.92 | 24.3467 | 886 | 82.48 | 0
2020-09-08 01:30:00 | 1.704 | 111.06 | 1.84 | 118.826 | 1.774 | 108.618 | 2.02 | 119.432 | 24.3 | 886 | 82.88 | 0
2020-09-08 01:45:00 | 1.652 | 113.5 | 1.696 | 115.885 | 1.712 | 111.003 | 1.775 | 116.475 | 24.18 | 886 | 82.82 | 0
2020-09-08 02:00:00 | 1.46 | 125.1933 | 1.508 | 122.16 | 1.464 | 122.4387 | 1.5533 | 122.7827 | 24.0267 | 886 | 85.3467 | 0
2020-09-08 02:15:00 | 1.257 | 119.66 | 1.345 | 125.545 | 1.164 | 117.028 | 1.36 | 126.187 | 23.96 | 886 | 86 | 0
2020-09-08 02:30:00 | 1.09 | 153.1333 | 1.1567 | 150.8927 | 1.054 | 149.764 | 1.19 | 151.6633 | 24.0267 | 886 | 83.0733 | 0
2020-09-08 02:45:00 | 0.996 | 146.46 | 0.982 | 151.396 | 0.928 | 143.238 | 0.92 | 152.168 | 23.9 | 886 | 83.28 | 0
2020-09-08 03:00:00 | 1.482 | 132.97 | 1.487 | 120.05 | 1.376 | 130.044 | 1.422 | 120.663 | 23.9 | 886 | 86.69 | 0
2020-09-08 03:15:00 | 0.94667 | 113.02 | 0.93333 | 114.5753 | 0.80867 | 110.534 | 0.82533 | 115.1613 | 23.72 | 886 | 87.8267 | 0
2020-09-08 03:30:00 | 0.905 | 88.69 | 0.931 | 97.233 | 0.884 | 86.74 | 0.936 | 97.729 | 23.65 | 886 | 88.26 | 0
2020-09-08 03:45:00 | 0.808 | 120.86 | 0.799 | 109.635 | 0.735 | 118.202 | 0.736 | 110.194 | 23.63 | 886 | 90.09 | 0
2020-09-08 04:00:00 | 0.81333 | 108.1533 | 0.778 | 102.2073 | 0.67 | 105.7753 | 0.644 | 102.7307 | 23.5 | 886 | 91.4 | 0
2020-09-08 04:15:00 | 0.38467 | 78.76 | 0.38 | 85.6273 | 0.36 | 77.0267 | 0.36267 | 86.0653 | 23.46 | 886 | 93.0333 | 0
2020-09-08 04:30:00 | 0.536 | 75.47 | 0.583 | 50.778 | 0.636 | 73.809 | 0.696 | 51.036 | 23.65 | 886 | 94.69 | 0
2020-09-08 04:45:00 | 0.394 | 86.3133 | 0.37467 | 100.7653 | 0.364 | 84.4147 | 0.33533 | 101.282 | 23.5267 | 885.5333 | 94.02 | 0
2020-09-08 05:00:00 | 0.257 | 132.65 | 0.255 | 101.39 | 0.396 | 129.731 | 0.355 | 101.907 | 23.27 | 885 | 94.76 | 0
2020-09-08 05:15:00 | 0.363 | 133.91 | 0.329 | 42.23 | 0.344 | 130.963 | 0.287 | 42.446 | 23.24 | 885 | 95.08 | 0
2020-09-08 05:30:00 | 0.53067 | 310.2067 | 0.532 | 127.6287 | 0.73533 | 303.3813 | 0.67467 | 128.2827 | 23.1267 | 885.1333 | 95.1067 | 0
2020-09-08 05:45:00 | 0.837 | 151.57 | 0.804 | 108.782 | 1.191 | 148.235 | 1.024 | 109.338 | 22.9 | 886 | 95.34 | 0
2020-09-08 06:00:00 | 0.577 | 270.31 | 0.591 | 43.894 | 0.872 | 264.362 | 0.808 | 44.116 | 23.07 | 886 | 95.84 | 0
2020-09-08 06:15:00 | 0.45533 | 254.28 | 0.50733 | 158.9967 | 0.676 | 248.6853 | 0.70867 | 159.8087 | 23.2867 | 886 | 95.2533 | 0
2020-09-08 06:30:00 | 0.375 | 320.4 | 0.393 | 54.827 | 0.678 | 313.352 | 0.622 | 55.106 | 23.3 | 886 | 95.37 | 0
2020-09-08 06:45:00 | 0.26133 | 219.8733 | 0.276 | 195.158 | 0.64733 | 215.036 | 0.566 | 196.1553 | 23.4267 | 886 | 95.7067 | 0
2020-09-08 07:00:00 | 0.346 | 142.0933 | 0.33267 | 107.7033 | 0.45133 | 138.9673 | 0.39333 | 108.2547 | 23.4 | 886 | 96.26 | 0
2020-09-08 07:15:00 | 0.212 | 195.7 | 0.202 | 108.029 | 0.362 | 191.397 | 0.299 | 108.582 | 23.44 | 886 | 96.3 | 0
2020-09-08 07:30:00 | 0.562 | 110.5067 | 0.54333 | 112.0453 | 0.83733 | 108.076 | 0.71933 | 112.6173 | 23.3 | 886 | 96.3933 | 0
2020-09-08 07:45:00 | 0.523 | 79.76 | 0.546 | 110.133 | 0.863 | 78.005 | 0.807 | 110.696 | 23.04 | 886 | 96.68 | 0
2020-09-08 08:00:00 | 1.017 | 243.37 | 0.956 | 300.842 | 1.537 | 238.016 | 1.272 | 302.38 | 22.41 | 886.7 | 97.04 | 0
2020-09-08 08:15:00 | 1.771 | 284.34 | 1.726 | 324.686 | 2.365 | 278.084 | 2.109 | 326.345 | 21.87 | 887 | 97 | 0.151
2020-09-08 08:30:00 | 1.588 | 308.1667 | 1.5827 | 317.0167 | 1.9067 | 301.3873 | 1.8047 | 318.636 | 23.12 | 887 | 94.3267 | 0
2020-09-08 08:45:00 | 1.573 | 310.49 | 1.52 | 314.525 | 2.017 | 303.658 | 1.784 | 316.133 | 22.71 | 887.2 | 91.6 | 0
2020-09-08 09:00:00 | 1.9927 | 309.7733 | 2.0207 | 328.5353 | 2.4773 | 302.958 | 2.388 | 330.2167 | 22.64 | 888 | 92.2333 | 0.30333
2020-09-08 09:15:00 | 1.489 | 230.79 | 1.529 | 330.164 | 1.789 | 225.712 | 1.781 | 331.85 | 23.63 | 888 | 91.52 | 0
2020-09-08 09:30:00 | 1.195 | 269.7 | 1.179 | 309.849 | 1.429 | 263.766 | 1.329 | 311.433 | 23.41 | 888 | 87.95 | 0
2020-09-08 09:45:00 | 1.2553 | 309.9733 | 1.2313 | 323.2027 | 1.6027 | 303.1533 | 1.4567 | 324.8553 | 23.4667 | 888 | 88.0067 | 0
2020-09-08 10:00:00 | 0.947 | 282.5 | 0.892 | 326.554 | 1.156 | 276.285 | 0.991 | 328.225 | 24.41 | 888 | 87.64 | 0
2020-09-08 10:15:00 | 0.56867 | 164.2733 | 0.58 | 201.0967 | 0.69267 | 160.6593 | 0.67933 | 202.124 | 24.96 | 888.4667 | 83.3533 | 0
2020-09-08 10:30:00 | 0.486 | 201.98 | 0.511 | 188.314 | 0.633 | 197.537 | 0.637 | 189.278 | 25.13 | 889 | 84.71 | 0
2020-09-08 10:45:00 | 0.213 | 211.6 | 0.216 | 218.162 | 0.307 | 206.945 | 0.284 | 219.277 | 25.46 | 889 | 85.92 | 0
2020-09-08 11:00:00 | 0.391 | 153.18 | 0.365 | 204.921 | 0.395 | 149.81 | 0.344 | 205.97 | 25.13 | 889 | 83.5 | 0
2020-09-08 11:15:00 | 0.667 | 61.77 | 0.707 | 115.179 | 0.752 | 60.411 | 0.806 | 115.766 | 25.49 | 889 | 80.85 | 0
2020-09-08 11:30:00 | 0.801 | 125.77 | 0.803 | 160.813 | 0.798 | 123.001 | 0.809 | 161.634 | 25.25 | 889 | 77.55 | 0
2020-09-08 11:45:00 | 0.814 | 147.0067 | 0.81733 | 184.7567 | 0.86067 | 143.7727 | 0.85667 | 185.7013 | 24.8067 | 889 | 79.21 | 0
2020-09-08 12:00:00 | 0.737 | 141.64 | 0.728 | 152.646 | 0.795 | 138.523 | 0.764 | 153.426 | 24.88 | 889 | 80.41 | 0
2020-09-08 12:15:00 | 1.062 | 196.52 | 1.094 | 168.459 | 1.293 | 192.198 | 1.29 | 169.322 | 24.82 | 889 | 82.41 | 0
2020-09-08 12:30:00 | 0.69 | 181.8267 | 0.71733 | 180.2587 | 0.77 | 174.8513 | 0.79733 | 181.18 | 25.0733 | 889 | 87.1333 | 0
2020-09-08 12:45:00 | 0.849 | 183.23 | 0.876 | 185.8 | 1.088 | 179.198 | 1.069 | 186.751 | 24.87 | 889 | 86.87 | 0
2020-09-08 13:00:00 | 0.86467 | 194.9133 | 0.886 | 184.7907 | 1.0207 | 190.6247 | 1.016 | 185.7353 | 25.1267 | 889 | 85.5333 | 0
2020-09-08 13:15:00 | 0.94067 | 179.7333 | 0.94333 | 164.4153 | 1.0667 | 175.778 | 1.0367 | 165.2553 | 25.24 | 889 | 83.5933 | 0
2020-09-08 13:30:00 | 0.732 | 145.87 | 0.743 | 161.086 | 0.845 | 142.66 | 0.833 | 161.91 | 25.66 | 889 | 83.37 | 0
2020-09-08 13:45:00 | 1.032 | 191.7 | 1.083 | 149.301 | 1.193 | 187.481 | 1.242 | 150.063 | 25.8 | 888 | 82.74 | 0
2020-09-08 14:00:00 | 1.1447 | 183.64 | 1.1987 | 159.1393 | 1.3673 | 179.6 | 1.4033 | 159.9527 | 25.5333 | 888 | 81.9867 | 0
2020-09-08 14:15:00 | 1.145 | 183.51 | 1.19 | 150.465 | 1.378 | 179.472 | 1.395 | 151.234 | 25.42 | 888 | 83.55 | 0
2020-09-08 14:30:00 | 1.338 | 196.37 | 1.384 | 160.95 | 1.571 | 192.049 | 1.596 | 161.773 | 25.46 | 888 | 83.98 | 0
2020-09-08 14:45:00 | 0.903 | 201.96 | 0.945 | 174.848 | 1.007 | 197.517 | 1.063 | 175.741 | 25.46 | 888 | 82.66 | 0
2020-09-08 15:00:00 | 0.81533 | 194.0933 | 0.80067 | 172.8447 | 0.95267 | 189.8227 | 0.88333 | 173.73 | 25.7533 | 888 | 82.2533 | 0
2020-09-08 15:15:00 | 0.732 | 197.7067 | 0.71 | 157.7457 | 0.83857 | 192.8607 | 0.78357 | 158.5507 | 25.9267 | 888 | 82.3667 | 0
2020-09-08 15:30:00 | 0.609 | 236.67 | 0.585 | 161.957 | 0.699 | 231.463 | 0.627 | 162.783 | 25.88 | 888 | 81.93 | 0
2020-09-08 15:45:00 | 0.856 | 195.1533 | 0.93733 | 203.2027 | 1.0453 | 190.86 | 1.1447 | 204.242 | 25.6 | 888 | 79.1887 | 0
2020-09-08 16:00:00 | 0.93643 | 205.4286 | 1.025 | 204.6471 | 1.1557 | 200.9093 | 1.2579 | 205.6921 | 25.6929 | 887.9167 | 78.3425 | 0
2020-09-08 16:15:00 | 0.841 | 177.53 | 0.91 | 195.699 | 1.047 | 173.625 | 1.118 | 196.699 | 25.84 | 887 | 75.761 | 0
2020-09-08 16:30:00 | 0.94067 | 195.9733 | 1.016 | 216.9267 | 1.1027 | 191.662 | 1.198 | 218.036 | 25.5533 | 887 | 75.1893 | 0
2020-09-08 16:45:00 | 1.148 | 234.54 | 1.232 | 224.852 | 1.314 | 229.381 | 1.424 | 226.001 | 25.39 | 887 | 72.82 | 0
2020-09-08 17:00:00 | 1.2287 | 252.9867 | 1.2973 | 258.8767 | 1.3627 | 247.4213 | 1.4527 | 260.1993 | 25.4467 | 887 | 79.1473 | 0
2020-09-08 17:15:00 | 1.349 | 265.4 | 1.397 | 284.784 | 1.736 | 259.562 | 1.716 | 286.24 | 24.97 | 887 | 82.1 | 0
2020-09-08 17:30:00 | 1.227 | 282.11 | 1.305 | 278.29 | 1.616 | 275.903 | 1.65 | 279.71 | 24.96 | 887 | 84.92 | 0
2020-09-08 17:45:00 | 0.825 | 240.68 | 0.864 | 275.042 | 1.03 | 235.385 | 1.042 | 276.449 | 24.98 | 887 | 86.5 | 0
2020-09-08 18:00:00 | 0.70267 | 201.22 | 0.72333 | 208.1767 | 0.966 | 196.7947 | 0.92867 | 209.2407 | 25.0533 | 887 | 87.58 | 0
2020-09-08 18:15:00 | 0.732 | 82.82 | 0.758 | 269.879 | 1.249 | 81 | 1.146 | 271.258 | 25.06 | 887 | 88.27 | 0
2020-09-08 18:30:00 | 1.429 | 145.54 | 1.404 | 300.949 | 1.742 | 142.337 | 1.61 | 302.49 | 24.35 | 886.3 | 90.42 | 0
2020-09-08 18:45:00 | 1.978 | 305.32 | 2.0547 | 306.688 | 2.2067 | 298.6027 | 2.2853 | 308.2553 | 24.1133 | 886 | 91.8667 | 0
2020-09-08 19:00:00 | 2.012 | 324.99 | 2.072 | 309.703 | 2.182 | 317.839 | 2.249 | 311.288 | 24.03 | 886 | 93.58 | 0
2020-09-08 19:15:00 | 2.083 | 228.6 | 2.161 | 302.614 | 2.313 | 223.57 | 2.395 | 304.161 | 23.87 | 886 | 94.16 | 0
2020-09-08 19:30:00 | 1.948 | 273.89 | 2.027 | 301.702 | 2.232 | 267.866 | 2.299 | 303.246 | 23.63 | 886 | 95.54 | 0
2020-09-08 19:45:00 | 1.755 | 179.81 | 1.828 | 304.755 | 1.893 | 175.854 | 1.991 | 306.312 | 23.66 | 886 | 96.28 | 0
2020-09-08 20:00:00 | 1.9907 | 146.8467 | 2.0733 | 316.8273 | 2.19 | 143.6167 | 2.2893 | 318.4473 | 23.3133 | 886.1333 | 97.5333 | 0
2020-09-08 20:15:00 | 2.209 | 245.98 | 2.29 | 312.988 | 2.457 | 240.567 | 2.54 | 314.589 | 23.29 | 887 | 98.04 | 0
2020-09-08 20:30:00 | 2.3247 | 302.28 | 2.4133 | 303.7613 | 2.7553 | 295.6293 | 2.802 | 305.3133 | 23.0467 | 887 | 98.78 | 0.47733
2020-09-08 20:45:00 | 2.386 | 341.47 | 2.504 | 310.484 | 2.724 | 333.957 | 2.85 | 312.072 | 22.75 | 887 | 99.28 | 1.006
2020-09-08 21:00:00 | 3.1133 | 340.14 | 3.314 | 313.5453 | 3.562 | 332.6567 | 3.8147 | 315.1493 | 22.7933 | 887 | 99.7533 | 2.9767
2020-09-08 21:15:00 | 3.241 | 347.31 | 3.49 | 324.089 | 3.787 | 339.669 | 4.102 | 325.746 | 22.84 | 887 | 100 | 3.93
2020-09-08 21:30:00 | 3.4453 | 331.72 | 3.7067 | 319.252 | 4.0587 | 324.4227 | 4.38 | 320.8847 | 22.52 | 887 | 100 | 5.1187
2020-09-08 21:45:00 | 3.389 | 282.46 | 3.694 | 323.462 | 4.013 | 276.244 | 4.413 | 325.117 | 22.15 | 887 | 100 | 5.445
2020-09-08 22:00:00 | 3.616 | 311.49 | 3.982 | 322.456 | 4.384 | 304.637 | 4.854 | 324.106 | 21.81 | 887 | 100 | 7.598
2020-09-08 22:15:00 | 3.628 | 352.84 | 4.035 | 323.591 | 4.382 | 345.076 | 4.934 | 325.244 | 21.73 | 887 | 100 | 8.486
2020-09-08 22:30:00 | 3.891 | 348.81 | 4.276 | 322.604 | 4.603 | 341.135 | 5.127 | 324.251 | 22.3 | 887 | 100 | 9.316
2020-09-08 22:45:00 | 3.8847 | 352.2867 | 4.2427 | 322.054 | 4.6287 | 344.5373 | 5.0907 | 323.7013 | 22.28 | 887 | 100 | 9.0447
2020-09-08 23:00:00 | 3.84 | 246.56 | 4.176 | 328.785 | 4.564 | 241.136 | 4.992 | 330.465 | 22.12 | 887 | 100 | 8.821
2020-09-08 23:15:00 | 3.9267 | 253.8933 | 4.2593 | 326.7433 | 4.6973 | 248.308 | 5.108 | 328.414 | 21.9067 | 887 | 100 | 9.7807
2020-09-08 23:30:00 | 3.972 | 281.44 | 4.339 | 326.749 | 4.716 | 275.248 | 5.198 | 328.42 | 21.84 | 887 | 100 | 10.859
2020-09-08 23:45:00 | 3.878 | 279.11 | 4.208 | 321.929 | 4.583 | 272.97 | 5.005 | 323.573 | 21.79 | 887 | 100 | 10.325