## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-09 00:00:00 | 3.811 | 312.57 | 4.104 | 325.088 | 4.553 | 305.692 | 4.89 | 326.75 | 21.83 | 887 | 100 | 9.569
2020-09-09 00:15:00 | 3.999 | 345.63 | 4.339 | 322.262 | 4.78 | 338.026 | 5.199 | 323.908 | 21.73 | 887 | 100 | 9.869
2020-09-09 00:30:00 | 3.81 | 349.36 | 4.102 | 324.206 | 4.502 | 341.674 | 4.858 | 325.866 | 21.8 | 887 | 100 | 7.995
2020-09-09 00:45:00 | 3.6147 | 346.3333 | 3.8733 | 325.406 | 4.2087 | 338.7133 | 4.5307 | 327.07 | 21.8067 | 886.5333 | 100 | 6.7953
2020-09-09 01:00:00 | 3.652 | 344.77 | 3.945 | 324.49 | 4.252 | 337.184 | 4.633 | 326.149 | 21.78 | 886 | 100 | 6.837
2020-09-09 01:15:00 | 3.588 | 350.4 | 3.849 | 317.977 | 4.167 | 342.692 | 4.494 | 319.602 | 21.76 | 886 | 100 | 6.097
2020-09-09 01:30:00 | 3.3773 | 313.36 | 3.5887 | 319.6173 | 3.878 | 306.4667 | 4.1367 | 321.252 | 21.74 | 886 | 100 | 4.0607
2020-09-09 01:45:00 | 2.672 | 284.13 | 2.784 | 318.729 | 3 | 277.879 | 3.118 | 320.361 | 21.77 | 886 | 100 | 1.713
2020-09-09 02:00:00 | 3.052 | 95.12 | 3.079 | 136.109 | 3.199 | 93.026 | 3.209 | 136.805 | 20.75 | 886.7 | 100 | 0
2020-09-09 02:15:00 | 3.518 | 310.33 | 3.672 | 327.083 | 4.053 | 303.502 | 4.194 | 328.755 | 21.21 | 886 | 100 | 2.774
2020-09-09 02:30:00 | 3.977 | 340.63 | 4.182 | 312.637 | 4.654 | 333.136 | 4.85 | 314.238 | 21.26 | 886 | 100 | 7.916
2020-09-09 02:45:00 | 3.314 | 300.1 | 3.4427 | 322.1787 | 3.924 | 293.4973 | 3.9947 | 323.8267 | 21.22 | 885.5333 | 100 | 4.79
2020-09-09 03:00:00 | 3.372 | 347.88 | 3.566 | 321.274 | 3.921 | 340.227 | 4.132 | 322.915 | 21.11 | 885 | 100 | 4.523
2020-09-09 03:15:00 | 3.661 | 347.73 | 3.916 | 328.549 | 4.248 | 340.079 | 4.566 | 330.23 | 20.99 | 885 | 100 | 6.267
2020-09-09 03:30:00 | 3.498 | 352.36 | 3.701 | 333.117 | 4.026 | 344.609 | 4.258 | 334.819 | 21.38 | 885 | 100 | 5.858
2020-09-09 03:45:00 | 3.4214 | 327.9 | 3.5879 | 327.0279 | 3.8664 | 320.685 | 4.0529 | 328.7 | 21.1857 | 885 | 100 | 5.9287
2020-09-09 04:00:00 | 3.0267 | 321.7467 | 3.1513 | 329.0053 | 3.514 | 314.6687 | 3.6133 | 330.6873 | 21.0733 | 885 | 100 | 4.1773
2020-09-09 04:15:00 | 2.757 | 186.37 | 2.833 | 331.658 | 3.138 | 182.271 | 3.174 | 333.356 | 21.24 | 885.2 | 100 | 3.259
2020-09-09 04:30:00 | 0.579 | 226.51 | 0.572 | 129.616 | 0.544 | 222.027 | 0.557 | 130.276 | 21.12 | 886 | 100 | 0
2020-09-09 04:45:00 | 2.7986 | 317.3429 | 2.925 | 331.7857 | 3.2779 | 310.3614 | 3.38 | 333.4821 | 21.0643 | 886 | 100 | 0.89714
2020-09-09 05:00:00 | 2.684 | 172.7 | 2.833 | 328.237 | 3.052 | 168.9 | 3.23 | 329.914 | 20.96 | 886 | 100 | 2.006
2020-09-09 05:15:00 | 2.6847 | 334.9333 | 2.8147 | 323.906 | 3.3053 | 327.5647 | 3.3693 | 325.5627 | 20.8067 | 886 | 100 | 2.122
2020-09-09 05:30:00 | 2.0967 | 230.3267 | 2.126 | 297.3693 | 2.4987 | 225.26 | 2.4407 | 298.892 | 20.94 | 885.3333 | 100 | 0.30133
2020-09-09 05:45:00 | 1.941 | 240.17 | 1.996 | 328.823 | 2.351 | 234.886 | 2.339 | 330.505 | 20.96 | 886 | 100 | 0
2020-09-09 06:00:00 | 1.934 | 55.66 | 1.914 | 343.668 | 2.211 | 54.434 | 2.09 | 345.428 | 21.07 | 886 | 100 | 0
2020-09-09 06:15:00 | 1.715 | 56.25 | 1.722 | 302.965 | 2.033 | 55.013 | 1.958 | 304.514 | 20.81 | 885.8 | 100 | 0
2020-09-09 06:30:00 | 1.871 | 157.46 | 1.842 | 304.286 | 2.142 | 153.995 | 2.011 | 305.841 | 20.86 | 885 | 100 | 0
2020-09-09 06:45:00 | 2.549 | 246.16 | 2.445 | 331.082 | 2.99 | 240.745 | 2.67 | 332.774 | 20.7 | 885.2 | 100 | 0.223
2020-09-09 07:00:00 | 1.857 | 116.21 | 1.861 | 324.412 | 2.399 | 113.653 | 2.249 | 326.069 | 20.62 | 886 | 100 | 0.149
2020-09-09 07:15:00 | 1.796 | 92.7667 | 1.7773 | 321.958 | 2.2607 | 90.7253 | 2.09 | 323.6027 | 20.6267 | 886 | 100 | 0
2020-09-09 07:30:00 | 1.362 | 133.0333 | 1.3193 | 328.492 | 1.696 | 130.1053 | 1.5187 | 330.1693 | 20.8 | 886 | 100 | 0
2020-09-09 07:45:00 | 1.504 | 164.66 | 1.475 | 334.269 | 1.714 | 161.037 | 1.601 | 335.98 | 20.95 | 886 | 100 | 0
2020-09-09 08:00:00 | 1.264 | 305.6933 | 1.3167 | 162.8887 | 1.552 | 298.968 | 1.5673 | 163.722 | 20.94 | 886 | 100 | 0
2020-09-09 08:15:00 | 1.434 | 321.64 | 1.526 | 80.059 | 1.654 | 314.564 | 1.764 | 80.469 | 20.89 | 886 | 100 | 0
2020-09-09 08:30:00 | 1.715 | 325.04 | 1.8 | 338.309 | 1.949 | 317.888 | 2.046 | 340.039 | 20.89 | 886 | 100 | 0
2020-09-09 08:45:00 | 2.0147 | 293.0667 | 2.0893 | 312.8293 | 2.1733 | 286.6187 | 2.27 | 314.43 | 20.7867 | 886 | 100 | 0
2020-09-09 09:00:00 | 2.414 | 270.58 | 2.448 | 328.227 | 2.767 | 264.626 | 2.73 | 329.906 | 20.56 | 886 | 100 | 0.944
2020-09-09 09:15:00 | 2.298 | 319.92 | 2.3747 | 323.4567 | 2.634 | 312.882 | 2.684 | 325.1113 | 20.4467 | 886 | 100 | 0.77733
2020-09-09 09:30:00 | 2.1793 | 97.6667 | 2.2433 | 338.6153 | 2.6107 | 95.518 | 2.61 | 340.3487 | 20.4467 | 886 | 100 | 0.47933
2020-09-09 09:45:00 | 1.848 | 205.12 | 1.928 | 303.111 | 2.256 | 200.606 | 2.289 | 304.663 | 20.48 | 886 | 100 | 0.694
2020-09-09 10:00:00 | 1.721 | 301.1 | 1.837 | 141.653 | 1.95 | 294.475 | 2.107 | 142.377 | 20.5 | 886 | 100 | 0
2020-09-09 10:15:00 | 2.079 | 305.71 | 2.127 | 324.678 | 2.503 | 298.984 | 2.477 | 326.338 | 20.59 | 886 | 100 | 0
2020-09-09 10:30:00 | 1.953 | 81.07 | 1.996 | 262.936 | 2.339 | 79.286 | 2.31 | 264.28 | 20.65 | 886 | 100 | 0
2020-09-09 10:45:00 | 1.3987 | 188.7933 | 1.42 | 309.558 | 1.6653 | 184.64 | 1.6307 | 311.1407 | 20.48 | 886 | 100 | 0
2020-09-09 11:00:00 | 1.491 | 311.14 | 1.53 | 332.774 | 1.826 | 304.296 | 1.803 | 334.475 | 20.5 | 886 | 100 | 0
2020-09-09 11:15:00 | 1.3307 | 96.0533 | 1.3233 | 307.8227 | 1.6387 | 93.94 | 1.5413 | 309.396 | 20.38 | 886 | 100 | 0
2020-09-09 11:30:00 | 1.365 | 261.9214 | 1.3814 | 308.8107 | 1.7614 | 256.1593 | 1.6807 | 310.3886 | 20.4071 | 886 | 100 | 0
2020-09-09 11:45:00 | 1.329 | 339.16 | 1.326 | 285.458 | 1.605 | 331.699 | 1.518 | 286.917 | 20.6 | 886 | 100 | 0
2020-09-09 12:00:00 | 0.99 | 253.6857 | 0.98214 | 216.0543 | 1.4 | 248.1043 | 1.2693 | 217.1579 | 20.6 | 886 | 100 | 0
2020-09-09 12:15:00 | 0.91533 | 269.7733 | 0.912 | 279.9933 | 1.3127 | 263.8387 | 1.188 | 281.4273 | 20.54 | 886 | 100 | 0
2020-09-09 12:30:00 | 1.417 | 299.88 | 1.414 | 309.881 | 1.896 | 293.284 | 1.752 | 311.463 | 20.37 | 886 | 100 | 0
2020-09-09 12:45:00 | 1.8213 | 320.8467 | 1.8447 | 308.9567 | 2.4607 | 313.788 | 2.3207 | 310.5353 | 20.3867 | 885.5333 | 100 | 0
2020-09-09 13:00:00 | 2.2453 | 322.74 | 2.3293 | 269.1587 | 2.7147 | 315.6407 | 2.738 | 270.5353 | 20.3867 | 885 | 100 | 0.69867
2020-09-09 13:15:00 | 2.44 | 319.31 | 2.514 | 336.227 | 3.117 | 312.284 | 3.063 | 337.946 | 20.03 | 885 | 100 | 2.316
2020-09-09 13:30:00 | 3.0833 | 339.3667 | 3.1907 | 329.098 | 3.6287 | 331.8993 | 3.6753 | 330.778 | 19.56 | 885 | 100 | 4.184
2020-09-09 13:45:00 | 3.6387 | 342.08 | 3.9093 | 315.2873 | 4.308 | 334.5547 | 4.6267 | 316.9 | 19.5 | 885 | 100 | 7.0913
2020-09-09 14:00:00 | 3.448 | 348.28 | 3.72 | 339.661 | 4.092 | 340.619 | 4.419 | 341.396 | 19.44 | 885 | 100 | 7.014
2020-09-09 14:15:00 | 3.208 | 189.0533 | 3.4507 | 336.7247 | 3.76 | 184.8947 | 4.0627 | 338.446 | 19.4267 | 885 | 100 | 5.5927
2020-09-09 14:30:00 | 2.9927 | 215.22 | 3.2253 | 331.9853 | 3.61 | 210.4853 | 3.8747 | 333.6827 | 19.48 | 885 | 100 | 4.1133
2020-09-09 14:45:00 | 3.017 | 317.49 | 3.259 | 330.077 | 3.554 | 310.505 | 3.863 | 331.764 | 19.4 | 884.8 | 100 | 3.838
2020-09-09 15:00:00 | 2.858 | 284.2 | 3.084 | 333.774 | 3.406 | 277.948 | 3.67 | 335.48 | 19.68 | 884 | 100 | 3.028
2020-09-09 15:15:00 | 3.418 | 316.77 | 3.681 | 329.537 | 3.986 | 309.8 | 4.323 | 331.22 | 19.47 | 884 | 100 | 5.312
2020-09-09 15:30:00 | 3.513 | 308.33 | 3.791 | 329.977 | 4.053 | 301.546 | 4.422 | 331.665 | 19.53 | 884 | 100 | 5.929
2020-09-09 15:45:00 | 3.878 | 337.31 | 4.169 | 322.817 | 4.377 | 329.889 | 4.783 | 324.469 | 19.53 | 884 | 100 | 8.124
2020-09-09 16:00:00 | 3.997 | 342.9 | 4.314 | 328.53 | 4.553 | 335.356 | 4.995 | 330.21 | 19.51 | 884 | 100 | 9.566
2020-09-09 16:15:00 | 4.135 | 347.12 | 4.418 | 327.142 | 4.672 | 339.484 | 5.058 | 328.812 | 19.52 | 884 | 100 | 10.163
2020-09-09 16:30:00 | 3.314 | 350.48 | 3.541 | 332.695 | 3.822 | 342.769 | 4.112 | 334.397 | 19.52 | 884 | 100 | 6.526
2020-09-09 16:45:00 | 3.186 | 282.27 | 3.437 | 333.009 | 3.662 | 276.06 | 4.003 | 334.711 | 19.75 | 884 | 100 | 5.087
2020-09-09 17:00:00 | 2.4547 | 236.6 | 2.5253 | 328.4 | 2.9027 | 231.3953 | 2.9113 | 330.0787 | 20.1933 | 884 | 100 | 1.6627
2020-09-09 17:15:00 | 2.0122 | 55.5778 | 2.0044 | 339.2456 | 2.0911 | 54.3544 | 2.0567 | 340.98 | 20.3889 | 884 | 100 | 0.38
2020-09-09 17:30:00 | 2.112 | 146.24 | 2.15 | 326.77 | 2.462 | 143.023 | 2.438 | 328.439 | 19.83 | 884 | 100 | 0.218
2020-09-09 17:45:00 | 2.6493 | 269.9867 | 2.664 | 320.6867 | 3.1453 | 264.0467 | 3.0353 | 322.3267 | 19.7667 | 883 | 100 | 2.882
2020-09-09 18:00:00 | 3.004 | 348.7 | 3.06 | 320.96 | 3.574 | 341.03 | 3.52 | 322.6 | 19.78 | 883 | 100 | 3.88
2020-09-09 18:15:00 | 4.016 | 334.65 | 4.28 | 328.149 | 4.329 | 327.285 | 4.743 | 329.825 | 19.68 | 883 | 100 | 9.225
2020-09-09 18:30:00 | 3.5393 | 347.7733 | 3.7227 | 310.3053 | 4.064 | 340.1213 | 4.2627 | 311.8913 | 19.8333 | 883.8 | 100 | 8.1093
2020-09-09 18:45:00 | 3.826 | 315.1 | 4.032 | 304.968 | 4.454 | 308.168 | 4.659 | 306.528 | 19.86 | 884 | 100 | 10.997
2020-09-09 19:00:00 | 3.765 | 341.77 | 3.977 | 332.276 | 4.355 | 334.251 | 4.585 | 333.976 | 19.71 | 884 | 100 | 9.316
2020-09-09 19:15:00 | 3.944 | 339.1333 | 4.148 | 325.1393 | 4.5047 | 331.6727 | 4.7293 | 326.8007 | 19.7533 | 883.5333 | 100 | 8.952
2020-09-09 19:30:00 | 4.456 | 338.93 | 4.669 | 329.607 | 4.908 | 331.474 | 5.186 | 331.29 | 19.83 | 883 | 100 | 11.167
2020-09-09 19:45:00 | 4.5393 | 318.06 | 4.8847 | 321.2587 | 5.2333 | 311.062 | 5.6873 | 322.9033 | 19.6133 | 883 | 100 | 14.484
2020-09-09 20:00:00 | 4.826 | 345.02 | 5.1867 | 335.0433 | 5.4993 | 337.428 | 5.9933 | 336.756 | 19.6067 | 883 | 100 | 19.24
2020-09-09 20:15:00 | 5.004 | 314.67 | 5.292 | 337.459 | 5.671 | 307.747 | 6.027 | 339.184 | 19.74 | 883.2 | 100 | 20.769
2020-09-09 20:30:00 | 5.357 | 344.64 | 5.676 | 333.967 | 5.772 | 337.058 | 6.26 | 335.674 | 19.69 | 883.3 | 100 | 24.912
2020-09-09 20:45:00 | 5.3013 | 345.4 | 5.6087 | 327.7747 | 5.6853 | 337.8007 | 6.1593 | 329.4493 | 19.6867 | 884 | 100 | 22.9033
2020-09-09 21:00:00 | 5.535 | 336.94 | 5.77 | 324.218 | 6.037 | 329.526 | 6.342 | 325.874 | 19.72 | 884 | 100 | 23.992
2020-09-09 21:15:00 | 5.434 | 344.5 | 5.7927 | 329.8527 | 5.678 | 336.9213 | 6.2853 | 331.5387 | 19.84 | 884 | 100 | 25.916
2020-09-09 21:30:00 | 5.458 | 347.5 | 5.811 | 330.31 | 6.027 | 339.856 | 6.535 | 331.996 | 19.57 | 884 | 100 | 26.026
2020-09-09 21:45:00 | 5.273 | 316.46 | 5.54 | 331.347 | 5.757 | 309.498 | 6.126 | 333.041 | 19.5 | 885 | 100 | 28.3
2020-09-09 22:00:00 | 5.5127 | 344.6933 | 5.7453 | 327.8253 | 6.0613 | 337.1107 | 6.3433 | 329.502 | 19.6467 | 885 | 100 | 28.0813
2020-09-09 22:15:00 | 5.865 | 346.59 | 6.134 | 328.735 | 6.247 | 338.966 | 6.649 | 330.415 | 19.75 | 885 | 100 | 32.982
2020-09-09 22:30:00 | 5.898 | 342.15 | 6.265 | 326.397 | 6.42 | 334.622 | 6.967 | 328.065 | 19.52 | 885 | 100 | 34.558
2020-09-09 22:45:00 | 5.731 | 343.74 | 6.038 | 327.963 | 6.015 | 336.179 | 6.515 | 329.639 | 19.35 | 884 | 100 | 33.59
2020-09-09 23:00:00 | 5.965 | 311.97 | 6.312 | 329.077 | 6.509 | 305.107 | 7.012 | 330.76 | 19.38 | 884 | 100 | 33.545
2020-09-09 23:15:00 | 5.705 | 277.66 | 5.982 | 327.033 | 6.154 | 271.551 | 6.552 | 328.706 | 19.37 | 884.8 | 100 | 37.548
2020-09-09 23:30:00 | 5.202 | 311.62 | 5.459 | 326.662 | 5.756 | 304.764 | 6.08 | 328.332 | 19.35 | 884 | 100 | 30.605
2020-09-09 23:45:00 | 5.901 | 312.27 | 6.269 | 322.181 | 6.593 | 305.4 | 7.088 | 323.831 | 19.29 | 884 | 100 | 36.387