## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-10 00:00:00 | 5.196 | 344.22 | 5.637 | 320.098 | 5.967 | 336.648 | 6.582 | 321.737 | 19.2 | 884 | 100 | 31.49
2020-09-10 00:15:00 | 5.2147 | 343.8067 | 5.6707 | 327.186 | 5.85 | 336.2427 | 6.53 | 328.8587 | 19.1 | 884 | 100 | 32.092
2020-09-10 00:30:00 | 5.106 | 343.59 | 5.58 | 328.677 | 5.685 | 336.03 | 6.417 | 330.357 | 19 | 884 | 100 | 31.329
2020-09-10 00:45:00 | 5.628 | 349.84 | 6.0807 | 326.776 | 6.3453 | 342.1427 | 6.9953 | 328.446 | 19.1 | 884 | 100 | 34.0433
2020-09-10 01:00:00 | 5.9093 | 347.42 | 6.4113 | 321.5587 | 6.704 | 339.7767 | 7.4253 | 323.204 | 19.1067 | 884 | 100 | 36.3987
2020-09-10 01:15:00 | 5.554 | 343.47 | 6.044 | 318.32 | 6.298 | 335.916 | 7.012 | 319.947 | 18.96 | 884 | 100 | 33.07
2020-09-10 01:30:00 | 6.0447 | 349.46 | 6.47 | 334.45 | 6.8147 | 342.438 | 7.3967 | 336.1593 | 19.28 | 884 | 100 | 34.9013
2020-09-10 01:45:00 | 5.8053 | 282.3667 | 6.1853 | 329.462 | 6.5433 | 276.154 | 7.0473 | 331.146 | 19.02 | 884 | 100 | 34.072
2020-09-10 02:00:00 | 5.63 | 318.97 | 6.064 | 333.411 | 6.401 | 311.953 | 7 | 335.114 | 18.99 | 883.3 | 100 | 34.854
2020-09-10 02:15:00 | 5.8507 | 325.4333 | 6.2427 | 332.6633 | 6.49 | 318.358 | 7.054 | 334.364 | 18.8467 | 883 | 100 | 36.4727
2020-09-10 02:30:00 | 5.2987 | 346.36 | 5.718 | 330.5513 | 5.9467 | 338.74 | 6.552 | 332.242 | 18.9267 | 883 | 100 | 31.6453
2020-09-10 02:45:00 | 5.2593 | 347.2857 | 5.7971 | 320.2457 | 6.0007 | 339.6443 | 6.8064 | 321.8836 | 18.8857 | 883 | 100 | 34.74
2020-09-10 03:00:00 | 5.336 | 347.76 | 5.869 | 324.549 | 5.999 | 340.109 | 6.816 | 326.208 | 19.03 | 883 | 100 | 35.979
2020-09-10 03:15:00 | 5.479 | 349.62 | 5.982 | 328.795 | 6.242 | 341.928 | 6.976 | 330.477 | 19.13 | 883 | 100 | 32.933
2020-09-10 03:30:00 | 5.277 | 342.59 | 5.791 | 330.662 | 5.712 | 335.053 | 6.561 | 332.351 | 19.01 | 883 | 100 | 35.68
2020-09-10 03:45:00 | 5.615 | 348.4 | 6.024 | 334.887 | 5.952 | 340.736 | 6.633 | 336.598 | 19.4 | 883 | 100 | 36.05
2020-09-10 04:00:00 | 5.538 | 345.3 | 6.039 | 297.547 | 6.101 | 337.703 | 6.881 | 299.068 | 19.07 | 883 | 100 | 36.073
2020-09-10 04:15:00 | 5.295 | 342.97 | 5.734 | 333.889 | 5.749 | 335.425 | 6.45 | 335.595 | 19.16 | 883 | 100 | 32.931
2020-09-10 04:30:00 | 4.975 | 343.77 | 5.453 | 331.327 | 5.713 | 336.205 | 6.405 | 333.021 | 19.09 | 883 | 100 | 33.1
2020-09-10 04:45:00 | 4.925 | 338.18 | 5.387 | 323.699 | 5.252 | 330.739 | 6.031 | 325.353 | 19.04 | 883 | 100 | 27.757
2020-09-10 05:00:00 | 5.504 | 349.05 | 5.941 | 324.931 | 6.075 | 341.369 | 6.74 | 326.592 | 19.1 | 883 | 100 | 33.446
2020-09-10 05:15:00 | 5.561 | 353.06 | 5.916 | 332.11 | 6.206 | 345.293 | 6.697 | 333.807 | 19.34 | 883 | 100 | 35.927
2020-09-10 05:30:00 | 5.547 | 351.81 | 5.993 | 330.054 | 6.429 | 344.071 | 7.015 | 331.743 | 19.12 | 883 | 100 | 39.658
2020-09-10 05:45:00 | 5.695 | 178.99 | 6.137 | 323.982 | 6.459 | 175.052 | 7.074 | 325.637 | 19.17 | 883 | 100 | 41.017
2020-09-10 06:00:00 | 6.095 | 346.49 | 6.541 | 330.064 | 6.672 | 338.867 | 7.355 | 331.752 | 19.31 | 883 | 100 | 43.113
2020-09-10 06:15:00 | 6.782 | 314.11 | 7.171 | 334.231 | 7.315 | 307.2 | 7.894 | 335.939 | 19.66 | 883 | 100 | 50.181
2020-09-10 06:30:00 | 6.829 | 281.01 | 7.195 | 301.429 | 7.677 | 274.828 | 8.126 | 302.971 | 19.65 | 883 | 100 | 54.671
2020-09-10 06:45:00 | 6.511 | 343.43 | 6.814 | 300.852 | 7.26 | 335.874 | 7.621 | 302.391 | 19.86 | 883 | 100 | 52.8
2020-09-10 07:00:00 | 5.317 | 309.38 | 5.611 | 331.004 | 6.068 | 302.574 | 6.409 | 332.697 | 19.75 | 883 | 100 | 45.915
2020-09-10 07:15:00 | 5.439 | 343.15 | 5.744 | 332.949 | 6.142 | 335.6 | 6.522 | 334.652 | 19.72 | 883 | 100 | 42.303
2020-09-10 07:30:00 | 5.214 | 310.27 | 5.501 | 335.486 | 5.8 | 303.445 | 6.177 | 337.2 | 20.05 | 883.7 | 100 | 37.332
2020-09-10 07:45:00 | 4.463 | 214.99 | 4.667 | 300.862 | 4.725 | 210.26 | 5.038 | 302.4 | 20.17 | 884 | 100 | 28.701
2020-09-10 08:00:00 | 4.006 | 275.67 | 4.169 | 324.833 | 4.195 | 269.606 | 4.455 | 326.493 | 20.27 | 884.7 | 100 | 23.037
2020-09-10 08:15:00 | 4.234 | 278.1 | 4.397 | 330.397 | 4.568 | 271.982 | 4.782 | 332.085 | 20.35 | 885 | 100 | 25.191
2020-09-10 08:30:00 | 4.645 | 247.6 | 4.928 | 299.385 | 5.187 | 242.153 | 5.57 | 300.916 | 20.48 | 885 | 100 | 32.51
2020-09-10 08:45:00 | 3.944 | 246.38 | 4.139 | 326.397 | 4.298 | 240.959 | 4.568 | 328.066 | 20.74 | 885.2 | 99.1 | 28.269
2020-09-10 09:00:00 | 4.2973 | 257.3067 | 4.6493 | 247.0747 | 4.458 | 251.6453 | 5.0793 | 248.3387 | 21.0667 | 886 | 90.9667 | 34.718
2020-09-10 09:15:00 | 4.4673 | 278.0333 | 4.78 | 310.1167 | 4.7233 | 271.9167 | 5.24 | 311.7033 | 21.2533 | 886 | 86.9267 | 32.904
2020-09-10 09:30:00 | 4.729 | 246.59 | 4.935 | 232.863 | 4.877 | 241.163 | 5.229 | 234.054 | 21.56 | 886 | 84.5 | 33.909
2020-09-10 09:45:00 | 4.886 | 217.4333 | 5.02 | 210.134 | 5.0607 | 212.6493 | 5.268 | 211.2073 | 21.7467 | 886 | 80.8133 | 33.8107
2020-09-10 10:00:00 | 5.435 | 216.55 | 5.7 | 273.499 | 6.195 | 211.786 | 6.479 | 274.896 | 21.87 | 886 | 79.562 | 34.875
2020-09-10 10:15:00 | 4.782 | 181.13 | 5.187 | 276.374 | 5.439 | 177.147 | 6.016 | 277.785 | 22.07 | 887 | 77.316 | 31.749
2020-09-10 10:30:00 | 4.636 | 279.49 | 4.986 | 207.971 | 5.004 | 273.34 | 5.563 | 209.034 | 22.37 | 887 | 77.439 | 27.399
2020-09-10 10:45:00 | 4.576 | 249.56 | 4.979 | 175.755 | 5.37 | 244.071 | 5.907 | 176.655 | 22.81 | 887 | 74.123 | 24.22
2020-09-10 11:00:00 | 4.474 | 115.91 | 4.859 | 47.931 | 5.488 | 113.36 | 5.927 | 48.176 | 23.21 | 887 | 71.513 | 23.526
2020-09-10 11:15:00 | 4.225 | 182.76 | 4.604 | 116.47 | 5.082 | 178.738 | 5.546 | 117.067 | 23.47 | 887 | 70.893 | 21.586
2020-09-10 11:30:00 | 4.391 | 180.85 | 4.661 | 177.155 | 4.914 | 176.87 | 5.276 | 178.061 | 23.72 | 887 | 70.769 | 25.287
2020-09-10 11:45:00 | 4.813 | 185.26 | 5.06 | 208.743 | 5.415 | 181.185 | 5.711 | 209.81 | 23.97 | 886.8 | 69.744 | 26.945
2020-09-10 12:00:00 | 4.7687 | 297.8667 | 5.0213 | 230.9333 | 5.2733 | 291.3127 | 5.608 | 232.1133 | 24.14 | 886 | 68.7467 | 24.034
2020-09-10 12:15:00 | 4.308 | 344.6333 | 4.526 | 187.3007 | 4.884 | 337.052 | 5.134 | 188.258 | 24.4667 | 886 | 68.9227 | 20.376
2020-09-10 12:30:00 | 4.358 | 274.45 | 4.662 | 242.592 | 4.974 | 268.412 | 5.373 | 243.833 | 24.64 | 886 | 68.107 | 20.236
2020-09-10 12:45:00 | 4.262 | 275.85 | 4.456 | 305.184 | 4.702 | 269.781 | 4.943 | 306.745 | 24.63 | 886 | 65.799 | 20.884
2020-09-10 13:00:00 | 4.036 | 245.92 | 4.292 | 208.803 | 4.828 | 240.511 | 5.077 | 207.944 | 25.04 | 886 | 66.056 | 18.8
2020-09-10 13:15:00 | 4.21 | 276.25 | 4.372 | 273.937 | 4.827 | 270.172 | 4.958 | 275.338 | 25.21 | 886 | 63.904 | 18.39
2020-09-10 13:30:00 | 4.239 | 208.37 | 4.42 | 176.167 | 4.737 | 203.786 | 4.937 | 177.067 | 25.57 | 886 | 62.195 | 18.14
2020-09-10 13:45:00 | 3.679 | 309.3 | 4.043 | 239.912 | 4.469 | 302.496 | 4.928 | 241.138 | 25.91 | 886 | 60.335 | 18.292
2020-09-10 14:00:00 | 4.874 | 307.5 | 5.01 | 337.176 | 5.522 | 300.735 | 5.598 | 338.898 | 25.93 | 886 | 61.293 | 24.692
2020-09-10 14:15:00 | 3.687 | 277.81 | 3.908 | 265.839 | 4.476 | 271.697 | 4.664 | 267.201 | 26.22 | 886 | 56.905 | 17.738
2020-09-10 14:30:00 | 3.9033 | 190.16 | 4.114 | 246.326 | 4.2907 | 185.976 | 4.582 | 247.586 | 26.1267 | 886 | 58.4133 | 17.3013
2020-09-10 14:45:00 | 4.1333 | 212.0067 | 4.4873 | 183.4213 | 4.9827 | 207.3413 | 5.41 | 184.358 | 26.1733 | 886 | 58.71 | 21.3893
2020-09-10 15:00:00 | 4.6887 | 235.0133 | 5.0127 | 292.2253 | 5.3867 | 229.842 | 5.8013 | 293.7207 | 26.0267 | 886 | 58.6593 | 23.6087
2020-09-10 15:15:00 | 4.231 | 213.57 | 4.527 | 135.151 | 4.915 | 208.872 | 5.281 | 135.84 | 26.08 | 885.8 | 61.403 | 21.333
2020-09-10 15:30:00 | 4.71 | 234 | 4.958 | 184.1113 | 5.0713 | 228.8533 | 5.4407 | 185.054 | 26.0667 | 885 | 63.4933 | 23.3207
2020-09-10 15:45:00 | 4.746 | 171.3 | 5.0507 | 231.0507 | 5.3853 | 167.5307 | 5.7787 | 232.23 | 26.1933 | 885 | 61.148 | 26.6053
2020-09-10 16:00:00 | 4.716 | 211.91 | 5.196 | 212.041 | 5.567 | 207.248 | 6.233 | 213.124 | 26.21 | 885 | 58.45 | 26.819
2020-09-10 16:15:00 | 4.6007 | 144.9533 | 4.9333 | 212.024 | 5.242 | 141.7647 | 5.69 | 213.108 | 26.0133 | 885 | 60.3867 | 20.4153
2020-09-10 16:30:00 | 4.2973 | 258.04 | 4.5693 | 251.2813 | 4.8553 | 252.3633 | 5.2127 | 252.5653 | 25.8867 | 884.8667 | 61.5093 | 17.344
2020-09-10 16:45:00 | 3.9 | 245.27 | 4.175 | 307.073 | 4.462 | 239.874 | 4.823 | 308.642 | 25.76 | 884 | 64.252 | 12.488
2020-09-10 17:00:00 | 3.6027 | 217.3067 | 3.7873 | 313.814 | 3.8187 | 212.526 | 4.1053 | 315.4193 | 25.8933 | 884 | 68.166 | 7.7953
2020-09-10 17:15:00 | 3.432 | 234.5067 | 3.6253 | 267.2227 | 3.866 | 229.3467 | 4.1073 | 268.588 | 26.06 | 884 | 66.1933 | 7.7387
2020-09-10 17:30:00 | 3.209 | 280.46 | 3.411 | 272.559 | 3.459 | 274.29 | 3.769 | 273.953 | 26.33 | 884 | 64.935 | 6.93
2020-09-10 17:45:00 | 3.222 | 246.54 | 3.425 | 237.557 | 3.563 | 241.117 | 3.855 | 238.772 | 26.09 | 884 | 61.098 | 8.01
2020-09-10 18:00:00 | 3.055 | 246.02 | 3.279 | 301.674 | 3.453 | 240.608 | 3.763 | 303.217 | 26.07 | 884 | 64.766 | 6.205
2020-09-10 18:15:00 | 2.879 | 110.85 | 3.088 | 206.22 | 3.249 | 108.411 | 3.537 | 207.277 | 26.29 | 884 | 64.595 | 5.157
2020-09-10 18:30:00 | 2.405 | 113.56 | 2.549 | 331.865 | 2.626 | 111.061 | 2.836 | 333.562 | 26 | 884 | 65.5 | 2.122
2020-09-10 18:45:00 | 2.233 | 22 | 2.448 | 308.608 | 2.528 | 21.515 | 2.851 | 310.184 | 25.71 | 883.8 | 66.587 | 1.528
2020-09-10 19:00:00 | 2.372 | 50.93 | 2.575 | 147.315 | 2.499 | 49.81 | 2.845 | 148.069 | 25.62 | 883 | 69.566 | 2.225
2020-09-10 19:15:00 | 2.724 | 15.68 | 2.985 | 332.919 | 3.19 | 15.334 | 3.548 | 334.623 | 25.4 | 883 | 68.187 | 4.02
2020-09-10 19:30:00 | 3.204 | 247.87 | 3.453 | 321.958 | 3.591 | 242.417 | 3.957 | 323.604 | 25.21 | 883 | 73.304 | 5.945
2020-09-10 19:45:00 | 3.177 | 278.36 | 3.358 | 326.133 | 3.659 | 272.237 | 3.863 | 327.801 | 25.15 | 883 | 76.82 | 7.605
2020-09-10 20:00:00 | 3.204 | 282.97 | 3.351 | 326.857 | 3.775 | 276.746 | 3.894 | 328.528 | 24.85 | 883 | 78.791 | 8.368
2020-09-10 20:15:00 | 2.698 | 203.88 | 2.7187 | 332.344 | 2.9013 | 199.3967 | 2.8847 | 334.3671 | 24.6533 | 883 | 77.6713 | 5.8933
2020-09-10 20:30:00 | 2.307 | 211.68 | 2.533 | 266.632 | 2.467 | 207.024 | 2.848 | 267.994 | 24.5 | 883 | 78.144 | 3.436
2020-09-10 20:45:00 | 2.433 | 281.55 | 2.601 | 236.49 | 2.681 | 275.356 | 2.933 | 237.7 | 24.52 | 883 | 76.217 | 1.833
2020-09-10 21:00:00 | 2.702 | 119.2267 | 2.8353 | 332.6493 | 3.0653 | 116.6047 | 3.214 | 334.3513 | 24.5067 | 883.8 | 74.182 | 3.1007
2020-09-10 21:15:00 | 2.639 | 145.27 | 2.78 | 336.13 | 3.02 | 142.073 | 3.177 | 337.848 | 24.49 | 884 | 76.794 | 3.17
2020-09-10 21:30:00 | 2.576 | 277.12 | 2.734 | 330.769 | 3.007 | 271.024 | 3.186 | 332.461 | 24.55 | 884 | 80.371 | 2.137
2020-09-10 21:45:00 | 2.0367 | 235.74 | 2.2273 | 304.334 | 2.4033 | 230.554 | 2.6587 | 305.89 | 24.28 | 884 | 82.0067 | 1.2433
2020-09-10 22:00:00 | 2.849 | 349.6 | 3.017 | 325.359 | 3.317 | 341.908 | 3.499 | 327.024 | 24.12 | 884 | 81.65 | 2.458
2020-09-10 22:15:00 | 2.953 | 281.81 | 3.138 | 328.324 | 3.543 | 275.611 | 3.723 | 330.002 | 23.89 | 884 | 80.768 | 5.01
2020-09-10 22:30:00 | 3.3764 | 303.7857 | 3.5507 | 328.6021 | 3.895 | 297.1021 | 4.0771 | 330.2821 | 23.6 | 884 | 82.4286 | 7.0833
2020-09-10 22:45:00 | 3.614 | 248.85 | 3.88 | 334.017 | 4.177 | 243.266 | 4.516 | 335.725 | 23.38 | 884 | 85.82 | 8.452
2020-09-10 23:00:00 | 3.653 | 178.86 | 3.952 | 337.478 | 4.198 | 174.925 | 4.611 | 339.204 | 23.14 | 884 | 88.07 | 8.326
2020-09-10 23:15:00 | 3.436 | 122.9 | 3.6627 | 341.296 | 3.9733 | 120.196 | 4.2513 | 343.0407 | 23.1733 | 884 | 87 | 6.676
2020-09-10 23:30:00 | 3.68 | 143.02 | 3.97 | 330.026 | 4.288 | 139.874 | 4.664 | 331.714 | 22.89 | 884 | 87.74 | 8.465
2020-09-10 23:45:00 | 3.782 | 211.73 | 4.144 | 325.066 | 4.399 | 207.071 | 4.907 | 326.729 | 22.51 | 884 | 89.22 | 10.934