## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-11 00:00:00 | 3.754 | 211.06 | 4.099 | 324.039 | 4.51 | 206.416 | 4.942 | 325.697 | 22.41 | 884 | 87.49 | 11.006
2020-09-11 00:15:00 | 3.915 | 282.05 | 4.244 | 331.024 | 4.668 | 275.843 | 5.078 | 332.716 | 22.3 | 884 | 88.72 | 11.722
2020-09-11 00:30:00 | 4.381 | 176.67 | 4.69 | 328.578 | 5.265 | 172.784 | 5.595 | 330.259 | 22.02 | 884 | 89.74 | 15.418
2020-09-11 00:45:00 | 4.8093 | 212.7533 | 5.148 | 325.4133 | 5.8093 | 208.0727 | 6.1573 | 327.0753 | 21.6133 | 884 | 92.0733 | 22.3933
2020-09-11 01:00:00 | 5.039 | 244.6 | 5.452 | 324.452 | 5.966 | 239.219 | 6.481 | 326.109 | 21.33 | 884 | 90.26 | 24.025
2020-09-11 01:15:00 | 5.132 | 346.8133 | 5.5447 | 323.2167 | 6.1767 | 339.1827 | 6.6553 | 324.8687 | 21.5267 | 884 | 87.78 | 24.4113
2020-09-11 01:30:00 | 4.945 | 350.81 | 5.351 | 322.622 | 5.954 | 343.091 | 6.428 | 324.271 | 21.65 | 884 | 88.61 | 21.126
2020-09-11 01:45:00 | 5.055 | 313.87 | 5.46 | 332.678 | 5.9 | 306.964 | 6.423 | 334.377 | 21.71 | 884 | 89.81 | 22.519
2020-09-11 02:00:00 | 5.041 | 286.63 | 5.412 | 333.607 | 5.973 | 280.324 | 6.407 | 335.311 | 21.04 | 884 | 91.31 | 24.697
2020-09-11 02:15:00 | 4.649 | 285.69 | 4.891 | 327.434 | 5.591 | 279.404 | 5.775 | 329.107 | 20.58 | 884 | 92 | 20.688
2020-09-11 02:30:00 | 4.449 | 179.08 | 4.647 | 324.823 | 5.507 | 175.14 | 5.576 | 326.483 | 20.66 | 884 | 91.66 | 18.262
2020-09-11 02:45:00 | 4.44 | 177.73 | 4.66 | 323.815 | 5.375 | 173.82 | 5.529 | 325.471 | 20.77 | 884 | 92.01 | 17.909
2020-09-11 03:00:00 | 4.761 | 282.15 | 5.031 | 328.148 | 5.635 | 275.942 | 5.892 | 329.826 | 20.8 | 884 | 92.61 | 20.969
2020-09-11 03:15:00 | 4.9973 | 280.2733 | 5.2593 | 326.2733 | 5.996 | 274.1073 | 6.2033 | 327.9413 | 20.5867 | 884 | 95.1867 | 22.3113
2020-09-11 03:30:00 | 4.999 | 284.04 | 5.305 | 324.628 | 5.986 | 277.789 | 6.289 | 326.287 | 20.67 | 884 | 96.26 | 22.605
2020-09-11 03:45:00 | 5.52 | 344.46 | 5.975 | 322.985 | 6.57 | 337.079 | 7.125 | 324.635 | 20.56 | 884 | 97.36 | 31.285
2020-09-11 04:00:00 | 5.99 | 347.8333 | 6.4507 | 324.7993 | 6.9573 | 340.1813 | 7.55 | 326.46 | 20.2933 | 884 | 97.5067 | 37.9387
2020-09-11 04:15:00 | 5.702 | 213.68 | 6.149 | 334.143 | 6.664 | 208.978 | 7.236 | 335.852 | 20.03 | 884 | 96.7 | 34.817
2020-09-11 04:30:00 | 5.7657 | 321.6143 | 6.1679 | 326.0093 | 6.875 | 314.5386 | 7.3157 | 327.6764 | 19.7643 | 884 | 97.5857 | 36.0147
2020-09-11 04:45:00 | 5.8447 | 344.1 | 6.1847 | 320.4693 | 6.97 | 336.5293 | 7.2887 | 322.1093 | 19.5467 | 884 | 98.1 | 33.5413
2020-09-11 05:00:00 | 5.949 | 342.63 | 6.342 | 320.726 | 7.029 | 335.093 | 7.461 | 322.365 | 19.82 | 884 | 98.27 | 34.763
2020-09-11 05:15:00 | 5.604 | 342.8067 | 5.9807 | 324.8053 | 6.6433 | 335.2653 | 7.0587 | 326.4667 | 19.8733 | 884 | 98.86 | 31.95
2020-09-11 05:30:00 | 6.06 | 347.88 | 6.492 | 327.084 | 7.096 | 339.838 | 7.624 | 328.756 | 19.96 | 884 | 98.78 | 36.718
2020-09-11 05:45:00 | 6.514 | 339.86 | 7.064 | 317.86 | 7.603 | 332.382 | 8.33 | 319.485 | 19.85 | 884 | 98.46 | 38.312
2020-09-11 06:00:00 | 6.2833 | 346.0333 | 6.794 | 323.914 | 7.144 | 338.4193 | 7.866 | 325.5687 | 19.8267 | 884 | 98.4 | 36.6133
2020-09-11 06:15:00 | 6.267 | 340.05 | 6.748 | 320.98 | 7.192 | 332.569 | 7.834 | 322.619 | 19.82 | 884 | 98.44 | 32.277
2020-09-11 06:30:00 | 6.348 | 348.39 | 6.862 | 329.262 | 7.159 | 340.725 | 7.897 | 330.947 | 19.82 | 884 | 97.99 | 36.642
2020-09-11 06:45:00 | 6.235 | 324.6429 | 6.7643 | 329.7821 | 7.0421 | 317.5007 | 7.8129 | 331.4671 | 19.2929 | 884 | 98.7231 | 34.7371
2020-09-11 07:00:00 | 6.277 | 346.26 | 6.841 | 333.213 | 7.024 | 338.643 | 7.877 | 334.918 | 19.19 | 884.9 | 99.2 | 36.489
2020-09-11 07:15:00 | 5.8087 | 235.5733 | 6.3433 | 335.4473 | 6.57 | 230.3913 | 7.3607 | 337.1613 | 18.98 | 885 | 98.8333 | 32.2927
2020-09-11 07:30:00 | 5.3393 | 260.8733 | 5.806 | 336.04 | 6.1207 | 255.1333 | 6.778 | 337.7593 | 19.06 | 885 | 98.4533 | 27.3053
2020-09-11 07:45:00 | 5.026 | 212.65 | 5.427 | 331.267 | 5.852 | 207.971 | 6.37 | 332.962 | 19.01 | 885 | 98.02 | 23.576
2020-09-11 08:00:00 | 4.7113 | 182.6467 | 5.026 | 319.8393 | 5.6373 | 178.6293 | 5.9667 | 321.474 | 19.0333 | 885 | 97.34 | 19.4067
2020-09-11 08:15:00 | 4.96 | 324.2333 | 5.3407 | 320.758 | 5.88 | 317.1 | 6.3347 | 322.3993 | 19.1467 | 885 | 96.8333 | 21.502
2020-09-11 08:30:00 | 5.302 | 338.26 | 5.668 | 317.282 | 6.183 | 330.818 | 6.623 | 318.904 | 19.23 | 885 | 97.61 | 24.291
2020-09-11 08:45:00 | 5.1233 | 345.66 | 5.5053 | 330.688 | 5.982 | 338.0553 | 6.46 | 332.378 | 19.3667 | 886 | 97.9533 | 23.5907
2020-09-11 09:00:00 | 4.8353 | 342.5933 | 5.1313 | 324.93 | 5.7807 | 335.058 | 6.0707 | 326.59 | 19.2933 | 885.3333 | 97.8467 | 19.5853
2020-09-11 09:15:00 | 4.835 | 307.39 | 5.141 | 313.35 | 5.889 | 300.626 | 6.164 | 314.953 | 19.36 | 886 | 97.76 | 19.651
2020-09-11 09:30:00 | 4.408 | 343.9067 | 4.684 | 325.7453 | 5.244 | 336.3407 | 5.5273 | 327.412 | 19.5467 | 886 | 97.1067 | 14.4853
2020-09-11 09:45:00 | 4.2487 | 296.2 | 4.5033 | 317.836 | 5.0807 | 289.684 | 5.324 | 319.4627 | 19.4867 | 886 | 95.5867 | 12.582
2020-09-11 10:00:00 | 3.92 | 308.78 | 4.081 | 325 | 4.673 | 301.986 | 4.76 | 326.66 | 19.45 | 886.9 | 95.24 | 10.149
2020-09-11 10:15:00 | 3.328 | 318.6267 | 3.482 | 321.6307 | 3.968 | 311.618 | 4.0753 | 323.276 | 19.5067 | 887 | 95.0533 | 5.092
2020-09-11 10:30:00 | 4.3193 | 340.7667 | 4.738 | 321.338 | 4.868 | 333.27 | 5.5033 | 322.9813 | 19.7333 | 887 | 94.9933 | 8.75
2020-09-11 10:45:00 | 4.79 | 341.36 | 5.226 | 324.08 | 5.201 | 333.85 | 5.908 | 325.737 | 19.91 | 887 | 94.21 | 12.645
2020-09-11 11:00:00 | 4.9127 | 345.4933 | 5.2767 | 330.4007 | 5.4747 | 337.892 | 6.0053 | 332.09 | 19.92 | 887.9333 | 91.7867 | 16.664
2020-09-11 11:15:00 | 4.6887 | 341.72 | 4.9747 | 326.8227 | 5.436 | 334.2027 | 5.762 | 328.492 | 20.0733 | 888 | 90.7133 | 17.066
2020-09-11 11:30:00 | 4.718 | 340.66 | 5.033 | 320.148 | 5.496 | 333.164 | 5.869 | 321.786 | 20.04 | 888 | 90.44 | 16.591
2020-09-11 11:45:00 | 4.681 | 340.4 | 4.998 | 318.564 | 5.549 | 332.91 | 5.896 | 320.194 | 19.91 | 888 | 91.8 | 16.076
2020-09-11 12:00:00 | 4.922 | 339.29 | 5.306 | 318.779 | 5.695 | 331.826 | 6.202 | 320.408 | 20.05 | 888 | 92.48 | 18.547
2020-09-11 12:15:00 | 4.948 | 342.1667 | 5.312 | 322.9213 | 5.6673 | 334.6387 | 6.1507 | 324.5727 | 20.2733 | 888 | 91.44 | 18.1773
2020-09-11 12:30:00 | 5.0233 | 339.7333 | 5.386 | 321.2327 | 5.7787 | 332.2593 | 6.2473 | 322.8767 | 20.3267 | 888 | 89.5533 | 19.0687
2020-09-11 12:45:00 | 4.693 | 342.49 | 5.053 | 320.07 | 5.483 | 334.954 | 5.938 | 321.708 | 20.29 | 887.6 | 89.3 | 16.666
2020-09-11 13:00:00 | 4.648 | 333.4467 | 4.99 | 322.8713 | 5.3733 | 326.112 | 5.8127 | 324.5207 | 20.5133 | 887.9333 | 88.52 | 14.256
2020-09-11 13:15:00 | 4.4673 | 336.66 | 4.7687 | 300.0827 | 5.066 | 329.254 | 5.464 | 301.6167 | 20.6733 | 888 | 86.7933 | 13.4827
2020-09-11 13:30:00 | 4.16 | 338.14 | 4.399 | 324.109 | 4.892 | 330.699 | 5.131 | 325.765 | 20.61 | 888 | 86.7 | 11.803
2020-09-11 13:45:00 | 4.4533 | 329.74 | 4.786 | 325.9807 | 5.1387 | 322.4853 | 5.57 | 327.648 | 20.5067 | 887 | 89.28 | 12.7287
2020-09-11 14:00:00 | 4.495 | 334.54 | 4.842 | 319.678 | 5.164 | 327.18 | 5.625 | 321.314 | 20.5 | 887 | 92.72 | 12.513
2020-09-11 14:15:00 | 4.606 | 335.09 | 4.954 | 324.335 | 5.176 | 327.718 | 5.67 | 325.994 | 20.66 | 887 | 94.1 | 13.092
2020-09-11 14:30:00 | 4.472 | 339.8 | 4.7993 | 323.3207 | 4.942 | 332.3253 | 5.4293 | 324.974 | 20.6667 | 887 | 91.1267 | 12.754
2020-09-11 14:45:00 | 4.634 | 332.4 | 5 | 322.583 | 5.14 | 325.088 | 5.681 | 324.233 | 20.68 | 887 | 90.44 | 13.887
2020-09-11 15:00:00 | 4.8173 | 336.46 | 5.1593 | 322.3433 | 5.414 | 329.0567 | 5.8907 | 323.9907 | 20.72 | 887 | 90.1 | 13.9433
2020-09-11 15:15:00 | 4.6233 | 331.58 | 4.966 | 324.8007 | 5.0813 | 324.286 | 5.598 | 326.4607 | 20.7733 | 887 | 89.9 | 13.3893
2020-09-11 15:30:00 | 4.628 | 337.73 | 4.949 | 327.142 | 5.257 | 330.299 | 5.687 | 328.813 | 20.81 | 887 | 89.36 | 12.704
2020-09-11 15:45:00 | 4.4107 | 334.58 | 4.7007 | 336.224 | 4.888 | 327.2187 | 5.302 | 337.9427 | 20.88 | 887 | 89.4467 | 9.166
2020-09-11 16:00:00 | 4.246 | 334.38 | 4.526 | 331.764 | 4.796 | 327.0233 | 5.1707 | 333.4607 | 20.9 | 887 | 89.8467 | 9.5313
2020-09-11 16:15:00 | 4.331 | 334.48 | 4.629 | 328.912 | 4.837 | 327.121 | 5.258 | 330.593 | 20.91 | 887 | 90.39 | 10.361
2020-09-11 16:30:00 | 4.6164 | 333.2214 | 4.97 | 328.9857 | 5.1164 | 325.8907 | 5.6464 | 330.6686 | 20.7286 | 887 | 90.18 | 14.305
2020-09-11 16:45:00 | 4.762 | 338.4 | 5.1047 | 323.6007 | 5.1613 | 330.9547 | 5.6993 | 325.2553 | 20.7333 | 887 | 91.0133 | 15.102
2020-09-11 17:00:00 | 4.927 | 338.83 | 5.281 | 324.667 | 5.525 | 331.375 | 6.027 | 326.327 | 20.71 | 886.1 | 91.33 | 16.48
2020-09-11 17:15:00 | 4.8293 | 340.7929 | 5.2143 | 320.2114 | 5.3229 | 333.2943 | 5.9086 | 321.8493 | 20.7286 | 887 | 91.1923 | 17.1914
2020-09-11 17:30:00 | 4.8173 | 333.5267 | 5.1967 | 322.184 | 5.4453 | 326.1893 | 5.9813 | 323.8333 | 20.74 | 887 | 91.62 | 16.8673
2020-09-11 17:45:00 | 4.766 | 330 | 5.128 | 323.943 | 5.203 | 322.74 | 5.762 | 325.598 | 20.8 | 887 | 91.56 | 17.044
2020-09-11 18:00:00 | 4.8533 | 332.0933 | 5.2347 | 321.396 | 5.3873 | 324.788 | 5.9533 | 323.04 | 20.6467 | 887 | 91.6733 | 16.9673
2020-09-11 18:15:00 | 4.7127 | 335.3333 | 5.1067 | 326.052 | 5.2447 | 327.956 | 5.8373 | 327.718 | 20.6667 | 887 | 92.16 | 16.4893
2020-09-11 18:30:00 | 4.849 | 334.85 | 5.211 | 322.623 | 5.397 | 327.483 | 5.921 | 324.272 | 20.62 | 887 | 92.35 | 17.802
2020-09-11 18:45:00 | 5.1793 | 335.2467 | 5.5507 | 325.0093 | 5.658 | 327.8707 | 6.222 | 326.6713 | 20.56 | 887 | 92.9 | 19.506
2020-09-11 19:00:00 | 5.236 | 340.78 | 5.686 | 325.85 | 5.722 | 333.284 | 6.434 | 327.516 | 20.46 | 887 | 93.16 | 21.49
2020-09-11 19:15:00 | 5.229 | 344.11 | 5.654 | 324.002 | 5.806 | 335.062 | 6.459 | 325.657 | 20.48 | 887 | 93.34 | 21.227
2020-09-11 19:30:00 | 5.212 | 337.27 | 5.58 | 324.667 | 5.82 | 329.848 | 6.34 | 326.326 | 20.5 | 887 | 93.75 | 21.415
2020-09-11 19:45:00 | 5.28 | 336.85 | 5.696 | 323.308 | 5.869 | 329.439 | 6.49 | 324.96 | 20.45 | 887 | 93.68 | 22.667
2020-09-11 20:00:00 | 5.249 | 336.18 | 5.674 | 325.282 | 5.876 | 328.784 | 6.501 | 326.946 | 20.44 | 887 | 94.23 | 22.66
2020-09-11 20:15:00 | 5.0107 | 332.4667 | 5.3953 | 325.6413 | 5.7147 | 325.1527 | 6.2387 | 327.306 | 20.3933 | 887 | 93.3733 | 20.3333
2020-09-11 20:30:00 | 4.962 | 335.18 | 5.388 | 318.828 | 5.594 | 327.804 | 6.224 | 320.458 | 20.34 | 887 | 93.56 | 21.382
2020-09-11 20:45:00 | 4.909 | 341.77 | 5.307 | 325.459 | 5.616 | 334.251 | 6.167 | 327.124 | 20.39 | 887 | 93.19 | 18.234
2020-09-11 21:00:00 | 4.876 | 343.02 | 5.2613 | 320.034 | 5.5687 | 335.4733 | 6.0967 | 321.6713 | 20.4 | 887 | 93.2867 | 17.5967
2020-09-11 21:15:00 | 4.8313 | 341.2133 | 5.2393 | 319.8453 | 5.3733 | 333.7073 | 5.992 | 321.4807 | 20.3467 | 887 | 93.64 | 19.0207
2020-09-11 21:30:00 | 5.493 | 335.13 | 5.916 | 324.227 | 6.08 | 327.756 | 6.71 | 325.885 | 20.3 | 887 | 93.04 | 24.298
2020-09-11 21:45:00 | 5.568 | 339.4467 | 5.9747 | 325.7913 | 6.102 | 331.9787 | 6.7173 | 327.456 | 20.3 | 888 | 92.52 | 25.7347
2020-09-11 22:00:00 | 5.65 | 344.12 | 6.086 | 328.374 | 6.326 | 336.55 | 6.956 | 330.054 | 20.2 | 888 | 92.62 | 23.772
2020-09-11 22:15:00 | 5.096 | 336.62 | 5.531 | 325.478 | 5.855 | 329.215 | 6.462 | 327.143 | 20.13 | 888 | 94.51 | 21.538
2020-09-11 22:30:00 | 4.5853 | 337.7667 | 4.978 | 326.6267 | 5.32 | 330.336 | 5.852 | 328.2947 | 20.0933 | 888 | 94.42 | 16.364
2020-09-11 22:45:00 | 4.628 | 335.42 | 5.016 | 326.104 | 5.23 | 328.042 | 5.79 | 327.77 | 20.12 | 888 | 94.6 | 16.096
2020-09-11 23:00:00 | 4.88 | 341.14 | 5.258 | 325.86 | 5.45 | 333.635 | 6 | 327.526 | 20.03 | 888 | 94.09 | 20.533
2020-09-11 23:15:00 | 5.0173 | 339.5533 | 5.4027 | 327.7153 | 5.6813 | 332.0827 | 6.218 | 329.3887 | 19.9267 | 888 | 94.24 | 21.4853
2020-09-11 23:30:00 | 4.928 | 338.96 | 5.292 | 328.136 | 5.708 | 331.5 | 6.174 | 329.818 | 19.84 | 888 | 94.74 | 20.808
2020-09-11 23:45:00 | 4.859 | 338.07 | 5.302 | 327.648 | 5.502 | 330.633 | 6.152 | 329.323 | 19.68 | 888 | 94.2 | 19.842