## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-12 00:00:00 | 4.9547 | 339.8933 | 5.376 | 324.5973 | 5.6253 | 332.416 | 6.2313 | 326.258 | 19.6533 | 888 | 94.1267 | 20.8227
2020-09-12 00:15:00 | 5.334 | 341.12 | 5.761 | 328.482 | 5.992 | 333.616 | 6.613 | 330.161 | 19.71 | 888 | 94.02 | 24.152
2020-09-12 00:30:00 | 5.149 | 340.35 | 5.574 | 329.459 | 5.788 | 332.862 | 6.409 | 331.144 | 19.66 | 888 | 94.4 | 22.799
2020-09-12 00:45:00 | 4.6547 | 335.8267 | 5.0167 | 324.722 | 5.3313 | 328.4387 | 5.8187 | 326.3813 | 19.62 | 888 | 94.76 | 16.818
2020-09-12 01:00:00 | 4.116 | 344.66 | 4.404 | 321.499 | 4.814 | 337.077 | 5.156 | 323.141 | 19.65 | 888 | 95.34 | 11.522
2020-09-12 01:15:00 | 3.652 | 337.47 | 3.873 | 318.446 | 4.257 | 330.046 | 4.497 | 320.074 | 19.81 | 888 | 95.14 | 7.904
2020-09-12 01:30:00 | 3.3913 | 334.1 | 3.5753 | 321.456 | 4.008 | 326.7493 | 4.1807 | 323.0993 | 19.74 | 888 | 94.4733 | 5.5953
2020-09-12 01:45:00 | 3.194 | 338.84 | 3.366 | 316.06 | 3.843 | 331.385 | 3.982 | 317.676 | 19.7 | 888 | 94.33 | 3.887
2020-09-12 02:00:00 | 2.952 | 345.24 | 3.082 | 319.062 | 3.512 | 337.645 | 3.599 | 320.693 | 19.65 | 888 | 95.97 | 3.008
2020-09-12 02:15:00 | 2.9073 | 300.2467 | 3.0507 | 322.9293 | 3.374 | 293.642 | 3.5127 | 324.5793 | 19.4667 | 888 | 94.9467 | 2.4673
2020-09-12 02:30:00 | 2.975 | 315.88 | 3.137 | 326.984 | 3.448 | 308.93 | 3.62 | 328.655 | 19.44 | 888 | 94.67 | 2.858
2020-09-12 02:45:00 | 3.246 | 346.38 | 3.412 | 325.03 | 3.81 | 338.76 | 3.964 | 326.69 | 19.42 | 888 | 95.4 | 4.262
2020-09-12 03:00:00 | 3.102 | 352.9133 | 3.2733 | 329.1747 | 3.6013 | 345.15 | 3.7833 | 330.8573 | 19.4267 | 888 | 95.5733 | 3.5627
2020-09-12 03:15:00 | 3.25 | 354.56 | 3.416 | 328.216 | 3.818 | 346.76 | 3.97 | 329.896 | 19.32 | 888 | 95.78 | 4.528
2020-09-12 03:30:00 | 3.076 | 245.38 | 3.25 | 331.796 | 3.588 | 239.981 | 3.774 | 333.493 | 19.32 | 888 | 95.7 | 3.988
2020-09-12 03:45:00 | 3.008 | 143.32 | 3.148 | 334.32 | 3.452 | 140.166 | 3.59 | 336.03 | 19.34 | 888 | 96.18 | 3.336
2020-09-12 04:00:00 | 2.577 | 175.26 | 2.625 | 335.22 | 3.029 | 171.403 | 2.991 | 336.933 | 19.21 | 888 | 96.22 | 2.124
2020-09-12 04:15:00 | 2.0353 | 78.4867 | 2.0753 | 321.396 | 2.4093 | 76.76 | 2.3787 | 323.04 | 19.08 | 888 | 96.1667 | 0.37933
2020-09-12 04:30:00 | 1.594 | 51.54 | 1.581 | 323.111 | 1.919 | 50.407 | 1.805 | 324.762 | 18.91 | 888 | 96.09 | 0
2020-09-12 04:45:00 | 1.8347 | 61.5 | 1.808 | 329.488 | 2.164 | 60.1467 | 2.0187 | 331.1727 | 19.1267 | 888 | 96.3 | 0
2020-09-12 05:00:00 | 1.8827 | 106.6733 | 1.83 | 324.044 | 2.3347 | 104.3273 | 2.106 | 325.7 | 19 | 888 | 96.7667 | 0.090667
2020-09-12 05:15:00 | 1.968 | 268.51 | 1.901 | 324.315 | 2.535 | 262.603 | 2.242 | 325.972 | 18.89 | 888 | 97.1 | 0.683
2020-09-12 05:30:00 | 2.2047 | 264.86 | 2.1833 | 324.7087 | 2.676 | 259.0327 | 2.4973 | 326.3687 | 18.8667 | 888 | 97.2533 | 1.2267
2020-09-12 05:45:00 | 2.462 | 288.5467 | 2.4 | 322.2447 | 3.0533 | 282.198 | 2.7653 | 323.8907 | 18.7333 | 888 | 97.46 | 2.1927
2020-09-12 06:00:00 | 2.235 | 285.17 | 2.129 | 326.758 | 2.83 | 278.896 | 2.464 | 328.429 | 18.74 | 888 | 97.73 | 1.969
2020-09-12 06:15:00 | 2.073 | 197.75 | 1.957 | 320.824 | 2.589 | 193.4 | 2.221 | 322.463 | 18.94 | 888 | 97.72 | 1.206
2020-09-12 06:30:00 | 2.293 | 264.38 | 2.23 | 324.755 | 2.818 | 258.563 | 2.548 | 326.415 | 18.98 | 888 | 97.37 | 1.94
2020-09-12 06:45:00 | 2.384 | 330.91 | 2.307 | 323.455 | 2.984 | 323.629 | 2.671 | 325.107 | 18.75 | 888 | 97.2 | 2.145
2020-09-12 07:00:00 | 2.386 | 316.3733 | 2.3247 | 320.432 | 3.03 | 309.4133 | 2.7287 | 322.0687 | 18.6467 | 888.2667 | 97.3 | 2.1907
2020-09-12 07:15:00 | 2.493 | 320.61 | 2.482 | 315.151 | 3.206 | 313.556 | 2.979 | 316.763 | 18.71 | 889 | 97.32 | 2.64
2020-09-12 07:30:00 | 2.586 | 201.91 | 2.635 | 325.361 | 3.2 | 197.468 | 3.118 | 327.024 | 18.8 | 889 | 98.18 | 1.993
2020-09-12 07:45:00 | 2.4093 | 289.46 | 2.4267 | 322.4007 | 2.954 | 283.0927 | 2.8287 | 324.0493 | 18.7133 | 889 | 98.58 | 1.4907
2020-09-12 08:00:00 | 2.295 | 268.2 | 2.354 | 328.423 | 2.647 | 262.299 | 2.66 | 330.102 | 18.73 | 889 | 98.26 | 0.86
2020-09-12 08:15:00 | 1.6653 | 222.8 | 1.6113 | 329.566 | 1.934 | 217.898 | 1.758 | 331.232 | 18.9467 | 889 | 97.9333 | 0
2020-09-12 08:30:00 | 0.848 | 205.3 | 0.78533 | 106.3273 | 0.94467 | 200.7833 | 0.79933 | 106.872 | 19.0467 | 889 | 97.9267 | 0
2020-09-12 08:45:00 | 0.422 | 207.91 | 0.399 | 118.248 | 0.503 | 203.336 | 0.436 | 118.854 | 19.14 | 889 | 97.39 | 0
2020-09-12 09:00:00 | 0.511 | 237.19 | 0.554 | 254.114 | 0.445 | 231.972 | 0.548 | 255.414 | 19.22 | 889.9 | 97.56 | 0
2020-09-12 09:15:00 | 0.53533 | 243.5333 | 0.61067 | 205.1307 | 0.61133 | 238.176 | 0.734 | 206.1813 | 19.1933 | 890 | 97.9467 | 0
2020-09-12 09:30:00 | 0.417 | 239.98 | 0.48 | 260.334 | 0.542 | 234.701 | 0.627 | 261.663 | 19.38 | 890 | 98.91 | 0
2020-09-12 09:45:00 | 0.274 | 229.48 | 0.27467 | 292.97 | 0.37533 | 224.4327 | 0.34867 | 294.4673 | 19.42 | 890 | 99.34 | 0
2020-09-12 10:00:00 | 0.62667 | 183.9333 | 0.69667 | 156.2387 | 0.94467 | 179.8867 | 0.97933 | 157.0393 | 19.22 | 890 | 98.8333 | 0
2020-09-12 10:15:00 | 1.076 | 150.24 | 1.216 | 155.336 | 1.567 | 146.935 | 1.686 | 156.13 | 19.08 | 890 | 99.21 | 0
2020-09-12 10:30:00 | 1.4367 | 173.7133 | 1.5327 | 149.5953 | 1.654 | 169.8913 | 1.776 | 150.3593 | 18.9133 | 890 | 100 | 0
2020-09-12 10:45:00 | 1.298 | 176.38 | 1.322 | 154.211 | 1.575 | 172.501 | 1.54 | 155.001 | 18.89 | 890 | 100 | 0
2020-09-12 11:00:00 | 1.114 | 177.06 | 1.138 | 155.171 | 1.227 | 173.165 | 1.24 | 155.964 | 18.66 | 890 | 100 | 0
2020-09-12 11:15:00 | 1.2473 | 138.9867 | 1.2713 | 154.518 | 1.4027 | 135.9293 | 1.402 | 155.308 | 18.8 | 890 | 100 | 0
2020-09-12 11:30:00 | 1.727 | 161.55 | 1.853 | 154.632 | 1.921 | 157.997 | 2.104 | 155.422 | 18.58 | 890 | 100 | 0
2020-09-12 11:45:00 | 1.795 | 150.53 | 1.871 | 144.383 | 1.966 | 147.218 | 2.062 | 145.12 | 18.36 | 890 | 100 | 0
2020-09-12 12:00:00 | 0.49867 | 153.5533 | 0.53 | 156.05 | 0.57667 | 150.174 | 0.612 | 156.8467 | 19.3867 | 890 | 100 | 0.11867
2020-09-12 12:15:00 | 0.38 | 184.74 | 0.404 | 124.109 | 0.418 | 180.675 | 0.458 | 124.744 | 19.61 | 890 | 100 | 0
2020-09-12 12:30:00 | 0.509 | 184.05 | 0.518 | 119.52 | 0.565 | 180.002 | 0.569 | 120.131 | 19.44 | 890 | 100 | 0
2020-09-12 12:45:00 | 0.778 | 218.75 | 0.708 | 143.247 | 0.718 | 213.936 | 0.603 | 143.98 | 19.12 | 890 | 100 | 0
2020-09-12 13:00:00 | 0.423 | 174.64 | 0.469 | 109.233 | 0.484 | 170.798 | 0.553 | 109.791 | 19.29 | 890 | 100 | 0
2020-09-12 13:15:00 | 1.024 | 94.68 | 1.005 | 126.787 | 1.112 | 92.597 | 1.051 | 127.436 | 18.99 | 890 | 100 | 0
2020-09-12 13:30:00 | 0.981 | 98.55 | 0.975 | 119.308 | 1.073 | 96.383 | 1.036 | 119.916 | 19.02 | 890 | 100 | 0.038
2020-09-12 13:45:00 | 1.762 | 101.77 | 1.857 | 104.118 | 1.942 | 99.531 | 2.073 | 104.651 | 18.72 | 890 | 100 | 0.112
2020-09-12 14:00:00 | 1.781 | 112.53 | 1.773 | 103.805 | 1.966 | 110.054 | 1.897 | 104.335 | 18.66 | 890 | 100 | 0.512
2020-09-12 14:15:00 | 1.912 | 111.2 | 1.954 | 117.186 | 2.134 | 108.754 | 2.148 | 117.784 | 18.7 | 890 | 100 | 0.24
2020-09-12 14:30:00 | 2.125 | 97.45 | 2.138 | 100.07 | 2.152 | 95.305 | 2.174 | 100.58 | 18.79 | 890 | 100 | 1.04
2020-09-12 14:45:00 | 1.998 | 108.95 | 2.104 | 94.318 | 2.312 | 106.554 | 2.426 | 94.799 | 18.62 | 890 | 100 | 0.64
2020-09-12 15:00:00 | 1.226 | 83.24 | 1.381 | 128.998 | 1.659 | 81.409 | 1.83 | 129.658 | 18.91 | 890 | 100 | 0.173
2020-09-12 15:15:00 | 1.44 | 105.4 | 1.609 | 82.846 | 1.628 | 103.081 | 1.895 | 83.27 | 18.93 | 890 | 100 | 0.106
2020-09-12 15:30:00 | 1.216 | 157.6733 | 1.292 | 155.0847 | 1.224 | 154.2033 | 1.3687 | 155.8787 | 19.0067 | 890 | 100 | 0.25133
2020-09-12 15:45:00 | 1.055 | 167.92 | 1.056 | 150.769 | 0.984 | 164.226 | 1.003 | 151.54 | 19.12 | 890 | 100 | 0.908
2020-09-12 16:00:00 | 0.894 | 216.7067 | 0.89533 | 200.9327 | 0.88667 | 211.9393 | 0.892 | 201.96 | 19.0267 | 890 | 100 | 0.56467
2020-09-12 16:15:00 | 0.62467 | 182.1733 | 0.618 | 243.0327 | 0.934 | 178.1667 | 0.82867 | 244.2747 | 19.14 | 889.4 | 100 | 0
2020-09-12 16:30:00 | 0.855 | 291.8 | 0.935 | 247.541 | 1.394 | 285.382 | 1.385 | 248.806 | 19.49 | 889 | 100 | 0
2020-09-12 16:45:00 | 0.86067 | 215.8067 | 0.87067 | 271.356 | 1.4233 | 211.0593 | 1.2807 | 272.742 | 19.6467 | 889.4 | 100 | 0
2020-09-12 17:00:00 | 1.232 | 278.62 | 1.266 | 276.286 | 1.772 | 272.492 | 1.678 | 277.696 | 19.36 | 889 | 100 | 0
2020-09-12 17:15:00 | 0.927 | 251.97 | 0.975 | 282.917 | 1.365 | 249.743 | 1.328 | 284.361 | 19.28 | 889.4 | 100 | 0
2020-09-12 17:30:00 | 1.053 | 310.03 | 1.043 | 323.308 | 1.31 | 303.21 | 1.217 | 324.959 | 19.06 | 890 | 100 | 0
2020-09-12 17:45:00 | 2.108 | 330.15 | 2.134 | 326.26 | 2.597 | 322.886 | 2.51 | 327.928 | 18.79 | 890 | 100 | 0
2020-09-12 18:00:00 | 2.836 | 333.9 | 3.047 | 310.153 | 3.333 | 326.555 | 3.586 | 311.736 | 18.51 | 890 | 100 | 1.231
2020-09-12 18:15:00 | 2.8 | 328.34 | 2.938 | 320.856 | 3.3953 | 321.1167 | 3.486 | 322.4953 | 18.4133 | 890 | 100 | 2.8253
2020-09-12 18:30:00 | 2.918 | 344.1 | 3.108 | 327.727 | 3.523 | 336.529 | 3.708 | 329.404 | 18.41 | 890 | 100 | 2.597
2020-09-12 18:45:00 | 2.745 | 342.92 | 2.922 | 325.47 | 3.288 | 335.377 | 3.466 | 327.133 | 18.43 | 890 | 100 | 1.826
2020-09-12 19:00:00 | 2.3993 | 260.1 | 2.5467 | 335.8073 | 2.8533 | 254.3773 | 3.0033 | 337.5227 | 18.66 | 890 | 100 | 0.64133
2020-09-12 19:15:00 | 1.748 | 246.48 | 1.781 | 305.254 | 2.113 | 241.056 | 2.071 | 306.813 | 18.65 | 890 | 100 | 0
2020-09-12 19:30:00 | 2.041 | 78.39 | 2.214 | 340.129 | 2.251 | 76.666 | 2.515 | 341.867 | 18.74 | 890 | 100 | 0
2020-09-12 19:45:00 | 1.9387 | 174.44 | 2.052 | 163.2673 | 2.1227 | 170.6007 | 2.2887 | 164.1007 | 18.6533 | 890 | 100 | 0
2020-09-12 20:00:00 | 1.747 | 250.28 | 1.797 | 311.805 | 2.015 | 244.773 | 2.035 | 313.401 | 18.63 | 890 | 100 | 0
2020-09-12 20:15:00 | 1.542 | 214.3 | 1.6 | 271.944 | 1.753 | 209.586 | 1.802 | 273.333 | 18.62 | 890 | 100 | 0
2020-09-12 20:30:00 | 2.05 | 209.06 | 2.126 | 330.5113 | 2.3787 | 204.4613 | 2.4247 | 332.2013 | 18.5267 | 890 | 100 | 0
2020-09-12 20:45:00 | 2.139 | 309.73 | 2.221 | 319.66 | 2.547 | 302.916 | 2.585 | 321.293 | 18.52 | 890 | 100 | 0
2020-09-12 21:00:00 | 2.109 | 311.48 | 2.161 | 328.843 | 2.313 | 304.628 | 2.355 | 330.524 | 18.55 | 890 | 100 | 0
2020-09-12 21:15:00 | 1.9753 | 267.6933 | 1.99 | 300.102 | 2.2827 | 261.804 | 2.2233 | 301.6373 | 18.32 | 891 | 100 | 0.052
2020-09-12 21:30:00 | 1.775 | 243.12 | 1.792 | 326.426 | 2.083 | 237.772 | 2.03 | 328.096 | 18.25 | 891 | 100 | 0
2020-09-12 21:45:00 | 2.082 | 262.6933 | 2.08 | 318.534 | 2.374 | 256.914 | 2.2867 | 320.1647 | 18.38 | 891 | 100 | 0
2020-09-12 22:00:00 | 2.292 | 328.66 | 2.364 | 317.77 | 2.874 | 321.428 | 2.842 | 319.394 | 18.24 | 891 | 100 | 0.16
2020-09-12 22:15:00 | 2.679 | 321.98 | 2.826 | 320.53 | 3.174 | 314.896 | 3.311 | 322.17 | 18.15 | 891 | 100 | 1.882
2020-09-12 22:30:00 | 2.8153 | 339.8533 | 2.9827 | 322.3747 | 3.3973 | 332.3767 | 3.5433 | 324.0233 | 18.0467 | 891 | 100 | 2.468
2020-09-12 22:45:00 | 2.734 | 338.5 | 2.912 | 323.584 | 3.334 | 331.052 | 3.504 | 325.236 | 18.02 | 891 | 100 | 2.27
2020-09-12 23:00:00 | 2.89 | 336.95 | 3.083 | 327.335 | 3.459 | 329.536 | 3.66 | 329.011 | 17.83 | 891 | 100 | 2.972
2020-09-12 23:15:00 | 2.7593 | 318.3067 | 2.9307 | 329.0527 | 3.308 | 311.304 | 3.474 | 330.734 | 17.84 | 891 | 100 | 2.5347
2020-09-12 23:30:00 | 2.865 | 344.81 | 3.048 | 330.018 | 3.383 | 337.224 | 3.58 | 331.703 | 17.79 | 891 | 100 | 2.589
2020-09-12 23:45:00 | 2.443 | 297.87 | 2.559 | 332.755 | 2.829 | 291.315 | 2.937 | 334.456 | 17.79 | 891 | 100 | 0.646