## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-13 00:00:00 | 1.9013 | 175.5133 | 1.9533 | 327.0633 | 2.2273 | 171.6513 | 2.2347 | 328.7347 | 17.7867 | 891 | 100 | 0
2020-09-13 00:15:00 | 2.228 | 139.31 | 2.296 | 328.912 | 2.52 | 136.247 | 2.563 | 330.594 | 17.75 | 891 | 100 | 0
2020-09-13 00:30:00 | 2.039 | 301.8 | 2.05 | 313.554 | 2.5 | 295.159 | 2.389 | 315.159 | 18.04 | 891 | 100 | 0.128
2020-09-13 00:45:00 | 2.586 | 349.66 | 2.684 | 311.414 | 3.072 | 341.966 | 3.118 | 313.008 | 18.06 | 891 | 100 | 1.142
2020-09-13 01:00:00 | 2.705 | 329.72 | 2.817 | 315.501 | 3.348 | 322.465 | 3.378 | 317.115 | 17.86 | 891 | 100 | 2.206
2020-09-13 01:15:00 | 2.6373 | 312.5733 | 2.7733 | 319.904 | 3.2367 | 305.6967 | 3.3227 | 321.5393 | 17.8067 | 890 | 100 | 1.696
2020-09-13 01:30:00 | 2.484 | 332.58 | 2.606 | 321.018 | 3.044 | 325.264 | 3.118 | 322.66 | 17.8 | 890 | 100 | 1.384
2020-09-13 01:45:00 | 2.146 | 330.47 | 2.279 | 311.494 | 2.668 | 323.2 | 2.767 | 313.086 | 17.77 | 890 | 100 | 0.541
2020-09-13 02:00:00 | 1.872 | 85.66 | 1.906 | 329.544 | 2.224 | 83.776 | 2.19 | 331.234 | 17.76 | 890 | 100 | 0
2020-09-13 02:15:00 | 2.118 | 206.84 | 2.154 | 325.986 | 2.514 | 202.289 | 2.468 | 327.652 | 17.81 | 890 | 100 | 0
2020-09-13 02:30:00 | 2.344 | 107.54 | 2.406 | 296.863 | 2.765 | 105.175 | 2.764 | 298.38 | 17.85 | 890 | 100 | 0.214
2020-09-13 02:45:00 | 2.367 | 306.13 | 2.482 | 322.73 | 2.945 | 299.396 | 2.991 | 324.379 | 17.68 | 890 | 100 | 0.9
2020-09-13 03:00:00 | 2.87 | 305.4 | 3.063 | 329.478 | 3.422 | 298.681 | 3.631 | 331.163 | 17.67 | 890 | 100 | 2.343
2020-09-13 03:15:00 | 2.886 | 350.24 | 3.066 | 319.942 | 3.406 | 342.536 | 3.592 | 321.58 | 17.7 | 890 | 100 | 2.468
2020-09-13 03:30:00 | 2.964 | 345.86 | 3.117 | 320.218 | 3.502 | 338.25 | 3.637 | 321.854 | 17.7 | 890 | 100 | 2.747
2020-09-13 03:45:00 | 2.8373 | 305.6933 | 3.05 | 329.9973 | 3.4087 | 298.968 | 3.6453 | 331.684 | 17.48 | 890 | 100 | 2.3647
2020-09-13 04:00:00 | 2.911 | 251.2 | 3.107 | 334.505 | 3.395 | 245.673 | 3.624 | 336.214 | 17.83 | 889.1 | 100 | 2.48
2020-09-13 04:15:00 | 3.02 | 246.8 | 3.201 | 322.788 | 3.592 | 241.37 | 3.768 | 324.438 | 17.71 | 889 | 100 | 2.94
2020-09-13 04:30:00 | 3.0547 | 143.8933 | 3.23 | 329.1167 | 3.6413 | 140.728 | 3.8073 | 330.7993 | 17.6933 | 889 | 100 | 3.118
2020-09-13 04:45:00 | 3.009 | 210.49 | 3.176 | 328.499 | 3.587 | 205.858 | 3.742 | 330.179 | 17.74 | 889 | 100 | 2.874
2020-09-13 05:00:00 | 2.927 | 179.61 | 3.114 | 329.724 | 3.517 | 175.659 | 3.696 | 331.408 | 17.7 | 889 | 100 | 2.638
2020-09-13 05:15:00 | 2.916 | 213.78 | 3.07 | 319.884 | 3.498 | 209.078 | 3.62 | 321.52 | 17.6 | 889 | 100 | 2.742
2020-09-13 05:30:00 | 2.889 | 216.41 | 3.001 | 327.035 | 3.525 | 211.649 | 3.553 | 328.706 | 17.5 | 889 | 100 | 2.727
2020-09-13 05:45:00 | 2.6447 | 253.5133 | 2.7087 | 325.4793 | 3.1973 | 247.9353 | 3.1587 | 327.1413 | 17.3933 | 889 | 100 | 1.56
2020-09-13 06:00:00 | 2.6 | 344.42 | 2.64 | 323.68 | 3.066 | 336.842 | 3.006 | 325.334 | 17.36 | 889 | 100 | 1.62
2020-09-13 06:15:00 | 2.754 | 249.68 | 2.845 | 331.532 | 3.124 | 244.188 | 3.193 | 333.227 | 17.53 | 889 | 100 | 1.709
2020-09-13 06:30:00 | 2.5553 | 236.8533 | 2.6187 | 328.776 | 2.85 | 231.6447 | 2.8887 | 330.4593 | 17.3667 | 889 | 100 | 0.93667
2020-09-13 06:45:00 | 2.168 | 143.8 | 2.196 | 335.042 | 2.428 | 140.634 | 2.414 | 336.756 | 17.4 | 889 | 100 | 0.19
2020-09-13 07:00:00 | 1.917 | 46.2 | 1.978 | 338.476 | 2.081 | 45.183 | 2.147 | 340.206 | 17.59 | 889 | 100 | 0
2020-09-13 07:15:00 | 1.714 | 63 | 1.744 | 298.3353 | 1.9173 | 61.6133 | 1.9187 | 299.8613 | 17.5267 | 889 | 100 | 0
2020-09-13 07:30:00 | 1.758 | 144.99 | 1.717 | 336.031 | 1.785 | 141.8 | 1.702 | 337.749 | 17.61 | 889 | 100 | 0
2020-09-13 07:45:00 | 1.764 | 210.25 | 1.743 | 340.599 | 1.993 | 205.624 | 1.889 | 342.34 | 17.57 | 889.4 | 100 | 0
2020-09-13 08:00:00 | 1.5953 | 226.5467 | 1.5413 | 316.7733 | 1.862 | 221.5613 | 1.6853 | 318.394 | 17.4733 | 890 | 100 | 0
2020-09-13 08:15:00 | 1.074 | 138.4 | 1.013 | 320.236 | 1.421 | 135.356 | 1.201 | 321.874 | 17.56 | 890 | 100 | 0
2020-09-13 08:30:00 | 0.90667 | 215.7 | 0.88267 | 333.3347 | 0.98733 | 210.9547 | 0.924 | 335.0393 | 17.6333 | 890 | 100 | 0
2020-09-13 08:45:00 | 1.3973 | 316.04 | 1.4327 | 321.8073 | 1.5547 | 309.086 | 1.5787 | 323.452 | 17.6333 | 890 | 100 | 0
2020-09-13 09:00:00 | 1.417 | 321.5 | 1.453 | 332.53 | 1.416 | 314.425 | 1.489 | 334.231 | 17.45 | 890 | 100 | 0
2020-09-13 09:15:00 | 1.8473 | 329.7067 | 1.9407 | 335.1667 | 2.0507 | 322.4527 | 2.168 | 336.88 | 17.4333 | 890 | 100 | 0
2020-09-13 09:30:00 | 2.068 | 246.78 | 2.117 | 332.402 | 2.385 | 241.351 | 2.385 | 334.101 | 17.59 | 890 | 100 | 0
2020-09-13 09:45:00 | 1.952 | 275.24 | 2.035 | 321.105 | 2.321 | 269.184 | 2.372 | 322.747 | 17.32 | 890 | 100 | 0
2020-09-13 10:00:00 | 2.3587 | 346.5133 | 2.4687 | 316.29 | 2.846 | 338.89 | 2.916 | 317.9087 | 17.2867 | 890 | 100 | 0.448
2020-09-13 10:15:00 | 2.54 | 210.53 | 2.677 | 319.054 | 2.982 | 205.899 | 3.113 | 320.685 | 17.2 | 890 | 100 | 0.863
2020-09-13 10:30:00 | 2.14 | 277.75 | 2.218 | 325.613 | 2.49 | 271.639 | 2.541 | 327.28 | 17.27 | 890 | 100 | 0.119
2020-09-13 10:45:00 | 1.7129 | 312.8429 | 1.72 | 314.2679 | 2.1029 | 305.96 | 2.0057 | 315.8736 | 17.6857 | 890 | 100 | 0
2020-09-13 11:00:00 | 1.906 | 169.2 | 1.922 | 324.941 | 2.22 | 165.478 | 2.163 | 326.603 | 17.79 | 890 | 100 | 0
2020-09-13 11:15:00 | 1.43 | 224.7 | 1.431 | 314.194 | 1.806 | 219.758 | 1.698 | 315.798 | 17.86 | 890.4 | 100 | 0
2020-09-13 11:30:00 | 1.8287 | 259.2133 | 1.8353 | 325.8113 | 2.1 | 253.5113 | 2.0387 | 327.4773 | 17.9067 | 890.0667 | 100 | 0
2020-09-13 11:45:00 | 1.409 | 252.09 | 1.429 | 324.178 | 1.545 | 246.543 | 1.543 | 325.836 | 18.04 | 890 | 100 | 0
2020-09-13 12:00:00 | 0.956 | 308.68 | 1 | 334.584 | 1.041 | 301.891 | 1.103 | 336.293 | 18.76 | 890 | 100 | 0
2020-09-13 12:15:00 | 1.2527 | 280.14 | 1.3147 | 304.504 | 1.5247 | 273.976 | 1.5613 | 306.0607 | 18.3733 | 890 | 100 | 0
2020-09-13 12:30:00 | 1.598 | 302.57 | 1.675 | 301.655 | 1.862 | 295.913 | 1.934 | 303.198 | 18.3 | 890 | 100 | 0
2020-09-13 12:45:00 | 2.032 | 307.34 | 2.135 | 306.308 | 2.247 | 300.578 | 2.382 | 307.877 | 18.14 | 890 | 100 | 0
2020-09-13 13:00:00 | 1.5593 | 287.4533 | 1.5893 | 320.1113 | 1.866 | 281.1293 | 1.8347 | 321.7493 | 18.3667 | 890 | 100 | 0
2020-09-13 13:15:00 | 1.507 | 336.32 | 1.569 | 303.609 | 1.633 | 328.921 | 1.715 | 305.161 | 18.66 | 890 | 100 | 0
2020-09-13 13:30:00 | 1.465 | 344.93 | 1.566 | 242.014 | 1.682 | 337.341 | 1.812 | 243.253 | 18.85 | 890 | 100 | 0
2020-09-13 13:45:00 | 1.5153 | 320.9 | 1.598 | 228.108 | 1.9053 | 313.8407 | 1.9467 | 229.274 | 19.2133 | 889.4 | 100 | 0
2020-09-13 14:00:00 | 2.0433 | 340.9889 | 2.1522 | 341.3222 | 2.3456 | 333.4878 | 2.4689 | 343.0678 | 19.1111 | 889 | 100 | 0
2020-09-13 14:15:00 | 2.365 | 308.46 | 2.467 | 302.985 | 2.725 | 301.674 | 2.816 | 304.534 | 18.56 | 889 | 100 | 0.125
2020-09-13 14:30:00 | 2.6213 | 275.8133 | 2.7593 | 330.422 | 3.0633 | 269.746 | 3.1993 | 332.11 | 18.0667 | 889 | 100 | 1.1953
2020-09-13 14:45:00 | 2.721 | 313.6 | 2.917 | 325.557 | 3.186 | 306.7 | 3.426 | 327.22 | 17.92 | 889 | 100 | 1.585
2020-09-13 15:00:00 | 2.749 | 275.51 | 2.918 | 327.101 | 3.264 | 269.449 | 3.436 | 328.777 | 17.89 | 889 | 100 | 1.873
2020-09-13 15:15:00 | 2.4673 | 279.4267 | 2.5847 | 332.67 | 2.824 | 273.28 | 2.946 | 334.3707 | 17.8133 | 889 | 100 | 1.1573
2020-09-13 15:30:00 | 2.655 | 309.06 | 2.755 | 327.327 | 3.159 | 302.26 | 3.204 | 328.999 | 17.85 | 888.1 | 100 | 1.722
2020-09-13 15:45:00 | 2.842 | 338.2 | 2.958 | 317.724 | 3.431 | 330.759 | 3.486 | 319.347 | 17.82 | 888 | 100 | 2.255
2020-09-13 16:00:00 | 2.962 | 341.58 | 3.156 | 324.7013 | 3.5527 | 334.0647 | 3.75 | 326.3627 | 17.7533 | 888 | 100 | 3.0193
2020-09-13 16:15:00 | 3.211 | 340.37 | 3.407 | 323.933 | 3.86 | 332.881 | 4.046 | 325.588 | 17.75 | 888 | 100 | 4.216
2020-09-13 16:30:00 | 3.4507 | 341.1667 | 3.73 | 332.3633 | 4.0207 | 333.6613 | 4.3867 | 334.062 | 17.8133 | 888 | 100 | 5.086
2020-09-13 16:45:00 | 3.042 | 342.54 | 3.316 | 326.162 | 3.616 | 335.004 | 3.972 | 327.83 | 17.8 | 888 | 100 | 3.766
2020-09-13 17:00:00 | 2.537 | 335.87 | 2.75 | 326.26 | 2.955 | 328.483 | 3.235 | 327.929 | 17.83 | 888 | 100 | 1.097
2020-09-13 17:15:00 | 2.3953 | 334.7933 | 2.628 | 327.918 | 2.8667 | 327.428 | 3.17 | 329.5947 | 17.9 | 888 | 100 | 0.83
2020-09-13 17:30:00 | 2.46 | 337.64 | 2.696 | 330.702 | 2.922 | 330.214 | 3.23 | 332.392 | 18 | 888 | 100 | 0.802
2020-09-13 17:45:00 | 2.1 | 242.39 | 2.244 | 336.256 | 2.429 | 237.058 | 2.602 | 337.975 | 18.05 | 888 | 100 | 0.031
2020-09-13 18:00:00 | 2.054 | 140.3333 | 2.1567 | 164.6687 | 2.3367 | 137.246 | 2.4527 | 165.5107 | 18.0533 | 888 | 100 | 0.066
2020-09-13 18:15:00 | 2.1947 | 299.1867 | 2.3973 | 290.942 | 2.5207 | 292.606 | 2.8127 | 292.4307 | 17.9933 | 888 | 100 | 0.21133
2020-09-13 18:30:00 | 2.238 | 302.25 | 2.436 | 299.395 | 2.689 | 295.601 | 2.936 | 300.926 | 18.05 | 888 | 100 | 0.528
2020-09-13 18:45:00 | 2.5747 | 338.0867 | 2.7213 | 311.5507 | 2.94 | 330.6487 | 3.116 | 313.1453 | 17.9733 | 888 | 100 | 1.0473
2020-09-13 19:00:00 | 2.77 | 339.76 | 2.9227 | 332.5393 | 3.1627 | 332.2847 | 3.34 | 334.24 | 17.88 | 888 | 100 | 1.7313
2020-09-13 19:15:00 | 2.547 | 341.65 | 2.687 | 334.651 | 2.838 | 334.134 | 3.02 | 336.364 | 17.82 | 888 | 100 | 1.247
2020-09-13 19:30:00 | 2.4093 | 336.1133 | 2.4987 | 330.9033 | 2.7567 | 328.7187 | 2.83 | 332.5947 | 17.78 | 888 | 100 | 0.78467
2020-09-13 19:45:00 | 2.214 | 337.1 | 2.314 | 329.528 | 2.446 | 329.684 | 2.566 | 331.212 | 17.8 | 888 | 100 | 0.06
2020-09-13 20:00:00 | 2.39 | 343.08 | 2.529 | 320.939 | 2.685 | 335.532 | 2.862 | 322.58 | 17.9 | 888 | 100 | 0.075
2020-09-13 20:15:00 | 2.5953 | 340.2333 | 2.7373 | 325.1513 | 2.776 | 332.7487 | 2.996 | 326.8147 | 17.9067 | 888.6 | 100 | 1.172
2020-09-13 20:30:00 | 2.67 | 333.68 | 2.822 | 323.736 | 2.982 | 326.338 | 3.18 | 325.392 | 17.92 | 889 | 100 | 1.824
2020-09-13 20:45:00 | 2.797 | 345.28 | 2.97 | 328.305 | 3.163 | 337.683 | 3.385 | 329.983 | 17.9 | 889 | 100 | 2.681
2020-09-13 21:00:00 | 2.85 | 349.4267 | 2.9993 | 328.432 | 3.218 | 341.7387 | 3.3913 | 330.1107 | 17.7933 | 889 | 100 | 2.4313
2020-09-13 21:15:00 | 2.804 | 331 | 2.986 | 325.536 | 3.14 | 323.718 | 3.39 | 327.204 | 17.76 | 889 | 100 | 3.586
2020-09-13 21:30:00 | 2.986 | 337.87 | 3.172 | 326.28 | 3.454 | 330.436 | 3.675 | 327.948 | 17.69 | 889 | 100 | 3.536
2020-09-13 21:45:00 | 3.071 | 343.17 | 3.278 | 332.442 | 3.458 | 335.618 | 3.745 | 334.141 | 17.68 | 889 | 100 | 3.583
2020-09-13 22:00:00 | 2.7073 | 342.2933 | 2.8693 | 328.9067 | 3.1127 | 334.7627 | 3.3033 | 330.5893 | 17.7867 | 889 | 100 | 1.4573
2020-09-13 22:15:00 | 2.392 | 333.65 | 2.516 | 325.291 | 2.724 | 326.309 | 2.862 | 326.956 | 18.01 | 889 | 100 | 0.82
2020-09-13 22:30:00 | 2.567 | 340.23 | 2.713 | 322.954 | 3.024 | 332.745 | 3.171 | 324.606 | 17.91 | 889 | 100 | 1.601
2020-09-13 22:45:00 | 2.57 | 338.5 | 2.668 | 326.906 | 2.948 | 331.052 | 3.026 | 328.578 | 17.86 | 889 | 100 | 1.62
2020-09-13 23:00:00 | 2.391 | 333.37 | 2.511 | 323.503 | 2.763 | 326.036 | 2.881 | 325.157 | 17.77 | 889 | 100 | 0.691
2020-09-13 23:15:00 | 2.194 | 232.58 | 2.2993 | 334.17 | 2.5407 | 227.4627 | 2.64 | 335.8793 | 17.86 | 889 | 100 | 0.13733
2020-09-13 23:30:00 | 2.1833 | 158.4556 | 2.2756 | 328.2178 | 2.5811 | 154.9711 | 2.6389 | 329.8956 | 17.8222 | 889 | 100 | 0.191
2020-09-13 23:45:00 | 2.913 | 345.36 | 3.032 | 312.54 | 3.293 | 337.761 | 3.413 | 314.138 | 18 | 889 | 100 | 1.651