## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-14 00:00:00 | 2.5273 | 331.6067 | 2.6233 | 320.392 | 2.8907 | 324.3113 | 2.9687 | 322.032 | 17.84 | 889 | 100 | 1.202
2020-09-14 00:15:00 | 2.289 | 276.77 | 2.364 | 323.151 | 2.675 | 270.68 | 2.708 | 324.804 | 17.81 | 889 | 100 | 0.737
2020-09-14 00:30:00 | 2.5773 | 296.9933 | 2.7273 | 324.364 | 3.0547 | 290.46 | 3.2027 | 326.0227 | 17.7667 | 889 | 100 | 1.1973
2020-09-14 00:45:00 | 2.508 | 329.78 | 2.714 | 317.048 | 2.962 | 322.524 | 3.218 | 318.668 | 17.76 | 889 | 100 | 1.162
2020-09-14 01:00:00 | 2.303 | 337.81 | 2.468 | 321.059 | 2.789 | 330.379 | 2.956 | 322.7 | 17.8 | 889 | 100 | 0.564
2020-09-14 01:15:00 | 2.8407 | 341.12 | 2.9933 | 326.4887 | 3.3887 | 333.6153 | 3.5227 | 328.158 | 17.7133 | 889 | 100 | 1.9487
2020-09-14 01:30:00 | 2.818 | 339.02 | 2.976 | 324.951 | 3.313 | 331.561 | 3.469 | 326.612 | 17.69 | 889 | 100 | 2.252
2020-09-14 01:45:00 | 2.5287 | 338.6933 | 2.6413 | 325.3033 | 2.9667 | 331.2427 | 3.0587 | 326.9647 | 17.6933 | 889 | 100 | 1.4567
2020-09-14 02:00:00 | 2.702 | 332.46 | 2.858 | 324.988 | 3.166 | 325.146 | 3.33 | 326.652 | 17.64 | 889 | 100 | 1.892
2020-09-14 02:15:00 | 2.306 | 335.49 | 2.436 | 326.105 | 2.697 | 328.108 | 2.832 | 327.771 | 17.6 | 888.4 | 100 | 0.255
2020-09-14 02:30:00 | 2.6067 | 334.22 | 2.806 | 323.326 | 3.0813 | 326.9707 | 3.32 | 324.9807 | 17.58 | 888 | 100 | 1.2507
2020-09-14 02:45:00 | 2.865 | 336.04 | 3.084 | 321.927 | 3.38 | 328.648 | 3.649 | 323.573 | 17.5 | 888 | 100 | 2.205
2020-09-14 03:00:00 | 3.04 | 339.9867 | 3.2147 | 326.182 | 3.4713 | 332.5073 | 3.6767 | 327.85 | 17.4933 | 888 | 100 | 2.842
2020-09-14 03:15:00 | 3.0767 | 312.7733 | 3.2287 | 324.7927 | 3.43 | 305.8933 | 3.618 | 326.454 | 17.4533 | 888 | 100 | 3.0667
2020-09-14 03:30:00 | 3.254 | 343.72 | 3.373 | 329.772 | 3.627 | 336.159 | 3.747 | 331.458 | 17.38 | 888 | 100 | 3.487
2020-09-14 03:45:00 | 3.2827 | 321.94 | 3.428 | 328.1713 | 3.7333 | 314.858 | 3.8793 | 329.8493 | 17.4 | 888 | 100 | 3.9947
2020-09-14 04:00:00 | 3.282 | 341.53 | 3.497 | 317.937 | 3.813 | 334.017 | 4.064 | 319.562 | 17.49 | 888 | 100 | 4.653
2020-09-14 04:15:00 | 3.076 | 340.19 | 3.277 | 324.305 | 3.589 | 332.704 | 3.824 | 325.963 | 17.53 | 887.4 | 100 | 3.548
2020-09-14 04:30:00 | 3.2973 | 341.9 | 3.5413 | 330.852 | 3.7487 | 334.378 | 4.0847 | 332.5433 | 17.5 | 887 | 100 | 3.9993
2020-09-14 04:45:00 | 3.087 | 277.67 | 3.238 | 338.065 | 3.486 | 271.562 | 3.66 | 339.794 | 17.46 | 887 | 100 | 4.509
2020-09-14 05:00:00 | 3.074 | 349.29 | 3.28 | 334.572 | 3.34 | 341.477 | 3.649 | 336.285 | 17.49 | 887 | 100 | 4.022
2020-09-14 05:15:00 | 2.9073 | 347.84 | 3.1027 | 330.068 | 3.1927 | 340.1887 | 3.4793 | 331.7553 | 17.34 | 887 | 100 | 2.7093
2020-09-14 05:30:00 | 2.573 | 315.09 | 2.729 | 334.221 | 2.934 | 308.158 | 3.129 | 335.929 | 17.31 | 887 | 100 | 1.582
2020-09-14 05:45:00 | 2.548 | 308.65 | 2.64 | 335.6 | 3 | 301.86 | 3.042 | 337.315 | 17.33 | 887 | 100 | 1.648
2020-09-14 06:00:00 | 2.83 | 347.5 | 3.066 | 325.068 | 3.2847 | 339.854 | 3.6033 | 326.7293 | 17.44 | 887 | 100 | 2.4173
2020-09-14 06:15:00 | 2.94 | 350.8 | 3.175 | 329.516 | 3.498 | 343.083 | 3.783 | 331.203 | 17.4 | 887 | 100 | 3.071
2020-09-14 06:30:00 | 2.7893 | 341.2533 | 2.968 | 320.2813 | 3.4187 | 333.7447 | 3.5753 | 321.9193 | 17.3533 | 887 | 100 | 2.7067
2020-09-14 06:45:00 | 2.312 | 342.02 | 2.392 | 326.65 | 2.926 | 334.494 | 2.9 | 328.322 | 17.4 | 887 | 100 | 1.312
2020-09-14 07:00:00 | 2.636 | 241 | 2.756 | 329.059 | 3.094 | 235.697 | 3.187 | 330.74 | 17.57 | 887 | 100 | 1.471
2020-09-14 07:15:00 | 2.6473 | 344.5533 | 2.7473 | 333.0213 | 3.038 | 336.9733 | 3.114 | 334.7253 | 17.6133 | 887 | 100 | 1.7847
2020-09-14 07:30:00 | 3.178 | 313.06 | 3.322 | 334.624 | 3.667 | 306.172 | 3.798 | 336.334 | 17.58 | 887 | 100 | 4.189
2020-09-14 07:45:00 | 3.065 | 343.19 | 3.209 | 333.253 | 3.549 | 335.639 | 3.68 | 334.957 | 17.62 | 887 | 100 | 3.541
2020-09-14 08:00:00 | 1.978 | 144.6 | 1.992 | 332.7033 | 2.1673 | 141.4173 | 2.1427 | 334.4027 | 17.84 | 887 | 100 | 0.49267
2020-09-14 08:15:00 | 1.97 | 349.6 | 2.02 | 334.572 | 2.278 | 341.908 | 2.282 | 336.286 | 17.86 | 887 | 100 | 0.194
2020-09-14 08:30:00 | 2.375 | 277.94 | 2.534 | 327.601 | 2.657 | 271.826 | 2.877 | 329.274 | 17.82 | 888 | 100 | 0.447
2020-09-14 08:45:00 | 2.276 | 337.7733 | 2.362 | 332.71 | 2.5227 | 330.3427 | 2.6173 | 334.4107 | 18.0067 | 888 | 100 | 0.342
2020-09-14 09:00:00 | 1.827 | 274.79 | 1.903 | 298.662 | 2.148 | 268.745 | 2.204 | 300.189 | 18.18 | 888 | 100 | 0
2020-09-14 09:15:00 | 1.981 | 305.25 | 2.11 | 339.541 | 2.264 | 295.386 | 2.433 | 341.278 | 18.38 | 888 | 100 | 0
2020-09-14 09:30:00 | 2.073 | 326.71 | 2.138 | 328.041 | 2.343 | 319.523 | 2.389 | 329.717 | 18.38 | 888 | 100 | 0
2020-09-14 09:45:00 | 2.07 | 307.48 | 2.183 | 314.748 | 2.394 | 300.716 | 2.52 | 316.359 | 18.35 | 888 | 100 | 0
2020-09-14 10:00:00 | 1.873 | 302.2 | 1.991 | 319.462 | 2.114 | 295.552 | 2.268 | 321.096 | 18.28 | 888 | 100 | 0
2020-09-14 10:15:00 | 1.766 | 307.06 | 1.835 | 300.265 | 1.916 | 300.306 | 2.006 | 301.801 | 18.34 | 888 | 100 | 0
2020-09-14 10:30:00 | 1.852 | 344.17 | 1.976 | 335.277 | 2.014 | 336.598 | 2.206 | 336.991 | 18.44 | 888 | 100 | 0
2020-09-14 10:45:00 | 1.428 | 269.11 | 1.485 | 272.188 | 1.546 | 263.513 | 1.638 | 273.579 | 18.73 | 888 | 100 | 0
2020-09-14 11:00:00 | 0.96533 | 199.5467 | 1.0047 | 185.246 | 1.326 | 195.158 | 1.2953 | 186.1927 | 18.9133 | 888 | 100 | 0
2020-09-14 11:15:00 | 1.244 | 141.59 | 1.281 | 242.934 | 1.472 | 138.475 | 1.474 | 244.177 | 19.18 | 888 | 100 | 0
2020-09-14 11:30:00 | 1.787 | 274.15 | 1.854 | 339.366 | 2.044 | 268.12 | 2.097 | 341.1 | 19.74 | 888 | 100 | 0
2020-09-14 11:45:00 | 1.39 | 226.91 | 1.396 | 295.101 | 1.435 | 221.918 | 1.437 | 296.609 | 20.17 | 888 | 100 | 0
2020-09-14 12:00:00 | 1.166 | 172.39 | 1.146 | 203.395 | 1.102 | 168.596 | 1.083 | 204.434 | 19.81 | 888 | 98.71 | 0
2020-09-14 12:15:00 | 0.83 | 224.37 | 0.802 | 277.92 | 0.859 | 219.433 | 0.803 | 279.34 | 19.8 | 888 | 95.82 | 0
2020-09-14 12:30:00 | 0.69733 | 186.4067 | 0.80333 | 226.1787 | 0.726 | 182.3053 | 0.91733 | 227.336 | 19.9133 | 888 | 94.9867 | 0
2020-09-14 12:45:00 | 0.671 | 150.63 | 0.769 | 159.139 | 0.769 | 147.316 | 0.929 | 159.954 | 19.94 | 888 | 95.96 | 0
2020-09-14 13:00:00 | 1.1443 | 178.6286 | 1.1893 | 152.2671 | 0.96429 | 174.6986 | 1.1029 | 153.0464 | 19.8071 | 887 | 97.35 | 0
2020-09-14 13:15:00 | 0.96333 | 197.5467 | 0.952 | 147.4487 | 0.772 | 193.1993 | 0.81067 | 148.204 | 19.6867 | 887 | 99.2 | 0
2020-09-14 13:30:00 | 0.729 | 184.14 | 0.819 | 168.371 | 0.589 | 180.09 | 0.804 | 169.233 | 20.18 | 887 | 99.91 | 0
2020-09-14 13:45:00 | 1.07 | 183.84 | 1.115 | 130.709 | 0.968 | 179.796 | 1.081 | 131.378 | 19.68 | 887 | 99.88 | 0
2020-09-14 14:00:00 | 0.946 | 146.93 | 0.923 | 130.378 | 0.896 | 143.697 | 0.869 | 131.045 | 19.26 | 887 | 99.86 | 0
2020-09-14 14:15:00 | 0.843 | 21.53 | 0.868 | 20.158 | 0.857 | 21.057 | 0.905 | 20.261 | 19.57 | 886.4 | 99.7 | 0
2020-09-14 14:30:00 | 1.242 | 147.22 | 1.293 | 271.541 | 1.21 | 143.981 | 1.318 | 272.927 | 19.63 | 886 | 99.44 | 0
2020-09-14 14:45:00 | 0.98857 | 217.8429 | 1.0093 | 303.4307 | 1.2579 | 213.0507 | 1.2164 | 304.9843 | 19.7286 | 886 | 98.1091 | 0
2020-09-14 15:00:00 | 1.178 | 212.14 | 1.144 | 288.207 | 1.46 | 207.472 | 1.31 | 289.68 | 19.81 | 886 | 99.35 | 0
2020-09-14 15:15:00 | 1.027 | 206.56 | 0.975 | 306.73 | 1.389 | 202.016 | 1.188 | 308.298 | 19.46 | 886 | 99.74 | 0
2020-09-14 15:30:00 | 1.788 | 296.1333 | 1.8653 | 300.2787 | 2.1507 | 289.618 | 2.1967 | 301.8133 | 19.1467 | 886 | 99.8 | 0
2020-09-14 15:45:00 | 2.368 | 309.86 | 2.473 | 307.843 | 2.801 | 303.044 | 2.879 | 309.419 | 18.96 | 886 | 99.91 | 0
2020-09-14 16:00:00 | 2.3213 | 316.7933 | 2.468 | 321.9773 | 2.8227 | 309.8227 | 2.956 | 323.622 | 18.9067 | 885.6 | 100 | 0.89533
2020-09-14 16:15:00 | 2.7453 | 338.9533 | 2.916 | 312.8367 | 3.3367 | 331.496 | 3.4913 | 314.4353 | 18.82 | 885 | 100 | 2.2293
2020-09-14 16:30:00 | 3.321 | 327.44 | 3.494 | 321.537 | 3.967 | 320.237 | 4.109 | 323.181 | 18.51 | 885 | 100 | 5.48
2020-09-14 16:45:00 | 3.5853 | 337.3 | 3.8627 | 332.2987 | 4.0893 | 329.878 | 4.47 | 333.9987 | 18.3267 | 885 | 100 | 6.784
2020-09-14 17:00:00 | 3.1007 | 343.8267 | 3.3433 | 316.9827 | 3.5847 | 336.2627 | 3.9067 | 318.6033 | 18.4133 | 885 | 100 | 4.636
2020-09-14 17:15:00 | 3.053 | 342.31 | 3.253 | 206.916 | 3.475 | 334.779 | 3.734 | 207.973 | 18.42 | 885 | 100 | 3.128
2020-09-14 17:30:00 | 2.2047 | 194.0933 | 2.2787 | 317.9813 | 2.428 | 189.822 | 2.5067 | 319.606 | 18.38 | 885 | 100 | 0.29667
2020-09-14 17:45:00 | 2.48 | 189.1533 | 2.5927 | 319.7147 | 2.8953 | 184.9927 | 2.988 | 321.35 | 18.26 | 885 | 100 | 0.60067
2020-09-14 18:00:00 | 2.936 | 274.88 | 3.12 | 327.191 | 3.47 | 268.832 | 3.663 | 328.864 | 18.33 | 885 | 100 | 2.715
2020-09-14 18:15:00 | 2.888 | 326.6533 | 3.0693 | 312.204 | 3.4893 | 319.4673 | 3.664 | 313.8 | 18.34 | 885 | 100 | 3.2613
2020-09-14 18:30:00 | 2.5473 | 300.1133 | 2.7193 | 313.384 | 3.1773 | 293.5107 | 3.3207 | 314.986 | 18.4067 | 885 | 100 | 2.124
2020-09-14 18:45:00 | 2.142 | 272.23 | 2.164 | 318.154 | 2.791 | 266.242 | 2.649 | 319.781 | 18.58 | 885 | 100 | 0.876
2020-09-14 19:00:00 | 1.9027 | 277.3 | 1.9053 | 329.5673 | 2.4747 | 271.1993 | 2.3153 | 331.25 | 18.54 | 885 | 100 | 0.18333
2020-09-14 19:15:00 | 1.832 | 191.5067 | 1.8407 | 317.7013 | 2.1133 | 187.294 | 2.0533 | 319.324 | 18.7867 | 885 | 100 | 0
2020-09-14 19:30:00 | 2.234 | 316.15 | 2.303 | 330.065 | 2.588 | 309.196 | 2.617 | 331.753 | 18.56 | 885 | 100 | 0
2020-09-14 19:45:00 | 2.1907 | 203.3267 | 2.188 | 322.9233 | 2.8913 | 198.8533 | 2.6853 | 324.5727 | 18.36 | 884.3333 | 100 | 0.234
2020-09-14 20:00:00 | 2.18 | 224.2786 | 2.2157 | 327.42 | 2.7186 | 219.3443 | 2.6321 | 329.0936 | 18.2857 | 885 | 100 | 0.512
2020-09-14 20:15:00 | 2.614 | 216.5 | 2.723 | 333.653 | 3.027 | 211.736 | 3.114 | 335.36 | 18.28 | 885 | 100 | 1.093
2020-09-14 20:30:00 | 2.602 | 352.69 | 2.777 | 324.294 | 2.927 | 344.931 | 3.163 | 325.953 | 18.22 | 885 | 100 | 1.566
2020-09-14 20:45:00 | 2.703 | 283.36 | 2.872 | 329.184 | 3.122 | 277.126 | 3.318 | 330.867 | 18.42 | 885 | 100 | 1.46
2020-09-14 21:00:00 | 1.529 | 158.18 | 1.555 | 302.78 | 1.728 | 154.7 | 1.718 | 304.328 | 18.64 | 885 | 100 | 0
2020-09-14 21:15:00 | 1.163 | 259.04 | 1.156 | 318.632 | 1.373 | 253.34 | 1.299 | 320.262 | 18.72 | 885 | 100 | 0
2020-09-14 21:30:00 | 0.959 | 223.55 | 0.959 | 300.306 | 1.184 | 218.632 | 1.114 | 301.84 | 18.79 | 886 | 100 | 0
2020-09-14 21:45:00 | 0.209 | 98.8 | 0.228 | 159.375 | 0.265 | 96.628 | 0.287 | 160.191 | 19 | 886 | 100 | 0
2020-09-14 22:00:00 | 0.17 | 250.62 | 0.179 | 196.95 | 0.196 | 245.108 | 0.204 | 197.957 | 18.81 | 886 | 100 | 0
2020-09-14 22:15:00 | 0.50533 | 270.5533 | 0.47733 | 180.2767 | 0.54533 | 264.602 | 0.48067 | 181.1993 | 18.7333 | 886 | 100 | 0
2020-09-14 22:30:00 | 1.028 | 336.7533 | 1.0753 | 315.49 | 1.2793 | 329.3447 | 1.296 | 317.1027 | 18.5067 | 886 | 100 | 0
2020-09-14 22:45:00 | 1.564 | 329.34 | 1.678 | 310.982 | 1.805 | 322.096 | 1.954 | 312.572 | 18.54 | 886 | 100 | 0
2020-09-14 23:00:00 | 1.427 | 334.2 | 1.496 | 295.182 | 1.722 | 326.847 | 1.77 | 296.689 | 18.64 | 886 | 100 | 0
2020-09-14 23:15:00 | 0.805 | 314.64 | 0.819 | 316.11 | 1.155 | 307.719 | 1.079 | 317.726 | 18.71 | 886 | 100 | 0
2020-09-14 23:30:00 | 0.769 | 298.3 | 0.771 | 309.82 | 1.099 | 291.738 | 1.005 | 311.403 | 18.74 | 886 | 100 | 0
2020-09-14 23:45:00 | 0.63 | 244.66 | 0.623 | 332.783 | 0.904 | 239.278 | 0.815 | 334.486 | 18.78 | 886 | 100 | 0