## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-15 00:00:00 | 0.544 | 42.35 | 0.589 | 320.324 | 0.893 | 41.419 | 0.874 | 321.963 | 18.78 | 886 | 100 | 0
2020-09-15 00:15:00 | 0.50667 | 66.5 | 0.57933 | 75.7427 | 0.836 | 65.0353 | 0.87933 | 76.1307 | 18.7867 | 886 | 100 | 0
2020-09-15 00:30:00 | 0.46067 | 214.0333 | 0.52867 | 119.9747 | 0.698 | 209.324 | 0.76 | 120.5893 | 18.56 | 886 | 100 | 0
2020-09-15 00:45:00 | 0.482 | 211.77 | 0.592 | 120.616 | 0.796 | 207.11 | 0.91 | 121.232 | 18.71 | 886 | 100 | 0
2020-09-15 01:00:00 | 0.83933 | 297.2267 | 0.91533 | 12.8827 | 1.0627 | 290.6873 | 1.1467 | 12.948 | 18.4067 | 886 | 100 | 0
2020-09-15 01:15:00 | 0.69556 | 160.2556 | 0.74333 | 87.1089 | 0.82 | 156.73 | 0.87889 | 87.5522 | 18.3889 | 886 | 100 | 0
2020-09-15 01:30:00 | 0.744 | 251.3 | 0.79 | 273.162 | 0.866 | 245.7707 | 0.918 | 274.558 | 18.3667 | 886 | 100 | 0
2020-09-15 01:45:00 | 0.796 | 232.5467 | 0.84133 | 339.282 | 0.86733 | 227.432 | 0.93067 | 341.0153 | 18.32 | 886 | 100 | 0
2020-09-15 02:00:00 | 1.049 | 338.39 | 1.112 | 270.574 | 1.137 | 330.946 | 1.229 | 271.956 | 18.35 | 886 | 100 | 0
2020-09-15 02:15:00 | 1.471 | 346.86 | 1.557 | 177.459 | 1.661 | 339.231 | 1.77 | 178.366 | 18.19 | 886 | 100 | 0
2020-09-15 02:30:00 | 1.685 | 316.29 | 1.771 | 273.429 | 1.928 | 309.331 | 2.019 | 274.826 | 18.12 | 886 | 100 | 0
2020-09-15 02:45:00 | 1.904 | 341.16 | 2.046 | 272.5 | 2.237 | 333.656 | 2.409 | 273.893 | 18.09 | 886 | 100 | 0
2020-09-15 03:00:00 | 2.124 | 272.49 | 2.23 | 331.101 | 2.338 | 266.495 | 2.478 | 332.794 | 17.98 | 885.4 | 100 | 0.069
2020-09-15 03:15:00 | 2.966 | 280.64 | 3.1507 | 326.7627 | 3.31 | 274.464 | 3.5613 | 328.4333 | 17.82 | 885 | 100 | 2.81
2020-09-15 03:30:00 | 3.018 | 299.98 | 3.16 | 326.9447 | 3.4807 | 293.38 | 3.616 | 328.6153 | 17.9 | 885 | 100 | 4.0013
2020-09-15 03:45:00 | 3.316 | 341.13 | 3.506 | 330.79 | 3.788 | 333.624 | 4.013 | 332.48 | 17.89 | 885 | 100 | 5.652
2020-09-15 04:00:00 | 3.812 | 333.01 | 4.034 | 327.337 | 4.37 | 325.684 | 4.634 | 329.011 | 17.82 | 885 | 100 | 8.864
2020-09-15 04:15:00 | 4.173 | 337.85 | 4.397 | 329.997 | 4.691 | 330.417 | 4.973 | 331.683 | 17.78 | 885 | 100 | 11.089
2020-09-15 04:30:00 | 4.3287 | 344.3133 | 4.6033 | 329.9307 | 4.8027 | 336.738 | 5.186 | 331.6193 | 17.7067 | 885 | 100 | 15.542
2020-09-15 04:45:00 | 4.2007 | 316.9267 | 4.4553 | 329.234 | 4.9287 | 309.954 | 5.202 | 330.9167 | 17.78 | 885 | 100 | 17.8047
2020-09-15 05:00:00 | 5.12 | 306.25 | 5.432 | 327.405 | 5.805 | 299.512 | 6.199 | 329.079 | 17.76 | 884.4 | 100 | 22.56
2020-09-15 05:15:00 | 5.178 | 320.62 | 5.4433 | 326.7047 | 5.6913 | 313.566 | 6.044 | 328.3747 | 17.7133 | 884 | 100 | 24.7007
2020-09-15 05:30:00 | 5.0153 | 348.1733 | 5.3247 | 326.71 | 5.6733 | 340.514 | 6.0687 | 328.3813 | 17.6867 | 884 | 100 | 24.5693
2020-09-15 05:45:00 | 5 | 340.78 | 5.316 | 327.854 | 5.668 | 333.282 | 6.074 | 329.53 | 17.68 | 884 | 100 | 23.395
2020-09-15 06:00:00 | 5.5093 | 341.3333 | 5.824 | 324.382 | 6.162 | 333.824 | 6.5653 | 326.0413 | 17.64 | 884 | 100 | 25.716
2020-09-15 06:15:00 | 4.4813 | 339.9267 | 4.7987 | 326.7433 | 5.166 | 332.2533 | 5.562 | 328.4133 | 17.68 | 884 | 100 | 16.344
2020-09-15 06:30:00 | 4.312 | 337.74 | 4.59 | 316.784 | 4.743 | 330.309 | 5.149 | 318.403 | 17.73 | 884 | 100 | 13.985
2020-09-15 06:45:00 | 4.63 | 338.66 | 5.003 | 319.269 | 4.986 | 331.21 | 5.591 | 320.902 | 17.74 | 885 | 100 | 15.317
2020-09-15 07:00:00 | 4.196 | 341.72 | 4.513 | 324.139 | 4.719 | 334.201 | 5.161 | 325.796 | 17.73 | 885 | 100 | 13.229
2020-09-15 07:15:00 | 4.4 | 336.92 | 4.778 | 321.301 | 4.919 | 329.508 | 5.484 | 322.945 | 17.99 | 885 | 100 | 15.577
2020-09-15 07:30:00 | 4.551 | 337.82 | 4.909 | 318.152 | 5.004 | 330.388 | 5.55 | 319.78 | 18.19 | 885 | 100 | 16.713
2020-09-15 07:45:00 | 4.141 | 339.21 | 4.455 | 321.891 | 4.972 | 331.748 | 5.325 | 323.535 | 18.15 | 885 | 100 | 15.679
2020-09-15 08:00:00 | 4.617 | 337.89 | 4.956 | 331.337 | 5.325 | 330.456 | 5.76 | 333.031 | 18.23 | 885 | 100 | 18.113
2020-09-15 08:15:00 | 4.5833 | 342.36 | 4.95 | 328.7133 | 5.1487 | 334.8287 | 5.6813 | 330.3933 | 18.36 | 885 | 100 | 17.344
2020-09-15 08:30:00 | 4.764 | 344.83 | 5.12 | 332.227 | 5.42 | 337.244 | 5.904 | 333.926 | 18.11 | 885 | 100 | 18.466
2020-09-15 08:45:00 | 4.964 | 346.63 | 5.312 | 332.11 | 5.556 | 339.004 | 6.04 | 333.808 | 18.14 | 886 | 100 | 19.822
2020-09-15 09:00:00 | 5.058 | 342.5 | 5.4173 | 317.4467 | 5.5213 | 334.966 | 6.0667 | 319.068 | 18.44 | 886 | 100 | 22.866
2020-09-15 09:15:00 | 4.88 | 348.58 | 5.208 | 300.383 | 5.354 | 340.912 | 5.839 | 301.918 | 18.47 | 886 | 100 | 19.904
2020-09-15 09:30:00 | 4.594 | 303.68 | 4.8493 | 332.4547 | 5.1013 | 296.9987 | 5.4373 | 334.1547 | 18.5467 | 886 | 100 | 16.42
2020-09-15 09:45:00 | 4.2973 | 323.8933 | 4.434 | 329.632 | 4.838 | 316.7673 | 4.946 | 331.3167 | 18.8667 | 886 | 100 | 15.12
2020-09-15 10:00:00 | 3.566 | 240.05 | 3.663 | 324.843 | 4.1 | 234.77 | 4.129 | 326.503 | 19 | 886 | 100 | 10.078
2020-09-15 10:15:00 | 3.422 | 256.3733 | 3.6173 | 329.196 | 3.8807 | 250.7327 | 4.1213 | 330.8773 | 19.06 | 887 | 100 | 7.1993
2020-09-15 10:30:00 | 3.357 | 39.81 | 3.556 | 322.458 | 3.724 | 38.935 | 3.999 | 324.104 | 19.27 | 887 | 100 | 6.486
2020-09-15 10:45:00 | 3.013 | 310.45 | 3.171 | 317.626 | 3.299 | 303.62 | 3.519 | 319.25 | 19.67 | 887 | 100 | 4.063
2020-09-15 11:00:00 | 3.109 | 311.98 | 3.28 | 317.427 | 3.406 | 305.117 | 3.645 | 319.053 | 20.11 | 887 | 100 | 5.495
2020-09-15 11:15:00 | 3.638 | 332.82 | 3.82 | 323.433 | 3.901 | 325.498 | 4.172 | 325.086 | 20.07 | 888 | 100 | 7.212
2020-09-15 11:30:00 | 4.082 | 309.35 | 4.279 | 327.658 | 4.419 | 302.542 | 4.698 | 329.335 | 19.99 | 888 | 99.18 | 13.698
2020-09-15 11:45:00 | 4.174 | 298.18 | 4.4293 | 307.6787 | 4.8413 | 291.6193 | 5.1313 | 309.2513 | 20.0933 | 888 | 94.8533 | 16.244
2020-09-15 12:00:00 | 4.332 | 269.22 | 4.62 | 336.198 | 4.936 | 263.294 | 5.314 | 337.916 | 20.1 | 888 | 94.66 | 16.93
2020-09-15 12:15:00 | 4.239 | 343.59 | 4.54 | 298.641 | 4.568 | 336.03 | 5.044 | 300.168 | 19.98 | 887.9 | 94.76 | 17.867
2020-09-15 12:30:00 | 4.344 | 314.6533 | 4.7827 | 290.3413 | 4.7227 | 307.73 | 5.4447 | 291.8267 | 20.2267 | 887 | 92.96 | 18.106
2020-09-15 12:45:00 | 4.4313 | 342.7867 | 4.8487 | 329.9573 | 4.95 | 335.246 | 5.5893 | 331.644 | 20.32 | 887 | 91.3 | 17.8653
2020-09-15 13:00:00 | 4.617 | 308.7 | 4.944 | 325.594 | 5.13 | 301.91 | 5.603 | 327.259 | 20.43 | 887 | 89.64 | 16.47
2020-09-15 13:15:00 | 4.6733 | 332.7533 | 5.012 | 306.0167 | 4.9433 | 325.4327 | 5.5067 | 307.5827 | 20.6533 | 887 | 87.1533 | 15.9227
2020-09-15 13:30:00 | 4.912 | 333.22 | 5.361 | 326.396 | 5.415 | 325.889 | 6.119 | 328.066 | 20.76 | 887 | 85.34 | 20.56
2020-09-15 13:45:00 | 5.299 | 335.51 | 5.675 | 328.041 | 5.962 | 328.129 | 6.484 | 329.719 | 20.97 | 887 | 85.53 | 23.991
2020-09-15 14:00:00 | 5.118 | 336.74 | 5.398 | 326.718 | 5.7 | 329.332 | 6.0627 | 328.3873 | 20.9267 | 886.9333 | 84.7267 | 18.2313
2020-09-15 14:15:00 | 4.58 | 335.31 | 4.81 | 324.831 | 5.062 | 327.935 | 5.361 | 326.494 | 20.98 | 886 | 84.08 | 14.653
2020-09-15 14:30:00 | 4.6347 | 335.84 | 4.8533 | 322.5173 | 4.954 | 328.4527 | 5.2767 | 324.1673 | 21.1867 | 886 | 83.52 | 14.1713
2020-09-15 14:45:00 | 4.529 | 338.4 | 4.861 | 326.71 | 4.812 | 330.956 | 5.362 | 328.381 | 21.47 | 886 | 82.01 | 13.565
2020-09-15 15:00:00 | 4.9079 | 334.1143 | 5.27 | 318.3871 | 5.4086 | 326.7636 | 5.9486 | 320.0157 | 21.6071 | 886 | 82.5571 | 17.0987
2020-09-15 15:15:00 | 4.672 | 337.8067 | 5.0247 | 322.8313 | 4.9213 | 330.376 | 5.5187 | 324.482 | 21.8867 | 886 | 82.6533 | 14.6347
2020-09-15 15:30:00 | 4.478 | 337.93 | 4.805 | 328.569 | 4.784 | 330.496 | 5.317 | 330.25 | 22.02 | 886 | 80.57 | 13.612
2020-09-15 15:45:00 | 4.3493 | 335.1267 | 4.604 | 324.5 | 4.778 | 327.754 | 5.1447 | 326.1587 | 22.1933 | 886 | 78.8313 | 11.296
2020-09-15 16:00:00 | 4.693 | 235.64 | 4.909 | 325.468 | 5.261 | 230.456 | 5.505 | 327.132 | 22.28 | 886 | 78.335 | 14.405
2020-09-15 16:15:00 | 4.373 | 339.25 | 4.685 | 326.075 | 4.747 | 331.787 | 5.234 | 327.743 | 22.14 | 886 | 76.336 | 14.066
2020-09-15 16:30:00 | 4.572 | 341.0067 | 4.828 | 328.8493 | 4.992 | 333.504 | 5.3607 | 330.5307 | 22.2333 | 886 | 77.3653 | 13.1133
2020-09-15 16:45:00 | 4.536 | 336.16 | 4.793 | 322.123 | 5.055 | 328.763 | 5.399 | 323.77 | 22.51 | 886 | 78.292 | 13.022
2020-09-15 17:00:00 | 4.0453 | 339.92 | 4.3247 | 305.4953 | 4.56 | 332.442 | 4.94 | 307.056 | 22.9333 | 886 | 72.0907 | 11.6893
2020-09-15 17:15:00 | 4.222 | 340.23 | 4.567 | 323.387 | 4.609 | 332.744 | 5.152 | 325.04 | 22.91 | 886 | 70.232 | 12.669
2020-09-15 17:30:00 | 4.405 | 339.78 | 4.654 | 325.303 | 4.874 | 332.306 | 5.21 | 326.965 | 22.67 | 886 | 71.799 | 13.15
2020-09-15 17:45:00 | 4.0133 | 340.3267 | 4.3407 | 327.852 | 4.4547 | 332.8387 | 4.946 | 329.5287 | 22.3267 | 886 | 78.7727 | 12.9127
2020-09-15 18:00:00 | 4.324 | 338.29 | 4.657 | 320.128 | 4.602 | 330.847 | 5.156 | 321.765 | 22.24 | 886 | 81.23 | 13.948
2020-09-15 18:15:00 | 3.925 | 333.97 | 4.229 | 316.94 | 4.424 | 326.621 | 4.857 | 318.56 | 22.04 | 885 | 84.81 | 13.274
2020-09-15 18:30:00 | 4.5293 | 337.54 | 4.828 | 325.85 | 4.94 | 330.1147 | 5.392 | 327.5153 | 21.9467 | 885 | 85.5067 | 14.8933
2020-09-15 18:45:00 | 4.484 | 339.23 | 4.762 | 324.627 | 4.942 | 331.767 | 5.336 | 326.286 | 21.94 | 885 | 86.89 | 16.018
2020-09-15 19:00:00 | 5.0347 | 338.7333 | 5.3573 | 324.9373 | 5.4327 | 331.2807 | 5.93 | 326.5993 | 21.88 | 885 | 88.2467 | 21.5827
2020-09-15 19:15:00 | 5.0027 | 341.76 | 5.3467 | 325.6367 | 5.2853 | 334.24 | 5.8567 | 327.298 | 21.7733 | 885 | 88.1133 | 21.944
2020-09-15 19:30:00 | 4.865 | 339.96 | 5.225 | 325.107 | 5.245 | 332.481 | 5.819 | 326.769 | 21.64 | 885 | 88.83 | 20.246
2020-09-15 19:45:00 | 4.6147 | 340.08 | 5.0007 | 323.946 | 5.0593 | 332.5987 | 5.662 | 325.6027 | 21.5267 | 885 | 88.9267 | 17.668
2020-09-15 20:00:00 | 4.619 | 341.46 | 4.976 | 325.224 | 5.069 | 333.948 | 5.615 | 326.887 | 21.59 | 885 | 88.53 | 17.21
2020-09-15 20:15:00 | 5.129 | 338.82 | 5.522 | 322.221 | 5.617 | 331.366 | 6.217 | 323.87 | 21.58 | 885 | 89.02 | 22.869
2020-09-15 20:30:00 | 4.9567 | 340.1 | 5.3453 | 325.1727 | 5.4287 | 332.6167 | 6.034 | 326.8353 | 21.5733 | 885 | 90.0867 | 21.258
2020-09-15 20:45:00 | 5.053 | 341.95 | 5.456 | 329.019 | 5.656 | 334.428 | 6.248 | 330.7 | 21.49 | 885 | 90.9 | 23.333
2020-09-15 21:00:00 | 5.2907 | 343.6286 | 5.7221 | 326.3714 | 5.6571 | 336.265 | 6.3693 | 328.04 | 21.5071 | 885 | 89.5286 | 23.422
2020-09-15 21:15:00 | 5.71 | 343.96 | 6.152 | 328.178 | 6.298 | 336.392 | 6.964 | 329.856 | 21.62 | 886 | 89.3 | 27.216
2020-09-15 21:30:00 | 5.544 | 343.2 | 5.98 | 328.412 | 6.084 | 335.649 | 6.754 | 330.093 | 21.54 | 886 | 89.02 | 27.533
2020-09-15 21:45:00 | 5.67 | 342.98 | 6.088 | 327.434 | 6.054 | 335.434 | 6.734 | 329.108 | 21.66 | 886 | 89.02 | 29.078
2020-09-15 22:00:00 | 5.492 | 342.38 | 5.947 | 324.52 | 5.948 | 334.848 | 6.678 | 326.179 | 21.38 | 886 | 86.37 | 27.645
2020-09-15 22:15:00 | 5.7287 | 345.9533 | 6.1387 | 332.592 | 6.2807 | 338.342 | 6.8987 | 334.292 | 21.5267 | 886 | 85.4667 | 28.79
2020-09-15 22:30:00 | 5.867 | 340.56 | 6.31 | 328.901 | 6.609 | 333.067 | 7.234 | 330.584 | 21.42 | 886 | 88.61 | 29.402
2020-09-15 22:45:00 | 5.69 | 339.38 | 6.053 | 332.549 | 6.377 | 331.913 | 6.869 | 334.25 | 21.71 | 886 | 90.5 | 27.654
2020-09-15 23:00:00 | 5.4687 | 343.96 | 5.8627 | 331.0193 | 6.026 | 336.3933 | 6.6127 | 332.7127 | 21.3067 | 886 | 88.8067 | 25.7147
2020-09-15 23:15:00 | 5.805 | 344.38 | 6.189 | 328.002 | 6.49 | 336.802 | 7.025 | 329.679 | 21.13 | 886 | 89.8 | 30.815
2020-09-15 23:30:00 | 5.9973 | 322.5667 | 6.3993 | 325.714 | 6.674 | 315.4693 | 7.2447 | 327.3787 | 21.0533 | 886 | 90.1133 | 33.2893
2020-09-15 23:45:00 | 5.748 | 346.88 | 6.168 | 330.78 | 6.226 | 339.25 | 6.882 | 332.47 | 20.94 | 886 | 91.06 | 30.66