## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-16 00:00:00 | 5.838 | 348.41 | 6.211 | 328.676 | 6.551 | 340.745 | 7.058 | 330.357 | 20.92 | 885.4 | 91.68 | 31.285
2020-09-16 00:15:00 | 5.4927 | 343.46 | 5.82 | 327.1793 | 6.1187 | 335.904 | 6.5573 | 328.8527 | 20.9867 | 885.4 | 90 | 23.5107
2020-09-16 00:30:00 | 4.839 | 344.18 | 5.098 | 324.412 | 5.412 | 336.607 | 5.739 | 326.071 | 20.87 | 886 | 89.78 | 16.452
2020-09-16 00:45:00 | 4.568 | 342.47 | 4.858 | 320.558 | 5.185 | 334.936 | 5.557 | 322.198 | 20.82 | 886 | 90.83 | 15.342
2020-09-16 01:00:00 | 5.162 | 341.7733 | 5.52 | 322.1987 | 5.792 | 334.2547 | 6.294 | 323.846 | 20.56 | 886 | 94.8 | 22.1553
2020-09-16 01:15:00 | 5.755 | 347.24 | 6.156 | 322.858 | 6.528 | 339.601 | 7.061 | 324.509 | 20.53 | 885.9 | 95.69 | 30.846
2020-09-16 01:30:00 | 5.9153 | 341.12 | 6.3673 | 324.1607 | 6.6847 | 333.6147 | 7.3187 | 325.818 | 20.52 | 885 | 96.5067 | 31.172
2020-09-16 01:45:00 | 6.24 | 345.15 | 6.701 | 326.543 | 7.045 | 337.556 | 7.686 | 328.214 | 20.38 | 885 | 95.25 | 36.539
2020-09-16 02:00:00 | 6.549 | 347.8 | 6.995 | 326.164 | 7.409 | 340.148 | 8.008 | 327.829 | 20.29 | 885 | 94.48 | 39.322
2020-09-16 02:15:00 | 6.4913 | 347.1733 | 6.9213 | 326.9847 | 7.3373 | 339.5353 | 7.9107 | 328.6553 | 19.6067 | 885 | 94.1067 | 38.7853
2020-09-16 02:30:00 | 6.3 | 344.34 | 6.748 | 329.461 | 7.196 | 336.764 | 7.784 | 331.144 | 19.52 | 885 | 94.68 | 35.492
2020-09-16 02:45:00 | 6.0013 | 335.4867 | 6.428 | 318.9007 | 6.8473 | 328.106 | 7.4107 | 320.5293 | 20.1 | 885 | 93.6733 | 32.2033
2020-09-16 03:00:00 | 6.218 | 340.58 | 6.711 | 315.249 | 7.031 | 333.086 | 7.731 | 316.86 | 20.22 | 885 | 93.11 | 35.613
2020-09-16 03:15:00 | 6.308 | 336.11 | 6.838 | 313.359 | 7.143 | 328.717 | 7.906 | 314.962 | 19.85 | 884 | 94.47 | 36.175
2020-09-16 03:30:00 | 6.15 | 342.08 | 6.668 | 316.188 | 7.07 | 334.554 | 7.788 | 317.804 | 19.84 | 884 | 95.44 | 35.496
2020-09-16 03:45:00 | 6.168 | 346.35 | 6.697 | 319.727 | 7.105 | 338.73 | 7.832 | 321.361 | 20.06 | 884 | 96.68 | 34.337
2020-09-16 04:00:00 | 6.383 | 347.8 | 6.894 | 323.524 | 7.326 | 340.15 | 8.021 | 325.176 | 19.72 | 884 | 96.02 | 36.766
2020-09-16 04:15:00 | 6.834 | 348.78 | 7.35 | 330.956 | 7.68 | 341.106 | 8.416 | 332.648 | 19.1 | 884 | 93.74 | 41.578
2020-09-16 04:30:00 | 6.923 | 348.43 | 7.438 | 329.84 | 7.786 | 340.765 | 8.512 | 331.527 | 18.69 | 884 | 93.1 | 42.087
2020-09-16 04:45:00 | 6.6967 | 344.36 | 7.1933 | 326.744 | 7.4667 | 336.784 | 8.186 | 328.414 | 18.98 | 884 | 94.5667 | 38.4527
2020-09-16 05:00:00 | 6.704 | 336.94 | 7.192 | 324.308 | 7.548 | 329.526 | 8.23 | 325.964 | 19.02 | 884 | 94.82 | 41.836
2020-09-16 05:15:00 | 6.894 | 349.78 | 7.493 | 322.927 | 7.87 | 342.084 | 8.721 | 324.577 | 18.52 | 884 | 95.17 | 42.676
2020-09-16 05:30:00 | 7.402 | 350.86 | 7.9533 | 331.3147 | 8.2773 | 343.1413 | 9.0727 | 333.008 | 19.04 | 884 | 96.4333 | 45.1233
2020-09-16 05:45:00 | 7.536 | 351.89 | 8.088 | 333.538 | 8.416 | 344.149 | 9.204 | 335.242 | 18.87 | 884 | 96.49 | 44.069
2020-09-16 06:00:00 | 7.571 | 348.68 | 8.171 | 327.922 | 8.491 | 341.01 | 9.355 | 329.601 | 19 | 884 | 96 | 45.659
2020-09-16 06:15:00 | 7.5167 | 351.1 | 8.0933 | 329.4873 | 8.36 | 343.3767 | 9.216 | 331.172 | 18.96 | 884 | 94.9867 | 45.4393
2020-09-16 06:30:00 | 7.388 | 351.26 | 7.948 | 329.712 | 8.325 | 343.532 | 9.117 | 331.4 | 18.95 | 884 | 94.54 | 43.808
2020-09-16 06:45:00 | 7.401 | 346.99 | 7.973 | 331.083 | 8.204 | 339.356 | 9.061 | 332.776 | 19.15 | 884 | 95.39 | 42.509
2020-09-16 07:00:00 | 6.882 | 342.22 | 7.4787 | 317.1207 | 7.7707 | 334.69 | 8.6487 | 318.7407 | 19.3733 | 884 | 95.2667 | 41.1473
2020-09-16 07:15:00 | 7.119 | 346.68 | 7.735 | 322.33 | 7.958 | 339.053 | 8.877 | 323.976 | 19.28 | 884 | 94.34 | 43.346
2020-09-16 07:30:00 | 7.2013 | 348.6933 | 7.772 | 330.9033 | 8.0653 | 341.022 | 8.8953 | 332.5953 | 19.04 | 884.0667 | 96.4067 | 42.9807
2020-09-16 07:45:00 | 7.378 | 349.16 | 7.952 | 329.43 | 8.078 | 341.478 | 8.962 | 331.114 | 18.72 | 885 | 96.5 | 43.982
2020-09-16 08:00:00 | 7.159 | 345.25 | 7.767 | 323.962 | 7.837 | 337.654 | 8.789 | 325.619 | 18.66 | 884.6 | 97.1 | 43.172
2020-09-16 08:15:00 | 7.6213 | 346.7667 | 8.2153 | 328.5613 | 8.3527 | 339.1373 | 9.264 | 330.242 | 18.4867 | 885 | 97.38 | 45.6953
2020-09-16 08:30:00 | 7.6578 | 345.5333 | 8.2722 | 327.3278 | 8.4644 | 337.9322 | 9.4011 | 329 | 18.4333 | 885 | 98.1333 | 43.897
2020-09-16 08:45:00 | 7.903 | 348.32 | 8.509 | 334.182 | 8.784 | 340.655 | 9.674 | 335.891 | 18.35 | 885 | 98.85 | 44.98
2020-09-16 09:00:00 | 7.662 | 346.3067 | 8.27 | 325.5233 | 8.56 | 338.6873 | 9.454 | 327.1873 | 18.34 | 885 | 98.9267 | 42.1273
2020-09-16 09:15:00 | 7.372 | 343.72 | 7.99 | 323.25 | 8.272 | 336.158 | 9.18 | 324.902 | 18.4 | 885 | 99.1 | 41.656
2020-09-16 09:30:00 | 7.296 | 341.65 | 7.93 | 321.498 | 8.088 | 334.133 | 9.076 | 323.142 | 18.42 | 885 | 99.92 | 41.156
2020-09-16 09:45:00 | 7.3073 | 323.3533 | 7.8973 | 321.4153 | 8.18 | 316.238 | 9.0513 | 323.06 | 18.0067 | 886 | 100 | 41.9913
2020-09-16 10:00:00 | 6.802 | 346.91 | 7.334 | 319.796 | 7.545 | 339.278 | 8.344 | 321.433 | 17.82 | 886 | 100 | 40.396
2020-09-16 10:15:00 | 6.28 | 344.29 | 6.806 | 321.146 | 7.053 | 336.715 | 7.825 | 322.788 | 17.52 | 886 | 100 | 35.794
2020-09-16 10:30:00 | 6.4567 | 341.8067 | 7.026 | 327.5707 | 7.358 | 334.2867 | 8.174 | 329.246 | 17.3467 | 886.0667 | 100 | 36.4627
2020-09-16 10:45:00 | 6.562 | 339.25 | 7.068 | 332.647 | 7.294 | 331.786 | 8.043 | 334.348 | 17.13 | 887 | 100 | 37.335
2020-09-16 11:00:00 | 6.501 | 337.73 | 7.036 | 328.187 | 7.34 | 330.3 | 8.108 | 329.865 | 17.09 | 887 | 100 | 36.573
2020-09-16 11:15:00 | 6.8347 | 338.6133 | 7.3833 | 325.5953 | 7.5867 | 331.1633 | 8.4113 | 327.26 | 17.1067 | 887 | 100 | 37.88
2020-09-16 11:30:00 | 6.826 | 346.45 | 7.495 | 320.872 | 7.564 | 338.828 | 8.621 | 322.512 | 17.47 | 887 | 100 | 37.56
2020-09-16 11:45:00 | 7.193 | 340.61 | 7.872 | 323.796 | 7.664 | 333.117 | 8.817 | 325.453 | 17.44 | 887 | 100 | 39.94
2020-09-16 12:00:00 | 7.018 | 335.26 | 7.628 | 317.01 | 7.452 | 327.882 | 8.478 | 318.628 | 17.34 | 887 | 100 | 41.966
2020-09-16 12:15:00 | 7.168 | 336.32 | 7.805 | 318.593 | 7.826 | 328.921 | 8.848 | 320.22 | 17.42 | 887 | 100 | 40.613
2020-09-16 12:30:00 | 6.9221 | 330.85 | 7.5171 | 318.8279 | 7.4971 | 323.5714 | 8.46 | 320.4571 | 17.6714 | 887 | 100 | 38.6647
2020-09-16 12:45:00 | 6.746 | 330.86 | 7.276 | 320.042 | 7.42 | 323.582 | 8.228 | 321.676 | 17.74 | 887 | 100 | 37.96
2020-09-16 13:00:00 | 7.006 | 332.22 | 7.571 | 319.973 | 7.87 | 324.911 | 8.688 | 321.61 | 17.65 | 887 | 100 | 40.42
2020-09-16 13:15:00 | 6.767 | 331.77 | 7.33 | 324.335 | 7.504 | 324.471 | 8.358 | 325.993 | 17.66 | 887 | 100 | 39.973
2020-09-16 13:30:00 | 6.646 | 334.76 | 7.158 | 318.908 | 7.34 | 327.394 | 8.112 | 320.536 | 17.42 | 887 | 100 | 41.62
2020-09-16 13:45:00 | 6.793 | 334.99 | 7.346 | 322.476 | 7.535 | 327.621 | 8.359 | 324.125 | 17.14 | 887 | 100 | 40.287
2020-09-16 14:00:00 | 6.456 | 339.15 | 7.049 | 318.75 | 7.175 | 331.687 | 8.089 | 320.379 | 17.59 | 886.4 | 100 | 38.218
2020-09-16 14:15:00 | 6.612 | 333 | 7.128 | 316.6 | 7.184 | 325.672 | 7.996 | 318.218 | 17.72 | 886 | 100 | 36.688
2020-09-16 14:30:00 | 6.24 | 329.57 | 6.795 | 318.555 | 6.869 | 322.319 | 7.74 | 320.182 | 17.72 | 886 | 100 | 36.016
2020-09-16 14:45:00 | 6.45 | 331.28 | 6.996 | 318.712 | 6.994 | 323.992 | 7.874 | 320.338 | 17.82 | 886 | 100 | 37.76
2020-09-16 15:00:00 | 6.633 | 343.33 | 7.129 | 325.966 | 7.36 | 335.775 | 8.092 | 327.634 | 17.89 | 886 | 100 | 41.121
2020-09-16 15:15:00 | 5.986 | 333.4133 | 6.416 | 321.2 | 6.552 | 326.0787 | 7.208 | 322.8427 | 18.02 | 886 | 100 | 35.1333
2020-09-16 15:30:00 | 6.186 | 326.54 | 6.642 | 319.53 | 6.852 | 319.356 | 7.526 | 321.164 | 17.94 | 886 | 100 | 38.542
2020-09-16 15:45:00 | 6.169 | 332.12 | 6.688 | 314.75 | 6.866 | 324.815 | 7.646 | 316.36 | 18.11 | 886 | 100 | 41.038
2020-09-16 16:00:00 | 6.164 | 336.86 | 6.556 | 319.942 | 6.71 | 329.45 | 7.296 | 321.58 | 18.26 | 886 | 100 | 41.702
2020-09-16 16:15:00 | 6.747 | 333.02 | 7.202 | 319.836 | 7.277 | 325.692 | 7.988 | 321.47 | 18.43 | 886 | 100 | 42.756
2020-09-16 16:30:00 | 5.868 | 331.92 | 6.326 | 315.1113 | 6.3573 | 324.6167 | 7.0867 | 316.724 | 18.4333 | 886 | 100 | 35.844
2020-09-16 16:45:00 | 5.81 | 331.66 | 6.306 | 314.094 | 6.342 | 324.362 | 7.128 | 315.7 | 18.42 | 886 | 100 | 31.256
2020-09-16 17:00:00 | 5.094 | 330.8 | 5.54 | 309.235 | 5.751 | 323.523 | 6.41 | 310.813 | 18.41 | 886 | 100 | 27.991
2020-09-16 17:15:00 | 5.4487 | 333.8333 | 5.9147 | 319.2433 | 6.162 | 326.488 | 6.8373 | 320.878 | 18.36 | 886 | 100 | 29.054
2020-09-16 17:30:00 | 5.593 | 330.02 | 6.034 | 321.986 | 6.288 | 322.758 | 6.927 | 323.632 | 18.31 | 886 | 100 | 35.004
2020-09-16 17:45:00 | 6.343 | 333.62 | 6.704 | 324.051 | 6.955 | 326.281 | 7.47 | 325.707 | 18.42 | 886 | 100 | 41.084
2020-09-16 18:00:00 | 6.0827 | 341.8733 | 6.396 | 318.9247 | 6.7547 | 334.3533 | 7.154 | 320.5553 | 18.44 | 886 | 100 | 36.6827
2020-09-16 18:15:00 | 5.723 | 340.1 | 6.07 | 320.911 | 6.209 | 332.619 | 6.725 | 322.552 | 18.42 | 886 | 99.98 | 33.296
2020-09-16 18:30:00 | 5.363 | 335.27 | 5.735 | 315.864 | 5.982 | 327.893 | 6.51 | 317.479 | 18.37 | 886 | 99.32 | 31.704
2020-09-16 18:45:00 | 5.168 | 332.96 | 5.492 | 321.33 | 5.832 | 325.636 | 6.258 | 322.972 | 18.28 | 886 | 99.24 | 29.196
2020-09-16 19:00:00 | 4.499 | 327.4 | 4.827 | 315.513 | 5.012 | 320.196 | 5.485 | 317.127 | 18.04 | 885 | 97.76 | 27.814
2020-09-16 19:15:00 | 4.9567 | 330.6667 | 5.2773 | 317.544 | 5.4487 | 323.3927 | 5.916 | 319.1667 | 18.1533 | 885 | 97.5333 | 30.764
2020-09-16 19:30:00 | 5.071 | 332.8 | 5.424 | 322.436 | 5.41 | 325.478 | 5.983 | 324.086 | 18.2 | 885.7 | 96.82 | 31.921
2020-09-16 19:45:00 | 4.632 | 333.0867 | 4.9593 | 307.5147 | 5.1787 | 325.7593 | 5.642 | 309.0873 | 18.16 | 886 | 96.14 | 25.172
2020-09-16 20:00:00 | 4.552 | 328.3 | 4.83 | 313.274 | 5.508 | 321.078 | 5.758 | 314.874 | 18.18 | 886 | 95.48 | 22.088
2020-09-16 20:15:00 | 4.766 | 330.27 | 5.179 | 318.055 | 5.228 | 323.003 | 5.877 | 319.681 | 18.26 | 886 | 95.84 | 28.161
2020-09-16 20:30:00 | 5.354 | 332.8933 | 5.766 | 319.474 | 5.6433 | 325.5707 | 6.348 | 321.108 | 18.1133 | 886.1333 | 97.1133 | 31.7627
2020-09-16 20:45:00 | 5.492 | 334.62 | 5.84 | 316.894 | 5.484 | 327.258 | 6.144 | 318.514 | 18.12 | 887 | 97.3 | 33.186
2020-09-16 21:00:00 | 5.029 | 332.38 | 5.357 | 317.634 | 5.368 | 325.068 | 5.887 | 319.258 | 18.08 | 887 | 94.64 | 30.033
2020-09-16 21:15:00 | 4.812 | 330.5667 | 5.2113 | 288.5947 | 5.3187 | 323.2947 | 5.93 | 290.0687 | 18.04 | 887 | 94.26 | 24.644
2020-09-16 21:30:00 | 4.809 | 329.88 | 5.2 | 310.554 | 5.124 | 322.622 | 5.781 | 312.142 | 18.13 | 887 | 94.97 | 24.228
2020-09-16 21:45:00 | 5.546 | 328.11 | 5.966 | 310.349 | 6.082 | 320.891 | 6.732 | 311.936 | 18.23 | 887.2 | 94.14 | 31.3
2020-09-16 22:00:00 | 5.42 | 333.14 | 5.816 | 314.524 | 6.116 | 325.81 | 6.662 | 316.132 | 18.28 | 887.6 | 93.98 | 32.158
2020-09-16 22:15:00 | 5.51 | 333.42 | 5.985 | 317.86 | 6.159 | 326.085 | 6.873 | 319.484 | 18.38 | 887.2 | 94.03 | 31.675
2020-09-16 22:30:00 | 5.9967 | 328.92 | 6.394 | 314.9093 | 6.7 | 321.6827 | 7.2547 | 316.52 | 18.4733 | 888 | 93.8133 | 37.1327
2020-09-16 22:45:00 | 5.744 | 329.9 | 6.104 | 311.766 | 6.534 | 322.64 | 6.992 | 313.36 | 18.48 | 888 | 92.96 | 34.646
2020-09-16 23:00:00 | 5.386 | 328.22 | 5.794 | 314.809 | 5.986 | 320.999 | 6.587 | 316.418 | 18.47 | 888 | 93.91 | 28.791
2020-09-16 23:15:00 | 5.776 | 339.38 | 6.252 | 324.638 | 6.224 | 331.912 | 7.006 | 326.3 | 18.32 | 888 | 94.9 | 34.368
2020-09-16 23:30:00 | 6.113 | 334.64 | 6.552 | 319.533 | 6.442 | 327.279 | 7.184 | 321.165 | 18.24 | 888 | 94.26 | 36.804
2020-09-16 23:45:00 | 5.2027 | 330.02 | 5.5473 | 320.934 | 5.6873 | 322.76 | 6.202 | 322.5753 | 18.0467 | 888 | 94.5067 | 28.3007