## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-17 00:00:00 | 5.034 | 330.64 | 5.398 | 323.638 | 5.572 | 323.364 | 6.104 | 325.294 | 17.9 | 888 | 94.52 | 27.958
2020-09-17 00:15:00 | 4.849 | 336.8 | 5.125 | 329.625 | 5.272 | 329.391 | 5.676 | 331.312 | 17.63 | 888 | 94.47 | 25.848
2020-09-17 00:30:00 | 5.788 | 325.54 | 6.102 | 325.364 | 6.66 | 318.376 | 7.004 | 327.026 | 17.56 | 888 | 94.18 | 32.94
2020-09-17 00:45:00 | 5.896 | 331.48 | 6.381 | 322.487 | 6.767 | 324.188 | 7.428 | 324.135 | 17.39 | 888 | 93.32 | 37.103
2020-09-17 01:00:00 | 6.4193 | 334.4467 | 6.9893 | 322.2953 | 7.1907 | 327.088 | 8.046 | 323.9447 | 17.52 | 888 | 94.6933 | 38.8447
2020-09-17 01:15:00 | 6.237 | 337.13 | 6.86 | 321.303 | 6.843 | 329.712 | 7.848 | 322.945 | 17.28 | 888 | 94.43 | 38.059
2020-09-17 01:30:00 | 6.353 | 334.08 | 6.848 | 323.914 | 7.045 | 326.731 | 7.785 | 325.569 | 17.42 | 888 | 95.47 | 37.607
2020-09-17 01:45:00 | 5.748 | 326.12 | 6.168 | 320.102 | 6.504 | 318.944 | 7.082 | 321.736 | 17.34 | 888 | 96.4 | 34.366
2020-09-17 02:00:00 | 5.947 | 334.09 | 6.369 | 320.803 | 6.51 | 326.74 | 7.15 | 322.443 | 17.36 | 888 | 96.06 | 35.444
2020-09-17 02:15:00 | 6.5153 | 339.3867 | 7.0287 | 322.1927 | 7.244 | 331.9213 | 8.0073 | 323.8393 | 17.2733 | 888 | 96.7267 | 42.348
2020-09-17 02:30:00 | 6.494 | 338.44 | 7.052 | 320.43 | 7.184 | 330.994 | 8.04 | 322.07 | 17.16 | 888 | 97.52 | 40.828
2020-09-17 02:45:00 | 6.208 | 337.4 | 6.66 | 325.05 | 6.91 | 329.978 | 7.578 | 326.71 | 17.28 | 888 | 98.04 | 39.396
2020-09-17 03:00:00 | 6.708 | 342.11 | 7.169 | 326.955 | 7.56 | 334.584 | 8.185 | 328.627 | 17.04 | 888 | 99.48 | 41.275
2020-09-17 03:15:00 | 6.9047 | 347.66 | 7.494 | 331.4187 | 7.7733 | 340.0113 | 8.6353 | 333.1133 | 16.5733 | 888 | 99.96 | 44.0487
2020-09-17 03:30:00 | 6.996 | 344.98 | 7.56 | 328.334 | 7.734 | 337.39 | 8.591 | 330.014 | 16.34 | 888 | 100 | 44.192
2020-09-17 03:45:00 | 7.044 | 344.98 | 7.6 | 326.986 | 7.836 | 337.392 | 8.658 | 328.656 | 16.6 | 888 | 100 | 43.294
2020-09-17 04:00:00 | 6.969 | 345.03 | 7.63 | 325.391 | 7.775 | 337.44 | 8.795 | 327.054 | 16.23 | 888 | 100 | 44.454
2020-09-17 04:15:00 | 6.746 | 341.83 | 7.353 | 329.534 | 7.44 | 334.309 | 8.388 | 331.222 | 16.27 | 888 | 100 | 41.627
2020-09-17 04:30:00 | 7.4 | 347.24 | 7.994 | 325.32 | 8.314 | 339.6 | 9.182 | 326.986 | 16.16 | 888 | 100 | 44.394
2020-09-17 04:45:00 | 7.783 | 348.79 | 8.429 | 325.283 | 8.73 | 341.116 | 9.676 | 326.946 | 16.38 | 888 | 100 | 46.664
2020-09-17 05:00:00 | 8.3233 | 343.4733 | 8.958 | 326.072 | 9.2853 | 335.9173 | 10.2113 | 327.7387 | 16.52 | 888 | 100 | 49.7687
2020-09-17 05:15:00 | 8.429 | 340.82 | 9.089 | 323.453 | 9.215 | 333.323 | 10.241 | 325.108 | 16.77 | 888 | 100 | 51.475
2020-09-17 05:30:00 | 8.409 | 343.01 | 9.052 | 327.356 | 9.301 | 335.464 | 10.259 | 329.029 | 16.8 | 888 | 100 | 52.392
2020-09-17 05:45:00 | 8.146 | 342.58 | 8.7773 | 323.5547 | 9.0367 | 335.0427 | 9.9813 | 325.208 | 16.8933 | 888 | 100 | 48.2553
2020-09-17 06:00:00 | 7.698 | 345.14 | 8.292 | 327.726 | 8.64 | 337.546 | 9.506 | 329.402 | 16.96 | 888 | 100 | 46.488
2020-09-17 06:15:00 | 6.775 | 349.26 | 7.325 | 328.735 | 7.425 | 341.577 | 8.274 | 330.414 | 16.62 | 888 | 100 | 40.169
2020-09-17 06:30:00 | 6.7873 | 346.72 | 7.3313 | 329.3 | 7.6033 | 339.0913 | 8.3947 | 330.984 | 16.48 | 888 | 99.9867 | 40.842
2020-09-17 06:45:00 | 6.79 | 345.36 | 7.337 | 323.629 | 7.676 | 337.762 | 8.457 | 325.284 | 16.39 | 888 | 99.1 | 39.886
2020-09-17 07:00:00 | 6.619 | 343.4 | 7.089 | 325.558 | 7.315 | 335.845 | 8.004 | 327.222 | 16.45 | 888 | 98.39 | 41.881
2020-09-17 07:15:00 | 6.848 | 340.16 | 7.354 | 324.246 | 7.714 | 332.678 | 8.424 | 325.902 | 16.56 | 888 | 98.76 | 42.416
2020-09-17 07:30:00 | 6.341 | 346.74 | 6.798 | 324.109 | 7.238 | 339.111 | 7.845 | 325.766 | 16.71 | 888.7 | 99.23 | 40.106
2020-09-17 07:45:00 | 6.6027 | 340.0267 | 7.0493 | 328.3467 | 7.3867 | 332.5467 | 8.0033 | 330.0267 | 16.7533 | 889 | 99.7 | 41.3513
2020-09-17 08:00:00 | 6.49 | 345.33 | 6.926 | 325.41 | 7.232 | 337.733 | 7.845 | 327.074 | 16.46 | 889 | 99.48 | 40.452
2020-09-17 08:15:00 | 6.404 | 344.9667 | 6.8567 | 328.0087 | 7.2933 | 337.3773 | 7.896 | 329.684 | 16.3867 | 889.4667 | 98.0667 | 38.6933
2020-09-17 08:30:00 | 6.3 | 348.1 | 6.713 | 330.495 | 7.151 | 340.442 | 7.689 | 332.184 | 16.56 | 890 | 98.77 | 37.094
2020-09-17 08:45:00 | 5.744 | 316.76 | 6.044 | 325.351 | 6.74 | 309.79 | 7.02 | 327.016 | 16.87 | 890 | 97.32 | 33.01
2020-09-17 09:00:00 | 5.68 | 346.2 | 6.0367 | 323.998 | 6.5587 | 338.5827 | 6.98 | 325.6553 | 16.8267 | 890 | 95.18 | 33.0253
2020-09-17 09:15:00 | 5.913 | 340.53 | 6.278 | 319.942 | 6.704 | 332.499 | 7.174 | 321.579 | 17.24 | 890.2 | 92.95 | 33.908
2020-09-17 09:30:00 | 6.1087 | 339.96 | 6.4993 | 326.4227 | 6.7507 | 332.4807 | 7.3067 | 328.0933 | 17.88 | 891 | 91.8267 | 33.0987
2020-09-17 09:45:00 | 5.909 | 341.32 | 6.325 | 322.477 | 6.724 | 333.808 | 7.279 | 324.124 | 17.87 | 891 | 89.95 | 29.981
2020-09-17 10:00:00 | 5.442 | 341.98 | 5.77 | 323.551 | 6.308 | 334.454 | 6.682 | 325.206 | 18.36 | 891 | 88.54 | 22.9
2020-09-17 10:15:00 | 4.846 | 339.22 | 5.053 | 324.832 | 5.591 | 331.757 | 5.771 | 326.494 | 18.48 | 891.2 | 85.36 | 16.734
2020-09-17 10:30:00 | 4.841 | 335.94 | 5.096 | 327.923 | 5.649 | 328.549 | 5.9 | 329.599 | 18.64 | 892 | 82.74 | 17.693
2020-09-17 10:45:00 | 4.82 | 335.31 | 5.039 | 328.158 | 5.404 | 327.932 | 5.653 | 329.837 | 19.18 | 892 | 83.18 | 14.501
2020-09-17 11:00:00 | 4.5373 | 316.2867 | 4.7873 | 327.3547 | 5.0187 | 309.3293 | 5.356 | 329.0287 | 19.1933 | 892 | 79.9533 | 12.4253
2020-09-17 11:15:00 | 4.129 | 305.15 | 4.396 | 327.688 | 4.397 | 298.438 | 4.826 | 329.365 | 19.66 | 892 | 78.039 | 9.672
2020-09-17 11:30:00 | 3.931 | 266.15 | 4.231 | 304.53 | 4.583 | 260.296 | 4.961 | 306.087 | 20.15 | 892 | 75.176 | 9.003
2020-09-17 11:45:00 | 3.4273 | 311.88 | 3.708 | 331.516 | 3.9573 | 305.018 | 4.3353 | 333.212 | 20.6733 | 892 | 72.846 | 5.198
2020-09-17 12:00:00 | 3.207 | 302.22 | 3.502 | 328.453 | 3.51 | 295.572 | 3.985 | 330.132 | 21.15 | 892 | 71.535 | 4.295
2020-09-17 12:15:00 | 2.926 | 251.76 | 3.118 | 313.0327 | 3.4113 | 246.2207 | 3.6367 | 314.632 | 21.62 | 892 | 70.0473 | 3.4033
2020-09-17 12:30:00 | 2.773 | 236.74 | 2.903 | 300.96 | 3.361 | 231.533 | 3.441 | 302.498 | 21.8 | 892 | 68.417 | 3.376
2020-09-17 12:45:00 | 2.704 | 267.07 | 2.882 | 295.434 | 3.153 | 261.195 | 3.358 | 296.945 | 22.14 | 892 | 66.798 | 2.429
2020-09-17 13:00:00 | 2.3047 | 223.18 | 2.4133 | 158.5467 | 2.6573 | 218.2707 | 2.7653 | 159.358 | 22.58 | 892 | 66.4713 | 2.09
2020-09-17 13:15:00 | 2.566 | 255.14 | 2.7347 | 131.2533 | 2.922 | 249.5273 | 3.138 | 131.9247 | 22.9933 | 892 | 64.0147 | 2.412
2020-09-17 13:30:00 | 2.483 | 240.91 | 2.643 | 304.109 | 2.877 | 235.611 | 3.063 | 305.663 | 23.37 | 892 | 62.02 | 1.444
2020-09-17 13:45:00 | 1.8529 | 323.5 | 2.0471 | 198.5686 | 2.2836 | 316.3829 | 2.5286 | 199.5843 | 24.0143 | 892 | 59.5086 | 0.20467
2020-09-17 14:00:00 | 2.3847 | 305.36 | 2.5927 | 242.8447 | 2.8547 | 298.6433 | 3.1153 | 244.0853 | 24.2067 | 892 | 55.966 | 0.24933
2020-09-17 14:15:00 | 1.964 | 293.6 | 2.168 | 272.11 | 2.391 | 287.14 | 2.654 | 273.5 | 24.39 | 892 | 55.009 | 0.103
2020-09-17 14:30:00 | 1.8987 | 297.0267 | 2.104 | 285.1653 | 2.2387 | 290.4927 | 2.5307 | 286.6227 | 24.9267 | 892 | 52.6453 | 0
2020-09-17 14:45:00 | 1.6587 | 223.6933 | 1.6553 | 292.4687 | 1.9327 | 218.772 | 1.848 | 293.9627 | 24.76 | 892 | 52.4247 | 0
2020-09-17 15:00:00 | 1.522 | 261.15 | 1.626 | 243.171 | 1.554 | 255.405 | 1.743 | 244.412 | 24.89 | 891.3 | 52.236 | 0
2020-09-17 15:15:00 | 1.062 | 292.36 | 1.1973 | 326.9973 | 1.2013 | 285.928 | 1.416 | 328.67 | 26.0667 | 891 | 50.4933 | 0
2020-09-17 15:30:00 | 1.354 | 160.08 | 1.83 | 280.902 | 1.332 | 156.56 | 2.238 | 282.336 | 27.06 | 891 | 48.416 | 0
2020-09-17 15:45:00 | 1.511 | 174.74 | 1.806 | 67.247 | 1.973 | 170.894 | 2.395 | 67.591 | 26.75 | 891 | 44.337 | 0
2020-09-17 16:00:00 | 2.004 | 178.4533 | 2.1307 | 165.196 | 1.9433 | 174.528 | 2.2033 | 166.0413 | 24.9867 | 891 | 53.1307 | 0
2020-09-17 16:15:00 | 1.577 | 200.61 | 1.756 | 171.218 | 1.549 | 196.196 | 1.896 | 172.091 | 24.96 | 891 | 52.898 | 0
2020-09-17 16:30:00 | 1.506 | 185.83 | 1.678 | 192.695 | 1.569 | 181.742 | 1.877 | 193.681 | 25.11 | 891 | 51.678 | 0
2020-09-17 16:45:00 | 1.9227 | 190.4133 | 2.0547 | 151.3613 | 1.9773 | 186.2247 | 2.2113 | 152.1347 | 24.7867 | 891 | 53.4793 | 0
2020-09-17 17:00:00 | 2.374 | 198.86 | 2.513 | 164.715 | 2.855 | 194.485 | 2.984 | 165.556 | 24.45 | 891 | 55.84 | 0.751
2020-09-17 17:15:00 | 2.374 | 198.86 | 2.513 | 164.715 | 2.855 | 194.485 | 2.984 | 165.556 | 24.45 | 891 | 55.84 | 0.751
2020-09-17 17:30:00 | 2.374 | 198.86 | 2.513 | 164.715 | 2.855 | 194.485 | 2.984 | 165.556 | 24.45 | 891 | 55.84 | 0.751
2020-09-17 17:45:00 | 2.124 | 196.6333 | 2.28 | 169.3886 | 2.5483 | 194.5067 | 2.6333 | 172.67 | 23.9333 | 890 | 55.55 | 2.7414
2020-09-17 18:00:00 | 2.124 | 196.6333 | 2.28 | 169.3886 | 2.5483 | 194.5067 | 2.6333 | 172.67 | 23.9333 | 890 | 55.55 | 2.7414
2020-09-17 18:15:00 | 2.538 | 198.18 | 2.726 | 174.162 | 2.886 | 193.82 | 3.136 | 175.052 | 23.78 | 890 | 55.956 | 3.515
2020-09-17 18:30:00 | 3.47 | 203.25 | 3.767 | 177.585 | 4.05 | 198.779 | 4.446 | 178.493 | 23.32 | 890 | 57.002 | 13.666
2020-09-17 18:45:00 | 3.829 | 199.34 | 4.198 | 178.7 | 4.555 | 194.955 | 5.044 | 179.614 | 22.72 | 890 | 59.053 | 23.96
2020-09-17 19:00:00 | 4.536 | 203.38 | 4.944 | 180.42 | 5.336 | 198.904 | 5.876 | 181.342 | 22.2 | 889.6 | 59.654 | 36.418
2020-09-17 19:15:00 | 4.535 | 177.65 | 4.78 | 177.07 | 5.02 | 173.74 | 5.35 | 177.97 | 21.75 | 889 | 64.24 | 28.05
2020-09-17 19:30:00 | 4.275 | 185.07 | 4.451 | 168.89 | 4.696 | 180.998 | 4.907 | 169.755 | 21.64 | 889 | 67.113 | 25.754
2020-09-17 19:45:00 | 3.996 | 181.7 | 4.166 | 169.058 | 4.502 | 177.704 | 4.684 | 169.92 | 21.32 | 889 | 68.716 | 23.588
2020-09-17 20:00:00 | 3.591 | 175.29 | 3.745 | 168.246 | 3.97 | 171.436 | 4.155 | 169.106 | 21.08 | 889 | 69.997 | 19.228
2020-09-17 20:15:00 | 3.582 | 159.55 | 3.648 | 156.237 | 3.887 | 156.041 | 3.924 | 157.034 | 21.02 | 890 | 70.699 | 18.372
2020-09-17 20:30:00 | 3.49 | 134.96 | 3.556 | 151.726 | 3.974 | 131.99 | 3.962 | 152.504 | 20.9 | 890 | 70.714 | 17.218
2020-09-17 20:45:00 | 3.559 | 150.49 | 3.782 | 137.38 | 4.139 | 147.179 | 4.396 | 138.082 | 20.43 | 890 | 71.195 | 15.339
2020-09-17 21:00:00 | 3.808 | 145.9 | 3.97 | 135.355 | 4.248 | 142.691 | 4.427 | 136.047 | 20.21 | 890 | 72.236 | 15.418
2020-09-17 21:15:00 | 3.456 | 125.46 | 3.554 | 135.88 | 3.882 | 122.7 | 3.944 | 136.578 | 20.06 | 891 | 73.282 | 13.934
2020-09-17 21:30:00 | 3.552 | 134.61 | 3.673 | 132.656 | 3.957 | 131.649 | 4.071 | 133.332 | 19.95 | 891 | 73.853 | 13.17
2020-09-17 21:45:00 | 3.475 | 140.69 | 3.577 | 132.352 | 3.801 | 137.596 | 3.901 | 133.028 | 19.99 | 891 | 74.174 | 12.146
2020-09-17 22:00:00 | 3.56 | 132.82 | 3.716 | 126.826 | 3.932 | 129.896 | 4.12 | 127.474 | 19.86 | 891 | 74.03 | 12.4
2020-09-17 22:15:00 | 3.705 | 125.47 | 3.802 | 123.892 | 3.976 | 122.709 | 4.089 | 124.527 | 19.81 | 891 | 74.981 | 12.724
2020-09-17 22:30:00 | 3.6833 | 131.8067 | 3.7533 | 129.4413 | 4.018 | 128.9073 | 4.0573 | 130.1027 | 19.7 | 891 | 76.222 | 12.9393
2020-09-17 22:45:00 | 3.766 | 134.68 | 3.838 | 124.872 | 4.222 | 131.716 | 4.224 | 125.508 | 19.56 | 891 | 76.694 | 13.266
2020-09-17 23:00:00 | 3.656 | 135.51 | 3.782 | 129.975 | 3.925 | 132.528 | 4.084 | 130.64 | 19.31 | 891 | 77.375 | 12.271
2020-09-17 23:15:00 | 3.7393 | 133.1067 | 3.8753 | 125.458 | 4.1373 | 130.178 | 4.282 | 126.0993 | 19.2133 | 891 | 77.3687 | 11.612
2020-09-17 23:30:00 | 3.84 | 132.64 | 3.932 | 126.418 | 4.236 | 129.724 | 4.296 | 127.062 | 19.28 | 891 | 78.004 | 11.742
2020-09-17 23:45:00 | 3.64 | 132.99 | 3.749 | 121.773 | 4.043 | 130.062 | 4.138 | 122.392 | 18.99 | 891 | 79.388 | 10.088