## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-18 00:00:00 | 3.682 | 127.64 | 3.734 | 126.436 | 4.008 | 124.832 | 4.022 | 127.084 | 19 | 891 | 79.342 | 10.396
2020-09-18 00:15:00 | 3.584 | 136.58 | 3.743 | 128.833 | 3.974 | 133.574 | 4.163 | 129.492 | 18.7 | 891 | 80.26 | 10.069
2020-09-18 00:30:00 | 3.5367 | 137.4 | 3.692 | 130.556 | 3.8973 | 134.3773 | 4.09 | 131.224 | 18.6333 | 891 | 80.66 | 10.026
2020-09-18 00:45:00 | 3.582 | 135.01 | 3.718 | 131.826 | 3.957 | 132.038 | 4.108 | 132.498 | 18.58 | 891 | 81.08 | 10.358
2020-09-18 01:00:00 | 3.309 | 133.11 | 3.439 | 132.736 | 3.616 | 130.182 | 3.771 | 133.414 | 18.53 | 891 | 81.59 | 8.762
2020-09-18 01:15:00 | 3.1213 | 132.4933 | 3.2027 | 127.3087 | 3.4093 | 129.5787 | 3.4793 | 127.9613 | 18.4467 | 891 | 82.92 | 6.7013
2020-09-18 01:30:00 | 2.999 | 120.12 | 3.055 | 126.76 | 3.283 | 117.476 | 3.313 | 127.407 | 18.51 | 891 | 83.57 | 6.179
2020-09-18 01:45:00 | 3.011 | 134.5 | 3.117 | 128.482 | 3.245 | 131.541 | 3.38 | 129.137 | 18.33 | 891 | 83.92 | 5.596
2020-09-18 02:00:00 | 2.906 | 138.24 | 3.032 | 126.124 | 2.98 | 135.2 | 3.194 | 126.768 | 18.24 | 891 | 84.22 | 4.962
2020-09-18 02:15:00 | 2.864 | 128.92 | 3.037 | 128.186 | 3.175 | 126.084 | 3.415 | 128.842 | 18.17 | 891 | 84.06 | 3.335
2020-09-18 02:30:00 | 2.5127 | 136.4667 | 2.614 | 125.738 | 2.808 | 133.4633 | 2.9173 | 126.3813 | 18.2533 | 891 | 84.0333 | 2.2933
2020-09-18 02:45:00 | 2.588 | 132.63 | 2.669 | 128.655 | 2.904 | 129.712 | 2.972 | 129.314 | 18.25 | 891 | 85.11 | 2.695
2020-09-18 03:00:00 | 2.492 | 130.74 | 2.624 | 123.8673 | 2.8293 | 127.8647 | 2.984 | 124.5 | 18.1533 | 891 | 84.46 | 1.8
2020-09-18 03:15:00 | 2.762 | 132.36 | 2.911 | 125.887 | 3.02 | 129.45 | 3.228 | 126.532 | 18.09 | 891 | 85.04 | 2.572
2020-09-18 03:30:00 | 2.653 | 131.09 | 2.785 | 127.893 | 3.002 | 128.206 | 3.155 | 128.546 | 18.11 | 891 | 86.61 | 2.651
2020-09-18 03:45:00 | 2.43 | 136.72 | 2.524 | 136.374 | 2.75 | 133.714 | 2.83 | 137.07 | 18 | 890 | 86.94 | 1.79
2020-09-18 04:00:00 | 2.259 | 137.83 | 2.301 | 125.488 | 2.565 | 134.797 | 2.562 | 126.127 | 18.07 | 890 | 85.68 | 1.005
2020-09-18 04:15:00 | 2.409 | 128.26 | 2.561 | 129.066 | 2.577 | 125.438 | 2.817 | 129.726 | 17.97 | 890 | 85.08 | 1.17
2020-09-18 04:30:00 | 2.44 | 123.44 | 2.578 | 128.978 | 2.664 | 120.724 | 2.864 | 129.638 | 17.86 | 890 | 85.66 | 1.066
2020-09-18 04:45:00 | 2.391 | 122.17 | 2.526 | 123.539 | 2.472 | 119.482 | 2.705 | 124.173 | 17.81 | 890 | 87.69 | 1.219
2020-09-18 05:00:00 | 2.3593 | 125.8533 | 2.466 | 126.246 | 2.4133 | 123.0853 | 2.598 | 126.8927 | 17.78 | 890 | 89.82 | 0.94
2020-09-18 05:15:00 | 2.317 | 128.47 | 2.442 | 122.729 | 2.445 | 125.644 | 2.649 | 123.357 | 17.77 | 890 | 90.88 | 0.776
2020-09-18 05:30:00 | 1.995 | 125.54 | 2.117 | 117.525 | 2.202 | 122.778 | 2.376 | 118.127 | 17.79 | 890 | 90.43 | 0.532
2020-09-18 05:45:00 | 1.9773 | 122.98 | 2.0833 | 115.7513 | 2.152 | 120.2747 | 2.3027 | 116.3407 | 17.5333 | 890 | 89.8067 | 0.832
2020-09-18 06:00:00 | 2.287 | 115.71 | 2.452 | 121.136 | 2.462 | 113.166 | 2.725 | 121.754 | 17.51 | 890 | 90.73 | 0.729
2020-09-18 06:15:00 | 2.128 | 120.96 | 2.208 | 128 | 2.247 | 118.3 | 2.373 | 128.655 | 17.67 | 890 | 91.02 | 0.672
2020-09-18 06:30:00 | 1.776 | 118.6 | 1.836 | 109.788 | 1.792 | 115.99 | 1.9 | 110.354 | 17.6 | 890 | 92.2 | 0.368
2020-09-18 06:45:00 | 1.885 | 138.49 | 1.941 | 135.376 | 1.941 | 135.443 | 2.036 | 136.069 | 17.3 | 890 | 94.43 | 0.736
2020-09-18 07:00:00 | 1.941 | 137.99 | 1.991 | 129.751 | 1.959 | 134.953 | 2.052 | 130.415 | 17.4 | 890 | 94.46 | 0.937
2020-09-18 07:15:00 | 2.22 | 122.52 | 2.2967 | 135.9867 | 2.304 | 119.824 | 2.4267 | 136.682 | 17.46 | 890 | 94.6867 | 1.6193
2020-09-18 07:30:00 | 2.073 | 129.69 | 2.137 | 137.116 | 2.179 | 126.837 | 2.271 | 137.815 | 17.6 | 890 | 94.66 | 1.067
2020-09-18 07:45:00 | 1.847 | 158.83 | 1.897 | 134.25 | 1.912 | 155.336 | 1.99 | 134.937 | 17.36 | 891 | 90.97 | 0.85
2020-09-18 08:00:00 | 1.526 | 127.54 | 1.54 | 135.318 | 1.574 | 124.736 | 1.586 | 136.008 | 17.6 | 891 | 89.76 | 0.388
2020-09-18 08:15:00 | 1.457 | 134.51 | 1.511 | 159.531 | 1.75 | 131.551 | 1.767 | 160.349 | 17.16 | 891.2 | 88.36 | 0.703
2020-09-18 08:30:00 | 1.468 | 129.03 | 1.524 | 148.999 | 1.629 | 126.192 | 1.689 | 149.759 | 16.94 | 892 | 88.76 | 0.824
2020-09-18 08:45:00 | 1.494 | 124.72 | 1.594 | 167.844 | 1.708 | 121.976 | 1.836 | 168.7 | 17.14 | 892 | 87.16 | 1.058
2020-09-18 09:00:00 | 1.497 | 138.24 | 1.559 | 147.169 | 1.919 | 135.198 | 1.917 | 147.922 | 17.64 | 892 | 87.32 | 1.435
2020-09-18 09:15:00 | 1.872 | 141.6733 | 1.9167 | 138.1527 | 2.1893 | 138.5567 | 2.1833 | 138.8587 | 17.7533 | 892.5333 | 84.86 | 1.6047
2020-09-18 09:30:00 | 1.87 | 159.96 | 1.96 | 145.586 | 2.158 | 156.44 | 2.246 | 146.33 | 18.1 | 892.4 | 85.7 | 1.89
2020-09-18 09:45:00 | 2.077 | 165.31 | 2.089 | 147.913 | 2.227 | 161.673 | 2.21 | 148.668 | 18.07 | 893 | 87.18 | 2.108
2020-09-18 10:00:00 | 2.1479 | 153.4929 | 2.1636 | 135.2786 | 2.3214 | 150.115 | 2.3 | 135.9707 | 18.1357 | 893 | 85.8071 | 2.1993
2020-09-18 10:15:00 | 2.014 | 158.16 | 2.036 | 137.996 | 2.146 | 154.682 | 2.152 | 138.7 | 18.14 | 893 | 85 | 1.846
2020-09-18 10:30:00 | 2.151 | 165.88 | 2.207 | 136.177 | 2.465 | 162.231 | 2.48 | 136.873 | 18.4 | 893 | 84.04 | 1.712
2020-09-18 10:45:00 | 2.4653 | 170.1333 | 2.4973 | 134.7093 | 2.8687 | 166.39 | 2.8147 | 135.398 | 18.8533 | 893 | 82.4533 | 2.6527
2020-09-18 11:00:00 | 2.572 | 178.34 | 2.62 | 135.454 | 3.038 | 174.416 | 2.992 | 136.144 | 19.08 | 893.4 | 80.76 | 3.576
2020-09-18 11:15:00 | 2.613 | 177.78 | 2.661 | 133.782 | 3.119 | 173.869 | 3.066 | 134.466 | 19.34 | 893 | 80.305 | 5.12
2020-09-18 11:30:00 | 3.1473 | 174.5533 | 3.2347 | 138.6813 | 3.5833 | 170.7133 | 3.626 | 139.3893 | 19.6467 | 893 | 80.2833 | 7.362
2020-09-18 11:45:00 | 3.406 | 172.16 | 3.514 | 140.364 | 3.904 | 168.372 | 3.966 | 141.08 | 19.76 | 893 | 80.314 | 9.234
2020-09-18 12:00:00 | 3.983 | 167.52 | 4.053 | 133.888 | 4.491 | 163.835 | 4.482 | 134.574 | 19.64 | 893 | 78.786 | 11.647
2020-09-18 12:15:00 | 3.43 | 173.6467 | 3.5227 | 140.3173 | 3.7387 | 169.826 | 3.83 | 141.034 | 20.04 | 893 | 77.1933 | 9.0793
2020-09-18 12:30:00 | 3.666 | 172.6 | 3.734 | 134.574 | 3.968 | 168.804 | 4.014 | 135.26 | 19.92 | 893 | 76.588 | 8.134
2020-09-18 12:45:00 | 2.884 | 163.49 | 3.006 | 144.675 | 3.144 | 159.893 | 3.299 | 145.415 | 20.27 | 892.8 | 77.122 | 5.104
2020-09-18 13:00:00 | 2.8227 | 168.0067 | 3.0567 | 159.544 | 3.198 | 164.31 | 3.5333 | 160.3593 | 20.3333 | 892.6667 | 74.864 | 6.0467
2020-09-18 13:15:00 | 3.152 | 168.46 | 3.442 | 145.038 | 3.36 | 164.754 | 3.848 | 145.78 | 20.1 | 892 | 75.414 | 8.942
2020-09-18 13:30:00 | 3.542 | 177.48 | 3.802 | 162.25 | 4.101 | 173.576 | 4.432 | 163.08 | 19.58 | 892 | 77.169 | 9.686
2020-09-18 13:45:00 | 3.787 | 176.33 | 4.067 | 174.777 | 4.337 | 172.45 | 4.713 | 175.671 | 19.37 | 891.8 | 83.44 | 11.816
2020-09-18 14:00:00 | 3.274 | 173.56 | 3.5 | 163.23 | 3.6 | 169.74 | 3.936 | 164.064 | 19.38 | 891 | 87.84 | 7.254
2020-09-18 14:15:00 | 2.557 | 172.21 | 2.687 | 152.607 | 2.772 | 168.421 | 2.959 | 153.388 | 19.44 | 890.8 | 85.82 | 2.917
2020-09-18 14:30:00 | 1.929 | 172.17 | 2.09 | 167.726 | 2.137 | 168.383 | 2.384 | 168.584 | 19.42 | 890.7 | 84.26 | 1.593
2020-09-18 14:45:00 | 2.133 | 179.07 | 2.285 | 166.916 | 2.236 | 175.13 | 2.494 | 167.769 | 19.16 | 890 | 84.92 | 1.584
2020-09-18 15:00:00 | 1.9067 | 170.8467 | 2.0087 | 165.9027 | 2.0513 | 167.088 | 2.2067 | 166.7493 | 18.92 | 890 | 89.5533 | 0.96667
2020-09-18 15:15:00 | 1.902 | 168.82 | 1.988 | 167.552 | 2.172 | 165.106 | 2.26 | 168.408 | 19 | 890 | 90.3 | 1.022
2020-09-18 15:30:00 | 1.577 | 175.65 | 1.662 | 178.26 | 1.579 | 171.785 | 1.742 | 179.171 | 19 | 889 | 90.35 | 0.811
2020-09-18 15:45:00 | 1.66 | 201.72 | 1.7633 | 204.578 | 1.7813 | 197.2807 | 1.948 | 205.6233 | 18.8333 | 889 | 89.3467 | 0.32
2020-09-18 16:00:00 | 1.794 | 217.12 | 1.86 | 209.762 | 1.878 | 212.344 | 1.982 | 210.834 | 18.84 | 889 | 90.34 | 0.008
2020-09-18 16:15:00 | 1.913 | 208.21 | 2.014 | 187.081 | 2.113 | 203.631 | 2.246 | 188.038 | 19 | 889 | 90.62 | 0
2020-09-18 16:30:00 | 1.7987 | 207.1867 | 1.9267 | 200.6 | 2.084 | 202.6613 | 2.2453 | 201.6253 | 19.0933 | 889 | 91.8933 | 0
2020-09-18 16:45:00 | 0.96778 | 178.3778 | 1.0367 | 179.5844 | 0.96 | 174.4533 | 1.0944 | 180.5011 | 19.0778 | 889 | 91.8933 | 0
2020-09-18 17:00:00 | 1.511 | 199.61 | 1.624 | 194.73 | 1.659 | 195.219 | 1.83 | 195.725 | 18.95 | 889 | 92.25 | 0
2020-09-18 17:15:00 | 1.1273 | 218.42 | 1.1833 | 222.8727 | 1.246 | 213.6153 | 1.3187 | 224.0133 | 18.84 | 889 | 92.1333 | 0
2020-09-18 17:30:00 | 1.033 | 198.86 | 1.069 | 217.909 | 1.28 | 194.486 | 1.276 | 219.022 | 19 | 889 | 94.06 | 0
2020-09-18 17:45:00 | 0.975 | 248.81 | 1.029 | 218.787 | 1.242 | 243.335 | 1.267 | 219.905 | 19.16 | 889 | 95.49 | 0
2020-09-18 18:00:00 | 1.018 | 186.54 | 1.04 | 168.822 | 1.002 | 182.438 | 1.052 | 169.684 | 19.42 | 889 | 95.78 | 0
2020-09-18 18:15:00 | 0.497 | 246.35 | 0.528 | 219.356 | 0.737 | 240.931 | 0.726 | 220.476 | 19.16 | 889 | 95.13 | 0
2020-09-18 18:30:00 | 0.764 | 257.77 | 0.802 | 314.269 | 1.298 | 252.099 | 1.213 | 315.877 | 18.84 | 889 | 94.47 | 0.208
2020-09-18 18:45:00 | 0.502 | 223.7 | 0.524 | 239.18 | 0.824 | 218.778 | 0.772 | 240.402 | 19.06 | 889 | 93.3 | 0.246
2020-09-18 19:00:00 | 0.614 | 225.54 | 0.607 | 306.946 | 0.782 | 220.577 | 0.719 | 308.514 | 18.64 | 889 | 94.47 | 0.187
2020-09-18 19:15:00 | 0.316 | 175.84 | 0.309 | 254.007 | 0.471 | 171.97 | 0.414 | 255.305 | 18.98 | 889 | 95.54 | 0.08
2020-09-18 19:30:00 | 0.138 | 102.1 | 0.132 | 136.332 | 0.226 | 99.852 | 0.182 | 137.03 | 19.08 | 889 | 95.16 | 0
2020-09-18 19:45:00 | 1.034 | 51.12 | 1.005 | 307.327 | 1.281 | 49.995 | 1.151 | 308.898 | 18.49 | 889 | 95.42 | 0
2020-09-18 20:00:00 | 0.476 | 30.9 | 0.529 | 215.981 | 0.685 | 30.221 | 0.722 | 217.086 | 18.71 | 889 | 96.85 | 0
2020-09-18 20:15:00 | 0.384 | 41.58 | 0.418 | 280.548 | 0.508 | 40.664 | 0.536 | 281.982 | 18.92 | 889 | 96.72 | 0
2020-09-18 20:30:00 | 0.653 | 127.51 | 0.689 | 132.478 | 0.624 | 124.705 | 0.702 | 133.156 | 18.89 | 889 | 96.79 | 0.029
2020-09-18 20:45:00 | 0.843 | 134.1 | 0.869 | 142.603 | 0.935 | 131.148 | 0.96 | 143.332 | 18.83 | 889.2 | 95.78 | 0.088
2020-09-18 21:00:00 | 0.826 | 125.76 | 0.84 | 135.666 | 0.988 | 122.994 | 0.966 | 136.362 | 18.8 | 890 | 94.6 | 0
2020-09-18 21:15:00 | 0.642 | 144.2 | 0.685 | 140.859 | 0.747 | 141.027 | 0.797 | 141.581 | 18.9 | 890 | 94.48 | 0.143
2020-09-18 21:30:00 | 0.715 | 146.44 | 0.785 | 144.432 | 0.8 | 143.218 | 0.906 | 145.17 | 18.91 | 890 | 94.94 | 0.369
2020-09-18 21:45:00 | 0.672 | 148.2 | 0.734 | 137.506 | 0.724 | 144.938 | 0.824 | 138.21 | 18.96 | 890 | 94.18 | 0.312
2020-09-18 22:00:00 | 1.122 | 152.12 | 1.166 | 138.279 | 1.183 | 148.774 | 1.252 | 138.987 | 19.01 | 890 | 92.96 | 0.36
2020-09-18 22:15:00 | 0.874 | 165.55 | 0.929 | 144.998 | 0.92 | 161.908 | 1.013 | 145.739 | 18.91 | 890 | 89.97 | 0.221
2020-09-18 22:30:00 | 0.53 | 163.06 | 0.576 | 141.616 | 0.612 | 159.472 | 0.672 | 142.338 | 19 | 890 | 97.9 | 0
2020-09-18 22:45:00 | 0.999 | 149.4 | 1.043 | 135.648 | 1.098 | 146.116 | 1.157 | 136.342 | 18.91 | 890 | 99.91 | 0.183
2020-09-18 23:00:00 | 0.852 | 144.76 | 0.901 | 141.888 | 1.015 | 141.576 | 1.063 | 142.615 | 18.8 | 890 | 100 | 0.13
2020-09-18 23:15:00 | 0.786 | 147.7 | 0.81 | 136.04 | 0.892 | 144.452 | 0.916 | 136.734 | 18.8 | 890 | 100 | 0.246
2020-09-18 23:30:00 | 0.625 | 157.87 | 0.648 | 131.472 | 0.646 | 154.397 | 0.69 | 132.144 | 18.9 | 890 | 100 | 0.177
2020-09-18 23:45:00 | 0.408 | 135.28 | 0.409 | 108.733 | 0.339 | 132.305 | 0.36 | 109.291 | 18.99 | 890 | 100 | 0