## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-19 00:00:00 | 0.362 | 129.64 | 0.386 | 97.644 | 0.352 | 126.786 | 0.398 | 98.14 | 18.92 | 890 | 100 | 0
2020-09-19 00:15:00 | 0.641 | 123.24 | 0.666 | 118.865 | 0.63 | 120.53 | 0.683 | 119.474 | 18.81 | 890 | 100 | 0
2020-09-19 00:30:00 | 0.61667 | 140.7667 | 0.63933 | 130.2947 | 0.63133 | 137.6713 | 0.67333 | 130.9613 | 18.7067 | 890 | 100 | 0.042
2020-09-19 00:45:00 | 0.615 | 102.38 | 0.688 | 109.672 | 0.523 | 100.128 | 0.685 | 110.235 | 18.8 | 890 | 100 | 0
2020-09-19 01:00:00 | 0.773 | 109.92 | 0.859 | 112.686 | 0.749 | 107.501 | 0.917 | 113.261 | 18.78 | 889.3 | 100 | 0
2020-09-19 01:15:00 | 0.76 | 125.04 | 0.814 | 114.308 | 0.824 | 122.29 | 0.902 | 114.892 | 18.7 | 889 | 100 | 0.056
2020-09-19 01:30:00 | 0.7 | 134.24 | 0.774 | 123.991 | 0.671 | 131.286 | 0.818 | 124.623 | 18.66 | 889 | 100 | 0
2020-09-19 01:45:00 | 0.503 | 141.4 | 0.528 | 127.453 | 0.461 | 138.289 | 0.527 | 128.104 | 18.66 | 889 | 100 | 0
2020-09-19 02:00:00 | 0.494 | 169.48 | 0.542 | 151.022 | 0.558 | 165.752 | 0.63 | 151.796 | 18.54 | 889 | 100 | 0
2020-09-19 02:15:00 | 0.473 | 163.3 | 0.514 | 156.274 | 0.505 | 159.708 | 0.574 | 157.073 | 18.5 | 889 | 100 | 0
2020-09-19 02:30:00 | 0.50867 | 182.7133 | 0.536 | 172.4733 | 0.472 | 178.6927 | 0.536 | 173.354 | 18.5667 | 889 | 100 | 0
2020-09-19 02:45:00 | 0.236 | 162.96 | 0.234 | 181.203 | 0.212 | 159.375 | 0.218 | 182.132 | 18.71 | 889 | 100 | 0
2020-09-19 03:00:00 | 0.402 | 146.8 | 0.41 | 151.102 | 0.34 | 143.57 | 0.372 | 151.874 | 18.64 | 889 | 100 | 0.028
2020-09-19 03:15:00 | 0.395 | 145.88 | 0.427 | 145.742 | 0.357 | 142.672 | 0.43 | 146.487 | 18.59 | 888.2 | 100 | 0.07
2020-09-19 03:30:00 | 0.458 | 134.84 | 0.482 | 120.606 | 0.454 | 131.874 | 0.498 | 121.226 | 18.64 | 888.6 | 100 | 0.05
2020-09-19 03:45:00 | 0.479 | 149.08 | 0.544 | 139.218 | 0.549 | 145.8 | 0.653 | 139.93 | 18.55 | 888 | 100 | 0
2020-09-19 04:00:00 | 0.312 | 116.96 | 0.346 | 160.49 | 0.562 | 114.386 | 0.556 | 161.31 | 18.6 | 888 | 100 | 0
2020-09-19 04:15:00 | 0.34 | 153.33 | 0.377 | 182.22 | 0.561 | 149.85 | 0.565 | 183.152 | 18.57 | 888 | 100 | 0
2020-09-19 04:30:00 | 0.817 | 190.17 | 0.85 | 269 | 1.265 | 185.987 | 1.193 | 270.374 | 18.42 | 888 | 100 | 0
2020-09-19 04:45:00 | 0.578 | 183.9 | 0.626 | 201.156 | 0.702 | 179.852 | 0.756 | 202.184 | 18.52 | 888 | 100 | 0.038
2020-09-19 05:00:00 | 0.616 | 248.4 | 0.65 | 219.249 | 0.818 | 242.934 | 0.824 | 220.368 | 18.51 | 888 | 100 | 0
2020-09-19 05:15:00 | 0.719 | 254.81 | 0.745 | 241.068 | 1.17 | 249.204 | 1.084 | 242.3 | 18.3 | 888 | 100 | 0
2020-09-19 05:30:00 | 1.0113 | 254.9 | 0.95667 | 315.398 | 1.454 | 249.2933 | 1.222 | 317.01 | 17.12 | 888 | 100 | 0
2020-09-19 05:45:00 | 1.446 | 293.89 | 1.426 | 316.538 | 2.042 | 287.426 | 1.832 | 318.156 | 16.63 | 888 | 100 | 0.016
2020-09-19 06:00:00 | 1.098 | 268.6 | 1.101 | 316.099 | 1.595 | 262.691 | 1.459 | 317.714 | 16.8 | 888 | 100 | 0
2020-09-19 06:15:00 | 0.538 | 82.6 | 0.57 | 340.09 | 0.904 | 80.784 | 0.862 | 341.828 | 17.26 | 888 | 100 | 0.022
2020-09-19 06:30:00 | 0.5 | 91 | 0.505 | 248.773 | 0.729 | 88.998 | 0.668 | 250.045 | 17.26 | 888 | 100 | 0.353
2020-09-19 06:45:00 | 0.826 | 173.34 | 0.897 | 207.354 | 0.999 | 169.524 | 1.081 | 208.416 | 17.46 | 888 | 100 | 0.924
2020-09-19 07:00:00 | 0.468 | 150.72 | 0.544 | 278.634 | 0.504 | 147.404 | 0.634 | 280.056 | 17.42 | 888 | 100 | 0.496
2020-09-19 07:15:00 | 0.409 | 120.49 | 0.426 | 184.127 | 0.849 | 117.84 | 0.749 | 185.07 | 17.8 | 888 | 100 | 0.333
2020-09-19 07:30:00 | 0.72 | 172.98 | 0.767 | 88.44 | 0.941 | 169.174 | 0.963 | 88.893 | 17.79 | 888 | 100 | 0
2020-09-19 07:45:00 | 0.95667 | 132.34 | 0.992 | 261.0147 | 1.3093 | 129.43 | 1.2727 | 262.35 | 17.42 | 888 | 100 | 0
2020-09-19 08:00:00 | 1.023 | 75.18 | 1.052 | 89.711 | 0.895 | 73.527 | 0.992 | 90.17 | 17.36 | 888 | 100 | 0
2020-09-19 08:15:00 | 1.077 | 79.54 | 1.136 | 88.539 | 1.017 | 77.791 | 1.145 | 88.99 | 16.94 | 888.2 | 100 | 0
2020-09-19 08:30:00 | 1.132 | 92.98 | 1.142 | 118.162 | 1.146 | 90.932 | 1.16 | 118.764 | 16.74 | 889 | 100 | 0
2020-09-19 08:45:00 | 0.76 | 78.56 | 0.811 | 124.84 | 0.832 | 76.831 | 0.905 | 125.48 | 16.87 | 889 | 100 | 0
2020-09-19 09:00:00 | 0.85333 | 140.6333 | 0.91533 | 143.8513 | 0.802 | 137.5407 | 0.92933 | 144.5853 | 16.8867 | 889 | 100 | 0
2020-09-19 09:15:00 | 1.402 | 157.74 | 1.466 | 149.868 | 1.494 | 154.27 | 1.59 | 150.634 | 16.9 | 889 | 100 | 0
2020-09-19 09:30:00 | 2.695 | 147.17 | 2.831 | 145.556 | 2.792 | 143.932 | 3.024 | 146.298 | 16.66 | 889 | 100 | 0.045
2020-09-19 09:45:00 | 3.3267 | 163.1333 | 3.442 | 150.6647 | 3.4387 | 159.544 | 3.6287 | 151.434 | 16.8067 | 889 | 100 | 5.9453
2020-09-19 10:00:00 | 2.646 | 160.76 | 2.758 | 154.66 | 2.674 | 157.222 | 2.884 | 155.452 | 16.82 | 889.4 | 100 | 5.218
2020-09-19 10:15:00 | 3.441 | 183.13 | 3.599 | 173.194 | 3.841 | 179.1 | 4.024 | 174.079 | 16.83 | 889.2 | 100 | 8.886
2020-09-19 10:30:00 | 3.092 | 171.1067 | 3.228 | 159.198 | 3.402 | 167.3427 | 3.5727 | 160.012 | 16.74 | 890 | 100 | 8.1607
2020-09-19 10:45:00 | 3.036 | 173.04 | 3.228 | 165.654 | 3.364 | 169.23 | 3.634 | 166.502 | 16.7 | 890 | 100 | 5.56
2020-09-19 11:00:00 | 2.495 | 188.2 | 2.616 | 175.043 | 2.823 | 184.06 | 2.963 | 175.937 | 16.71 | 890 | 100 | 4.444
2020-09-19 11:15:00 | 2.1629 | 186.9857 | 2.2464 | 163.2221 | 2.4807 | 182.8729 | 2.5479 | 164.055 | 16.8571 | 890 | 100 | 3.4153
2020-09-19 11:30:00 | 2.476 | 211.92 | 2.548 | 176.45 | 2.858 | 207.258 | 2.89 | 177.352 | 16.84 | 890 | 100 | 3.074
2020-09-19 11:45:00 | 2.338 | 177.56 | 2.338 | 164.89 | 2.524 | 173.654 | 2.478 | 165.734 | 16.8 | 890 | 100 | 2.564
2020-09-19 12:00:00 | 2.5713 | 153.9333 | 2.6567 | 146.2687 | 2.826 | 150.5473 | 2.916 | 147.0173 | 16.84 | 890 | 100 | 2.4427
2020-09-19 12:15:00 | 2.644 | 140.76 | 2.828 | 135.746 | 3.106 | 137.662 | 3.314 | 136.438 | 16.94 | 890 | 100 | 4.182
2020-09-19 12:30:00 | 1.853 | 135.86 | 1.881 | 135.433 | 2.188 | 132.87 | 2.146 | 136.126 | 16.9 | 889 | 100 | 2.786
2020-09-19 12:45:00 | 1.9027 | 130.9467 | 1.9613 | 140.0107 | 2.0167 | 128.066 | 2.0967 | 140.726 | 17.2733 | 889 | 100 | 1.7727
2020-09-19 13:00:00 | 1.5567 | 129.8667 | 1.5722 | 130.2044 | 1.5711 | 127.0078 | 1.5967 | 130.87 | 17.2333 | 889 | 100 | 0.59
2020-09-19 13:15:00 | 1.184 | 140.08 | 1.176 | 107.394 | 1.113 | 136.997 | 1.117 | 107.944 | 17.53 | 889 | 100 | 0.224
2020-09-19 13:30:00 | 0.974 | 86.76 | 1.052 | 94.378 | 0.924 | 84.85 | 1.078 | 94.86 | 17.6 | 889 | 100 | 0
2020-09-19 13:45:00 | 1.141 | 77.9 | 1.21 | 73.995 | 1.12 | 76.186 | 1.257 | 74.374 | 17.81 | 889 | 100 | 0.199
2020-09-19 14:00:00 | 1.046 | 139.41 | 1.156 | 57.194 | 1.028 | 136.344 | 1.24 | 57.488 | 18.15 | 889 | 100 | 0.33
2020-09-19 14:15:00 | 0.582 | 58.7 | 0.616 | 122.856 | 0.66 | 57.41 | 0.702 | 123.484 | 18.16 | 888 | 100 | 0
2020-09-19 14:30:00 | 0.792 | 113.79 | 0.915 | 112.107 | 1.142 | 111.287 | 1.277 | 112.682 | 18.44 | 888 | 100 | 0.075
2020-09-19 14:45:00 | 0.674 | 186.64 | 0.67 | 322.328 | 0.82 | 182.534 | 0.77 | 323.978 | 17.98 | 888 | 100 | 0
2020-09-19 15:00:00 | 1.489 | 327.66 | 1.533 | 324.736 | 2.148 | 320.452 | 2.038 | 326.395 | 18.01 | 888 | 100 | 0
2020-09-19 15:15:00 | 1.792 | 227.54 | 1.912 | 328.176 | 2.22 | 222.5327 | 2.3227 | 329.854 | 17.6667 | 888 | 100 | 0.39533
2020-09-19 15:30:00 | 2.304 | 198.46 | 2.504 | 342.612 | 2.766 | 194.094 | 3.006 | 344.364 | 17.66 | 888 | 100 | 0.784
2020-09-19 15:45:00 | 2.486 | 182.36 | 2.595 | 324.119 | 3.07 | 178.349 | 3.104 | 325.775 | 17.81 | 888 | 100 | 1.091
2020-09-19 16:00:00 | 2.484 | 141.78 | 2.581 | 321.009 | 3.116 | 138.661 | 3.116 | 322.65 | 17.55 | 888 | 100 | 1.565
2020-09-19 16:15:00 | 2.332 | 141.5 | 2.422 | 328.492 | 2.892 | 138.386 | 2.902 | 330.168 | 17.64 | 887 | 100 | 1.112
2020-09-19 16:30:00 | 2.21 | 243.34 | 2.28 | 329.518 | 2.689 | 237.986 | 2.683 | 331.202 | 17.67 | 887 | 100 | 0.771
2020-09-19 16:45:00 | 1.79 | 246.8286 | 1.7436 | 314.3 | 2.2957 | 241.3979 | 2.0614 | 315.9079 | 17.65 | 887 | 100 | 0.21733
2020-09-19 17:00:00 | 1.978 | 259.98 | 1.948 | 317.42 | 2.444 | 313.938 | 2.25 | 319.042 | 17.64 | 887 | 100 | 0.246
2020-09-19 17:15:00 | 1.664 | 199.85 | 1.612 | 314.612 | 2.21 | 195.453 | 1.959 | 316.221 | 17.68 | 887 | 100 | 0.099
2020-09-19 17:30:00 | 2.458 | 292.08 | 2.509 | 312.97 | 3.016 | 285.656 | 2.954 | 314.569 | 17.59 | 887 | 100 | 1.268
2020-09-19 17:45:00 | 2.374 | 275.6 | 2.42 | 316.814 | 3.092 | 269.538 | 2.972 | 318.434 | 17.42 | 887 | 100 | 1.514
2020-09-19 18:00:00 | 2.552 | 300.55 | 2.645 | 312.149 | 3.271 | 293.937 | 3.24 | 313.744 | 17.39 | 887 | 100 | 1.811
2020-09-19 18:15:00 | 2.591 | 305.71 | 2.633 | 307.847 | 3.252 | 298.985 | 3.144 | 309.42 | 17.29 | 887 | 100 | 1.798
2020-09-19 18:30:00 | 2.286 | 278.64 | 2.302 | 293.888 | 2.884 | 272.512 | 2.742 | 295.39 | 17.18 | 887 | 100 | 1.022
2020-09-19 18:45:00 | 1.794 | 336.4 | 1.784 | 289.702 | 2.436 | 328.999 | 2.236 | 291.184 | 17.51 | 887 | 100 | 0.242
2020-09-19 19:00:00 | 1.608 | 243.33 | 1.598 | 326.543 | 2.26 | 237.977 | 2.055 | 328.215 | 17.76 | 887 | 100 | 0.229
2020-09-19 19:15:00 | 1.14 | 70.82 | 1.114 | 320.218 | 1.726 | 69.26 | 1.504 | 321.854 | 17.72 | 887 | 100 | 0
2020-09-19 19:30:00 | 1.186 | 212.76 | 1.188 | 317.399 | 1.68 | 208.079 | 1.545 | 319.023 | 17.69 | 887 | 100 | 0
2020-09-19 19:45:00 | 1.079 | 308.04 | 1.08 | 325.282 | 1.612 | 301.262 | 1.458 | 326.945 | 17.77 | 887 | 100 | 0.151
2020-09-19 20:00:00 | 1.198 | 279.26 | 1.242 | 333.166 | 1.738 | 273.114 | 1.662 | 334.868 | 17.8 | 887 | 100 | 0.028
2020-09-19 20:15:00 | 1.206 | 323.12 | 1.249 | 309.233 | 1.926 | 316.01 | 1.792 | 310.815 | 18.02 | 887 | 100 | 0.088
2020-09-19 20:30:00 | 1.567 | 321.14 | 1.548 | 309.926 | 2.224 | 314.075 | 1.997 | 311.512 | 18.02 | 887 | 100 | 0.127
2020-09-19 20:45:00 | 1.552 | 274.46 | 1.532 | 316.91 | 2.124 | 268.42 | 1.92 | 318.532 | 18.1 | 887 | 100 | 0.428
2020-09-19 21:00:00 | 2.243 | 209.64 | 2.242 | 315.366 | 2.686 | 205.027 | 2.557 | 316.979 | 17.93 | 887 | 100 | 0.183
2020-09-19 21:15:00 | 2.636 | 238.18 | 2.685 | 307.786 | 3.097 | 232.939 | 3.058 | 309.359 | 17.79 | 887 | 100 | 1.435
2020-09-19 21:30:00 | 2.682 | 321.36 | 2.722 | 326.614 | 3.356 | 314.29 | 3.238 | 328.284 | 17.52 | 887 | 100 | 2.362
2020-09-19 21:45:00 | 3.076 | 345.37 | 3.162 | 322.466 | 3.899 | 337.773 | 3.827 | 324.115 | 17.34 | 887 | 100 | 4.324
2020-09-19 22:00:00 | 3.612 | 337.9067 | 3.826 | 322.7267 | 4.378 | 330.472 | 4.5613 | 324.3753 | 17.24 | 887.6667 | 100 | 7.058
2020-09-19 22:15:00 | 3.62 | 282.7 | 3.882 | 325.03 | 4.32 | 276.48 | 4.616 | 326.69 | 17.2 | 887 | 100 | 6.612
2020-09-19 22:30:00 | 3.522 | 281.81 | 3.751 | 321.832 | 4.231 | 275.612 | 4.46 | 323.478 | 17.3 | 887 | 100 | 5.789
2020-09-19 22:45:00 | 3.7187 | 234.5667 | 3.9347 | 327.558 | 4.456 | 229.4047 | 4.6553 | 329.2333 | 17.3 | 887 | 100 | 7.0893
2020-09-19 23:00:00 | 4.052 | 269.08 | 4.278 | 327.766 | 4.86 | 263.16 | 5.054 | 329.442 | 17.16 | 887 | 100 | 9.064
2020-09-19 23:15:00 | 3.842 | 311.63 | 4.089 | 324.628 | 4.511 | 304.774 | 4.789 | 326.286 | 17.25 | 887 | 100 | 8.759
2020-09-19 23:30:00 | 4.4627 | 346.3867 | 4.7753 | 327.2973 | 5.2873 | 338.766 | 5.6433 | 328.972 | 16.8867 | 887 | 100 | 14.642
2020-09-19 23:45:00 | 4.604 | 344.72 | 4.91 | 322.894 | 5.39 | 337.138 | 5.744 | 324.548 | 16.82 | 887 | 100 | 16.11