## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-20 00:00:00 | 4.205 | 323.62 | 4.435 | 324.198 | 4.763 | 316.5 | 5.038 | 325.855 | 16.88 | 887 | 100 | 12.5
2020-09-20 00:15:00 | 3.8587 | 343.1867 | 4.102 | 327.2707 | 4.3653 | 335.638 | 4.678 | 328.9453 | 17.18 | 887 | 100 | 8.6887
2020-09-20 00:30:00 | 3.684 | 348.13 | 3.842 | 321.224 | 4.257 | 340.471 | 4.396 | 322.866 | 17.26 | 887 | 100 | 7.961
2020-09-20 00:45:00 | 3.56 | 302.37 | 3.692 | 320.833 | 4.416 | 295.717 | 4.421 | 322.473 | 17.17 | 887 | 100 | 7.243
2020-09-20 01:00:00 | 3.714 | 344.62 | 3.846 | 319.376 | 4.49 | 337.038 | 4.516 | 321.01 | 17.1 | 887 | 100 | 7.112
2020-09-20 01:15:00 | 3.491 | 344.67 | 3.712 | 324.51 | 4.026 | 337.087 | 4.291 | 326.169 | 16.92 | 887 | 100 | 6.552
2020-09-20 01:30:00 | 3.64 | 337.6467 | 3.7627 | 316.3633 | 4.322 | 330.2187 | 4.3587 | 317.9807 | 16.9 | 887 | 100 | 8.03
2020-09-20 01:45:00 | 3.424 | 297.03 | 3.463 | 319.199 | 4.262 | 290.495 | 4.099 | 320.833 | 16.96 | 887 | 100 | 6.68
2020-09-20 02:00:00 | 3.395 | 304.93 | 3.492 | 317.792 | 4.121 | 298.222 | 4.097 | 319.415 | 17.04 | 887 | 100 | 6.817
2020-09-20 02:15:00 | 3.628 | 318.7333 | 3.8127 | 319.428 | 4.3273 | 311.7227 | 4.4707 | 321.06 | 17.0667 | 887 | 100 | 7.494
2020-09-20 02:30:00 | 3.429 | 338.99 | 3.588 | 293.44 | 3.989 | 331.532 | 4.133 | 294.94 | 17.06 | 887 | 100 | 5.41
2020-09-20 02:45:00 | 2.706 | 207.78 | 2.848 | 333.224 | 2.892 | 203.208 | 3.112 | 334.93 | 17.1 | 887 | 100 | 1.688
2020-09-20 03:00:00 | 2.432 | 43.35 | 2.558 | 111.913 | 2.626 | 42.395 | 2.807 | 112.485 | 16.89 | 887 | 100 | 0.883
2020-09-20 03:15:00 | 1.7673 | 195.9933 | 1.8353 | 63.9473 | 1.8473 | 191.6813 | 1.954 | 64.2747 | 17.1 | 887 | 100 | 0
2020-09-20 03:30:00 | 1.43 | 279.52 | 1.472 | 217.84 | 1.484 | 273.37 | 1.55 | 218.952 | 17.38 | 887 | 100 | 0
2020-09-20 03:45:00 | 0.784 | 286.46 | 0.823 | 84.138 | 1.013 | 280.157 | 1.019 | 84.568 | 17.6 | 887 | 100 | 0
2020-09-20 04:00:00 | 0.832 | 257.14 | 0.87 | 320.568 | 1.264 | 251.48 | 1.208 | 322.208 | 17.28 | 886.6 | 100 | 0
2020-09-20 04:15:00 | 0.814 | 274.57 | 0.825 | 310.789 | 1.151 | 268.53 | 1.073 | 312.377 | 17.24 | 886 | 100 | 0
2020-09-20 04:30:00 | 0.455 | 156.82 | 0.476 | 264.813 | 0.664 | 153.37 | 0.64 | 266.166 | 17.04 | 886 | 100 | 0
2020-09-20 04:45:00 | 0.354 | 291.38 | 0.324 | 182.24 | 0.432 | 284.966 | 0.354 | 183.17 | 16.84 | 886 | 100 | 0
2020-09-20 05:00:00 | 0.602 | 207.76 | 0.585 | 168.361 | 0.532 | 203.19 | 0.519 | 169.223 | 16.71 | 886 | 100 | 0
2020-09-20 05:15:00 | 0.902 | 136.52 | 0.923 | 149.976 | 0.84 | 133.517 | 0.898 | 150.743 | 16.68 | 886 | 100 | 0
2020-09-20 05:30:00 | 1.358 | 152.88 | 1.374 | 161.956 | 1.396 | 149.516 | 1.414 | 162.784 | 16.72 | 886 | 100 | 0
2020-09-20 05:45:00 | 2.117 | 145.79 | 2.206 | 143.445 | 2.374 | 142.582 | 2.469 | 144.178 | 16.55 | 886 | 100 | 0.865
2020-09-20 06:00:00 | 1.9947 | 134.2867 | 2.074 | 132.472 | 2.1387 | 131.3333 | 2.248 | 133.1513 | 16.3867 | 886 | 100 | 1.4653
2020-09-20 06:15:00 | 1.997 | 126.77 | 2.095 | 124.244 | 2.177 | 123.981 | 2.315 | 124.879 | 16.22 | 885.8 | 100 | 1.554
2020-09-20 06:30:00 | 1.376 | 117.34 | 1.506 | 130.173 | 1.568 | 114.759 | 1.76 | 130.837 | 16.2 | 885 | 100 | 0
2020-09-20 06:45:00 | 0.836 | 119.72 | 0.884 | 99.148 | 1.072 | 117.088 | 1.096 | 99.656 | 16.26 | 885 | 100 | 0
2020-09-20 07:00:00 | 0.258 | 74.21 | 0.282 | 116.108 | 0.266 | 72.578 | 0.307 | 116.702 | 16.44 | 885 | 100 | 0
2020-09-20 07:15:00 | 0.529 | 281.06 | 0.564 | 91.999 | 0.694 | 274.877 | 0.711 | 92.471 | 16.51 | 885 | 100 | 0
2020-09-20 07:30:00 | 0.94467 | 92.64 | 1.018 | 108.452 | 1.016 | 90.602 | 1.132 | 109.008 | 16.5133 | 885 | 100 | 0
2020-09-20 07:45:00 | 0.492 | 215.39 | 0.532 | 262.887 | 0.672 | 210.652 | 0.693 | 264.232 | 16.44 | 885.2 | 100 | 0
2020-09-20 08:00:00 | 0.36 | 194.77 | 0.339 | 221.156 | 0.345 | 190.483 | 0.308 | 222.286 | 16.54 | 886 | 100 | 0
2020-09-20 08:15:00 | 0.186 | 187.86 | 0.168 | 303.472 | 0.206 | 183.726 | 0.162 | 305.026 | 16.5 | 886 | 100 | 0
2020-09-20 08:30:00 | 0.686 | 300.56 | 0.694 | 286.347 | 0.837 | 293.949 | 0.806 | 287.811 | 16.54 | 886 | 100 | 0
2020-09-20 08:45:00 | 0.87933 | 287.7733 | 0.88467 | 271.4087 | 1.1 | 281.4427 | 1.0473 | 272.7953 | 16.5267 | 886 | 100 | 0
2020-09-20 09:00:00 | 0.903 | 306.64 | 0.929 | 277.547 | 1.102 | 299.894 | 1.095 | 278.964 | 16.59 | 886 | 100 | 0
2020-09-20 09:15:00 | 0.494 | 301.58 | 0.525 | 256.93 | 0.535 | 294.946 | 0.581 | 258.243 | 16.8 | 886 | 100 | 0
2020-09-20 09:30:00 | 0.73 | 301.42 | 0.772 | 272.488 | 0.886 | 294.788 | 0.914 | 273.884 | 16.62 | 886.4 | 100 | 0
2020-09-20 09:45:00 | 0.568 | 330.46 | 0.654 | 235.464 | 0.87 | 323.189 | 0.942 | 236.669 | 17.05 | 887 | 100 | 0
2020-09-20 10:00:00 | 0.974 | 334.63 | 1.026 | 300.276 | 1.273 | 327.267 | 1.283 | 301.81 | 16.88 | 887 | 100 | 0
2020-09-20 10:15:00 | 1.0273 | 287.66 | 1.0347 | 320.6727 | 1.438 | 281.3307 | 1.336 | 322.3147 | 16.54 | 887 | 100 | 0
2020-09-20 10:30:00 | 1.4811 | 309.6444 | 1.4567 | 316.5133 | 1.9833 | 302.8322 | 1.7933 | 318.1311 | 16.4222 | 887 | 100 | 0
2020-09-20 10:45:00 | 1.738 | 301.37 | 1.733 | 311.112 | 1.939 | 294.74 | 1.872 | 312.701 | 16.58 | 887 | 100 | 0
2020-09-20 11:00:00 | 2.1173 | 336.2067 | 2.2353 | 328.7507 | 2.368 | 328.8113 | 2.5213 | 330.4313 | 16.5667 | 887 | 100 | 0
2020-09-20 11:15:00 | 2.164 | 306.5 | 2.212 | 328.666 | 2.442 | 299.758 | 2.456 | 330.347 | 16.62 | 886.8 | 100 | 0
2020-09-20 11:30:00 | 2.773 | 304.1 | 2.887 | 326.456 | 3.505 | 297.41 | 3.513 | 328.123 | 16.64 | 886 | 100 | 1.379
2020-09-20 11:45:00 | 2.8073 | 321.5867 | 2.9893 | 329.038 | 3.264 | 314.5113 | 3.4767 | 330.7193 | 16.82 | 886 | 100 | 1.75
2020-09-20 12:00:00 | 2.824 | 349.4 | 3.038 | 326.85 | 3.274 | 341.712 | 3.55 | 328.52 | 16.88 | 886 | 100 | 1.88
2020-09-20 12:15:00 | 2.564 | 342.7 | 2.753 | 324.802 | 3.008 | 335.16 | 3.242 | 326.465 | 16.84 | 886 | 100 | 1.586
2020-09-20 12:30:00 | 3.0479 | 337.4286 | 3.2643 | 329.6079 | 3.5329 | 330.0036 | 3.8014 | 331.2914 | 16.7357 | 886 | 100 | 3.1013
2020-09-20 12:45:00 | 3.364 | 346.56 | 3.62 | 322.152 | 3.862 | 338.936 | 4.206 | 323.798 | 16.82 | 886 | 100 | 4.684
2020-09-20 13:00:00 | 3.859 | 345.38 | 4.144 | 324.433 | 4.27 | 337.781 | 4.693 | 326.092 | 16.8 | 886 | 100 | 7.548
2020-09-20 13:15:00 | 3.981 | 341.43 | 4.296 | 328.238 | 4.483 | 333.918 | 4.937 | 329.914 | 16.82 | 886 | 100 | 8.581
2020-09-20 13:30:00 | 3.88 | 340.1 | 4.174 | 326.142 | 4.3 | 332.62 | 4.736 | 327.812 | 16.88 | 886 | 100 | 7.756
2020-09-20 13:45:00 | 3.606 | 343.8 | 3.848 | 326.994 | 3.941 | 336.237 | 4.305 | 328.666 | 17.04 | 886 | 100 | 6.468
2020-09-20 14:00:00 | 3.724 | 338.43 | 3.983 | 328.081 | 4.233 | 330.985 | 4.58 | 329.759 | 17.09 | 886 | 100 | 6.92
2020-09-20 14:15:00 | 3.9093 | 339.2533 | 4.1753 | 327.8313 | 4.342 | 331.79 | 4.7213 | 329.5067 | 17.0533 | 885 | 100 | 8.0953
2020-09-20 14:30:00 | 3.941 | 336.11 | 4.193 | 326.594 | 4.492 | 328.715 | 4.807 | 328.263 | 17.17 | 885 | 100 | 7.432
2020-09-20 14:45:00 | 3.4327 | 315.54 | 3.684 | 324.214 | 4.086 | 308.598 | 4.372 | 325.87 | 17.34 | 885 | 99.7667 | 6.504
2020-09-20 15:00:00 | 3.462 | 335.88 | 3.742 | 330.526 | 4.056 | 328.49 | 4.412 | 332.212 | 17.28 | 885 | 98.84 | 6.712
2020-09-20 15:15:00 | 3.777 | 334.58 | 4.083 | 328.061 | 4.403 | 327.219 | 4.806 | 329.738 | 17.36 | 885 | 98.8 | 7.76
2020-09-20 15:30:00 | 3.728 | 336.52 | 4.0373 | 331.2733 | 4.4727 | 329.116 | 4.8453 | 332.9673 | 17.42 | 885 | 98.9733 | 9.124
2020-09-20 15:45:00 | 3.892 | 342.87 | 4.243 | 334.143 | 4.715 | 335.325 | 5.149 | 335.852 | 17.25 | 885 | 98.95 | 10.469
2020-09-20 16:00:00 | 4.222 | 349.85 | 4.517 | 326.721 | 4.818 | 342.153 | 5.207 | 328.391 | 17.17 | 885 | 98.72 | 11.946
2020-09-20 16:15:00 | 4.266 | 344.36 | 4.646 | 324.48 | 5 | 336.782 | 5.504 | 326.138 | 17.12 | 885 | 98.4 | 13.552
2020-09-20 16:30:00 | 4.654 | 340.13 | 5.04 | 324.071 | 5.37 | 332.647 | 5.895 | 325.726 | 16.98 | 884 | 98.33 | 16.949
2020-09-20 16:45:00 | 4.965 | 340.79 | 5.413 | 323.278 | 5.67 | 333.292 | 6.315 | 324.931 | 17.04 | 884 | 98.61 | 20.061
2020-09-20 17:00:00 | 5.2293 | 343.5933 | 5.6553 | 330.7407 | 5.848 | 336.0353 | 6.4747 | 332.4313 | 16.8133 | 884 | 99.1733 | 22.7667
2020-09-20 17:15:00 | 5.286 | 345.33 | 5.686 | 330.867 | 5.957 | 337.733 | 6.521 | 332.558 | 16.83 | 884 | 99.1 | 23.026
2020-09-20 17:30:00 | 5.46 | 340.78 | 5.884 | 330.437 | 6.197 | 333.282 | 6.79 | 332.126 | 16.59 | 884 | 99.08 | 25.712
2020-09-20 17:45:00 | 5.336 | 342.08 | 5.7827 | 307.1187 | 6.022 | 334.554 | 6.6673 | 308.6893 | 16.5133 | 884 | 99.7067 | 25.1453
2020-09-20 18:00:00 | 5.4311 | 338.9667 | 5.8856 | 323.3267 | 6.2978 | 331.5122 | 6.9056 | 324.98 | 16.4556 | 884 | 99.7556 | 26.819
2020-09-20 18:15:00 | 5.632 | 343.14 | 6.053 | 333.322 | 6.407 | 335.591 | 6.986 | 335.027 | 16.41 | 884 | 99.4 | 27.878
2020-09-20 18:30:00 | 5.6833 | 334.92 | 6.1267 | 329.8213 | 6.5607 | 327.55 | 7.1487 | 331.5073 | 16.32 | 884 | 99.5067 | 29.7047
2020-09-20 18:45:00 | 5.452 | 339.2 | 5.978 | 322.758 | 6.244 | 331.736 | 7.012 | 324.408 | 16.3 | 884 | 99.7 | 30.38
2020-09-20 19:00:00 | 5.663 | 343.23 | 6.148 | 327.112 | 6.387 | 335.678 | 7.095 | 328.784 | 16.26 | 884 | 99.33 | 29.574
2020-09-20 19:15:00 | 5.852 | 343.1067 | 6.35 | 325.544 | 6.6353 | 335.5567 | 7.3487 | 327.2073 | 16.1267 | 884 | 99.94 | 31.5327
2020-09-20 19:30:00 | 5.964 | 343.42 | 6.45 | 326.984 | 6.818 | 335.864 | 7.49 | 328.656 | 16.2 | 884 | 100 | 32.452
2020-09-20 19:45:00 | 6.07 | 341.86 | 6.537 | 322.535 | 6.689 | 334.338 | 7.395 | 324.184 | 16.07 | 884 | 99.68 | 33.647
2020-09-20 20:00:00 | 6.074 | 339.5467 | 6.5707 | 324.416 | 6.8293 | 332.0773 | 7.5513 | 326.0733 | 16.0667 | 884 | 99.6933 | 33.9733
2020-09-20 20:15:00 | 6.148 | 341.3 | 6.652 | 323.952 | 6.982 | 333.792 | 7.692 | 325.608 | 15.96 | 884 | 99.88 | 33.18
2020-09-20 20:30:00 | 6.261 | 341.89 | 6.79 | 328.433 | 7.007 | 334.367 | 7.794 | 330.11 | 15.89 | 884 | 99.39 | 33.945
2020-09-20 20:45:00 | 6.1213 | 340.4533 | 6.5947 | 320.6267 | 6.9353 | 332.9633 | 7.5987 | 322.2673 | 16.04 | 884.4667 | 99.4467 | 33.92
2020-09-20 21:00:00 | 5.998 | 332.8 | 6.42 | 317.732 | 6.78 | 325.48 | 7.358 | 319.356 | 16.04 | 885 | 99.5 | 32.39
2020-09-20 21:15:00 | 5.66 | 337.35 | 6.127 | 321.851 | 6.46 | 329.928 | 7.112 | 323.497 | 16.02 | 885 | 99.5 | 30.178
2020-09-20 21:30:00 | 5.84 | 338.6667 | 6.3133 | 324.5013 | 6.7093 | 331.2167 | 7.3573 | 326.16 | 16.0267 | 885 | 99.24 | 32.38
2020-09-20 21:45:00 | 5.9289 | 333.4778 | 6.3944 | 326.2367 | 6.68 | 326.1411 | 7.3422 | 327.9078 | 16.0111 | 885 | 99.8333 | 32.555
2020-09-20 22:00:00 | 6.25 | 340.22 | 6.72 | 324.961 | 6.946 | 332.735 | 7.638 | 326.624 | 15.95 | 885 | 99.9 | 35.14
2020-09-20 22:15:00 | 6.52 | 339.05 | 6.9536 | 330.41 | 7.2329 | 331.5914 | 7.8514 | 332.0986 | 15.85 | 885 | 100 | 38.3147
2020-09-20 22:30:00 | 6.506 | 340.66 | 6.922 | 331.6 | 7.212 | 333.166 | 7.8 | 333.294 | 15.76 | 885 | 100 | 39.406
2020-09-20 22:45:00 | 6.605 | 346.49 | 7.095 | 327.992 | 7.253 | 338.866 | 8.002 | 329.669 | 15.59 | 885 | 100 | 38.667
2020-09-20 23:00:00 | 6.486 | 343.27 | 7.013 | 329.264 | 7.305 | 335.718 | 8.069 | 330.947 | 15.49 | 884.3 | 100 | 39.9
2020-09-20 23:15:00 | 6.692 | 340.64 | 7.198 | 323.05 | 7.52 | 333.146 | 8.24 | 324.706 | 15.56 | 884 | 100 | 39.638
2020-09-20 23:30:00 | 6.971 | 344.96 | 7.49 | 328.706 | 7.696 | 337.369 | 8.475 | 330.385 | 15.53 | 885 | 100 | 42.048
2020-09-20 23:45:00 | 7.126 | 345.24 | 7.655 | 329.342 | 7.848 | 337.646 | 8.645 | 331.027 | 15.48 | 884 | 100 | 43.79