## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-21 00:00:00 | 7.478 | 346.52 | 8.092 | 325.164 | 8.184 | 338.894 | 9.138 | 326.828 | 15.4 | 884 | 100 | 44.93
2020-09-21 00:15:00 | 7.471 | 346.8 | 8.052 | 326.789 | 8.262 | 339.17 | 9.137 | 328.459 | 15.45 | 884 | 100 | 44.047
2020-09-21 00:30:00 | 7.254 | 340.4 | 7.824 | 328.786 | 8.202 | 332.914 | 9.004 | 330.466 | 15.36 | 884 | 100 | 44.66
2020-09-21 00:45:00 | 7.218 | 342.29 | 7.771 | 324.097 | 7.842 | 334.761 | 8.71 | 325.758 | 15.43 | 884 | 100 | 42.933
2020-09-21 01:00:00 | 6.978 | 347.68 | 7.552 | 324.538 | 7.568 | 340.03 | 8.488 | 326.198 | 15.38 | 884 | 100 | 42.056
2020-09-21 01:15:00 | 7.17 | 341.28 | 7.732 | 321.361 | 7.803 | 333.772 | 8.684 | 323.004 | 15.46 | 884 | 100 | 43.635
2020-09-21 01:30:00 | 7.891 | 341.99 | 8.47 | 323.141 | 8.418 | 334.466 | 9.364 | 324.792 | 15.4 | 884 | 100 | 47.575
2020-09-21 01:45:00 | 7.678 | 344.24 | 8.266 | 324.598 | 8.158 | 336.666 | 9.134 | 326.258 | 15.5 | 884 | 100 | 46.408
2020-09-21 02:00:00 | 7.89 | 341.71 | 8.486 | 323.484 | 8.509 | 334.194 | 9.463 | 325.138 | 15.42 | 884 | 100 | 48.34
2020-09-21 02:15:00 | 7.976 | 344.88 | 8.604 | 327.925 | 8.846 | 337.294 | 9.787 | 329.601 | 15.42 | 884 | 100 | 47.332
2020-09-21 02:30:00 | 7.426 | 339.02 | 7.994 | 332.774 | 8.038 | 331.562 | 8.938 | 334.476 | 15.46 | 884 | 100 | 47.872
2020-09-21 02:45:00 | 6.953 | 346.62 | 7.592 | 334.036 | 7.874 | 338.995 | 8.815 | 335.744 | 15.17 | 884 | 100 | 45.271
2020-09-21 03:00:00 | 6.912 | 345.48 | 7.55 | 323.854 | 7.648 | 337.88 | 8.64 | 325.512 | 15 | 883.6 | 100 | 42.4
2020-09-21 03:15:00 | 6.974 | 345.21 | 7.497 | 325.117 | 7.627 | 337.615 | 8.436 | 326.778 | 15.04 | 883 | 100 | 45.072
2020-09-21 03:30:00 | 6.6807 | 338.88 | 7.2107 | 321.7947 | 7.422 | 331.4247 | 8.212 | 323.4407 | 15.0933 | 883 | 100 | 41.266
2020-09-21 03:45:00 | 6.532 | 338.85 | 7.061 | 317 | 7.269 | 331.396 | 8.054 | 318.621 | 15.05 | 883 | 100 | 41.014
2020-09-21 04:00:00 | 6.5947 | 335.0933 | 7.112 | 322.6553 | 7.3867 | 327.7207 | 8.1413 | 324.3047 | 15.16 | 883 | 100 | 43.6
2020-09-21 04:15:00 | 6.764 | 339.24 | 7.362 | 327.632 | 7.714 | 331.776 | 8.574 | 329.306 | 15.18 | 883 | 100 | 43.738
2020-09-21 04:30:00 | 7.042 | 339.85 | 7.538 | 328.441 | 7.744 | 332.373 | 8.475 | 330.119 | 15.12 | 883 | 100 | 42.944
2020-09-21 04:45:00 | 6.964 | 344.7 | 7.5047 | 324.664 | 7.8133 | 337.116 | 8.5933 | 326.3227 | 14.9867 | 883 | 100 | 44.3193
2020-09-21 05:00:00 | 6.746 | 341.2 | 7.322 | 329.838 | 7.522 | 333.694 | 8.38 | 331.526 | 14.9 | 883 | 100 | 45.758
2020-09-21 05:15:00 | 7.234 | 346.91 | 7.749 | 329.088 | 7.89 | 339.279 | 8.682 | 330.77 | 14.73 | 883 | 100 | 46.373
2020-09-21 05:30:00 | 7.1467 | 342.34 | 7.7447 | 329.1807 | 7.8947 | 334.8093 | 8.81 | 330.864 | 14.66 | 883 | 100 | 45.7007
2020-09-21 05:45:00 | 7.067 | 341.07 | 7.689 | 322.673 | 7.822 | 333.567 | 8.785 | 324.322 | 14.69 | 883 | 100 | 45.568
2020-09-21 06:00:00 | 7.215 | 349.67 | 7.803 | 332.989 | 8.091 | 341.978 | 8.947 | 334.691 | 14.62 | 883 | 100 | 44.736
2020-09-21 06:15:00 | 7.3 | 339.02 | 7.86 | 330.66 | 8.328 | 331.56 | 9.096 | 332.352 | 14.5 | 883 | 100 | 47.754
2020-09-21 06:30:00 | 7.343 | 345.48 | 7.997 | 332.862 | 8.101 | 337.879 | 9.124 | 334.563 | 14.49 | 882 | 100 | 49.247
2020-09-21 06:45:00 | 7.466 | 339.81 | 8.073 | 324.794 | 8.233 | 332.334 | 9.159 | 326.455 | 14.39 | 882 | 100 | 47.863
2020-09-21 07:00:00 | 7.586 | 344.86 | 8.178 | 329.37 | 8.406 | 337.276 | 9.29 | 331.052 | 14.3 | 882 | 100 | 46.294
2020-09-21 07:15:00 | 7.671 | 337.48 | 8.285 | 326.446 | 8.421 | 330.055 | 9.365 | 328.114 | 14.32 | 882 | 100 | 46.272
2020-09-21 07:30:00 | 7.2313 | 336.6467 | 7.832 | 321.2607 | 7.9373 | 329.24 | 8.8713 | 322.9027 | 14.3067 | 882.8 | 100 | 44.7267
2020-09-21 07:45:00 | 7.028 | 334.66 | 7.568 | 314.25 | 7.634 | 327.298 | 8.488 | 315.858 | 14.28 | 883 | 100 | 44.55
2020-09-21 08:00:00 | 7.214 | 340.18 | 7.776 | 324.157 | 7.855 | 332.697 | 8.733 | 325.815 | 14.3 | 883 | 100 | 46.653
2020-09-21 08:15:00 | 7.2921 | 335.3643 | 7.8564 | 318.1629 | 7.9586 | 327.9857 | 8.8336 | 319.7914 | 14.2357 | 883 | 100 | 47.1793
2020-09-21 08:30:00 | 7.262 | 330.5 | 7.81 | 313.39 | 7.942 | 323.23 | 8.784 | 314.992 | 14.2 | 883 | 100 | 46.874
2020-09-21 08:45:00 | 7.426 | 334.49 | 8.012 | 320.012 | 8.143 | 327.134 | 9.045 | 321.648 | 14.25 | 883.2 | 100 | 48.753
2020-09-21 09:00:00 | 7.328 | 327.9667 | 7.848 | 315.5613 | 8.1613 | 320.7507 | 8.9073 | 317.1753 | 14.2467 | 884 | 100 | 51.414
2020-09-21 09:15:00 | 7.394 | 335.43 | 7.978 | 319.131 | 8.101 | 327.208 | 8.991 | 320.428 | 14.17 | 884 | 100 | 52.5
2020-09-21 09:30:00 | 8.033 | 339.15 | 8.599 | 324.169 | 8.54 | 331.688 | 9.472 | 325.825 | 14.03 | 884 | 100 | 51.47
2020-09-21 09:45:00 | 8.246 | 339.4133 | 8.9127 | 328.4393 | 8.9813 | 331.9473 | 10.0273 | 330.1187 | 14.0867 | 884 | 100 | 56.3233
2020-09-21 10:00:00 | 8.495 | 340.38 | 9.113 | 329.617 | 9.32 | 332.891 | 10.252 | 331.301 | 14.1 | 884 | 100 | 57.691
2020-09-21 10:15:00 | 8.669 | 343.15 | 9.245 | 326.633 | 9.531 | 335.601 | 10.364 | 328.302 | 14.09 | 884 | 100 | 58.426
2020-09-21 10:30:00 | 8.4513 | 343.92 | 9.1053 | 325.2433 | 9.1467 | 336.3527 | 10.1793 | 326.906 | 14.04 | 884.1333 | 100 | 57.5193
2020-09-21 10:45:00 | 8.363 | 344.85 | 8.921 | 325.46 | 9.264 | 337.262 | 10.063 | 327.123 | 14.11 | 885 | 100 | 57.916
2020-09-21 11:00:00 | 8.392 | 271.81 | 9.018 | 327.836 | 9.314 | 265.83 | 10.238 | 329.51 | 14.13 | 885 | 100 | 59.488
2020-09-21 11:15:00 | 8.79 | 339.9 | 9.37 | 324.816 | 9.536 | 332.422 | 10.42 | 326.474 | 14.14 | 885 | 100 | 58.964
2020-09-21 11:30:00 | 8.69 | 339.63 | 9.196 | 321.264 | 9.617 | 332.158 | 10.308 | 322.907 | 14.27 | 885 | 100 | 58.849
2020-09-21 11:45:00 | 8.6427 | 341.6733 | 9.2233 | 322.6693 | 9.6307 | 334.156 | 10.4473 | 324.318 | 14.2867 | 884.5333 | 100 | 58.1507
2020-09-21 12:00:00 | 8.562 | 340.02 | 9.12 | 318.846 | 9.75 | 332.538 | 10.464 | 320.478 | 14.22 | 884 | 100 | 56.458
2020-09-21 12:15:00 | 8.312 | 347.95 | 8.958 | 330.075 | 9.718 | 340.297 | 10.529 | 331.763 | 14.29 | 884 | 100 | 58.943
2020-09-21 12:30:00 | 8.036 | 303.12 | 8.656 | 302.5147 | 9.4093 | 296.4507 | 10.1867 | 304.062 | 14.2933 | 884 | 100 | 59.7713
2020-09-21 12:45:00 | 7.918 | 343.94 | 8.55 | 323.288 | 9.12 | 336.372 | 9.956 | 324.942 | 14.24 | 884 | 100 | 59.876
2020-09-21 13:00:00 | 7.699 | 346.56 | 8.295 | 328.393 | 8.797 | 338.936 | 9.607 | 330.072 | 14.4 | 884.3 | 100 | 59.856
2020-09-21 13:15:00 | 7.754 | 322.5 | 8.2387 | 324.4487 | 8.788 | 315.404 | 9.4087 | 326.1073 | 14.4267 | 884 | 100 | 60.4067
2020-09-21 13:30:00 | 8.16 | 352.14 | 8.51 | 330.544 | 9.066 | 344.394 | 9.472 | 332.234 | 14.36 | 884 | 100 | 60.596
2020-09-21 13:45:00 | 8.344 | 310.49 | 8.747 | 300.228 | 9.043 | 303.659 | 9.611 | 301.761 | 14.5 | 884 | 100 | 60.509
2020-09-21 14:00:00 | 8.0893 | 323.9333 | 8.454 | 327.656 | 8.7693 | 316.8067 | 9.2753 | 329.3313 | 14.56 | 884 | 100 | 60.4147
2020-09-21 14:15:00 | 7.934 | 278.58 | 8.2 | 329.958 | 8.622 | 272.45 | 8.93 | 331.646 | 14.6 | 884 | 100 | 57.944
2020-09-21 14:30:00 | 7.504 | 244.95 | 7.889 | 319.279 | 8.472 | 239.561 | 8.92 | 320.91 | 14.91 | 884 | 100 | 58.693
2020-09-21 14:45:00 | 7.828 | 211.34 | 8.298 | 326.672 | 8.836 | 206.692 | 9.432 | 328.344 | 15.14 | 884 | 100 | 60.096
2020-09-21 15:00:00 | 7.879 | 307.26 | 8.258 | 330.751 | 9.069 | 300.501 | 9.439 | 332.441 | 15.5 | 884 | 100 | 60.435
2020-09-21 15:15:00 | 8.1927 | 322.5667 | 8.6467 | 286.658 | 9.3213 | 315.4687 | 9.8593 | 288.124 | 15.5133 | 884 | 100 | 60.6647
2020-09-21 15:30:00 | 8.69 | 349.32 | 9.16 | 336.1 | 9.616 | 341.636 | 10.24 | 337.82 | 15.58 | 884 | 100 | 59.824
2020-09-21 15:45:00 | 8.095 | 317.92 | 8.574 | 301.234 | 9.24 | 311.375 | 9.831 | 302.774 | 15.69 | 884 | 100 | 59.316
2020-09-21 16:00:00 | 9.278 | 285.93 | 9.648 | 274.212 | 9.938 | 279.64 | 10.454 | 275.613 | 15.89 | 884 | 100 | 59.298
2020-09-21 16:15:00 | 7.594 | 281.28 | 7.942 | 211.346 | 8.332 | 275.092 | 8.78 | 212.428 | 15.94 | 884 | 100 | 59.24
2020-09-21 16:30:00 | 7.577 | 211.75 | 7.887 | 338.211 | 8.436 | 207.091 | 8.777 | 339.941 | 16.08 | 884 | 100 | 60.115
2020-09-21 16:45:00 | 7.27 | 323.94 | 7.6007 | 249.4547 | 8.26 | 316.8127 | 8.602 | 250.7307 | 16.18 | 884.4667 | 100 | 58.1207
2020-09-21 17:00:00 | 6.85 | 350.76 | 7.178 | 343.22 | 7.756 | 343.042 | 8.118 | 344.974 | 16.1 | 885 | 99.96 | 57.676
2020-09-21 17:15:00 | 7.071 | 180.37 | 7.416 | 138.878 | 7.893 | 176.401 | 8.311 | 139.587 | 16.13 | 885 | 98.52 | 58.448
2020-09-21 17:30:00 | 7.373 | 178.92 | 7.737 | 339.18 | 8.36 | 174.982 | 8.761 | 340.914 | 16.11 | 885 | 97.82 | 57.836
2020-09-21 17:45:00 | 7.304 | 209.64 | 7.726 | 275.17 | 8.352 | 205.026 | 8.848 | 276.576 | 16.2 | 885 | 96.44 | 58.202
2020-09-21 18:00:00 | 6.474 | 147.71 | 6.889 | 308.022 | 7.636 | 144.459 | 8.084 | 309.596 | 16.14 | 885 | 96.81 | 57.052
2020-09-21 18:15:00 | 7.167 | 147.06 | 7.594 | 271.843 | 8.152 | 143.824 | 8.675 | 273.233 | 16.14 | 885 | 96.08 | 58.123
2020-09-21 18:30:00 | 7.146 | 144.04 | 7.46 | 339.932 | 8.014 | 140.87 | 8.354 | 341.672 | 16.1 | 885 | 95.5 | 57.528
2020-09-21 18:45:00 | 7.548 | 11.84 | 7.866 | 303.316 | 8.368 | 11.582 | 8.736 | 304.868 | 16.05 | 885 | 96.62 | 56.867
2020-09-21 19:00:00 | 6.8933 | 214.2067 | 7.384 | 293.062 | 7.9373 | 209.4953 | 8.5667 | 294.5587 | 15.8733 | 885 | 96.7467 | 56.7947
2020-09-21 19:15:00 | 6.54 | 146.68 | 7.104 | 332.48 | 7.948 | 143.454 | 8.608 | 334.182 | 15.7 | 885 | 96.82 | 56.088
2020-09-21 19:30:00 | 6.547 | 109.77 | 6.986 | 275.807 | 7.519 | 107.354 | 8.068 | 277.217 | 15.86 | 885 | 96.85 | 55.581
2020-09-21 19:45:00 | 7.1187 | 124.2467 | 7.6287 | 275.7373 | 8.0813 | 121.5133 | 8.7673 | 277.146 | 15.9133 | 885 | 97.18 | 54.348
2020-09-21 20:00:00 | 7.4711 | 122.9333 | 8.1011 | 302.6489 | 8.6156 | 120.2289 | 9.4722 | 304.1956 | 15.8778 | 885 | 95.9 | 57.36
2020-09-21 20:15:00 | 7.811 | 76.71 | 8.307 | 171.307 | 8.662 | 75.022 | 9.37 | 172.182 | 16.02 | 885 | 97 | 58.358
2020-09-21 20:30:00 | 7.6227 | 97.96 | 8.2413 | 297.99 | 8.8913 | 95.804 | 9.7013 | 299.5127 | 15.8 | 885 | 96.6333 | 55.4827
2020-09-21 20:45:00 | 8.362 | 210.36 | 8.916 | 277.458 | 9.315 | 205.733 | 10.097 | 278.876 | 15.85 | 885 | 96.69 | 57.54
2020-09-21 21:00:00 | 8.153 | 212.14 | 8.443 | 274.945 | 8.899 | 207.473 | 9.239 | 276.351 | 15.94 | 885 | 97.23 | 56.745
2020-09-21 21:15:00 | 7.542 | 349.56 | 8.004 | 334.104 | 8.458 | 341.87 | 9.062 | 335.812 | 15.76 | 886 | 98.3 | 58.224
2020-09-21 21:30:00 | 7.158 | 141.04 | 7.486 | 204.89 | 7.874 | 137.937 | 8.288 | 205.936 | 15.69 | 886 | 98.3 | 55.977
2020-09-21 21:45:00 | 6.8 | 215.9 | 7.162 | 270.691 | 7.674 | 211.15 | 8.106 | 272.073 | 15.68 | 886 | 98.82 | 55.612
2020-09-21 22:00:00 | 6.21 | 202.8 | 6.506 | 330.838 | 7.002 | 198.34 | 7.332 | 332.528 | 15.5 | 886 | 98.84 | 53.77
2020-09-21 22:15:00 | 6.179 | 315.76 | 6.555 | 336.178 | 7.139 | 308.815 | 7.575 | 337.898 | 15.34 | 886 | 98.14 | 54.929
2020-09-21 22:30:00 | 6.3547 | 256.6133 | 6.704 | 311.748 | 7.1227 | 250.968 | 7.5613 | 313.3407 | 15.36 | 886 | 96.6133 | 56.1353
2020-09-21 22:45:00 | 5.532 | 279.74 | 5.936 | 330.72 | 6.502 | 273.586 | 6.986 | 332.41 | 15.22 | 886 | 96.48 | 54.668
2020-09-21 23:00:00 | 6.293 | 209.19 | 6.688 | 301.498 | 6.849 | 204.587 | 7.44 | 303.039 | 15.36 | 887 | 96.62 | 52.468
2020-09-21 23:15:00 | 7.1093 | 277.5429 | 7.6014 | 291.7857 | 7.8614 | 271.4371 | 8.58 | 293.2793 | 15.4143 | 886 | 97.55 | 54.4073
2020-09-21 23:30:00 | 7.582 | 280.94 | 8.206 | 204.286 | 8.46 | 274.758 | 9.388 | 205.328 | 15.32 | 886 | 98.18 | 56.362
2020-09-21 23:45:00 | 7.781 | 246.61 | 8.411 | 307.707 | 8.754 | 241.185 | 9.662 | 309.281 | 15.25 | 886 | 98.32 | 53.84