## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-22 00:00:00 | 7.305 | 315.46 | 7.734 | 328.157 | 8.351 | 308.521 | 8.861 | 329.836 | 15.21 | 886 | 97.23 | 53.301
2020-09-22 00:15:00 | 7.21 | 349.78 | 7.544 | 329.586 | 8.166 | 342.084 | 8.522 | 331.27 | 15.14 | 886 | 97.8 | 53.808
2020-09-22 00:30:00 | 6.138 | 304.16 | 6.378 | 324.52 | 6.394 | 297.468 | 6.784 | 326.179 | 15.04 | 886 | 96.28 | 51.561
2020-09-22 00:45:00 | 6.2793 | 235.9533 | 6.316 | 326.222 | 6.562 | 230.7627 | 6.5513 | 327.8907 | 15.08 | 886 | 94.66 | 49.928
2020-09-22 01:00:00 | 6.1344 | 197.4111 | 6.4189 | 326.1956 | 6.6067 | 193.0667 | 7.0144 | 327.8644 | 14.9667 | 886 | 94.75 | 53.9033
2020-09-22 01:15:00 | 7.154 | 241.71 | 7.606 | 322.281 | 7.973 | 236.391 | 8.594 | 323.928 | 14.86 | 886 | 94.78 | 55.646
2020-09-22 01:30:00 | 7.996 | 302.18 | 8.32 | 328.1133 | 8.732 | 295.532 | 9.1387 | 329.7893 | 15.0933 | 886 | 93.8067 | 57.828
2020-09-22 01:45:00 | 9.332 | 309.03 | 9.728 | 325.372 | 10.307 | 302.231 | 10.778 | 327.034 | 15.08 | 886 | 94.55 | 60.521
2020-09-22 02:00:00 | 9.355 | 347.87 | 10.036 | 329.616 | 10.854 | 340.217 | 11.713 | 331.3 | 14.96 | 886 | 94.94 | 59.505
2020-09-22 02:15:00 | 8.4522 | 267.4 | 8.9556 | 328.0889 | 9.8867 | 261.5167 | 10.4267 | 329.7656 | 14.9111 | 886 | 96.1889 | 60.499
2020-09-22 02:30:00 | 9.17 | 345.39 | 9.79 | 339.621 | 10.386 | 337.791 | 11.209 | 341.357 | 15.04 | 886 | 96.93 | 60.388
2020-09-22 02:45:00 | 9.699 | 346.93 | 10.449 | 303.347 | 10.769 | 339.297 | 11.879 | 304.897 | 15.07 | 886 | 96.57 | 59.192
2020-09-22 03:00:00 | 9.418 | 279.12 | 10.114 | 331.092 | 10.708 | 272.978 | 11.66 | 332.784 | 14.82 | 886 | 96.08 | 59.61
2020-09-22 03:15:00 | 9.555 | 349.14 | 10.238 | 324.138 | 10.736 | 341.46 | 11.684 | 325.796 | 14.85 | 886 | 97.56 | 58.35
2020-09-22 03:30:00 | 8.2433 | 342.3467 | 8.804 | 305.9773 | 9.0933 | 334.8133 | 9.9087 | 307.5413 | 14.9133 | 886 | 96.9 | 58.2253
2020-09-22 03:45:00 | 8.108 | 344.38 | 8.725 | 295.569 | 9.117 | 336.803 | 9.992 | 297.083 | 14.81 | 886 | 97.33 | 58.66
2020-09-22 04:00:00 | 8.693 | 309.89 | 9.333 | 325.81 | 9.613 | 303.073 | 10.556 | 327.477 | 14.83 | 886 | 96.89 | 59.708
2020-09-22 04:15:00 | 8.404 | 344.08 | 8.906 | 324.736 | 9.118 | 336.512 | 9.866 | 326.396 | 14.78 | 886 | 96.56 | 58.078
2020-09-22 04:30:00 | 7.35 | 343.81 | 7.816 | 263.893 | 7.89 | 336.247 | 8.623 | 265.243 | 14.8 | 886 | 95.72 | 58.698
2020-09-22 04:45:00 | 7.6821 | 320.8214 | 8.0957 | 331.6407 | 8.3343 | 313.7629 | 8.9329 | 333.335 | 14.9429 | 886 | 95.0071 | 59.482
2020-09-22 05:00:00 | 7.122 | 277.32 | 7.41 | 322.25 | 7.818 | 271.22 | 8.164 | 323.898 | 14.9 | 886 | 95.46 | 57.852
2020-09-22 05:15:00 | 7.525 | 336.67 | 7.889 | 327.18 | 8.059 | 329.262 | 8.598 | 328.852 | 14.95 | 886 | 95.05 | 58.849
2020-09-22 05:30:00 | 8.1593 | 316.8533 | 8.56 | 327.3627 | 8.8593 | 309.8813 | 9.4193 | 329.0367 | 15.1133 | 885.8667 | 93.6533 | 57.9353
2020-09-22 05:45:00 | 7.414 | 275.64 | 7.654 | 326.106 | 7.958 | 269.574 | 8.266 | 327.772 | 15.14 | 885 | 93.62 | 55.718
2020-09-22 06:00:00 | 6.896 | 266.91 | 7.241 | 330.212 | 7.169 | 261.039 | 7.753 | 331.9 | 15.11 | 886 | 93.76 | 57.681
2020-09-22 06:15:00 | 6.77 | 293.7133 | 6.9887 | 324.0827 | 7.3327 | 287.2513 | 7.586 | 325.74 | 15.1733 | 886 | 93.0267 | 54.934
2020-09-22 06:30:00 | 7.008 | 281.2 | 7.12 | 329.802 | 7.37 | 275.012 | 7.482 | 331.488 | 15.28 | 886 | 93.24 | 53.224
2020-09-22 06:45:00 | 6.4 | 268.1 | 6.804 | 265.294 | 7.356 | 262.202 | 7.846 | 266.649 | 15.19 | 886 | 93.38 | 53.773
2020-09-22 07:00:00 | 7.2227 | 340.7867 | 7.512 | 325.2967 | 7.8667 | 333.2893 | 8.2293 | 326.9593 | 15.32 | 886.1333 | 92.62 | 56.2633
2020-09-22 07:15:00 | 7.53 | 279.55 | 7.828 | 321.781 | 8.457 | 273.399 | 8.76 | 323.426 | 15.39 | 887 | 92.98 | 57.497
2020-09-22 07:30:00 | 7.191 | 306.76 | 7.4 | 329.067 | 7.817 | 300.012 | 8.035 | 330.751 | 15.39 | 887 | 93.07 | 57.604
2020-09-22 07:45:00 | 7.232 | 341.12 | 7.45 | 330.76 | 7.522 | 333.618 | 7.856 | 332.45 | 15.42 | 887 | 91.7 | 57.652
2020-09-22 08:00:00 | 6.666 | 312.11 | 6.954 | 294.056 | 7.259 | 305.243 | 7.632 | 295.56 | 15.47 | 887 | 91.57 | 53.341
2020-09-22 08:15:00 | 6.488 | 277.9133 | 6.7807 | 328.3667 | 7.16 | 271.7993 | 7.5247 | 330.046 | 15.54 | 887 | 91.54 | 53.6007
2020-09-22 08:30:00 | 6.358 | 282.48 | 6.572 | 325.674 | 7.028 | 276.266 | 7.246 | 327.34 | 15.52 | 887.4 | 91.34 | 53.136
2020-09-22 08:45:00 | 6.84 | 315.91 | 7.143 | 328.119 | 7.56 | 308.96 | 7.93 | 329.796 | 15.6 | 888 | 92.35 | 53.695
2020-09-22 09:00:00 | 7.122 | 231.9133 | 7.4367 | 330.5453 | 8.1753 | 226.812 | 8.4667 | 332.2333 | 15.5867 | 888 | 91.68 | 54.2113
2020-09-22 09:15:00 | 6.852 | 209.92 | 7.278 | 272.332 | 7.474 | 205.3 | 8.104 | 273.724 | 15.62 | 888 | 92.02 | 52.328
2020-09-22 09:30:00 | 6.162 | 209.71 | 6.72 | 265.606 | 7.01 | 205.096 | 7.82 | 266.963 | 15.56 | 888 | 92.32 | 56.883
2020-09-22 09:45:00 | 6.4553 | 213.88 | 7.018 | 223.472 | 7.36 | 209.1747 | 8.1607 | 224.616 | 15.86 | 888 | 91.4 | 51.5927
2020-09-22 10:00:00 | 6.585 | 176.86 | 7.109 | 273.654 | 7.398 | 172.969 | 8.156 | 275.054 | 16 | 888 | 87.97 | 53.596
2020-09-22 10:15:00 | 6.258 | 309.89 | 6.684 | 296.668 | 7.169 | 303.072 | 7.709 | 298.183 | 16 | 889 | 88.28 | 50.034
2020-09-22 10:30:00 | 6.6347 | 321.4333 | 6.9447 | 305.7167 | 7.4907 | 314.3627 | 7.8333 | 307.2793 | 16.12 | 889 | 86.56 | 50.2727
2020-09-22 10:45:00 | 6.599 | 275.27 | 6.905 | 323.806 | 7.272 | 269.214 | 7.661 | 325.461 | 16.53 | 889 | 85.59 | 49.685
2020-09-22 11:00:00 | 6.211 | 339.93 | 6.584 | 288.501 | 7.133 | 332.452 | 7.574 | 289.974 | 16.45 | 889.7 | 82.82 | 46.544
2020-09-22 11:15:00 | 6.1513 | 325.52 | 6.5993 | 245.3073 | 7.014 | 318.358 | 7.6127 | 246.562 | 16.8533 | 890 | 84.52 | 47.19
2020-09-22 11:30:00 | 6.064 | 280.25 | 6.524 | 241.605 | 6.929 | 274.084 | 7.553 | 242.839 | 17.1 | 890 | 82.46 | 47.588
2020-09-22 11:45:00 | 6.268 | 349.03 | 6.678 | 207.991 | 7.006 | 341.35 | 7.57 | 209.055 | 17.15 | 890 | 78.238 | 45.408
2020-09-22 12:00:00 | 5.2853 | 278.0667 | 5.6233 | 267.9853 | 6.066 | 271.9507 | 6.4807 | 269.3547 | 17.1467 | 890 | 79.3453 | 39.7907
2020-09-22 12:15:00 | 5.278 | 316.92 | 5.626 | 329.47 | 6.356 | 309.948 | 6.705 | 331.154 | 17.65 | 890 | 80.8 | 38.808
2020-09-22 12:30:00 | 5.826 | 282.27 | 6.203 | 302.291 | 6.728 | 276.06 | 7.18 | 303.835 | 18.28 | 890 | 80.1 | 40.394
2020-09-22 12:45:00 | 5.5867 | 211.0133 | 6.05 | 314.5167 | 6.47 | 206.3707 | 7.09 | 316.1273 | 18.6267 | 890 | 74.18 | 34.6713
2020-09-22 13:00:00 | 4.633 | 182.29 | 4.861 | 298.837 | 5.27 | 178.281 | 5.521 | 300.365 | 18.76 | 890 | 74.161 | 28.668
2020-09-22 13:15:00 | 4.795 | 345.16 | 5.07 | 269.117 | 5.427 | 337.566 | 5.768 | 270.492 | 19.13 | 890 | 74.16 | 26.123
2020-09-22 13:30:00 | 4.47 | 298.72 | 4.6893 | 223.2967 | 5.05 | 292.1487 | 5.2953 | 224.438 | 19.0467 | 890 | 73.5353 | 26.2673
2020-09-22 13:45:00 | 4.57 | 112.03 | 4.82 | 269.283 | 5.166 | 109.565 | 5.47 | 270.66 | 19.11 | 890 | 74.533 | 23.249
2020-09-22 14:00:00 | 4.445 | 176.78 | 4.719 | 306.506 | 4.939 | 172.89 | 5.317 | 308.07 | 19.58 | 890 | 70.839 | 22.228
2020-09-22 14:15:00 | 4.5422 | 270.0222 | 4.8089 | 118.5978 | 5.35 | 264.08 | 5.6256 | 119.2056 | 19.9111 | 890 | 67.0736 | 24.9189
2020-09-22 14:30:00 | 4.992 | 244.8 | 5.284 | 138.866 | 5.605 | 239.414 | 5.978 | 139.576 | 20.17 | 890 | 66.266 | 27.692
2020-09-22 14:45:00 | 4.7513 | 193.5 | 4.938 | 164.824 | 5.534 | 189.2427 | 5.6613 | 165.6673 | 20.18 | 890 | 64.406 | 27.916
2020-09-22 15:00:00 | 5.023 | 309.04 | 5.399 | 209.31 | 5.912 | 302.241 | 6.362 | 210.381 | 20.44 | 889.3 | 65.753 | 30.124
2020-09-22 15:15:00 | 4.474 | 182.16 | 4.715 | 339.327 | 4.742 | 178.151 | 5.123 | 341.062 | 20.6 | 889 | 66.468 | 25.625
2020-09-22 15:30:00 | 4.24 | 210.76 | 4.414 | 215.924 | 4.872 | 206.122 | 5.018 | 217.028 | 20.68 | 889 | 64.098 | 24.034
2020-09-22 15:45:00 | 5.153 | 118.44 | 5.384 | 43.168 | 5.596 | 115.835 | 5.908 | 43.391 | 20.51 | 889 | 64.284 | 25.898
2020-09-22 16:00:00 | 4.374 | 25.66 | 4.729 | 211.688 | 4.646 | 25.096 | 5.243 | 212.77 | 20.71 | 889 | 63.703 | 24.627
2020-09-22 16:15:00 | 5.224 | 158.74 | 5.378 | 76.91 | 5.192 | 155.248 | 5.498 | 77.302 | 20.7 | 889 | 64.122 | 24.518
2020-09-22 16:30:00 | 5.543 | 91.87 | 5.896 | 43.501 | 5.904 | 89.85 | 6.475 | 43.725 | 20.74 | 889 | 62.013 | 31.655
2020-09-22 16:45:00 | 5.006 | 20.92 | 5.28 | 9.603 | 4.84 | 20.46 | 5.411 | 9.652 | 20.77 | 889 | 62.372 | 25.064
2020-09-22 17:00:00 | 4.9487 | 41.56 | 5.22 | 35.188 | 5.1373 | 40.6447 | 5.6 | 35.368 | 20.72 | 889 | 65.4087 | 23.562
2020-09-22 17:15:00 | 4.92 | 15.26 | 5.234 | 42.641 | 4.912 | 14.923 | 5.516 | 42.858 | 20.6 | 889 | 65.656 | 23.832
2020-09-22 17:30:00 | 5.175 | 48.69 | 5.383 | 10.553 | 5.261 | 47.619 | 5.632 | 10.607 | 20.35 | 889 | 66.321 | 26.786
2020-09-22 17:45:00 | 4.81 | 131.0533 | 4.9107 | 54.702 | 5.188 | 128.1707 | 5.274 | 54.982 | 20.1 | 889 | 69.724 | 24.0307
2020-09-22 18:00:00 | 4.403 | 217.08 | 4.558 | 308.609 | 4.863 | 212.305 | 5.025 | 310.185 | 19.97 | 889 | 71.551 | 20.156
2020-09-22 18:15:00 | 3.83 | 175.17 | 4.023 | 334.69 | 4.216 | 171.316 | 4.472 | 336.401 | 19.68 | 888 | 77.122 | 14.152
2020-09-22 18:30:00 | 3.8893 | 257.8467 | 4.062 | 326.496 | 4.1913 | 252.174 | 4.4327 | 328.1647 | 19.3333 | 888 | 79.7973 | 13.728
2020-09-22 18:45:00 | 3.638 | 243.48 | 3.807 | 338.008 | 4.02 | 238.122 | 4.234 | 339.735 | 19.17 | 888 | 81.84 | 11.455
2020-09-22 19:00:00 | 3.227 | 346.54 | 3.478 | 329.029 | 3.654 | 338.915 | 4.011 | 330.71 | 19.01 | 888 | 83.12 | 6.916
2020-09-22 19:15:00 | 3.792 | 348.7 | 4.072 | 326.592 | 4.222 | 341.028 | 4.632 | 328.264 | 18.76 | 888 | 84.96 | 11.02
2020-09-22 19:30:00 | 4.388 | 346.82 | 4.796 | 331.758 | 5.102 | 339.191 | 5.669 | 333.453 | 18.43 | 888 | 87.12 | 17.131
2020-09-22 19:45:00 | 4.934 | 343.32 | 5.407 | 329.253 | 5.614 | 335.765 | 6.312 | 330.937 | 18.09 | 888 | 87.84 | 23.565
2020-09-22 20:00:00 | 4.6827 | 303.9133 | 5.096 | 331.5613 | 5.262 | 297.1433 | 5.8807 | 333.256 | 18.1333 | 888 | 87.8867 | 19.236
2020-09-22 20:15:00 | 4.792 | 317.74 | 5.227 | 333.048 | 5.244 | 310.749 | 5.938 | 334.75 | 18.26 | 888 | 86.36 | 20.248
2020-09-22 20:30:00 | 4.898 | 349.23 | 5.315 | 334.506 | 5.302 | 341.546 | 5.976 | 336.215 | 18.25 | 888 | 87.9 | 19.55
2020-09-22 20:45:00 | 4.736 | 304.6133 | 5.134 | 333.818 | 5.024 | 297.9133 | 5.6993 | 335.526 | 18.0067 | 888 | 87.5667 | 17.688
2020-09-22 21:00:00 | 4.5678 | 349.4667 | 4.9844 | 333.9011 | 5.0056 | 341.7778 | 5.67 | 335.6067 | 17.9556 | 888.6667 | 87.9667 | 16.362
2020-09-22 21:15:00 | 4.532 | 351.76 | 4.917 | 331.326 | 4.848 | 344.021 | 5.487 | 333.02 | 17.8 | 889 | 87.77 | 14.368
2020-09-22 21:30:00 | 5.0033 | 346.5667 | 5.39 | 329.9707 | 5.4887 | 338.942 | 6.084 | 331.6573 | 17.7067 | 889 | 89.8733 | 19.8073
2020-09-22 21:45:00 | 5.246 | 352.08 | 5.671 | 321.008 | 5.677 | 344.334 | 6.36 | 322.65 | 17.69 | 889 | 90.39 | 23.146
2020-09-22 22:00:00 | 5.528 | 282.8 | 5.974 | 330.3 | 6.031 | 276.578 | 6.732 | 331.988 | 17.54 | 889 | 90.88 | 26.266
2020-09-22 22:15:00 | 5.402 | 323.9667 | 5.818 | 330.316 | 5.8253 | 316.8393 | 6.4927 | 332.0047 | 17.18 | 889 | 90.4933 | 26.6373
2020-09-22 22:30:00 | 5.43 | 351.32 | 5.856 | 328.568 | 5.9 | 343.592 | 6.572 | 330.25 | 17.04 | 889 | 90.64 | 27.9
2020-09-22 22:45:00 | 5.832 | 348.22 | 6.218 | 330.858 | 6.276 | 340.559 | 6.881 | 332.548 | 16.98 | 889.2 | 91.84 | 30.587
2020-09-22 23:00:00 | 5.9893 | 326.3933 | 6.412 | 328.5167 | 6.4927 | 319.2127 | 7.146 | 330.1953 | 16.78 | 890 | 93.2333 | 32.914
2020-09-22 23:15:00 | 5.988 | 351.65 | 6.417 | 331.719 | 6.486 | 343.913 | 7.158 | 333.414 | 16.54 | 889.8 | 94.6 | 32.119
2020-09-22 23:30:00 | 5.846 | 350.35 | 6.252 | 329.878 | 6.136 | 342.64 | 6.823 | 331.566 | 16.3 | 889 | 94.64 | 34.05
2020-09-22 23:45:00 | 5.5253 | 238.0533 | 6.0133 | 330.3027 | 6.0747 | 232.8167 | 6.8393 | 331.992 | 16.1533 | 890 | 95.0667 | 30.5707