## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-23 00:00:00 | 5.358 | 1.64 | 5.84 | 326.146 | 5.896 | 1.602 | 6.646 | 327.81 | 16.08 | 890 | 94.96 | 30.848
2020-09-23 00:15:00 | 5.2087 | 282.6667 | 5.694 | 329.1613 | 5.6787 | 276.4473 | 6.4647 | 330.8447 | 16.0133 | 890 | 95.38 | 27.02
2020-09-23 00:30:00 | 4.9553 | 213.7333 | 5.412 | 326.7113 | 5.356 | 209.0313 | 6.1053 | 328.3813 | 16.1 | 890 | 95.5933 | 23.0167
2020-09-23 00:45:00 | 5.196 | 316 | 5.624 | 319.484 | 5.78 | 309.048 | 6.422 | 321.116 | 16.3 | 890 | 95.36 | 24.606
2020-09-23 01:00:00 | 5.397 | 343.99 | 5.786 | 325.077 | 6.007 | 336.422 | 6.565 | 326.74 | 16.25 | 890 | 94.59 | 26.78
2020-09-23 01:15:00 | 5.218 | 344.83 | 5.646 | 327.756 | 5.607 | 337.244 | 6.307 | 329.431 | 16.19 | 890 | 94.9 | 28.155
2020-09-23 01:30:00 | 5.5714 | 349.0071 | 6.0429 | 330.425 | 5.985 | 341.3286 | 6.7571 | 332.1136 | 16.1143 | 889.9286 | 94.9714 | 32.9427
2020-09-23 01:45:00 | 5.6 | 349.68 | 6.118 | 320.53 | 6.276 | 341.988 | 7.054 | 322.168 | 16.1 | 889 | 95.22 | 34.634
2020-09-23 02:00:00 | 5.832 | 348.19 | 6.262 | 325.331 | 6.165 | 340.529 | 6.885 | 326.995 | 16.1 | 889 | 95.48 | 33.632
2020-09-23 02:15:00 | 6.3887 | 346.84 | 6.7747 | 332.768 | 6.846 | 339.2107 | 7.446 | 334.4673 | 16.1667 | 889 | 95.7467 | 37.1413
2020-09-23 02:30:00 | 5.976 | 348.1 | 6.38 | 326.487 | 6.637 | 340.442 | 7.214 | 328.155 | 16.16 | 889 | 95.31 | 34.34
2020-09-23 02:45:00 | 6.2007 | 346.8467 | 6.5893 | 324.8713 | 6.8033 | 339.2153 | 7.364 | 326.5333 | 16.0867 | 889 | 94.38 | 33.9353
2020-09-23 03:00:00 | 6.027 | 349.32 | 6.39 | 328.941 | 6.636 | 341.635 | 7.15 | 330.621 | 16.03 | 889 | 94.66 | 31.078
2020-09-23 03:15:00 | 6.3921 | 342.3857 | 6.8257 | 319.6593 | 7.075 | 334.8529 | 7.7021 | 321.2936 | 16.0643 | 889 | 95.3214 | 35.1721
2020-09-23 03:30:00 | 6.4787 | 318.7067 | 6.868 | 327.4853 | 6.9853 | 311.696 | 7.576 | 329.16 | 16.0667 | 888.8667 | 94.6467 | 38.5473
2020-09-23 03:45:00 | 6.789 | 347.22 | 7.232 | 325.519 | 7.536 | 339.582 | 8.16 | 327.183 | 16.09 | 888.2 | 95.02 | 40.276
2020-09-23 04:00:00 | 6.9407 | 319.5267 | 7.3687 | 328.778 | 7.582 | 312.496 | 8.2047 | 330.4587 | 16.0533 | 889 | 96.2267 | 40.726
2020-09-23 04:15:00 | 7.127 | 311.84 | 7.525 | 328.451 | 7.812 | 304.979 | 8.371 | 330.131 | 15.95 | 888.8 | 96.94 | 43.068
2020-09-23 04:30:00 | 7.363 | 346.84 | 7.882 | 327.386 | 8.227 | 339.209 | 8.953 | 329.058 | 15.72 | 888 | 97.07 | 45.08
2020-09-23 04:45:00 | 7.27 | 341.88 | 7.746 | 321.036 | 8.036 | 334.356 | 8.72 | 322.68 | 15.72 | 888 | 96.92 | 45.114
2020-09-23 05:00:00 | 6.805 | 346.36 | 7.189 | 325.506 | 7.461 | 338.741 | 8.003 | 327.172 | 15.71 | 888 | 96.76 | 43.554
2020-09-23 05:15:00 | 6.831 | 348.87 | 7.28 | 328.296 | 7.35 | 341.195 | 8.045 | 329.973 | 15.66 | 888 | 96.84 | 41.339
2020-09-23 05:30:00 | 6.868 | 349.36 | 7.312 | 326.124 | 7.37 | 341.674 | 8.074 | 327.79 | 15.64 | 888 | 97.2 | 41.746
2020-09-23 05:45:00 | 6.635 | 346.67 | 7.128 | 325.928 | 7.186 | 339.043 | 7.957 | 327.596 | 15.61 | 889 | 96.34 | 37.313
2020-09-23 06:00:00 | 6.346 | 355.16 | 6.765 | 330.241 | 6.789 | 347.346 | 7.461 | 331.931 | 15.75 | 889 | 96.04 | 33.47
2020-09-23 06:15:00 | 6.606 | 348.02 | 7.028 | 328.1 | 7.326 | 340.364 | 7.92 | 329.778 | 15.64 | 888 | 96.26 | 35.914
2020-09-23 06:30:00 | 5.928 | 145.74 | 6.41 | 323.16 | 6.603 | 142.532 | 7.326 | 324.812 | 15.55 | 889 | 96.8 | 30.93
2020-09-23 06:45:00 | 5.8436 | 296.5857 | 6.2064 | 321.9357 | 6.4957 | 290.0614 | 6.9943 | 323.5829 | 15.55 | 888.5714 | 96.8786 | 29.8407
2020-09-23 07:00:00 | 5.984 | 342.42 | 6.39 | 319.492 | 6.812 | 334.886 | 7.338 | 321.124 | 15.48 | 888.4 | 97.58 | 27.702
2020-09-23 07:15:00 | 6.067 | 344.17 | 6.445 | 322.592 | 6.784 | 336.598 | 7.296 | 324.243 | 15.7 | 889 | 96.92 | 31.537
2020-09-23 07:30:00 | 6.5643 | 347.4357 | 6.9964 | 325.03 | 7.3064 | 339.7929 | 7.9079 | 326.6936 | 15.6071 | 889 | 95.7929 | 36.61
2020-09-23 07:45:00 | 6.66 | 346.08 | 7.06 | 316.834 | 7.398 | 338.466 | 7.938 | 318.452 | 15.58 | 889 | 96.02 | 37.542
2020-09-23 08:00:00 | 6.61 | 347.7 | 7.057 | 327.581 | 7.394 | 340.051 | 8.01 | 329.254 | 15.74 | 889 | 95.73 | 36.704
2020-09-23 08:15:00 | 6.0667 | 339.9333 | 6.454 | 322.6813 | 6.6733 | 332.4547 | 7.234 | 324.3293 | 15.68 | 890 | 94.5733 | 33.13
2020-09-23 08:30:00 | 6.174 | 337.31 | 6.589 | 323.425 | 6.837 | 329.889 | 7.439 | 325.079 | 15.66 | 890 | 94.33 | 31.206
2020-09-23 08:45:00 | 6.046 | 334.49 | 6.507 | 315.072 | 6.857 | 327.131 | 7.5 | 316.683 | 15.69 | 890 | 93.61 | 32.517
2020-09-23 09:00:00 | 6.1147 | 340.4 | 6.5587 | 322.8653 | 6.7813 | 332.9113 | 7.43 | 324.5133 | 15.92 | 890 | 89.94 | 36.4893
2020-09-23 09:15:00 | 6.419 | 341.4 | 6.88 | 327.63 | 6.943 | 333.89 | 7.667 | 329.303 | 16.01 | 890 | 88.2 | 39.225
2020-09-23 09:30:00 | 6.394 | 347.82 | 6.923 | 332.383 | 7.155 | 340.168 | 7.936 | 334.083 | 16.13 | 890 | 89.98 | 41.05
2020-09-23 09:45:00 | 6.136 | 274.7 | 6.606 | 328.744 | 6.766 | 268.658 | 7.482 | 330.424 | 16.28 | 890 | 90.18 | 36.562
2020-09-23 10:00:00 | 5.846 | 318.84 | 6.334 | 338.604 | 6.231 | 311.827 | 7.047 | 340.334 | 16.31 | 891 | 89 | 30.037
2020-09-23 10:15:00 | 4.904 | 235.64 | 5.2707 | 316.9953 | 5.106 | 230.456 | 5.746 | 318.618 | 16.44 | 891 | 87.12 | 21.1227
2020-09-23 10:30:00 | 4.182 | 79 | 4.52 | 205.85 | 4.61 | 77.262 | 5.134 | 206.902 | 16.46 | 891 | 86.26 | 14.964
2020-09-23 10:45:00 | 3.022 | 284.72 | 3.334 | 170.015 | 3.538 | 278.457 | 3.979 | 170.884 | 17.1 | 891.2 | 82.62 | 6.446
2020-09-23 11:00:00 | 3.648 | 314.4 | 3.926 | 233.595 | 4.281 | 307.483 | 4.626 | 234.789 | 17.42 | 892 | 80.714 | 8.784
2020-09-23 11:15:00 | 2.992 | 195.72 | 3.074 | 196.422 | 3.434 | 191.412 | 3.466 | 197.426 | 17.76 | 892 | 76.832 | 4.31
2020-09-23 11:30:00 | 2.695 | 151.31 | 2.747 | 237.908 | 2.882 | 147.981 | 2.928 | 239.124 | 18.68 | 892 | 75.961 | 2.471
2020-09-23 11:45:00 | 2.928 | 250.23 | 3.106 | 303.776 | 3.279 | 244.725 | 3.516 | 305.329 | 19.12 | 892 | 73.134 | 3.437
2020-09-23 12:00:00 | 2.96 | 340.46 | 3.156 | 334.046 | 3.556 | 332.968 | 3.758 | 335.752 | 19.08 | 892 | 71.766 | 3.366
2020-09-23 12:15:00 | 2.901 | 187.04 | 2.904 | 324.186 | 3.424 | 182.926 | 3.284 | 325.844 | 19.15 | 892 | 74.355 | 3.492
2020-09-23 12:30:00 | 2.4467 | 216.2267 | 2.472 | 307.7447 | 2.9773 | 211.4687 | 2.8727 | 309.3187 | 19.7267 | 891.8667 | 70.9473 | 1.5967
2020-09-23 12:45:00 | 2.328 | 83.9 | 2.406 | 206.69 | 2.85 | 82.052 | 2.85 | 207.748 | 20.14 | 891 | 70.822 | 1.064
2020-09-23 13:00:00 | 1.675 | 140.47 | 1.759 | 190.67 | 1.929 | 137.38 | 2.014 | 191.645 | 21 | 891 | 69.674 | 0
2020-09-23 13:15:00 | 1.161 | 228.74 | 1.233 | 80.833 | 1.457 | 223.707 | 1.507 | 81.244 | 21.31 | 891.2 | 67.043 | 0
2020-09-23 13:30:00 | 1.088 | 270.68 | 1.212 | 243.816 | 1.46 | 264.724 | 1.59 | 245.062 | 21.76 | 891.6 | 67.374 | 0
2020-09-23 13:45:00 | 0.936 | 151.16 | 1.061 | 269.361 | 1.098 | 147.835 | 1.287 | 270.738 | 22.38 | 891 | 66.091 | 0
2020-09-23 14:00:00 | 1.74 | 138.98 | 1.88 | 105.771 | 1.83 | 135.922 | 2.068 | 106.31 | 21.38 | 891 | 65.611 | 0
2020-09-23 14:15:00 | 1.374 | 229.26 | 1.464 | 110.612 | 1.236 | 224.218 | 1.45 | 111.178 | 21.84 | 891 | 66.202 | 0
2020-09-23 14:30:00 | 1.715 | 146.19 | 1.787 | 143.024 | 2.126 | 142.974 | 2.146 | 143.754 | 22.31 | 891 | 70.897 | 0
2020-09-23 14:45:00 | 2.588 | 136.26 | 2.652 | 116.716 | 2.66 | 133.262 | 2.76 | 117.312 | 21.96 | 891 | 71.362 | 0
2020-09-23 15:00:00 | 1.84 | 150.66 | 1.905 | 127.258 | 2.032 | 147.347 | 2.104 | 127.909 | 22 | 890 | 74.804 | 0
2020-09-23 15:15:00 | 1.88 | 153.8467 | 1.954 | 139.0253 | 2.148 | 150.462 | 2.2153 | 139.736 | 22.1533 | 890 | 69.9433 | 0
2020-09-23 15:30:00 | 1.962 | 147.5 | 2.07 | 136.08 | 2.236 | 144.254 | 2.364 | 136.774 | 22.16 | 890 | 67.544 | 0
2020-09-23 15:45:00 | 1.74 | 184.58 | 1.876 | 135.902 | 1.968 | 180.519 | 2.16 | 136.597 | 22.44 | 890 | 66.347 | 0
2020-09-23 16:00:00 | 1.502 | 178.9133 | 1.644 | 179.2727 | 1.8293 | 175.6613 | 2.0267 | 180.192 | 22.7933 | 890 | 65.1387 | 0
2020-09-23 16:15:00 | 1.9822 | 183.6889 | 2.0544 | 146.1789 | 2.1756 | 179.6478 | 2.2589 | 146.9256 | 22.2556 | 890 | 64.6644 | 0
2020-09-23 16:30:00 | 1.751 | 186.12 | 1.846 | 167.629 | 1.784 | 182.025 | 1.954 | 168.486 | 22.22 | 890 | 65.344 | 0
2020-09-23 16:45:00 | 1.788 | 205.9333 | 1.934 | 163.8813 | 1.9653 | 201.4027 | 2.1933 | 164.718 | 22.3733 | 890.5333 | 65.074 | 0
2020-09-23 17:00:00 | 1.846 | 191.18 | 1.965 | 150.357 | 2.124 | 186.975 | 2.268 | 151.125 | 22.13 | 890.7 | 64.976 | 0
2020-09-23 17:15:00 | 1.65 | 165.78 | 1.736 | 165.351 | 1.9 | 162.133 | 1.99 | 166.196 | 22.2 | 890.8 | 66.522 | 0
2020-09-23 17:30:00 | 2.25 | 187.66 | 2.3607 | 167.544 | 2.4367 | 183.532 | 2.5927 | 168.4007 | 21.9467 | 890 | 68.9 | 0.16933
2020-09-23 17:45:00 | 3.321 | 185.01 | 3.488 | 166.142 | 3.7 | 180.939 | 3.907 | 166.992 | 21.3 | 890 | 73.421 | 4.311
2020-09-23 18:00:00 | 3.203 | 194.22 | 3.471 | 181.693 | 3.957 | 189.947 | 4.247 | 182.622 | 20.53 | 890 | 76.478 | 8.416
2020-09-23 18:15:00 | 3.3427 | 194.1733 | 3.5667 | 171.8547 | 3.8433 | 189.9013 | 4.124 | 172.7327 | 19.9933 | 889 | 81.396 | 9.7847
2020-09-23 18:30:00 | 3.669 | 192.94 | 3.887 | 171.902 | 4.204 | 188.694 | 4.458 | 172.782 | 19.69 | 889 | 81.44 | 13.975
2020-09-23 18:45:00 | 3.843 | 188.16 | 4.073 | 174.819 | 4.443 | 184.021 | 4.707 | 175.712 | 19.39 | 889 | 81.91 | 16.824
2020-09-23 19:00:00 | 3.522 | 187.7 | 3.696 | 171.56 | 4.084 | 183.57 | 4.246 | 172.436 | 19.2 | 889 | 83.82 | 14.95
2020-09-23 19:15:00 | 3.337 | 182.08 | 3.455 | 170.797 | 3.693 | 178.075 | 3.813 | 171.671 | 19.03 | 889 | 84.08 | 13.669
2020-09-23 19:30:00 | 2.951 | 177.22 | 3.031 | 158.29 | 3.165 | 173.322 | 3.256 | 159.097 | 19.16 | 888.3 | 84.25 | 9.753
2020-09-23 19:45:00 | 2.636 | 141.44 | 2.678 | 149.438 | 2.934 | 138.33 | 2.924 | 150.2 | 19.18 | 889 | 85.5 | 7.602
2020-09-23 20:00:00 | 2.572 | 153.79 | 2.652 | 138.835 | 3.072 | 150.407 | 3.077 | 139.548 | 18.96 | 889 | 85.21 | 6.423
2020-09-23 20:15:00 | 2.4657 | 143.55 | 2.5236 | 139.5536 | 2.835 | 140.3914 | 2.8436 | 140.2664 | 18.8929 | 889 | 85.63 | 4.4564
2020-09-23 20:30:00 | 2.268 | 148.88 | 2.32 | 141.264 | 2.476 | 145.604 | 2.518 | 141.984 | 18.88 | 889 | 86.66 | 2.954
2020-09-23 20:45:00 | 2.031 | 132.61 | 2.199 | 132.43 | 2.269 | 129.692 | 2.52 | 133.107 | 18.74 | 889 | 87.38 | 1.097
2020-09-23 21:00:00 | 2.0547 | 129.0533 | 2.1613 | 133.6673 | 2.2947 | 126.2153 | 2.4327 | 134.3493 | 18.5133 | 889.8 | 89.06 | 0.69733
2020-09-23 21:15:00 | 2.1978 | 135.7889 | 2.2967 | 127.8478 | 2.5611 | 132.8011 | 2.6444 | 128.5011 | 18.3889 | 890 | 89.6 | 1.141
2020-09-23 21:30:00 | 2.394 | 151.31 | 2.443 | 134.376 | 2.78 | 147.979 | 2.767 | 135.064 | 18.19 | 890 | 90.45 | 1.118
2020-09-23 21:45:00 | 1.9867 | 151.0067 | 2.06 | 137.2 | 2.3187 | 147.684 | 2.368 | 137.902 | 18.1733 | 890 | 91.1267 | 0.028
2020-09-23 22:00:00 | 1.862 | 148.74 | 1.977 | 137.848 | 2.134 | 145.468 | 2.269 | 138.554 | 18.19 | 890 | 91.04 | 0
2020-09-23 22:15:00 | 1.813 | 154.49 | 1.898 | 156.793 | 2.056 | 151.093 | 2.147 | 157.594 | 18.14 | 890 | 91.14 | 0
2020-09-23 22:30:00 | 1.69 | 148.42 | 1.752 | 153.156 | 1.906 | 145.154 | 1.968 | 153.938 | 18.16 | 890 | 91.02 | 0
2020-09-23 22:45:00 | 1.706 | 147.32 | 1.821 | 147.443 | 1.939 | 144.078 | 2.095 | 148.196 | 18.16 | 890 | 91.82 | 0
2020-09-23 23:00:00 | 1.984 | 143.44 | 2.098 | 136.958 | 2.24 | 140.282 | 2.382 | 137.659 | 17.94 | 890 | 92.97 | 0
2020-09-23 23:15:00 | 1.958 | 146.36 | 2.012 | 140.694 | 2.176 | 143.138 | 2.212 | 141.416 | 17.84 | 890 | 93.3 | 0.118
2020-09-23 23:30:00 | 1.595 | 169.38 | 1.652 | 152.998 | 1.817 | 165.654 | 1.867 | 153.782 | 17.9 | 890 | 94.52 | 0
2020-09-23 23:45:00 | 1.628 | 150.6 | 1.7287 | 160.874 | 1.9007 | 147.286 | 2.0107 | 161.6973 | 17.8467 | 889.5333 | 94.9 | 0