## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-24 00:00:00 | 1.408 | 138.76 | 1.48 | 133.926 | 1.632 | 135.706 | 1.705 | 134.612 | 17.65 | 889 | 95.22 | 0
2020-09-24 00:15:00 | 1.308 | 149.64 | 1.3467 | 139.4947 | 1.518 | 146.3473 | 1.532 | 140.2093 | 17.6067 | 889 | 93.7133 | 0
2020-09-24 00:30:00 | 1.19 | 150.7111 | 1.1989 | 157.4389 | 1.4444 | 147.3967 | 1.3878 | 158.2411 | 17.5889 | 889.6667 | 93.6667 | 0
2020-09-24 00:45:00 | 1.03 | 125.5 | 1.069 | 163.296 | 1.328 | 122.739 | 1.312 | 164.132 | 17.61 | 889.8 | 93.33 | 0
2020-09-24 01:00:00 | 0.75 | 124.42 | 0.766 | 120.822 | 1.046 | 121.682 | 0.99 | 121.44 | 17.5 | 889 | 93.38 | 0
2020-09-24 01:15:00 | 0.384 | 200.3 | 0.398 | 124.91 | 0.703 | 195.892 | 0.637 | 125.55 | 17.65 | 889 | 93.72 | 0
2020-09-24 01:30:00 | 0.57067 | 109.0133 | 0.648 | 115.1107 | 0.858 | 106.616 | 0.922 | 115.6987 | 17.8467 | 889 | 92.9933 | 0
2020-09-24 01:45:00 | 0.712 | 94.24 | 0.8 | 119.63 | 1.046 | 92.168 | 1.114 | 120.24 | 17.7 | 889 | 93.4 | 0
2020-09-24 02:00:00 | 0.67 | 104.54 | 0.7 | 124.764 | 0.886 | 102.241 | 0.882 | 125.403 | 17.67 | 889 | 94.12 | 0
2020-09-24 02:15:00 | 0.66667 | 85.6867 | 0.68067 | 124.7747 | 0.78333 | 83.8007 | 0.772 | 125.4113 | 17.8667 | 889 | 94.4667 | 0
2020-09-24 02:30:00 | 0.379 | 87.69 | 0.402 | 68.353 | 0.447 | 85.761 | 0.474 | 68.702 | 17.8 | 888.3 | 94.92 | 0
2020-09-24 02:45:00 | 0.29 | 65.74 | 0.3 | 111.532 | 0.33 | 64.294 | 0.34 | 112.1 | 17.82 | 888 | 95.66 | 0
2020-09-24 03:00:00 | 0.492 | 83.41 | 0.51 | 56.216 | 0.499 | 81.575 | 0.532 | 56.503 | 17.69 | 888 | 96.16 | 0
2020-09-24 03:15:00 | 0.33 | 59.32 | 0.35 | 42.896 | 0.302 | 58.014 | 0.344 | 43.114 | 17.62 | 888 | 97.16 | 0
2020-09-24 03:30:00 | 0.26 | 66.06 | 0.253 | 28.93 | 0.223 | 64.606 | 0.221 | 29.076 | 17.69 | 888 | 98.44 | 0
2020-09-24 03:45:00 | 0.44867 | 144.2933 | 0.46667 | 112.8367 | 0.64533 | 141.1193 | 0.62467 | 113.4113 | 17.6 | 888 | 98.7333 | 0
2020-09-24 04:00:00 | 0.692 | 166.58 | 0.747 | 143.103 | 0.935 | 162.914 | 0.969 | 143.834 | 17.37 | 888 | 99.13 | 0
2020-09-24 04:15:00 | 1.218 | 149.48 | 1.261 | 167.326 | 1.497 | 146.192 | 1.499 | 168.181 | 16.79 | 887.8 | 99.73 | 0
2020-09-24 04:30:00 | 1.1 | 130.3267 | 1.1533 | 150.6773 | 1.3613 | 127.4587 | 1.3793 | 151.4473 | 16.6267 | 887.8 | 99.98 | 0
2020-09-24 04:45:00 | 0.576 | 108.99 | 0.597 | 153.302 | 0.743 | 106.593 | 0.734 | 154.085 | 16.78 | 887.8 | 100 | 0
2020-09-24 05:00:00 | 0.44 | 110.81 | 0.47 | 115.824 | 0.629 | 108.372 | 0.631 | 116.418 | 16.83 | 887 | 100 | 0.092
2020-09-24 05:15:00 | 0.094 | 276.7 | 0.086 | 95.668 | 0.094 | 270.612 | 0.072 | 96.158 | 17.12 | 887 | 100 | 0.014
2020-09-24 05:30:00 | 0.283 | 99.25 | 0.294 | 109.125 | 0.296 | 97.066 | 0.309 | 109.684 | 17.31 | 887 | 100 | 0.097778
2020-09-24 05:45:00 | 0.556 | 80.95 | 0.531 | 102.035 | 0.497 | 79.169 | 0.467 | 102.557 | 17.27 | 887 | 100 | 0.294
2020-09-24 06:00:00 | 0.534 | 70.1 | 0.506 | 105.622 | 0.466 | 68.558 | 0.432 | 106.164 | 17.06 | 887 | 100 | 0.616
2020-09-24 06:15:00 | 0.252 | 59.29 | 0.243 | 97.291 | 0.205 | 57.985 | 0.203 | 97.788 | 17.1 | 887 | 100 | 0
2020-09-24 06:30:00 | 0.33 | 276.06 | 0.36667 | 238.6053 | 0.68 | 269.986 | 0.64333 | 239.826 | 17.1533 | 887 | 100 | 0
2020-09-24 06:45:00 | 0.749 | 153.07 | 0.815 | 118.327 | 1.172 | 149.702 | 1.171 | 118.933 | 17.07 | 887 | 100 | 0.228
2020-09-24 07:00:00 | 0.649 | 56.55 | 0.653 | 151.746 | 1.018 | 55.306 | 0.918 | 152.52 | 17.16 | 887 | 100 | 0.212
2020-09-24 07:15:00 | 0.792 | 136.78 | 0.8 | 142.298 | 1.216 | 133.772 | 1.102 | 143.026 | 17.26 | 887 | 100 | 0.184
2020-09-24 07:30:00 | 0.402 | 324.2 | 0.426 | 268.021 | 0.82 | 317.068 | 0.742 | 269.391 | 17.61 | 888 | 100 | 0
2020-09-24 07:45:00 | 0.442 | 326.8 | 0.498 | 227.981 | 0.75 | 319.612 | 0.764 | 229.148 | 17.76 | 888 | 100 | 0
2020-09-24 08:00:00 | 0.27867 | 311.78 | 0.326 | 285.3213 | 0.34 | 304.9207 | 0.412 | 286.78 | 17.8533 | 888 | 100 | 0
2020-09-24 08:15:00 | 0.377 | 329.19 | 0.408 | 333.03 | 0.351 | 321.947 | 0.421 | 334.732 | 17.83 | 888 | 100 | 0
2020-09-24 08:30:00 | 0.173 | 281.29 | 0.171 | 284.08 | 0.183 | 275.1 | 0.179 | 285.533 | 17.91 | 888 | 100 | 0
2020-09-24 08:45:00 | 0.262 | 263.48 | 0.268 | 134.2 | 0.376 | 257.686 | 0.354 | 134.888 | 18.1 | 888 | 100 | 0
2020-09-24 09:00:00 | 0.21 | 270.15 | 0.244 | 201.35 | 0.252 | 264.206 | 0.304 | 202.379 | 18.16 | 889 | 100 | 0
2020-09-24 09:15:00 | 0.452 | 149.83 | 0.42 | 193.959 | 0.422 | 146.533 | 0.367 | 194.95 | 17.83 | 889 | 100 | 0.034
2020-09-24 09:30:00 | 0.414 | 263.06 | 0.426 | 171.716 | 0.396 | 257.272 | 0.428 | 172.592 | 17.6 | 889 | 100 | 0
2020-09-24 09:45:00 | 0.288 | 276.4 | 0.269 | 182.985 | 0.294 | 270.417 | 0.261 | 183.917 | 17.97 | 889 | 100 | 0
2020-09-24 10:00:00 | 0.55 | 233.82 | 0.587 | 227.856 | 0.508 | 228.676 | 0.592 | 229.019 | 17.85 | 889 | 99.84 | 0
2020-09-24 10:15:00 | 0.914 | 175.44 | 0.934 | 187.306 | 0.864 | 171.578 | 0.914 | 188.264 | 18.24 | 889 | 98.54 | 0
2020-09-24 10:30:00 | 0.878 | 206.63 | 0.921 | 155.189 | 0.914 | 202.085 | 0.983 | 155.983 | 18.43 | 889 | 93.92 | 0
2020-09-24 10:45:00 | 1.419 | 189.82 | 1.574 | 166.436 | 1.602 | 185.646 | 1.846 | 167.287 | 18.35 | 890 | 93.52 | 0
2020-09-24 11:00:00 | 1.466 | 196.62 | 1.698 | 179.072 | 1.724 | 192.296 | 2.092 | 179.986 | 18.58 | 890 | 91.76 | 0
2020-09-24 11:15:00 | 1.319 | 188.72 | 1.381 | 162.642 | 1.68 | 184.57 | 1.694 | 163.471 | 19 | 890 | 88.44 | 0
2020-09-24 11:30:00 | 1.455 | 211.37 | 1.499 | 153.948 | 1.828 | 206.72 | 1.803 | 154.734 | 19.42 | 890 | 87.13 | 0
2020-09-24 11:45:00 | 0.994 | 212.44 | 1.114 | 139.854 | 1.072 | 207.766 | 1.272 | 140.57 | 18.94 | 890 | 86.1 | 0
2020-09-24 12:00:00 | 1.048 | 217.92 | 1.133 | 149.262 | 1.072 | 213.127 | 1.227 | 150.026 | 18.62 | 890 | 87.4 | 0
2020-09-24 12:15:00 | 1.305 | 219.72 | 1.395 | 189.702 | 1.462 | 214.886 | 1.588 | 190.673 | 18.58 | 890 | 86.24 | 0
2020-09-24 12:30:00 | 1.244 | 221.22 | 1.326 | 207.98 | 1.47 | 216.352 | 1.564 | 209.046 | 18.52 | 889.6 | 86.12 | 0
2020-09-24 12:45:00 | 0.527 | 142.55 | 0.544 | 168.06 | 0.649 | 139.413 | 0.645 | 168.92 | 18.63 | 889 | 88.84 | 0
2020-09-24 13:00:00 | 0.409 | 213.07 | 0.45 | 182.672 | 0.553 | 210.456 | 0.589 | 183.604 | 18.56 | 889 | 91.84 | 0
2020-09-24 13:15:00 | 0.462 | 179.28 | 0.524 | 173.732 | 0.536 | 175.338 | 0.63 | 174.62 | 18.68 | 889 | 92.3 | 0
2020-09-24 13:30:00 | 0.899 | 238.08 | 0.95 | 220.01 | 0.993 | 232.842 | 1.062 | 221.137 | 18.15 | 888 | 93.17 | 0
2020-09-24 13:45:00 | 0.547 | 242.77 | 0.579 | 174.428 | 0.573 | 237.428 | 0.624 | 175.319 | 18.21 | 888 | 92.52 | 0
2020-09-24 14:00:00 | 0.36333 | 104.48 | 0.38867 | 105.742 | 0.47333 | 102.1807 | 0.488 | 106.282 | 18.2667 | 887.8667 | 94.0533 | 0
2020-09-24 14:15:00 | 0.57 | 277.13 | 0.6 | 292.705 | 0.608 | 271.033 | 0.652 | 294.202 | 18.34 | 887 | 95.2 | 0
2020-09-24 14:30:00 | 1.893 | 40.1 | 1.918 | 326.506 | 2.089 | 39.217 | 2.078 | 328.174 | 17.58 | 887 | 94.73 | 0
2020-09-24 14:45:00 | 2.4422 | 331.6111 | 2.5767 | 306.8311 | 2.5278 | 324.3167 | 2.7589 | 308.4 | 17.5556 | 887 | 96.2889 | 0
2020-09-24 15:00:00 | 2.754 | 325.45 | 2.984 | 317.801 | 3.25 | 318.288 | 3.544 | 319.426 | 17.16 | 887 | 96.83 | 1.435
2020-09-24 15:15:00 | 2.5507 | 334.9467 | 2.7067 | 318.7233 | 3.148 | 327.5767 | 3.2713 | 320.3527 | 17.12 | 887 | 97.7533 | 1.9893
2020-09-24 15:30:00 | 2.028 | 340.46 | 2.086 | 331.25 | 2.658 | 332.97 | 2.586 | 332.944 | 17.12 | 887 | 98.48 | 1.048
2020-09-24 15:45:00 | 1.695 | 325.35 | 1.69 | 331.063 | 2.342 | 318.191 | 2.145 | 332.754 | 17.14 | 887 | 98.52 | 0.454
2020-09-24 16:00:00 | 2.5807 | 261.78 | 2.636 | 317.5887 | 3.198 | 256.0207 | 3.1267 | 319.2133 | 17.0133 | 886.2 | 98.1 | 1.3273
2020-09-24 16:15:00 | 2.46 | 271.74 | 2.618 | 313.41 | 3.146 | 265.762 | 3.25 | 315.014 | 16.78 | 886 | 98.1 | 1.74
2020-09-24 16:30:00 | 2.776 | 305.85 | 2.957 | 314.847 | 3.537 | 299.121 | 3.658 | 316.457 | 16.6 | 886 | 98.61 | 2.995
2020-09-24 16:45:00 | 3.086 | 318.06 | 3.2687 | 316.2987 | 3.7687 | 311.0627 | 3.918 | 317.9153 | 16.5867 | 886 | 99.1533 | 4.6647
2020-09-24 17:00:00 | 3.412 | 348.3 | 3.638 | 323.014 | 4.21 | 340.638 | 4.41 | 324.666 | 16.44 | 886 | 99.38 | 6.302
2020-09-24 17:15:00 | 3.68 | 336.76 | 3.97 | 329.546 | 4.39 | 329.353 | 4.735 | 331.231 | 16.44 | 886 | 99.42 | 8.314
2020-09-24 17:30:00 | 3.708 | 339.7867 | 3.9733 | 323.3007 | 4.524 | 332.3113 | 4.7907 | 324.954 | 16.3333 | 886 | 99.8733 | 8.8013
2020-09-24 17:45:00 | 3.81 | 337.82 | 4.066 | 321.996 | 4.706 | 330.388 | 4.932 | 323.642 | 16.3 | 886 | 100 | 10.586
2020-09-24 18:00:00 | 3.753 | 340.19 | 4.025 | 329.186 | 4.546 | 332.705 | 4.827 | 330.867 | 16.3 | 886 | 100 | 9.758
2020-09-24 18:15:00 | 3.722 | 337.88 | 3.984 | 322.291 | 4.441 | 330.448 | 4.738 | 323.937 | 16.26 | 886 | 100 | 9.097
2020-09-24 18:30:00 | 3.956 | 342.32 | 4.222 | 328.336 | 4.814 | 334.788 | 5.072 | 330.014 | 16.24 | 886 | 100 | 10.276
2020-09-24 18:45:00 | 3.945 | 342.69 | 4.211 | 326.955 | 4.727 | 335.152 | 5.003 | 328.627 | 16.21 | 886 | 100 | 10.24
2020-09-24 19:00:00 | 4.115 | 345.52 | 4.394 | 320.433 | 4.813 | 337.917 | 5.139 | 322.071 | 16.29 | 886 | 100 | 11.666
2020-09-24 19:15:00 | 3.888 | 335.84 | 4.138 | 320.63 | 4.53 | 328.452 | 4.818 | 322.268 | 16.26 | 886 | 100 | 10.606
2020-09-24 19:30:00 | 3.956 | 341.5 | 4.236 | 323.728 | 4.758 | 333.988 | 5.053 | 325.382 | 16.12 | 886 | 100 | 11.138
2020-09-24 19:45:00 | 4.068 | 343.3 | 4.356 | 318.729 | 4.933 | 335.747 | 5.226 | 320.359 | 16.21 | 886 | 100 | 12.33
2020-09-24 20:00:00 | 3.8633 | 323.24 | 4.1253 | 324.1147 | 4.6793 | 316.1293 | 4.9433 | 325.772 | 16.38 | 886 | 100 | 9.8747
2020-09-24 20:15:00 | 4.172 | 337.22 | 4.492 | 319.044 | 5.19 | 329.8 | 5.51 | 320.674 | 16.46 | 886 | 100 | 12.894
2020-09-24 20:30:00 | 4.136 | 339.12 | 4.433 | 316.345 | 4.936 | 331.659 | 5.273 | 317.961 | 16.5 | 886 | 100 | 11.912
2020-09-24 20:45:00 | 3.8253 | 311.8333 | 4.0953 | 315.6853 | 4.602 | 304.9727 | 4.8913 | 317.2987 | 16.54 | 886 | 100 | 8.8687
2020-09-24 21:00:00 | 3.754 | 336.78 | 3.984 | 317.712 | 4.584 | 329.372 | 4.778 | 319.336 | 16.64 | 886 | 100 | 7.826
2020-09-24 21:15:00 | 3.843 | 310.91 | 4.083 | 323.269 | 4.477 | 301.253 | 4.752 | 324.92 | 16.54 | 887 | 100 | 8.041
2020-09-24 21:30:00 | 4.238 | 343.48 | 4.6067 | 314.1793 | 4.9593 | 335.9247 | 5.448 | 315.786 | 16.42 | 887 | 100 | 12.9607
2020-09-24 21:45:00 | 4.402 | 349.98 | 4.77 | 321 | 5.104 | 342.436 | 5.608 | 322.64 | 16.5 | 887 | 100 | 13.622
2020-09-24 22:00:00 | 4.396 | 339.61 | 4.754 | 318.729 | 5.243 | 332.141 | 5.682 | 320.358 | 16.34 | 887 | 100 | 15.293
2020-09-24 22:15:00 | 4.7127 | 342.38 | 5.1067 | 323.1387 | 5.5007 | 334.8473 | 6.0227 | 324.7893 | 16.32 | 887 | 100 | 18.3733
2020-09-24 22:30:00 | 4.603 | 340.83 | 4.985 | 321.899 | 5.392 | 333.331 | 5.884 | 323.546 | 16.24 | 887 | 100 | 17.075
2020-09-24 22:45:00 | 4.621 | 338.82 | 5.033 | 323.55 | 5.437 | 331.366 | 5.981 | 325.207 | 16.28 | 887 | 100 | 16.718
2020-09-24 23:00:00 | 4.3947 | 335.2533 | 4.7373 | 319.8453 | 5.27 | 327.8767 | 5.668 | 321.48 | 16.4067 | 887 | 100 | 14.6673
2020-09-24 23:15:00 | 4.346 | 343.03 | 4.698 | 317.391 | 5.248 | 335.483 | 5.655 | 319.014 | 16.49 | 887 | 100 | 14.63
2020-09-24 23:30:00 | 4.419 | 346.06 | 4.78 | 318.308 | 5.368 | 338.446 | 5.78 | 319.936 | 16.45 | 887 | 100 | 15.342
2020-09-24 23:45:00 | 4.4467 | 338.3333 | 4.844 | 319.3427 | 5.308 | 331.06 | 5.808 | 320.9753 | 16.4 | 887 | 100 | 14.7913