## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-25 00:00:00 | 4.1978 | 341.8 | 4.5189 | 316.8156 | 4.9411 | 334.28 | 5.3378 | 318.4378 | 16.4778 | 886.3333 | 100 | 11.959
2020-09-25 00:15:00 | 4.291 | 351.13 | 4.661 | 319.796 | 4.985 | 343.403 | 5.484 | 321.432 | 16.43 | 886 | 100 | 13.089
2020-09-25 00:30:00 | 4.448 | 345.66 | 4.802 | 321.996 | 5.16 | 338.056 | 5.628 | 323.642 | 16.42 | 886 | 100 | 14.476
2020-09-25 00:45:00 | 4.379 | 335.29 | 4.698 | 312.274 | 5.16 | 327.915 | 5.539 | 313.871 | 16.26 | 886 | 100 | 14.007
2020-09-25 01:00:00 | 4.364 | 332.65 | 4.683 | 316.53 | 5.15 | 322.153 | 5.528 | 318.149 | 16.44 | 886 | 100 | 13.444
2020-09-25 01:15:00 | 4.438 | 347.76 | 4.828 | 320.218 | 5.172 | 340.892 | 5.698 | 321.856 | 16.36 | 886 | 100 | 15.27
2020-09-25 01:30:00 | 4.617 | 339.72 | 5.044 | 320.685 | 5.476 | 332.245 | 6.034 | 322.324 | 16.18 | 886 | 100 | 17.323
2020-09-25 01:45:00 | 4.59 | 347 | 4.9867 | 321.7173 | 5.218 | 339.3647 | 5.79 | 323.3613 | 16.3067 | 886 | 100 | 16.316
2020-09-25 02:00:00 | 4.482 | 346.7 | 4.884 | 323.582 | 5.18 | 339.074 | 5.746 | 325.238 | 16.32 | 886 | 100 | 15.366
2020-09-25 02:15:00 | 4.541 | 344.53 | 4.918 | 317.459 | 5.287 | 337.371 | 5.781 | 319.083 | 16.23 | 885 | 100 | 16.45
2020-09-25 02:30:00 | 4.448 | 345.2533 | 4.8133 | 320.5613 | 5.1547 | 337.6587 | 5.6407 | 322.202 | 16.2333 | 885 | 100 | 15.2507
2020-09-25 02:45:00 | 4.487 | 343.39 | 4.864 | 324.129 | 5.251 | 335.836 | 5.744 | 325.787 | 16.06 | 885 | 100 | 14.968
2020-09-25 03:00:00 | 4.49 | 347.36 | 4.816 | 328.472 | 5.096 | 339.718 | 5.53 | 330.15 | 16.18 | 885 | 100 | 14.532
2020-09-25 03:15:00 | 3.912 | 311.61 | 4.202 | 323.101 | 4.735 | 339.072 | 5.046 | 324.752 | 16.16 | 885 | 100 | 11.616
2020-09-25 03:30:00 | 3.808 | 312.32 | 3.95 | 329.019 | 4.626 | 271.815 | 4.656 | 330.701 | 16.16 | 885 | 100 | 10.001
2020-09-25 03:45:00 | 3.874 | 346.02 | 4.12 | 324.716 | 4.654 | 338.408 | 4.896 | 326.376 | 16.02 | 885 | 100 | 10.618
2020-09-25 04:00:00 | 3.475 | 140.75 | 3.661 | 323.874 | 3.96 | 137.654 | 4.18 | 325.531 | 15.82 | 885 | 100 | 6.199
2020-09-25 04:15:00 | 3.6707 | 97.3 | 3.8633 | 331.62 | 4.1793 | 95.068 | 4.4007 | 333.3153 | 15.7133 | 885 | 100 | 7.5667
2020-09-25 04:30:00 | 3.251 | 241.81 | 3.395 | 324.412 | 3.742 | 236.489 | 3.874 | 326.069 | 15.78 | 885 | 100 | 5.915
2020-09-25 04:45:00 | 3.513 | 282.4 | 3.686 | 324.519 | 4.113 | 276.187 | 4.264 | 326.178 | 15.78 | 885 | 100 | 7.22
2020-09-25 05:00:00 | 3.6013 | 214.22 | 3.814 | 331.784 | 4.156 | 209.508 | 4.3987 | 333.4793 | 15.76 | 885 | 100 | 8.5953
2020-09-25 05:15:00 | 3.815 | 212.97 | 4.009 | 337.088 | 4.281 | 208.282 | 4.514 | 338.812 | 15.77 | 885 | 100 | 10.777
2020-09-25 05:30:00 | 3.771 | 284.52 | 4.012 | 333.467 | 4.309 | 278.26 | 4.612 | 335.174 | 15.72 | 885 | 100 | 11.472
2020-09-25 05:45:00 | 4.08 | 280.68 | 4.356 | 326.476 | 4.666 | 274.508 | 5.022 | 328.146 | 15.8 | 885 | 100 | 11.87
2020-09-25 06:00:00 | 4.168 | 284.2 | 4.485 | 331.758 | 4.787 | 277.947 | 5.211 | 333.453 | 15.74 | 885 | 100 | 13.852
2020-09-25 06:15:00 | 4.049 | 276.88 | 4.367 | 328.119 | 4.581 | 270.787 | 5.031 | 329.797 | 15.75 | 885 | 100 | 11.814
2020-09-25 06:30:00 | 4.208 | 211.84 | 4.582 | 330.624 | 4.956 | 207.178 | 5.442 | 332.314 | 15.8 | 885 | 100 | 14.492
2020-09-25 06:45:00 | 4.337 | 313.5 | 4.683 | 322.476 | 5.156 | 306.602 | 5.577 | 324.124 | 15.87 | 885 | 100 | 15.702
2020-09-25 07:00:00 | 4.6647 | 297.8467 | 4.994 | 321.364 | 5.5447 | 291.2933 | 5.9133 | 323.008 | 15.8 | 885 | 100 | 16.846
2020-09-25 07:15:00 | 4.211 | 304.93 | 4.469 | 320.518 | 5.082 | 298.223 | 5.315 | 322.159 | 15.81 | 885 | 100 | 14.799
2020-09-25 07:30:00 | 4.299 | 346.22 | 4.556 | 323.336 | 4.919 | 338.603 | 5.227 | 324.99 | 15.84 | 885 | 100 | 12.894
2020-09-25 07:45:00 | 4.442 | 336.64 | 4.752 | 328.236 | 5.106 | 329.232 | 5.5 | 329.914 | 15.76 | 885 | 100 | 14.84
2020-09-25 08:00:00 | 4.127 | 345.05 | 4.429 | 333.967 | 4.596 | 337.458 | 5.033 | 335.676 | 15.84 | 885.7 | 100 | 11.36
2020-09-25 08:15:00 | 4.063 | 345.43 | 4.322 | 325.459 | 4.751 | 337.831 | 5.044 | 327.121 | 15.85 | 886 | 100 | 10.592
2020-09-25 08:30:00 | 3.964 | 340.86 | 4.266 | 318.144 | 4.784 | 334.672 | 5.108 | 319.772 | 15.74 | 886 | 100 | 10.672
2020-09-25 08:45:00 | 3.842 | 342.19 | 4.1 | 324.609 | 4.638 | 335.933 | 4.898 | 326.268 | 15.8 | 886 | 100 | 9.278
2020-09-25 09:00:00 | 3.846 | 346.5 | 4.049 | 319.14 | 4.66 | 338.877 | 4.809 | 320.772 | 15.82 | 886 | 100 | 10.51
2020-09-25 09:15:00 | 4.498 | 339.84 | 4.874 | 314.78 | 5.404 | 332.364 | 5.858 | 316.39 | 15.82 | 886 | 100 | 15.716
2020-09-25 09:30:00 | 4.43 | 334.92 | 4.774 | 323.756 | 5.14 | 327.552 | 5.583 | 325.412 | 15.85 | 886 | 100 | 14.707
2020-09-25 09:45:00 | 4.6 | 342.14 | 4.9947 | 322.9227 | 5.3 | 334.612 | 5.846 | 324.5733 | 15.86 | 887 | 100 | 16.6073
2020-09-25 10:00:00 | 4.829 | 338.7 | 5.213 | 323.552 | 5.488 | 331.248 | 6.021 | 325.206 | 15.94 | 887 | 100 | 18.578
2020-09-25 10:15:00 | 4.992 | 338.07 | 5.443 | 317.743 | 5.83 | 330.631 | 6.439 | 319.366 | 16.38 | 887 | 100 | 21.095
2020-09-25 10:30:00 | 5.0853 | 341.7267 | 5.5287 | 323.0527 | 5.8787 | 334.2087 | 6.4907 | 324.704 | 16.4267 | 887 | 100 | 20.3033
2020-09-25 10:45:00 | 4.83 | 343.78 | 5.25 | 328.609 | 5.694 | 336.214 | 6.243 | 330.289 | 16.34 | 887 | 100 | 18.449
2020-09-25 11:00:00 | 3.543 | 314.96 | 3.784 | 299.776 | 4.072 | 308.033 | 4.377 | 301.308 | 16.16 | 887 | 100 | 8.986
2020-09-25 11:15:00 | 4.82 | 285.54 | 5.104 | 340.09 | 5.58 | 277.164 | 5.866 | 341.828 | 16.42 | 887 | 100 | 15.35
2020-09-25 11:30:00 | 4.787 | 339.19 | 5.181 | 322.573 | 5.579 | 331.728 | 6.094 | 324.222 | 16.25 | 887 | 100 | 18.092
2020-09-25 11:45:00 | 4.456 | 340.7 | 4.844 | 319.864 | 5.21 | 333.206 | 5.724 | 321.5 | 16.16 | 887 | 100 | 15.956
2020-09-25 12:00:00 | 4.207 | 345.54 | 4.565 | 323.523 | 4.906 | 337.938 | 5.386 | 325.178 | 16.34 | 887 | 100 | 12.352
2020-09-25 12:15:00 | 4.13 | 343.58 | 4.501 | 319.914 | 4.884 | 336.022 | 5.367 | 321.551 | 16.42 | 887 | 100 | 11.915
2020-09-25 12:30:00 | 4.13 | 342.74 | 4.48 | 313.742 | 4.864 | 335.2 | 5.316 | 315.346 | 16.56 | 887 | 100 | 11.402
2020-09-25 12:45:00 | 4.019 | 341.12 | 4.348 | 320.774 | 4.644 | 333.615 | 5.085 | 322.413 | 16.77 | 887 | 100 | 9.957
2020-09-25 13:00:00 | 4.338 | 339.69 | 4.711 | 314.055 | 5.106 | 332.862 | 5.599 | 315.662 | 16.76 | 887 | 100 | 12.661
2020-09-25 13:15:00 | 4.126 | 333.52 | 4.506 | 316.384 | 4.77 | 326.184 | 5.302 | 318.002 | 16.88 | 887 | 100 | 11.54
2020-09-25 13:30:00 | 3.727 | 336.22 | 4.027 | 313.293 | 4.416 | 328.823 | 4.785 | 314.895 | 17.16 | 886.3 | 100 | 8.662
2020-09-25 13:45:00 | 3.545 | 336.58 | 3.866 | 319.355 | 4.044 | 329.176 | 4.507 | 320.989 | 17.22 | 887 | 100 | 7.303
2020-09-25 14:00:00 | 3.326 | 341.12 | 3.504 | 324.638 | 3.718 | 332.088 | 3.944 | 326.296 | 17.48 | 886.6 | 100 | 4.068
2020-09-25 14:15:00 | 3.446 | 332.31 | 3.73 | 324.462 | 4.116 | 324.999 | 4.458 | 326.12 | 17.39 | 886.2 | 100 | 6.641
2020-09-25 14:30:00 | 3.606 | 324.66 | 3.934 | 313.874 | 4.3427 | 317.5167 | 4.7453 | 315.4767 | 17.3067 | 887 | 99.9733 | 7.0273
2020-09-25 14:45:00 | 3.522 | 326.36 | 3.854 | 311.346 | 4.222 | 319.18 | 4.65 | 312.937 | 17.22 | 886.8 | 99.78 | 6.951
2020-09-25 15:00:00 | 3.3767 | 336.2867 | 3.686 | 320.608 | 3.8027 | 328.8887 | 4.2647 | 322.2467 | 17.4467 | 886 | 99.8467 | 4.9053
2020-09-25 15:15:00 | 3.13 | 336.26 | 3.422 | 327.318 | 3.566 | 328.862 | 3.996 | 328.99 | 17.52 | 886 | 99.68 | 3.76
2020-09-25 15:30:00 | 2.786 | 308.35 | 3.075 | 319.924 | 3.185 | 301.567 | 3.615 | 321.558 | 17.56 | 886 | 100 | 2.635
2020-09-25 15:45:00 | 2.5253 | 299.68 | 2.716 | 314.1733 | 3.0987 | 293.086 | 3.2913 | 315.778 | 17.5933 | 886 | 100 | 1.574
2020-09-25 16:00:00 | 2.6633 | 339.6 | 2.8878 | 303.3556 | 3.2067 | 332.1289 | 3.4733 | 304.9044 | 17.6333 | 886 | 100 | 1.677
2020-09-25 16:15:00 | 2.354 | 334.5 | 2.508 | 314.358 | 2.855 | 327.142 | 3.001 | 315.965 | 17.71 | 886 | 99.54 | 0.582
2020-09-25 16:30:00 | 2.6613 | 338.8867 | 2.8527 | 316.9433 | 3.078 | 330.27 | 3.3193 | 318.5633 | 17.6667 | 886 | 98.7133 | 1.652
2020-09-25 16:45:00 | 2.844 | 326.64 | 3.036 | 304.276 | 3.292 | 319.452 | 3.524 | 305.832 | 17.6 | 886 | 99.12 | 2.886
2020-09-25 17:00:00 | 2.156 | 332.45 | 2.332 | 329.116 | 2.342 | 325.136 | 2.622 | 330.799 | 17.79 | 886 | 99.4 | 0.149
2020-09-25 17:15:00 | 2.3493 | 280.0867 | 2.486 | 327.95 | 2.726 | 273.9247 | 2.88 | 329.6273 | 17.9267 | 886 | 99.3333 | 0.008
2020-09-25 17:30:00 | 2.096 | 334.08 | 2.28 | 309.558 | 2.626 | 326.732 | 2.82 | 311.14 | 17.7 | 886 | 99.24 | 0.272
2020-09-25 17:45:00 | 2.047 | 327.93 | 2.19 | 316.442 | 2.327 | 320.715 | 2.518 | 318.059 | 17.95 | 886 | 99.62 | 0
2020-09-25 18:00:00 | 2.5567 | 329.44 | 2.7787 | 311.3427 | 2.9487 | 322.192 | 3.254 | 312.934 | 17.8533 | 886 | 99.8733 | 1.7627
2020-09-25 18:15:00 | 2.786 | 319.42 | 2.924 | 298.074 | 3.2 | 312.394 | 3.342 | 299.6 | 17.84 | 886 | 100 | 2.538
2020-09-25 18:30:00 | 2.177 | 303.42 | 2.239 | 310.546 | 2.443 | 296.745 | 2.485 | 312.132 | 17.95 | 886 | 100 | 1.048
2020-09-25 18:45:00 | 1.2213 | 294.34 | 1.2547 | 298.778 | 1.4 | 287.8647 | 1.4133 | 300.3073 | 17.9667 | 886 | 100 | 0
2020-09-25 19:00:00 | 0.626 | 223.76 | 0.658 | 275.54 | 0.684 | 218.836 | 0.728 | 276.952 | 18.1 | 886 | 100 | 0
2020-09-25 19:15:00 | 1.947 | 148.09 | 1.964 | 143.55 | 2.039 | 144.833 | 2.048 | 144.283 | 17.54 | 886 | 100 | 0
2020-09-25 19:30:00 | 0.78733 | 84.54 | 0.818 | 254.248 | 0.884 | 82.68 | 0.914 | 255.5473 | 17.42 | 886 | 100 | 0
2020-09-25 19:45:00 | 1.5578 | 332.8667 | 1.6389 | 317.3044 | 1.8844 | 325.5433 | 1.9456 | 318.9278 | 17.2889 | 886 | 100 | 0
2020-09-25 20:00:00 | 0.912 | 122.01 | 0.959 | 107.971 | 1.15 | 119.326 | 1.168 | 108.526 | 17.83 | 886 | 100 | 0
2020-09-25 20:15:00 | 1.11 | 207.02 | 1.146 | 147.286 | 1.22 | 202.466 | 1.256 | 148.04 | 17.64 | 886 | 100 | 0
2020-09-25 20:30:00 | 0.794 | 203.53 | 0.942 | 157.107 | 0.807 | 199.051 | 1.083 | 157.91 | 17.68 | 886 | 100 | 0
2020-09-25 20:45:00 | 0.437 | 216.14 | 0.499 | 138.876 | 0.536 | 211.384 | 0.626 | 139.586 | 17.87 | 887 | 100 | 0
2020-09-25 21:00:00 | 0.806 | 123.0667 | 0.888 | 210.0047 | 1.0887 | 120.3607 | 1.164 | 211.0773 | 17.8467 | 887 | 100 | 0
2020-09-25 21:15:00 | 2.016 | 129.99 | 2.084 | 168.979 | 1.792 | 127.131 | 1.989 | 169.841 | 17.59 | 887 | 100 | 0
2020-09-25 21:30:00 | 1.281 | 97.35 | 1.475 | 102.963 | 1.628 | 95.386 | 1.884 | 103.492 | 17.55 | 887 | 100 | 0
2020-09-25 21:45:00 | 1.758 | 146.84 | 1.798 | 88.9 | 2.064 | 122.644 | 2.032 | 89.356 | 17.34 | 887 | 100 | 0
2020-09-25 22:00:00 | 2.135 | 138.05 | 2.259 | 178.133 | 2.489 | 135.013 | 2.625 | 179.044 | 17.35 | 887 | 100 | 0
2020-09-25 22:15:00 | 3.227 | 146.72 | 3.356 | 143.561 | 3.632 | 142.2 | 3.756 | 144.295 | 16.51 | 888 | 100 | 2.225
2020-09-25 22:30:00 | 3.094 | 154.62 | 3.236 | 132.128 | 3.326 | 151.218 | 3.526 | 132.802 | 16.3 | 888 | 100 | 3.394
2020-09-25 22:45:00 | 3.192 | 156.84 | 3.298 | 135.972 | 3.44 | 153.389 | 3.568 | 136.665 | 16.11 | 888 | 100 | 4.439
2020-09-25 23:00:00 | 2.553 | 164.13 | 2.626 | 140.636 | 2.843 | 160.519 | 2.903 | 141.356 | 16 | 888 | 100 | 4.973
2020-09-25 23:15:00 | 2.684 | 167.42 | 2.838 | 153.47 | 3.01 | 163.736 | 3.212 | 154.252 | 15.98 | 888 | 100 | 5.438
2020-09-25 23:30:00 | 2.104 | 160.61 | 2.215 | 151.836 | 2.22 | 157.956 | 2.419 | 152.611 | 15.95 | 888 | 100 | 2.032
2020-09-25 23:45:00 | 1.7873 | 196.7267 | 1.8187 | 173.92 | 1.9493 | 192.4 | 1.9667 | 174.8087 | 15.7 | 888 | 100 | 0.77133