## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-26 00:00:00 | 2.0367 | 199.7 | 2.1411 | 173.0511 | 2.3078 | 195.3056 | 2.4322 | 173.9378 | 15.6778 | 888 | 100 | 0.633
2020-09-26 00:15:00 | 1.969 | 169.73 | 2.036 | 167.932 | 2.306 | 165.994 | 2.333 | 168.791 | 15.67 | 888 | 100 | 0.878
2020-09-26 00:30:00 | 1.524 | 176.1 | 1.58 | 156.99 | 1.652 | 172.228 | 1.726 | 157.79 | 15.78 | 888 | 100 | 0.952
2020-09-26 00:45:00 | 1.565 | 189.05 | 1.6 | 155.11 | 1.632 | 184.891 | 1.682 | 155.903 | 15.93 | 887.8 | 100 | 0.951
2020-09-26 01:00:00 | 1.1427 | 144.08 | 1.1693 | 145.818 | 1.288 | 140.91 | 1.2953 | 146.5647 | 15.9733 | 887 | 100 | 0.61133
2020-09-26 01:15:00 | 1.042 | 161.04 | 1.06 | 163.346 | 1.156 | 157.498 | 1.15 | 164.18 | 15.9 | 887 | 100 | 0.676
2020-09-26 01:30:00 | 0.953 | 162.66 | 0.961 | 183.229 | 0.946 | 159.083 | 0.969 | 184.165 | 15.85 | 887 | 100 | 0.152
2020-09-26 01:45:00 | 1.3533 | 185.6067 | 1.3807 | 179.802 | 1.4233 | 181.5233 | 1.4547 | 180.7207 | 15.6867 | 887 | 100 | 0.49467
2020-09-26 02:00:00 | 1.488 | 188.06 | 1.502 | 177.526 | 1.534 | 183.92 | 1.552 | 178.434 | 15.7 | 887 | 100 | 0.554
2020-09-26 02:15:00 | 1.705 | 191.26 | 1.711 | 180.94 | 1.75 | 187.052 | 1.754 | 181.865 | 15.75 | 887 | 100 | 0.791
2020-09-26 02:30:00 | 1.726 | 194.66 | 1.734 | 187.386 | 1.734 | 190.376 | 1.746 | 188.34 | 15.76 | 887 | 100 | 0.442
2020-09-26 02:45:00 | 1.5207 | 190.6133 | 1.5933 | 165.3927 | 1.6233 | 186.42 | 1.73 | 166.2387 | 15.6067 | 887 | 100 | 0.542
2020-09-26 03:00:00 | 1.614 | 194.91 | 1.711 | 179.393 | 1.782 | 190.623 | 1.918 | 180.311 | 15.72 | 887 | 100 | 0.182
2020-09-26 03:15:00 | 1.548 | 190.6133 | 1.6253 | 188.1213 | 1.6027 | 186.498 | 1.73 | 189.0833 | 15.8267 | 886 | 100 | 0.012
2020-09-26 03:30:00 | 2.072 | 191 | 2.114 | 189.422 | 2.262 | 186.798 | 2.29 | 190.386 | 15.8 | 886 | 100 | 0.374
2020-09-26 03:45:00 | 2.1007 | 192.72 | 2.2013 | 185.6693 | 2.3167 | 188.48 | 2.4447 | 186.618 | 16.08 | 886 | 100 | 0.15
2020-09-26 04:00:00 | 2.25 | 196.34 | 2.376 | 184.394 | 2.548 | 192.02 | 2.696 | 185.334 | 16.28 | 886 | 100 | 0.546
2020-09-26 04:15:00 | 1.801 | 201.56 | 1.901 | 187.667 | 1.921 | 197.127 | 2.076 | 188.626 | 16.23 | 886 | 100 | 0
2020-09-26 04:30:00 | 2.1973 | 204.4067 | 2.3373 | 201.5473 | 2.4053 | 199.91 | 2.6173 | 202.5773 | 16.2133 | 886 | 100 | 0.13533
2020-09-26 04:45:00 | 2.456 | 200.03 | 2.543 | 185.32 | 2.78 | 195.63 | 2.853 | 186.27 | 16.04 | 886 | 100 | 1.182
2020-09-26 05:00:00 | 2.299 | 189.16 | 2.41 | 183.434 | 2.633 | 184.999 | 2.745 | 184.372 | 15.92 | 886 | 100 | 1.566
2020-09-26 05:15:00 | 1.7233 | 207.96 | 1.796 | 184.79 | 1.9213 | 203.384 | 2.0033 | 185.7353 | 15.8133 | 886 | 100 | 0.12533
2020-09-26 05:30:00 | 1.331 | 191.01 | 1.377 | 179.923 | 1.472 | 186.807 | 1.521 | 180.841 | 15.99 | 886 | 100 | 0
2020-09-26 05:45:00 | 1.903 | 190.42 | 1.982 | 181.81 | 2.16 | 186.23 | 2.239 | 182.739 | 16 | 886.2 | 100 | 0
2020-09-26 06:00:00 | 1.846 | 192.5 | 1.914 | 177.094 | 1.924 | 188.264 | 2.036 | 178.002 | 15.96 | 886.6 | 100 | 0
2020-09-26 06:15:00 | 1.962 | 198.39 | 2.037 | 177.79 | 2.055 | 194.027 | 2.173 | 178.7 | 16 | 887 | 100 | 0
2020-09-26 06:30:00 | 1.6667 | 207.8133 | 1.7413 | 205.77 | 1.8173 | 203.17 | 1.914 | 206.822 | 16.0333 | 887 | 100 | 0
2020-09-26 06:45:00 | 1.468 | 213.4 | 1.512 | 192.354 | 1.578 | 208.706 | 1.63 | 193.338 | 16.02 | 887 | 100 | 0
2020-09-26 07:00:00 | 1.672 | 189.49 | 1.743 | 176.89 | 1.854 | 185.321 | 1.933 | 177.794 | 16 | 886 | 100 | 0
2020-09-26 07:15:00 | 1.696 | 200 | 1.74 | 198.5467 | 1.682 | 194.9473 | 1.77 | 199.5613 | 15.8733 | 886.4667 | 100 | 0
2020-09-26 07:30:00 | 1.662 | 222.87 | 1.691 | 206.278 | 1.586 | 217.966 | 1.664 | 207.332 | 15.73 | 887 | 100 | 0
2020-09-26 07:45:00 | 1.514 | 222.94 | 1.543 | 209.859 | 1.394 | 218.036 | 1.486 | 210.932 | 15.85 | 887 | 100 | 0
2020-09-26 08:00:00 | 1.834 | 235.72 | 1.936 | 212.1207 | 2.0253 | 230.5347 | 2.166 | 213.206 | 15.9 | 887 | 100 | 0
2020-09-26 08:15:00 | 1.972 | 228.44 | 2.076 | 224.062 | 2.098 | 223.414 | 2.26 | 225.206 | 15.92 | 887 | 100 | 0
2020-09-26 08:30:00 | 2.094 | 225.81 | 2.26 | 193.225 | 2.427 | 220.841 | 2.644 | 194.211 | 15.65 | 887 | 100 | 0
2020-09-26 08:45:00 | 1.742 | 200.02 | 1.854 | 194.9873 | 1.994 | 195.6193 | 2.1373 | 195.9853 | 15.7333 | 888 | 100 | 0
2020-09-26 09:00:00 | 1.898 | 195.6 | 1.981 | 188.881 | 2.238 | 191.297 | 2.3 | 189.848 | 15.72 | 888 | 100 | 0
2020-09-26 09:15:00 | 1.282 | 201.76 | 1.408 | 152.705 | 1.601 | 197.32 | 1.748 | 153.485 | 15.97 | 888 | 100 | 0
2020-09-26 09:30:00 | 1.114 | 164.9 | 1.216 | 163.344 | 1.312 | 161.274 | 1.448 | 164.18 | 16.3 | 888 | 100 | 0
2020-09-26 09:45:00 | 1.141 | 192.25 | 1.226 | 181.439 | 1.12 | 188.021 | 1.293 | 182.366 | 16.33 | 888 | 100 | 0
2020-09-26 10:00:00 | 0.796 | 168.71 | 0.822 | 156.226 | 0.724 | 164.998 | 0.789 | 157.025 | 16.69 | 888 | 100 | 0.345
2020-09-26 10:15:00 | 1.022 | 142.48 | 1.036 | 138.954 | 0.972 | 139.346 | 1.018 | 139.664 | 16.96 | 888 | 100 | 0.542
2020-09-26 10:30:00 | 0.651 | 170.26 | 0.677 | 132.07 | 0.697 | 166.514 | 0.73 | 132.744 | 17.23 | 888.7 | 100 | 0
2020-09-26 10:45:00 | 0.938 | 226.21 | 0.942 | 146.213 | 0.98 | 221.234 | 0.98 | 146.959 | 17.61 | 889 | 100 | 0
2020-09-26 11:00:00 | 0.876 | 150.9 | 0.898 | 153.018 | 0.946 | 147.58 | 0.966 | 153.802 | 17.6 | 889 | 99.02 | 0
2020-09-26 11:15:00 | 1.109 | 187.56 | 1.137 | 168.344 | 1.389 | 183.434 | 1.358 | 169.203 | 17.78 | 890 | 96.65 | 0
2020-09-26 11:30:00 | 0.978 | 182.38 | 0.99933 | 145.5333 | 1.0533 | 170.9927 | 1.056 | 146.2753 | 17.6 | 889.2 | 99.34 | 0
2020-09-26 11:45:00 | 1.2456 | 183.8222 | 1.3322 | 186.9289 | 1.4044 | 179.6367 | 1.5433 | 187.8844 | 17.6667 | 889 | 98.1556 | 0
2020-09-26 12:00:00 | 1.713 | 192.63 | 1.759 | 143.434 | 1.678 | 188.393 | 1.775 | 144.166 | 17.68 | 889 | 96.17 | 0
2020-09-26 12:15:00 | 1.2133 | 185.8333 | 1.204 | 139.7367 | 1.2933 | 181.7453 | 1.2547 | 140.4507 | 17.5933 | 889 | 94.9333 | 0
2020-09-26 12:30:00 | 1.164 | 187.66 | 1.184 | 129.388 | 1.076 | 183.53 | 1.134 | 130.05 | 17.44 | 889 | 94.88 | 0
2020-09-26 12:45:00 | 0.711 | 201.56 | 0.726 | 180.216 | 0.676 | 197.124 | 0.714 | 181.138 | 18.21 | 889 | 96.05 | 0
2020-09-26 13:00:00 | 0.824 | 153.3867 | 0.82867 | 117.066 | 1.002 | 149.3147 | 0.98 | 117.6647 | 18.78 | 889 | 93.3 | 0
2020-09-26 13:15:00 | 1.384 | 188.1 | 1.39 | 119.706 | 1.64 | 183.962 | 1.578 | 120.318 | 18.86 | 889 | 91.62 | 0
2020-09-26 13:30:00 | 1.283 | 188.5 | 1.336 | 148.754 | 1.321 | 184.354 | 1.413 | 149.514 | 18.67 | 889 | 90.81 | 0
2020-09-26 13:45:00 | 1.6 | 188.22 | 1.674 | 159.392 | 1.724 | 184.078 | 1.834 | 160.208 | 18.48 | 888 | 91.12 | 0
2020-09-26 14:00:00 | 1.63 | 201.58 | 1.739 | 158.593 | 1.983 | 197.144 | 2.085 | 159.404 | 17.99 | 888 | 94.04 | 0
2020-09-26 14:15:00 | 1.692 | 211 | 1.76 | 184.773 | 2.006 | 206.357 | 2.044 | 185.719 | 17.86 | 888 | 94.93 | 0
2020-09-26 14:30:00 | 1.45 | 215.7 | 1.542 | 181.832 | 1.732 | 210.954 | 1.822 | 182.756 | 17.82 | 888 | 95.34 | 0
2020-09-26 14:45:00 | 1.2367 | 170.0067 | 1.2993 | 167.1547 | 1.51 | 166.266 | 1.5473 | 168.008 | 17.7267 | 888 | 95.46 | 0
2020-09-26 15:00:00 | 1.374 | 184.06 | 1.354 | 147.208 | 1.554 | 180.012 | 1.464 | 147.96 | 17.12 | 888 | 96.9 | 0
2020-09-26 15:15:00 | 1.362 | 223.78 | 1.492 | 177.646 | 1.562 | 218.858 | 1.75 | 178.553 | 17.23 | 887.8 | 99.25 | 0
2020-09-26 15:30:00 | 2.1427 | 204.12 | 2.3107 | 167.5 | 2.4373 | 199.5113 | 2.674 | 168.3553 | 16.8667 | 887 | 100 | 0.12867
2020-09-26 15:45:00 | 2.798 | 202.28 | 3.024 | 185.986 | 3.26 | 199.728 | 3.551 | 186.936 | 16.69 | 887 | 100 | 2.385
2020-09-26 16:00:00 | 2.64 | 192.2 | 2.813 | 174.65 | 3.096 | 187.971 | 3.293 | 175.544 | 16.82 | 887 | 100 | 3.853
2020-09-26 16:15:00 | 1.864 | 195.26 | 2.064 | 199.962 | 2.496 | 190.966 | 2.694 | 200.984 | 17.06 | 887 | 100 | 2.862
2020-09-26 16:30:00 | 2.131 | 189.16 | 2.21 | 175.436 | 2.448 | 184.999 | 2.506 | 176.332 | 17.03 | 887 | 100 | 1.512
2020-09-26 16:45:00 | 2.0187 | 199.6267 | 2.1233 | 171.8813 | 2.36 | 195.234 | 2.4587 | 172.76 | 16.8 | 887 | 100 | 0.51267
2020-09-26 17:00:00 | 2.08 | 202.28 | 2.24 | 174.848 | 2.592 | 197.83 | 2.748 | 175.742 | 16.7 | 887 | 99.96 | 1.254
2020-09-26 17:15:00 | 2.114 | 189.59 | 2.203 | 184.929 | 2.497 | 185.419 | 2.557 | 185.874 | 16.62 | 887 | 99.92 | 1.481
2020-09-26 17:30:00 | 2.294 | 184.22 | 2.41 | 175.394 | 2.724 | 180.168 | 2.822 | 176.29 | 16.64 | 887 | 100 | 2.474
2020-09-26 17:45:00 | 2.319 | 179.59 | 2.42 | 161.907 | 2.679 | 175.638 | 2.768 | 162.736 | 16.77 | 887 | 100 | 2.561
2020-09-26 18:00:00 | 2.68 | 186.28 | 2.829 | 173.214 | 3.046 | 182.18 | 3.221 | 174.1 | 16.62 | 887 | 100 | 4.44
2020-09-26 18:15:00 | 2.234 | 166.34 | 2.31 | 168.586 | 2.588 | 162.682 | 2.628 | 169.45 | 16.6 | 887 | 100 | 3.198
2020-09-26 18:30:00 | 2.245 | 191.19 | 2.364 | 164.372 | 2.571 | 186.985 | 2.703 | 165.213 | 16.74 | 886.7 | 100 | 2.898
2020-09-26 18:45:00 | 2.1293 | 179.88 | 2.1893 | 153.9373 | 2.3067 | 175.922 | 2.3707 | 154.7233 | 16.84 | 887 | 100 | 2.1727
2020-09-26 19:00:00 | 2.159 | 164.17 | 2.196 | 139.503 | 2.4 | 160.558 | 2.401 | 140.216 | 16.92 | 887 | 100 | 2.477
2020-09-26 19:15:00 | 1.892 | 159.15 | 1.928 | 148.383 | 1.908 | 155.65 | 1.967 | 149.141 | 16.84 | 887 | 99.98 | 2.102
2020-09-26 19:30:00 | 2.218 | 171.02 | 2.31 | 150.808 | 2.454 | 167.26 | 2.564 | 151.578 | 16.68 | 887 | 99.9 | 2.118
2020-09-26 19:45:00 | 2.428 | 167.92 | 2.502 | 152.303 | 2.551 | 163.54 | 2.65 | 153.081 | 16.69 | 887 | 100 | 2.805
2020-09-26 20:00:00 | 2.27 | 164.7929 | 2.3679 | 148.9486 | 2.3693 | 161.1671 | 2.5243 | 149.7107 | 16.6286 | 886.25 | 100 | 2.485
2020-09-26 20:15:00 | 2.284 | 164.74 | 2.362 | 140.088 | 2.406 | 161.116 | 2.52 | 140.806 | 16.68 | 887 | 100 | 2.762
2020-09-26 20:30:00 | 2.512 | 166.49 | 2.577 | 149.37 | 2.633 | 163.041 | 2.735 | 150.134 | 16.5 | 887 | 100 | 3.223
2020-09-26 20:45:00 | 2.42 | 158.18 | 2.52 | 141.184 | 2.39 | 154.698 | 2.6 | 141.908 | 16.48 | 887 | 100 | 4.164
2020-09-26 21:00:00 | 1.914 | 165.86 | 1.989 | 164.803 | 1.992 | 162.212 | 2.11 | 165.647 | 16.52 | 887 | 100 | 2.004
2020-09-26 21:15:00 | 1.6847 | 161.64 | 1.7127 | 156.4533 | 1.7107 | 158.084 | 1.7593 | 157.254 | 16.5933 | 887 | 100 | 1.4827
2020-09-26 21:30:00 | 1.612 | 156.66 | 1.673 | 154.642 | 1.752 | 153.214 | 1.829 | 155.431 | 16.69 | 887 | 100 | 1.118
2020-09-26 21:45:00 | 1.813 | 177.28 | 1.882 | 171.082 | 2.018 | 173.381 | 2.089 | 171.957 | 16.8 | 888 | 100 | 1.329
2020-09-26 22:00:00 | 2.02 | 159.96 | 2.04 | 169.37 | 2.23 | 156.442 | 2.208 | 170.236 | 16.8 | 888 | 100 | 1.35
2020-09-26 22:15:00 | 1.413 | 145.88 | 1.439 | 163.532 | 1.575 | 142.67 | 1.579 | 164.368 | 16.71 | 888 | 100 | 0.839
2020-09-26 22:30:00 | 1.488 | 150.4 | 1.52 | 151.608 | 1.696 | 147.09 | 1.702 | 152.384 | 16.48 | 888 | 100 | 1.114
2020-09-26 22:45:00 | 2.137 | 189.32 | 2.221 | 170.563 | 2.226 | 185.156 | 2.365 | 171.434 | 16.29 | 888 | 100 | 2.479
2020-09-26 23:00:00 | 2.2387 | 213.9067 | 2.29 | 161.71 | 2.2773 | 209.1993 | 2.366 | 162.536 | 16.36 | 888 | 100 | 2.7287
2020-09-26 23:15:00 | 2.43 | 203.52 | 2.542 | 165.928 | 2.762 | 199.044 | 2.882 | 166.774 | 16.36 | 888 | 100 | 3.002
2020-09-26 23:30:00 | 2.3613 | 148.06 | 2.4893 | 138.4207 | 2.7573 | 144.918 | 2.8833 | 139.1267 | 16.16 | 888 | 100 | 3.4613
2020-09-26 23:45:00 | 2.34 | 114.2 | 2.43 | 122.368 | 2.685 | 111.688 | 2.755 | 122.992 | 16.19 | 888 | 100 | 2.568