## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-27 00:00:00 | 2.651 | 143.65 | 2.82 | 134.358 | 3.049 | 140.489 | 3.255 | 135.046 | 16.05 | 888 | 100 | 3.364
2020-09-27 00:15:00 | 2.36 | 156.52 | 2.47 | 148.872 | 2.484 | 153.076 | 2.656 | 149.632 | 16.22 | 888 | 100 | 2.698
2020-09-27 00:30:00 | 2.4713 | 146.18 | 2.6067 | 141.4193 | 2.6853 | 142.964 | 2.88 | 142.142 | 16 | 887.2 | 100 | 2.1333
2020-09-27 00:45:00 | 2.712 | 152.59 | 2.804 | 125.721 | 3.086 | 149.232 | 3.159 | 126.365 | 16.09 | 887 | 100 | 2.353
2020-09-27 01:00:00 | 2.5247 | 175.4333 | 2.6347 | 155.032 | 2.828 | 171.574 | 2.9533 | 155.8253 | 15.9133 | 887 | 100 | 3.4913
2020-09-27 01:15:00 | 2.6 | 176.48 | 2.742 | 157.703 | 3.109 | 172.597 | 3.226 | 158.509 | 15.82 | 887 | 100 | 4.339
2020-09-27 01:30:00 | 3.054 | 163.1933 | 3.1113 | 147.326 | 3.3353 | 159.6033 | 3.3653 | 148.078 | 15.5467 | 887 | 100 | 8.008
2020-09-27 01:45:00 | 2.858 | 151.5 | 2.9 | 154.838 | 3.229 | 147.454 | 3.205 | 155.627 | 15.55 | 887 | 100 | 7.742
2020-09-27 02:00:00 | 2.935 | 179.69 | 3 | 160.617 | 3.147 | 175.737 | 3.211 | 161.438 | 15.48 | 887 | 100 | 7.498
2020-09-27 02:15:00 | 3.14 | 161.0667 | 3.2133 | 150.2747 | 3.5427 | 159.564 | 3.57 | 151.0413 | 15.4467 | 887 | 100 | 6.4053
2020-09-27 02:30:00 | 2.903 | 164.89 | 2.959 | 146.261 | 3.301 | 161.263 | 3.297 | 147.008 | 15.45 | 887 | 100 | 5.41
2020-09-27 02:45:00 | 2.464 | 163.42 | 2.496 | 146.506 | 3.042 | 159.826 | 2.934 | 147.254 | 15.48 | 887 | 100 | 6.37
2020-09-27 03:00:00 | 2.666 | 149.45 | 2.78 | 150.808 | 3.137 | 146.162 | 3.217 | 151.58 | 15.45 | 886 | 100 | 5.067
2020-09-27 03:15:00 | 2.344 | 166.7733 | 2.414 | 155.45 | 2.648 | 163.104 | 2.6953 | 156.244 | 15.4933 | 886 | 100 | 5.2447
2020-09-27 03:30:00 | 2.42 | 165.5 | 2.486 | 148.94 | 2.722 | 162.691 | 2.756 | 149.7 | 15.43 | 886 | 100 | 5.207
2020-09-27 03:45:00 | 2.293 | 149.85 | 2.37 | 157.028 | 2.666 | 146.553 | 2.706 | 157.831 | 15.45 | 886 | 100 | 4.509
2020-09-27 04:00:00 | 2.588 | 127.53 | 2.767 | 127.17 | 2.962 | 124.725 | 3.191 | 127.821 | 15.46 | 886 | 100 | 4.252
2020-09-27 04:15:00 | 2.909 | 115.24 | 3.052 | 123.855 | 3.399 | 112.704 | 3.529 | 124.487 | 15.47 | 886 | 100 | 6.006
2020-09-27 04:30:00 | 2.8 | 120.59 | 2.959 | 127.648 | 3.383 | 117.936 | 3.514 | 128.3 | 15.47 | 886 | 100 | 6.75
2020-09-27 04:45:00 | 2.8453 | 127.4933 | 2.9653 | 135.3293 | 3.2247 | 124.6887 | 3.3453 | 136.0213 | 15.4733 | 886 | 100 | 5.4993
2020-09-27 05:00:00 | 2.898 | 120.24 | 3.019 | 134.839 | 3.316 | 117.595 | 3.426 | 135.526 | 15.41 | 886 | 100 | 6.086
2020-09-27 05:15:00 | 3.471 | 124.75 | 3.579 | 126.728 | 3.745 | 122.005 | 3.876 | 127.375 | 15.27 | 886 | 100 | 7.611
2020-09-27 05:30:00 | 3.3927 | 142.0733 | 3.4773 | 134.364 | 3.7093 | 138.9487 | 3.7813 | 135.0513 | 15.3067 | 886 | 100 | 7.292
2020-09-27 05:45:00 | 3.152 | 150.73 | 3.248 | 138.484 | 3.387 | 147.415 | 3.507 | 139.192 | 15.32 | 886 | 100 | 9.349
2020-09-27 06:00:00 | 2.868 | 147.94 | 2.95 | 145.4093 | 3.14 | 144.6867 | 3.2227 | 146.152 | 15.32 | 886 | 100 | 8.1407
2020-09-27 06:15:00 | 2.876 | 146.88 | 2.936 | 146.308 | 3.114 | 144.996 | 3.18 | 147.056 | 15.26 | 886 | 100 | 6.994
2020-09-27 06:30:00 | 3.106 | 144.67 | 3.129 | 140.46 | 3.473 | 141.486 | 3.415 | 141.177 | 15.21 | 886 | 100 | 6.912
2020-09-27 06:45:00 | 2.7053 | 133.66 | 2.7887 | 137.1933 | 3.0013 | 130.72 | 3.0787 | 137.8947 | 15.1667 | 886 | 100 | 6.5693
2020-09-27 07:00:00 | 2.425 | 132.23 | 2.466 | 136.412 | 2.617 | 129.321 | 2.64 | 137.109 | 15.18 | 886 | 100 | 5.515
2020-09-27 07:15:00 | 1.9627 | 150.1267 | 1.9993 | 142.4093 | 2.1453 | 146.824 | 2.164 | 143.1367 | 15.1867 | 886.4667 | 100 | 3.8653
2020-09-27 07:30:00 | 1.746 | 140.55 | 1.779 | 132.49 | 1.818 | 137.457 | 1.864 | 133.167 | 15.26 | 887 | 100 | 4.574
2020-09-27 07:45:00 | 1.77 | 131.24 | 1.806 | 129.4407 | 1.994 | 128.8167 | 2.0187 | 130.1033 | 15.2667 | 887 | 100 | 2.788
2020-09-27 08:00:00 | 2.764 | 145.69 | 2.834 | 128.547 | 3.069 | 142.075 | 3.123 | 129.204 | 15.26 | 887 | 100 | 5.021
2020-09-27 08:15:00 | 3.306 | 151.31 | 3.407 | 147.912 | 3.51 | 147.981 | 3.647 | 148.67 | 15.1 | 887 | 100 | 11.492
2020-09-27 08:30:00 | 3.2 | 150.9933 | 3.3607 | 148.7867 | 3.5367 | 147.672 | 3.7493 | 149.5467 | 15.12 | 887 | 100 | 10.6233
2020-09-27 08:45:00 | 2.616 | 153.35 | 2.709 | 150.172 | 2.856 | 149.977 | 2.96 | 150.939 | 15.29 | 887 | 100 | 7.498
2020-09-27 09:00:00 | 2.4327 | 166.2533 | 2.5173 | 153.2453 | 2.5253 | 162.596 | 2.662 | 154.03 | 15.3 | 887 | 100 | 6.9627
2020-09-27 09:15:00 | 2.455 | 159.44 | 2.471 | 146.505 | 2.603 | 155.932 | 2.593 | 147.254 | 15.25 | 887 | 100 | 6.632
2020-09-27 09:30:00 | 1.512 | 141.4267 | 1.5553 | 156.526 | 1.5993 | 138.314 | 1.6587 | 157.3267 | 15.4733 | 887.8 | 100 | 4.984
2020-09-27 09:45:00 | 1.656 | 141.74 | 1.698 | 159.982 | 1.93 | 138.62 | 1.934 | 160.8 | 15.54 | 888 | 100 | 4.532
2020-09-27 10:00:00 | 2.094 | 168.68 | 2.147 | 146.211 | 2.297 | 164.969 | 2.342 | 146.959 | 15.45 | 888 | 100 | 4.857
2020-09-27 10:15:00 | 2.1947 | 168.66 | 2.294 | 152.028 | 2.3047 | 164.95 | 2.4613 | 152.8033 | 15.4333 | 888 | 100 | 5.7927
2020-09-27 10:30:00 | 2.239 | 179.26 | 2.33 | 160.549 | 2.429 | 175.318 | 2.551 | 161.368 | 15.5 | 888 | 100 | 5.153
2020-09-27 10:45:00 | 2.119 | 200.59 | 2.165 | 168.324 | 2.362 | 196.177 | 2.379 | 169.184 | 15.76 | 888 | 100 | 4.825
2020-09-27 11:00:00 | 2.539 | 193.41 | 2.602 | 162.191 | 2.912 | 189.156 | 2.923 | 163.019 | 16.07 | 888 | 100 | 5.929
2020-09-27 11:15:00 | 2.1873 | 182.0867 | 2.2693 | 156.3427 | 2.5153 | 178.082 | 2.5767 | 157.1413 | 16.34 | 888 | 100 | 4.6933
2020-09-27 11:30:00 | 2.2 | 189.7467 | 2.2207 | 150.742 | 2.48 | 185.5733 | 2.4427 | 151.5127 | 16.3467 | 888 | 100 | 5.6187
2020-09-27 11:45:00 | 2.242 | 192.53 | 2.279 | 163.473 | 2.57 | 186.778 | 2.542 | 164.309 | 16.35 | 888 | 100 | 6.515
2020-09-27 12:00:00 | 2.445 | 179.72 | 2.507 | 161.136 | 2.77 | 175.424 | 2.798 | 161.958 | 16.34 | 888 | 100 | 8.171
2020-09-27 12:15:00 | 2.4153 | 177.0533 | 2.4467 | 154.5767 | 2.6607 | 173.1573 | 2.652 | 155.3667 | 16.3333 | 888 | 100 | 7.5167
2020-09-27 12:30:00 | 2.362 | 163.76 | 2.4273 | 149.138 | 2.84 | 159.0027 | 2.8273 | 149.9 | 16.3667 | 888 | 99.9733 | 7.664
2020-09-27 12:45:00 | 2.147 | 181.11 | 2.239 | 147.189 | 2.408 | 177.127 | 2.51 | 147.942 | 16.51 | 888 | 99.44 | 6.76
2020-09-27 13:00:00 | 2.027 | 191.69 | 2.043 | 162.622 | 2.224 | 187.474 | 2.202 | 163.453 | 16.38 | 888 | 98.19 | 4.117
2020-09-27 13:15:00 | 2.2007 | 213.9 | 2.2967 | 180.1933 | 2.512 | 209.2593 | 2.6213 | 181.1153 | 16.4333 | 887 | 98.5667 | 4.1373
2020-09-27 13:30:00 | 2.6693 | 197.72 | 2.806 | 175.5113 | 3.0927 | 193.3707 | 3.2307 | 176.4093 | 16.26 | 887 | 98.8533 | 6.376
2020-09-27 13:45:00 | 2.822 | 189.65 | 3.005 | 175.335 | 3.358 | 185.478 | 3.551 | 176.231 | 15.93 | 887 | 98.98 | 8.27
2020-09-27 14:00:00 | 2.987 | 177.13 | 3.158 | 163.033 | 3.552 | 173.233 | 3.718 | 163.868 | 15.68 | 887 | 99.64 | 10.208
2020-09-27 14:15:00 | 2.906 | 189.67 | 3.022 | 171.493 | 3.38 | 185.498 | 3.466 | 172.368 | 15.73 | 886 | 100 | 8.775
2020-09-27 14:30:00 | 2.721 | 185.33 | 2.876 | 170.437 | 3.228 | 181.254 | 3.373 | 171.308 | 15.72 | 886 | 100 | 7.305
2020-09-27 14:45:00 | 2.7133 | 169.2 | 2.8553 | 157.354 | 3.0567 | 165.478 | 3.23 | 158.158 | 15.6533 | 886 | 99.8067 | 5.742
2020-09-27 15:00:00 | 2.513 | 171.15 | 2.655 | 168.636 | 2.856 | 167.383 | 3.024 | 169.498 | 15.64 | 886 | 99.9 | 6.065
2020-09-27 15:15:00 | 2.505 | 176.07 | 2.6 | 163.396 | 2.751 | 172.196 | 2.864 | 164.228 | 15.75 | 885.8 | 100 | 5.664
2020-09-27 15:30:00 | 2.593 | 185.98 | 2.7 | 157.967 | 2.975 | 181.89 | 3.074 | 158.774 | 15.7 | 885 | 100 | 4.517
2020-09-27 15:45:00 | 2.506 | 189.0267 | 2.6693 | 169.2133 | 3.0287 | 184.9533 | 3.188 | 170.0787 | 15.52 | 885 | 100 | 4.8227
2020-09-27 16:00:00 | 2.8373 | 185.3667 | 3.004 | 173.868 | 3.3313 | 181.2873 | 3.504 | 174.7567 | 15.4533 | 885 | 100 | 6.5847
2020-09-27 16:15:00 | 2.589 | 178.18 | 2.73 | 167.629 | 3.074 | 174.26 | 3.199 | 168.486 | 15.44 | 885 | 100 | 5.949
2020-09-27 16:30:00 | 2.716 | 192.7067 | 2.8653 | 175.6873 | 3.1847 | 188.4667 | 3.3293 | 176.5873 | 15.3333 | 885 | 100 | 6.04
2020-09-27 16:45:00 | 2.694 | 185.7 | 2.8593 | 171.2607 | 3.154 | 181.6153 | 3.334 | 172.136 | 15.36 | 885 | 100 | 5.9453
2020-09-27 17:00:00 | 2.482 | 180.8 | 2.665 | 167.395 | 3.025 | 177.487 | 3.211 | 168.251 | 15.39 | 885 | 100 | 5.853
2020-09-27 17:15:00 | 2.246 | 185.88 | 2.39 | 178.123 | 2.699 | 181.791 | 2.844 | 179.033 | 15.45 | 885 | 100 | 4.009
2020-09-27 17:30:00 | 2.65 | 191.87 | 2.787 | 179.639 | 3.012 | 187.649 | 3.167 | 180.557 | 15.51 | 885 | 100 | 5.238
2020-09-27 17:45:00 | 2.0667 | 191.5467 | 2.3 | 187.7633 | 2.5467 | 188.0373 | 2.8627 | 188.722 | 15.5333 | 885 | 100 | 4.2987
2020-09-27 18:00:00 | 2.33 | 189.9 | 2.456 | 190.4693 | 2.6613 | 185.722 | 2.8027 | 191.4427 | 15.5867 | 885 | 100 | 4.0733
2020-09-27 18:15:00 | 2.385 | 188.91 | 2.48 | 175.13 | 2.606 | 184.753 | 2.728 | 176.027 | 15.69 | 885 | 100 | 2.634
2020-09-27 18:30:00 | 1.936 | 181.4267 | 2.0173 | 169.2387 | 2.088 | 176.4447 | 2.206 | 170.1053 | 15.64 | 885 | 100 | 1.7973
2020-09-27 18:45:00 | 1.913 | 177.47 | 1.98 | 174.093 | 2.159 | 173.772 | 2.216 | 174.985 | 15.74 | 885 | 100 | 0.667
2020-09-27 19:00:00 | 1.6047 | 197.9267 | 1.6967 | 179.782 | 1.7853 | 193.572 | 1.908 | 180.7007 | 15.8867 | 885 | 100 | 1.1853
2020-09-27 19:15:00 | 1.644 | 207.02 | 1.76 | 196.01 | 1.896 | 202.466 | 2.038 | 197.012 | 15.86 | 885 | 100 | 0.91
2020-09-27 19:30:00 | 2.003 | 198.47 | 2.115 | 186.055 | 2.283 | 194.24 | 2.403 | 187.005 | 15.7 | 885 | 100 | 1.976
2020-09-27 19:45:00 | 1.554 | 194.6 | 1.606 | 176.864 | 1.702 | 190.318 | 1.75 | 177.766 | 15.6 | 885 | 100 | 2.32
2020-09-27 20:00:00 | 1.5507 | 177.7214 | 1.6136 | 169.44 | 1.6436 | 173.8114 | 1.7364 | 170.3036 | 15.5429 | 885 | 100 | 1.11
2020-09-27 20:15:00 | 1.886 | 165.78 | 1.972 | 144.92 | 1.974 | 162.132 | 2.116 | 145.662 | 15.54 | 885 | 100 | 0.362
2020-09-27 20:30:00 | 1.9093 | 189.2067 | 2.026 | 179.158 | 2.1207 | 185.0433 | 2.28 | 180.072 | 15.3867 | 885.1333 | 100 | 1.3813
2020-09-27 20:45:00 | 1.836 | 191.97 | 1.919 | 184.988 | 2.064 | 187.746 | 2.158 | 185.934 | 15.35 | 886 | 100 | 2.151
2020-09-27 21:00:00 | 2.028 | 185.07 | 2.108 | 176.011 | 2.194 | 180.998 | 2.303 | 176.91 | 15.3 | 886 | 100 | 2.148
2020-09-27 21:15:00 | 2.112 | 190.15 | 2.183 | 167.608 | 2.336 | 185.968 | 2.409 | 168.466 | 15.28 | 886 | 100 | 1.588
2020-09-27 21:30:00 | 2.055 | 184.44 | 2.081 | 161.682 | 2.299 | 180.382 | 2.277 | 162.509 | 15.34 | 886 | 100 | 1.672
2020-09-27 21:45:00 | 2.184 | 142.38 | 2.2327 | 140.4347 | 2.2413 | 139.2487 | 2.3167 | 141.1507 | 15.46 | 886 | 100 | 1.3747
2020-09-27 22:00:00 | 2.177 | 146.77 | 2.317 | 147.639 | 2.347 | 143.541 | 2.564 | 148.393 | 15.41 | 886 | 100 | 0.99
2020-09-27 22:15:00 | 2.439 | 148.61 | 2.486 | 137.253 | 2.781 | 145.34 | 2.803 | 137.954 | 15.65 | 886.8 | 100 | 3.149
2020-09-27 22:30:00 | 2.72 | 142.67 | 2.836 | 147.385 | 3.059 | 139.532 | 3.181 | 148.138 | 15.61 | 886.7 | 100 | 7.191
2020-09-27 22:45:00 | 2.662 | 151.4 | 2.686 | 140.734 | 2.928 | 148.07 | 2.902 | 141.454 | 15.7 | 887 | 100 | 6.732
2020-09-27 23:00:00 | 2.771 | 156.42 | 2.819 | 152.402 | 3.037 | 152.977 | 3.054 | 153.181 | 15.56 | 887 | 100 | 9.274
2020-09-27 23:15:00 | 2.844 | 143.1 | 2.868 | 139.01 | 2.924 | 139.952 | 2.948 | 139.724 | 15.48 | 887 | 100 | 10.98
2020-09-27 23:30:00 | 2.9407 | 168.2 | 2.9873 | 147.6113 | 3.3267 | 164.5 | 3.3033 | 148.3673 | 15.4333 | 886 | 100 | 8.9627
2020-09-27 23:45:00 | 2.917 | 161.13 | 2.99 | 154.465 | 3.175 | 157.869 | 3.242 | 155.255 | 15.48 | 886 | 100 | 8.158